## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-13 00:00:00 | 0 | 0.53694 | 4.7063 | 60.5898 | 4.962 | 346.008 | 0.63133 | 172.186 | 26.46 | 980.206 | 87.439 | 12.0193
2019-02-13 00:15:00 | 0.88267 | 356.819 | 3.9393 | 53.0283 | 4.962 | 347.08 | 1.5183 | 171.929 | 26.46 | 979.909 | 89.3588 | 9.8652
2019-02-13 00:30:00 | 0 | 13.6696 | 4.4507 | 68.9257 | 4.4507 | 347.136 | 0.63133 | 189.788 | 26.46 | 980.057 | 90.5974 | 7.5153
2019-02-13 00:45:00 | 0.62733 | 12.376 | 4.195 | 49.6669 | 3.428 | 346.723 | 5.9847 | 187.324 | 26.46 | 979.909 | 90.3932 | 6.7468
2019-02-13 01:00:00 | 0 | 7.1278 | 4.4507 | 48.0558 | 4.7063 | 346.284 | 0.37567 | 182.882 | 26.46 | 979.909 | 91.3504 | 8.3577
2019-02-13 01:15:00 | 0.62733 | 42.3274 | 4.4507 | 39.7563 | 4.4507 | 347.919 | 0.63133 | 180.611 | 26.46 | 979.909 | 92.1709 | 10.3603
2019-02-13 01:30:00 | 1.6267 | 13.7186 | 3.6837 | 49.1787 | 3.428 | 349.213 | 5.729 | 182.515 | 26.46 | 979.909 | 93.1282 | 9.5031
2019-02-13 01:45:00 | 0.62733 | 12.9374 | 3.6837 | 53.6213 | 4.4507 | 349.237 | 1.007 | 181.197 | 26.46 | 979.611 | 93.7436 | 9.1004
2019-02-13 02:00:00 | 0 | 6.9813 | 4.962 | 42.8808 | 4.4507 | 344.673 | 5.729 | 180.196 | 26.46 | 979.611 | 94.359 | 7.8774
2019-02-13 02:15:00 | 0 | 350.678 | 4.7063 | 28.0638 | 3.6837 | 336.471 | 5.729 | 170.335 | 26.46 | 979.611 | 94.8718 | 9.3627
2019-02-13 02:30:00 | 0 | 0.097641 | 4.962 | 51.7173 | 4.4507 | 337.228 | 0.37567 | 167.65 | 26.46 | 979.611 | 95.4188 | 10.9626
2019-02-13 02:45:00 | 0 | 0.097641 | 4.962 | 62.8484 | 5.729 | 337.423 | 3.9393 | 170.262 | 26.46 | 979.344 | 96.1367 | 11.2951
2019-02-13 03:00:00 | 2.3927 | 356.869 | 6.496 | 40.3448 | 5.2177 | 335.363 | 3.6837 | 163.898 | 26.46 | 979.315 | 96.8248 | 10.8518
2019-02-13 03:15:00 | 1.882 | 356.884 | 5.9847 | 36.8564 | 6.2403 | 339.136 | 5.729 | 161.463 | 26.46 | 979.166 | 97.1024 | 10.4786
2019-02-13 03:30:00 | 0.62733 | 355.879 | 5.729 | 38.8859 | 5.4733 | 340.742 | 5.4733 | 163.889 | 26.46 | 979.032 | 97.3129 | 10.3419
2019-02-13 03:45:00 | 1.7653 | 356.18 | 5.4733 | 47.188 | 5.4733 | 341.701 | 5.2177 | 162.574 | 26.46 | 979.176 | 97.4519 | 9.4551
2019-02-13 04:00:00 | 0 | 3.2471 | 5.4733 | 59.7616 | 5.2177 | 341.849 | 5.4733 | 157.399 | 26.46 | 979.032 | 97.4522 | 10.5894
2019-02-13 04:15:00 | 0.88267 | 356.231 | 5.2177 | 47.628 | 4.7063 | 342.144 | 2.4053 | 165.505 | 26.46 | 979.02 | 97.3842 | 12.1006
2019-02-13 04:30:00 | 1.7653 | 354.056 | 3.9393 | 38.7163 | 5.4733 | 341.995 | 5.4733 | 162.379 | 26.46 | 979.042 | 97.3151 | 12.0932
2019-02-13 04:45:00 | 1.7653 | 347.002 | 4.962 | 35.1034 | 3.6837 | 341.826 | 4.4507 | 155.422 | 26.46 | 979.503 | 97.2816 | 14.6131
2019-02-13 05:00:00 | 0.62733 | 351.568 | 4.962 | 51.3145 | 4.962 | 342.705 | 2.1497 | 160.696 | 26.46 | 979.653 | 97.179 | 13.4271
2019-02-13 05:15:00 | 0 | 352.813 | 4.962 | 38.6923 | 6.7517 | 343.023 | 5.729 | 161.941 | 26.46 | 979.927 | 97.179 | 14.4321
2019-02-13 05:30:00 | 2.3927 | 355.474 | 4.4507 | 58.6633 | 5.4733 | 343.047 | 1.2627 | 163.015 | 26.46 | 980.262 | 97.179 | 11.8309
2019-02-13 05:45:00 | 0.99933 | 26.7582 | 5.2177 | 58.6144 | 5.729 | 343.584 | 2.7967 | 169.753 | 26.46 | 979.971 | 97.1448 | 13.9924
2019-02-13 06:00:00 | 0 | 356.89 | 3.9393 | 54.3419 | 3.428 | 343.462 | 0.37567 | 151.907 | 26.46 | 980.026 | 97.1106 | 13.6894
2019-02-13 06:15:00 | 0 | 353.741 | 3.9393 | 35.7381 | 5.2177 | 344.683 | 2.1497 | 161.843 | 26.46 | 979.736 | 97.008 | 20.3586
2019-02-13 06:30:00 | 0 | 3.2472 | 5.2177 | 57.0042 | 6.496 | 346.665 | 0.37567 | 168.169 | 26.46 | 979.753 | 96.9752 | 22.8146
2019-02-13 06:45:00 | 0.744 | 5.3957 | 4.962 | 62.3768 | 7.0073 | 348.551 | 0.63133 | 167.781 | 26.46 | 979.834 | 96.9084 | 20.4842
2019-02-13 07:00:00 | 0 | 38.4075 | 5.2177 | 56.3999 | 7.0073 | 350.551 | 4.4507 | 168.256 | 26.46 | 979.875 | 96.983 | 17.8646
2019-02-13 07:15:00 | 0 | 3.589 | 4.962 | 53.5384 | 4.962 | 350.577 | 1.2627 | 170.881 | 26.46 | 979.861 | 96.9424 | 19.5568
2019-02-13 07:30:00 | 3.1587 | 0.097663 | 5.4733 | 57.031 | 5.2177 | 352.194 | 4.4507 | 163.022 | 26.46 | 979.854 | 97.0466 | 20.3216
2019-02-13 07:45:00 | 0.99933 | 12.2807 | 4.4507 | 54.099 | 4.4507 | 354.259 | 0.63133 | 175.054 | 26.46 | 980.062 | 97.1122 | 16.6822
2019-02-13 08:00:00 | 0 | 1.6602 | 4.962 | 57.6646 | 3.1723 | 354.264 | 2.2853 | 167.488 | 26.46 | 980.01 | 97.2161 | 13.0132
2019-02-13 08:15:00 | 0 | 17.3343 | 5.729 | 68.0385 | 6.496 | 356.451 | 1.5183 | 184.793 | 26.46 | 979.955 | 97.2475 | 9.5549
2019-02-13 08:30:00 | 0 | 5.0782 | 3.1723 | 50.5822 | 4.962 | 356.939 | 1.9097 | 176.541 | 26.46 | 980.208 | 97.3842 | 9.9613
2019-02-13 08:45:00 | 4.946 | 15.2094 | 4.195 | 48.8208 | 5.4733 | 7.0311 | 6.2403 | 170.746 | 26.46 | 980.212 | 97.4477 | 11.757
2019-02-13 09:00:00 | 2.648 | 4.8091 | 4.195 | 39.0275 | 4.7063 | 356.997 | 0.37567 | 158.774 | 26.46 | 980.506 | 97.5785 | 9.7655
2019-02-13 09:15:00 | 0.744 | 10.0328 | 4.195 | 71.8571 | 4.7063 | 356.956 | 2.9167 | 164.527 | 26.46 | 980.655 | 97.6082 | 8.2026
2019-02-13 09:30:00 | 0 | 336.569 | 1.894 | 67.7793 | 2.661 | 6.9813 | 4.195 | 147.755 | 26.46 | 980.805 | 97.6752 | 5.2947
2019-02-13 09:45:00 | 3.1587 | 4.5403 | 2.4053 | 48.3487 | 3.1723 | 356.976 | 2.4053 | 154.785 | 26.46 | 981.546 | 97.7094 | 2.8783
2019-02-13 10:00:00 | 0 | 19.87 | 0 | 8.1938 | 0 | 356.487 | 0 | 179.122 | 26.46 | 981.991 | 97.812 | 2.4386
2019-02-13 10:15:00 | 0 | 345.088 | 0.75133 | 2.7504 | 0.75133 | 355.511 | 0 | 130.4 | 26.46 | 981.991 | 97.9146 | 2.1504
2019-02-13 10:30:00 | 0 | 303.371 | 1.6383 | 10.7241 | 2.4053 | 355.12 | 0 | 120.977 | 26.46 | 982.288 | 97.8462 | 4.3562
2019-02-13 10:45:00 | 0 | 20.8708 | 1.127 | 49.7157 | 3.6837 | 354.51 | 0.63133 | 172.117 | 26.46 | 982.288 | 98.1197 | 5.4942
2019-02-13 11:00:00 | 0 | 15.5737 | 1.894 | 79.6671 | 0 | 356.976 | 0 | 162.353 | 26.46 | 982.288 | 98.0855 | 5.7159
2019-02-13 11:15:00 | 0 | 2.148 | 1.6383 | 37.8015 | 1.3827 | 354.522 | 0 | 178.359 | 26.46 | 982.288 | 98.1162 | 6.1741
2019-02-13 11:30:00 | 0 | 326.776 | 2.4053 | 18.5864 | 1.894 | 356.234 | 3.308 | 141.923 | 26.46 | 981.991 | 98.3089 | 7.9809
2019-02-13 11:45:00 | 0 | 37.4389 | 0 | 11.1422 | 2.1497 | 353.4 | 0 | 185.096 | 26.46 | 981.991 | 98.1371 | 7.9513
2019-02-13 12:00:00 | 2.3927 | 356.256 | 4.195 | 38.9407 | 4.195 | 357.012 | 5.4733 | 148.023 | 26.46 | 981.396 | 98.2055 | 7.1089
2019-02-13 12:15:00 | 0.372 | 349.593 | 3.428 | 47.9221 | 5.729 | 356.988 | 0 | 158.176 | 26.46 | 981.248 | 98.2738 | 7.471
2019-02-13 12:30:00 | 1.51 | 355.255 | 3.9393 | 40.4295 | 4.4507 | 356.939 | 1.3827 | 159.518 | 26.46 | 980.802 | 98.308 | 9.1337
2019-02-13 12:45:00 | 1.51 | 343.931 | 2.1497 | 55.7077 | 5.2177 | 356.939 | 3.428 | 161.3 | 26.46 | 980.207 | 98.2738 | 7.0387
2019-02-13 13:00:00 | 3.414 | 0.09763 | 4.4507 | 53.1252 | 5.2177 | 356.937 | 3.428 | 170.634 | 26.46 | 979.612 | 98.3825 | 7.8294
2019-02-13 13:15:00 | 4.946 | 7.4687 | 5.729 | 62.5463 | 3.9393 | 356.936 | 1.6383 | 178.737 | 26.46 | 979.017 | 98.2797 | 8.7642
2019-02-13 13:30:00 | 0 | 330.983 | 2.4053 | 16.7814 | 2.4053 | 356.928 | 3.428 | 150.005 | 26.46 | 979.315 | 98.3117 | 9.9798
2019-02-13 13:45:00 | 0 | 347.157 | 5.729 | 68.9858 | 2.4053 | 352.355 | 5.9847 | 150.197 | 26.46 | 979.017 | 98.2751 | 11.491
2019-02-13 14:00:00 | 1.2547 | 352.326 | 3.6837 | 68.9358 | 6.7517 | 354.938 | 4.195 | 162.545 | 26.46 | 978.72 | 98.1713 | 17.3806
2019-02-13 14:15:00 | 0.88267 | 356.817 | 4.195 | 43.6023 | 7.0073 | 355.792 | 1.127 | 163.765 | 26.46 | 978.72 | 98.0346 | 17.5431
2019-02-13 14:30:00 | 0.372 | 0.58575 | 5.4733 | 39.3068 | 6.2403 | 356.06 | 3.428 | 163.472 | 26.46 | 978.422 | 97.8295 | 23.211
2019-02-13 14:45:00 | 1.51 | 351.033 | 5.9847 | 66.2023 | 7.7743 | 356.963 | 5.9847 | 164.643 | 26.46 | 977.976 | 97.4193 | 31.2473
2019-02-13 15:00:00 | 0.372 | 11.7393 | 8.797 | 68.9846 | 6.7517 | 357.012 | 4.962 | 180.629 | 26.46 | 977.53 | 97.0091 | 32.2977
2019-02-13 15:15:00 | 1.6267 | 5.0035 | 8.5413 | 54.9548 | 7.263 | 6.9073 | 4.962 | 169.509 | 26.46 | 977.084 | 95.7832 | 32.4175
2019-02-13 15:30:00 | 3.414 | 0.097639 | 7.7743 | 62.749 | 8.03 | 6.493 | 3.428 | 170.453 | 26.46 | 976.638 | 93.7758 | 34.2393
2019-02-13 15:45:00 | 0 | 0.097641 | 6.496 | 62.8484 | 5.729 | 6.8593 | 4.4507 | 158.496 | 26.46 | 976.936 | 93.3333 | 24.264
2019-02-13 16:00:00 | 0 | 356.925 | 4.7063 | 47.3963 | 5.2177 | 356.974 | 4.4507 | 156.444 | 26.46 | 977.53 | 92.6491 | 10.4158
2019-02-13 16:15:00 | 0 | 356.78 | 3.9393 | 78.471 | 2.9167 | 356.976 | 1.007 | 165.404 | 26.46 | 978.422 | 92.2393 | 10.6375
2019-02-13 16:30:00 | 3.414 | 333.127 | 4.195 | 24.5731 | 2.661 | 356.976 | 3.428 | 150.855 | 26.46 | 978.571 | 91.9658 | 10.7594
2019-02-13 16:45:00 | 4.6907 | 346.113 | 3.428 | 76.9575 | 3.6837 | 356.976 | 4.4507 | 143.679 | 26.46 | 979.017 | 92.2393 | 13.1758
2019-02-13 17:00:00 | 0 | 356.072 | 4.4507 | 43.5155 | 3.9393 | 356.976 | 3.9393 | 160.204 | 26.46 | 979.017 | 92.6496 | 17.1256
2019-02-13 17:15:00 | 0 | 346.137 | 4.7063 | 56.6238 | 5.9847 | 356.976 | 2.4053 | 156.616 | 26.46 | 978.72 | 93.1282 | 17.1182
2019-02-13 17:30:00 | 0 | 0.68349 | 6.496 | 52.889 | 5.4733 | 6.7861 | 5.4733 | 164.623 | 26.46 | 978.72 | 93.3333 | 18.9398
2019-02-13 17:45:00 | 0.62733 | 347.456 | 5.729 | 47.055 | 5.2177 | 0.048821 | 1.127 | 159.521 | 26.46 | 979.017 | 93.5384 | 20.4721
2019-02-13 18:00:00 | 0 | 14.817 | 7.5187 | 68.536 | 5.4733 | 0.048821 | 4.962 | 173.166 | 26.46 | 978.72 | 94.8376 | 26.1447
2019-02-13 18:15:00 | 0.744 | 356.878 | 5.9847 | 52.1567 | 7.263 | 0.82995 | 1.5183 | 172.898 | 26.46 | 978.72 | 96.4444 | 28.5353
2019-02-13 18:30:00 | 0.744 | 5.3703 | 4.962 | 57.0388 | 6.2403 | 2.3434 | 3.6837 | 174.802 | 26.46 | 978.72 | 97.2308 | 22.0812
2019-02-13 18:45:00 | 0.372 | 9.3491 | 5.4733 | 59.8215 | 4.962 | 1.6843 | 4.962 | 179.196 | 26.46 | 978.429 | 97.641 | 19.4866
2019-02-13 19:00:00 | 0.372 | 11.6681 | 6.2403 | 64.1177 | 4.7063 | 2.6119 | 4.962 | 182.613 | 26.46 | 978.441 | 97.812 | 15.7733
2019-02-13 19:15:00 | 1.7653 | 3.7592 | 3.9393 | 67.8769 | 5.9847 | 3.9056 | 2.1497 | 171.458 | 26.46 | 978.422 | 97.9145 | 13.9333
2019-02-13 19:30:00 | 0 | 6.0293 | 4.4507 | 55.1836 | 4.195 | 5.4923 | 2.661 | 180.904 | 26.46 | 978.426 | 97.9145 | 10.0315
2019-02-13 19:45:00 | 0 | 25.0449 | 4.4507 | 71.1479 | 3.1723 | 7.4939 | 4.962 | 193.354 | 26.46 | 978.724 | 97.9829 | 8.1508
2019-02-13 20:00:00 | 0 | 27.193 | 4.195 | 70.9526 | 1.6383 | 6.9325 | 0 | 195.526 | 26.46 | 978.574 | 97.9487 | 3.7318
2019-02-13 20:15:00 | 0 | 37.9335 | 3.9393 | 88.7233 | 3.1723 | 6.8349 | 0 | 204.241 | 26.46 | 978.869 | 97.9829 | 2.0654
2019-02-13 20:30:00 | 0 | 53.0923 | 4.4507 | 107.007 | 4.4507 | 8.1042 | 0.37567 | 214.298 | 26.46 | 978.422 | 98.2564 | 1.2969
2019-02-13 20:45:00 | 0 | 46.233 | 1.3827 | 71.6361 | 0 | 5.2726 | 0 | 202.874 | 26.46 | 978.869 | 97.9829 | -0.059118
2019-02-13 21:00:00 | 0 | 12.9374 | 2.661 | 66.3635 | 1.894 | 6.3467 | 0 | 191.547 | 26.46 | 978.72 | 97.9145 | 0.11084
2019-02-13 21:15:00 | 0 | 40.6187 | 1.6383 | 90.3343 | 1.3827 | 6.4443 | 0 | 206.486 | 26.46 | 979.017 | 98.0171 | 0.092371
2019-02-13 21:30:00 | 0 | 58.5846 | 2.1497 | 87.3319 | 2.9167 | 6.7861 | 0 | 239.587 | 26.46 | 979.017 | 98.2222 | 0.10346
2019-02-13 21:45:00 | 1.3713 | 74.4513 | 1.894 | 95.2164 | 2.1497 | 6.7372 | 2.4053 | 283.672 | 26.46 | 979.315 | 97.9487 | -0.16257
2019-02-13 22:00:00 | 0 | 90.8794 | 1.894 | 116.356 | 2.4053 | 6.7861 | 0 | 268.293 | 26.46 | 979.017 | 98.188 | -0.10715
2019-02-13 22:15:00 | 0 | 73.2308 | 0 | 117.723 | 2.1497 | 6.5908 | 0 | 275.323 | 26.46 | 979.017 | 98.2222 | -0.084981
2019-02-13 22:30:00 | 0 | 92.8078 | 0 | 85.6964 | 1.6383 | 6.5419 | 0 | 270.466 | 26.46 | 979.315 | 98.3248 | 0.029559
2019-02-13 22:45:00 | 8.2653 | 29.8782 | 1.894 | 71.8558 | 2.661 | 6.7372 | 0.75133 | 223.5 | 26.46 | 979.315 | 97.8461 | 0.096066
2019-02-13 23:00:00 | 6.7333 | 28.5112 | 1.3827 | 80.5214 | 2.1497 | 6.7861 | 0 | 213.639 | 26.46 | 979.315 | 97.9487 | 0.099761
2019-02-13 23:15:00 | 0 | 26.0702 | 1.3827 | 67.2422 | 2.661 | 5.8585 | 0 | 193.573 | 26.46 | 979.315 | 97.9487 | 0.34731
2019-02-13 23:30:00 | 3.9247 | 24.3126 | 2.4053 | 68.658 | 2.9167 | 6.249 | 0 | 193.817 | 26.46 | 979.622 | 97.812 | 0.67616
2019-02-13 23:45:00 | 0 | 9.7641 | 1.894 | 62.7019 | 1.894 | 5.5655 | 0 | 191.913 | 26.46 | 979.463 | 97.7778 | 0.55792