## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-14 00:00:00 | 0 | 5.3703 | 1.3827 | 47.9581 | 1.894 | 5.4679 | 0 | 190.424 | 26.46 | 979.315 | 97.6752 | 0.38426
2019-02-14 00:15:00 | 0 | 6.4933 | 1.127 | 45.567 | 1.894 | 3.5152 | 0 | 184.691 | 26.46 | 979.317 | 97.6426 | 0.21061
2019-02-14 00:30:00 | 0 | 13.0354 | 1.6383 | 58.8469 | 2.1497 | 5.5657 | 0 | 184.399 | 26.46 | 979.166 | 97.5407 | 0.15518
2019-02-14 00:45:00 | 0.372 | 19.7745 | 0.75133 | 68.8145 | 1.894 | 6.0055 | 0 | 184.611 | 26.46 | 979.166 | 97.4811 | -0.18474
2019-02-14 01:00:00 | 8.5207 | 21.5811 | 1.127 | 70.4502 | 1.6383 | 5.9567 | 0 | 196.647 | 26.46 | 979.315 | 97.5837 | -0.24016
2019-02-14 01:15:00 | 0 | 41.9398 | 1.6383 | 85.411 | 1.6383 | 6.0298 | 0 | 194.808 | 26.46 | 979.324 | 97.8531 | -0.33623
2019-02-14 01:30:00 | 6.7333 | 35.5415 | 1.3827 | 85.2086 | 1.6383 | 5.9561 | 0 | 194.331 | 26.46 | 979.315 | 97.5046 | -0.33623
2019-02-14 01:45:00 | 0 | 32.9539 | 0.75133 | 85.2083 | 1.6383 | 6.0537 | 0 | 194.062 | 26.46 | 979.166 | 98.1881 | -0.33623
2019-02-14 02:00:00 | 0 | 46.8433 | 1.6383 | 106.103 | 1.894 | 6.0537 | 0 | 194.599 | 26.46 | 979.017 | 98.1881 | -0.33623
2019-02-14 02:15:00 | 0 | 97.934 | 1.6383 | 130.636 | 2.1497 | 6.249 | 0 | 264.778 | 26.46 | 979.027 | 98.3248 | -0.34731
2019-02-14 02:30:00 | 0.744 | 98.7639 | 1.127 | 141.938 | 1.894 | 6.4443 | 0 | 267.366 | 26.46 | 979.017 | 98.3248 | -0.33623
2019-02-14 02:45:00 | 0 | 89.1463 | 1.894 | 152.19 | 1.6383 | 6.8349 | 0 | 240.954 | 26.46 | 978.72 | 98.2906 | -0.20691
2019-02-14 03:00:00 | 0 | 89.7816 | 4.195 | 126.267 | 2.9167 | 7.2743 | 0 | 249.377 | 26.46 | 978.422 | 98.3255 | -0.11454
2019-02-14 03:15:00 | 0 | 105.623 | 0 | 166.348 | 1.894 | 6.9813 | 0 | 304.249 | 26.46 | 978.422 | 98.359 | 0.022169
2019-02-14 03:30:00 | 0 | 120.855 | 1.3827 | 179.481 | 1.6383 | 7.2743 | 0 | 277.618 | 26.46 | 978.422 | 98.3248 | 0.10715
2019-02-14 03:45:00 | 0 | 113.801 | 2.4053 | 161.759 | 2.1497 | 7.2254 | 0 | 296.438 | 26.46 | 978.422 | 98.3248 | 0.12562
2019-02-14 04:00:00 | 0 | 101.449 | 2.4053 | 137.153 | 2.1497 | 7.3719 | 0 | 253.891 | 26.46 | 978.274 | 98.1881 | 0.218
2019-02-14 04:15:00 | 0 | 97.104 | 2.1497 | 139.399 | 2.1497 | 7.5672 | 0 | 266.951 | 26.46 | 977.828 | 98.2564 | 0.7907
2019-02-14 04:30:00 | 0 | 97.934 | 4.4507 | 158.439 | 2.661 | 8.2995 | 0 | 262.63 | 26.46 | 977.828 | 98.1881 | 0.74266
2019-02-14 04:45:00 | 0 | 156.47 | 1.127 | 168.594 | 1.894 | 7.7136 | 0 | 0.29292 | 26.46 | 977.828 | 98.1881 | 0.72049
2019-02-14 05:00:00 | 0 | 123.76 | 2.661 | 178.992 | 1.894 | 7.616 | 0 | 269.221 | 26.46 | 977.976 | 98.1197 | 0.65399
2019-02-14 05:15:00 | 0 | 143.02 | 3.428 | 165.518 | 1.894 | 8.4459 | 0 | 304.787 | 26.46 | 978.274 | 98.1197 | 0.66507
2019-02-14 05:30:00 | 0 | 113.557 | 2.661 | 166.25 | 2.4053 | 8.4215 | 0 | 269.172 | 26.46 | 978.125 | 98.0513 | 0.77961
2019-02-14 05:45:00 | 0 | 85.7533 | 3.1723 | 153.874 | 3.428 | 9.2271 | 0 | 245.372 | 26.46 | 977.679 | 97.8804 | 0.87568
2019-02-14 06:00:00 | 0 | 74.6954 | 1.3827 | 116.551 | 1.127 | 8.69 | 0 | 234.387 | 26.46 | 977.53 | 98.0171 | 1.3228
2019-02-14 06:15:00 | 0 | 109.016 | 3.428 | 150.872 | 2.661 | 8.983 | 0 | 262.117 | 26.46 | 977.679 | 97.9829 | 1.659
2019-02-14 06:30:00 | 0 | 76.2088 | 1.894 | 85.2082 | 1.3827 | 8.7877 | 0 | 257.797 | 26.46 | 977.531 | 97.9146 | 2.095
2019-02-14 06:45:00 | 0 | 77.7711 | 3.1723 | 125.729 | 3.9393 | 10.0082 | 0.37567 | 246.153 | 26.46 | 977.233 | 97.9829 | 2.494
2019-02-14 07:00:00 | 0 | 114.289 | 4.4507 | 155.852 | 4.4507 | 10.6429 | 0 | 277.447 | 26.46 | 977.828 | 97.9829 | 2.2169
2019-02-14 07:15:00 | 0 | 128.422 | 3.6837 | 191.686 | 2.9167 | 10.9846 | 0 | 272.004 | 26.46 | 978.126 | 97.8462 | 2.2132
2019-02-14 07:30:00 | 0 | 123.467 | 4.962 | 176.771 | 4.962 | 12.3272 | 5.2177 | 287.748 | 26.46 | 978.435 | 97.4359 | 2.2391
2019-02-14 07:45:00 | 0 | 128.349 | 3.428 | 184.68 | 3.428 | 11.7902 | 0 | 300.832 | 26.46 | 979.017 | 96.8547 | 1.6368
2019-02-14 08:00:00 | 0 | 105.623 | 2.4053 | 168.105 | 2.4053 | 11.4728 | 0 | 289.701 | 26.46 | 979.017 | 96.547 | 1.2747
2019-02-14 08:15:00 | 0 | 133.719 | 1.6383 | 188.952 | 1.894 | 11.5216 | 0 | 294.852 | 26.46 | 979.315 | 96.171 | 2.0211
2019-02-14 08:30:00 | 0 | 115.729 | 3.9393 | 160.489 | 1.6383 | 11.424 | 0 | 290.531 | 26.46 | 979.315 | 96.0684 | 2.0359
2019-02-14 08:45:00 | 0 | 136.453 | 0 | 167.813 | 1.6383 | 11.424 | 0 | 302.663 | 26.46 | 979.315 | 96.1368 | 1.925
2019-02-14 09:00:00 | 0 | 89.4148 | 3.6837 | 141.449 | 3.1723 | 11.8878 | 0 | 286.747 | 26.46 | 979.315 | 95.7949 | 2.8266
2019-02-14 09:15:00 | 0 | 108.284 | 0.37567 | 144.623 | 2.1497 | 11.5216 | 0 | 287.113 | 26.46 | 979.017 | 95.9316 | 5.3427
2019-02-14 09:30:00 | 0 | 100.788 | 1.6383 | 149.258 | 2.4053 | 11.8876 | 0 | 268.093 | 26.46 | 978.571 | 96.0326 | 5.7603
2019-02-14 09:45:00 | 0 | 130.345 | 3.1723 | 181.669 | 3.9393 | 12.0582 | 0 | 263.18 | 26.46 | 978.72 | 95.3807 | 5.0952
2019-02-14 10:00:00 | 0 | 86.8881 | 4.4507 | 143.477 | 1.894 | 11.9105 | 1.3827 | 250.78 | 26.46 | 979.017 | 94.9608 | 4.2121
2019-02-14 10:15:00 | 0 | 61.8474 | 0 | 127.199 | 0.75133 | 11.9106 | 0 | 315.265 | 26.46 | 978.72 | 94.6883 | 2.7194
2019-02-14 10:30:00 | 0 | 69.272 | 2.9167 | 151.52 | 2.1497 | 12.1068 | 0 | 265.421 | 26.46 | 978.422 | 94.4898 | 2.7194
2019-02-14 10:45:00 | 0 | 103.032 | 3.1723 | 155.382 | 1.6383 | 12.3024 | 0 | 279.976 | 26.46 | 978.422 | 94.561 | 2.882
2019-02-14 11:00:00 | 0 | 129.325 | 2.661 | 179.04 | 1.894 | 12.3515 | 0 | 306.323 | 26.46 | 978.422 | 94.4269 | 1.3782
2019-02-14 11:15:00 | 0 | 152.368 | 2.661 | 203.133 | 2.9167 | 12.5956 | 0.63133 | 313.45 | 26.46 | 978.422 | 94.3926 | 0.77961
2019-02-14 11:30:00 | 0 | 107.306 | 1.3827 | 247.216 | 1.6383 | 15.8177 | 0 | 268.119 | 26.46 | 978.274 | 94.9733 | 0.67246
2019-02-14 11:45:00 | 0 | 164.083 | 1.6383 | 261.788 | 1.6383 | 15.8909 | 0 | 343.448 | 26.46 | 978.422 | 95.9987 | 0.3547
2019-02-14 12:00:00 | 0 | 130.347 | 1.894 | 184.894 | 1.127 | 16.4032 | 0 | 315.371 | 26.46 | 978.125 | 96.4758 | 0.20691
2019-02-14 12:15:00 | 0 | 146.901 | 2.1497 | 195.2 | 2.661 | 17.4777 | 0 | 306.763 | 26.46 | 977.679 | 96.9571 | -0.0036948
2019-02-14 12:30:00 | 0 | 143.677 | 3.428 | 200.032 | 3.6837 | 18.1122 | 0 | 310.642 | 26.46 | 977.53 | 97.1613 | 0.073897
2019-02-14 12:45:00 | 0 | 153.036 | 4.195 | 195.324 | 4.4507 | 18.501 | 0 | 298.236 | 26.46 | 977.233 | 97.2543 | 0.44708
2019-02-14 13:00:00 | 0 | 122.177 | 3.6837 | 174.517 | 3.9393 | 18.7928 | 0 | 283.673 | 26.46 | 977.233 | 97.3513 | 0.62443
2019-02-14 13:15:00 | 0 | 125.545 | 3.428 | 188.086 | 3.428 | 18.9391 | 0 | 291.824 | 26.46 | 977.084 | 97.4535 | 1.4632
2019-02-14 13:30:00 | 0 | 135.503 | 2.661 | 181.936 | 3.9393 | 18.7683 | 0 | 293.776 | 26.46 | 976.638 | 97.8636 | 2.8746
2019-02-14 13:45:00 | 0 | 139.164 | 3.1723 | 199.948 | 3.1723 | 19.2808 | 0 | 281.793 | 26.46 | 976.638 | 97.6244 | 1.9102
2019-02-14 14:00:00 | 0 | 146.607 | 1.894 | 202.095 | 2.9167 | 19.2564 | 0 | 303.417 | 26.46 | 976.044 | 97.6927 | 0.61704
2019-02-14 14:15:00 | 0 | 97.7708 | 1.6383 | 162.313 | 1.127 | 18.9391 | 0 | 256.044 | 26.46 | 976.044 | 97.8295 | 0.10346
2019-02-14 14:30:00 | 0 | 108.511 | 2.1497 | 161.437 | 2.4053 | 18.9393 | 0 | 273.912 | 26.46 | 975.895 | 97.8988 | -0.036948
2019-02-14 14:45:00 | 0 | 145.221 | 2.9167 | 190.388 | 3.1723 | 19.4279 | 0 | 293.542 | 26.46 | 975.449 | 97.9696 | 2.4718
2019-02-14 15:00:00 | 0 | 129.067 | 4.7063 | 168.866 | 6.7517 | 21.3811 | 5.9847 | 288.522 | 26.46 | 974.854 | 97.9723 | 13.0243
2019-02-14 15:15:00 | 0 | 110.54 | 4.195 | 174.331 | 4.7063 | 21.9665 | 0 | 261.719 | 26.46 | 974.854 | 97.9709 | 10.5192
2019-02-14 15:30:00 | 0 | 100.63 | 3.1723 | 186.531 | 2.661 | 20.9411 | 0 | 269.623 | 26.46 | 974.854 | 98.0035 | 7.2197
2019-02-14 15:45:00 | 0 | 149.126 | 0.75133 | 212.11 | 2.4053 | 20.5995 | 0 | 317.363 | 26.46 | 975.151 | 98.038 | 1.6701
2019-02-14 16:00:00 | 0 | 198.436 | 0 | 277.971 | 0 | 18.8184 | 0 | 50.036 | 26.46 | 975.151 | 98.0757 | 0.044338
2019-02-14 16:15:00 | 0 | 180.873 | 0 | 229.756 | 1.3827 | 17.9652 | 0 | 1.1472 | 26.46 | 975.151 | 98.1157 | -0.32884
2019-02-14 16:30:00 | 0 | 182.636 | 1.894 | 236.72 | 1.3827 | 19.7233 | 0 | 355.043 | 26.46 | 975.3 | 98.3238 | -0.39165
2019-02-14 16:45:00 | 0.372 | 138.113 | 3.1723 | 186.071 | 3.428 | 20.5534 | 0 | 307.081 | 26.46 | 975.3 | 98.3248 | -0.31776
2019-02-14 17:00:00 | 0 | 141.531 | 3.6837 | 194.859 | 3.6837 | 21.0905 | 0 | 308.131 | 26.46 | 974.854 | 98.3931 | -0.31406
2019-02-14 17:15:00 | 0 | 132.792 | 2.661 | 182.166 | 3.428 | 21.2857 | 0.37567 | 296.78 | 26.46 | 974.854 | 98.5299 | 0.033254
2019-02-14 17:30:00 | 0 | 135.477 | 3.9393 | 191.417 | 3.9393 | 21.8716 | 3.6837 | 305.592 | 26.46 | 974.705 | 98.5641 | 2.409
2019-02-14 17:45:00 | 0 | 135.941 | 4.4507 | 184.216 | 3.9393 | 22.7992 | 5.2177 | 300.539 | 26.46 | 974.854 | 98.6325 | 5.1321
2019-02-14 18:00:00 | 0 | 140.066 | 6.496 | 200.595 | 6.7517 | 23.7512 | 0.75133 | 306.617 | 26.46 | 974.557 | 98.6666 | 7.8663
2019-02-14 18:15:00 | 0.372 | 140.457 | 8.797 | 188.317 | 8.797 | 24.9473 | 3.1723 | 309.937 | 26.46 | 974.259 | 98.6666 | 27.2236
2019-02-14 18:30:00 | 0.99933 | 142.849 | 7.7743 | 192.979 | 8.2857 | 26.0946 | 2.9167 | 299.831 | 26.46 | 974.111 | 98.7008 | 40.732
2019-02-14 18:45:00 | 2.7867 | 139.065 | 5.2177 | 192.857 | 7.7743 | 26.4851 | 2.4053 | 300.832 | 26.46 | 973.962 | 98.735 | 47.1388
2019-02-14 19:00:00 | 2.9033 | 148.61 | 10.0753 | 199.375 | 10.5867 | 28.1938 | 3.428 | 302.687 | 26.46 | 973.665 | 98.8034 | 47.7596
2019-02-14 19:15:00 | 5.712 | 124.81 | 9.3083 | 176.918 | 9.564 | 27.9253 | 4.962 | 319.799 | 26.46 | 974.111 | 98.7692 | 45.1732
2019-02-14 19:30:00 | 0.372 | 141.677 | 7.263 | 194.493 | 7.5187 | 27.73 | 0 | 306.91 | 26.46 | 974.408 | 98.735 | 35.1712
2019-02-14 19:45:00 | 3.414 | 127.055 | 7.263 | 190.465 | 6.496 | 27.6324 | 2.9167 | 302.394 | 26.46 | 974.557 | 98.6666 | 30.1573
2019-02-14 20:00:00 | 2.648 | 133.671 | 8.2857 | 187.634 | 7.7743 | 28.0718 | 4.7063 | 314.013 | 26.46 | 974.854 | 98.5983 | 27.4786
2019-02-14 20:15:00 | 8.776 | 149.293 | 8.5413 | 200.303 | 6.7517 | 28.0474 | 3.9393 | 321.752 | 26.46 | 974.854 | 98.5641 | 21.6961
2019-02-14 20:30:00 | 0 | 156.958 | 4.195 | 196.958 | 4.4507 | 28.6576 | 4.962 | 324.73 | 26.46 | 975.3 | 98.5641 | 6.2147
2019-02-14 20:45:00 | 0 | 162.328 | 5.729 | 173.378 | 3.1723 | 28.023 | 3.8193 | 16.721 | 26.46 | 975.449 | 98.4957 | 2.4534
2019-02-14 21:00:00 | 2.0207 | 150.27 | 3.6837 | 200.669 | 2.9167 | 29.7317 | 4.195 | 350.824 | 26.46 | 975.449 | 98.5299 | 1.6664
2019-02-14 21:15:00 | 0 | 156.982 | 3.1723 | 205.063 | 2.9167 | 29.2435 | 0.37567 | 342.671 | 26.46 | 975.151 | 98.6325 | 0.76853
2019-02-14 21:30:00 | 0.372 | 152.93 | 6.2403 | 195.567 | 4.962 | 30.3664 | 0.63133 | 328.098 | 26.46 | 975.151 | 98.7692 | 4.3488
2019-02-14 21:45:00 | 0 | 152.613 | 7.263 | 200.815 | 6.7517 | 31.4404 | 3.428 | 329.075 | 26.46 | 974.854 | 98.8034 | 14.7203
2019-02-14 22:00:00 | 0 | 144.484 | 4.4507 | 199.253 | 4.4507 | 30.7569 | 5.729 | 342.11 | 26.46 | 974.854 | 99.0769 | 20.4325
2019-02-14 22:15:00 | 6.9887 | 156.177 | 8.797 | 201.035 | 8.797 | 32.9294 | 4.962 | 327.732 | 26.46 | 974.259 | 99.0769 | 33.8337
2019-02-14 22:30:00 | 0 | 155.786 | 6.2403 | 190.099 | 4.962 | 33.857 | 1.3827 | 320.531 | 26.46 | 974.705 | 99.2137 | 18.7278
2019-02-14 22:45:00 | 0 | 158.691 | 5.2177 | 199.766 | 5.4733 | 48.6252 | 0.37567 | 355.731 | 26.46 | 974.854 | 99.1795 | 14.7055
2019-02-14 23:00:00 | 0 | 152.857 | 5.4733 | 195.835 | 5.9847 | 48.7473 | 5.729 | 321.703 | 26.46 | 974.854 | 99.282 | 12.374
2019-02-14 23:15:00 | 0 | 162.182 | 5.2177 | 200.425 | 5.729 | 49.1378 | 5.9847 | 338.131 | 26.46 | 974.557 | 99.3504 | 6.7505
2019-02-14 23:30:00 | 0 | 173.996 | 5.2177 | 217.194 | 5.4733 | 48.9181 | 2.7967 | 353.436 | 26.46 | 974.705 | 99.4188 | 4.4006
2019-02-14 23:45:00 | 0 | 178.146 | 2.9167 | 212.434 | 3.9393 | 48.552 | 0.37567 | 3.4419 | 26.46 | 974.705 | 99.4188 | 2.6603