## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-15 00:00:00 | 0 | 183.296 | 5.9847 | 249.684 | 6.2403 | 49.3819 | 3.6837 | 355.608 | 26.46 | 974.557 | 99.487 | 0.50619
2019-02-15 00:15:00 | 0 | 197.839 | 3.9393 | 240.108 | 4.4507 | 48.7214 | 0 | 15.9638 | 26.46 | 974.854 | 99.4842 | -0.22539
2019-02-15 00:30:00 | 0 | 187.879 | 3.428 | 224.631 | 3.428 | 48.2818 | 0 | 7.4449 | 26.46 | 974.557 | 99.4837 | -0.20691
2019-02-15 00:45:00 | 0 | 180.192 | 3.1723 | 226.221 | 3.428 | 48.1847 | 1.2627 | 6.493 | 26.46 | 974.557 | 99.5533 | -0.3547
2019-02-15 01:00:00 | 0 | 183.411 | 1.3827 | 241.521 | 1.3827 | 47.9886 | 0 | 6.4928 | 26.46 | 974.854 | 99.3463 | -0.31776
2019-02-15 01:15:00 | 0 | 266.214 | 2.1497 | 242.015 | 2.4053 | 47.8432 | 0 | 6.493 | 26.46 | 974.259 | 98.7333 | -0.32884
2019-02-15 01:30:00 | 0 | 195.868 | 0 | 241.971 | 0.37567 | 47.7953 | 0 | 6.4931 | 26.46 | 974.259 | 98.5299 | -0.31776
2019-02-15 01:45:00 | 0 | 192.109 | 0 | 241.922 | 0 | 47.7953 | 0 | 6.5175 | 26.46 | 973.665 | 98.5299 | -0.31776
2019-02-15 02:00:00 | 0 | 163.5 | 1.127 | 218.537 | 1.3827 | 47.8441 | 0 | 6.4931 | 26.46 | 973.665 | 99.0085 | -0.31776
2019-02-15 02:15:00 | 0 | 173.069 | 0 | 218.537 | 0 | 47.7953 | 0 | 6.4931 | 26.46 | 973.665 | 98.8034 | -0.31776
2019-02-15 02:30:00 | 0 | 196.112 | 0 | 218.513 | 1.127 | 47.7953 | 0 | 6.4931 | 26.46 | 973.665 | 98.2564 | -0.31776
2019-02-15 02:45:00 | 0 | 227.992 | 1.127 | 218.561 | 1.894 | 47.7465 | 0 | 6.4931 | 26.46 | 973.665 | 98.1196 | -0.29928
2019-02-15 03:00:00 | 0 | 289.847 | 2.4053 | 218.586 | 2.9167 | 47.6976 | 0 | 6.4931 | 26.46 | 973.962 | 97.9145 | -0.22169
2019-02-15 03:15:00 | 0 | 297.463 | 1.3827 | 218.586 | 1.894 | 47.6976 | 0 | 6.4931 | 26.46 | 973.665 | 97.7436 | -0.24386
2019-02-15 03:30:00 | 0 | 265.339 | 2.9167 | 314.469 | 2.9167 | 47.6 | 0 | 8.7389 | 26.46 | 973.665 | 98.1196 | -0.38426
2019-02-15 03:45:00 | 0 | 306.153 | 1.127 | 8.4784 | 1.3827 | 47.5512 | 0 | 8.7389 | 26.46 | 973.683 | 98.0513 | -0.38426
2019-02-15 04:00:00 | 0 | 300.686 | 1.127 | 331.898 | 1.3827 | 47.5512 | 0 | 8.7389 | 26.46 | 973.666 | 97.9145 | 0.18105
2019-02-15 04:15:00 | 0 | 19.1376 | 1.894 | 3.8244 | 1.127 | 47.5024 | 0 | 8.7389 | 26.46 | 973.665 | 97.8461 | -0.081287
2019-02-15 04:30:00 | 0 | 351.411 | 0.75133 | 20.3747 | 2.1497 | 47.5026 | 0 | 8.7389 | 26.46 | 973.665 | 97.7782 | -0.029559
2019-02-15 04:45:00 | 0 | 353.877 | 0 | 6.949 | 0.75133 | 47.5026 | 0 | 8.739 | 26.46 | 973.367 | 97.7099 | -0.033254
2019-02-15 05:00:00 | 0 | 319.971 | 1.6383 | 16.4849 | 1.6383 | 47.4782 | 0 | 8.739 | 26.46 | 973.367 | 97.6073 | -0.18844
2019-02-15 05:15:00 | 0 | 0.097643 | 0.37567 | 40.4897 | 0.75133 | 47.4788 | 0 | 8.7391 | 26.46 | 973.373 | 97.5744 | -0.39165
2019-02-15 05:30:00 | 0 | 349.169 | 0 | 19.255 | 0 | 47.5063 | 0 | 8.7396 | 26.46 | 973.516 | 97.4441 | -0.3547
2019-02-15 05:45:00 | 0 | 341.54 | 0 | 55.9006 | 1.127 | 47.4592 | 0 | 8.74 | 26.46 | 973.367 | 97.5159 | -0.36949
2019-02-15 06:00:00 | 0 | 355.558 | 1.6383 | 35.858 | 3.1723 | 47.4598 | 0 | 8.7155 | 26.46 | 973.367 | 97.5854 | -0.36949
2019-02-15 06:15:00 | 0 | 350.028 | 4.195 | 66.1826 | 4.4507 | 47.4614 | 4.7063 | 8.7159 | 26.46 | 973.125 | 97.4521 | 0.18474
2019-02-15 06:30:00 | 0 | 19.2386 | 3.9393 | 69.4056 | 4.195 | 47.4616 | 1.894 | 8.7159 | 26.46 | 973.013 | 97.0422 | 4.4671
2019-02-15 06:45:00 | 0 | 0.097658 | 4.195 | 49.337 | 4.195 | 47.4616 | 2.541 | 8.7404 | 26.46 | 972.752 | 96.9738 | 5.7935
2019-02-15 07:00:00 | 0 | 0.58596 | 4.195 | 59.2755 | 2.9167 | 47.4139 | 2.9167 | 8.7406 | 26.46 | 972.638 | 97.0787 | 6.9352
2019-02-15 07:15:00 | 0 | 3.2475 | 4.4507 | 59.6971 | 3.9393 | 47.4178 | 4.195 | 8.7413 | 26.46 | 972.759 | 96.9157 | 6.8909
2019-02-15 07:30:00 | 0 | 351.38 | 4.7063 | 63.0712 | 4.7063 | 47.4204 | 5.2177 | 8.7417 | 26.46 | 973.152 | 97.0578 | 8.04
2019-02-15 07:45:00 | 0 | 6.7883 | 4.7063 | 63.9988 | 4.962 | 47.4203 | 0.75133 | 8.7417 | 26.46 | 973.106 | 96.5787 | 11.491
2019-02-15 08:00:00 | 0 | 353.508 | 5.729 | 59.7756 | 5.9847 | 47.4209 | 1.894 | 8.7418 | 26.46 | 973.478 | 96.1012 | 19.2538
2019-02-15 08:15:00 | 0 | 346.329 | 4.962 | 42.8046 | 5.4733 | 47.3721 | 1.2627 | 160.992 | 26.46 | 973.414 | 96.3748 | 19.5362
2019-02-15 08:30:00 | 0 | 6.0314 | 5.2177 | 65.807 | 4.7063 | 47.3721 | 4.962 | 156.352 | 26.46 | 973.634 | 96.3748 | 15.2338
2019-02-15 08:45:00 | 0 | 0.17093 | 3.9393 | 66.1488 | 4.4507 | 47.3721 | 0.37567 | 168.415 | 26.46 | 973.96 | 96.3748 | 10.0648
2019-02-15 09:00:00 | 0 | 3.907 | 5.2177 | 63.2674 | 1.007 | 47.3721 | 2.0297 | 174.056 | 26.46 | 974.261 | 96.5116 | 6.4549
2019-02-15 09:15:00 | 0 | 21.6349 | 5.729 | 78.407 | 2.661 | 47.3721 | 0.63133 | 187.633 | 26.46 | 974.407 | 96.58 | 5.6125
2019-02-15 09:30:00 | 0 | 19.2419 | 3.9393 | 68.6884 | 0.37567 | 47.3721 | 0.63133 | 180.6 | 26.46 | 974.507 | 96.5116 | 3.1923
2019-02-15 09:45:00 | 0 | 17.6787 | 2.4053 | 80.0655 | 1.6383 | 47.3712 | 0.75133 | 185.382 | 26.46 | 974.623 | 96.3046 | 0.97913
2019-02-15 10:00:00 | 0 | 13.0382 | 2.9167 | 69.2655 | 2.4053 | 47.3674 | 0 | 158.534 | 26.46 | 974.459 | 96.502 | 0.56901
2019-02-15 10:15:00 | 0 | 355.889 | 0 | 56.9055 | 1.6383 | 47.3641 | 0 | 160.256 | 26.46 | 974.62 | 96.3584 | 0.31406
2019-02-15 10:30:00 | 0 | 23.461 | 0 | 79.3613 | 2.1497 | 47.3614 | 0 | 167.23 | 26.46 | 974.872 | 96.5582 | 0.19952
2019-02-15 10:45:00 | 0 | 27.657 | 0 | 4.3371 | 0 | 47.3562 | 0 | 174.852 | 26.46 | 975.151 | 97.197 | 0.12193
2019-02-15 11:00:00 | 0 | 334.421 | 0 | 90.2856 | 0 | 47.356 | 0 | 171.311 | 26.46 | 975.449 | 96.6154 | -0.19583
2019-02-15 11:15:00 | 0 | 19.3329 | 0 | 41.5139 | 2.4053 | 47.3559 | 0 | 169.554 | 26.46 | 975.598 | 97.3675 | -0.27711
2019-02-15 11:30:00 | 0 | 9.1782 | 1.3827 | 1.1066 | 1.127 | 47.3556 | 0 | 173.922 | 26.46 | 975.449 | 97.2986 | -0.22908
2019-02-15 11:45:00 | 0 | 14.4974 | 0.37567 | 69.4492 | 1.127 | 47.3483 | 0 | 172.748 | 26.46 | 975.746 | 97.4202 | -0.16257
2019-02-15 12:00:00 | 0 | 347.006 | 0.37567 | 9.0433 | 2.4053 | 47.299 | 0 | 153.588 | 26.46 | 975.746 | 97.3167 | 0.24755
2019-02-15 12:15:00 | 0 | 317.206 | 0 | 7.9678 | 1.127 | 47.3478 | 0 | 123.568 | 26.46 | 975.746 | 97.4876 | -0.10346
2019-02-15 12:30:00 | 0 | 42.6618 | 0 | 47.1167 | 0 | 47.3478 | 0 | 173.722 | 26.46 | 976.044 | 97.2483 | 0.0036948
2019-02-15 12:45:00 | 0 | 349.76 | 2.9167 | 0.79376 | 2.661 | 47.3473 | 0 | 203.691 | 26.46 | 975.876 | 97.8284 | 0.21061
2019-02-15 13:00:00 | 0 | 305.022 | 2.4053 | 336.892 | 2.4053 | 47.3318 | 0 | 126.674 | 26.46 | 976.191 | 97.7281 | -0.051728
2019-02-15 13:15:00 | 0 | 294.276 | 2.1497 | 325.754 | 1.127 | 47.3302 | 0 | 114.105 | 26.46 | 976.339 | 97.4513 | 0.52467
2019-02-15 13:30:00 | 0 | 303.309 | 2.661 | 13.462 | 3.428 | 47.3273 | 5.2177 | 110.268 | 26.46 | 976.339 | 98.0604 | 0.81287
2019-02-15 13:45:00 | 0 | 274.31 | 2.1497 | 321.857 | 2.4053 | 47.3243 | 0 | 108.529 | 26.46 | 976.53 | 98.1224 | 2.2612
2019-02-15 14:00:00 | 0 | 305.447 | 3.428 | 15.1458 | 3.1723 | 47.322 | 0 | 127.184 | 26.46 | 976.207 | 97.5029 | 2.9817
2019-02-15 14:15:00 | 0 | 20.5904 | 2.9167 | 63.4349 | 0.887 | 47.3285 | 4.962 | 182.117 | 26.46 | 975.743 | 97.6188 | 3.5064
2019-02-15 14:30:00 | 0 | 306.385 | 4.4507 | 16.6334 | 4.7063 | 47.2788 | 0.37567 | 121.71 | 26.46 | 976.012 | 97.5144 | 2.3462
2019-02-15 14:45:00 | 0 | 307.823 | 3.9393 | 16.7795 | 3.9393 | 47.2823 | 0 | 128.721 | 26.46 | 976.026 | 97.5216 | 1.7588
2019-02-15 15:00:00 | 0 | 326.051 | 3.9393 | 7.4475 | 4.4507 | 47.2828 | 0 | 125.502 | 26.46 | 976.041 | 97.5226 | 2.9559
2019-02-15 15:15:00 | 0 | 8.344 | 1.6383 | 39.1401 | 3.6837 | 47.234 | 0 | 132.187 | 26.46 | 975.744 | 96.6342 | 5.6827
2019-02-15 15:30:00 | 0 | 355.085 | 3.428 | 32.7967 | 3.6837 | 47.234 | 0 | 165.783 | 26.46 | 975.447 | 96.5658 | 5.9191
2019-02-15 15:45:00 | 0 | 24.8881 | 3.6837 | 59.8616 | 3.6837 | 47.1655 | 0 | 189.711 | 26.46 | 975.744 | 96.6437 | 5.0435
2019-02-15 16:00:00 | 0 | 4.2462 | 3.428 | 42.7659 | 3.6837 | 46.9036 | 0 | 167.994 | 26.46 | 975.758 | 95.1874 | 6.7726
2019-02-15 16:15:00 | 0 | 29.039 | 2.1497 | 67.5318 | 2.4053 | 46.7064 | 0 | 199.539 | 26.46 | 975.949 | 93.0986 | 6.9906
2019-02-15 16:30:00 | 0 | 24.7436 | 1.127 | 64.748 | 2.4053 | 46.6565 | 0 | 187.48 | 26.46 | 975.753 | 93.3015 | 6.4364
2019-02-15 16:45:00 | 0 | 309.999 | 1.894 | 5.8448 | 1.6383 | 46.5657 | 0 | 124.59 | 26.46 | 975.636 | 93.1785 | 6.1926
2019-02-15 17:00:00 | 0 | 317.496 | 2.4053 | 0.67055 | 2.1497 | 46.4688 | 0 | 139.309 | 26.46 | 975.745 | 92.2911 | 6.7135
2019-02-15 17:15:00 | 0 | 319.866 | 3.6837 | 1.6954 | 3.1723 | 46.3227 | 0 | 143.361 | 26.46 | 975.746 | 90.993 | 6.1926
2019-02-15 17:30:00 | 0 | 305.491 | 4.195 | 18.1938 | 3.428 | 46.1556 | 0 | 125.311 | 26.46 | 975.448 | 89.2226 | 4.7701
2019-02-15 17:45:00 | 0 | 307.276 | 3.428 | 6.7941 | 3.6837 | 45.8913 | 3.428 | 116.168 | 26.46 | 975.3 | 88.1367 | 4.1973
2019-02-15 18:00:00 | 0 | 320.067 | 3.1723 | 11.831 | 3.1723 | 45.7204 | 0 | 128.618 | 26.46 | 975.002 | 86.7008 | 2.3388
2019-02-15 18:15:00 | 0 | 314.25 | 2.9167 | 18.2422 | 3.1723 | 45.6044 | 0.63133 | 111.203 | 26.46 | 974.869 | 85.6866 | 3.2367
2019-02-15 18:30:00 | 0 | 325.298 | 2.661 | 6.8559 | 3.1723 | 45.4108 | 0 | 130.349 | 26.46 | 974.971 | 83.9118 | 4.3969
2019-02-15 18:45:00 | 0 | 335.056 | 2.9167 | 36.2333 | 2.661 | 45.3187 | 0 | 145.992 | 26.46 | 975.129 | 85.0506 | 3.9978
2019-02-15 19:00:00 | 0 | 344.253 | 2.661 | 47.1511 | 2.1497 | 45.2232 | 0 | 144.485 | 26.46 | 975.113 | 86.1832 | 4.8587
2019-02-15 19:15:00 | 0 | 333.143 | 2.4053 | 15.1628 | 2.4053 | 45.0767 | 1.6383 | 163.849 | 26.46 | 975.375 | 85.1573 | 7.2789
2019-02-15 19:30:00 | 0 | 300.764 | 3.1723 | 3.8814 | 3.1723 | 44.8326 | 3.6837 | 116.477 | 26.46 | 975.599 | 84.6101 | 11.0365
2019-02-15 19:45:00 | 0 | 330.774 | 3.9393 | 19.0698 | 3.428 | 44.1488 | 5.2177 | 142.385 | 26.46 | 975.748 | 85.2941 | 13.8372
2019-02-15 20:00:00 | 0 | 350.138 | 5.2177 | 47.4442 | 3.428 | 43.0744 | 0 | 152.372 | 26.46 | 975.897 | 84.4733 | 13.379
2019-02-15 20:15:00 | 0 | 349.577 | 4.7063 | 46.9314 | 3.428 | 40.7791 | 3.1723 | 159.429 | 26.46 | 975.897 | 81.4637 | 13.815
2019-02-15 20:30:00 | 0 | 353.996 | 5.2177 | 52.6698 | 3.9393 | 39.2651 | 5.4733 | 156.523 | 26.46 | 976.046 | 78.1122 | 14.3619
2019-02-15 20:45:00 | 0.372 | 0.097674 | 4.195 | 46.8093 | 3.9393 | 38.8256 | 0.37567 | 172.347 | 26.46 | 976.641 | 80.5062 | 11.8568
2019-02-15 21:00:00 | 0 | 52.1093 | 4.195 | 46.5651 | 3.9393 | 39.1186 | 4.7063 | 183.286 | 26.46 | 976.641 | 79.4118 | 9.2778
2019-02-15 21:15:00 | 0 | 1.1965 | 3.6837 | 54.2814 | 4.962 | 38.4349 | 0.37567 | 187.877 | 26.46 | 976.79 | 74.829 | 8.8122
2019-02-15 21:30:00 | 0.99933 | 1.9046 | 3.428 | 51.7663 | 2.9167 | 38.9721 | 1.5183 | 167.072 | 26.46 | 976.939 | 72.0246 | 6.4697
2019-02-15 21:45:00 | 2.276 | 26.0791 | 4.195 | 62.9744 | 3.428 | 39.1674 | 0 | 183.579 | 26.46 | 976.939 | 71.6826 | 5.6827
2019-02-15 22:00:00 | 0 | 8.4 | 5.2177 | 53.7442 | 3.1723 | 38.9721 | 4.962 | 186.045 | 26.46 | 976.939 | 69.2202 | 6.4106
2019-02-15 22:15:00 | 0 | 49.057 | 3.9393 | 49.1535 | 4.195 | 38.2151 | 4.7063 | 173.519 | 26.46 | 976.79 | 67.9207 | 9.7322
2019-02-15 22:30:00 | 0 | 49.0326 | 3.9393 | 49.3 | 3.428 | 38.1907 | 0.63133 | 175.155 | 26.46 | 976.641 | 69.186 | 9.3997
2019-02-15 22:45:00 | 0 | 355.437 | 5.9847 | 41.4616 | 3.428 | 37.3116 | 5.729 | 168.293 | 26.46 | 976.641 | 69.2886 | 11.6425
2019-02-15 23:00:00 | 0.62733 | 48.9837 | 4.4507 | 43.4884 | 3.6837 | 36.286 | 5.729 | 164.044 | 26.46 | 976.641 | 69.9042 | 9.2445
2019-02-15 23:15:00 | 0.744 | 342.52 | 4.195 | 45.5884 | 3.1723 | 36.0419 | 2.661 | 164.264 | 26.46 | 976.641 | 70.041 | 8.0585
2019-02-15 23:30:00 | 1.7653 | 346.988 | 4.7063 | 41.9988 | 3.1723 | 35.7977 | 5.729 | 167.243 | 26.46 | 976.641 | 71.067 | 7.5707
2019-02-15 23:45:00 | 0.372 | 338.637 | 4.7063 | 36.2116 | 4.4507 | 34.943 | 0.75133 | 155.376 | 26.46 | 976.641 | 70.7934 | 5.6753