## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-16 00:00:00 | 0 | 329.309 | 2.4053 | 0.31628 | 2.4053 | 36.1884 | 3.428 | 152.445 | 26.46 | 976.939 | 69.8016 | 5.461
2019-02-16 00:15:00 | 0 | 317.129 | 5.4733 | 29.6194 | 3.1723 | 35.261 | 4.195 | 158.528 | 26.46 | 977.088 | 71.2734 | 8.3245
2019-02-16 00:30:00 | 3.414 | 335.968 | 4.4507 | 4.9082 | 3.428 | 34.5785 | 3.428 | 156.995 | 26.46 | 976.939 | 73.8409 | 7.7666
2019-02-16 00:45:00 | 0 | 325.787 | 4.195 | 16.4833 | 4.7063 | 33.8486 | 0 | 112.853 | 26.46 | 977.236 | 75.9333 | 7.6631
2019-02-16 01:00:00 | 0 | 338.535 | 2.9167 | 15.9489 | 1.3827 | 34.5813 | 0 | 146.995 | 26.46 | 977.236 | 74.9072 | 7.8552
2019-02-16 01:15:00 | 0 | 343.335 | 4.195 | 7.9885 | 2.661 | 34.2407 | 0 | 139.894 | 26.46 | 977.236 | 75.6627 | 6.4918
2019-02-16 01:30:00 | 0 | 340.307 | 3.428 | 32.6067 | 2.661 | 33.9965 | 0 | 143.997 | 26.46 | 977.534 | 75.5259 | 4.2047
2019-02-16 01:45:00 | 0 | 48.6502 | 3.6837 | 19.858 | 2.4053 | 33.6057 | 0 | 174.574 | 26.46 | 977.683 | 76.7573 | 3.3697
2019-02-16 02:00:00 | 0 | 348.269 | 2.661 | 35.7328 | 2.1497 | 33.4592 | 2.9167 | 162.534 | 26.46 | 977.534 | 77.5098 | 2.18
2019-02-16 02:15:00 | 0 | 354.106 | 2.661 | 38.1751 | 2.4053 | 33.1661 | 0 | 133.324 | 26.46 | 977.683 | 76.7915 | 3.4251
2019-02-16 02:30:00 | 0.88267 | 345.875 | 4.4507 | 25.9148 | 3.1723 | 32.6288 | 0 | 158.382 | 26.46 | 977.534 | 78.0229 | 5.0361
2019-02-16 02:45:00 | 0.62733 | 345.607 | 3.428 | 34.8536 | 3.6837 | 31.3344 | 1.3827 | 161.215 | 26.46 | 977.236 | 79.0833 | 5.6679
2019-02-16 03:00:00 | 0 | 0.097691 | 2.661 | 44.7204 | 2.661 | 31.4565 | 0 | 162.07 | 26.46 | 977.236 | 78.0571 | 6.3921
2019-02-16 03:15:00 | 2.0207 | 355.986 | 3.428 | 45.4286 | 4.962 | 30.5285 | 5.9847 | 166.759 | 26.46 | 977.236 | 76.4837 | 8.8639
2019-02-16 03:30:00 | 0 | 1.9538 | 4.195 | 50.9239 | 3.1723 | 30.0889 | 0.887 | 185.467 | 26.46 | 976.939 | 77.1337 | 10.1645
2019-02-16 03:45:00 | 0 | 348.977 | 5.9847 | 59.8137 | 4.4507 | 26.9628 | 0 | 166.417 | 26.46 | 976.641 | 79.1517 | 11.8789
2019-02-16 04:00:00 | 0 | 356.654 | 4.4507 | 44.7218 | 2.9167 | 17.8779 | 4.962 | 175.994 | 26.46 | 976.641 | 79.2903 | 8.1287
2019-02-16 04:15:00 | 0.99933 | 14.0198 | 5.4733 | 58.0128 | 3.9393 | 19.9306 | 4.7063 | 185.604 | 26.46 | 976.641 | 78.8846 | 8.9637
2019-02-16 04:30:00 | 0 | 0.17098 | 5.2177 | 56.502 | 3.9393 | 8.5002 | 0 | 181.338 | 26.46 | 976.641 | 75.0567 | 9.8505
2019-02-16 04:45:00 | 0 | 0.097705 | 4.195 | 43.2154 | 3.428 | 0.048853 | 5.4733 | 194.092 | 26.46 | 976.641 | 73.4159 | 10.1128
2019-02-16 05:00:00 | 0 | 3.5173 | 5.4733 | 58.1143 | 3.6837 | 6.0576 | 5.729 | 180.825 | 26.46 | 976.641 | 74.3726 | 10.582
2019-02-16 05:15:00 | 1.3933 | 6.4241 | 4.962 | 46.635 | 4.4507 | 0 | 3.6837 | 192.772 | 26.46 | 976.641 | 72.8684 | 11.9233
2019-02-16 05:30:00 | 6.9887 | 5.1539 | 7.0073 | 51.2752 | 4.4507 | 23.278 | 5.4733 | 193.698 | 26.46 | 976.641 | 70.5413 | 16.5788
2019-02-16 05:45:00 | 0 | 23.0085 | 7.5187 | 65.5368 | 4.962 | 29.1392 | 1.5183 | 204.976 | 26.46 | 976.939 | 60.5497 | 17.6244
2019-02-16 06:00:00 | 0 | 38.6393 | 5.4733 | 87.4183 | 4.962 | 32.2157 | 4.195 | 210.489 | 26.46 | 977.236 | 52.201 | 15.075
2019-02-16 06:15:00 | 4.946 | 24.9125 | 7.0073 | 67.7798 | 5.9847 | 20.2719 | 2.4053 | 204.697 | 26.46 | 977.236 | 46.5903 | 19.324
2019-02-16 06:30:00 | 0 | 14.825 | 6.496 | 77.938 | 4.195 | 8.597 | 4.7063 | 198.856 | 26.46 | 977.534 | 42.8949 | 20.3955
2019-02-16 06:45:00 | 8.776 | 17.7798 | 6.7517 | 77.105 | 5.729 | 8.841 | 5.729 | 201.097 | 26.46 | 977.385 | 41.0467 | 26.444
2019-02-16 07:00:00 | 1.138 | 16.2412 | 7.5187 | 75.2244 | 4.7063 | 6.179 | 5.4733 | 198.704 | 26.46 | 977.534 | 39.0286 | 31.0293
2019-02-16 07:15:00 | 4.18 | 29.0143 | 7.263 | 80.3044 | 6.2403 | 0.097691 | 5.2177 | 205.884 | 26.46 | 977.831 | 37.4551 | 28.6535
2019-02-16 07:30:00 | 8.5207 | 18.8544 | 7.263 | 71.5854 | 4.962 | 356.963 | 1.894 | 200.316 | 26.46 | 977.831 | 37.4893 | 31.0589
2019-02-16 07:45:00 | 8.01 | 2.1733 | 6.496 | 58.4111 | 6.2403 | 345.634 | 2.661 | 194.624 | 26.46 | 977.98 | 35.227 | 29.0747
2019-02-16 08:00:00 | 5.712 | 25.5419 | 7.7743 | 72.4489 | 3.6837 | 336.391 | 3.6837 | 198.523 | 26.46 | 978.278 | 35.0889 | 37.2839
2019-02-16 08:15:00 | 3.414 | 18.5804 | 9.0527 | 71.6081 | 3.1723 | 337.866 | 1.007 | 196.767 | 26.46 | 978.329 | 35.2217 | 37.5126
2019-02-16 08:30:00 | 11.3293 | 12.9147 | 9.0527 | 69.3773 | 7.0073 | 332.437 | 7.0073 | 197.87 | 26.46 | 978.286 | 36.3123 | 43.4772
2019-02-16 08:45:00 | 4.4353 | 14.4265 | 9.0527 | 64.7038 | 6.7517 | 337.839 | 5.729 | 196.772 | 26.46 | 978.422 | 32.9574 | 43.1041
2019-02-16 09:00:00 | 6.7333 | 17.1604 | 7.263 | 65.8021 | 7.0073 | 335.006 | 5.729 | 199.822 | 26.46 | 978.72 | 32.6154 | 40.1667
2019-02-16 09:15:00 | 0 | 16.9163 | 6.7517 | 70.9526 | 5.729 | 336.715 | 3.1723 | 192.304 | 26.46 | 979.612 | 34.1197 | 32.7939
2019-02-16 09:30:00 | 1.2547 | 16.8652 | 8.2857 | 68.1576 | 3.6837 | 335.619 | 0.75133 | 196.988 | 26.46 | 979.612 | 35.2088 | 28.3321
2019-02-16 09:45:00 | 0 | 19.5249 | 6.7517 | 67.0565 | 6.496 | 334.119 | 2.541 | 199.349 | 26.46 | 979.612 | 32.4047 | 21.6222
2019-02-16 10:00:00 | 10.5633 | 16.84 | 8.2857 | 68.959 | 1.894 | 332.309 | 4.7063 | 200.371 | 26.46 | 979.909 | 33.0879 | 21.6038
2019-02-16 10:15:00 | 0 | 3.2704 | 6.496 | 53.5843 | 4.4507 | 334.729 | 0 | 192.979 | 26.46 | 979.761 | 32.0629 | 18.9767
2019-02-16 10:30:00 | 9.2867 | 15.0085 | 7.5187 | 69.6603 | 6.2403 | 335.75 | 2.2853 | 201.089 | 26.46 | 979.566 | 31.7867 | 18.7329
2019-02-16 10:45:00 | 0 | 38.1151 | 5.4733 | 86.1951 | 5.4733 | 335.91 | 2.1497 | 214.733 | 26.46 | 979.612 | 31.2366 | 16.0984
2019-02-16 11:00:00 | 0 | 38.0607 | 3.428 | 98.5982 | 6.2403 | 336.642 | 2.1497 | 249.59 | 26.46 | 979.609 | 31.8471 | 15.2154
2019-02-16 11:15:00 | 0 | 29.9604 | 7.263 | 79.372 | 4.195 | 338.25 | 5.2177 | 212.797 | 26.46 | 979.609 | 32.7354 | 16.2204
2019-02-16 11:30:00 | 0 | 6.2208 | 8.03 | 68.97 | 3.1723 | 316.311 | 1.007 | 177.477 | 26.46 | 979.591 | 33.8939 | 17.2365
2019-02-16 11:45:00 | 3.1587 | 351.347 | 6.7517 | 91.7325 | 6.496 | 11.0269 | 5.9847 | 145.301 | 26.46 | 979.757 | 33.5527 | 20.2367
2019-02-16 12:00:00 | 0.62733 | 1.7566 | 5.2177 | 68.5354 | 7.0073 | 23.372 | 5.2177 | 152.528 | 26.46 | 979.312 | 34.784 | 23.1667
2019-02-16 12:15:00 | 2.3927 | 4.0255 | 4.195 | 67.1944 | 1.5183 | 292.592 | 1.007 | 186.197 | 26.46 | 979.312 | 35.8777 | 25.8048
2019-02-16 12:30:00 | 6.7333 | 4.2449 | 5.9847 | 58.6533 | 7.0073 | 0.048792 | 2.4053 | 163.576 | 26.46 | 978.999 | 35.9451 | 27.5672
2019-02-16 12:45:00 | 0 | 351.494 | 7.0073 | 122.081 | 2.661 | 53.2804 | 0 | 146.058 | 26.46 | 978.978 | 36.5595 | 24.253
2019-02-16 13:00:00 | 6.9887 | 345.142 | 5.4733 | 33.6486 | 4.7063 | 18.2976 | 3.6837 | 173.949 | 26.46 | 979.012 | 37.5861 | 21.286
2019-02-16 13:15:00 | 1.3933 | 12.3692 | 7.0073 | 56.3621 | 4.962 | 323.112 | 4.195 | 194.492 | 26.46 | 979.312 | 35.4335 | 25.9341
2019-02-16 13:30:00 | 2.3927 | 0.56111 | 7.5187 | 41.1125 | 4.962 | 16.6138 | 5.729 | 175.262 | 26.46 | 978.716 | 33.6217 | 29.725
2019-02-16 13:45:00 | 0 | 0.097584 | 9.0527 | 54.749 | 3.428 | 356.985 | 5.2177 | 185.336 | 26.46 | 978.42 | 35.0563 | 28.6386
2019-02-16 14:00:00 | 0.372 | 29.1289 | 4.4507 | 59.4579 | 3.1723 | 353.889 | 5.4733 | 210.489 | 26.46 | 978.398 | 35.4665 | 30.5711
2019-02-16 14:15:00 | 5.9673 | 23.103 | 8.03 | 85.3907 | 3.9393 | 337.64 | 1.894 | 201.218 | 26.46 | 978.717 | 34.0997 | 36.8376
2019-02-16 14:30:00 | 3.1587 | 40.5217 | 3.9393 | 52.578 | 4.962 | 298.753 | 4.4507 | 172.553 | 26.46 | 978.703 | 34.0997 | 37.148
2019-02-16 14:45:00 | 19.5 | 4.7085 | 6.7517 | 73.8773 | 5.4733 | 335.426 | 6.7517 | 181.704 | 26.46 | 978.42 | 34.2369 | 37.244
2019-02-16 15:00:00 | 14.3933 | 1.8053 | 6.7517 | 58.1161 | 5.729 | 12.3932 | 5.2177 | 181.555 | 26.46 | 978.122 | 33.0747 | 42.8113
2019-02-16 15:15:00 | 8.5207 | 353.336 | 4.7063 | 44.2806 | 3.6837 | 44.7403 | 6.2403 | 170.008 | 26.46 | 978.119 | 33.0049 | 32.9876
2019-02-16 15:30:00 | 1.51 | 1.7566 | 9.8197 | 61.56 | 7.7743 | 38.9868 | 6.496 | 181.613 | 26.46 | 977.524 | 32.1196 | 27.4896
2019-02-16 15:45:00 | 0.744 | 346.18 | 6.2403 | 75.5903 | 7.5187 | 41.7445 | 3.428 | 174.761 | 26.46 | 977.528 | 33.0087 | 24.1569
2019-02-16 16:00:00 | 6.2227 | 0.097591 | 7.7743 | 47.9965 | 7.263 | 51.3816 | 1.2627 | 163.026 | 26.46 | 977.528 | 32.7353 | 22.6937
2019-02-16 16:15:00 | 0 | 4.782 | 3.6837 | 82.0313 | 2.9167 | 58.5546 | 1.3827 | 174.371 | 26.46 | 977.677 | 33.1796 | 15.9617
2019-02-16 16:30:00 | 0 | 353.23 | 7.0073 | 44.8492 | 4.7063 | 62.507 | 4.195 | 174.127 | 26.46 | 977.528 | 33.0087 | 16.5233
2019-02-16 16:45:00 | 0 | 4.1725 | 4.962 | 67.6702 | 5.729 | 60.5615 | 4.195 | 198.106 | 26.46 | 976.933 | 33.6956 | 14.2806
2019-02-16 17:00:00 | 1.116 | 83.7075 | 4.195 | 54.0677 | 5.729 | 66.2094 | 5.4733 | 181.814 | 26.46 | 977.011 | 34.0433 | 11.4429
2019-02-16 17:15:00 | 0.372 | 340.287 | 3.6837 | 78.4034 | 4.4507 | 67.4327 | 4.195 | 167.642 | 26.46 | 976.873 | 34.6942 | 12.5403
2019-02-16 17:30:00 | 0 | 23.4537 | 4.962 | 74.3517 | 5.9847 | 65.2604 | 5.2177 | 173.182 | 26.46 | 976.34 | 34.3865 | 12.4368
2019-02-16 17:45:00 | 0 | 351.594 | 4.962 | 68.5941 | 4.4507 | 64.6273 | 5.9847 | 173.015 | 26.46 | 976.34 | 35.276 | 12.4479
2019-02-16 18:00:00 | 0 | 5.7354 | 6.2403 | 65.7142 | 4.7063 | 64.9202 | 4.962 | 188.952 | 26.46 | 976.043 | 35.5495 | 12.0341
2019-02-16 18:15:00 | 0 | 1.4402 | 3.6837 | 51.9107 | 4.4507 | 64.7099 | 5.729 | 190.737 | 26.46 | 976.043 | 36.1358 | 10.1941
2019-02-16 18:30:00 | 0 | 355.462 | 5.4733 | 42.7832 | 4.195 | 64.9801 | 0.37567 | 180.66 | 26.46 | 976.34 | 36.4444 | 8.9785
2019-02-16 18:45:00 | 0 | 1.9772 | 4.7063 | 55.0859 | 3.9393 | 65.5415 | 0 | 190.644 | 26.46 | 976.34 | 35.3504 | 6.8244
2019-02-16 19:00:00 | 0 | 5.7608 | 4.195 | 60.7003 | 1.894 | 67.0794 | 0 | 193.866 | 26.46 | 976.34 | 35.8291 | 7.6188
2019-02-16 19:15:00 | 0 | 9.9594 | 2.9167 | 81.8884 | 2.1497 | 66.8353 | 3.6837 | 193.817 | 26.46 | 976.34 | 35.8632 | 6.8761
2019-02-16 19:30:00 | 0 | 4.882 | 4.962 | 62.409 | 3.1723 | 65.9321 | 0 | 190.864 | 26.46 | 976.34 | 35.282 | 8.4723
2019-02-16 19:45:00 | 0 | 3.2222 | 4.195 | 59.8215 | 2.661 | 65.6636 | 0 | 190.546 | 26.46 | 976.34 | 34.8034 | 6.2221
2019-02-16 20:00:00 | 0 | 3.808 | 3.428 | 57.7222 | 3.1723 | 66.2982 | 0 | 186.421 | 26.46 | 976.342 | 34.3932 | 4.9067
2019-02-16 20:15:00 | 0.372 | 349.75 | 3.6837 | 43.3202 | 2.661 | 65.9077 | 0 | 170.603 | 26.46 | 976.638 | 33.8461 | 3.2699
2019-02-16 20:30:00 | 0 | 349.408 | 4.195 | 34.7766 | 3.428 | 65.7612 | 0 | 173.264 | 26.46 | 976.936 | 34.0513 | 2.1763
2019-02-16 20:45:00 | 0 | 333.2 | 2.661 | 30.578 | 2.1497 | 66.4935 | 0 | 156.372 | 26.46 | 977.084 | 33.9829 | 1.6885
2019-02-16 21:00:00 | 0 | 343.111 | 4.195 | 25.4519 | 2.1497 | 66.3471 | 0 | 160.742 | 26.46 | 977.084 | 34.2564 | 1.5555
2019-02-16 21:15:00 | 0 | 353.949 | 2.661 | 20.4234 | 2.9167 | 66.2494 | 0 | 150.929 | 26.46 | 977.236 | 32.7521 | 0.99022
2019-02-16 21:30:00 | 0 | 337.545 | 2.9167 | 24.7196 | 2.4053 | 66.3227 | 0 | 145.558 | 26.46 | 977.233 | 33.0256 | 0.50989
2019-02-16 21:45:00 | 0 | 340.767 | 3.9393 | 32.1891 | 3.1723 | 65.9321 | 0 | 163.109 | 26.46 | 977.233 | 33.9145 | 1.4336
2019-02-16 22:00:00 | 0 | 345.649 | 5.2177 | 40.7327 | 3.1723 | 66.0053 | 0 | 164.183 | 26.46 | 977.233 | 35.1453 | 2.5199
2019-02-16 22:15:00 | 0 | 354.827 | 2.9167 | 46.7132 | 2.1497 | 66.3471 | 0 | 143.679 | 26.46 | 977.234 | 35.3504 | 1.7033
2019-02-16 22:30:00 | 0 | 327.756 | 2.4053 | 30.3339 | 2.661 | 66.4935 | 0 | 130.229 | 26.46 | 977.549 | 35.5555 | 1.2378
2019-02-16 22:45:00 | 0 | 318.359 | 3.6837 | 30.9442 | 2.4053 | 66.1518 | 0 | 146.413 | 26.46 | 977.531 | 36.8547 | 2.058
2019-02-16 23:00:00 | 0 | 331.882 | 4.195 | 29.1623 | 2.9167 | 66.0053 | 2.541 | 136.356 | 26.46 | 977.248 | 37.6068 | 3.0261
2019-02-16 23:15:00 | 0.372 | 334.176 | 1.894 | 44.3942 | 2.9167 | 66.0786 | 0.63133 | 141.262 | 26.46 | 977.382 | 38.0171 | 2.8894
2019-02-16 23:30:00 | 0 | 351.312 | 3.1723 | 55.5986 | 1.6383 | 66.1518 | 0 | 160.204 | 26.46 | 977.53 | 38.7008 | 3.7614
2019-02-16 23:45:00 | 0 | 343.989 | 3.9393 | 32.5797 | 3.1723 | 65.6636 | 1.894 | 159.13 | 26.46 | 977.531 | 38.906 | 2.7748