## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-17 00:00:00 | 0 | 342.744 | 4.7063 | 36.3389 | 2.661 | 65.7612 | 0.37567 | 161.181 | 26.46 | 977.385 | 39.1111 | 3.0335
2019-02-17 00:15:00 | 0 | 354.364 | 3.1723 | 51.1803 | 1.894 | 65.9565 | 0 | 172.263 | 26.46 | 977.53 | 39.453 | 2.7046
2019-02-17 00:30:00 | 0 | 356.007 | 3.428 | 53.7938 | 3.6837 | 65.3232 | 2.1497 | 167.409 | 26.46 | 977.382 | 40.1376 | 3.8685
2019-02-17 00:45:00 | 0 | 8.5436 | 3.9393 | 60.408 | 3.1723 | 65.2735 | 0 | 179.368 | 26.46 | 977.233 | 40.9576 | 5.2541
2019-02-17 01:00:00 | 0 | 76.9414 | 3.1723 | 51.7664 | 3.6837 | 65.4197 | 2.1497 | 174.339 | 26.46 | 977.233 | 41.607 | 5.86
2019-02-17 01:15:00 | 0 | 356.907 | 3.428 | 51.3814 | 3.9393 | 65.791 | 3.9393 | 170.568 | 26.46 | 977.233 | 42.5334 | 6.2332
2019-02-17 01:30:00 | 0 | 350.078 | 4.195 | 48.2579 | 3.6837 | 64.6937 | 0.75133 | 167.007 | 26.46 | 976.936 | 43.6283 | 8.2765
2019-02-17 01:45:00 | 0 | 355.808 | 4.4507 | 61.64 | 4.4507 | 64.5991 | 5.4733 | 169.457 | 26.46 | 976.937 | 44.6562 | 8.4538
2019-02-17 02:00:00 | 0 | 354.678 | 3.6837 | 51.629 | 3.428 | 64.7444 | 2.7967 | 169.893 | 26.46 | 976.967 | 45.5444 | 6.5066
2019-02-17 02:15:00 | 0 | 355.376 | 4.4507 | 48.6045 | 3.9393 | 64.8935 | 0.63133 | 174.685 | 26.46 | 976.936 | 45.3069 | 5.4425
2019-02-17 02:30:00 | 0 | 354.784 | 3.1723 | 55.1951 | 3.6837 | 65.3562 | 1.6383 | 178.393 | 26.46 | 976.789 | 46.0241 | 6.2443
2019-02-17 02:45:00 | 0 | 9.4727 | 4.7063 | 61.2014 | 1.007 | 66.5529 | 2.4053 | 188.965 | 26.46 | 976.642 | 46.5031 | 7.1828
2019-02-17 03:00:00 | 0 | 8.1544 | 5.4733 | 68.0381 | 3.428 | 65.0886 | 1.894 | 193.117 | 26.46 | 976.351 | 46.5035 | 7.5781
2019-02-17 03:15:00 | 0 | 9.2772 | 5.4733 | 70.1106 | 4.7063 | 64.5496 | 2.661 | 191.964 | 26.46 | 976.073 | 47.0834 | 9.1891
2019-02-17 03:30:00 | 0 | 8.1298 | 5.2177 | 66.9135 | 4.195 | 64.8922 | 1.2627 | 182.909 | 26.46 | 976.044 | 46.8446 | 7.3158
2019-02-17 03:45:00 | 0 | 13.9894 | 5.729 | 62.8134 | 2.9167 | 65.4548 | 4.962 | 190.31 | 26.46 | 976.351 | 46.5719 | 4.9141
2019-02-17 04:00:00 | 0 | 13.4764 | 3.6837 | 70.0624 | 2.9167 | 65.0139 | 0 | 198.191 | 26.46 | 976.638 | 45.4083 | 4.7922
2019-02-17 04:15:00 | 0 | 10.8394 | 4.962 | 65.958 | 3.6837 | 64.6699 | 0.63133 | 190.153 | 26.46 | 976.053 | 45.9538 | 7.5523
2019-02-17 04:30:00 | 0 | 6.9577 | 4.962 | 70.2309 | 3.9393 | 64.4262 | 1.5183 | 201.457 | 26.46 | 976.053 | 45.749 | 7.0609
2019-02-17 04:45:00 | 0 | 13.28 | 6.7517 | 68.9562 | 4.962 | 63.2019 | 5.4733 | 193.438 | 26.46 | 975.746 | 45.6779 | 10.3788
2019-02-17 05:00:00 | 0 | 8.9838 | 6.2403 | 66.664 | 4.4507 | 62.7887 | 0.37567 | 186.755 | 26.46 | 976.062 | 46.0211 | 10.6264
2019-02-17 05:15:00 | 0 | 11.3754 | 5.4733 | 72.8339 | 2.9167 | 63.0284 | 1.774 | 189.696 | 26.46 | 975.895 | 46.7017 | 8.9378
2019-02-17 05:30:00 | 0 | 16.3802 | 4.4507 | 75.6935 | 3.6837 | 63.5678 | 3.308 | 201.298 | 26.46 | 976.044 | 46.5667 | 6.8946
2019-02-17 05:45:00 | 0 | 32.1262 | 4.7063 | 76.6716 | 3.9393 | 62.9342 | 0 | 222.174 | 26.46 | 975.746 | 46.0204 | 5.7566
2019-02-17 06:00:00 | 0 | 26.6333 | 3.6837 | 88.6815 | 2.9167 | 64.9843 | 1.007 | 212.92 | 26.46 | 976.045 | 45.1311 | 4.3636
2019-02-17 06:15:00 | 0 | 29.7831 | 5.2177 | 76.7218 | 3.6837 | 64.351 | 0 | 213.633 | 26.46 | 975.449 | 44.1064 | 3.9794
2019-02-17 06:30:00 | 0 | 33.9332 | 3.1723 | 90.3928 | 1.894 | 78.6811 | 0 | 217.075 | 26.46 | 975.895 | 43.8329 | 0.99761
2019-02-17 06:45:00 | 0 | 35.7892 | 2.9167 | 85.4147 | 2.4053 | 79.0488 | 0 | 210.903 | 26.46 | 975.777 | 43.2183 | 1.5666
2019-02-17 07:00:00 | 0 | 32.9591 | 3.9393 | 87.4224 | 1.127 | 79.8099 | 0 | 217.701 | 26.46 | 975.449 | 43.1522 | 2.3462
2019-02-17 07:15:00 | 0 | 27.4906 | 3.428 | 82.8824 | 1.6383 | 78.3459 | 0 | 210.208 | 26.46 | 975.473 | 42.7423 | 2.5014
2019-02-17 07:30:00 | 0 | 32.4224 | 2.1497 | 102.609 | 0.75133 | 79.0051 | 0 | 202.493 | 26.46 | 976.276 | 43.1869 | 0.096066
2019-02-17 07:45:00 | 0 | 32.6665 | 2.4053 | 81.2467 | 0 | 79.1516 | 0 | 215.97 | 26.46 | 976.689 | 42.2295 | 0.15149
2019-02-17 08:00:00 | 0 | 52.5823 | 1.894 | 99.9336 | 1.127 | 78.7026 | 0 | 221.681 | 26.46 | 976.972 | 39.9678 | -0.12932
2019-02-17 08:15:00 | 0 | 61.758 | 1.894 | 101.465 | 0.75133 | 79.5775 | 0 | 226.674 | 26.46 | 977.68 | 38.1539 | -0.31776
2019-02-17 08:30:00 | 0 | 20.013 | 1.894 | 84.9464 | 0 | 83.6886 | 0 | 208.38 | 26.46 | 978.541 | 33.7037 | -0.31776
2019-02-17 08:45:00 | 0 | 12.8814 | 0.75133 | 63.7776 | 0 | 85.1438 | 0 | 228.986 | 26.46 | 978.859 | 34.5105 | -0.29928
2019-02-17 09:00:00 | 0 | 31.4138 | 1.6383 | 89.0947 | 1.127 | 84.827 | 0 | 222.238 | 26.46 | 979.021 | 35.1156 | -0.31776
2019-02-17 09:15:00 | 0 | 103.265 | 2.661 | 133.8 | 0.37567 | 120.069 | 0 | 250.943 | 26.46 | 979.607 | 33.7489 | -0.31776
2019-02-17 09:30:00 | 0 | 45.0571 | 0.37567 | 29.6896 | 0.75133 | 119.323 | 0 | 237.549 | 26.46 | 979.904 | 31.6892 | -0.29928
2019-02-17 09:45:00 | 0 | 84.9437 | 0 | 52.0705 | 0 | 119.272 | 0 | 197.414 | 26.46 | 979.907 | 30.4593 | -0.29928
2019-02-17 10:00:00 | 0 | 69.1865 | 1.894 | 96.9685 | 1.3827 | 133.058 | 0 | 231.743 | 26.46 | 980.049 | 27.0418 | -0.28081
2019-02-17 10:15:00 | 0 | 55.8964 | 2.4053 | 85.6011 | 0.75133 | 133.488 | 0 | 203.523 | 26.46 | 979.531 | 30.5907 | -0.28081
2019-02-17 10:30:00 | 0 | 346.054 | 0.75133 | 64.2826 | 0.75133 | 193.823 | 0 | 34.9369 | 26.46 | 979.9 | 26.7705 | -0.29928
2019-02-17 10:45:00 | 0 | 17.6982 | 2.1497 | 83.5076 | 2.4053 | 200.384 | 0 | 213.695 | 26.46 | 979.898 | 35.0301 | -0.29928
2019-02-17 11:00:00 | 0 | 291.014 | 3.6837 | 330.348 | 2.4053 | 205.938 | 0 | 112.647 | 26.46 | 979.601 | 35.5073 | -0.29928
2019-02-17 11:15:00 | 0 | 298.703 | 3.9393 | 336.874 | 3.6837 | 206.401 | 0 | 117.487 | 26.46 | 979.307 | 35.5797 | -0.29928
2019-02-17 11:30:00 | 0 | 317.027 | 3.428 | 3.6159 | 2.9167 | 206.995 | 0 | 121.735 | 26.46 | 979.158 | 35.1033 | -0.29928
2019-02-17 11:45:00 | 0 | 258.488 | 1.894 | 320.506 | 2.4053 | 206.898 | 0 | 131.95 | 26.46 | 979.009 | 34.4545 | -0.28081
2019-02-17 12:00:00 | 0 | 265.869 | 4.195 | 317.377 | 1.6383 | 207.722 | 0 | 116.929 | 26.46 | 978.861 | 33.4634 | -0.33254
2019-02-17 12:15:00 | 0 | 268.814 | 3.9393 | 319.029 | 3.6837 | 207.864 | 0 | 90.3037 | 26.46 | 978.712 | 30.936 | -0.29928
2019-02-17 12:30:00 | 0 | 315.07 | 3.6837 | 336.444 | 3.6837 | 208.283 | 0 | 149.233 | 26.46 | 978.415 | 31.8245 | -0.29559
2019-02-17 12:45:00 | 0 | 328.51 | 2.661 | 7.0874 | 2.9167 | 209.141 | 3.6837 | 145.945 | 26.46 | 978.118 | 30.5617 | -0.30667
2019-02-17 13:00:00 | 0 | 76.8979 | 3.6837 | 22.8619 | 3.428 | 205.532 | 0 | 198.462 | 26.46 | 977.821 | 31.1422 | -0.28081
2019-02-17 13:15:00 | 0 | 30.0375 | 3.6837 | 64.1147 | 3.9393 | 192.464 | 0 | 209.555 | 26.46 | 977.227 | 29.7763 | -0.15149
2019-02-17 13:30:00 | 0 | 19.7487 | 1.894 | 15.6208 | 2.1497 | 210.019 | 0 | 189.222 | 26.46 | 977.672 | 27.6592 | 0.033254
2019-02-17 13:45:00 | 0 | 18.3346 | 2.9167 | 56.8492 | 1.127 | 218.406 | 3.9393 | 197.633 | 26.46 | 977.757 | 26.6689 | 0.24755
2019-02-17 14:00:00 | 0 | 18.1883 | 4.4507 | 87.1305 | 1.894 | 267.558 | 0.37567 | 191.489 | 26.46 | 977.124 | 26.1567 | 0.70202
2019-02-17 14:15:00 | 0 | 18.871 | 1.6383 | 117.022 | 1.127 | 268.606 | 0 | 217.04 | 26.46 | 977.065 | 25.8494 | 0.34731
2019-02-17 14:30:00 | 0 | 14.9456 | 3.6837 | 84.7655 | 1.894 | 293.889 | 0 | 195.683 | 26.46 | 977.371 | 22.742 | 0.28081
2019-02-17 14:45:00 | 0 | 14.458 | 3.9393 | 44.0491 | 1.894 | 293.719 | 0 | 198.828 | 26.46 | 976.847 | 24.9274 | 0.45816
2019-02-17 15:00:00 | 0 | 28.282 | 2.661 | 87.74 | 0 | 291.256 | 0 | 187.393 | 26.46 | 977.037 | 23.903 | -0.096066
2019-02-17 15:15:00 | 0 | 24.6249 | 3.1723 | 58.4339 | 0.37567 | 291.256 | 0 | 212.701 | 26.46 | 976.806 | 23.425 | -0.25125
2019-02-17 15:30:00 | 0 | 331.339 | 3.1723 | 0.71457 | 3.6837 | 282.138 | 0 | 200.461 | 26.46 | 977.525 | 22.3322 | -0.29928
2019-02-17 15:45:00 | 0 | 320.709 | 1.894 | 4.5912 | 1.3827 | 281.894 | 0 | 122.929 | 26.46 | 976.93 | 22.9469 | -0.29559
2019-02-17 16:00:00 | 0 | 329.583 | 3.1723 | 13.6365 | 1.3827 | 281.992 | 0 | 136.339 | 26.46 | 977.227 | 23.0835 | -0.27711
2019-02-17 16:15:00 | 0 | 15.4088 | 3.428 | 40.7089 | 3.1723 | 281.894 | 0 | 187.003 | 26.46 | 976.782 | 24.3128 | -0.26233
2019-02-17 16:30:00 | 0 | 354.94 | 2.9167 | 46.4141 | 2.661 | 282.284 | 0 | 162.207 | 26.46 | 976.209 | 25.4055 | -0.26233
2019-02-17 16:45:00 | 0 | 330.01 | 1.6383 | 45.0559 | 0 | 282.096 | 0 | 157.153 | 26.46 | 975.739 | 26.023 | -0.25125
2019-02-17 17:00:00 | 0 | 284.185 | 2.1497 | 16.1953 | 1.3827 | 282.088 | 0 | 134.946 | 26.46 | 975.743 | 26.0973 | -0.26233
2019-02-17 17:15:00 | 0 | 316.623 | 2.4053 | 1.7079 | 2.1497 | 282.185 | 0 | 142.459 | 26.46 | 975 | 26.9855 | -0.2882
2019-02-17 17:30:00 | 0 | 331.364 | 2.1497 | 3.4197 | 1.894 | 282.158 | 0 | 156.473 | 26.46 | 974.846 | 27.0606 | -0.30667
2019-02-17 17:45:00 | 1.7653 | 350.546 | 2.661 | 24.599 | 2.4053 | 282.208 | 0 | 169.979 | 26.46 | 974.555 | 27.7464 | -0.29928
2019-02-17 18:00:00 | 0 | 356.89 | 2.9167 | 37.2859 | 2.661 | 282.331 | 0 | 183.91 | 26.46 | 974.258 | 27.4047 | -0.29928
2019-02-17 18:15:00 | 0 | 85.5787 | 2.661 | 51.1082 | 2.4053 | 282.334 | 0 | 184.798 | 26.46 | 973.961 | 28.1617 | -0.081287
2019-02-17 18:30:00 | 0 | 3.4657 | 3.1723 | 55.6586 | 1.894 | 282.329 | 0 | 195.98 | 26.46 | 974.144 | 28.9864 | -0.32145
2019-02-17 18:45:00 | 11.5847 | 24.4061 | 1.894 | 77.6487 | 1.894 | 282.33 | 0 | 209.331 | 26.46 | 974.258 | 27.9268 | -0.29928
2019-02-17 19:00:00 | 1.6267 | 10.6898 | 2.1497 | 68.7399 | 1.6383 | 282.279 | 0 | 209.915 | 26.46 | 974.259 | 27.8241 | -0.2882
2019-02-17 19:15:00 | 0 | 46.176 | 1.6383 | 77.5749 | 1.3827 | 282.279 | 0 | 264.609 | 26.46 | 974.259 | 27.619 | -0.29928
2019-02-17 19:30:00 | 3.5527 | 45.2976 | 1.6383 | 87.6795 | 1.127 | 282.28 | 0 | 268.735 | 26.46 | 973.664 | 27.585 | -0.2882
2019-02-17 19:45:00 | 0 | 51.0087 | 1.127 | 110.865 | 0 | 282.232 | 0 | 258.07 | 26.46 | 973.813 | 27.961 | -0.29928
2019-02-17 20:00:00 | 0 | 130.182 | 1.894 | 165.535 | 0.37567 | 282.232 | 0 | 309.371 | 26.46 | 973.664 | 27.7901 | -0.29928
2019-02-17 20:15:00 | 0 | 137.699 | 1.3827 | 164.266 | 1.3827 | 281.89 | 0 | 313.667 | 26.46 | 973.664 | 27.2774 | -0.2882
2019-02-17 20:30:00 | 0 | 161.227 | 2.9167 | 200.094 | 1.127 | 281.817 | 0 | 343.93 | 26.46 | 974.11 | 27.1407 | -0.33623
2019-02-17 20:45:00 | 0 | 175.187 | 1.3827 | 219.741 | 1.127 | 280.865 | 0 | 356.817 | 26.46 | 974.259 | 27.7559 | -0.30298
2019-02-17 21:00:00 | 0 | 171.477 | 2.1497 | 214.054 | 1.3827 | 280.865 | 0 | 356.817 | 26.46 | 974.556 | 28.3029 | -0.2882
2019-02-17 21:15:00 | 0 | 193.149 | 1.3827 | 209.074 | 0 | 279.546 | 0 | 90.2776 | 26.46 | 974.259 | 28.2343 | -0.26972
2019-02-17 21:30:00 | 0 | 211.795 | 1.894 | 240.851 | 0 | 279.644 | 0 | 32.8993 | 26.46 | 974.259 | 27.8242 | -0.2882
2019-02-17 21:45:00 | 0 | 208.086 | 2.4053 | 247.979 | 1.6383 | 279.596 | 0 | 29.9706 | 26.46 | 974.259 | 27.7217 | -0.2882
2019-02-17 22:00:00 | 0 | 234.542 | 2.1497 | 273.459 | 1.3827 | 279.596 | 0 | 58.2329 | 26.46 | 974.11 | 27.209 | -0.29928
2019-02-17 22:15:00 | 0 | 249.479 | 1.6383 | 282.416 | 0 | 279.694 | 0 | 64.969 | 26.46 | 973.664 | 26.8672 | -0.2882
2019-02-17 22:30:00 | 0 | 263.537 | 1.127 | 283.587 | 0 | 279.767 | 0 | 86.0314 | 26.46 | 973.664 | 27.209 | -0.30667
2019-02-17 22:45:00 | 0 | 236.348 | 0.75133 | 283.368 | 0 | 279.742 | 0 | 56.9394 | 26.46 | 973.664 | 27.961 | -0.2882
2019-02-17 23:00:00 | 0 | 223.779 | 0.75133 | 282.001 | 0 | 279.742 | 0 | 47.4942 | 26.46 | 973.658 | 27.0723 | -0.2882
2019-02-17 23:15:00 | 0 | 208.086 | 1.894 | 281.952 | 0.75133 | 279.742 | 0 | 28.0182 | 26.46 | 973.664 | 26.9356 | -0.29928
2019-02-17 23:30:00 | 0 | 195.127 | 1.6383 | 281.61 | 1.127 | 279.742 | 0 | 18.4998 | 26.46 | 973.649 | 27.5508 | -0.29928
2019-02-17 23:45:00 | 0 | 185.511 | 2.1497 | 280.244 | 1.127 | 279.181 | 0 | 11.2268 | 26.46 | 973.664 | 27.6876 | -0.30667