## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-19 00:00:00 | 0 | 237.219 | 0 | 94.1912 | 0 | 291.654 | 0 | 190.961 | 26.46 | 967.574 | 98.1881 | -0.31776
2019-02-19 00:15:00 | 0 | 237.219 | 0 | 94.2156 | 0 | 291.654 | 0 | 191.621 | 26.46 | 967.427 | 98.1197 | -0.34362
2019-02-19 00:30:00 | 0 | 169.31 | 1.3827 | 153.948 | 0.75133 | 291.507 | 0 | 348.749 | 26.46 | 967.271 | 98.0855 | -0.32884
2019-02-19 00:45:00 | 0.372 | 151.295 | 2.1497 | 188.903 | 1.6383 | 272.37 | 2.661 | 335.739 | 26.46 | 966.974 | 97.7778 | -0.3621
2019-02-19 01:00:00 | 0 | 156.47 | 2.9167 | 202.866 | 1.6383 | 272.37 | 0 | 338.229 | 26.46 | 966.974 | 96.6496 | -0.37318
2019-02-19 01:15:00 | 0 | 161.108 | 3.428 | 205.307 | 2.661 | 272.37 | 0 | 346.87 | 26.46 | 966.825 | 95.077 | -0.33623
2019-02-19 01:30:00 | 0 | 142.165 | 2.9167 | 192.32 | 1.6383 | 272.37 | 0 | 322.533 | 26.46 | 966.528 | 93.812 | -0.36579
2019-02-19 01:45:00 | 0 | 155.103 | 2.9167 | 205.893 | 2.1497 | 272.37 | 0 | 332.736 | 26.46 | 966.53 | 92.7863 | -0.38057
2019-02-19 02:00:00 | 0 | 157.3 | 2.9167 | 207.699 | 2.1497 | 272.37 | 0 | 336.886 | 26.46 | 966.543 | 91.5556 | -0.30667
2019-02-19 02:15:00 | 0 | 145.047 | 2.9167 | 191.541 | 1.6383 | 272.371 | 0 | 326.245 | 26.46 | 966.53 | 88.616 | -0.25125
2019-02-19 02:30:00 | 0 | 154.712 | 3.1723 | 196.617 | 2.4053 | 272.37 | 0 | 339.986 | 26.46 | 966.379 | 86.2564 | -0.37318
2019-02-19 02:45:00 | 0 | 177.267 | 2.661 | 212.532 | 1.6383 | 272.37 | 0 | 0.39056 | 26.46 | 966.23 | 85.4017 | -0.33623
2019-02-19 03:00:00 | 0 | 164.574 | 2.1497 | 216.438 | 2.1497 | 272.37 | 0 | 347.114 | 26.46 | 965.933 | 84.1026 | -0.3621
2019-02-19 03:15:00 | 0 | 178.636 | 2.661 | 222.152 | 2.1497 | 272.372 | 0 | 7.8358 | 26.46 | 965.933 | 83.3854 | -0.36949
2019-02-19 03:30:00 | 0 | 179.661 | 2.4053 | 223.861 | 2.661 | 272.372 | 0 | 7.5428 | 26.46 | 965.784 | 83.5563 | -0.3621
2019-02-19 03:45:00 | 0 | 177.658 | 2.661 | 218.342 | 1.6383 | 272.37 | 0 | 5.0285 | 26.46 | 965.784 | 83.4189 | -0.38057
2019-02-19 04:00:00 | 0 | 165.389 | 3.428 | 217.282 | 2.661 | 272.386 | 0 | 349.575 | 26.46 | 965.635 | 85.27 | -0.18105
2019-02-19 04:15:00 | 0 | 186.352 | 3.6837 | 228.16 | 3.1723 | 272.376 | 0 | 7.8603 | 26.46 | 965.487 | 87.3866 | -0.19213
2019-02-19 04:30:00 | 0 | 179.228 | 2.9167 | 233.194 | 1.894 | 272.381 | 0 | 1.9773 | 26.46 | 965.66 | 87.4567 | -0.099761
2019-02-19 04:45:00 | 0.62733 | 194.613 | 3.6837 | 231.395 | 2.4053 | 272.39 | 0 | 22.3614 | 26.46 | 965.636 | 87.1859 | -0.15518
2019-02-19 05:00:00 | 0 | 201.005 | 3.9393 | 240.472 | 3.6837 | 272.36 | 0 | 14.0611 | 26.46 | 965.938 | 87.5946 | 0.011085
2019-02-19 05:15:00 | 0 | 202.958 | 3.428 | 241.302 | 2.661 | 272.385 | 0 | 30.4169 | 26.46 | 966.082 | 89.0306 | 0.35101
2019-02-19 05:30:00 | 0 | 205.691 | 3.9393 | 241.838 | 3.9393 | 272.335 | 0 | 36.2755 | 26.46 | 966.535 | 89.3722 | 0.45816
2019-02-19 05:45:00 | 0 | 204.491 | 3.428 | 253.477 | 2.661 | 272.378 | 0 | 39.3262 | 26.46 | 966.528 | 89.849 | 0.32145
2019-02-19 06:00:00 | 0 | 205.686 | 3.9393 | 244.467 | 2.661 | 272.376 | 0 | 31.8318 | 26.46 | 966.558 | 89.9852 | 0.25125
2019-02-19 06:15:00 | 0 | 206.965 | 3.6837 | 244.187 | 2.661 | 272.389 | 0 | 30.8323 | 26.46 | 966.544 | 89.1687 | 0.54684
2019-02-19 06:30:00 | 0 | 206.497 | 3.6837 | 240.91 | 2.661 | 272.384 | 0 | 33.1509 | 26.46 | 966.528 | 88.8251 | 0.0073897
2019-02-19 06:45:00 | 0 | 208.918 | 2.9167 | 232.151 | 2.1497 | 272.389 | 0 | 35.8368 | 26.46 | 966.974 | 88.6558 | 0.040643
2019-02-19 07:00:00 | 0 | 198.267 | 3.428 | 246.105 | 2.9167 | 272.379 | 0 | 28.9515 | 26.46 | 967.122 | 88.5841 | 0.10346
2019-02-19 07:15:00 | 0.744 | 200.905 | 3.1723 | 240.859 | 2.1497 | 272.381 | 0 | 26.6571 | 26.46 | 967.122 | 87.7301 | -0.0036948
2019-02-19 07:30:00 | 0 | 192.502 | 2.9167 | 232.942 | 2.4053 | 272.373 | 0 | 17.6244 | 26.46 | 967.42 | 87.3173 | -0.22169
2019-02-19 07:45:00 | 0 | 184.81 | 2.9167 | 227.081 | 2.1497 | 272.37 | 0 | 10.7649 | 26.46 | 967.717 | 87.5214 | 0.062812
2019-02-19 08:00:00 | 0 | 179.782 | 3.6837 | 220.295 | 3.1723 | 272.37 | 2.2853 | 5.6876 | 26.46 | 968.015 | 87.7265 | 0.17735
2019-02-19 08:15:00 | 0 | 160.693 | 3.428 | 207.699 | 2.9167 | 272.37 | 0 | 349.897 | 26.46 | 968.461 | 88.9573 | 0.77592
2019-02-19 08:30:00 | 0 | 166.89 | 3.6837 | 206.49 | 3.428 | 272.325 | 0 | 344.348 | 26.46 | 968.609 | 92.1559 | 2.2169
2019-02-19 08:45:00 | 0 | 164.155 | 5.2177 | 209.612 | 5.729 | 260.169 | 3.6837 | 350.984 | 26.46 | 968.907 | 93.9327 | 2.3684
2019-02-19 09:00:00 | 0 | 162.471 | 3.1723 | 206.244 | 2.9167 | 246.062 | 0 | 346.835 | 26.46 | 968.907 | 94.8214 | 0.47663
2019-02-19 09:15:00 | 0 | 156.053 | 4.4507 | 202.047 | 4.195 | 246.062 | 3.6837 | 336.902 | 26.46 | 969.204 | 93.8643 | 0.82395
2019-02-19 09:30:00 | 0 | 166.371 | 4.7063 | 212.548 | 4.4507 | 245.822 | 3.6837 | 348.553 | 26.46 | 969.211 | 90.1221 | 0.76114
2019-02-19 09:45:00 | 0 | 181.202 | 2.4053 | 234.371 | 1.894 | 245.686 | 0 | 0.21958 | 26.46 | 969.799 | 87.6816 | -0.27342
2019-02-19 10:00:00 | 0.372 | 169.955 | 2.9167 | 214.096 | 3.1723 | 245.685 | 0 | 356.695 | 26.46 | 969.799 | 85.0846 | -0.25494
2019-02-19 10:15:00 | 0 | 181.503 | 3.6837 | 227.078 | 4.195 | 243.711 | 1.007 | 21.9072 | 26.46 | 969.781 | 84.2569 | -0.22908
2019-02-19 10:30:00 | 0 | 178.475 | 3.428 | 221.951 | 2.9167 | 243.659 | 1.2627 | 3.7569 | 26.46 | 969.204 | 84.4264 | -0.16996
2019-02-19 10:45:00 | 0 | 186.252 | 3.1723 | 234.102 | 3.1723 | 230.168 | 0 | 16.3709 | 26.46 | 969.501 | 85.7679 | -0.22908
2019-02-19 11:00:00 | 0 | 169.174 | 3.6837 | 220.22 | 3.6837 | 221.678 | 0.37567 | 355.426 | 26.46 | 969.799 | 86.5881 | -0.14779
2019-02-19 11:15:00 | 0 | 165.463 | 3.6837 | 204.407 | 3.6837 | 221.674 | 1.5183 | 341.928 | 26.46 | 970.096 | 84.3997 | -0.17735
2019-02-19 11:30:00 | 0 | 156.186 | 2.661 | 200.886 | 1.894 | 213.274 | 0 | 345.942 | 26.46 | 970.06 | 81.1166 | 0.16627
2019-02-19 11:45:00 | 0.372 | 189.456 | 4.195 | 236.862 | 3.6837 | 210.388 | 0.37567 | 3.2202 | 26.46 | 970.378 | 77.0136 | 0.14779
2019-02-19 12:00:00 | 0 | 193.995 | 5.4733 | 231.457 | 4.962 | 206.409 | 0.75133 | 11.5607 | 26.46 | 970.138 | 77.1312 | 1.7588
2019-02-19 12:15:00 | 0 | 204.725 | 4.7063 | 235.406 | 5.2177 | 217.261 | 1.5183 | 13.1215 | 26.46 | 970.121 | 79.3169 | 3.0187
2019-02-19 12:30:00 | 0 | 188.555 | 5.2177 | 227.943 | 5.729 | 192.75 | 2.9167 | 7.6095 | 26.46 | 970.214 | 78.702 | 1.7144
2019-02-19 12:45:00 | 0 | 190.905 | 3.9393 | 252.355 | 4.4507 | 201.735 | 0.37567 | 6.757 | 26.46 | 970.025 | 78.6814 | 1.1824
2019-02-19 13:00:00 | 0 | 177.151 | 2.661 | 230.432 | 2.661 | 198.521 | 0.37567 | 13.7828 | 26.46 | 970.331 | 75.0962 | 1.6959
2019-02-19 13:15:00 | 0 | 180.531 | 5.729 | 225.163 | 5.9847 | 189.848 | 3.308 | 2.7072 | 26.46 | 969.849 | 70.8457 | 3.3586
2019-02-19 13:30:00 | 0 | 182.384 | 5.9847 | 224.114 | 7.7743 | 175.75 | 3.9393 | 6.5364 | 26.46 | 969.715 | 71.5286 | 3.6949
2019-02-19 13:45:00 | 0 | 180.477 | 4.195 | 229.76 | 4.4507 | 188.21 | 1.774 | 6.6355 | 26.46 | 969.786 | 69.7011 | 2.0802
2019-02-19 14:00:00 | 0 | 192.119 | 2.661 | 238.916 | 2.9167 | 190.924 | 0.37567 | 1.1222 | 26.46 | 969.501 | 71.0699 | -0.29928
2019-02-19 14:15:00 | 0 | 176.426 | 4.4507 | 204.46 | 3.6837 | 209.36 | 0 | 349.827 | 26.46 | 969.618 | 71.9556 | -0.29189
2019-02-19 14:30:00 | 0 | 190.935 | 5.729 | 224.219 | 4.195 | 204.402 | 0 | 7.9292 | 26.46 | 970.096 | 73.9443 | 0.29189
2019-02-19 14:45:00 | 0 | 140.799 | 3.6837 | 197.285 | 3.428 | 190.058 | 0 | 332.857 | 26.46 | 969.769 | 74.2864 | 0.38057
2019-02-19 15:00:00 | 0 | 146.484 | 1.894 | 190.065 | 3.6837 | 189.278 | 0.37567 | 321.465 | 26.46 | 969.797 | 71.6897 | -0.15149
2019-02-19 15:15:00 | 0 | 144.386 | 2.9167 | 179.817 | 2.4053 | 188.692 | 0 | 320.586 | 26.46 | 969.796 | 69.5028 | -0.34362
2019-02-19 15:30:00 | 0 | 148.091 | 2.1497 | 184.01 | 2.661 | 189.079 | 0 | 338.634 | 26.46 | 969.799 | 67.417 | -0.28081
2019-02-19 15:45:00 | 0 | 137.064 | 1.6383 | 177.472 | 2.4053 | 189.006 | 0 | 312.091 | 26.46 | 969.741 | 66.7681 | -0.28081
2019-02-19 16:00:00 | 0 | 177.95 | 1.127 | 214.453 | 0 | 190.539 | 0 | 339.31 | 26.46 | 969.784 | 66.0148 | -0.29928
2019-02-19 16:15:00 | 0 | 160.435 | 0 | 188.204 | 0 | 190.248 | 0 | 303.011 | 26.46 | 969.789 | 65.3662 | -0.29928
2019-02-19 16:30:00 | 0 | 193.663 | 1.127 | 182.885 | 0 | 190.443 | 0 | 304.231 | 26.46 | 969.715 | 65.127 | -0.28081
2019-02-19 16:45:00 | 0 | 153.556 | 1.6383 | 196.599 | 1.3827 | 189.762 | 0 | 332.681 | 26.46 | 969.472 | 65.4011 | -0.28081
2019-02-19 17:00:00 | 7.244 | 150.29 | 1.6383 | 199.872 | 1.6383 | 189.766 | 0 | 332.785 | 26.46 | 969.786 | 65.539 | -0.28081
2019-02-19 17:15:00 | 0 | 143.605 | 3.1723 | 201.775 | 3.428 | 188.985 | 0 | 333.663 | 26.46 | 969.799 | 65.539 | -0.32884
2019-02-19 17:30:00 | 0 | 135.212 | 2.661 | 182.404 | 2.1497 | 188.887 | 0 | 318.147 | 26.46 | 969.502 | 66.8375 | -0.19583
2019-02-19 17:45:00 | 0 | 151.486 | 3.1723 | 203.435 | 2.661 | 189.082 | 0 | 333.566 | 26.46 | 969.502 | 69.8787 | 0.26972
2019-02-19 18:00:00 | 0 | 163.933 | 3.428 | 173.997 | 2.1497 | 189.214 | 0 | 339.872 | 26.46 | 969.204 | 71.805 | 0.87937
2019-02-19 18:15:00 | 0 | 155.905 | 2.1497 | 206.609 | 1.6383 | 189.439 | 0 | 330.262 | 26.46 | 969.627 | 72.1241 | 1.3782
2019-02-19 18:30:00 | 0 | 148.729 | 2.9167 | 195.21 | 2.4053 | 188.95 | 0 | 339.461 | 26.46 | 969.798 | 73.8327 | 1.4779
2019-02-19 18:45:00 | 0 | 143.041 | 3.428 | 183.885 | 2.4053 | 188.656 | 0.75133 | 328.305 | 26.46 | 969.798 | 72.4649 | 1.3043
2019-02-19 19:00:00 | 0 | 150.708 | 4.195 | 203.706 | 2.9167 | 188.61 | 0 | 332.094 | 26.46 | 969.947 | 73.0815 | 2.4017
2019-02-19 19:15:00 | 0 | 149.121 | 3.6837 | 193.114 | 1.6383 | 190.319 | 0 | 325.553 | 26.46 | 969.798 | 76.6365 | 4.8772
2019-02-19 19:30:00 | 0.372 | 160.885 | 4.195 | 193.553 | 4.195 | 197.933 | 5.2177 | 328.872 | 26.46 | 970.095 | 80.2598 | 7.5042
2019-02-19 19:45:00 | 0 | 161.715 | 5.2177 | 206.488 | 4.962 | 188.561 | 0 | 344.321 | 26.46 | 970.095 | 81.7296 | 6.6249
2019-02-19 20:00:00 | 0 | 161.495 | 4.4507 | 206.977 | 4.4507 | 188.561 | 5.2177 | 344.199 | 26.46 | 970.393 | 82.7893 | 6.9906
2019-02-19 20:15:00 | 0 | 157.451 | 3.9393 | 200.006 | 2.661 | 188.96 | 0.75133 | 338.966 | 26.46 | 970.839 | 83.0322 | 6.7246
2019-02-19 20:30:00 | 0 | 160.363 | 3.9393 | 203.264 | 2.9167 | 188.677 | 0 | 332.565 | 26.46 | 971.285 | 80.0624 | 4.2084
2019-02-19 20:45:00 | 0 | 153.458 | 4.195 | 196.115 | 2.661 | 209.281 | 0 | 327.688 | 26.46 | 971.582 | 75.2774 | 2.3832
2019-02-19 21:00:00 | 0 | 153.429 | 4.195 | 206.604 | 2.661 | 209.274 | 0 | 343.786 | 26.46 | 971.582 | 75.3776 | 1.8216
2019-02-19 21:15:00 | 0 | 161.426 | 4.4507 | 208.789 | 3.6837 | 209.361 | 0.63133 | 353.117 | 26.46 | 971.88 | 70.1439 | 0.79439
2019-02-19 21:30:00 | 0.62733 | 174.015 | 2.9167 | 206.83 | 2.661 | 209.307 | 2.7967 | 353.376 | 26.46 | 972.326 | 68.091 | -0.029559
2019-02-19 21:45:00 | 0 | 167.133 | 2.1497 | 209.564 | 1.6383 | 209.355 | 0 | 0.87862 | 26.46 | 972.474 | 69.8001 | -0.24755
2019-02-19 22:00:00 | 0 | 175.309 | 3.6837 | 214.054 | 3.428 | 209.282 | 1.1427 | 6.9069 | 26.46 | 972.474 | 71.6801 | 0.31776
2019-02-19 22:15:00 | 3.9247 | 187.976 | 3.9393 | 228.552 | 3.428 | 209.355 | 0 | 5.4426 | 26.46 | 972.474 | 76.7049 | 0.49141
2019-02-19 22:30:00 | 0 | 186.999 | 3.1723 | 226.501 | 3.428 | 209.38 | 0.37567 | 3.5145 | 26.46 | 972.623 | 79.8496 | 0.38796
2019-02-19 22:45:00 | 0 | 194.712 | 3.428 | 231.041 | 3.6837 | 209.453 | 0.37567 | 18.5486 | 26.46 | 972.623 | 80.67 | 0.61334
2019-02-19 23:00:00 | 0.372 | 201.009 | 3.428 | 235.532 | 2.9167 | 209.648 | 0.63133 | 24.162 | 26.46 | 973.069 | 82.1057 | 0.70202
2019-02-19 23:15:00 | 0 | 199.691 | 4.195 | 240.511 | 3.6837 | 209.258 | 1.127 | 26.1389 | 26.46 | 973.069 | 80.3965 | 0.73897
2019-02-19 23:30:00 | 0 | 198.518 | 3.9393 | 238.606 | 3.428 | 208.793 | 0 | 20.5499 | 26.46 | 973.069 | 80.5329 | 0.23278
2019-02-19 23:45:00 | 0 | 194.417 | 2.661 | 232.137 | 1.894 | 208.963 | 0 | 21.0379 | 26.46 | 973.069 | 80.3959 | -0.15149