## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-20 00:00:00 | 7.4993 | 209.062 | 2.9167 | 242.121 | 2.1497 | 209.55 | 0 | 39.4646 | 26.46 | 973.367 | 80.4647 | -0.040643
2019-02-20 00:15:00 | 10.0527 | 211.498 | 2.9167 | 251.146 | 2.1497 | 210.62 | 0 | 49.3968 | 26.46 | 973.367 | 79.3009 | -0.029559
2019-02-20 00:30:00 | 0 | 226.439 | 3.1723 | 270.114 | 2.4053 | 213.748 | 0 | 48.5192 | 26.46 | 973.664 | 78.2428 | -0.040643
2019-02-20 00:45:00 | 0 | 226.927 | 3.428 | 266.185 | 2.661 | 214.578 | 0 | 52.3265 | 26.46 | 973.515 | 77.901 | 0.0073897
2019-02-20 01:00:00 | 3.9247 | 222.239 | 3.428 | 260.13 | 3.1723 | 210.622 | 1.5183 | 48.958 | 26.46 | 973.367 | 78.208 | 0.29189
2019-02-20 01:15:00 | 0 | 227.219 | 3.1723 | 262.035 | 2.661 | 211.307 | 0 | 54.1812 | 26.46 | 973.664 | 78.3451 | 0.34731
2019-02-20 01:30:00 | 0 | 239.326 | 2.9167 | 277.217 | 2.1497 | 217.214 | 0 | 58.3304 | 26.46 | 973.664 | 78.824 | 0.033254
2019-02-20 01:45:00 | 0 | 243.524 | 2.4053 | 288.005 | 2.1497 | 223.706 | 0 | 71.0949 | 26.46 | 973.664 | 78.8925 | -0.014779
2019-02-20 02:00:00 | 0 | 249.869 | 2.661 | 291.861 | 1.894 | 227.123 | 0 | 73.2671 | 26.46 | 973.664 | 79.1659 | 0.062812
2019-02-20 02:15:00 | 0 | 244.594 | 2.1497 | 273.405 | 1.6383 | 227.021 | 0 | 72.6801 | 26.46 | 973.515 | 79.438 | -0.10346
2019-02-20 02:30:00 | 0 | 240.715 | 2.1497 | 270.088 | 1.3827 | 226.34 | 0 | 72.7782 | 26.46 | 973.367 | 80.6008 | -0.096066
2019-02-20 02:45:00 | 0 | 252.408 | 2.1497 | 270.237 | 0.75133 | 227.025 | 0 | 72.7789 | 26.46 | 973.218 | 80.67 | -0.18844
2019-02-20 03:00:00 | 0 | 251.425 | 1.894 | 270.352 | 1.3827 | 226.263 | 0 | 72.4355 | 26.46 | 973.069 | 80.8047 | -0.20691
2019-02-20 03:15:00 | 0 | 252.406 | 1.6383 | 270.382 | 0 | 226.438 | 0 | 72.5589 | 26.46 | 973.069 | 81.1481 | -0.25864
2019-02-20 03:30:00 | 0 | 276.447 | 1.894 | 270.823 | 0.75133 | 227.904 | 0 | 73.2182 | 26.46 | 972.772 | 80.6699 | -0.16996
2019-02-20 03:45:00 | 0 | 338.464 | 2.4053 | 273.654 | 1.127 | 0.048812 | 0 | 136.552 | 26.46 | 972.921 | 81.2852 | -0.18844
2019-02-20 04:00:00 | 0 | 341.295 | 2.661 | 275.143 | 2.661 | 0.048812 | 0 | 144.386 | 26.46 | 972.921 | 81.2852 | -0.15149
2019-02-20 04:15:00 | 0 | 350.52 | 2.661 | 275.143 | 1.6383 | 0.048812 | 0 | 145.07 | 26.46 | 973.069 | 81.2511 | -0.20691
2019-02-20 04:30:00 | 0 | 0.097624 | 2.1497 | 275.314 | 3.1723 | 0.048812 | 0 | 162.886 | 26.46 | 973.069 | 82.6525 | -0.18844
2019-02-20 04:45:00 | 0 | 4.1002 | 3.6837 | 275.728 | 3.428 | 10.7631 | 0 | 172.405 | 26.46 | 973.069 | 81.7638 | -0.17735
2019-02-20 05:00:00 | 0 | 7.2242 | 4.7063 | 276.729 | 2.9167 | 11.2268 | 0 | 181.654 | 26.46 | 973.069 | 83.0627 | 0.084981
2019-02-20 05:15:00 | 0 | 5.467 | 3.9393 | 276.827 | 3.428 | 16.0104 | 0 | 178.823 | 26.46 | 973.069 | 84.5667 | 0.022169
2019-02-20 05:30:00 | 0 | 8.835 | 3.428 | 276.778 | 2.661 | 21.819 | 0 | 179.922 | 26.46 | 973.218 | 85.7973 | 0.14779
2019-02-20 05:45:00 | 0 | 17.67 | 4.4507 | 276.876 | 3.6837 | 21.2333 | 0.37567 | 185.023 | 26.46 | 973.069 | 87.438 | 1.574
2019-02-20 06:00:00 | 0.372 | 18.6951 | 4.962 | 66.8857 | 4.7063 | 20.3547 | 3.1723 | 182.753 | 26.46 | 972.921 | 89.1471 | 2.9411
2019-02-20 06:15:00 | 0 | 14.3508 | 5.2177 | 67.0321 | 3.6837 | 32.1184 | 3.5637 | 176.432 | 26.46 | 972.921 | 89.9675 | 3.451
2019-02-20 06:30:00 | 0 | 19.7201 | 4.962 | 69.1066 | 4.4507 | 32.4601 | 0.75133 | 184.803 | 26.46 | 973.069 | 91.1297 | 3.3771
2019-02-20 06:45:00 | 0 | 23.4786 | 4.962 | 68.5453 | 3.6837 | 34.9251 | 0 | 188.732 | 26.46 | 973.069 | 91.2323 | 3.6025
2019-02-20 07:00:00 | 0 | 19.5737 | 4.962 | 77.4291 | 3.6837 | 34.1197 | 0 | 195.297 | 26.46 | 973.069 | 91.1297 | 4.759
2019-02-20 07:15:00 | 0 | 24.6501 | 4.195 | 70.5466 | 3.9393 | 32.6065 | 0.75133 | 195.517 | 26.46 | 973.367 | 91.0613 | 3.5175
2019-02-20 07:30:00 | 0 | 32.3137 | 3.9393 | 80.0161 | 3.428 | 32.8018 | 0 | 207.915 | 26.46 | 973.664 | 90.241 | 1.8437
2019-02-20 07:45:00 | 0 | 37.2432 | 2.9167 | 80.5032 | 2.661 | 33.1187 | 0 | 215.845 | 26.46 | 974.11 | 87.5396 | 0.43969
2019-02-20 08:00:00 | 0 | 45.2001 | 2.4053 | 99.541 | 1.127 | 59.2092 | 0 | 219.606 | 26.46 | 975.002 | 82.7551 | -0.022169
2019-02-20 08:15:00 | 0 | 39.9394 | 2.4053 | 108.187 | 1.3827 | 65.1912 | 0 | 221.826 | 26.46 | 975.449 | 75.3465 | 0.062812
2019-02-20 08:30:00 | 0 | 49.3786 | 1.6383 | 92.6632 | 0 | 70.9939 | 0 | 220.154 | 26.46 | 975.715 | 70.4561 | -0.077592
2019-02-20 08:45:00 | 0 | 52.4896 | 1.127 | 93.8088 | 0 | 71.9049 | 0 | 227.91 | 26.46 | 976.615 | 68.664 | -0.29928
2019-02-20 09:00:00 | 0 | 58.4315 | 0 | 94.5707 | 0 | 71.8932 | 0 | 253.797 | 26.46 | 977.824 | 63.4612 | -0.31776
2019-02-20 09:15:00 | 0 | 139.252 | 1.3827 | 142.217 | 2.1497 | 86.545 | 0 | 293.424 | 26.46 | 978.422 | 71.1904 | -0.29928
2019-02-20 09:30:00 | 0 | 157.409 | 3.1723 | 210.263 | 2.661 | 112.755 | 0.37567 | 344.383 | 26.46 | 978.204 | 74.3516 | -0.3547
2019-02-20 09:45:00 | 0 | 159.476 | 2.1497 | 203.247 | 2.1497 | 112.915 | 0 | 333.725 | 26.46 | 978.198 | 75.4875 | -0.27342
2019-02-20 10:00:00 | 0 | 136.263 | 1.3827 | 187.442 | 1.894 | 112.813 | 0 | 307.092 | 26.46 | 978.432 | 71.1145 | -0.29928
2019-02-20 10:15:00 | 0 | 117.672 | 1.127 | 176.81 | 1.6383 | 112.822 | 0 | 279.556 | 26.46 | 978.632 | 69.8414 | -0.28081
2019-02-20 10:30:00 | 0 | 152.598 | 2.1497 | 175.811 | 1.894 | 112.895 | 0 | 320.136 | 26.46 | 979.008 | 65.9498 | -0.2882
2019-02-20 10:45:00 | 0 | 133.831 | 2.9167 | 208.178 | 2.661 | 113.431 | 0 | 340.975 | 26.46 | 979.304 | 63.6969 | -0.24386
2019-02-20 11:00:00 | 0 | 136.828 | 0.75133 | 177.905 | 1.007 | 113.844 | 0 | 291.13 | 26.46 | 979.007 | 61.58 | -0.24386
2019-02-20 11:15:00 | 0 | 183.868 | 3.9393 | 236.986 | 2.661 | 129.176 | 2.1497 | 345.021 | 26.46 | 979.304 | 56.0505 | 0.15518
2019-02-20 11:30:00 | 0 | 149.402 | 3.9393 | 202.494 | 5.4733 | 139.409 | 0 | 312.062 | 26.46 | 979.304 | 41.5762 | -0.022169
2019-02-20 11:45:00 | 0 | 193.422 | 5.2177 | 242.202 | 5.4733 | 188.621 | 0 | 344.095 | 26.46 | 979.304 | 44.3762 | -0.11084
2019-02-20 12:00:00 | 0 | 124.228 | 2.1497 | 169.254 | 1.3827 | 288.427 | 0 | 342.389 | 26.46 | 979.007 | 56.6308 | -0.26603
2019-02-20 12:15:00 | 0 | 84.3297 | 1.127 | 133.11 | 1.127 | 121.425 | 0 | 283.455 | 26.46 | 979.304 | 71.3432 | -0.28081
2019-02-20 12:30:00 | 0 | 160.032 | 0.37567 | 102.156 | 2.661 | 120.67 | 2.661 | 338.245 | 26.46 | 978.71 | 74.9275 | -0.26603
2019-02-20 12:45:00 | 0 | 93.0308 | 1.894 | 90.433 | 1.894 | 120.401 | 0 | 337.855 | 26.46 | 978.116 | 77.9997 | -0.17735
2019-02-20 13:00:00 | 0 | 356.866 | 2.661 | 45.0996 | 2.9167 | 118.257 | 4.4507 | 337.831 | 26.46 | 977.226 | 82.6079 | 0.4286
2019-02-20 13:15:00 | 0 | 356.878 | 2.9167 | 57.313 | 2.9167 | 111.29 | 0.75133 | 228.624 | 26.46 | 976.961 | 89.3698 | 1.2526
2019-02-20 13:30:00 | 0 | 12.384 | 3.9393 | 54.7914 | 3.1723 | 110.92 | 0.37567 | 188.929 | 26.46 | 976.92 | 90.6831 | 1.4853
2019-02-20 13:45:00 | 0 | 9.6305 | 3.6837 | 78.3288 | 2.4053 | 108.886 | 0 | 173.423 | 26.46 | 976.93 | 90.7631 | 1.744
2019-02-20 14:00:00 | 0 | 10.4839 | 2.661 | 32.5168 | 2.4053 | 107.326 | 0.75133 | 199.876 | 26.46 | 976.93 | 88.646 | 2.191
2019-02-20 14:15:00 | 0 | 13.5559 | 3.428 | 55.8739 | 3.428 | 100.645 | 3.1723 | 201.144 | 26.46 | 976.778 | 90.0802 | 1.7883
2019-02-20 14:30:00 | 0 | 13.3608 | 3.428 | 71.1121 | 2.4053 | 91.1365 | 1.2627 | 179.347 | 26.46 | 977.075 | 91.9583 | 1.8253
2019-02-20 14:45:00 | 0 | 7.1212 | 3.428 | 62.5762 | 3.1723 | 91.1119 | 0 | 182.516 | 26.46 | 977.229 | 91.7436 | 1.9767
2019-02-20 15:00:00 | 0 | 352.23 | 3.428 | 48.4364 | 3.1723 | 91.0209 | 0 | 186.042 | 26.46 | 976.932 | 87.1047 | 1.8253
2019-02-20 15:15:00 | 0 | 8.1948 | 4.4507 | 60.2412 | 3.6837 | 91.0701 | 1.5183 | 188.14 | 26.46 | 976.932 | 84.0991 | 1.5851
2019-02-20 15:30:00 | 0 | 17.3165 | 4.195 | 55.6316 | 3.9393 | 91.0701 | 2.661 | 200.359 | 26.46 | 976.635 | 82.4594 | 1.622
2019-02-20 15:45:00 | 0 | 19.0725 | 3.9393 | 61.2167 | 4.195 | 37.6085 | 2.1497 | 199.457 | 26.46 | 976.635 | 81.9471 | 1.1971
2019-02-20 16:00:00 | 0 | 4.7807 | 3.1723 | 51.8076 | 3.428 | 37.7575 | 0.37567 | 190.568 | 26.46 | 976.765 | 83.2169 | 1.7403
2019-02-20 16:15:00 | 0 | 12.4662 | 3.6837 | 77.1928 | 3.6837 | 38.0574 | 0 | 193.434 | 26.46 | 976.479 | 84.2235 | 1.8659
2019-02-20 16:30:00 | 0 | 8.3919 | 3.1723 | 61.3335 | 2.1497 | 38.9347 | 1.3827 | 188.16 | 26.46 | 976.339 | 87.1256 | 2.579
2019-02-20 16:45:00 | 0 | 12.4906 | 4.7063 | 60.8475 | 3.428 | 41.2776 | 0.37567 | 191.824 | 26.46 | 976.297 | 84.736 | 3.2367
2019-02-20 17:00:00 | 0 | 7.7093 | 4.7063 | 61.1919 | 3.1723 | 41.4254 | 0 | 184.072 | 26.46 | 976.487 | 86.7207 | 3.0519
2019-02-20 17:15:00 | 0 | 3.8304 | 3.6837 | 53.925 | 2.9167 | 41.4029 | 0 | 178.957 | 26.46 | 976.631 | 87.5446 | 3.9276
2019-02-20 17:30:00 | 0.372 | 353.548 | 4.4507 | 43.6293 | 3.6837 | 41.1834 | 0 | 179.763 | 26.46 | 976.63 | 85.0162 | 3.6431
2019-02-20 17:45:00 | 0 | 0.097591 | 3.428 | 51.6318 | 3.428 | 41.1346 | 1.3983 | 184.398 | 26.46 | 976.636 | 86.8614 | 3.2293
2019-02-20 18:00:00 | 0.372 | 0.14639 | 4.4507 | 54.3643 | 3.9393 | 41.1346 | 2.2853 | 188.595 | 26.46 | 976.636 | 85.4263 | 3.8279
2019-02-20 18:15:00 | 0.99933 | 3.6354 | 4.7063 | 50.3177 | 4.4507 | 40.917 | 3.428 | 192.02 | 26.46 | 976.636 | 82.355 | 3.8242
2019-02-20 18:30:00 | 0.372 | 0.70764 | 4.962 | 53.1799 | 4.195 | 41.0188 | 4.4507 | 187.818 | 26.46 | 976.648 | 83.7646 | 4.9806
2019-02-20 18:45:00 | 1.6267 | 5.5638 | 5.729 | 62.1391 | 4.7063 | 40.8743 | 2.9167 | 191.511 | 26.46 | 976.934 | 82.2306 | 7.4229
2019-02-20 19:00:00 | 0 | 10.1518 | 5.729 | 65.5828 | 4.7063 | 40.9001 | 3.1723 | 194.154 | 26.46 | 976.949 | 79.7042 | 9.1558
2019-02-20 19:15:00 | 0 | 11.2261 | 5.4733 | 64.5863 | 4.195 | 40.9509 | 4.4507 | 194.285 | 26.46 | 976.823 | 77.1786 | 8.5757
2019-02-20 19:30:00 | 0 | 18.3521 | 5.2177 | 67.8068 | 4.7063 | 40.9017 | 5.9847 | 197.553 | 26.46 | 976.971 | 74.6486 | 8.7974
2019-02-20 19:45:00 | 1.51 | 9.2242 | 5.2177 | 65.2141 | 4.7063 | 40.7037 | 2.9167 | 195.856 | 26.46 | 976.959 | 71.4992 | 9.0856
2019-02-20 20:00:00 | 0 | 12.1034 | 5.4733 | 61.2101 | 4.962 | 25.7198 | 0.75133 | 196.974 | 26.46 | 977.241 | 69.3784 | 10.7631
2019-02-20 20:15:00 | 0.62733 | 18.155 | 4.7063 | 67.7981 | 4.4507 | 25.8416 | 2.4053 | 195.484 | 26.46 | 977.238 | 75.0513 | 9.1706
2019-02-20 20:30:00 | 0 | 14.6657 | 5.2177 | 63.9432 | 4.7063 | 25.915 | 0 | 193.191 | 26.46 | 976.934 | 79.8707 | 10.4453
2019-02-20 20:45:00 | 3.9247 | 10.6884 | 5.729 | 61.6029 | 4.962 | 25.6717 | 4.4507 | 197.296 | 26.46 | 977.246 | 78.0274 | 11.3801
2019-02-20 21:00:00 | 0 | 17.6686 | 5.729 | 66.1956 | 4.7063 | 25.9417 | 4.962 | 201.945 | 26.46 | 977.277 | 74.1696 | 10.9404
2019-02-20 21:15:00 | 0 | 18.1069 | 5.4733 | 64.3364 | 4.962 | 25.501 | 5.729 | 199.884 | 26.46 | 977.303 | 69.7225 | 9.263
2019-02-20 21:30:00 | 0 | 22.207 | 4.962 | 70.5852 | 3.9393 | 25.7699 | 0 | 199.644 | 26.46 | 977.578 | 62.6147 | 7.3934
2019-02-20 21:45:00 | 0 | 22.6456 | 4.4507 | 72.2905 | 4.4507 | 25.7935 | 1.007 | 204.054 | 26.46 | 977.542 | 57.7596 | 4.8329
2019-02-20 22:00:00 | 1.3933 | 21.6203 | 4.195 | 72.7281 | 3.9393 | 25.8174 | 3.1723 | 200.073 | 26.46 | 977.536 | 50.9916 | 3.3882
2019-02-20 22:15:00 | 1.6487 | 11.5174 | 3.9393 | 72.1639 | 3.1723 | 25.8654 | 0 | 188.818 | 26.46 | 977.826 | 47.88 | 2.4127
2019-02-20 22:30:00 | 0.62733 | 8.784 | 3.9393 | 66.5226 | 3.428 | 25.8153 | 0.63133 | 189.1 | 26.46 | 977.826 | 45.3827 | 1.441
2019-02-20 22:45:00 | 0 | 18.1523 | 3.9393 | 63.491 | 3.428 | 25.8622 | 0 | 205.141 | 26.46 | 977.826 | 50.5393 | 1.6257
2019-02-20 23:00:00 | 0 | 31.2294 | 3.6837 | 74.4934 | 3.1723 | 25.9595 | 1.007 | 210.164 | 26.46 | 977.974 | 60.9608 | 1.393
2019-02-20 23:15:00 | 0 | 40.7494 | 3.428 | 93.1224 | 2.9167 | 36.9917 | 0 | 210.97 | 26.46 | 977.826 | 50.3396 | 1.0789
2019-02-20 23:30:00 | 0 | 30.7464 | 3.6837 | 88.7838 | 3.1723 | 37.335 | 0 | 195.948 | 26.46 | 977.826 | 40.8066 | 0.80548
2019-02-20 23:45:00 | 0.372 | 10.151 | 3.1723 | 78.5577 | 2.9167 | 47.2901 | 0 | 193.114 | 26.46 | 978.123 | 31.9885 | -0.33993