## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-21 00:00:00 | 0 | 20.47 | 3.428 | 78.1781 | 2.9167 | 42.2088 | 0 | 191.037 | 26.46 | 978.123 | 34.7178 | -0.084982
2019-02-21 00:15:00 | 0 | 21.8604 | 3.6837 | 71.5891 | 3.1723 | 36.0111 | 1.774 | 197.183 | 26.46 | 978.123 | 39.5695 | -0.036948
2019-02-21 00:30:00 | 0 | 17.4444 | 4.195 | 72.4675 | 3.428 | 36.0111 | 1.6383 | 195.89 | 26.46 | 978.123 | 37.1434 | -0.24016
2019-02-21 00:45:00 | 0 | 18.8351 | 3.428 | 72.7114 | 2.661 | 35.9135 | 0 | 195.768 | 26.46 | 978.42 | 36.2207 | -0.27342
2019-02-21 01:00:00 | 0 | 17.7616 | 3.9393 | 71.4916 | 2.9167 | 35.9135 | 0 | 196.792 | 26.46 | 978.569 | 34.1705 | -0.31776
2019-02-21 01:15:00 | 0 | 24.2514 | 3.1723 | 71.5404 | 2.661 | 35.9623 | 0 | 202.453 | 26.46 | 978.42 | 35.8107 | -0.31776
2019-02-21 01:30:00 | 0 | 27.0815 | 3.428 | 72.4675 | 2.4053 | 36.0111 | 0 | 206.063 | 26.46 | 978.272 | 33.2821 | -0.30667
2019-02-21 01:45:00 | 0 | 28.399 | 3.1723 | 72.6139 | 1.894 | 36.1087 | 0 | 206.917 | 26.46 | 978.123 | 35.1273 | -0.31776
2019-02-21 02:00:00 | 0 | 24.6905 | 2.9167 | 72.6139 | 1.894 | 36.1575 | 0 | 205.405 | 26.46 | 978.123 | 35.674 | -0.32884
2019-02-21 02:15:00 | 0 | 25.5688 | 3.428 | 72.6139 | 1.894 | 36.2063 | 0 | 205.087 | 26.46 | 977.826 | 35.5032 | -0.33623
2019-02-21 02:30:00 | 0 | 34.8888 | 2.4053 | 72.6139 | 1.127 | 44.7455 | 0 | 206.844 | 26.46 | 977.826 | 34.6831 | -0.31776
2019-02-21 02:45:00 | 0 | 39.2317 | 1.6383 | 72.6141 | 0 | 44.6969 | 0 | 216.213 | 26.46 | 977.529 | 35.3324 | -0.33623
2019-02-21 03:00:00 | 0 | 39.2356 | 0.75133 | 72.5745 | 0 | 44.6524 | 0 | 216.235 | 26.46 | 977.083 | 35.4043 | -0.31776
2019-02-21 03:15:00 | 0 | 39.2406 | 1.127 | 72.5864 | 0 | 44.6094 | 0 | 216.263 | 26.46 | 976.984 | 35.4772 | -0.30667
2019-02-21 03:30:00 | 0 | 32.8016 | 0.37567 | 72.5718 | 0 | 44.6141 | 0 | 216.286 | 26.46 | 976.916 | 35.3442 | -0.33623
2019-02-21 03:45:00 | 0 | 32.7774 | 0 | 72.5235 | 0 | 44.4191 | 0 | 215.506 | 26.46 | 976.918 | 36.3698 | -0.31776
2019-02-21 04:00:00 | 0 | 32.8018 | 0 | 72.5235 | 0 | 44.4191 | 0 | 213.26 | 26.46 | 976.638 | 37.1902 | -0.32515
2019-02-21 04:15:00 | 0 | 19.964 | 2.1497 | 71.9615 | 0 | 44.3211 | 0 | 206.962 | 26.46 | 976.638 | 36.1987 | -0.30667
2019-02-21 04:30:00 | 0 | 18.8899 | 2.661 | 68.8852 | 1.6383 | 36.0715 | 0 | 199.979 | 26.46 | 976.638 | 35.9589 | -0.31776
2019-02-21 04:45:00 | 0 | 22.7951 | 2.9167 | 69.5207 | 1.3827 | 36.0231 | 0 | 200.372 | 26.46 | 976.638 | 36.6429 | -0.31776
2019-02-21 05:00:00 | 0 | 27.8229 | 3.6837 | 73.036 | 2.661 | 35.9258 | 0 | 209.038 | 26.46 | 976.608 | 37.327 | -0.33623
2019-02-21 05:15:00 | 0 | 29.8714 | 3.9393 | 73.5677 | 2.661 | 36.1434 | 0 | 208.636 | 26.46 | 976.546 | 38.0085 | -0.3547
2019-02-21 05:30:00 | 0 | 31.0415 | 3.428 | 80.6409 | 2.9167 | 38.509 | 0 | 211.702 | 26.46 | 976.394 | 38.417 | -0.31776
2019-02-21 05:45:00 | 0 | 37.3859 | 2.9167 | 94.0123 | 2.9167 | 47.562 | 1.5183 | 220.899 | 26.46 | 976.401 | 39.5101 | -0.31776
2019-02-21 06:00:00 | 0 | 70.675 | 2.661 | 129.477 | 0 | 55.0563 | 0 | 230.743 | 26.46 | 976.439 | 39.6486 | -0.34731
2019-02-21 06:15:00 | 0 | 51.6884 | 3.428 | 107.147 | 2.1497 | 55.1538 | 0 | 230.499 | 26.46 | 976.413 | 38.1788 | -0.36579
2019-02-21 06:30:00 | 0 | 45.5386 | 2.9167 | 100.021 | 2.4053 | 54.0801 | 0 | 223.398 | 26.46 | 976.397 | 38.0763 | -0.31776
2019-02-21 06:45:00 | 0 | 51.5395 | 3.1723 | 103.529 | 2.1497 | 54.7119 | 0 | 222.777 | 26.46 | 976.677 | 37.9377 | -0.33623
2019-02-21 07:00:00 | 0 | 57.7833 | 2.1497 | 111.916 | 1.6383 | 54.855 | 0 | 238.698 | 26.46 | 976.805 | 38.4822 | -0.3547
2019-02-21 07:15:00 | 0 | 62.9993 | 1.6383 | 111.61 | 1.127 | 54.7523 | 0 | 245.117 | 26.46 | 976.786 | 38.2736 | -0.31037
2019-02-21 07:30:00 | 0 | 40.5247 | 2.4053 | 83.0805 | 1.6383 | 53.7727 | 0 | 226.362 | 26.46 | 976.934 | 38.681 | -0.32145
2019-02-21 07:45:00 | 0 | 31.4964 | 2.4053 | 77.7829 | 1.127 | 53.5269 | 0 | 216.01 | 26.46 | 976.929 | 39.0898 | -0.34731
2019-02-21 08:00:00 | 0 | 62.0021 | 2.1497 | 106.126 | 1.894 | 53.1725 | 0 | 232.764 | 26.46 | 977.524 | 37.2015 | 0.97913
2019-02-21 08:15:00 | 0 | 147.702 | 2.661 | 192.725 | 2.9167 | 59.2175 | 0 | 325.501 | 26.46 | 978.121 | 37.9163 | 1.5925
2019-02-21 08:30:00 | 0 | 148.387 | 3.428 | 199.679 | 3.6837 | 77.8263 | 2.541 | 329.762 | 26.46 | 978.715 | 41.4557 | 2.8598
2019-02-21 08:45:00 | 0 | 112.494 | 2.661 | 161.639 | 1.894 | 77.7269 | 0 | 294.67 | 26.46 | 978.88 | 40.7717 | 2.1541
2019-02-21 09:00:00 | 0 | 127.016 | 2.661 | 177.034 | 2.9167 | 77.7701 | 0 | 320.588 | 26.46 | 979.604 | 37.7641 | 2.0285
2019-02-21 09:15:00 | 0 | 132.708 | 2.661 | 191.591 | 2.661 | 78.4936 | 1.007 | 309.001 | 26.46 | 979.52 | 38.2383 | 1.4336
2019-02-21 09:30:00 | 0 | 146.798 | 2.9167 | 210.274 | 3.428 | 78.6755 | 0 | 317.188 | 26.46 | 979.633 | 36.6616 | 0.20322
2019-02-21 09:45:00 | 0 | 146.968 | 3.1723 | 200.622 | 2.9167 | 78.5778 | 0 | 334.053 | 26.46 | 979.9 | 34.4086 | -0.10346
2019-02-21 10:00:00 | 0 | 173.022 | 2.1497 | 244.737 | 2.661 | 80.3326 | 0 | 328.691 | 26.46 | 979.75 | 38.0611 | -0.22169
2019-02-21 10:15:00 | 0 | 200.905 | 2.9167 | 247.174 | 2.661 | 81.5025 | 0.63133 | 27.6143 | 26.46 | 979.601 | 36.9005 | -0.18105
2019-02-21 10:30:00 | 0 | 213.697 | 1.127 | 267.936 | 1.3827 | 81.6477 | 0 | 17.0363 | 26.46 | 979.601 | 37.2755 | -0.21061
2019-02-21 10:45:00 | 0 | 195.728 | 2.661 | 235.455 | 2.661 | 82.7554 | 0 | 20.9813 | 26.46 | 979.601 | 38.737 | -0.25494
2019-02-21 11:00:00 | 0 | 232.475 | 2.4053 | 309.656 | 2.1497 | 313.963 | 0 | 18.0326 | 26.46 | 979.453 | 39.9314 | -0.26972
2019-02-21 11:15:00 | 0 | 296.267 | 1.3827 | 327.976 | 1.894 | 301.628 | 0 | 72.6899 | 26.46 | 979.601 | 42.9342 | -0.26972
2019-02-21 11:30:00 | 0 | 42.3973 | 0 | 71.2273 | 1.127 | 22.6119 | 0 | 237.863 | 26.46 | 979.601 | 49.6881 | -0.26972
2019-02-21 11:45:00 | 0 | 335.596 | 1.894 | 28.6071 | 1.6383 | 21.9767 | 0 | 156.688 | 26.46 | 979.013 | 64.5283 | -0.29559
2019-02-21 12:00:00 | 0 | 316.787 | 2.4053 | 15.0848 | 1.894 | 24.535 | 0 | 146.893 | 26.46 | 978.709 | 64.2553 | -0.070202
2019-02-21 12:15:00 | 0 | 332.307 | 2.4053 | 6.4534 | 2.4053 | 50.9217 | 0 | 164.777 | 26.46 | 978.856 | 60.3993 | 0.41382
2019-02-21 12:30:00 | 0 | 305.969 | 2.9167 | 7.6229 | 2.661 | 50.0933 | 0.887 | 145.456 | 26.46 | 978.56 | 56.1679 | 0.39904
2019-02-21 12:45:00 | 0 | 300.901 | 3.1723 | 15.9555 | 2.9167 | 49.6304 | 0 | 143.019 | 26.46 | 978.278 | 56.9186 | 0.48402
2019-02-21 13:00:00 | 0 | 328.726 | 3.1723 | 3.684 | 2.661 | 49.6341 | 0 | 181.31 | 26.46 | 978.245 | 65.5911 | 1.1158
2019-02-21 13:15:00 | 0 | 321.116 | 3.9393 | 15.8088 | 3.1723 | 49.2225 | 0 | 138.481 | 26.46 | 977.819 | 64.5025 | 1.2045
2019-02-21 13:30:00 | 0 | 322.79 | 4.4507 | 17.124 | 4.4507 | 48.9401 | 0 | 160.006 | 26.46 | 977.522 | 64.1742 | 1.4632
2019-02-21 13:45:00 | 0 | 310.119 | 3.1723 | 0.64373 | 2.4053 | 49.233 | 0 | 148.308 | 26.46 | 977.225 | 61.5122 | 1.5666
2019-02-21 14:00:00 | 0 | 322.257 | 4.962 | 6.1563 | 4.195 | 48.6237 | 2.0297 | 158.959 | 26.46 | 977.225 | 58.3035 | 1.9804
2019-02-21 14:15:00 | 0 | 314.262 | 3.428 | 35.5943 | 3.6837 | 62.1505 | 0 | 126.495 | 26.46 | 977.225 | 57.3477 | 2.4349
2019-02-21 14:30:00 | 0 | 332.761 | 3.6837 | 23.676 | 4.195 | 62.053 | 3.1723 | 141.508 | 26.46 | 977.225 | 57.1429 | 2.058
2019-02-21 14:45:00 | 0 | 322.257 | 3.6837 | 1.448 | 2.661 | 50.7441 | 0 | 169.147 | 26.46 | 977.078 | 57.1429 | 1.574
2019-02-21 15:00:00 | 0 | 14.1606 | 3.428 | 21.4581 | 2.9167 | 50.7928 | 4.4507 | 189.742 | 26.46 | 977.009 | 54.6168 | 1.3745
2019-02-21 15:15:00 | 0 | 1.1943 | 2.9167 | 2.8617 | 3.1723 | 50.8903 | 0 | 184.258 | 26.46 | 976.977 | 53.3197 | 1.6959
2019-02-21 15:30:00 | 0 | 306.219 | 2.661 | 4.3728 | 1.894 | 51.3778 | 0 | 137.633 | 26.46 | 976.949 | 51.5105 | 1.5592
2019-02-21 15:45:00 | 0 | 39.412 | 2.661 | 4.666 | 2.4053 | 59.0814 | 0 | 206.59 | 26.46 | 976.674 | 53.3896 | 1.7144
2019-02-21 16:00:00 | 0 | 61.3325 | 0 | 334.636 | 0 | 59.8699 | 0 | 223.049 | 26.46 | 976.61 | 53.8069 | 2.0063
2019-02-21 16:15:00 | 0 | 23.5971 | 3.6837 | 74.2665 | 2.1497 | 59.3828 | 0 | 208.084 | 26.46 | 975.976 | 54.8316 | 2.5421
2019-02-21 16:30:00 | 0 | 11.8004 | 2.4053 | 43.732 | 1.894 | 58.7339 | 0 | 167.303 | 26.46 | 975.742 | 57.1964 | 2.5457
2019-02-21 16:45:00 | 0 | 51.7854 | 1.127 | 9.5499 | 2.9167 | 58.7096 | 0 | 172.716 | 26.46 | 975.535 | 59.2112 | 4.0311
2019-02-21 17:00:00 | 0 | 344.549 | 2.661 | 39.3109 | 1.894 | 58.1402 | 0 | 157.496 | 26.46 | 975 | 61.3449 | 4.2158
2019-02-21 17:15:00 | 0 | 334.135 | 4.195 | 7.3893 | 3.1723 | 58.1443 | 1.3827 | 154.239 | 26.46 | 974.852 | 63.3305 | 3.5877
2019-02-21 17:30:00 | 0 | 338.086 | 4.4507 | 21.5108 | 2.9167 | 58.0712 | 3.9393 | 155.336 | 26.46 | 974.554 | 64.4236 | 2.8302
2019-02-21 17:45:00 | 0 | 340.286 | 3.428 | 29.1941 | 2.661 | 58.0964 | 0 | 163.948 | 26.46 | 974.411 | 63.9804 | 1.7403
2019-02-21 18:00:00 | 0 | 348.696 | 3.428 | 36.4978 | 2.661 | 58.1078 | 0 | 176.909 | 26.46 | 974.546 | 63.1389 | 1.7218
2019-02-21 18:15:00 | 0 | 49.2309 | 2.9167 | 48.2597 | 2.9167 | 58.111 | 0 | 179.798 | 26.46 | 974.555 | 64.0648 | 1.4632
2019-02-21 18:30:00 | 0 | 354.962 | 2.9167 | 42.0635 | 2.4053 | 58.1601 | 0 | 178.579 | 26.46 | 974.555 | 65.3978 | 1.9398
2019-02-21 18:45:00 | 0 | 354.297 | 3.6837 | 39.6716 | 2.4053 | 58.1103 | 0 | 177.112 | 26.46 | 974.528 | 62.3898 | 2.1172
2019-02-21 19:00:00 | 0 | 355.766 | 2.661 | 51.8023 | 2.9167 | 58.164 | 0 | 179.811 | 26.46 | 974.523 | 64.6503 | 1.2599
2019-02-21 19:15:00 | 0 | 49.5273 | 3.9393 | 50.8508 | 2.9167 | 58.1152 | 0 | 182.08 | 26.46 | 974.531 | 63.6936 | 1.6405
2019-02-21 19:30:00 | 0 | 0.097591 | 2.9167 | 53.486 | 3.1723 | 58.1154 | 0 | 184.008 | 26.46 | 974.109 | 62.9421 | 1.6885
2019-02-21 19:45:00 | 0 | 5.2211 | 3.9393 | 59.7562 | 2.9167 | 58.1154 | 0 | 189.985 | 26.46 | 973.937 | 62.8737 | 1.2784
2019-02-21 20:00:00 | 0 | 5.3675 | 3.6837 | 61.7324 | 2.661 | 58.1642 | 0 | 190.449 | 26.46 | 973.961 | 61.0969 | 1.1491
2019-02-21 20:15:00 | 0 | 6.3922 | 3.9393 | 63.5135 | 2.9167 | 58.1398 | 0 | 192.108 | 26.46 | 973.947 | 61.0285 | 1.6257
2019-02-21 20:30:00 | 0 | 8.0025 | 3.428 | 64.9041 | 3.1723 | 58.1154 | 0 | 198.646 | 26.46 | 973.957 | 60.0717 | 1.223
2019-02-21 20:45:00 | 0 | 10.9302 | 3.6837 | 65.2457 | 3.1723 | 58.1154 | 0 | 198.5 | 26.46 | 973.961 | 59.5592 | 0.98283
2019-02-21 21:00:00 | 0 | 14.2483 | 4.195 | 64.5626 | 2.9167 | 58.1642 | 0 | 202.135 | 26.46 | 974.109 | 55.7663 | 1.0235
2019-02-21 21:15:00 | 0 | 11.6621 | 3.6837 | 61.3421 | 2.661 | 58.1642 | 0 | 197.183 | 26.46 | 974.258 | 55.4929 | 0.79809
2019-02-21 21:30:00 | 0 | 10.3446 | 4.195 | 60.7077 | 2.9167 | 58.1154 | 0 | 198.11 | 26.46 | 974.258 | 55.5612 | 1.1897
2019-02-21 21:45:00 | 0 | 4.7332 | 3.6837 | 54.2667 | 3.1723 | 58.091 | 0 | 192.327 | 26.46 | 974.246 | 55.5612 | 1.356
2019-02-21 22:00:00 | 0 | 6.441 | 3.6837 | 54.364 | 2.4053 | 58.1152 | 0 | 193.742 | 26.46 | 973.961 | 56.8595 | 1.4188
2019-02-21 22:15:00 | 0 | 12.7844 | 3.428 | 57.1944 | 2.9167 | 58.1154 | 0 | 205.087 | 26.46 | 973.961 | 56.3813 | 0.87568
2019-02-21 22:30:00 | 0 | 15.0778 | 3.428 | 57.292 | 3.1723 | 58.1154 | 0 | 209.43 | 26.46 | 973.961 | 56.2447 | 0.75375
2019-02-21 22:45:00 | 0 | 14.8338 | 2.9167 | 56.7307 | 2.1497 | 58.1397 | 0.37567 | 211.552 | 26.46 | 973.812 | 55.2877 | 0.34362
2019-02-21 23:00:00 | 0 | 0.097591 | 1.3827 | 53.1683 | 1.894 | 58.1638 | 0 | 188.74 | 26.46 | 973.961 | 49.9569 | 0.0073897
2019-02-21 23:15:00 | 0 | 1.8542 | 2.4053 | 53.5348 | 2.4053 | 58.1154 | 0 | 193.718 | 26.46 | 973.961 | 46.7794 | 0.25125
2019-02-21 23:30:00 | 2.0207 | 2.2446 | 2.9167 | 65.5873 | 2.9167 | 58.1154 | 0 | 184.837 | 26.46 | 973.809 | 48.0437 | 0.46186
2019-02-21 23:45:00 | 0 | 56.432 | 2.9167 | 18.8412 | 3.1723 | 58.0666 | 0 | 191.181 | 26.46 | 973.792 | 54.2628 | 0.84242