## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-22 00:00:00 | 3.5527 | 326.539 | 2.9167 | 4.1782 | 2.4053 | 58.1154 | 0 | 169.662 | 26.46 | 973.657 | 59.525 | 1.1417
2019-02-22 00:15:00 | 0 | 318.683 | 2.9167 | 1.6285 | 2.4053 | 58.1154 | 0 | 138.53 | 26.46 | 973.508 | 62.122 | 1.4521
2019-02-22 00:30:00 | 0 | 306.143 | 2.4053 | 2.5312 | 1.894 | 58.1154 | 0 | 135.017 | 26.46 | 973.366 | 66.1541 | 1.5001
2019-02-22 00:45:00 | 0 | 303.996 | 2.661 | 2.7264 | 1.6383 | 58.1154 | 0 | 132.968 | 26.46 | 973.366 | 65.539 | 1.3745
2019-02-22 01:00:00 | 0 | 314.194 | 2.9167 | 2.3483 | 2.1497 | 58.1154 | 0 | 137.554 | 26.46 | 973.217 | 63.5571 | 1.1491
2019-02-22 01:15:00 | 0 | 319.864 | 2.661 | 9.815 | 1.894 | 58.166 | 0 | 142.731 | 26.46 | 973.069 | 66.0878 | 0.89046
2019-02-22 01:30:00 | 0 | 331.592 | 2.9167 | 16.1115 | 1.894 | 58.1199 | 0 | 150.326 | 26.46 | 972.772 | 62.9812 | 0.7131
2019-02-22 01:45:00 | 0 | 341.751 | 3.1723 | 39.9029 | 1.6383 | 58.1217 | 0 | 158.578 | 26.46 | 972.772 | 64.1791 | 0.55423
2019-02-22 02:00:00 | 0 | 350.983 | 2.661 | 42.808 | 2.661 | 58.123 | 0 | 172.929 | 26.46 | 972.474 | 64.7274 | 0.24755
2019-02-22 02:15:00 | 0 | 356.442 | 3.1723 | 49.5413 | 2.4053 | 58.1707 | 0 | 177.806 | 26.46 | 972.474 | 64.6578 | 0.23278
2019-02-22 02:30:00 | 0 | 355.264 | 2.4053 | 47.832 | 2.4053 | 58.1208 | 0 | 176.51 | 26.46 | 972.474 | 63.9731 | -0.044338
2019-02-22 02:45:00 | 0.62733 | 356.933 | 2.1497 | 47.9314 | 2.1497 | 58.1711 | 0 | 180.516 | 26.46 | 972.326 | 62.7445 | -0.1441
2019-02-22 03:00:00 | 8.01 | 0.19519 | 2.9167 | 49.4864 | 2.1497 | 58.1656 | 0 | 195.675 | 26.46 | 972.177 | 59.5948 | -0.24386
2019-02-22 03:15:00 | 7.7547 | 10.0519 | 3.1723 | 69.8574 | 2.4053 | 58.1646 | 0 | 206.016 | 26.46 | 972.177 | 59.4229 | -0.29928
2019-02-22 03:30:00 | 0 | 17.4689 | 2.4053 | 68.4666 | 2.1497 | 58.1645 | 1.3983 | 204.454 | 26.46 | 972.177 | 58.8077 | -0.2882
2019-02-22 03:45:00 | 0 | 18.7375 | 2.1497 | 67.9783 | 2.1497 | 58.1642 | 8.1657 | 214.773 | 26.46 | 972.028 | 57.0989 | -0.2882
2019-02-22 04:00:00 | 0 | 22.1532 | 2.1497 | 68.1247 | 1.894 | 58.1642 | 0 | 239.318 | 26.46 | 972.028 | 55.4246 | -0.2882
2019-02-22 04:15:00 | 0 | 22.1044 | 2.4053 | 59.6343 | 2.1497 | 58.1642 | 0 | 234.95 | 26.46 | 972.177 | 54.1944 | -0.29928
2019-02-22 04:30:00 | 6.9887 | 22.0556 | 2.1497 | 69.003 | 1.3827 | 58.1642 | 0 | 221.19 | 26.46 | 972.028 | 53.7161 | -0.2882
2019-02-22 04:45:00 | 0 | 22.1532 | 1.3827 | 96.9628 | 0.37567 | 58.1642 | 0 | 221.263 | 26.46 | 971.88 | 52.4859 | -0.2882
2019-02-22 05:00:00 | 0 | 22.2507 | 1.6383 | 96.9628 | 1.127 | 58.1642 | 0 | 244.905 | 26.46 | 971.583 | 50.1623 | -0.2882
2019-02-22 05:15:00 | 0 | 28.8381 | 1.6383 | 118.067 | 0 | 58.4082 | 0 | 274.938 | 26.46 | 971.583 | 50.504 | -0.30667
2019-02-22 05:30:00 | 0 | 28.8381 | 0 | 118.067 | 0 | 58.4082 | 0 | 274.938 | 26.46 | 971.88 | 50.9141 | -0.29928
2019-02-22 05:45:00 | 0 | 28.8381 | 0.75133 | 118.091 | 0 | 58.4082 | 0 | 274.914 | 26.46 | 971.583 | 50.9141 | -0.26972
2019-02-22 06:00:00 | 0 | 28.8395 | 0 | 118.074 | 0 | 58.411 | 0 | 274.927 | 26.46 | 971.731 | 50.7799 | -0.2882
2019-02-22 06:15:00 | 0 | 28.7931 | 0 | 118.085 | 0 | 58.4159 | 0 | 274.95 | 26.46 | 971.583 | 50.6474 | -0.2882
2019-02-22 06:30:00 | 0 | 53.0009 | 1.894 | 121.141 | 0.75133 | 58.9062 | 0 | 324.692 | 26.46 | 971.88 | 51.2303 | -0.30667
2019-02-22 06:45:00 | 0 | 53.0027 | 1.127 | 121.121 | 0 | 58.8594 | 0 | 324.8 | 26.46 | 972.197 | 51.7789 | -0.2882
2019-02-22 07:00:00 | 0 | 52.9546 | 0 | 121.147 | 0 | 58.8601 | 0 | 324.78 | 26.46 | 972.206 | 50.9251 | -0.30667
2019-02-22 07:15:00 | 0 | 52.9531 | 1.3827 | 121.143 | 0 | 58.8585 | 0 | 324.771 | 26.46 | 972.205 | 50.3769 | -0.2882
2019-02-22 07:30:00 | 0 | 52.9273 | 0 | 121.139 | 0 | 58.8569 | 0 | 324.787 | 26.46 | 972.772 | 49.2819 | -0.30667
2019-02-22 07:45:00 | 0 | 52.9435 | 0 | 121.118 | 0 | 58.8478 | 0 | 324.785 | 26.46 | 973.069 | 48.7275 | -0.2882
2019-02-22 08:00:00 | 0 | 52.9431 | 0.75133 | 121.141 | 1.127 | 58.8962 | 0 | 324.856 | 26.46 | 973.515 | 49.3422 | -0.29928
2019-02-22 08:15:00 | 0 | 52.3058 | 0 | 121.157 | 0 | 58.8928 | 0 | 0.58555 | 26.46 | 973.927 | 49.9545 | -0.31776
2019-02-22 08:30:00 | 0 | 286.36 | 0 | 121.155 | 0 | 58.8431 | 0 | 0.58555 | 26.46 | 974.258 | 49.6803 | -0.29928
2019-02-22 08:45:00 | 0 | 291.831 | 0 | 121.025 | 0 | 58.8297 | 0 | 0.19513 | 26.46 | 974.312 | 47.1411 | -0.2882
2019-02-22 09:00:00 | 0 | 135.947 | 0 | 282.185 | 1.3827 | 58.8761 | 0 | 109.411 | 26.46 | 975.446 | 41.6738 | -0.30667
2019-02-22 09:15:00 | 0 | 293.015 | 1.127 | 28.7626 | 0 | 58.8077 | 0 | 206.753 | 26.46 | 975.782 | 43.6405 | -0.2882
2019-02-22 09:30:00 | 0 | 352.97 | 1.6383 | 13.0498 | 1.894 | 58.5928 | 0 | 193.376 | 26.46 | 975.505 | 43.6257 | -0.2882
2019-02-22 09:45:00 | 0 | 302.393 | 1.894 | 332.966 | 2.1497 | 58.5921 | 0 | 138.413 | 26.46 | 975.444 | 48.4042 | -0.29928
2019-02-22 10:00:00 | 0 | 329.861 | 2.9167 | 27.6731 | 2.4053 | 58.2997 | 0 | 177.434 | 26.46 | 975.741 | 49.8379 | -0.2882
2019-02-22 10:15:00 | 0 | 0.51183 | 2.661 | 1.253 | 1.894 | 58.3972 | 0 | 223.23 | 26.46 | 975.741 | 46.4243 | -0.2882
2019-02-22 10:30:00 | 0 | 288.651 | 2.9167 | 12.4943 | 2.4053 | 58.1933 | 0 | 116.581 | 26.46 | 976.038 | 42.1168 | -0.30667
2019-02-22 10:45:00 | 0 | 319.372 | 3.1723 | 10.2526 | 3.1723 | 40.8413 | 0.37567 | 138.047 | 26.46 | 976.038 | 43.7539 | -0.29928
2019-02-22 11:00:00 | 0 | 298.999 | 2.661 | 334.632 | 1.6383 | 18.5199 | 0 | 134.805 | 26.46 | 975.889 | 44.9141 | -0.29928
2019-02-22 11:15:00 | 0 | 299.586 | 2.9167 | 12.1777 | 2.4053 | 32.3614 | 0 | 153.327 | 26.46 | 976.038 | 41.1602 | -0.31037
2019-02-22 11:30:00 | 0 | 24.5598 | 3.428 | 62.3532 | 2.661 | 57.5985 | 0 | 215.288 | 26.46 | 975.997 | 40.6763 | -0.29928
2019-02-22 11:45:00 | 0 | 294.371 | 1.894 | 5.1864 | 0.37567 | 85.7141 | 0 | 203.175 | 26.46 | 975.741 | 39.2083 | -0.27711
2019-02-22 12:00:00 | 0 | 14.6674 | 2.9167 | 87.0087 | 1.6383 | 306.748 | 0.63133 | 180.151 | 26.46 | 975.739 | 38.833 | 0.19952
2019-02-22 12:15:00 | 0 | 29.8221 | 3.6837 | 74.7777 | 1.2627 | 190.969 | 0 | 199.423 | 26.46 | 975.739 | 34.8746 | 0.10715
2019-02-22 12:30:00 | 0 | 34.6706 | 1.894 | 45.6866 | 0 | 79.8179 | 0 | 215.625 | 26.46 | 975.739 | 39.106 | 0.10715
2019-02-22 12:45:00 | 0 | 38.2278 | 3.428 | 19.9333 | 3.9393 | 34.695 | 0 | 213.603 | 26.46 | 975.443 | 38.2187 | 1.3264
2019-02-22 13:00:00 | 4.6907 | 23.5848 | 3.6837 | 77.4578 | 1.894 | 22.0742 | 3.1723 | 164.655 | 26.46 | 975.633 | 35.3182 | 1.8918
2019-02-22 13:15:00 | 0 | 56.0631 | 3.6837 | 105.697 | 1.127 | 53.5535 | 0 | 216.724 | 26.46 | 975.703 | 33.2711 | 1.3117
2019-02-22 13:30:00 | 0 | 46.9503 | 0 | 12.9343 | 2.4053 | 311.037 | 5.2177 | 211.605 | 26.46 | 976.01 | 31.5987 | 1.5592
2019-02-22 13:45:00 | 0 | 25.3634 | 2.9167 | 70.8308 | 1.127 | 316.397 | 0.37567 | 204.028 | 26.46 | 976.005 | 27.2992 | 1.2599
2019-02-22 14:00:00 | 0 | 21.5635 | 7.0073 | 73.0764 | 3.9393 | 316.508 | 4.962 | 183.667 | 26.46 | 975.726 | 25.2528 | 1.7366
2019-02-22 14:15:00 | 0 | 28.9498 | 2.661 | 88.5861 | 2.9167 | 315.84 | 0 | 195.996 | 26.46 | 975.592 | 26.5528 | 2.4349
2019-02-22 14:30:00 | 0 | 348.638 | 2.9167 | 29.7114 | 2.4053 | 314.4 | 0.37567 | 162.513 | 26.46 | 975.74 | 26.8257 | 2.7194
2019-02-22 14:45:00 | 0 | 297.532 | 3.6837 | 17.149 | 3.9393 | 274.017 | 0 | 145.111 | 26.46 | 976.037 | 27.6101 | 2.3536
2019-02-22 15:00:00 | 0 | 327.466 | 5.2177 | 16.6371 | 5.2177 | 0.7798 | 3.1723 | 138.268 | 26.46 | 976.037 | 27.9181 | 3.8685
2019-02-22 15:15:00 | 0 | 316.792 | 5.2177 | 13.6144 | 5.2177 | 318.839 | 0.37567 | 127.053 | 26.46 | 976.037 | 28.0248 | 4.0348
2019-02-22 15:30:00 | 0 | 8.9448 | 2.661 | 31.7677 | 2.1497 | 356.963 | 0 | 178.335 | 26.46 | 976.037 | 28.8786 | 3.6727
2019-02-22 15:45:00 | 0 | 335.077 | 5.9847 | 19.9713 | 2.661 | 7.4581 | 2.0297 | 146.285 | 26.46 | 976.037 | 30.5854 | 2.8044
2019-02-22 16:00:00 | 0 | 15.1111 | 2.9167 | 53.3133 | 2.4053 | 0.048745 | 1.774 | 153.158 | 26.46 | 975.443 | 31.1316 | 2.8376
2019-02-22 16:15:00 | 1.3933 | 356.915 | 2.4053 | 48.1462 | 2.9167 | 40.2638 | 4.7063 | 155.523 | 26.46 | 975.146 | 31.6095 | 3.8057
2019-02-22 16:30:00 | 0 | 333.566 | 2.4053 | 2.3541 | 2.1497 | 32.0258 | 0 | 154.986 | 26.46 | 975.515 | 33.3163 | 3.9794
2019-02-22 16:45:00 | 2.0207 | 353.621 | 1.894 | 48.9547 | 2.661 | 39.6325 | 5.729 | 165.209 | 26.46 | 975.49 | 33.5231 | 3.6136
2019-02-22 17:00:00 | 0 | 23.4507 | 3.6837 | 60.7855 | 0 | 60.7476 | 0 | 190.116 | 26.46 | 975.197 | 33.6635 | 4.2749
2019-02-22 17:15:00 | 0.88267 | 349.395 | 5.729 | 30.314 | 4.195 | 36.8579 | 3.6837 | 169.834 | 26.46 | 974.906 | 34.2779 | 5.2245
2019-02-22 17:30:00 | 0 | 350.891 | 4.4507 | 39.0019 | 2.9167 | 23.6495 | 0 | 171.983 | 26.46 | 974.702 | 35.0348 | 4.7146
2019-02-22 17:45:00 | 0 | 339.97 | 4.4507 | 31.8342 | 3.1723 | 21.3578 | 0.887 | 163.987 | 26.46 | 974.902 | 35.5131 | 5.9672
2019-02-22 18:00:00 | 0 | 351.443 | 3.6837 | 48.3673 | 3.1723 | 23.3092 | 0 | 183.963 | 26.46 | 974.554 | 36.6072 | 6.3367
2019-02-22 18:15:00 | 0 | 0.6829 | 4.195 | 44.68 | 1.6383 | 22.2429 | 0.37567 | 170.382 | 26.46 | 974.703 | 37.0278 | 5.8305
2019-02-22 18:30:00 | 0 | 356.72 | 4.7063 | 43.1198 | 4.195 | 19.414 | 1.6383 | 173.921 | 26.46 | 974.852 | 37.3698 | 6.647
2019-02-22 18:45:00 | 0 | 353.842 | 5.9847 | 35.803 | 3.428 | 18.6335 | 0.37567 | 184.042 | 26.46 | 975 | 37.5747 | 8.2026
2019-02-22 19:00:00 | 0 | 355.061 | 4.7063 | 37.7053 | 2.9167 | 17.9018 | 4.962 | 178.311 | 26.46 | 975 | 37.4381 | 11.273
2019-02-22 19:15:00 | 0.62733 | 0.097558 | 4.4507 | 39.0224 | 4.4507 | 17.9018 | 2.9167 | 183.896 | 26.46 | 975.149 | 37.0282 | 12.8728
2019-02-22 19:30:00 | 0 | 0.097558 | 4.962 | 53.3146 | 4.195 | 14.4385 | 3.1723 | 188.335 | 26.46 | 975.149 | 36.7549 | 12.5957
2019-02-22 19:45:00 | 0 | 0.97558 | 3.6837 | 42.6076 | 3.428 | 11.7801 | 3.1723 | 173.457 | 26.46 | 975.446 | 35.1153 | 9.7913
2019-02-22 20:00:00 | 0 | 356.817 | 4.962 | 46.5343 | 2.9167 | 10.0484 | 1.6383 | 191.311 | 26.46 | 975.446 | 35.5593 | 9.614
2019-02-22 20:15:00 | 0.744 | 4.195 | 3.6837 | 53.8511 | 3.428 | 13.5117 | 0.37567 | 160.141 | 26.46 | 975.446 | 36.0717 | 8.6755
2019-02-22 20:30:00 | 0 | 353.5 | 4.4507 | 38.437 | 4.195 | 8.9509 | 6.2403 | 171.775 | 26.46 | 975.594 | 36.4816 | 8.4169
2019-02-22 20:45:00 | 0 | 352.72 | 5.729 | 39.315 | 4.4507 | 6.4876 | 1.5183 | 175.311 | 26.46 | 976.04 | 37.4039 | 10.6153
2019-02-22 21:00:00 | 0 | 77.5827 | 4.4507 | 43.51 | 3.1723 | 7.9022 | 4.4507 | 179.067 | 26.46 | 976.04 | 38.2579 | 9.396
2019-02-22 21:15:00 | 0 | 77.8998 | 4.4507 | 52.4365 | 3.6837 | 10.585 | 0.37567 | 189.237 | 26.46 | 976.04 | 38.5995 | 9.9059
2019-02-22 21:30:00 | 0 | 2 | 4.4507 | 52.3898 | 2.661 | 3.6341 | 5.9847 | 188.535 | 26.46 | 976.095 | 38.7372 | 9.1595
2019-02-22 21:45:00 | 0 | 5.5125 | 5.2177 | 53.5649 | 4.195 | 12.9763 | 4.7063 | 189.376 | 26.46 | 976.166 | 39.2519 | 9.5105
2019-02-22 22:00:00 | 1.138 | 11.6104 | 5.729 | 61.8585 | 4.4507 | 19.4402 | 3.6837 | 193.231 | 26.46 | 976.158 | 38.5348 | 12.544
2019-02-22 22:15:00 | 0 | 18.4652 | 5.4733 | 68.5941 | 4.195 | 20.9777 | 2.0297 | 198.873 | 26.46 | 976.009 | 37.2381 | 13.0982
2019-02-22 22:30:00 | 0 | 12.8306 | 6.496 | 62.9597 | 4.195 | 13.4648 | 0 | 191.483 | 26.46 | 975.969 | 37.1015 | 12.2115
2019-02-22 22:45:00 | 0 | 14.9773 | 5.2177 | 65.2292 | 3.9393 | 20.8804 | 3.428 | 202.511 | 26.46 | 975.616 | 37.0678 | 11.6535
2019-02-22 23:00:00 | 0 | 14.8557 | 5.4733 | 67.9632 | 4.4507 | 15.9046 | 0 | 197.246 | 26.46 | 975.829 | 36.1121 | 9.832
2019-02-22 23:15:00 | 0 | 19.4423 | 5.9847 | 66.9904 | 4.7063 | 20.3693 | 0.37567 | 200.766 | 26.46 | 975.728 | 36.0791 | 11.0106
2019-02-22 23:30:00 | 0 | 15.2462 | 5.2177 | 64.452 | 4.4507 | 14.7584 | 0 | 199.47 | 26.46 | 975.725 | 35.8735 | 12.9283
2019-02-22 23:45:00 | 0 | 17.2717 | 5.2177 | 67.6269 | 3.6837 | 16.6862 | 3.9393 | 197.575 | 26.46 | 975.716 | 34.9184 | 10.8481