## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-23 00:00:00 | 0 | 14.2458 | 4.4507 | 62.5233 | 3.6837 | 14.0019 | 0.887 | 196.929 | 26.46 | 975.67 | 35.5995 | 6.2
2019-02-23 00:15:00 | 0 | 25.3695 | 4.4507 | 69.9153 | 3.6837 | 19.7101 | 0 | 210.835 | 26.46 | 975.64 | 35.0532 | 3.2552
2019-02-23 00:30:00 | 0 | 22.1505 | 3.9393 | 67.1871 | 3.1723 | 18.4425 | 0.37567 | 210.625 | 26.46 | 975.674 | 35.0548 | 3.2515
2019-02-23 00:45:00 | 0 | 17.3696 | 3.9393 | 60.8954 | 3.428 | 17.7599 | 0 | 194.822 | 26.46 | 975.883 | 35.3973 | 3.8463
2019-02-23 01:00:00 | 0 | 6.4895 | 4.7063 | 52.2138 | 4.195 | 357.044 | 0.75133 | 191.22 | 26.46 | 976.005 | 36.1506 | 4.7405
2019-02-23 01:15:00 | 0 | 5.3183 | 3.9393 | 48.9913 | 4.195 | 7.4895 | 4.195 | 190.946 | 26.46 | 976.042 | 38.3363 | 5.8822
2019-02-23 01:30:00 | 0 | 22.9326 | 4.4507 | 65.973 | 2.9167 | 357.017 | 0.37567 | 205.491 | 26.46 | 976.032 | 39.4306 | 5.3501
2019-02-23 01:45:00 | 0 | 24.3484 | 4.195 | 77.5157 | 3.6837 | 357.029 | 0.37567 | 203.619 | 26.46 | 976.042 | 38.5435 | 3.7355
2019-02-23 02:00:00 | 0 | 21.4196 | 4.962 | 71.2163 | 4.4507 | 7.5139 | 4.7063 | 203.681 | 26.46 | 975.893 | 37.1064 | 2.8118
2019-02-23 02:15:00 | 0 | 19.2723 | 5.2177 | 69.6773 | 3.6837 | 357.002 | 2.541 | 201.213 | 26.46 | 976.042 | 37.7206 | 1.9804
2019-02-23 02:30:00 | 0 | 19.7607 | 4.4507 | 66.1176 | 3.428 | 357.01 | 1.007 | 200.486 | 26.46 | 976.042 | 37.7898 | 1.8326
2019-02-23 02:45:00 | 0 | 19.0289 | 4.195 | 67.8012 | 2.661 | 357.011 | 0 | 200.34 | 26.46 | 975.744 | 37.7899 | 1.7624
2019-02-23 03:00:00 | 0 | 14.9789 | 4.195 | 62.3106 | 2.9167 | 357.004 | 0 | 197.848 | 26.46 | 975.744 | 37.2425 | 1.8142
2019-02-23 03:15:00 | 0 | 10.3929 | 4.4507 | 60.0208 | 3.1723 | 357.02 | 0 | 198.588 | 26.46 | 975.744 | 36.9024 | 1.4299
2019-02-23 03:30:00 | 0 | 10.1971 | 4.195 | 59.9667 | 2.661 | 356.996 | 0 | 196.867 | 26.46 | 975.744 | 36.6266 | 1.308
2019-02-23 03:45:00 | 0 | 15.3208 | 3.9393 | 61.7758 | 2.9167 | 357.013 | 0 | 204.781 | 26.46 | 975.743 | 36.6967 | 1.175
2019-02-23 04:00:00 | 0 | 17.9549 | 2.661 | 60.2361 | 1.894 | 356.976 | 0 | 200.773 | 26.46 | 975.744 | 36.3538 | 1.4706
2019-02-23 04:15:00 | 0 | 12.3932 | 4.4507 | 59.1406 | 3.9393 | 7.5384 | 0 | 196.778 | 26.46 | 975.737 | 36.6282 | 1.9546
2019-02-23 04:30:00 | 0 | 13.9544 | 4.7063 | 62.9944 | 2.9167 | 357.008 | 0.37567 | 197.825 | 26.46 | 975.447 | 37.1062 | 2.3647
2019-02-23 04:45:00 | 0 | 11.6121 | 4.962 | 58.8939 | 3.428 | 7.5137 | 1.127 | 197.479 | 26.46 | 975.447 | 38.2327 | 2.5494
2019-02-23 05:00:00 | 0 | 13.5886 | 4.7063 | 63.4342 | 3.6837 | 7.514 | 0.63133 | 199.266 | 26.46 | 975.298 | 37.9265 | 2.6012
2019-02-23 05:15:00 | 0 | 15.8082 | 4.962 | 62.7003 | 3.428 | 7.5138 | 0 | 201.457 | 26.46 | 975.15 | 38.8139 | 3.4399
2019-02-23 05:30:00 | 0 | 22.5904 | 5.4733 | 66.3608 | 4.7063 | 0.048791 | 1.2627 | 203.655 | 26.46 | 975.128 | 38.9512 | 3.4953
2019-02-23 05:45:00 | 0 | 15.7106 | 5.2177 | 58.6996 | 4.195 | 0.048791 | 1.2627 | 202.531 | 26.46 | 974.826 | 39.9073 | 4.9659
2019-02-23 06:00:00 | 0 | 18.6379 | 4.962 | 61.5285 | 4.195 | 0.29274 | 2.4053 | 199.894 | 26.46 | 974.704 | 40.3852 | 6.4216
2019-02-23 06:15:00 | 0 | 25.7144 | 4.962 | 74.4649 | 3.6837 | 0.43915 | 0.75133 | 209.789 | 26.46 | 974.839 | 39.6706 | 7.7998
2019-02-23 06:30:00 | 0 | 17.0783 | 4.7063 | 56.9501 | 3.6837 | 0.53675 | 1.6383 | 211.329 | 26.46 | 974.55 | 39.7743 | 10.4269
2019-02-23 06:45:00 | 0 | 23.8121 | 4.962 | 63.8303 | 4.7063 | 1.6346 | 0 | 203.062 | 26.46 | 974.545 | 39.6376 | 10.3234
2019-02-23 07:00:00 | 0 | 23.0314 | 5.4733 | 71.1007 | 3.1723 | 0.97591 | 5.9847 | 201.11 | 26.46 | 974.553 | 39.0909 | 10.7816
2019-02-23 07:15:00 | 0 | 15.6141 | 5.9847 | 72.538 | 4.4507 | 1.4638 | 4.195 | 201.154 | 26.46 | 974.55 | 39.2608 | 10.0611
2019-02-23 07:30:00 | 0 | 12.7341 | 4.962 | 63.4794 | 4.4507 | 2.6835 | 0 | 197.063 | 26.46 | 974.991 | 39.4282 | 9.0598
2019-02-23 07:45:00 | 0 | 17.5902 | 5.9847 | 59.8514 | 4.962 | 3.4156 | 0.75133 | 193.951 | 26.46 | 975.134 | 39.0216 | 8.3614
2019-02-23 08:00:00 | 0 | 9.951 | 6.7517 | 56.5104 | 6.496 | 5.3901 | 5.9847 | 194.849 | 26.46 | 975.184 | 39.5564 | 9.3738
2019-02-23 08:15:00 | 0 | 8.8778 | 5.4733 | 59.9973 | 4.4507 | 5.5852 | 4.7063 | 196.554 | 26.46 | 975.446 | 39.6243 | 12.6992
2019-02-23 08:30:00 | 4.574 | 6.5364 | 6.7517 | 54.778 | 5.4733 | 9.3412 | 2.9167 | 191.213 | 26.46 | 975.446 | 41.2639 | 12.0858
2019-02-23 08:45:00 | 1.138 | 11.6094 | 8.03 | 61.8021 | 7.0073 | 14.341 | 3.9393 | 204.969 | 26.46 | 975.743 | 40.9906 | 14.5614
2019-02-23 09:00:00 | 1.3713 | 15.6072 | 8.5413 | 58.4995 | 5.9847 | 18.3624 | 2.661 | 202.255 | 26.46 | 976.041 | 40.8488 | 12.3297
2019-02-23 09:15:00 | 0 | 16.3354 | 7.5187 | 64.7245 | 5.4733 | 6.9242 | 5.2177 | 195.195 | 26.46 | 976.783 | 40.4304 | 8.2802
2019-02-23 09:30:00 | 3.1587 | 11.3616 | 7.263 | 61.3353 | 4.7063 | 0.97524 | 2.661 | 198.706 | 26.46 | 976.56 | 40.4986 | 6.8539
2019-02-23 09:45:00 | 0.744 | 15.4088 | 6.496 | 58.0195 | 5.4733 | 13.946 | 3.9393 | 197.219 | 26.46 | 976.782 | 40.7376 | 7.0645
2019-02-23 10:00:00 | 0 | 12.7269 | 7.5187 | 69.8931 | 5.729 | 22.8695 | 5.4733 | 195.853 | 26.46 | 976.782 | 41.3864 | 7.5929
2019-02-23 10:15:00 | 2.1373 | 18.9169 | 4.962 | 52.5473 | 5.729 | 62.5281 | 5.9847 | 189.583 | 26.46 | 977.063 | 41.9948 | 4.9437
2019-02-23 10:30:00 | 0 | 0.097495 | 3.9393 | 64.0894 | 4.195 | 63.1036 | 5.2177 | 171.225 | 26.46 | 976.997 | 41.7153 | 7.035
2019-02-23 10:45:00 | 0.88267 | 0.14624 | 5.2177 | 58.4559 | 4.7063 | 61.1269 | 3.1723 | 184.892 | 26.46 | 976.782 | 39.6655 | 7.4414
2019-02-23 11:00:00 | 0 | 316.846 | 3.428 | 1.1355 | 2.661 | 62.2724 | 0 | 169.586 | 26.46 | 977.226 | 37.9587 | 7.9181
2019-02-23 11:15:00 | 0 | 5.2148 | 3.6837 | 65.874 | 2.9167 | 59.6049 | 1.007 | 189.025 | 26.46 | 977.374 | 38.7026 | 6.2591
2019-02-23 11:30:00 | 0 | 81.9739 | 4.4507 | 59.269 | 2.1497 | 62.577 | 1.894 | 176.302 | 26.46 | 977.374 | 38.1219 | 5.158
2019-02-23 11:45:00 | 0 | 65.906 | 2.9167 | 146.117 | 0.75133 | 65.4918 | 0 | 222.935 | 26.46 | 977.558 | 35.6595 | 3.3771
2019-02-23 12:00:00 | 0 | 80.4514 | 1.127 | 137.394 | 4.4507 | 84.9832 | 0 | 247.25 | 26.46 | 977.372 | 33.7144 | 2.2871
2019-02-23 12:15:00 | 0 | 298.222 | 2.661 | 12.2778 | 2.9167 | 57.5885 | 0.37567 | 206.188 | 26.46 | 977.521 | 32.1397 | 2.3388
2019-02-23 12:30:00 | 0 | 351.558 | 3.1723 | 10.8421 | 0 | 50.2226 | 0 | 161.506 | 26.46 | 977.521 | 31.7586 | 2.2243
2019-02-23 12:45:00 | 0 | 30.421 | 2.9167 | 6.6214 | 2.4053 | 59.5023 | 5.729 | 199.94 | 26.46 | 977.224 | 31.3152 | 0.4323
2019-02-23 13:00:00 | 0 | 311.498 | 4.962 | 16.2003 | 4.962 | 18.3163 | 0.37567 | 136.276 | 26.46 | 977.224 | 31.9981 | 0.21061
2019-02-23 13:15:00 | 0 | 286.925 | 5.4733 | 327.453 | 4.195 | 18.6087 | 0 | 123.953 | 26.46 | 976.927 | 30.7703 | -0.15888
2019-02-23 13:30:00 | 0 | 279.337 | 2.9167 | 7.5763 | 3.1723 | 11.4005 | 0 | 110.278 | 26.46 | 977.224 | 29.2731 | 0.036948
2019-02-23 13:45:00 | 0 | 279.083 | 2.9167 | 19.8538 | 2.661 | 11.2062 | 0 | 106.946 | 26.46 | 977.224 | 29.4792 | -0.26603
2019-02-23 14:00:00 | 0 | 295.417 | 4.195 | 17.9536 | 4.195 | 15.5918 | 0 | 123.614 | 26.46 | 977.372 | 27.6378 | -0.26972
2019-02-23 14:15:00 | 0 | 289.965 | 1.894 | 6.4543 | 1.894 | 348.728 | 0 | 111.752 | 26.46 | 976.927 | 27.3313 | -0.25125
2019-02-23 14:30:00 | 0 | 279.133 | 2.9167 | 318.454 | 0.75133 | 347.467 | 0 | 107.02 | 26.46 | 977.075 | 26.9887 | -0.24386
2019-02-23 14:45:00 | 0 | 230.375 | 2.9167 | 299.013 | 2.9167 | 352.164 | 0 | 78.5292 | 26.46 | 977.075 | 26.3705 | -0.25125
2019-02-23 15:00:00 | 0 | 276.467 | 3.428 | 311.517 | 4.7063 | 351.685 | 0 | 104.034 | 26.46 | 976.927 | 26.7464 | -0.19583
2019-02-23 15:15:00 | 0 | 278.151 | 2.661 | 316.519 | 3.1723 | 351.915 | 0 | 104.264 | 26.46 | 976.927 | 25.5549 | -0.20691
2019-02-23 15:30:00 | 0 | 296.817 | 2.9167 | 336.872 | 2.661 | 352.145 | 0 | 91.5568 | 26.46 | 976.63 | 25.1139 | -0.25125
2019-02-23 15:45:00 | 0 | 302.068 | 1.894 | 329.432 | 1.127 | 353.842 | 0 | 113.732 | 26.46 | 976.481 | 23.7841 | -0.23647
2019-02-23 16:00:00 | 0 | 288.914 | 3.428 | 326.803 | 2.661 | 352.358 | 0 | 115.78 | 26.46 | 976.333 | 25.5929 | -0.19952
2019-02-23 16:15:00 | 0 | 301.875 | 2.9167 | 13.2754 | 1.3827 | 353.309 | 0 | 110.639 | 26.46 | 976.036 | 25.7635 | -0.21061
2019-02-23 16:30:00 | 0 | 310.403 | 2.4053 | 11.9661 | 2.1497 | 353.382 | 0 | 131.008 | 26.46 | 975.739 | 24.9104 | 0.13671
2019-02-23 16:45:00 | 0 | 311.235 | 2.9167 | 14.6885 | 2.4053 | 352.703 | 0 | 148.527 | 26.46 | 975.734 | 23.9553 | 0.25494
2019-02-23 17:00:00 | 0 | 313.816 | 2.9167 | 13.713 | 1.894 | 353.195 | 0 | 138.242 | 26.46 | 975.442 | 24.3683 | -0.029559
2019-02-23 17:15:00 | 0 | 335.492 | 2.4053 | 20.7425 | 2.1497 | 353.549 | 0 | 153.321 | 26.46 | 975.146 | 24.3676 | 0.062812
2019-02-23 17:30:00 | 0 | 340.411 | 2.9167 | 21.1409 | 2.1497 | 353.548 | 0 | 162.492 | 26.46 | 974.701 | 24.9186 | -0.018474
2019-02-23 17:45:00 | 0 | 351.894 | 3.428 | 39.3964 | 3.6837 | 5.3133 | 0 | 170.146 | 26.46 | 974.107 | 25.8064 | 0.1441
2019-02-23 18:00:00 | 0 | 85.2111 | 4.195 | 44.3471 | 3.6837 | 3.6073 | 0 | 179.879 | 26.46 | 973.7 | 26.0125 | 0.51728
2019-02-23 18:15:00 | 0 | 85.3457 | 3.428 | 46.7944 | 2.9167 | 8.5809 | 0 | 179.687 | 26.46 | 973.929 | 26.5626 | 0.63921
2019-02-23 18:30:00 | 0 | 0.097524 | 2.661 | 49.9248 | 2.661 | 6.1928 | 0 | 183.126 | 26.46 | 973.959 | 25.8835 | 0.80548
2019-02-23 18:45:00 | 0 | 85.1631 | 3.6837 | 46.5116 | 2.4053 | 0.92648 | 0 | 180.737 | 26.46 | 973.662 | 25.5421 | 0.76853
2019-02-23 19:00:00 | 0 | 356.89 | 4.195 | 44.5855 | 2.661 | 1.9017 | 0 | 179.493 | 26.46 | 973.869 | 25.4055 | 0.96066
2019-02-23 19:15:00 | 0.744 | 1.2678 | 3.1723 | 50.4126 | 2.4053 | 7.7044 | 0 | 186.515 | 26.46 | 973.955 | 25.4738 | 0.16257
2019-02-23 19:30:00 | 0 | 5.3638 | 3.428 | 58.3364 | 2.4053 | 12.4587 | 0 | 185.833 | 26.46 | 973.96 | 25.4055 | 0.084981
2019-02-23 19:45:00 | 0 | 13.9947 | 3.1723 | 68.2595 | 2.1497 | 13.0683 | 0 | 197.974 | 26.46 | 974.109 | 24.8933 | -0.26972
2019-02-23 20:00:00 | 0 | 19.2126 | 3.428 | 69.017 | 2.661 | 15.7018 | 0 | 200.855 | 26.46 | 973.96 | 24.723 | -0.31406
2019-02-23 20:15:00 | 0 | 16.092 | 3.1723 | 68.3595 | 2.1497 | 15.5068 | 0 | 197.687 | 26.46 | 974.257 | 24.655 | -0.26233
2019-02-23 20:30:00 | 0 | 15.7995 | 2.4053 | 67.9703 | 2.1497 | 14.6292 | 0 | 202.834 | 26.46 | 974.257 | 24.4503 | -0.26233
2019-02-23 20:45:00 | 0 | 7.5098 | 2.1497 | 65.9718 | 0.75133 | 11.8011 | 0 | 194.985 | 26.46 | 974.257 | 24.3823 | -0.25125
2019-02-23 21:00:00 | 0 | 7.4122 | 0.75133 | 65.9715 | 0 | 4.779 | 0 | 194.911 | 26.46 | 974.257 | 24.109 | -0.26233
2019-02-23 21:15:00 | 0 | 346.457 | 1.3827 | 65.9803 | 1.3827 | 3.4139 | 0 | 194.126 | 26.46 | 974.257 | 24.5213 | -0.25125
2019-02-23 21:30:00 | 0 | 3.2189 | 1.3827 | 65.9845 | 0.75133 | 1.9509 | 0 | 194.136 | 26.46 | 974.257 | 24.6932 | -0.29928
2019-02-23 21:45:00 | 0 | 330.346 | 1.3827 | 65.9642 | 1.3827 | 1.9509 | 0 | 194.121 | 26.46 | 974.257 | 24.1821 | -0.26972
2019-02-23 22:00:00 | 0 | 330.374 | 1.127 | 65.9958 | 0.75133 | 2.3901 | 0 | 194.161 | 26.46 | 974.257 | 24.0475 | -0.25125
2019-02-23 22:15:00 | 0 | 330.372 | 0 | 65.9953 | 0 | 3.4144 | 0 | 194.185 | 26.46 | 974.109 | 23.979 | -0.25125
2019-02-23 22:30:00 | 0 | 330.379 | 0 | 65.997 | 0 | 3.3657 | 0 | 194.164 | 26.46 | 973.96 | 25.1409 | -0.25125
2019-02-23 22:45:00 | 0 | 312.721 | 1.3827 | 66.0946 | 0 | 3.3657 | 0 | 194.164 | 26.46 | 973.663 | 25.3459 | -0.25125
2019-02-23 23:00:00 | 0 | 308.136 | 1.894 | 68.0458 | 0 | 13.6581 | 0 | 194.164 | 26.46 | 973.663 | 25.0384 | -0.25125
2019-02-23 23:15:00 | 8.5207 | 210.285 | 1.894 | 253.698 | 1.3827 | 0.53657 | 1.127 | 40.901 | 26.46 | 973.96 | 25.4142 | -0.24016
2019-02-23 23:30:00 | 0.372 | 211.968 | 1.6383 | 248.235 | 0.37567 | 0.6829 | 0 | 40.901 | 26.46 | 973.96 | 24.4577 | -0.25125
2019-02-23 23:45:00 | 1.2547 | 212.432 | 2.661 | 252.527 | 2.4053 | 0.048779 | 0 | 33.3647 | 26.46 | 973.96 | 25.0726 | -0.26972