## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-24 00:00:00 | 5.4567 | 213.627 | 2.9167 | 257.698 | 2.661 | 0.048779 | 3.428 | 38.6572 | 26.46 | 974.109 | 24.7993 | -0.25125
2019-02-24 00:15:00 | 0 | 208.529 | 4.195 | 254.283 | 3.9393 | 0.048779 | 0 | 32.8769 | 26.46 | 974.257 | 24.4577 | 0.0073897
2019-02-24 00:30:00 | 1.7653 | 206.15 | 4.195 | 250.558 | 3.6837 | 0.048779 | 1.6383 | 29.3873 | 26.46 | 974.257 | 24.9343 | 0.21061
2019-02-24 00:45:00 | 0.372 | 215.044 | 3.6837 | 254.743 | 3.1723 | 0.048779 | 0 | 38.2631 | 26.46 | 974.406 | 25.1384 | 0.39535
2019-02-24 01:00:00 | 0 | 228.026 | 2.9167 | 276.702 | 1.6383 | 0.048775 | 0 | 51.5802 | 26.46 | 974.257 | 24.7977 | -0.2143
2019-02-24 01:15:00 | 0 | 223.359 | 2.9167 | 268.472 | 2.661 | 0.048775 | 0 | 43.9452 | 26.46 | 974.109 | 24.6601 | -0.20691
2019-02-24 01:30:00 | 0 | 220.329 | 2.9167 | 264.228 | 2.661 | 0.048775 | 0 | 41.9489 | 26.46 | 973.96 | 25.2087 | -0.26972
2019-02-24 01:45:00 | 0 | 217.014 | 2.9167 | 260.621 | 2.4053 | 0.048775 | 0 | 38.9982 | 26.46 | 973.663 | 27.3267 | -0.25125
2019-02-24 02:00:00 | 0 | 213.407 | 2.661 | 257.503 | 1.3827 | 0.048775 | 0 | 39.9499 | 26.46 | 973.663 | 28.6251 | -0.25125
2019-02-24 02:15:00 | 0 | 212.334 | 2.9167 | 254.235 | 2.4053 | 0.048775 | 0 | 38.8767 | 26.46 | 973.366 | 28.0786 | -0.25125
2019-02-24 02:30:00 | 6.9887 | 211.066 | 2.1497 | 237.406 | 1.3827 | 0.048775 | 0 | 34.6574 | 26.46 | 973.068 | 27.3954 | -0.28081
2019-02-24 02:45:00 | 9.7973 | 191.164 | 1.894 | 225.699 | 1.3827 | 15.2678 | 0 | 17.2677 | 26.46 | 972.771 | 27.3954 | -0.26233
2019-02-24 03:00:00 | 1.51 | 171.945 | 3.428 | 206.09 | 3.1723 | 43.5107 | 0 | 0.19512 | 26.46 | 972.474 | 27.3954 | -0.12562
2019-02-24 03:15:00 | 0 | 152.873 | 3.9393 | 193.798 | 3.9393 | 44.6814 | 0.37567 | 337.354 | 26.46 | 972.177 | 29.6499 | 2.2723
2019-02-24 03:30:00 | 0 | 144.361 | 4.195 | 184.993 | 3.1723 | 46.3643 | 0 | 341.744 | 26.46 | 971.88 | 30.538 | 7.4894
2019-02-24 03:45:00 | 0 | 156.604 | 4.7063 | 197.407 | 4.195 | 47.3155 | 0 | 331.306 | 26.46 | 971.88 | 30.1281 | 8.4797
2019-02-24 04:00:00 | 0 | 151.848 | 4.962 | 203.919 | 3.1723 | 47.5593 | 0.37567 | 344.866 | 26.46 | 971.88 | 30.6063 | 9.3849
2019-02-24 04:15:00 | 0.62733 | 158.678 | 6.2403 | 201.431 | 5.2177 | 82.9972 | 5.9847 | 342.208 | 26.46 | 971.88 | 30.6063 | 13.8668
2019-02-24 04:30:00 | 0 | 151.263 | 6.2403 | 201.797 | 5.4733 | 84.8264 | 5.729 | 341.891 | 26.46 | 971.88 | 32.3143 | 17.314
2019-02-24 04:45:00 | 0 | 151.214 | 5.2177 | 196.529 | 5.729 | 91.753 | 2.661 | 335.94 | 26.46 | 971.88 | 32.6558 | 15.2523
2019-02-24 05:00:00 | 5.712 | 156.824 | 8.03 | 210.407 | 6.7517 | 92.4603 | 2.4053 | 0.19512 | 26.46 | 971.88 | 33.7489 | 20.6985
2019-02-24 05:15:00 | 5.9673 | 161.263 | 6.2403 | 197.993 | 6.2403 | 93.7529 | 6.7517 | 350.525 | 26.46 | 971.88 | 34.2272 | 22.7122
2019-02-24 05:30:00 | 3.1587 | 156.629 | 6.496 | 205.48 | 5.9847 | 93.6553 | 5.9847 | 348.134 | 26.46 | 971.583 | 35.7301 | 25.3651
2019-02-24 05:45:00 | 1.51 | 158.094 | 7.263 | 207.142 | 6.7517 | 93.803 | 6.496 | 345.847 | 26.46 | 971.381 | 36.6188 | 21.9511
2019-02-24 06:00:00 | 2.0207 | 153.749 | 7.0073 | 203.66 | 5.9847 | 93.7179 | 4.962 | 342.819 | 26.46 | 971.443 | 36.2137 | 24.2862
2019-02-24 06:15:00 | 0.372 | 163.249 | 6.7517 | 208.822 | 6.7517 | 93.8218 | 4.7063 | 348.038 | 26.46 | 971.853 | 36.6945 | 22.5459
2019-02-24 06:30:00 | 10.8187 | 160.328 | 7.263 | 207.124 | 5.9847 | 93.777 | 2.2853 | 348.883 | 26.46 | 971.865 | 36.491 | 22.727
2019-02-24 06:45:00 | 11.5847 | 159.981 | 7.0073 | 205.456 | 6.2403 | 93.7491 | 12.1207 | 353.797 | 26.46 | 972.028 | 37.6855 | 21.8291
2019-02-24 07:00:00 | 0 | 165.258 | 7.263 | 208.687 | 6.7517 | 93.7778 | 1.6383 | 353.326 | 26.46 | 972.176 | 37.9264 | 17.7796
2019-02-24 07:15:00 | 0 | 155.499 | 6.7517 | 201.563 | 6.2403 | 93.6801 | 1.127 | 352.862 | 26.46 | 972.131 | 38.063 | 17.8978
2019-02-24 07:30:00 | 0 | 161.785 | 5.4733 | 202.982 | 5.9847 | 93.6122 | 1.894 | 352.156 | 26.46 | 972.285 | 38.0894 | 15.9433
2019-02-24 07:45:00 | 8.5207 | 158.897 | 6.496 | 203.602 | 5.4733 | 93.5822 | 4.7063 | 346.183 | 26.46 | 972.477 | 37.9163 | 15.1452
2019-02-24 08:00:00 | 0 | 157.507 | 5.2177 | 195.92 | 4.4507 | 93.4359 | 1.007 | 347.988 | 26.46 | 972.772 | 38.8728 | 13.682
2019-02-24 08:15:00 | 0 | 149.384 | 5.2177 | 200.234 | 4.7063 | 93.4348 | 0 | 343.619 | 26.46 | 973.069 | 38.4624 | 13.0871
2019-02-24 08:30:00 | 0 | 159.21 | 4.962 | 196.945 | 4.962 | 93.3807 | 1.774 | 343.412 | 26.46 | 973.366 | 36.333 | 12.193
2019-02-24 08:45:00 | 0 | 160.988 | 6.2403 | 209.109 | 5.2177 | 93.4527 | 0.887 | 352.38 | 26.46 | 973.667 | 35.4106 | 12.0748
2019-02-24 09:00:00 | 0 | 162.596 | 5.2177 | 203.832 | 5.729 | 93.5112 | 4.7063 | 346.523 | 26.46 | 973.633 | 36.1903 | 11.4134
2019-02-24 09:15:00 | 0 | 164.928 | 6.2403 | 199.14 | 5.9847 | 93.5551 | 5.729 | 347.212 | 26.46 | 973.715 | 34.2083 | 11.1695
2019-02-24 09:30:00 | 0 | 142.532 | 7.5187 | 198.088 | 5.4733 | 93.811 | 0.75133 | 342.657 | 26.46 | 974.26 | 34.6476 | 10.6227
2019-02-24 09:45:00 | 0 | 170.975 | 5.9847 | 220.925 | 5.9847 | 93.9814 | 0.63133 | 0.19498 | 26.46 | 974.578 | 33.76 | 10.3493
2019-02-24 10:00:00 | 0.99933 | 164.346 | 5.729 | 204.814 | 6.2403 | 93.7864 | 2.1497 | 349.457 | 26.46 | 974.553 | 32.8384 | 12.81
2019-02-24 10:15:00 | 2.7867 | 169.171 | 8.03 | 207.983 | 7.7743 | 94.7613 | 4.962 | 341.657 | 26.46 | 974.256 | 32.1557 | 17.5764
2019-02-24 10:30:00 | 4.8293 | 163.98 | 7.7743 | 202.304 | 7.263 | 94.4445 | 2.661 | 344.217 | 26.46 | 974.256 | 33.1115 | 18.9878
2019-02-24 10:45:00 | 0.372 | 164.784 | 8.5413 | 203.693 | 8.03 | 94.6638 | 3.428 | 355.647 | 26.46 | 974.256 | 34.2721 | 22.3908
2019-02-24 11:00:00 | 0 | 176.02 | 7.263 | 199.087 | 7.5187 | 94.5176 | 4.962 | 339.05 | 26.46 | 974.256 | 34.2038 | 19.9817
2019-02-24 11:15:00 | 0 | 147.65 | 7.7743 | 193.262 | 7.7743 | 94.6882 | 4.4507 | 335.101 | 26.46 | 974.256 | 30.2441 | 14.9641
2019-02-24 11:30:00 | 0 | 147.65 | 6.496 | 198.502 | 7.263 | 94.7613 | 3.6837 | 355.477 | 26.46 | 974.256 | 30.4489 | 14.7683
2019-02-24 11:45:00 | 0 | 157.448 | 7.5187 | 211.712 | 7.7743 | 94.6638 | 5.2177 | 354.209 | 26.46 | 973.959 | 30.9268 | 15.4592
2019-02-24 12:00:00 | 0 | 151.183 | 7.0073 | 205.227 | 6.2403 | 94.3949 | 4.4507 | 339.485 | 26.46 | 973.959 | 31.5751 | 15.2338
2019-02-24 12:15:00 | 0 | 157.299 | 7.263 | 196.646 | 7.7743 | 94.6378 | 4.195 | 341.042 | 26.46 | 973.662 | 32.9061 | 18.3117
2019-02-24 12:30:00 | 0 | 163.858 | 7.0073 | 193.676 | 8.2857 | 94.81 | 1.5183 | 341.852 | 26.46 | 973.513 | 32.3263 | 20.4768
2019-02-24 12:45:00 | 0 | 158.862 | 5.9847 | 188.387 | 7.5187 | 94.5663 | 3.9393 | 344.095 | 26.46 | 973.365 | 31.8826 | 25.6016
2019-02-24 13:00:00 | 0 | 156.424 | 7.5187 | 194.773 | 7.7743 | 95.1512 | 5.9847 | 344.923 | 26.46 | 972.92 | 32.8384 | 23.6913
2019-02-24 13:15:00 | 6.7333 | 143.385 | 7.263 | 195.528 | 7.7743 | 94.9319 | 5.4733 | 331.518 | 26.46 | 972.474 | 33.5211 | 20.5692
2019-02-24 13:30:00 | 0 | 156.181 | 7.0073 | 205.911 | 6.7517 | 94.9319 | 2.661 | 347.166 | 26.46 | 972.177 | 32.9066 | 18.186
2019-02-24 13:45:00 | 0 | 162.591 | 6.7517 | 195.991 | 8.5413 | 95.1512 | 5.729 | 336.978 | 26.46 | 971.885 | 30.0393 | 14.5466
2019-02-24 14:00:00 | 0 | 140.582 | 7.0073 | 190.337 | 6.2403 | 94.4932 | 1.1427 | 327.326 | 26.46 | 972.197 | 33.0432 | 11.8789
2019-02-24 14:15:00 | 0 | 130.565 | 5.4733 | 198.551 | 5.4733 | 94.5419 | 5.729 | 317.577 | 26.46 | 972.474 | 33.3845 | 12.9874
2019-02-24 14:30:00 | 0 | 155.254 | 4.4507 | 211.2 | 5.9847 | 94.6394 | 0 | 340.585 | 26.46 | 972.326 | 32.0191 | 13.8298
2019-02-24 14:45:00 | 0 | 167.197 | 5.4733 | 203.059 | 4.962 | 94.6394 | 2.541 | 355.33 | 26.46 | 972.177 | 31.4047 | 11.0106
2019-02-24 15:00:00 | 0 | 169.976 | 7.0073 | 230.747 | 6.7517 | 94.6882 | 0.75133 | 1.9742 | 26.46 | 971.88 | 29.0152 | 10.0943
2019-02-24 15:15:00 | 0 | 176.508 | 3.6837 | 231.478 | 6.496 | 94.6394 | 0 | 341.487 | 26.46 | 971.732 | 28.1277 | 8.4095
2019-02-24 15:30:00 | 0 | 164.053 | 5.9847 | 221.534 | 5.4733 | 94.5419 | 0.75133 | 345.898 | 26.46 | 971.625 | 30.5172 | 8.8491
2019-02-24 15:45:00 | 0 | 180.895 | 3.9393 | 238.302 | 4.4507 | 94.5663 | 0.37567 | 352.601 | 26.46 | 971.822 | 30.9268 | 9.359
2019-02-24 16:00:00 | 0 | 160.669 | 4.4507 | 217.835 | 4.7063 | 94.4956 | 0.37567 | 355.242 | 26.46 | 971.672 | 32.5661 | 7.2234
2019-02-24 16:15:00 | 0 | 182.727 | 5.9847 | 232.762 | 6.2403 | 94.5814 | 0.75133 | 1.4626 | 26.46 | 971.291 | 33.3216 | 5.8342
2019-02-24 16:30:00 | 0 | 168.886 | 3.9393 | 228.6 | 3.6837 | 94.2426 | 0 | 340.941 | 26.46 | 971.502 | 34.2101 | 4.5447
2019-02-24 16:45:00 | 0 | 139.979 | 5.2177 | 185.385 | 4.962 | 94.2945 | 0 | 344.511 | 26.46 | 971.717 | 34.8941 | 3.1886
2019-02-24 17:00:00 | 0 | 156.795 | 3.1723 | 201.126 | 3.9393 | 94.1451 | 0 | 341.233 | 26.46 | 971.757 | 35.4393 | 0.86459
2019-02-24 17:15:00 | 0 | 149.48 | 3.6837 | 192.421 | 2.9167 | 94.0952 | 0 | 332.429 | 26.46 | 971.818 | 36.19 | 0.34731
2019-02-24 17:30:00 | 0 | 144.75 | 3.428 | 187.74 | 2.9167 | 94.1437 | 0 | 325.822 | 26.46 | 971.868 | 36.5313 | 0.23647
2019-02-24 17:45:00 | 0 | 140.51 | 2.9167 | 186.572 | 2.1497 | 94.0958 | 0 | 325.021 | 26.46 | 971.729 | 36.7364 | 0.86459
2019-02-24 18:00:00 | 0 | 137.262 | 3.428 | 191.038 | 3.1723 | 94.1089 | 0 | 329.844 | 26.46 | 971.88 | 37.083 | 1.4225
2019-02-24 18:15:00 | 0 | 145.848 | 4.195 | 192.067 | 3.1723 | 94.1109 | 0 | 329.315 | 26.46 | 971.731 | 37.8351 | 2.9374
2019-02-24 18:30:00 | 0 | 138.192 | 3.9393 | 187.19 | 4.195 | 94.1597 | 1.5183 | 327.048 | 26.46 | 971.583 | 37.6643 | 3.7761
2019-02-24 18:45:00 | 0 | 145.214 | 3.9393 | 191.384 | 3.428 | 94.111 | 2.4053 | 337.873 | 26.46 | 971.393 | 37.0155 | 3.5914
2019-02-24 19:00:00 | 0 | 157.843 | 5.4733 | 201.819 | 4.195 | 94.1597 | 0 | 343.432 | 26.46 | 971.581 | 36.6399 | 4.7996
2019-02-24 19:15:00 | 0 | 159.112 | 5.729 | 202.528 | 4.4507 | 94.2581 | 2.9167 | 345.19 | 26.46 | 971.726 | 36.3329 | 4.4338
2019-02-24 19:30:00 | 0 | 158.288 | 5.729 | 202.119 | 4.7063 | 94.163 | 1.2627 | 344.59 | 26.46 | 971.731 | 36.5388 | 4.6259
2019-02-24 19:45:00 | 0 | 164.808 | 5.2177 | 211.644 | 4.7063 | 94.218 | 1.3983 | 349.66 | 26.46 | 971.88 | 36.2679 | 3.5138
2019-02-24 20:00:00 | 0 | 154.643 | 3.6837 | 199.894 | 2.4053 | 94.0732 | 0 | 339.595 | 26.46 | 971.88 | 34.9025 | 1.1343
2019-02-24 20:15:00 | 0 | 154.067 | 3.428 | 193.665 | 2.9167 | 93.7374 | 0.75133 | 339.201 | 26.46 | 971.88 | 35.451 | 1.5962
2019-02-24 20:30:00 | 0 | 154.681 | 4.4507 | 199.816 | 3.1723 | 93.3988 | 0 | 339.698 | 26.46 | 971.88 | 36.2035 | 4.9585
2019-02-24 20:45:00 | 0 | 152.866 | 4.962 | 197.3 | 3.9393 | 93.4561 | 0.37567 | 338.876 | 26.46 | 971.88 | 36.2068 | 5.0139
2019-02-24 21:00:00 | 0 | 155.821 | 3.428 | 217.354 | 2.1497 | 93.361 | 0 | 345.153 | 26.46 | 971.88 | 37.1642 | 4.8513
2019-02-24 21:15:00 | 0 | 161.432 | 3.6837 | 202.478 | 2.9167 | 93.3129 | 0 | 347.546 | 26.46 | 971.88 | 37.5743 | 4.4818
2019-02-24 21:30:00 | 0 | 159.409 | 3.1723 | 200.041 | 2.4053 | 93.0697 | 0 | 346.5 | 26.46 | 972.028 | 37.5063 | 3.1813
2019-02-24 21:45:00 | 0 | 161.702 | 2.9167 | 201.31 | 1.6383 | 93.07 | 0 | 350.964 | 26.46 | 972.177 | 37.4381 | 3.0963
2019-02-24 22:00:00 | 0 | 162.092 | 2.661 | 202.675 | 1.894 | 93.0212 | 0 | 355.11 | 26.46 | 972.326 | 38.3262 | 2.1726
2019-02-24 22:15:00 | 0.62733 | 166.775 | 3.428 | 214.382 | 3.1723 | 93.07 | 3.1723 | 350.573 | 26.46 | 972.177 | 36.8915 | 0.11454
2019-02-24 22:30:00 | 1.3933 | 163.848 | 3.1723 | 215.26 | 2.9167 | 93.07 | 0.63133 | 348.452 | 26.46 | 972.474 | 37.0965 | -0.12562
2019-02-24 22:45:00 | 0 | 172.823 | 3.9393 | 224.626 | 3.428 | 93.07 | 0.63133 | 354.183 | 26.46 | 972.474 | 36.8232 | 0.16996
2019-02-24 23:00:00 | 0 | 167.016 | 3.428 | 213.793 | 2.4053 | 93.0684 | 2.661 | 349.202 | 26.46 | 972.771 | 36.8226 | 0.040643
2019-02-24 23:15:00 | 0 | 161.481 | 3.6837 | 215.648 | 3.428 | 93.069 | 0 | 355.496 | 26.46 | 972.474 | 36.1397 | -0.2882
2019-02-24 23:30:00 | 6.7333 | 162.482 | 2.1497 | 214.967 | 2.1497 | 92.9722 | 4.4507 | 25.2674 | 26.46 | 972.326 | 36.4132 | -0.25125
2019-02-24 23:45:00 | 0 | 162.97 | 2.1497 | 237.942 | 2.661 | 93.0212 | 0 | 19.4384 | 26.46 | 972.474 | 36.8232 | -0.25125