## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-25 00:00:00 | 0 | 162.918 | 1.127 | 235.645 | 0 | 92.9705 | 0 | 10.1458 | 26.46 | 972.474 | 36.1735 | -0.25125
2019-02-25 00:15:00 | 0 | 163.165 | 1.894 | 235.723 | 1.127 | 92.9724 | 0 | 10.4387 | 26.46 | 972.474 | 34.0905 | -0.25125
2019-02-25 00:30:00 | 0 | 163.165 | 1.894 | 235.845 | 0 | 92.9724 | 0 | 28.7795 | 26.46 | 972.474 | 34.2955 | -0.25125
2019-02-25 00:45:00 | 3.042 | 176.14 | 2.9167 | 247.869 | 3.1723 | 93.07 | 0 | 24.0236 | 26.46 | 972.92 | 36.0717 | -0.25125
2019-02-25 01:00:00 | 0 | 212.968 | 2.9167 | 260.234 | 2.4053 | 93.07 | 0 | 35.7061 | 26.46 | 973.068 | 40.2391 | -0.25125
2019-02-25 01:15:00 | 0 | 212.749 | 2.1497 | 260.722 | 0.75133 | 92.9724 | 0 | 29.1697 | 26.46 | 972.92 | 37.7114 | -0.25125
2019-02-25 01:30:00 | 18.9893 | 230.309 | 1.894 | 274.648 | 1.127 | 93.07 | 7.7743 | 53.5835 | 26.46 | 973.068 | 36.0717 | -0.25125
2019-02-25 01:45:00 | 0 | 234.382 | 0 | 283.136 | 0 | 92.9237 | 0 | 58.2907 | 26.46 | 973.068 | 36.2084 | -0.25125
2019-02-25 02:00:00 | 0 | 234.358 | 0 | 283.136 | 0 | 92.9237 | 0 | 58.2419 | 26.46 | 972.474 | 37.5064 | -0.25125
2019-02-25 02:15:00 | 0 | 234.285 | 1.6383 | 283.112 | 0 | 92.9237 | 0 | 58.2419 | 26.46 | 972.474 | 37.2331 | -0.25125
2019-02-25 02:30:00 | 0 | 233.797 | 2.661 | 281.99 | 2.4053 | 93.07 | 0 | 52.8762 | 26.46 | 972.771 | 36.14 | -0.26233
2019-02-25 02:45:00 | 0 | 224.919 | 3.1723 | 269.99 | 2.661 | 93.07 | 0 | 46.9496 | 26.46 | 972.771 | 36.0717 | -0.26233
2019-02-25 03:00:00 | 0.99933 | 224.383 | 3.6837 | 272.819 | 2.661 | 93.07 | 0 | 43.4619 | 26.46 | 972.474 | 36.6183 | -0.26972
2019-02-25 03:15:00 | 0 | 225.017 | 3.428 | 272.722 | 2.661 | 93.07 | 0 | 44.1936 | 26.46 | 972.623 | 36.8232 | -0.26972
2019-02-25 03:30:00 | 1.6267 | 227.846 | 2.4053 | 265.21 | 2.1497 | 93.07 | 0 | 64.827 | 26.46 | 972.474 | 36.4816 | -0.28081
2019-02-25 03:45:00 | 0 | 245.796 | 2.1497 | 288.575 | 1.127 | 92.9724 | 0 | 73.1682 | 26.46 | 972.474 | 37.0282 | -0.26233
2019-02-25 04:00:00 | 0 | 250.699 | 1.6383 | 303.257 | 0 | 92.9237 | 0 | 79.5095 | 26.46 | 972.177 | 37.9163 | -0.25125
2019-02-25 04:15:00 | 0 | 259.064 | 1.6383 | 303.257 | 0 | 92.9237 | 0 | 84.0947 | 26.46 | 972.177 | 39.0094 | -0.25125
2019-02-25 04:30:00 | 0 | 259.064 | 1.3827 | 310.989 | 0 | 92.9237 | 0 | 92.6798 | 26.46 | 972.474 | 39.0777 | -0.25125
2019-02-25 04:45:00 | 0 | 278.869 | 1.894 | 311.403 | 0.37567 | 92.8261 | 0 | 96.1918 | 26.46 | 972.474 | 39.5559 | -0.26233
2019-02-25 05:00:00 | 0 | 293.161 | 1.6383 | 312.233 | 0.37567 | 91.0701 | 0 | 96.3138 | 26.46 | 972.177 | 40.649 | -0.26233
2019-02-25 05:15:00 | 0 | 319.257 | 1.6383 | 313.111 | 0.37567 | 89.8994 | 0 | 96.8747 | 26.46 | 972.177 | 41.8104 | -0.25125
2019-02-25 05:30:00 | 0 | 319.306 | 1.894 | 313.159 | 0.75133 | 89.8994 | 0 | 96.8503 | 26.46 | 972.326 | 42.2203 | -0.26233
2019-02-25 05:45:00 | 0 | 331.062 | 2.9167 | 314.525 | 1.3827 | 89.8994 | 0 | 98.2649 | 26.46 | 972.326 | 39.4193 | -0.29928
2019-02-25 06:00:00 | 0 | 343.5 | 2.4053 | 314.696 | 1.3827 | 88.1677 | 0 | 159.873 | 26.46 | 972.326 | 39.6243 | -0.26233
2019-02-25 06:15:00 | 8.01 | 346.232 | 2.1497 | 315.428 | 1.894 | 86.0946 | 0 | 170.58 | 26.46 | 972.474 | 41.9471 | -0.26233
2019-02-25 06:30:00 | 0 | 353.5 | 3.1723 | 60.0948 | 2.661 | 75.5096 | 0 | 177.409 | 26.46 | 972.623 | 39.8292 | -0.31406
2019-02-25 06:45:00 | 0 | 6.5364 | 3.6837 | 60.1436 | 3.1723 | 75.4608 | 0 | 190.237 | 26.46 | 972.771 | 40.5124 | -0.20691
2019-02-25 07:00:00 | 0 | 11.3655 | 3.428 | 62.2899 | 2.661 | 75.534 | 0 | 197.115 | 26.46 | 972.771 | 40.854 | -0.22539
2019-02-25 07:15:00 | 0 | 19.7066 | 3.6837 | 67.0946 | 2.4053 | 75.6072 | 0 | 198.774 | 26.46 | 972.771 | 40.854 | -0.022169
2019-02-25 07:30:00 | 0 | 26.4381 | 2.9167 | 73.9968 | 2.4053 | 75.6072 | 0 | 207.115 | 26.46 | 973.068 | 41.8787 | -0.11454
2019-02-25 07:45:00 | 0 | 22.048 | 3.428 | 71.2896 | 2.1497 | 75.656 | 0 | 204.773 | 26.46 | 973.514 | 41.4005 | -0.20691
2019-02-25 08:00:00 | 0 | 25.5585 | 2.1497 | 72.0397 | 0.37567 | 75.6023 | 0 | 210.272 | 26.46 | 973.96 | 39.69 | -0.28081
2019-02-25 08:15:00 | 0 | 29.4525 | 2.1497 | 72.0634 | 0 | 75.5817 | 0 | 210.532 | 26.46 | 974.257 | 37.9718 | -0.2882
2019-02-25 08:30:00 | 0 | 22.1868 | 2.9167 | 72.2824 | 0.37567 | 76.0202 | 0 | 206.508 | 26.46 | 974.259 | 38.1083 | -0.29928
2019-02-25 08:45:00 | 0 | 23.1104 | 2.661 | 74.2944 | 1.3827 | 75.3283 | 0 | 204.361 | 26.46 | 974.405 | 38.1036 | -0.26233
2019-02-25 09:00:00 | 0 | 14.185 | 2.4053 | 58.8708 | 1.6383 | 75.4098 | 0 | 206.853 | 26.46 | 974.286 | 37.9589 | -0.26233
2019-02-25 09:15:00 | 0 | 27.4925 | 2.1497 | 74.6638 | 1.6383 | 75.1169 | 0 | 212.969 | 26.46 | 974.851 | 37.2419 | -0.26233
2019-02-25 09:30:00 | 0 | 6.3365 | 1.894 | 77.8252 | 1.894 | 69.5061 | 0 | 200.573 | 26.46 | 975.147 | 37.4098 | -0.29928
2019-02-25 09:45:00 | 0 | 30.8989 | 2.661 | 66.9701 | 1.894 | 67.2562 | 0 | 207.373 | 26.46 | 976.038 | 36.9277 | -0.29928
2019-02-25 10:00:00 | 0 | 353.309 | 2.9167 | 2.6525 | 1.894 | 61.7884 | 0 | 214.164 | 26.46 | 975.744 | 35.9666 | -0.29928
2019-02-25 10:15:00 | 0 | 291.496 | 0.75133 | 334.04 | 0.37567 | 58.962 | 0 | 114.635 | 26.46 | 975.739 | 36.5467 | -0.28081
2019-02-25 10:30:00 | 0 | 319.934 | 2.661 | 35.7424 | 1.127 | 56.4245 | 0 | 153.121 | 26.46 | 975.739 | 37.4657 | -0.29928
2019-02-25 10:45:00 | 0 | 286.928 | 2.9167 | 335.335 | 2.4053 | 54.7643 | 0 | 114.377 | 26.46 | 975.739 | 37.5997 | -0.26233
2019-02-25 11:00:00 | 0 | 264.709 | 2.661 | 313.541 | 2.4053 | 50.662 | 0 | 57.4575 | 26.46 | 976.036 | 36.2281 | -0.28081
2019-02-25 11:15:00 | 0 | 256.302 | 3.428 | 321.72 | 3.1723 | 48.5179 | 0 | 82.0323 | 26.46 | 976.036 | 37.1145 | -0.29928
2019-02-25 11:30:00 | 0 | 238.203 | 2.1497 | 325.395 | 2.9167 | 40.4313 | 0 | 71.6072 | 26.46 | 976.036 | 35.7838 | -0.28081
2019-02-25 11:45:00 | 0 | 285.918 | 3.1723 | 15.7864 | 0.37567 | 26.0125 | 0 | 105.998 | 26.46 | 975.888 | 33.8736 | -0.26233
2019-02-25 12:00:00 | 0 | 276.299 | 3.428 | 19.8782 | 2.1497 | 25.9152 | 1.774 | 94.308 | 26.46 | 975.888 | 33.635 | -0.25125
2019-02-25 12:15:00 | 0 | 324.813 | 2.1497 | 19.8539 | 1.6383 | 25.8175 | 0 | 224.344 | 26.46 | 975.888 | 33.0206 | -0.26233
2019-02-25 12:30:00 | 0 | 273.714 | 2.1497 | 295.85 | 1.6383 | 24.3561 | 0 | 94.5749 | 26.46 | 975.709 | 32.0996 | -0.26233
2019-02-25 12:45:00 | 0 | 293.199 | 2.1497 | 331.362 | 1.6383 | 23.9664 | 0 | 119.15 | 26.46 | 975.739 | 32.5431 | -0.27342
2019-02-25 13:00:00 | 0 | 312.733 | 2.661 | 15.9082 | 2.1497 | 24.1856 | 0.37567 | 121.902 | 26.46 | 975.591 | 32.1337 | -0.25125
2019-02-25 13:15:00 | 0 | 289.083 | 2.4053 | 321.132 | 1.6383 | 24.1613 | 0 | 89.2409 | 26.46 | 975.739 | 31.4515 | -0.29928
2019-02-25 13:30:00 | 0 | 296.131 | 2.1497 | 329.131 | 2.1497 | 23.4313 | 0 | 65.9584 | 26.46 | 975.739 | 30.6337 | -0.30298
2019-02-25 13:45:00 | 0 | 297.315 | 3.6837 | 336.798 | 2.9167 | 23.3107 | 0 | 117.333 | 26.46 | 975.442 | 31.8293 | -0.29928
2019-02-25 14:00:00 | 0 | 307.234 | 2.1497 | 3.0974 | 2.1497 | 23.4872 | 0 | 121.846 | 26.46 | 974.997 | 30.1654 | -0.29928
2019-02-25 14:15:00 | 0 | 297.319 | 4.195 | 6.3867 | 2.4053 | 23.3655 | 0 | 126.549 | 26.46 | 975.145 | 30.029 | -0.29928
2019-02-25 14:30:00 | 0 | 53.4068 | 2.1497 | 90.3709 | 1.894 | 32.1611 | 0 | 212.848 | 26.46 | 974.849 | 30.4385 | -0.29928
2019-02-25 14:45:00 | 0 | 289.422 | 3.6837 | 36.1107 | 3.1723 | 25.1926 | 0 | 112.392 | 26.46 | 975.442 | 30.5064 | -0.29928
2019-02-25 15:00:00 | 0 | 315.958 | 1.894 | 13.7627 | 3.1723 | 25.3147 | 0 | 130.033 | 26.46 | 974.849 | 30.9845 | -0.29928
2019-02-25 15:15:00 | 0 | 320.977 | 2.661 | 8.0127 | 1.127 | 25.5339 | 0 | 133.615 | 26.46 | 974.849 | 30.7115 | -0.26233
2019-02-25 15:30:00 | 0 | 331.332 | 3.9393 | 0.22248 | 4.7063 | 25.1441 | 0 | 148.867 | 26.46 | 974.552 | 31.4622 | -0.17735
2019-02-25 15:45:00 | 0 | 20.7341 | 2.1497 | 55.2374 | 2.4053 | 25.1441 | 0 | 189.726 | 26.46 | 974.684 | 31.8034 | -0.088676
2019-02-25 16:00:00 | 0 | 49.6843 | 1.127 | 46.2295 | 2.1497 | 21.7354 | 0 | 207.461 | 26.46 | 974.698 | 32.4211 | -0.26972
2019-02-25 16:15:00 | 0 | 7.5053 | 2.9167 | 60.0724 | 0.37567 | 30.8008 | 0 | 177.933 | 26.46 | 974.85 | 32.8316 | -0.25125
2019-02-25 16:30:00 | 0 | 3.9233 | 1.894 | 69.1403 | 1.3827 | 28.9499 | 0 | 160.735 | 26.46 | 974.256 | 33.2423 | -0.28081
2019-02-25 16:45:00 | 0 | 356.902 | 2.4053 | 61.8784 | 1.3827 | 24.1736 | 0 | 173.748 | 26.46 | 974.256 | 33.3447 | -0.28081
2019-02-25 17:00:00 | 0 | 0.097489 | 2.1497 | 56.9186 | 2.1497 | 17.548 | 0 | 180.671 | 26.46 | 973.81 | 33.1107 | -0.26233
2019-02-25 17:15:00 | 0 | 0.43871 | 2.9167 | 47.4638 | 1.894 | 17.1584 | 0 | 182.918 | 26.46 | 973.662 | 33.0432 | -0.25125
2019-02-25 17:30:00 | 6.2227 | 355.696 | 2.4053 | 36.4229 | 2.661 | 17.0609 | 0 | 180.505 | 26.46 | 973.662 | 31.8143 | -0.25125
2019-02-25 17:45:00 | 0 | 352.016 | 3.428 | 34.205 | 3.428 | 16.8659 | 0 | 175.971 | 26.46 | 973.662 | 30.8585 | -0.20691
2019-02-25 18:00:00 | 0 | 356.817 | 3.9393 | 43.7591 | 3.1723 | 16.9147 | 0 | 178.945 | 26.46 | 973.106 | 31.5412 | -0.24386
2019-02-25 18:15:00 | 0 | 356.899 | 3.6837 | 40.645 | 3.9393 | 16.575 | 0 | 182.276 | 26.46 | 973.411 | 33.729 | -0.088676
2019-02-25 18:30:00 | 0 | 4.8754 | 3.428 | 54.1065 | 2.4053 | 17.3566 | 0 | 189.605 | 26.46 | 973.492 | 33.6637 | 0.20691
2019-02-25 18:45:00 | 0 | 5.363 | 2.9167 | 54.8872 | 2.4053 | 17.3567 | 0 | 188.388 | 26.46 | 973.641 | 34.0054 | 0.59857
2019-02-25 19:00:00 | 0 | 0.78012 | 3.428 | 50.991 | 2.661 | 17.2114 | 0 | 185.449 | 26.46 | 973.662 | 34.2122 | 0.33254
2019-02-25 19:15:00 | 0 | 6.0464 | 3.428 | 54.8483 | 2.661 | 17.2614 | 0 | 190.851 | 26.46 | 973.959 | 34.5562 | 0.5025
2019-02-25 19:30:00 | 0 | 6.7779 | 3.1723 | 56.6294 | 2.4053 | 17.2617 | 0 | 191.586 | 26.46 | 973.959 | 34.6251 | 0.22908
2019-02-25 19:45:00 | 0 | 15.4088 | 3.1723 | 61.9204 | 2.4053 | 17.2618 | 0 | 198.511 | 26.46 | 973.959 | 34.113 | 0.070202
2019-02-25 20:00:00 | 0.372 | 20.3826 | 2.9167 | 63.3101 | 2.4053 | 17.2618 | 0 | 195.658 | 26.46 | 973.959 | 33.3276 | -0.24016
2019-02-25 20:15:00 | 0 | 0.097524 | 2.4053 | 47.0236 | 1.894 | 17.213 | 0 | 177.104 | 26.46 | 974.405 | 32.9862 | -0.22908
2019-02-25 20:30:00 | 0 | 9.8987 | 1.894 | 49.0472 | 1.6383 | 17.2618 | 0 | 192.025 | 26.46 | 974.256 | 31.6886 | -0.28081
2019-02-25 20:45:00 | 9.7973 | 18.1395 | 1.894 | 49.6324 | 1.894 | 17.3106 | 0 | 193.025 | 26.46 | 974.256 | 31.5178 | -0.25125
2019-02-25 21:00:00 | 1.138 | 18.1395 | 1.894 | 71.3071 | 1.6383 | 17.3593 | 0 | 193.049 | 26.46 | 974.405 | 31.552 | -0.25125
2019-02-25 21:15:00 | 0 | 18.1883 | 0.75133 | 73.1601 | 0 | 17.3106 | 0 | 277.237 | 26.46 | 974.405 | 32.5081 | -0.26233
2019-02-25 21:30:00 | 0 | 67.6331 | 0 | 73.1845 | 0 | 17.2618 | 0 | 306.056 | 26.46 | 974.256 | 32.9179 | -0.25125
2019-02-25 21:45:00 | 0 | 140.728 | 1.3827 | 168.173 | 0 | 17.3593 | 0 | 322.172 | 26.46 | 973.959 | 31.8593 | -0.25125
2019-02-25 22:00:00 | 0 | 174.032 | 1.894 | 211.523 | 0 | 50.7126 | 0 | 356.817 | 26.46 | 974.329 | 32.713 | -0.25125
2019-02-25 22:15:00 | 0 | 177.153 | 2.661 | 223.177 | 1.127 | 52.8094 | 0 | 87.6744 | 26.46 | 974.3 | 32.5081 | -0.25125
2019-02-25 22:30:00 | 0 | 134.145 | 2.4053 | 188.653 | 1.6383 | 52.9801 | 0 | 321.001 | 26.46 | 974.279 | 33.2593 | -0.29189
2019-02-25 22:45:00 | 0 | 142.532 | 2.4053 | 185.63 | 0 | 52.6144 | 0 | 330.51 | 26.46 | 974.342 | 33.874 | 1.9915
2019-02-25 23:00:00 | 0 | 139.24 | 2.4053 | 186.727 | 1.6383 | 52.6631 | 0 | 322.659 | 26.46 | 974.37 | 33.3276 | 6.684
2019-02-25 23:15:00 | 0 | 134.388 | 2.1497 | 164.76 | 0 | 53.9309 | 0 | 327.023 | 26.46 | 974.514 | 33.2593 | 7.3564
2019-02-25 23:30:00 | 0 | 149.066 | 2.661 | 191.628 | 1.3827 | 54.321 | 0 | 345.699 | 26.46 | 974.823 | 33.6008 | 8.8233
2019-02-25 23:45:00 | 0 | 144.872 | 3.6837 | 194.7 | 1.894 | 55.5401 | 0 | 323.732 | 26.46 | 975.147 | 35.7179 | 16.3903