## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-26 00:00:00 | 0 | 131.561 | 7.0073 | 172.733 | 6.496 | 77.7515 | 0.37567 | 313.152 | 26.46 | 974.703 | 36.5376 | 24.7481
2019-02-26 00:15:00 | 1.3713 | 139.46 | 8.03 | 180.973 | 7.0073 | 105.156 | 2.0297 | 316.905 | 26.46 | 974.554 | 37.0155 | 36.7748
2019-02-26 00:30:00 | 0.372 | 145.19 | 5.4733 | 196.067 | 4.7063 | 104.01 | 4.962 | 311.861 | 26.46 | 974.554 | 40.4306 | 34.7425
2019-02-26 00:45:00 | 0.99933 | 142.298 | 8.03 | 187.107 | 7.263 | 106.114 | 1.774 | 329.776 | 26.46 | 974.257 | 41.116 | 34.229
2019-02-26 01:00:00 | 2.9033 | 143.456 | 7.0073 | 183.029 | 5.9847 | 106.074 | 1.894 | 323.685 | 26.46 | 974.257 | 40.5732 | 38.7146
2019-02-26 01:15:00 | 5.9673 | 150.033 | 5.9847 | 192.173 | 5.729 | 107.623 | 6.496 | 323.601 | 26.46 | 974.257 | 41.261 | 41.4081
2019-02-26 01:30:00 | 10.0527 | 155.332 | 8.2857 | 200.962 | 8.03 | 113.335 | 4.7063 | 339.296 | 26.46 | 974.109 | 41.8093 | 42.4833
2019-02-26 01:45:00 | 0.62733 | 150.869 | 7.5187 | 191.548 | 5.9847 | 112.749 | 4.195 | 337.273 | 26.46 | 974.257 | 44.0638 | 44.3344
2019-02-26 02:00:00 | 3.2973 | 131.678 | 6.496 | 202.529 | 6.2403 | 113.191 | 4.962 | 332.33 | 26.46 | 974.257 | 44.5431 | 41.822
2019-02-26 02:15:00 | 4.6907 | 141.654 | 7.5187 | 195.749 | 6.7517 | 113.313 | 5.2177 | 335.647 | 26.46 | 974.257 | 44.8847 | 41.1052
2019-02-26 02:30:00 | 11.84 | 151.775 | 8.03 | 195.895 | 7.263 | 113.703 | 1.5183 | 328.842 | 26.46 | 973.663 | 44.3382 | 45.2064
2019-02-26 02:45:00 | 6.7333 | 136.386 | 6.7517 | 189.286 | 5.4733 | 113.118 | 4.962 | 330.623 | 26.46 | 973.663 | 43.8599 | 47.0575
2019-02-26 03:00:00 | 7.4993 | 115.679 | 5.9847 | 194.48 | 5.9847 | 113.411 | 4.962 | 317.745 | 26.46 | 973.663 | 43.9283 | 44.7926
2019-02-26 03:15:00 | 0 | 154.434 | 6.7517 | 198.163 | 6.7517 | 113.094 | 3.6837 | 321.94 | 26.46 | 973.068 | 43.1085 | 49.873
2019-02-26 03:30:00 | 5.2013 | 144.727 | 7.5187 | 190.554 | 6.7517 | 113.46 | 6.496 | 315.843 | 26.46 | 973.068 | 43.3134 | 42.1545
2019-02-26 03:45:00 | 0 | 145.873 | 6.7517 | 187.749 | 6.2403 | 113.411 | 3.6837 | 326.184 | 26.46 | 972.771 | 42.4253 | 41.5596
2019-02-26 04:00:00 | 7.4993 | 133.142 | 7.5187 | 173.774 | 6.7517 | 114.216 | 4.7063 | 320.477 | 26.46 | 972.771 | 42.5619 | 37.6357
2019-02-26 04:15:00 | 0 | 145.849 | 7.5187 | 186.091 | 7.263 | 114.094 | 3.6837 | 329.403 | 26.46 | 972.474 | 41.6738 | 40.7874
2019-02-26 04:30:00 | 8.01 | 137.434 | 7.7743 | 191.481 | 6.496 | 113.728 | 3.9393 | 317.404 | 26.46 | 972.474 | 41.4005 | 40.61
2019-02-26 04:45:00 | 0 | 133.215 | 8.2857 | 174.164 | 8.03 | 112.825 | 2.7967 | 312.55 | 26.46 | 972.326 | 39.6926 | 36.3166
2019-02-26 05:00:00 | 0 | 135.508 | 4.4507 | 172.92 | 4.4507 | 114.118 | 1.3827 | 314.282 | 26.46 | 972.771 | 39.351 | 34.9237
2019-02-26 05:15:00 | 0 | 144.19 | 6.496 | 170.676 | 4.7063 | 113.216 | 2.0297 | 312.16 | 26.46 | 972.771 | 39.146 | 33.1502
2019-02-26 05:30:00 | 0 | 137.19 | 7.7743 | 186.456 | 5.4733 | 114.85 | 3.6837 | 324.208 | 26.46 | 972.771 | 39.351 | 30.2164
2019-02-26 05:45:00 | 0 | 137.02 | 7.263 | 196.383 | 7.7743 | 115.557 | 4.7063 | 335.647 | 26.46 | 972.92 | 39.0094 | 28.0919
2019-02-26 06:00:00 | 0 | 121.459 | 4.4507 | 161.799 | 4.195 | 114.508 | 3.1723 | 306.77 | 26.46 | 973.068 | 38.5312 | 23.6913
2019-02-26 06:15:00 | 0 | 122.289 | 5.2177 | 166.091 | 4.195 | 112.63 | 0.75133 | 319.355 | 26.46 | 973.068 | 38.1213 | 24.3195
2019-02-26 06:30:00 | 0 | 102.093 | 3.6837 | 115.946 | 2.4053 | 80.2894 | 0 | 272.257 | 26.46 | 973.068 | 38.5309 | 17.4988
2019-02-26 06:45:00 | 0 | 131.508 | 1.894 | 151.897 | 1.6383 | 119.313 | 0 | 311.233 | 26.46 | 973.514 | 37.3014 | 16.8707
2019-02-26 07:00:00 | 0 | 122.142 | 6.496 | 172.335 | 4.962 | 135.873 | 1.6383 | 305.111 | 26.46 | 973.663 | 36.4816 | 17.6392
2019-02-26 07:15:00 | 0 | 127.263 | 4.195 | 172.773 | 4.195 | 128.142 | 0 | 314.866 | 26.46 | 974.109 | 37.7795 | 17.399
2019-02-26 07:30:00 | 0 | 131.235 | 4.7063 | 181.353 | 3.1723 | 146.186 | 0 | 306.81 | 26.46 | 974.257 | 35.7291 | 17.3769
2019-02-26 07:45:00 | 0 | 136.43 | 5.9847 | 170.793 | 4.4507 | 146.991 | 1.3827 | 309.371 | 26.46 | 974.554 | 35.1143 | 23.902
2019-02-26 08:00:00 | 0 | 129.014 | 5.729 | 173.911 | 5.2177 | 134.258 | 2.0297 | 308.439 | 26.46 | 974.852 | 34.089 | 22.5386
2019-02-26 08:15:00 | 0 | 123.816 | 5.2177 | 165.443 | 3.6837 | 136.766 | 1.2627 | 312.527 | 26.46 | 974.852 | 34.088 | 17.2808
2019-02-26 08:30:00 | 0 | 132.888 | 5.9847 | 178.381 | 5.2177 | 148.712 | 4.7063 | 348.361 | 26.46 | 975.297 | 33.3303 | 16.4642
2019-02-26 08:45:00 | 0 | 147.092 | 4.195 | 187.777 | 4.7063 | 147.068 | 0 | 318.712 | 26.46 | 975.446 | 33.2596 | 14.4579
2019-02-26 09:00:00 | 0 | 120.418 | 4.962 | 172.489 | 3.6837 | 148.725 | 1.774 | 301.911 | 26.46 | 975.576 | 32.713 | 14.3508
2019-02-26 09:15:00 | 0 | 142.776 | 4.7063 | 199.698 | 4.195 | 148.822 | 0.75133 | 318.466 | 26.46 | 975.842 | 32.0984 | 10.1387
2019-02-26 09:30:00 | 0 | 147.749 | 4.7063 | 180.998 | 4.195 | 138.143 | 5.4733 | 327.462 | 26.46 | 975.526 | 31.8252 | 10.7963
2019-02-26 09:45:00 | 0 | 151.26 | 3.1723 | 206.476 | 3.428 | 156.234 | 0 | 328.803 | 26.46 | 975.45 | 31.4837 | 9.6509
2019-02-26 10:00:00 | 0 | 157.965 | 4.195 | 209.719 | 4.4507 | 174.105 | 0 | 333.777 | 26.46 | 975.297 | 32.6447 | 6.9278
2019-02-26 10:15:00 | 0 | 154.82 | 4.195 | 197.016 | 3.9393 | 161.939 | 3.428 | 335.508 | 26.46 | 975.184 | 34.0789 | 5.7935
2019-02-26 10:30:00 | 0 | 152.748 | 5.9847 | 203.526 | 5.729 | 153.455 | 5.729 | 333.119 | 26.46 | 975.201 | 33.874 | 8.5499
2019-02-26 10:45:00 | 0 | 141.898 | 5.4733 | 188.897 | 5.729 | 160.233 | 4.7063 | 337.264 | 26.46 | 975.237 | 34.7618 | 8.7161
2019-02-26 11:00:00 | 0 | 153.455 | 5.729 | 211.937 | 5.9847 | 166.986 | 2.7967 | 337.215 | 26.46 | 975.354 | 35.6497 | 9.4477
2019-02-26 11:15:00 | 0 | 138.802 | 5.4733 | 194.212 | 6.2403 | 165.328 | 4.4507 | 330.022 | 26.46 | 975.264 | 38.7229 | 8.79
2019-02-26 11:30:00 | 0 | 154.332 | 4.195 | 203.648 | 4.195 | 159.233 | 1.3983 | 327.438 | 26.46 | 975.445 | 37.9717 | 5.7824
2019-02-26 11:45:00 | 0 | 153.138 | 3.9393 | 232.539 | 3.1723 | 161.013 | 0.75133 | 327.438 | 26.46 | 975.446 | 39.2693 | 4.5003
2019-02-26 12:00:00 | 0 | 149.359 | 3.428 | 201.039 | 2.4053 | 167.425 | 0 | 334.85 | 26.46 | 975.446 | 40.7034 | 2.2206
2019-02-26 12:15:00 | 0 | 95.2569 | 1.127 | 193.895 | 0 | 156.917 | 0 | 284.893 | 26.46 | 975.143 | 41.2157 | 0.88676
2019-02-26 12:30:00 | 0 | 99.6699 | 1.6383 | 190.116 | 1.6383 | 161.988 | 0 | 329.34 | 26.46 | 974.981 | 41.1474 | 0.5764
2019-02-26 12:45:00 | 0 | 133.828 | 2.1497 | 199.284 | 2.1497 | 159.501 | 0 | 328.974 | 26.46 | 974.623 | 41.0449 | 0.95696
2019-02-26 13:00:00 | 0 | 127.879 | 2.4053 | 188.727 | 1.6383 | 159.794 | 0 | 310.786 | 26.46 | 974.554 | 40.4986 | 1.1417
2019-02-26 13:15:00 | 0 | 142.044 | 5.2177 | 194.7 | 5.2177 | 154.747 | 0 | 329.657 | 26.46 | 974.108 | 40.2937 | 0.80548
2019-02-26 13:30:00 | 0 | 141.874 | 1.6383 | 155.983 | 1.3827 | 154.43 | 0 | 321.367 | 26.46 | 974.257 | 39.5424 | 0.2143
2019-02-26 13:45:00 | 0 | 165.596 | 3.6837 | 205.037 | 3.428 | 163.109 | 0.37567 | 346.894 | 26.46 | 973.959 | 41.3864 | -0.081287
2019-02-26 14:00:00 | 0 | 162.524 | 2.4053 | 222.299 | 2.661 | 183.858 | 0 | 333.387 | 26.46 | 973.959 | 41.3864 | -0.27711
2019-02-26 14:15:00 | 0 | 156.844 | 4.195 | 203.453 | 3.428 | 163.305 | 1.007 | 329.291 | 26.46 | 973.514 | 40.9766 | -0.25125
2019-02-26 14:30:00 | 0 | 57.7344 | 2.1497 | 126.677 | 0 | 155.259 | 0 | 239.471 | 26.46 | 973.365 | 40.362 | -0.26233
2019-02-26 14:45:00 | 0 | 51.054 | 1.127 | 95.2982 | 0 | 155.356 | 0 | 250.199 | 26.46 | 973.367 | 39.4741 | -0.25125
2019-02-26 15:00:00 | 0 | 87.7475 | 1.6383 | 134.552 | 0 | 155.332 | 0 | 262.487 | 26.46 | 973.677 | 38.3131 | -0.25125
2019-02-26 15:15:00 | 0 | 110.154 | 1.3827 | 192.554 | 1.3827 | 156.088 | 0 | 278.968 | 26.46 | 973.662 | 38.4497 | -0.25125
2019-02-26 15:30:00 | 0 | 90.9658 | 2.661 | 132.479 | 2.1497 | 152.284 | 0 | 263.657 | 26.46 | 973.514 | 37.5961 | -0.26233
2019-02-26 15:45:00 | 0 | 77.3368 | 1.894 | 103.124 | 0.75133 | 153.138 | 0 | 255.27 | 26.46 | 973.365 | 37.9717 | -0.29559
2019-02-26 16:00:00 | 0 | 53.5409 | 2.4053 | 108.464 | 1.6383 | 152.479 | 0 | 236.155 | 26.46 | 973.369 | 37.7668 | -0.12932
2019-02-26 16:15:00 | 0 | 44.3736 | 2.4053 | 92.0799 | 2.4053 | 152.089 | 0 | 238.276 | 26.46 | 973.104 | 37.4936 | -0.18474
2019-02-26 16:30:00 | 0 | 14.8237 | 2.4053 | 77.2805 | 2.1497 | 151.748 | 0 | 215.456 | 26.46 | 972.885 | 37.7668 | -0.16257
2019-02-26 16:45:00 | 0 | 35.6451 | 2.661 | 78.6703 | 1.6383 | 151.407 | 0 | 223.989 | 26.46 | 973.107 | 41.7962 | -0.1441
2019-02-26 17:00:00 | 0 | 24.5761 | 1.127 | 74.5499 | 0 | 151.577 | 0 | 250.784 | 26.46 | 973.056 | 42.9572 | -0.1404
2019-02-26 17:15:00 | 0 | 74.9475 | 2.1497 | 128.31 | 1.3827 | 151.504 | 0 | 266.437 | 26.46 | 973.336 | 43.5718 | -0.28081
2019-02-26 17:30:00 | 0 | 98.9628 | 2.661 | 156.763 | 2.4053 | 151.065 | 0 | 276.53 | 26.46 | 973.365 | 50.7427 | -0.20691
2019-02-26 17:45:00 | 0 | 106.254 | 1.894 | 166.029 | 2.1497 | 150.335 | 0 | 298.305 | 26.46 | 973.663 | 53.2359 | -0.22539
2019-02-26 18:00:00 | 0 | 94.5526 | 4.195 | 158.377 | 3.9393 | 149.412 | 0 | 294.63 | 26.46 | 973.663 | 52.998 | -0.15149
2019-02-26 18:15:00 | 0 | 94.7292 | 1.6383 | 143.417 | 1.6383 | 146.983 | 0 | 261.706 | 26.46 | 973.663 | 53.0354 | 0.51358
2019-02-26 18:30:00 | 0 | 67.6436 | 3.1723 | 131.162 | 1.894 | 145.773 | 0 | 253.164 | 26.46 | 973.96 | 57.6152 | 1.707
2019-02-26 18:45:00 | 0 | 72.5783 | 1.894 | 127.498 | 2.9167 | 145.547 | 0 | 277.193 | 26.46 | 973.96 | 60.8672 | 1.1417
2019-02-26 19:00:00 | 0 | 124.532 | 2.1497 | 142.482 | 2.661 | 145.41 | 0 | 288.429 | 26.46 | 973.96 | 64.4235 | -0.218
2019-02-26 19:15:00 | 0 | 118.386 | 2.661 | 179.14 | 1.6383 | 144.337 | 0 | 313.989 | 26.46 | 974.109 | 65.7899 | -0.26233
2019-02-26 19:30:00 | 0 | 116.094 | 3.428 | 165.408 | 2.4053 | 145.312 | 0 | 298.429 | 26.46 | 973.811 | 64.9018 | -0.077592
2019-02-26 19:45:00 | 0 | 81.3631 | 2.4053 | 148.336 | 1.894 | 147.068 | 0 | 269.747 | 26.46 | 974.109 | 64.2186 | -0.12932
2019-02-26 20:00:00 | 0 | 122.874 | 2.4053 | 170.213 | 1.127 | 146.336 | 0 | 303.404 | 26.46 | 974.109 | 65.0384 | 0.059118
2019-02-26 20:15:00 | 0 | 148.288 | 3.428 | 194.968 | 2.9167 | 146.678 | 0 | 326.989 | 26.46 | 974.257 | 63.8087 | 1.1861
2019-02-26 20:30:00 | 0 | 132.093 | 3.428 | 184.432 | 2.1497 | 145.507 | 0 | 320.989 | 26.46 | 974.257 | 61.6225 | 1.7957
2019-02-26 20:45:00 | 0 | 143.459 | 3.9393 | 192.334 | 3.6837 | 150.824 | 1.1427 | 324.184 | 26.46 | 974.257 | 60.1537 | 2.7194
2019-02-26 21:00:00 | 0 | 136.361 | 4.4507 | 175.31 | 3.9393 | 139.727 | 1.894 | 318.014 | 26.46 | 974.257 | 60.3245 | 3.196
2019-02-26 21:15:00 | 0 | 135.8 | 2.661 | 191.066 | 2.1497 | 145.019 | 0 | 311.136 | 26.46 | 974.406 | 61.1443 | 4.1752
2019-02-26 21:30:00 | 0 | 139.678 | 3.6837 | 177.993 | 2.9167 | 143.946 | 0 | 309.258 | 26.46 | 974.554 | 61.1443 | 6.0004
2019-02-26 21:45:00 | 0 | 141.605 | 4.7063 | 192.92 | 3.9393 | 155.824 | 1.1427 | 323.769 | 26.46 | 974.257 | 60.9394 | 5.2615
2019-02-26 22:00:00 | 0 | 139.776 | 4.7063 | 185.505 | 4.4507 | 142.117 | 0 | 326.086 | 26.46 | 974.257 | 61.1443 | 4.8476
2019-02-26 22:15:00 | 0 | 126.191 | 3.1723 | 185.895 | 2.9167 | 137.093 | 0 | 325.721 | 26.46 | 974.257 | 61.7592 | 5.5534
2019-02-26 22:30:00 | 0 | 138.361 | 3.1723 | 189.31 | 2.9167 | 137.288 | 0 | 311.892 | 26.46 | 974.257 | 62.1691 | 7.8552
2019-02-26 22:45:00 | 0 | 137.8 | 3.9393 | 186.651 | 3.428 | 141.215 | 4.7063 | 305.209 | 26.46 | 974.257 | 62.579 | 9.13
2019-02-26 23:00:00 | 0 | 144.288 | 4.4507 | 192.895 | 4.4507 | 132.239 | 5.729 | 315.282 | 26.46 | 974.257 | 62.4424 | 9.9946
2019-02-26 23:15:00 | 0 | 139.068 | 3.6837 | 170.676 | 3.428 | 137.751 | 2.541 | 322.16 | 26.46 | 974.257 | 62.2374 | 17.0369
2019-02-26 23:30:00 | 0 | 147.361 | 6.2403 | 203.139 | 7.0073 | 143.776 | 0.37567 | 328.233 | 26.46 | 973.663 | 63.5354 | 25.6274
2019-02-26 23:45:00 | 1.3713 | 131.922 | 3.428 | 188.847 | 4.7063 | 160.287 | 5.9847 | 334.55 | 26.46 | 973.663 | 65.8582 | 21.7479