## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-27 00:00:00 | 2.648 | 140.264 | 8.2857 | 190.139 | 7.5187 | 160.165 | 5.729 | 325.964 | 26.46 | 973.068 | 67.7028 | 19.9965
2019-02-27 00:15:00 | 0.62733 | 149.141 | 7.0073 | 184.627 | 6.2403 | 144.141 | 5.2177 | 327.428 | 26.46 | 973.088 | 67.4295 | 16.2869
2019-02-27 00:30:00 | 0 | 136.485 | 6.496 | 188.532 | 5.9847 | 152.07 | 0.37567 | 321.871 | 26.46 | 973.108 | 66.8838 | 14.3064
2019-02-27 00:45:00 | 0 | 139.519 | 5.729 | 189.352 | 6.2403 | 153.325 | 3.9393 | 325.968 | 26.46 | 973.196 | 65.7956 | 13.9776
2019-02-27 01:00:00 | 0 | 134.57 | 6.2403 | 182.794 | 5.729 | 152.157 | 4.962 | 321.753 | 26.46 | 973.303 | 65.1134 | 14.0663
2019-02-27 01:15:00 | 0 | 132.207 | 4.195 | 178.798 | 3.428 | 153.575 | 0 | 317.126 | 26.46 | 973.266 | 65.2515 | 13.5379
2019-02-27 01:30:00 | 0 | 138.444 | 8.03 | 192.569 | 8.03 | 150.347 | 4.962 | 310.158 | 26.46 | 973.279 | 62.9251 | 19.2686
2019-02-27 01:45:00 | 0 | 129.277 | 7.0073 | 177.013 | 6.7517 | 145.424 | 1.3827 | 319.387 | 26.46 | 972.994 | 63.0635 | 20.2588
2019-02-27 02:00:00 | 0 | 115.389 | 5.2177 | 167.047 | 4.962 | 145.413 | 5.9847 | 312.557 | 26.46 | 972.937 | 63.0928 | 20.2071
2019-02-27 02:15:00 | 0 | 147.852 | 4.195 | 194.485 | 4.195 | 146.242 | 2.9167 | 320.679 | 26.46 | 972.713 | 61.7947 | 22.6235
2019-02-27 02:30:00 | 0 | 139.245 | 4.962 | 181.465 | 3.9393 | 162.489 | 0.37567 | 334.222 | 26.46 | 972.748 | 61.3518 | 20.7466
2019-02-27 02:45:00 | 0 | 157.51 | 5.2177 | 186.338 | 2.9167 | 163.266 | 0.37567 | 336.532 | 26.46 | 972.543 | 63.8783 | 20.7576
2019-02-27 03:00:00 | 0 | 146.299 | 5.2177 | 198.302 | 5.2177 | 160.299 | 0 | 320.892 | 26.46 | 972.339 | 64.2918 | 17.6688
2019-02-27 03:15:00 | 0 | 152.004 | 5.4733 | 197.421 | 5.2177 | 163.175 | 1.5183 | 326.326 | 26.46 | 972.351 | 65.384 | 14.9715
2019-02-27 03:30:00 | 0 | 148.004 | 5.2177 | 199.981 | 4.7063 | 166.199 | 5.729 | 330.911 | 26.46 | 972.001 | 66.0671 | 15.0565
2019-02-27 03:45:00 | 0 | 145.404 | 5.729 | 200.02 | 4.7063 | 165.357 | 5.2177 | 330.689 | 26.46 | 972.044 | 65.525 | 14.9087
2019-02-27 04:00:00 | 0 | 147.862 | 7.0073 | 191.402 | 5.9847 | 162.985 | 5.9847 | 329.214 | 26.46 | 971.631 | 65.7959 | 13.0391
2019-02-27 04:15:00 | 0 | 148.258 | 4.962 | 202.338 | 4.4507 | 162.747 | 0 | 319.25 | 26.46 | 971.488 | 66.6183 | 11.3469
2019-02-27 04:30:00 | 0 | 143.969 | 5.4733 | 188.66 | 4.962 | 159.971 | 1.894 | 321.088 | 26.46 | 971.5 | 69.2166 | 8.6349
2019-02-27 04:45:00 | 0 | 139.88 | 5.729 | 180.965 | 5.4733 | 159.25 | 1.5183 | 323.476 | 26.46 | 971.42 | 69.9047 | 6.647
2019-02-27 05:00:00 | 0 | 148.962 | 3.9393 | 197.417 | 3.428 | 162.453 | 0 | 326.419 | 26.46 | 971.548 | 70.933 | 4.3008
2019-02-27 05:15:00 | 0 | 146.273 | 3.6837 | 176.771 | 1.6383 | 162.13 | 0 | 337.702 | 26.46 | 971.424 | 71.8187 | 3.2662
2019-02-27 05:30:00 | 0 | 161.504 | 2.661 | 199.714 | 2.1497 | 161.26 | 0 | 345.453 | 26.46 | 971.583 | 71.139 | 2.1689
2019-02-27 05:45:00 | 0 | 180.381 | 3.9393 | 213.66 | 2.4053 | 165.133 | 0 | 5.8549 | 26.46 | 971.583 | 62.9364 | 1.6959
2019-02-27 06:00:00 | 0 | 157.669 | 2.9167 | 200.171 | 2.661 | 175.893 | 0 | 356.762 | 26.46 | 971.583 | 69.2918 | 2.0506
2019-02-27 06:15:00 | 0 | 157.596 | 3.1723 | 203.025 | 2.661 | 173.648 | 0 | 342.953 | 26.46 | 971.88 | 73.1185 | 2.3869
2019-02-27 06:30:00 | 0 | 155.497 | 1.6383 | 196.388 | 2.661 | 201.556 | 0 | 347.099 | 26.46 | 971.88 | 71.9565 | 2.8229
2019-02-27 06:45:00 | 0 | 155.304 | 3.6837 | 208.687 | 2.9167 | 193.362 | 0 | 346.519 | 26.46 | 972.177 | 72.2309 | 2.4756
2019-02-27 07:00:00 | 0 | 181.82 | 3.6837 | 215.71 | 3.428 | 193.262 | 0 | 3.4398 | 26.46 | 972.175 | 71.3759 | 2.18
2019-02-27 07:15:00 | 0 | 161.009 | 3.9393 | 207.998 | 1.3827 | 197.65 | 0 | 356.073 | 26.46 | 972.177 | 70.9991 | 0.86459
2019-02-27 07:30:00 | 0 | 157.25 | 3.1723 | 210.142 | 2.4053 | 197.55 | 0 | 343.335 | 26.46 | 972.471 | 70.8615 | 0.72419
2019-02-27 07:45:00 | 0 | 164.773 | 2.661 | 217.498 | 1.894 | 197.952 | 0 | 345.842 | 26.46 | 972.769 | 71.3438 | 0.68355
2019-02-27 08:00:00 | 0 | 164.292 | 2.9167 | 222.23 | 1.6383 | 197.443 | 0 | 338.976 | 26.46 | 972.753 | 71.4048 | 0.62812
2019-02-27 08:15:00 | 0 | 160.315 | 3.428 | 206.875 | 3.428 | 194.485 | 0 | 338.386 | 26.46 | 972.912 | 70.0954 | 0.63551
2019-02-27 08:30:00 | 0 | 141.8 | 2.1497 | 191.554 | 1.894 | 195.847 | 0 | 320.379 | 26.46 | 972.777 | 68.9326 | -0.26603
2019-02-27 08:45:00 | 0 | 159.653 | 1.6383 | 195.163 | 1.894 | 195.798 | 0 | 333.94 | 26.46 | 973.366 | 66.1999 | -0.12193
2019-02-27 09:00:00 | 0 | 152.337 | 1.894 | 210.005 | 2.4053 | 196.377 | 0 | 356.761 | 26.46 | 973.366 | 64.755 | -0.070202
2019-02-27 09:15:00 | 0 | 190.66 | 1.894 | 233.125 | 2.4053 | 199.389 | 0 | 11.069 | 26.46 | 973.335 | 64.8797 | -0.10715
2019-02-27 09:30:00 | 0 | 155.698 | 2.4053 | 194.749 | 2.9167 | 195.853 | 0 | 342.359 | 26.46 | 973.235 | 64.9479 | -0.2143
2019-02-27 09:45:00 | 0 | 138.094 | 2.661 | 191.652 | 2.9167 | 196.365 | 0 | 313.906 | 26.46 | 973.07 | 63.3089 | -0.21061
2019-02-27 10:00:00 | 1.2547 | 160.135 | 1.894 | 199.088 | 2.661 | 195.78 | 0.63133 | 336.264 | 26.46 | 973.068 | 62.0113 | -0.12193
2019-02-27 10:15:00 | 0 | 166.717 | 2.4053 | 210.01 | 1.894 | 196.267 | 0 | 336.019 | 26.46 | 973.217 | 61.6013 | -0.2882
2019-02-27 10:30:00 | 0 | 164.158 | 3.1723 | 208.808 | 2.661 | 195.947 | 0 | 342.407 | 26.46 | 973.811 | 58.1783 | -0.28081
2019-02-27 10:45:00 | 0 | 155.942 | 2.4053 | 209.525 | 4.7063 | 226.235 | 0.63133 | 356.779 | 26.46 | 973.449 | 57.8956 | -0.29928
2019-02-27 11:00:00 | 0 | 204.488 | 4.4507 | 248.661 | 4.4507 | 222.036 | 4.195 | 22.0086 | 26.46 | 973.395 | 56.3919 | -0.26233
2019-02-27 11:15:00 | 0 | 202.928 | 4.195 | 249.612 | 4.7063 | 257.913 | 0.63133 | 20.1319 | 26.46 | 973.223 | 54.5486 | -0.15149
2019-02-27 11:30:00 | 0 | 201.295 | 3.428 | 229.626 | 3.1723 | 256.548 | 0 | 56.1061 | 26.46 | 973.071 | 52.8418 | -0.18474
2019-02-27 11:45:00 | 0 | 183.771 | 3.428 | 231.527 | 3.1723 | 256.596 | 3.6837 | 9.6516 | 26.46 | 973.344 | 53.1832 | -0.073897
2019-02-27 12:00:00 | 0 | 219.209 | 3.9393 | 241.081 | 3.6837 | 256.889 | 0 | 15.9154 | 26.46 | 973.076 | 52.1591 | -0.2882
2019-02-27 12:15:00 | 0 | 208.436 | 4.7063 | 217.659 | 4.962 | 254.598 | 0 | 3.2903 | 26.46 | 972.48 | 53.0466 | -0.24386
2019-02-27 12:30:00 | 0 | 186.549 | 3.1723 | 222.363 | 2.1497 | 257.084 | 0 | 15.3305 | 26.46 | 972.51 | 52.5004 | -0.23278
2019-02-27 12:45:00 | 0 | 192.472 | 4.962 | 242.665 | 3.9393 | 254.647 | 0.37567 | 32.0989 | 26.46 | 972.474 | 49.7013 | -0.040643
2019-02-27 13:00:00 | 0 | 170.366 | 4.7063 | 201.061 | 6.2403 | 253.014 | 1.127 | 5.752 | 26.46 | 972.474 | 48.097 | -0.0036948
2019-02-27 13:15:00 | 0 | 200.661 | 4.7063 | 220.681 | 5.2177 | 251.259 | 4.4507 | 12.7957 | 26.46 | 972.474 | 48.1311 | -0.15888
2019-02-27 13:30:00 | 0 | 195.104 | 2.661 | 254.023 | 1.3827 | 253.526 | 0 | 15.0867 | 26.46 | 972.623 | 47.6532 | -0.13301
2019-02-27 13:45:00 | 0 | 218.746 | 3.428 | 251.269 | 4.962 | 317.187 | 2.4053 | 37.266 | 26.46 | 972.92 | 44.9906 | -0.23278
2019-02-27 14:00:00 | 0 | 197.065 | 2.1497 | 237.75 | 2.4053 | 317.556 | 0 | 15.5976 | 26.46 | 972.623 | 46.8309 | -0.2882
2019-02-27 14:15:00 | 0 | 201.557 | 2.661 | 243.559 | 2.661 | 322.247 | 0.63133 | 27.7598 | 26.46 | 972.474 | 47.3787 | -0.059118
2019-02-27 14:30:00 | 0 | 220.33 | 3.428 | 273.399 | 3.6837 | 323.914 | 0.887 | 60.81 | 26.46 | 972.029 | 48.609 | -0.25125
2019-02-27 14:45:00 | 0 | 231.102 | 3.9393 | 274.399 | 4.195 | 324.426 | 0 | 62.1018 | 26.46 | 971.435 | 51.886 | -0.26972
2019-02-27 15:00:00 | 0 | 227.788 | 2.661 | 287.024 | 2.1497 | 324.401 | 0 | 78.0172 | 26.46 | 971.88 | 50.7254 | -0.16996
2019-02-27 15:15:00 | 0 | 218.282 | 5.2177 | 253.146 | 5.4733 | 323.037 | 0.37567 | 42.5305 | 26.46 | 971.583 | 50.1792 | -0.26972
2019-02-27 15:30:00 | 0 | 214.724 | 2.661 | 260.579 | 2.661 | 323.524 | 1.5183 | 41.5799 | 26.46 | 971.732 | 49.5989 | -0.26972
2019-02-27 15:45:00 | 0 | 170.682 | 3.9393 | 215.904 | 3.428 | 323.816 | 0 | 356.768 | 26.46 | 971.662 | 49.5648 | -0.30667
2019-02-27 16:00:00 | 0 | 250.064 | 3.428 | 241.837 | 2.4053 | 332.444 | 0 | 62.8817 | 26.46 | 971.354 | 49.7013 | -0.24016
2019-02-27 16:15:00 | 0 | 196.105 | 2.1497 | 203.013 | 3.1723 | 331.619 | 0.75133 | 46.2112 | 26.46 | 971.204 | 49.77 | -0.2882
2019-02-27 16:30:00 | 0 | 181.991 | 2.4053 | 223.467 | 2.4053 | 331.903 | 0 | 2.1451 | 26.46 | 971.014 | 50.4589 | -0.26972
2019-02-27 16:45:00 | 0 | 190.118 | 2.1497 | 240.081 | 1.6383 | 332.799 | 0 | 9.8728 | 26.46 | 971.11 | 49.7105 | -0.25125
2019-02-27 17:00:00 | 2.1593 | 175.392 | 1.894 | 214.433 | 2.1497 | 332.404 | 0.37567 | 355.464 | 26.46 | 971.258 | 50.3926 | -0.25125
2019-02-27 17:15:00 | 1.2547 | 206.483 | 1.894 | 248.793 | 1.6383 | 332.469 | 0 | 25.6214 | 26.46 | 970.988 | 50.4634 | -0.26233
2019-02-27 17:30:00 | 5.9673 | 201.607 | 1.6383 | 243.072 | 1.6383 | 332.509 | 0 | 19.5292 | 26.46 | 971.137 | 50.8792 | -0.25125
2019-02-27 17:45:00 | 0 | 265.412 | 2.1497 | 307.633 | 0.37567 | 332.582 | 0 | 89.9418 | 26.46 | 970.715 | 50.7427 | -0.25125
2019-02-27 18:00:00 | 0 | 261.121 | 1.6383 | 314.801 | 0.75133 | 332.509 | 0 | 88.869 | 26.46 | 970.902 | 50.2305 | -0.26233
2019-02-27 18:15:00 | 13.8827 | 263.368 | 1.6383 | 299.299 | 1.3827 | 332.514 | 0 | 88.3339 | 26.46 | 970.691 | 49.5824 | -0.26233
2019-02-27 18:30:00 | 1.7653 | 263.44 | 1.3827 | 297.971 | 1.3827 | 332.604 | 7.79 | 81.7 | 26.46 | 970.691 | 49.5276 | -0.25125
2019-02-27 18:45:00 | 0 | 263.088 | 1.127 | 283.575 | 0 | 332.622 | 0 | 81.7045 | 26.46 | 970.691 | 50.1793 | -0.25125
2019-02-27 19:00:00 | 0 | 263.064 | 0.75133 | 283.575 | 0 | 332.623 | 0 | 81.7045 | 26.46 | 970.691 | 50.8284 | -0.25125
2019-02-27 19:15:00 | 0 | 206.383 | 1.3827 | 283.551 | 0.75133 | 337.549 | 0 | 81.7045 | 26.46 | 970.543 | 50.7942 | -0.25125
2019-02-27 19:30:00 | 0 | 206.432 | 1.3827 | 281.941 | 0.75133 | 334.696 | 0 | 61.4857 | 26.46 | 970.691 | 51.2383 | -0.25125
2019-02-27 19:45:00 | 0 | 206.969 | 1.3827 | 280.575 | 0.75133 | 334.184 | 0 | 42.3644 | 26.46 | 970.84 | 51.1016 | -0.25125
2019-02-27 20:00:00 | 6.7333 | 221.7 | 2.1497 | 260.429 | 2.1497 | 333.135 | 5.4733 | 56.2176 | 26.46 | 971.137 | 50.6917 | -0.25125
2019-02-27 20:15:00 | 0 | 225.553 | 2.1497 | 258.99 | 1.894 | 332.696 | 0 | 53.364 | 26.46 | 971.286 | 49.3937 | -0.26233
2019-02-27 20:30:00 | 0 | 225.578 | 1.3827 | 258.966 | 0.75133 | 332.915 | 0 | 53.2665 | 26.46 | 970.988 | 50.2135 | -0.26233
2019-02-27 20:45:00 | 0 | 225.553 | 1.3827 | 258.966 | 0 | 332.964 | 0 | 53.2665 | 26.46 | 970.988 | 49.257 | -0.25125
2019-02-27 21:00:00 | 0 | 225.553 | 0.75133 | 258.966 | 0 | 332.964 | 0 | 53.2665 | 26.46 | 970.988 | 49.0179 | -0.25125
2019-02-27 21:15:00 | 0 | 225.602 | 1.3827 | 258.966 | 1.127 | 332.915 | 0 | 53.2665 | 26.46 | 970.988 | 48.7105 | -0.25125
2019-02-27 21:30:00 | 0 | 225.553 | 1.127 | 267.6 | 0.75133 | 332.964 | 0 | 53.4372 | 26.46 | 970.988 | 48.3006 | -0.25125
2019-02-27 21:45:00 | 0 | 225.578 | 1.6383 | 267.576 | 1.6383 | 332.867 | 0 | 54.3152 | 26.46 | 971.286 | 48.2323 | -0.25125
2019-02-27 22:00:00 | 12.606 | 225.578 | 2.1497 | 267.649 | 2.1497 | 332.818 | 19.2793 | 46.5838 | 26.46 | 971.286 | 47.6174 | -0.26233
2019-02-27 22:15:00 | 0.372 | 223.944 | 2.4053 | 261.234 | 2.4053 | 332.72 | 0.37567 | 44.7546 | 26.46 | 971.286 | 47.6516 | -0.26233
2019-02-27 22:30:00 | 2.9033 | 221.797 | 2.661 | 260.673 | 2.661 | 332.574 | 0 | 42.5595 | 26.46 | 971.286 | 48.3006 | -0.25125
2019-02-27 22:45:00 | 0.88267 | 212.627 | 3.428 | 256.722 | 3.1723 | 331.94 | 2.0297 | 35.7549 | 26.46 | 971.286 | 48.3006 | -0.25125
2019-02-27 23:00:00 | 0 | 210.822 | 3.428 | 247.552 | 3.1723 | 331.867 | 0 | 35.8037 | 26.46 | 971.286 | 49.1887 | -0.10346
2019-02-27 23:15:00 | 1.7653 | 213.31 | 3.9393 | 252.235 | 3.428 | 331.647 | 2.4053 | 39.8523 | 26.46 | 971.286 | 50.3501 | 0.11824
2019-02-27 23:30:00 | 0 | 200.725 | 3.9393 | 235.503 | 2.661 | 331.989 | 0 | 26.1942 | 26.46 | 971.286 | 51.1016 | 0.79439
2019-02-27 23:45:00 | 0 | 182.677 | 3.6837 | 226.772 | 2.661 | 331.989 | 0.37567 | 14.7068 | 26.46 | 971.286 | 51.9214 | 1.175