## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-28 00:00:00 | 0 | 175.531 | 3.428 | 208.431 | 2.661 | 15.9019 | 0 | 5.7559 | 26.46 | 971.286 | 53.0145 | 0.90893
2019-02-28 00:15:00 | 0 | 162.092 | 3.428 | 204.822 | 2.9167 | 32.1209 | 0 | 346.915 | 26.46 | 971.286 | 54.6541 | 1.5518
2019-02-28 00:30:00 | 0 | 152.092 | 4.7063 | 198.651 | 3.6837 | 38.7304 | 0 | 335.696 | 26.46 | 970.988 | 56.6354 | 4.4116
2019-02-28 00:45:00 | 0 | 161.385 | 5.729 | 203.114 | 5.2177 | 47.1203 | 0 | 342.647 | 26.46 | 970.691 | 58.3433 | 12.1487
2019-02-28 01:00:00 | 0 | 159.824 | 5.4733 | 203.358 | 5.4733 | 56.0225 | 3.428 | 346.378 | 26.46 | 970.699 | 59.573 | 15.0159
2019-02-28 01:15:00 | 0 | 158.095 | 4.7063 | 202.289 | 4.962 | 56.0478 | 5.2177 | 349.823 | 26.46 | 970.714 | 62.1018 | 14.2325
2019-02-28 01:30:00 | 0 | 169.681 | 6.2403 | 208.973 | 5.729 | 56.536 | 2.661 | 351.533 | 26.46 | 970.464 | 62.8538 | 16.7709
2019-02-28 01:45:00 | 0 | 169.033 | 5.729 | 199.181 | 4.195 | 56.2954 | 1.3827 | 19.5375 | 26.46 | 970.516 | 64.0873 | 16.5492
2019-02-28 02:00:00 | 0 | 167.626 | 5.4733 | 208.973 | 4.962 | 57.2738 | 0.37567 | 5.1956 | 26.46 | 970.643 | 62.7922 | 12.2078
2019-02-28 02:15:00 | 0.372 | 155.932 | 3.6837 | 204.091 | 3.9393 | 56.9863 | 2.4053 | 353.091 | 26.46 | 970.353 | 63.7546 | 11.0956
2019-02-28 02:30:00 | 0 | 157.256 | 6.496 | 205.98 | 5.2177 | 57.1597 | 0 | 339.762 | 26.46 | 970.075 | 61.9124 | 16.3201
2019-02-28 02:45:00 | 0 | 155.111 | 5.729 | 201.469 | 4.962 | 57.4775 | 3.428 | 350.696 | 26.46 | 970.245 | 60.478 | 21.9917
2019-02-28 03:00:00 | 4.6907 | 147.59 | 7.7743 | 198.946 | 7.0073 | 57.7676 | 3.1723 | 337.677 | 26.46 | 969.799 | 65.942 | 27.4638
2019-02-28 03:15:00 | 0.88267 | 149.134 | 7.263 | 197.053 | 7.263 | 58.6484 | 5.4733 | 336.057 | 26.46 | 969.799 | 63.8605 | 24.9402
2019-02-28 03:30:00 | 6.9887 | 161.792 | 6.7517 | 199.195 | 5.729 | 58.2326 | 3.9393 | 354.372 | 26.46 | 969.799 | 65.7386 | 19.531
2019-02-28 03:45:00 | 0 | 168.36 | 5.9847 | 207.936 | 5.729 | 58.0391 | 2.9167 | 356.725 | 26.46 | 969.799 | 66.5947 | 15.0971
2019-02-28 04:00:00 | 0 | 156.986 | 4.7063 | 187.022 | 3.1723 | 57.769 | 3.428 | 341.783 | 26.46 | 969.799 | 65.8752 | 12.7768
2019-02-28 04:15:00 | 0 | 168.655 | 4.195 | 205.866 | 4.195 | 57.7716 | 0 | 356.73 | 26.46 | 969.568 | 66.9716 | 11.188
2019-02-28 04:30:00 | 0 | 174.486 | 4.7063 | 208.769 | 3.6837 | 57.7718 | 0 | 8.051 | 26.46 | 969.492 | 63.0765 | 9.6879
2019-02-28 04:45:00 | 0 | 162.632 | 2.9167 | 216.263 | 2.4053 | 57.6752 | 0 | 343.075 | 26.46 | 969.793 | 62.8726 | 9.8615
2019-02-28 05:00:00 | 0 | 166.917 | 3.1723 | 217.812 | 3.428 | 57.7208 | 0 | 351.692 | 26.46 | 969.501 | 63.86 | 10.8222
2019-02-28 05:15:00 | 0 | 167.498 | 4.195 | 206.73 | 2.661 | 57.6705 | 0 | 353.927 | 26.46 | 969.487 | 64.3708 | 9.4588
2019-02-28 05:30:00 | 0 | 166.481 | 3.6837 | 212.01 | 3.6837 | 57.7708 | 0 | 349.04 | 26.46 | 969.501 | 66.1847 | 8.1804
2019-02-28 05:45:00 | 0 | 178.512 | 3.1723 | 224.506 | 3.428 | 57.6986 | 0.63133 | 2.9032 | 26.46 | 969.486 | 65.5367 | 5.6827
2019-02-28 06:00:00 | 0 | 177.682 | 3.6837 | 223.285 | 3.1723 | 57.7473 | 0 | 5.3185 | 26.46 | 969.482 | 64.0331 | 4.5336
2019-02-28 06:15:00 | 0 | 187.608 | 3.9393 | 228.404 | 3.428 | 57.6975 | 0 | 11.0272 | 26.46 | 969.474 | 63.212 | 3.9756
2019-02-28 06:30:00 | 0 | 182.141 | 3.1723 | 225.693 | 2.9167 | 57.6724 | 0 | 4.5377 | 26.46 | 969.471 | 64.2021 | 2.2465
2019-02-28 06:45:00 | 0 | 192.097 | 2.661 | 232.404 | 2.9167 | 57.6729 | 0.37567 | 29.7391 | 26.46 | 969.497 | 62.1184 | 3.3106
2019-02-28 07:00:00 | 0 | 181.548 | 4.195 | 223.34 | 4.195 | 57.7186 | 1.127 | 0.19516 | 26.46 | 969.793 | 61.4317 | 6.9131
2019-02-28 07:15:00 | 0 | 162.082 | 4.7063 | 207.632 | 4.4507 | 57.7923 | 0 | 346.071 | 26.46 | 969.799 | 66.2157 | 7.5449
2019-02-28 07:30:00 | 0 | 176.375 | 3.1723 | 206.873 | 2.4053 | 57.6696 | 0 | 1.6588 | 26.46 | 969.799 | 65.1897 | 5.993
2019-02-28 07:45:00 | 0 | 168.533 | 4.195 | 209.768 | 2.1497 | 57.6738 | 1.774 | 356.778 | 26.46 | 969.787 | 65.3313 | 7.4673
2019-02-28 08:00:00 | 0 | 153.596 | 4.195 | 201.197 | 2.4053 | 57.5742 | 0 | 353.447 | 26.46 | 970.393 | 66.149 | 5.1321
2019-02-28 08:15:00 | 0 | 174.288 | 2.9167 | 200.044 | 3.428 | 57.7059 | 1.007 | 0.19512 | 26.46 | 970.28 | 64.9025 | 4.8033
2019-02-28 08:30:00 | 1.7653 | 174.823 | 3.428 | 210.236 | 2.9167 | 57.7054 | 2.9167 | 10.8289 | 26.46 | 970.691 | 62.135 | 4.9548
2019-02-28 08:45:00 | 0 | 174.793 | 3.6837 | 216.838 | 3.1723 | 57.679 | 1.5183 | 351.562 | 26.46 | 971.286 | 61.6888 | 4.4523
2019-02-28 09:00:00 | 0 | 163.671 | 2.9167 | 212.036 | 3.9393 | 57.7348 | 5.4733 | 2.7307 | 26.46 | 971.545 | 59.4506 | 3.4177
2019-02-28 09:15:00 | 0 | 205.069 | 6.7517 | 231.857 | 4.195 | 57.7832 | 0.37567 | 28.3308 | 26.46 | 971.588 | 54.3623 | 3.7503
2019-02-28 09:30:00 | 0 | 170.271 | 3.428 | 204.638 | 3.9393 | 57.7321 | 0.37567 | 356.657 | 26.46 | 972.177 | 57.1601 | 3.8057
2019-02-28 09:45:00 | 0 | 157.967 | 3.9393 | 200.276 | 5.2177 | 57.7993 | 5.2177 | 335.753 | 26.46 | 972.344 | 58.4516 | 4.0015
2019-02-28 10:00:00 | 0 | 164.859 | 4.4507 | 208.302 | 5.2177 | 57.9102 | 3.6837 | 345.073 | 26.46 | 972.536 | 55.1635 | 3.9387
2019-02-28 10:15:00 | 0 | 149.405 | 3.6837 | 204.083 | 3.1723 | 57.5197 | 2.2853 | 345.557 | 26.46 | 972.48 | 55.6409 | 4.7035
2019-02-28 10:30:00 | 0 | 154.962 | 5.729 | 176.81 | 5.9847 | 58.0559 | 4.7063 | 338.538 | 26.46 | 972.474 | 56.1871 | 5.3834
2019-02-28 10:45:00 | 0 | 159.398 | 3.6837 | 193.895 | 4.195 | 57.861 | 0.75133 | 356.769 | 26.46 | 972.92 | 52.5004 | 5.2245
2019-02-28 11:00:00 | 0 | 156.839 | 4.4507 | 228.992 | 5.4733 | 58.714 | 4.195 | 342.681 | 26.46 | 972.771 | 52.7735 | 4.5373
2019-02-28 11:15:00 | 0 | 162.761 | 5.4733 | 198.989 | 6.2403 | 58.8359 | 3.9393 | 356.793 | 26.46 | 972.623 | 50.5547 | 6.3995
2019-02-28 11:30:00 | 0 | 179.871 | 5.4733 | 192.896 | 4.7063 | 230.81 | 0 | 14.0143 | 26.46 | 972.474 | 51.4081 | 11.4466
2019-02-28 11:45:00 | 0 | 185.233 | 5.2177 | 227.286 | 5.729 | 202.44 | 3.308 | 0.75556 | 26.46 | 972.474 | 52.2956 | 9.1521
2019-02-28 12:00:00 | 0 | 164.906 | 4.7063 | 206.789 | 4.962 | 200.295 | 3.0523 | 349.505 | 26.46 | 972.474 | 53.0466 | 9.0228
2019-02-28 12:15:00 | 0 | 161.128 | 3.9393 | 196.698 | 4.7063 | 240.165 | 0.37567 | 336.85 | 26.46 | 972.474 | 51.6812 | 6.4032
2019-02-28 12:30:00 | 0 | 136.178 | 5.729 | 191.504 | 5.2177 | 239.044 | 5.4733 | 316.467 | 26.46 | 972.474 | 51.265 | 5.0213
2019-02-28 12:45:00 | 0 | 186.559 | 1.6383 | 190 | 3.1723 | 240.949 | 0 | 0.24368 | 26.46 | 972.474 | 49.9639 | 2.9965
2019-02-28 13:00:00 | 0 | 184.798 | 6.496 | 219.915 | 7.0073 | 237.604 | 1.5183 | 3.7525 | 26.46 | 972.029 | 48.4605 | 7.0017
2019-02-28 13:15:00 | 0 | 196.769 | 6.496 | 240.1 | 6.496 | 237.806 | 5.729 | 3.509 | 26.46 | 971.88 | 48.3258 | 7.1569
2019-02-28 13:30:00 | 0 | 163.728 | 7.5187 | 237.52 | 6.2403 | 236.905 | 3.1723 | 17.8617 | 26.46 | 971.732 | 48.1898 | 8.6459
2019-02-28 13:45:00 | 0 | 188.103 | 5.2177 | 231.17 | 4.195 | 236.524 | 0 | 3.9478 | 26.46 | 971.732 | 47.3043 | 7.0719
2019-02-28 14:00:00 | 0 | 204.716 | 4.7063 | 229.602 | 4.7063 | 236.471 | 0.75133 | 5.7509 | 26.46 | 971.435 | 46.7915 | 7.3232
2019-02-28 14:15:00 | 0 | 133.323 | 3.9393 | 178.9 | 3.428 | 236.575 | 1.2627 | 314.799 | 26.46 | 971.435 | 45.564 | 5.6309
2019-02-28 14:30:00 | 0 | 112.506 | 3.1723 | 167.704 | 2.9167 | 237.122 | 0 | 292.924 | 26.46 | 971.732 | 45.9368 | 2.7194
2019-02-28 14:45:00 | 3.042 | 175.131 | 6.496 | 232.133 | 7.5187 | 235.807 | 1.2627 | 18.3245 | 26.46 | 971.286 | 44.879 | 3.9202
2019-02-28 15:00:00 | 0 | 179.889 | 5.9847 | 224.076 | 5.9847 | 236.059 | 0 | 3.5091 | 26.46 | 971.583 | 44.5734 | 3.5803
2019-02-28 15:15:00 | 0 | 141.359 | 3.1723 | 201.992 | 4.195 | 236.223 | 0 | 327.92 | 26.46 | 971.88 | 45.3231 | 2.8192
2019-02-28 15:30:00 | 0 | 129.641 | 4.962 | 185.281 | 4.195 | 236.083 | 0 | 338.943 | 26.46 | 972.177 | 44.6416 | 1.9657
2019-02-28 15:45:00 | 0 | 174.43 | 4.7063 | 231.289 | 5.4733 | 235.766 | 0.37567 | 0.58485 | 26.46 | 971.88 | 45.256 | 3.0002
2019-02-28 16:00:00 | 0 | 181.154 | 3.6837 | 226.364 | 3.9393 | 236.032 | 1.5183 | 64.0887 | 26.46 | 971.286 | 44.8801 | 2.1393
2019-02-28 16:15:00 | 0 | 110.729 | 3.428 | 154.647 | 2.661 | 235.834 | 0 | 295.536 | 26.46 | 971.286 | 43.89 | 2.7342
2019-02-28 16:30:00 | 0 | 153.677 | 4.195 | 200.743 | 3.428 | 235.852 | 0 | 334.307 | 26.46 | 971.286 | 45.5997 | 4.0015
2019-02-28 16:45:00 | 0 | 154.546 | 4.7063 | 186.801 | 4.195 | 235.731 | 1.007 | 335.829 | 26.46 | 971.138 | 44.7171 | 3.8279
2019-02-28 17:00:00 | 0 | 167.221 | 2.4053 | 219.682 | 3.1723 | 236.172 | 0 | 348.311 | 26.46 | 970.692 | 45.4002 | 1.5629
2019-02-28 17:15:00 | 0 | 152.427 | 2.661 | 196.576 | 2.661 | 236.245 | 1.007 | 340.951 | 26.46 | 970.395 | 46.6291 | 0.52097
2019-02-28 17:30:00 | 0 | 152.33 | 3.1723 | 205.838 | 2.661 | 236.123 | 0 | 340.171 | 26.46 | 970.269 | 46.9705 | 1.5629
2019-02-28 17:45:00 | 0 | 165.904 | 3.6837 | 218.448 | 3.9393 | 236.01 | 0.37567 | 348.945 | 26.46 | 970.12 | 47.6599 | 4.3156
2019-02-28 18:00:00 | 0 | 161.912 | 3.6837 | 225.378 | 3.428 | 235.92 | 0.63133 | 342.35 | 26.46 | 970.504 | 47.9345 | 7.216
2019-02-28 18:15:00 | 0 | 191.871 | 5.2177 | 239.477 | 4.4507 | 235.852 | 0 | 20.9425 | 26.46 | 970.691 | 48.8967 | 8.9932
2019-02-28 18:30:00 | 0 | 179.347 | 4.7063 | 222.909 | 4.7063 | 235.716 | 0 | 354.086 | 26.46 | 970.543 | 49.6499 | 9.5881
2019-02-28 18:45:00 | 0 | 181.932 | 3.428 | 205.525 | 3.9393 | 235.96 | 0.37567 | 4.3886 | 26.46 | 970.989 | 50.0597 | 9.6953
2019-02-28 19:00:00 | 0 | 173.106 | 3.6837 | 212.839 | 3.428 | 235.96 | 0 | 343.481 | 26.46 | 970.989 | 51.3915 | 9.7913
2019-02-28 19:15:00 | 0 | 149.017 | 5.729 | 192.408 | 3.9393 | 235.814 | 0.37567 | 335.752 | 26.46 | 970.998 | 51.8695 | 14.1217
2019-02-28 19:30:00 | 0 | 164.475 | 5.9847 | 226.298 | 6.496 | 235.375 | 5.2177 | 353.428 | 26.46 | 971.219 | 51.4256 | 16.8485
2019-02-28 19:45:00 | 0 | 171.155 | 4.4507 | 194.041 | 3.6837 | 235.667 | 2.541 | 3.7547 | 26.46 | 971.45 | 51.5964 | 14.1476
2019-02-28 20:00:00 | 0 | 174.715 | 4.7063 | 228.492 | 4.962 | 235.497 | 5.4733 | 245.542 | 26.46 | 971.269 | 52.6549 | 14.9383
2019-02-28 20:15:00 | 0 | 168.229 | 4.195 | 203.184 | 4.4507 | 235.57 | 2.661 | 9.1673 | 26.46 | 971.579 | 53.0306 | 14.2732
2019-02-28 20:30:00 | 0 | 206.971 | 6.7517 | 233.368 | 7.0073 | 235.18 | 2.661 | 345.114 | 26.46 | 971.583 | 52.8598 | 12.7694
2019-02-28 20:45:00 | 0 | 169.741 | 5.9847 | 214.131 | 4.962 | 235.277 | 4.4507 | 354.086 | 26.46 | 971.88 | 54.5672 | 10.6559
2019-02-28 21:00:00 | 4.6907 | 178.762 | 8.797 | 229.272 | 6.2403 | 234.96 | 0.63133 | 356.744 | 26.46 | 971.878 | 54.0891 | 13.3273
2019-02-28 21:15:00 | 0 | 179.201 | 5.9847 | 224.152 | 4.962 | 234.79 | 2.0297 | 5.632 | 26.46 | 971.867 | 56.0014 | 12.0156
2019-02-28 21:30:00 | 0 | 175.471 | 3.9393 | 225.225 | 3.1723 | 235.229 | 0.37567 | 5.0713 | 26.46 | 972.177 | 58.0502 | 11.6203
2019-02-28 21:45:00 | 0 | 181.267 | 3.428 | 225.542 | 3.428 | 235.301 | 4.195 | 4.3159 | 26.46 | 972.177 | 59.9002 | 11.2065
2019-02-28 22:00:00 | 0 | 185.188 | 4.4507 | 222.739 | 3.9393 | 235.228 | 0 | 0.19509 | 26.46 | 972.177 | 59.9063 | 8.5905
2019-02-28 22:15:00 | 0 | 170.861 | 5.4733 | 216.049 | 4.962 | 234.952 | 0 | 356.793 | 26.46 | 972.028 | 59.9106 | 8.1693
2019-02-28 22:30:00 | 0 | 174.333 | 5.9847 | 210.282 | 4.7063 | 234.94 | 1.3827 | 0.19511 | 26.46 | 972.028 | 61.1777 | 8.7088
2019-02-28 22:45:00 | 0 | 164.04 | 5.729 | 213.598 | 5.2177 | 234.768 | 3.428 | 356.543 | 26.46 | 971.88 | 60.5967 | 6.7874
2019-02-28 23:00:00 | 0 | 171.285 | 5.9847 | 227.549 | 5.4733 | 234.721 | 1.2627 | 356.813 | 26.46 | 971.88 | 60.5287 | 7.6557
2019-02-28 23:15:00 | 0 | 179.701 | 6.7517 | 220.187 | 5.4733 | 234.675 | 4.7063 | 0.73168 | 26.46 | 971.88 | 60.6661 | 8.2802
2019-02-28 23:30:00 | 0 | 161.848 | 5.2177 | 200.822 | 4.7063 | 234.675 | 3.428 | 6.9022 | 26.46 | 971.88 | 61.6225 | 8.2432
2019-02-28 23:45:00 | 0 | 165.311 | 4.7063 | 205.358 | 4.195 | 234.772 | 0 | 355.915 | 26.46 | 971.731 | 62.6473 | 6.7135