## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-01 00:00:00 | 0 | 164.068 | 3.1723 | 201.31 | 2.9167 | 235.065 | 0 | 356.768 | 26.46 | 971.88 | 62.8181 | 4.4006
2019-03-01 00:15:00 | 0 | 169.555 | 3.6837 | 196.919 | 2.1497 | 235.114 | 0 | 356.72 | 26.46 | 971.731 | 64.2186 | 3.7281
2019-03-01 00:30:00 | 0 | 164.726 | 3.9393 | 204.529 | 3.428 | 235.065 | 0 | 354.695 | 26.46 | 971.583 | 64.6968 | 3.8057
2019-03-01 00:45:00 | 0 | 153.556 | 3.9393 | 197.115 | 3.9393 | 235.114 | 0 | 356.524 | 26.46 | 971.731 | 65.9607 | 5.291
2019-03-01 01:00:00 | 0 | 157.141 | 4.195 | 201.7 | 1.6383 | 235.358 | 0 | 350.208 | 26.46 | 971.731 | 65.585 | 4.4227
2019-03-01 01:15:00 | 0 | 157.702 | 2.661 | 196.724 | 2.4053 | 235.358 | 0 | 348.964 | 26.46 | 971.731 | 65.3117 | 5.1026
2019-03-01 01:30:00 | 0 | 150.97 | 4.7063 | 198.139 | 2.9167 | 235.163 | 0 | 336.867 | 26.46 | 971.731 | 66.4731 | 6.1963
2019-03-01 01:45:00 | 0 | 150.531 | 3.428 | 200.407 | 2.9167 | 235.26 | 0 | 352.866 | 26.46 | 971.88 | 67.7028 | 4.3969
2019-03-01 02:00:00 | 0 | 154.385 | 3.428 | 205.114 | 1.127 | 235.358 | 0 | 351.5 | 26.46 | 971.583 | 67.4295 | 3.9978
2019-03-01 02:15:00 | 0 | 157.117 | 2.661 | 197.797 | 1.894 | 235.407 | 0 | 343.305 | 26.46 | 971.583 | 67.7711 | 4.1161
2019-03-01 02:30:00 | 0 | 161.946 | 2.4053 | 193.31 | 1.127 | 235.455 | 0 | 349.89 | 26.46 | 971.286 | 68.4543 | 3.0556
2019-03-01 02:45:00 | 0 | 170.726 | 1.894 | 196.919 | 2.4053 | 235.26 | 0 | 355.988 | 26.46 | 971.306 | 67.7711 | 2.627
2019-03-01 03:00:00 | 0 | 169.994 | 3.1723 | 199.358 | 2.4053 | 235.358 | 0 | 0.58535 | 26.46 | 971.316 | 68.1469 | 2.2058
2019-03-01 03:15:00 | 0 | 160.728 | 2.9167 | 201.385 | 1.3827 | 235.458 | 0 | 356.675 | 26.46 | 971.333 | 68.66 | 2.3832
2019-03-01 03:30:00 | 0 | 150.8 | 2.661 | 187.554 | 1.3827 | 235.455 | 0 | 355.207 | 26.46 | 971.306 | 68.9326 | 2.9411
2019-03-01 03:45:00 | 0 | 147.266 | 3.428 | 185.899 | 2.9167 | 235.46 | 0 | 337.605 | 26.46 | 971.304 | 70.5735 | 2.0174
2019-03-01 04:00:00 | 0 | 155.607 | 2.1497 | 171.46 | 2.1497 | 235.459 | 0 | 348.726 | 26.46 | 971.349 | 69.1387 | 0.42121
2019-03-01 04:15:00 | 0 | 140.532 | 1.6383 | 172.53 | 0 | 235.651 | 0 | 340.769 | 26.46 | 971.447 | 66.883 | -0.27711
2019-03-01 04:30:00 | 0 | 140.678 | 1.3827 | 141.604 | 0 | 276.942 | 0 | 340.793 | 26.46 | 971.287 | 64.6969 | -0.26233
2019-03-01 04:45:00 | 0 | 143.556 | 1.6383 | 142.19 | 0.75133 | 268.332 | 0 | 340.793 | 26.46 | 971.881 | 65.2093 | -0.26233
2019-03-01 05:00:00 | 0 | 147.483 | 1.6383 | 183.066 | 1.894 | 268.186 | 0 | 339.11 | 26.46 | 971.598 | 65.1068 | 0.025864
2019-03-01 05:15:00 | 0 | 142.581 | 2.1497 | 183.359 | 0.75133 | 267.552 | 0 | 331.818 | 26.46 | 971.738 | 65.2093 | 0.081287
2019-03-01 05:30:00 | 0 | 146.776 | 1.6383 | 188.408 | 0 | 267.845 | 0 | 331.111 | 26.46 | 971.891 | 66.0291 | 0.30298
2019-03-01 05:45:00 | 0 | 144.41 | 2.9167 | 189.895 | 0.75133 | 267.454 | 0 | 331.013 | 26.46 | 971.88 | 66.9513 | 0.6429
2019-03-01 06:00:00 | 0 | 143.166 | 2.9167 | 188.017 | 2.4053 | 265.601 | 0 | 331.501 | 26.46 | 971.731 | 68.2835 | 1.223
2019-03-01 06:15:00 | 0 | 116.411 | 1.894 | 135.995 | 1.3827 | 81.1192 | 0 | 297.673 | 26.46 | 971.746 | 67.4979 | 1.877
2019-03-01 06:30:00 | 0 | 135.41 | 1.894 | 188.895 | 1.127 | 132.239 | 0 | 319.77 | 26.46 | 971.88 | 61.4176 | 2.9411
2019-03-01 06:45:00 | 0 | 134.386 | 2.9167 | 182.774 | 2.661 | 135.605 | 0 | 315.794 | 26.46 | 971.88 | 67.9761 | 2.5162
2019-03-01 07:00:00 | 0 | 132.215 | 3.428 | 178.871 | 3.1723 | 127.264 | 0 | 310.355 | 26.46 | 971.88 | 66.6098 | 1.7107
2019-03-01 07:15:00 | 0 | 128.849 | 1.894 | 171.725 | 0.75133 | 92.1432 | 0 | 304.16 | 26.46 | 972.177 | 67.6687 | 1.9435
2019-03-01 07:30:00 | 0 | 95.1675 | 1.6383 | 147.238 | 0 | 121.069 | 0 | 285.259 | 26.46 | 972.177 | 67.3613 | 2.228
2019-03-01 07:45:00 | 0 | 127.947 | 3.1723 | 176.335 | 0.75133 | 139.849 | 0 | 304.307 | 26.46 | 972.772 | 65.38 | 1.8548
2019-03-01 08:00:00 | 0 | 107.648 | 3.1723 | 156.811 | 1.894 | 121.256 | 0 | 292.751 | 26.46 | 973.069 | 65.9904 | 1.2895
2019-03-01 08:15:00 | 0 | 106.009 | 1.894 | 170.539 | 0.37567 | 125.758 | 0 | 285.065 | 26.46 | 973.621 | 63.8556 | 1.6257
2019-03-01 08:30:00 | 0 | 127.733 | 2.1497 | 196.455 | 1.894 | 148.091 | 0 | 297.717 | 26.46 | 974.112 | 66.1431 | 0.96066
2019-03-01 08:45:00 | 0 | 117.424 | 2.661 | 154.076 | 2.1497 | 100.774 | 0 | 305.907 | 26.46 | 974.43 | 59.8841 | 0.62073
2019-03-01 09:00:00 | 0 | 141.485 | 2.9167 | 187.511 | 2.661 | 104.755 | 0 | 315.824 | 26.46 | 974.611 | 60.386 | 0.69833
2019-03-01 09:15:00 | 0 | 162.981 | 3.1723 | 205.936 | 3.6837 | 106.07 | 0 | 323.037 | 26.46 | 974.851 | 60.8295 | 0.39535
2019-03-01 09:30:00 | 0 | 149.308 | 1.6383 | 198.672 | 1.894 | 105.778 | 0 | 286.916 | 26.46 | 974.85 | 59.3276 | -0.0036948
2019-03-01 09:45:00 | 0 | 151.352 | 2.1497 | 207.297 | 2.661 | 105.849 | 0 | 313.526 | 26.46 | 975.444 | 56.5957 | -0.218
2019-03-01 10:00:00 | 0 | 163.878 | 2.9167 | 205.164 | 3.1723 | 106.173 | 0 | 340.354 | 26.46 | 975.889 | 56.4501 | -0.14779
2019-03-01 10:15:00 | 0 | 154.883 | 3.1723 | 207.841 | 2.4053 | 107.073 | 0 | 334.451 | 26.46 | 976.038 | 54.8793 | -0.19583
2019-03-01 10:30:00 | 0 | 175.228 | 3.9393 | 227.722 | 3.9393 | 107.169 | 0 | 7.1641 | 26.46 | 976.038 | 56.3801 | -0.19213
2019-03-01 10:45:00 | 0 | 188.34 | 4.4507 | 228.96 | 4.7063 | 107.351 | 5.729 | 19.102 | 26.46 | 976.167 | 54.0531 | -0.26233
2019-03-01 11:00:00 | 0.372 | 168.95 | 3.1723 | 226.14 | 2.9167 | 107.306 | 0 | 355.614 | 26.46 | 975.848 | 53.7474 | -0.26233
2019-03-01 11:15:00 | 0 | 162.732 | 1.6383 | 228.046 | 2.661 | 107.318 | 0 | 347.932 | 26.46 | 975.74 | 54.3341 | -0.25125
2019-03-01 11:30:00 | 0.99933 | 193.121 | 2.1497 | 253.61 | 2.661 | 107.319 | 0.63133 | 0.53611 | 26.46 | 975.443 | 54.4709 | -0.22908
2019-03-01 11:45:00 | 0 | 189.009 | 2.661 | 233.782 | 3.6837 | 107.225 | 0 | 10.5032 | 26.46 | 975.443 | 52.5613 | -0.27342
2019-03-01 12:00:00 | 0 | 142.358 | 0.75133 | 223.242 | 0 | 106.44 | 0 | 344.979 | 26.46 | 976.186 | 50.0331 | -0.25125
2019-03-01 12:15:00 | 0 | 156.666 | 2.1497 | 208.139 | 2.4053 | 107.173 | 0 | 347.837 | 26.46 | 976.037 | 48.6689 | -0.092371
2019-03-01 12:30:00 | 0 | 132.646 | 4.4507 | 194.172 | 4.7063 | 116.418 | 0 | 317.993 | 26.46 | 975.413 | 47.1611 | 0.22169
2019-03-01 12:45:00 | 0 | 166.778 | 2.661 | 210.2 | 3.6837 | 116.294 | 0.37567 | 345.202 | 26.46 | 975.294 | 49.31 | 0.19213
2019-03-01 13:00:00 | 0 | 152.204 | 3.6837 | 203.579 | 3.1723 | 116.383 | 0 | 0.19495 | 26.46 | 974.85 | 50.1358 | 0.036949
2019-03-01 13:15:00 | 0 | 188.564 | 3.9393 | 228.315 | 4.195 | 116.92 | 0 | 8.529 | 26.46 | 974.553 | 51.8087 | 0.16627
2019-03-01 13:30:00 | 0 | 153.786 | 3.1723 | 232.72 | 2.4053 | 117.064 | 2.1497 | 332.574 | 26.46 | 974.256 | 50.7496 | 0.22169
2019-03-01 13:45:00 | 0 | 207.978 | 3.428 | 267.523 | 3.6837 | 117.125 | 0 | 28.8546 | 26.46 | 973.959 | 51.1302 | 0.36949
2019-03-01 14:00:00 | 0 | 181.796 | 4.962 | 226.287 | 5.2177 | 118.257 | 0 | 0.63369 | 26.46 | 973.662 | 50.7936 | 0.26603
2019-03-01 14:15:00 | 0 | 201.173 | 4.4507 | 242.3 | 4.962 | 118.11 | 0 | 9.9685 | 26.46 | 973.662 | 49.2917 | 0.033254
2019-03-01 14:30:00 | 0 | 212.847 | 3.6837 | 256.046 | 3.9393 | 117.672 | 2.0297 | 37.534 | 26.46 | 973.662 | 48.1993 | 0.19952
2019-03-01 14:45:00 | 0 | 137.292 | 3.9393 | 163.844 | 3.1723 | 116.989 | 2.661 | 356.622 | 26.46 | 973.662 | 43.6935 | -0.18844
2019-03-01 15:00:00 | 0 | 156.275 | 3.428 | 209.1 | 3.428 | 120.156 | 0.37567 | 320.886 | 26.46 | 973.662 | 45.0581 | -0.0036948
2019-03-01 15:15:00 | 0 | 196.295 | 5.4733 | 242.636 | 5.9847 | 122.056 | 0 | 0.75554 | 26.46 | 973.662 | 44.2388 | 0.070202
2019-03-01 15:30:00 | 0 | 160.612 | 2.9167 | 232.324 | 5.2177 | 121.227 | 4.4507 | 17.7429 | 26.46 | 973.81 | 44.648 | -0.30667
2019-03-01 15:45:00 | 0 | 167.043 | 2.661 | 209.922 | 2.661 | 120.566 | 0 | 339.667 | 26.46 | 973.662 | 43.4866 | -0.26233
2019-03-01 16:00:00 | 0 | 117.958 | 3.1723 | 179.018 | 2.1497 | 115.716 | 0 | 317.342 | 26.46 | 973.81 | 42.5308 | -0.28081
2019-03-01 16:15:00 | 0 | 195.907 | 2.661 | 237.911 | 2.9167 | 121.863 | 0 | 7.7018 | 26.46 | 973.662 | 41.8841 | -0.25125
2019-03-01 16:30:00 | 0 | 202.708 | 2.661 | 249.319 | 1.894 | 121.718 | 0 | 18.4258 | 26.46 | 973.662 | 40.9626 | -0.25125
2019-03-01 16:45:00 | 0 | 192.179 | 2.661 | 239.034 | 2.661 | 121.864 | 0 | 6.3125 | 26.46 | 973.513 | 41.3722 | -0.25125
2019-03-01 17:00:00 | 0 | 193.203 | 3.1723 | 236.426 | 3.1723 | 121.864 | 0 | 13.6487 | 26.46 | 973.365 | 42.1232 | -0.26233
2019-03-01 17:15:00 | 0 | 201.465 | 1.894 | 249.221 | 1.894 | 121.62 | 0 | 17.2315 | 26.46 | 973.068 | 42.6694 | -0.25125
2019-03-01 17:30:00 | 0 | 204.804 | 0.75133 | 248.832 | 0 | 121.474 | 0 | 17.2559 | 26.46 | 972.771 | 42.9083 | -0.25125
2019-03-01 17:45:00 | 0 | 204.804 | 0.75133 | 248.832 | 0 | 121.425 | 0 | 17.2559 | 26.46 | 972.839 | 42.9425 | -0.24016
2019-03-01 18:00:00 | 0 | 204.784 | 0 | 248.812 | 0 | 121.379 | 0 | 17.2562 | 26.46 | 972.69 | 43.2164 | -0.24016
2019-03-01 18:15:00 | 0 | 346.13 | 1.127 | 26.1215 | 1.127 | 108.722 | 0 | 17.259 | 26.46 | 972.575 | 43.4964 | -0.24016
2019-03-01 18:30:00 | 0 | 16.6251 | 3.428 | 60.1513 | 2.9167 | 31.69 | 0 | 198.574 | 26.46 | 972.674 | 46.0225 | -0.2845
2019-03-01 18:45:00 | 0 | 9.8483 | 3.9393 | 57.1291 | 3.1723 | 31.3489 | 0 | 190.044 | 26.46 | 972.749 | 50.1198 | -0.19583
2019-03-01 19:00:00 | 0 | 12.6762 | 3.6837 | 62.5169 | 2.661 | 31.7392 | 0 | 192.556 | 26.46 | 972.771 | 51.6224 | 0.21061
2019-03-01 19:15:00 | 0 | 13.7505 | 3.428 | 68.5492 | 2.4053 | 31.8894 | 0 | 193.482 | 26.46 | 972.622 | 51.6971 | 0.46555
2019-03-01 19:30:00 | 0 | 18.871 | 3.6837 | 69.3323 | 2.661 | 31.8661 | 0 | 194.951 | 26.46 | 972.474 | 52.0403 | 0.99761
2019-03-01 19:45:00 | 0 | 16.2866 | 3.9393 | 71.429 | 2.9167 | 32.0855 | 0 | 197.219 | 26.46 | 972.177 | 51.972 | 0.97174
2019-03-01 20:00:00 | 0 | 19.3098 | 3.9393 | 75.9639 | 2.9167 | 33.9385 | 0 | 202.07 | 26.46 | 972.177 | 51.9037 | 1.2526
2019-03-01 20:15:00 | 0 | 23.8203 | 3.9393 | 74.9887 | 3.428 | 33.2558 | 0 | 203.265 | 26.46 | 972.177 | 52.4842 | 1.4225
2019-03-01 20:30:00 | 0 | 23.991 | 4.4507 | 73.6721 | 3.428 | 32.0611 | 0.37567 | 204.874 | 26.46 | 972.355 | 52.7232 | 1.4853
2019-03-01 20:45:00 | 0 | 24.9418 | 4.4507 | 73.4283 | 2.9167 | 27.4531 | 0 | 206.605 | 26.46 | 972.326 | 53.3379 | 1.3486
2019-03-01 21:00:00 | 0 | 23.8935 | 3.9393 | 77.8656 | 3.428 | 26.8192 | 0 | 209.994 | 26.46 | 972.484 | 52.7232 | 0.96435
2019-03-01 21:15:00 | 0 | 24.3811 | 2.9167 | 71.7216 | 2.661 | 29.94 | 0 | 204.557 | 26.46 | 972.522 | 52.0403 | 0.19952
2019-03-01 21:30:00 | 0 | 22.0405 | 2.661 | 63.4077 | 1.894 | 12.8732 | 0 | 196.902 | 26.46 | 972.846 | 51.6988 | -0.2882
2019-03-01 21:45:00 | 0 | 21.6504 | 1.127 | 13.8072 | 0 | 0.048762 | 0 | 198.413 | 26.46 | 972.811 | 55.3184 | -0.25125
2019-03-01 22:00:00 | 0 | 21.5529 | 2.1497 | 47.2674 | 1.6383 | 0.14629 | 0 | 197.682 | 26.46 | 972.623 | 53.4062 | -0.218
2019-03-01 22:15:00 | 0 | 14.3605 | 2.9167 | 65.0656 | 2.661 | 3.7059 | 0 | 199.681 | 26.46 | 972.471 | 53.2013 | -0.22908
2019-03-01 22:30:00 | 0 | 16.0915 | 2.661 | 64.8461 | 1.894 | 3.7059 | 0 | 211.189 | 26.46 | 972.564 | 53.6111 | -0.25125
2019-03-01 22:45:00 | 0.372 | 29.6474 | 2.9167 | 65.5288 | 2.1497 | 3.7059 | 0 | 210.945 | 26.46 | 972.436 | 53.8842 | -0.24016
2019-03-01 23:00:00 | 0 | 27.6969 | 2.9167 | 66.1627 | 1.6383 | 3.4621 | 0 | 211.116 | 26.46 | 972.278 | 54.0891 | -0.25125
2019-03-01 23:15:00 | 0 | 34.4261 | 0 | 66.309 | 0 | 3.4133 | 0 | 213.749 | 26.46 | 972.173 | 55.3184 | -0.24016
2019-03-01 23:30:00 | 0 | 34.4261 | 1.127 | 66.309 | 0 | 3.4377 | 0 | 226.378 | 26.46 | 972.028 | 54.7038 | -0.26233
2019-03-01 23:45:00 | 0 | 34.4308 | 0 | 66.2965 | 0 | 3.4138 | 0 | 226.312 | 26.46 | 971.88 | 55.6676 | -0.26233