## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-02 00:00:00 | 0 | 34.4354 | 0 | 66.2835 | 0 | 1.8534 | 0 | 226.293 | 26.46 | 971.88 | 57.1778 | -0.22908
2019-03-02 00:15:00 | 0 | 34.4378 | 0 | 66.2895 | 0 | 1.8535 | 0 | 226.285 | 26.46 | 971.731 | 58.2065 | -0.24016
2019-03-02 00:30:00 | 0 | 34.4378 | 0.75133 | 66.2897 | 0 | 1.9024 | 0 | 226.236 | 26.46 | 971.583 | 57.2844 | -0.25125
2019-03-02 00:45:00 | 0 | 34.4378 | 1.127 | 66.4605 | 0 | 3.1218 | 0 | 283.088 | 26.46 | 971.434 | 55.064 | -0.24016
2019-03-02 01:00:00 | 0 | 34.4378 | 0.75133 | 66.4361 | 0 | 3.1218 | 0 | 283.088 | 26.46 | 971.286 | 55.269 | -0.24016
2019-03-02 01:15:00 | 0 | 49.7056 | 1.3827 | 66.9239 | 1.127 | 7.1217 | 0 | 298.136 | 26.46 | 971.286 | 57.7284 | -0.24016
2019-03-02 01:30:00 | 0 | 147.312 | 1.3827 | 194.188 | 0.37567 | 8.2924 | 0 | 341.94 | 26.46 | 971.286 | 56.5329 | -0.25864
2019-03-02 01:45:00 | 0 | 145.507 | 0.75133 | 193.7 | 0 | 7.6095 | 0 | 313.331 | 26.46 | 970.988 | 56.6012 | -0.25125
2019-03-02 02:00:00 | 0 | 145.507 | 0 | 193.724 | 0 | 7.6095 | 0 | 313.306 | 26.46 | 970.84 | 55.269 | -0.24016
2019-03-02 02:15:00 | 0 | 145.532 | 0.75133 | 193.7 | 0 | 7.6095 | 0 | 313.233 | 26.46 | 970.691 | 56.772 | -0.24016
2019-03-02 02:30:00 | 0 | 145.702 | 0 | 193.7 | 0 | 7.6095 | 0 | 313.623 | 26.46 | 970.543 | 56.6354 | -0.24016
2019-03-02 02:45:00 | 0 | 146.702 | 1.127 | 193.773 | 0 | 7.5119 | 0 | 313.989 | 26.46 | 970.097 | 57.3868 | -0.24016
2019-03-02 03:00:00 | 0 | 146.702 | 1.127 | 193.724 | 0.75133 | 356.988 | 0 | 314.014 | 26.46 | 970.097 | 55.6106 | -0.24016
2019-03-02 03:15:00 | 0 | 146.971 | 0.75133 | 194.188 | 0 | 356.963 | 0 | 314.062 | 26.46 | 969.8 | 55.8839 | -0.24016
2019-03-02 03:30:00 | 0 | 147.336 | 1.6383 | 194.188 | 0 | 356.988 | 0 | 315.038 | 26.46 | 969.8 | 57.2502 | -0.25125
2019-03-02 03:45:00 | 0 | 147.532 | 1.894 | 194.578 | 1.3827 | 357.012 | 0 | 315.306 | 26.46 | 969.502 | 60.9394 | -0.25125
2019-03-02 04:00:00 | 0 | 147.532 | 1.3827 | 195.237 | 1.127 | 4.7803 | 0 | 315.599 | 26.46 | 969.502 | 59.9146 | -0.26233
2019-03-02 04:15:00 | 0 | 147.483 | 0.75133 | 195.212 | 0 | 4.7803 | 0 | 315.306 | 26.46 | 969.502 | 59.2656 | -0.11824
2019-03-02 04:30:00 | 0 | 147.458 | 1.127 | 195.237 | 0 | 4.7803 | 0 | 315.282 | 26.46 | 969.354 | 58.4799 | -0.018474
2019-03-02 04:45:00 | 0 | 147.458 | 0 | 195.188 | 0 | 4.7803 | 0 | 315.379 | 26.46 | 969.057 | 58.1383 | 0.048033
2019-03-02 05:00:00 | 0 | 147.458 | 0 | 195.188 | 0 | 4.7316 | 0 | 314.843 | 26.46 | 969.057 | 59.0948 | 0.3584
2019-03-02 05:15:00 | 0 | 147.507 | 2.661 | 195.456 | 1.6383 | 7.5607 | 0 | 314.916 | 26.46 | 969.205 | 59.6413 | 0.44708
2019-03-02 05:30:00 | 0 | 147.946 | 2.661 | 209.212 | 1.6383 | 27.9503 | 0 | 351.5 | 26.46 | 969.502 | 61.0077 | 0.77222
2019-03-02 05:45:00 | 0 | 137.068 | 2.9167 | 197.31 | 2.4053 | 41.1693 | 0.887 | 336.33 | 26.46 | 969.502 | 60.2562 | 0.56531
2019-03-02 06:00:00 | 0 | 142.093 | 2.4053 | 186.383 | 2.661 | 41.3157 | 2.4053 | 320.843 | 26.46 | 969.502 | 59.573 | 0.24755
2019-03-02 06:15:00 | 0 | 147.166 | 1.6383 | 194.773 | 1.6383 | 40.5352 | 0 | 331.013 | 26.46 | 969.205 | 58.5482 | -0.1404
2019-03-02 06:30:00 | 0 | 158.165 | 1.127 | 194.822 | 0 | 40.4376 | 0 | 331.306 | 26.46 | 969.205 | 58.3775 | -0.24016
2019-03-02 06:45:00 | 0 | 158.19 | 0 | 194.822 | 0 | 40.3889 | 0 | 331.403 | 26.46 | 969.354 | 58.5482 | -0.24016
2019-03-02 07:00:00 | 0 | 158.165 | 0 | 194.798 | 0 | 40.2913 | 0 | 331.281 | 26.46 | 969.502 | 59.2314 | -0.17366
2019-03-02 07:15:00 | 0 | 158.165 | 0.75133 | 194.798 | 0 | 40.3157 | 0 | 331.501 | 26.46 | 969.502 | 57.4893 | 0.62443
2019-03-02 07:30:00 | 0 | 168.043 | 2.4053 | 206.383 | 2.4053 | 41.3644 | 0 | 333.159 | 26.46 | 970.097 | 57.0453 | 0.99022
2019-03-02 07:45:00 | 0 | 156.824 | 1.3827 | 206.09 | 1.127 | 41.1693 | 0 | 334.013 | 26.46 | 970.394 | 55.3373 | 1.2563
2019-03-02 08:00:00 | 0 | 156.816 | 0.75133 | 206.152 | 0 | 41.0697 | 0 | 334.021 | 26.46 | 970.691 | 54.1732 | 1.0235
2019-03-02 08:15:00 | 0 | 156.771 | 0 | 206.111 | 0 | 40.9116 | 0 | 334.022 | 26.46 | 970.988 | 52.2454 | 0.83503
2019-03-02 08:30:00 | 0 | 156.795 | 0 | 206.11 | 0 | 40.8627 | 0 | 334.07 | 26.46 | 971.012 | 50.1964 | 0.45816
2019-03-02 08:45:00 | 0 | 119.058 | 0 | 254.438 | 0 | 25.6448 | 0 | 330.116 | 26.46 | 971.469 | 48.8909 | 0.46925
2019-03-02 09:00:00 | 0 | 38.4359 | 0 | 317.173 | 0 | 25.6402 | 0 | 316.603 | 26.46 | 971.297 | 51.613 | 1.09
2019-03-02 09:15:00 | 0 | 94.4688 | 1.127 | 200.769 | 1.894 | 35.5842 | 0 | 317.017 | 26.46 | 971.583 | 51.7495 | 1.0789
2019-03-02 09:30:00 | 0 | 147.358 | 1.894 | 189.825 | 2.1497 | 36.1692 | 0 | 324.767 | 26.46 | 971.435 | 52.4322 | 0.59487
2019-03-02 09:45:00 | 0 | 126.566 | 1.3827 | 190.455 | 1.3827 | 35.3887 | 0 | 297.099 | 26.46 | 971.583 | 50.588 | -0.073897
2019-03-02 10:00:00 | 0 | 0.24368 | 1.3827 | 46.8658 | 0 | 27.7795 | 0 | 192.873 | 26.46 | 971.732 | 44.2992 | -0.24016
2019-03-02 10:15:00 | 0 | 345.011 | 1.3827 | 16.9296 | 1.894 | 27.6827 | 0 | 214.785 | 26.46 | 971.732 | 38.3618 | -0.22908
2019-03-02 10:30:00 | 0 | 129.96 | 1.3827 | 1.0931 | 1.894 | 23.3899 | 0 | 314.156 | 26.46 | 972.2 | 39.1743 | 0.46925
2019-03-02 10:45:00 | 0 | 151.795 | 3.6837 | 214.61 | 4.7063 | 115.941 | 5.4733 | 341.782 | 26.46 | 972.325 | 43.427 | 2.0137
2019-03-02 11:00:00 | 0 | 134.738 | 6.2403 | 188.635 | 5.2177 | 120.709 | 3.428 | 309.64 | 26.46 | 971.88 | 44.5847 | 2.0543
2019-03-02 11:15:00 | 0 | 127.919 | 4.4507 | 186.727 | 4.7063 | 119.661 | 0 | 309.993 | 26.46 | 971.435 | 44.3547 | 0.81656
2019-03-02 11:30:00 | 0 | 128.23 | 3.6837 | 175.914 | 4.195 | 120.653 | 0.63133 | 300.608 | 26.46 | 971.286 | 44.7705 | 0.66507
2019-03-02 11:45:00 | 0 | 131.519 | 3.6837 | 179.204 | 3.9393 | 120.701 | 0 | 319.393 | 26.46 | 971.316 | 38.3552 | 0.89046
2019-03-02 12:00:00 | 0 | 152.107 | 3.1723 | 190.143 | 2.4053 | 119.142 | 0 | 356.086 | 26.46 | 971.454 | 31.2575 | 0.94588
2019-03-02 12:15:00 | 0 | 166.604 | 3.9393 | 210.025 | 3.1723 | 122.261 | 3.9393 | 334.475 | 26.46 | 970.99 | 34.158 | 1.0419
2019-03-02 12:30:00 | 0 | 150.051 | 5.2177 | 186.954 | 4.4507 | 122.964 | 2.4053 | 329.479 | 26.46 | 970.99 | 23.6084 | 1.2008
2019-03-02 12:45:00 | 0 | 124.316 | 4.962 | 170.98 | 3.6837 | 123.61 | 0 | 305.432 | 26.46 | 970.99 | 25.2777 | 1.3671
2019-03-02 13:00:00 | 0 | 180.924 | 4.4507 | 220.453 | 5.4733 | 163.144 | 0 | 0.29229 | 26.46 | 970.693 | 24.7323 | 2.2428
2019-03-02 13:15:00 | 0 | 195.442 | 4.7063 | 233.533 | 5.9847 | 178.075 | 3.6837 | 19.6562 | 26.46 | 969.95 | 26.0287 | 4.3636
2019-03-02 13:30:00 | 0 | 180.636 | 4.962 | 222.034 | 7.0073 | 174.058 | 2.9167 | 12.4501 | 26.46 | 969.505 | 26.6164 | 5.4832
2019-03-02 13:45:00 | 8.5207 | 170.307 | 5.9847 | 206.126 | 6.2403 | 210.484 | 3.6837 | 0.26801 | 26.46 | 969.208 | 23.1019 | 7.5264
2019-03-02 14:00:00 | 0 | 180.492 | 7.0073 | 241.625 | 5.4733 | 186.851 | 1.5183 | 3.3867 | 26.46 | 969.283 | 20.4061 | 5.9044
2019-03-02 14:15:00 | 0 | 108.763 | 3.428 | 167.704 | 4.962 | 181.515 | 1.6383 | 293.591 | 26.46 | 969.718 | 21.5322 | 3.0963
2019-03-02 14:30:00 | 0 | 190.75 | 8.2857 | 221.403 | 8.03 | 193.454 | 2.0297 | 10.2818 | 26.46 | 969.438 | 23.4773 | 3.9018
2019-03-02 14:45:00 | 0 | 187.655 | 5.729 | 231.782 | 6.496 | 191.358 | 0 | 15.2765 | 26.46 | 969.095 | 26.0706 | 3.9461
2019-03-02 15:00:00 | 0 | 198.278 | 5.729 | 243.282 | 5.9847 | 186.802 | 0.37567 | 11.5 | 26.46 | 969.243 | 27.6403 | 3.0261
2019-03-02 15:15:00 | 0 | 178.494 | 6.2403 | 223.035 | 6.7517 | 167.774 | 1.007 | 0.87712 | 26.46 | 969.085 | 27.3332 | 2.6197
2019-03-02 15:30:00 | 0 | 203.258 | 4.4507 | 242.004 | 6.496 | 179.551 | 2.7967 | 38.6683 | 26.46 | 968.839 | 26.7545 | 1.2821
2019-03-02 15:45:00 | 0 | 200.546 | 4.7063 | 257.256 | 4.7063 | 201.618 | 3.0523 | 20.8587 | 26.46 | 968.91 | 26.7567 | 2.0802
2019-03-02 16:00:00 | 0 | 209.18 | 3.9393 | 235.456 | 3.6837 | 198.287 | 2.9167 | 17.3748 | 26.46 | 968.613 | 27.2355 | 0.87568
2019-03-02 16:15:00 | 0 | 197.04 | 4.7063 | 240.885 | 4.962 | 186.416 | 3.9393 | 18.2273 | 26.46 | 968.316 | 29.0779 | 0.7907
2019-03-02 16:30:00 | 0 | 169.535 | 3.428 | 219.655 | 3.6837 | 167.731 | 0.37567 | 356.862 | 26.46 | 968.168 | 29.0149 | 1.1306
2019-03-02 16:45:00 | 0 | 156.327 | 4.195 | 223.484 | 4.7063 | 183.429 | 0.37567 | 86.2796 | 26.46 | 968.019 | 30.995 | 4.9511
2019-03-02 17:00:00 | 0 | 189.181 | 5.2177 | 232.136 | 5.729 | 190.839 | 5.729 | 5.0695 | 26.46 | 967.722 | 34.6817 | 4.9363
2019-03-02 17:15:00 | 0 | 182.04 | 5.2177 | 227.408 | 5.2177 | 184.136 | 5.2177 | 6.1176 | 26.46 | 967.786 | 36.8664 | 6.6359
2019-03-02 17:30:00 | 0 | 207.851 | 4.962 | 240.155 | 5.2177 | 180.992 | 0 | 27.7849 | 26.46 | 967.64 | 37.5491 | 8.4021
2019-03-02 17:45:00 | 0 | 202.917 | 3.428 | 248.021 | 5.2177 | 164.04 | 1.774 | 19.7189 | 26.46 | 967.444 | 39.1903 | 7.205
2019-03-02 18:00:00 | 0 | 206.67 | 4.195 | 246.151 | 4.195 | 180.099 | 3.428 | 30.4716 | 26.46 | 967.703 | 40.8336 | 6.1667
2019-03-02 18:15:00 | 0 | 208.959 | 3.428 | 240.687 | 2.4053 | 162.838 | 3.1723 | 27.9847 | 26.46 | 967.693 | 41.9256 | 5.2171
2019-03-02 18:30:00 | 0 | 204.515 | 2.9167 | 259.724 | 2.9167 | 167.483 | 1.5183 | 30.5956 | 26.46 | 968.018 | 42.6119 | 4.8365
2019-03-02 18:45:00 | 0 | 212.259 | 3.6837 | 250.577 | 3.1723 | 168.056 | 0.37567 | 35.3033 | 26.46 | 968.018 | 43.0931 | 5.5016
2019-03-02 19:00:00 | 0 | 209.945 | 3.428 | 248.241 | 3.1723 | 172.35 | 1.5183 | 35.6451 | 26.46 | 967.721 | 43.0937 | 4.4153
2019-03-02 19:15:00 | 0 | 209.336 | 4.195 | 251.069 | 3.9393 | 173.398 | 0.75133 | 31.9148 | 26.46 | 967.572 | 43.6401 | 3.802
2019-03-02 19:30:00 | 0 | 215.285 | 3.9393 | 248.07 | 2.661 | 173.349 | 1.007 | 28.1358 | 26.46 | 967.915 | 44.2206 | 3.2588
2019-03-02 19:45:00 | 0 | 218.649 | 3.9393 | 251.166 | 2.9167 | 173.349 | 0.37567 | 41.0577 | 26.46 | 967.875 | 45.0743 | 3.5471
2019-03-02 20:00:00 | 0 | 217.04 | 3.428 | 241.463 | 3.1723 | 173.545 | 2.1497 | 40.4726 | 26.46 | 967.875 | 45.9621 | 3.2515
2019-03-02 20:15:00 | 0 | 224.306 | 1.894 | 253.166 | 2.1497 | 173.74 | 0 | 58.5146 | 26.46 | 967.992 | 45.8255 | 2.9078
2019-03-02 20:30:00 | 0 | 206.703 | 2.661 | 249.655 | 2.4053 | 173.545 | 0 | 37.6688 | 26.46 | 968.118 | 46.7816 | 3.7244
2019-03-02 20:45:00 | 0 | 216.553 | 3.428 | 271.451 | 3.428 | 173.252 | 2.541 | 31.8904 | 26.46 | 968.01 | 48.0109 | 3.8131
2019-03-02 21:00:00 | 0 | 209.824 | 2.1497 | 249.606 | 1.6383 | 173.642 | 0 | 49.4448 | 26.46 | 968.314 | 48.6939 | 2.0063
2019-03-02 21:15:00 | 3.414 | 219.113 | 2.661 | 261.943 | 2.661 | 173.837 | 0.63133 | 52.3706 | 26.46 | 968.017 | 49.2061 | 1.3893
2019-03-02 21:30:00 | 0 | 213.529 | 3.428 | 245.071 | 2.661 | 173.886 | 0 | 37.8151 | 26.46 | 968.165 | 49.4451 | 0.73158
2019-03-02 21:45:00 | 0 | 200.364 | 2.9167 | 237.903 | 2.661 | 173.74 | 0 | 27.7945 | 26.46 | 968.017 | 50.2305 | 1.1417
2019-03-02 22:00:00 | 0 | 192.352 | 2.9167 | 232.576 | 2.661 | 173.456 | 0.63133 | 28.5029 | 26.46 | 968.017 | 49.5842 | 1.1121
2019-03-02 22:15:00 | 0 | 207.826 | 3.6837 | 235.911 | 2.661 | 173.907 | 1.3827 | 29.1146 | 26.46 | 967.719 | 48.8365 | 1.9324
2019-03-02 22:30:00 | 0 | 210.839 | 3.428 | 239.318 | 2.4053 | 174.212 | 0 | 29.7018 | 26.46 | 967.719 | 47.8835 | 1.9989
2019-03-02 22:45:00 | 0 | 205.851 | 3.9393 | 244.867 | 3.1723 | 173.879 | 1.1427 | 31.1178 | 26.46 | 967.719 | 47.3395 | 1.6257
2019-03-02 23:00:00 | 0 | 210.053 | 3.428 | 243.341 | 2.4053 | 173.789 | 0 | 31.7287 | 26.46 | 967.571 | 46.829 | 1.6701
2019-03-02 23:15:00 | 0 | 200.713 | 3.428 | 235.074 | 2.9167 | 173.984 | 0.37567 | 23.8027 | 26.46 | 967.422 | 45.9751 | 1.3745
2019-03-02 23:30:00 | 0 | 172.869 | 2.9167 | 225.304 | 2.661 | 173.796 | 0 | 0.19511 | 26.46 | 967.422 | 47.3433 | 1.6996
2019-03-02 23:45:00 | 0 | 137.166 | 6.7517 | 187.017 | 5.9847 | 142.214 | 3.9393 | 323.501 | 26.46 | 967.125 | 55.6105 | 13.0945