## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-03 00:00:00 | 0 | 147.019 | 5.9847 | 188.115 | 5.2177 | 139.995 | 5.4733 | 327.55 | 26.46 | 966.828 | 58.6166 | 16.6157
2019-03-03 00:15:00 | 0 | 151.044 | 4.962 | 196.529 | 5.2177 | 141.605 | 2.1497 | 330.038 | 26.46 | 966.531 | 60.3928 | 8.6533
2019-03-03 00:30:00 | 0 | 191.506 | 2.9167 | 217.382 | 2.4053 | 142.971 | 0 | 28.3649 | 26.46 | 966.531 | 62.1691 | 3.6616
2019-03-03 00:45:00 | 0 | 164.726 | 3.9393 | 207.163 | 3.6837 | 142.849 | 2.1497 | 8.9753 | 26.46 | 966.382 | 61.8958 | 1.6368
2019-03-03 01:00:00 | 0 | 162.36 | 2.1497 | 212.699 | 1.894 | 141.654 | 0 | 0.19512 | 26.46 | 966.234 | 61.5542 | 0.25494
2019-03-03 01:15:00 | 0 | 196.823 | 3.428 | 233.016 | 2.9167 | 142.776 | 0.37567 | 22.5358 | 26.46 | 965.936 | 61.8275 | 0.97174
2019-03-03 01:30:00 | 0 | 162.946 | 3.9393 | 207.456 | 2.1497 | 142.678 | 1.127 | 350.915 | 26.46 | 965.936 | 64.9701 | 1.1897
2019-03-03 01:45:00 | 0 | 206.237 | 2.4053 | 234.869 | 2.1497 | 137.312 | 0 | 27.0966 | 26.46 | 965.819 | 66.1998 | 0.67985
2019-03-03 02:00:00 | 0 | 186.774 | 2.9167 | 227.943 | 2.661 | 137.898 | 0 | 10.0972 | 26.46 | 965.728 | 66.6097 | 0.32515
2019-03-03 02:15:00 | 0 | 172.695 | 3.428 | 219.089 | 1.3827 | 137.912 | 0 | 25.0992 | 26.46 | 965.531 | 69.0762 | 0.58748
2019-03-03 02:30:00 | 0 | 196.468 | 3.1723 | 223.719 | 1.894 | 138.801 | 0 | 23.4669 | 26.46 | 965.252 | 69.4234 | 0.39904
2019-03-03 02:45:00 | 0 | 202.704 | 2.1497 | 238.742 | 2.1497 | 138.178 | 0 | 22.005 | 26.46 | 965.336 | 68.6772 | 0.48402
2019-03-03 03:00:00 | 0 | 184.575 | 2.9167 | 226.93 | 2.661 | 138.322 | 0 | 11.6122 | 26.46 | 965.042 | 68.7785 | 1.0161
2019-03-03 03:15:00 | 0 | 170.376 | 3.428 | 204.583 | 2.9167 | 138.907 | 0 | 10.6851 | 26.46 | 964.745 | 71.6141 | 0.67985
2019-03-03 03:30:00 | 0 | 174.065 | 2.9167 | 235.524 | 3.1723 | 139.13 | 2.541 | 13.491 | 26.46 | 964.448 | 73.2222 | 0.81287
2019-03-03 03:45:00 | 0 | 190.405 | 3.428 | 235.37 | 2.4053 | 139.078 | 0 | 14.7592 | 26.46 | 964.448 | 73.0492 | 0.92741
2019-03-03 04:00:00 | 0 | 194.485 | 3.6837 | 230.938 | 2.9167 | 139.301 | 0 | 22.3956 | 26.46 | 964.001 | 74.0081 | 0.75005
2019-03-03 04:15:00 | 0 | 191.065 | 4.195 | 234.372 | 2.9167 | 139.542 | 0.887 | 17.5647 | 26.46 | 963.847 | 75.5098 | 0.98283
2019-03-03 04:30:00 | 0 | 199.918 | 4.195 | 238.344 | 3.6837 | 139.881 | 0 | 24.9805 | 26.46 | 963.853 | 76.1919 | 1.4373
2019-03-03 04:45:00 | 0 | 199.999 | 2.9167 | 241.33 | 3.1723 | 139.545 | 0 | 23.8105 | 26.46 | 963.849 | 77.9716 | 1.0198
2019-03-03 05:00:00 | 0 | 204.579 | 3.6837 | 242.737 | 3.428 | 139.931 | 0 | 42.521 | 26.46 | 963.853 | 77.4226 | 1.4558
2019-03-03 05:15:00 | 0 | 198.581 | 3.428 | 237.179 | 3.428 | 139.982 | 0 | 38.2524 | 26.46 | 963.853 | 78.4488 | 2.8635
2019-03-03 05:30:00 | 0 | 207.121 | 4.195 | 241.28 | 3.6837 | 140.252 | 2.661 | 40.2289 | 26.46 | 964.151 | 79.6114 | 4.419
2019-03-03 05:45:00 | 0 | 206.829 | 4.4507 | 243.916 | 4.195 | 140.375 | 2.0297 | 32.032 | 26.46 | 964.146 | 79.9533 | 4.3341
2019-03-03 06:00:00 | 0 | 194.975 | 4.4507 | 226.841 | 3.9393 | 140.376 | 3.6837 | 15.7356 | 26.46 | 964.28 | 80.4323 | 4.722
2019-03-03 06:15:00 | 0 | 179.059 | 3.9393 | 228.292 | 3.6837 | 140.369 | 1.3827 | 2.098 | 26.46 | 964.276 | 80.6333 | 3.8352
2019-03-03 06:30:00 | 0 | 193.951 | 4.195 | 229.502 | 4.195 | 140.499 | 3.1723 | 17.6386 | 26.46 | 964.299 | 81.0479 | 4.4301
2019-03-03 06:45:00 | 0 | 184.683 | 4.7063 | 228.798 | 4.195 | 140.525 | 0 | 8.612 | 26.46 | 964.448 | 80.5707 | 4.8144
2019-03-03 07:00:00 | 0 | 172.972 | 4.195 | 209.816 | 3.6837 | 140.378 | 0 | 3.7083 | 26.46 | 964.446 | 81.0488 | 4.4375
2019-03-03 07:15:00 | 0.99933 | 192.586 | 4.4507 | 221.232 | 3.6837 | 140.328 | 0 | 13.4912 | 26.46 | 964.448 | 81.1165 | 3.8611
2019-03-03 07:30:00 | 1.2547 | 196.51 | 2.9167 | 228.4 | 2.661 | 140.277 | 0 | 21.7125 | 26.46 | 964.745 | 81.3201 | 2.7194
2019-03-03 07:45:00 | 0 | 190.15 | 3.428 | 235.437 | 2.661 | 140.283 | 0 | 16.468 | 26.46 | 965.042 | 80.8109 | 2.2243
2019-03-03 08:00:00 | 0 | 185.204 | 4.195 | 230.533 | 2.9167 | 140.367 | 0 | 5.44 | 26.46 | 965.292 | 79.5389 | 3.8279
2019-03-03 08:15:00 | 0 | 182.659 | 2.4053 | 207.439 | 2.9167 | 140.049 | 1.1427 | 3.6585 | 26.46 | 965.169 | 80.7202 | 2.6677
2019-03-03 08:30:00 | 0 | 186.335 | 3.428 | 211.943 | 3.428 | 140.288 | 2.661 | 13.78 | 26.46 | 965.224 | 78.8386 | 1.4927
2019-03-03 08:45:00 | 0 | 182.287 | 3.9393 | 217.016 | 3.6837 | 140.434 | 3.428 | 17.3165 | 26.46 | 965.045 | 75.8668 | 1.7698
2019-03-03 09:00:00 | 0 | 185.311 | 4.195 | 225.406 | 5.9847 | 141.166 | 1.2627 | 7.6583 | 26.46 | 965.342 | 72.0752 | 2.4312
2019-03-03 09:15:00 | 0 | 191.75 | 4.195 | 227.26 | 3.9393 | 141.068 | 3.9393 | 18.1945 | 26.46 | 965.64 | 70.4356 | 2.0359
2019-03-03 09:30:00 | 0 | 181.116 | 3.9393 | 233.747 | 4.195 | 141.751 | 0 | 17.4384 | 26.46 | 965.64 | 70.1623 | 2.6418
2019-03-03 09:45:00 | 0 | 171.262 | 3.428 | 234.577 | 4.7063 | 142.093 | 0 | 2.8779 | 26.46 | 965.788 | 69.1375 | 3.6579
2019-03-03 10:00:00 | 0 | 200.363 | 4.195 | 237.282 | 3.9393 | 142.225 | 4.7063 | 23.7773 | 26.46 | 965.788 | 66.603 | 3.4251
2019-03-03 10:15:00 | 0 | 196.928 | 4.195 | 232.542 | 4.962 | 142.826 | 4.962 | 16.8231 | 26.46 | 965.937 | 66.5194 | 2.7453
2019-03-03 10:30:00 | 0 | 192.708 | 4.962 | 230.662 | 5.4733 | 142.995 | 3.428 | 16.5548 | 26.46 | 965.791 | 67.0992 | 2.6714
2019-03-03 10:45:00 | 0 | 184.516 | 4.7063 | 223.567 | 5.4733 | 143.263 | 1.127 | 5.6564 | 26.46 | 965.644 | 68.6358 | 2.1467
2019-03-03 11:00:00 | 0 | 179.201 | 4.195 | 246.729 | 4.962 | 143.897 | 4.962 | 353.136 | 26.46 | 965.642 | 69.0456 | 1.5777
2019-03-03 11:15:00 | 0 | 172.618 | 3.6837 | 225.956 | 2.9167 | 143.897 | 1.6383 | 351.234 | 26.46 | 965.642 | 66.9968 | 1.3117
2019-03-03 11:30:00 | 0 | 162.942 | 3.1723 | 227.436 | 2.9167 | 146.365 | 0 | 344.606 | 26.46 | 965.612 | 62.4129 | 1.1897
2019-03-03 11:45:00 | 0 | 176.08 | 2.9167 | 204.487 | 2.661 | 152.534 | 0.63133 | 344.725 | 26.46 | 965.511 | 59.8774 | 0.96435
2019-03-03 12:00:00 | 0 | 194.227 | 4.962 | 240.642 | 5.729 | 154.718 | 2.2853 | 15.6961 | 26.46 | 965.353 | 59.3276 | 1.3597
2019-03-03 12:15:00 | 0 | 198.151 | 3.9393 | 236.353 | 4.962 | 181.187 | 0.63133 | 14.4287 | 26.46 | 965.347 | 59.2251 | 0.61704
2019-03-03 12:30:00 | 0 | 173.875 | 4.195 | 217.634 | 2.4053 | 175.289 | 0 | 36.291 | 26.46 | 965.347 | 55.914 | 0.55423
2019-03-03 12:45:00 | 0 | 212.165 | 4.7063 | 253.389 | 4.962 | 176.873 | 1.6383 | 30.3685 | 26.46 | 965.198 | 55.2313 | 0.32884
2019-03-03 13:00:00 | 0 | 160.202 | 1.127 | 150.634 | 2.1497 | 104.998 | 0 | 296.348 | 26.46 | 965.347 | 53.5928 | 0.45077
2019-03-03 13:15:00 | 0 | 169.827 | 5.2177 | 204.973 | 5.9847 | 107.369 | 3.6837 | 6.5309 | 26.46 | 965.347 | 50.1029 | 2.313
2019-03-03 13:30:00 | 0 | 203.769 | 6.496 | 247.176 | 5.9847 | 108.586 | 3.1723 | 14.085 | 26.46 | 965.347 | 46.2796 | 6.2554
2019-03-03 13:45:00 | 0 | 181.933 | 4.4507 | 208.33 | 4.195 | 109.267 | 3.308 | 1.4621 | 26.46 | 964.901 | 47.2346 | 9.5142
2019-03-03 14:00:00 | 0 | 208.463 | 6.496 | 247.536 | 6.7517 | 112.347 | 0.63133 | 12.6725 | 26.46 | 964.456 | 46.6242 | 12.108
2019-03-03 14:15:00 | 0 | 184.867 | 5.729 | 228.773 | 5.9847 | 112.943 | 1.007 | 11.5527 | 26.46 | 964.753 | 47.107 | 11.7053
2019-03-03 14:30:00 | 0 | 175.947 | 6.2403 | 208.982 | 5.9847 | 113.821 | 3.9393 | 1.5599 | 26.46 | 964.604 | 46.7657 | 10.0241
2019-03-03 14:45:00 | 0 | 184.498 | 4.962 | 240.32 | 5.2177 | 114.72 | 2.661 | 11.2356 | 26.46 | 964.753 | 45.6724 | 8.2949
2019-03-03 15:00:00 | 0 | 140.062 | 4.4507 | 185.597 | 4.195 | 114.204 | 0 | 338.226 | 26.46 | 964.604 | 45.3977 | 8.8529
2019-03-03 15:15:00 | 0 | 175.332 | 3.6837 | 244.606 | 4.962 | 115.133 | 2.9167 | 13.4533 | 26.46 | 964.307 | 45.8084 | 5.1839
2019-03-03 15:30:00 | 0 | 208.533 | 3.9393 | 247.905 | 3.6837 | 115.429 | 2.1497 | 14.5018 | 26.46 | 964.307 | 45.4684 | 7.3121
2019-03-03 15:45:00 | 0 | 196.566 | 5.9847 | 249.416 | 5.2177 | 116.209 | 4.4507 | 17.5484 | 26.46 | 964.159 | 45.9464 | 4.4782
2019-03-03 16:00:00 | 0 | 169.488 | 5.4733 | 221.339 | 5.2177 | 116.429 | 2.661 | 354.989 | 26.46 | 964.159 | 43.3521 | 3.9239
2019-03-03 16:15:00 | 0 | 200.88 | 5.729 | 240.886 | 7.263 | 117.794 | 0 | 4.9964 | 26.46 | 963.862 | 45.332 | 5.376
2019-03-03 16:30:00 | 0 | 187.427 | 4.7063 | 224.313 | 4.962 | 116.721 | 1.007 | 9.481 | 26.46 | 963.594 | 45.1613 | 5.9856
2019-03-03 16:45:00 | 0 | 183.088 | 4.962 | 228.651 | 4.962 | 117.428 | 0 | 10.6509 | 26.46 | 963.605 | 45.6733 | 6.8465
2019-03-03 17:00:00 | 0 | 176.191 | 4.195 | 220.827 | 4.195 | 118.89 | 5.4733 | 354.234 | 26.46 | 963.662 | 47.6532 | 5.1358
2019-03-03 17:15:00 | 0 | 182.784 | 4.7063 | 240.403 | 5.9847 | 119.573 | 0 | 4.3636 | 26.46 | 963.598 | 47.9361 | 5.1358
2019-03-03 17:30:00 | 0 | 184.948 | 5.2177 | 229.498 | 5.729 | 120.179 | 4.962 | 5.5823 | 26.46 | 963.619 | 47.32 | 5.158
2019-03-03 17:45:00 | 0 | 173.705 | 4.7063 | 213.483 | 4.962 | 120.606 | 0 | 2.6818 | 26.46 | 963.859 | 47.7348 | 6.7172
2019-03-03 18:00:00 | 0 | 191.464 | 6.496 | 232.954 | 5.9847 | 121.369 | 4.4507 | 5.437 | 26.46 | 963.562 | 48.045 | 9.9022
2019-03-03 18:15:00 | 0 | 180.591 | 6.2403 | 229.077 | 6.2403 | 122.71 | 0.37567 | 44.4467 | 26.46 | 963.562 | 50.4012 | 10.5008
2019-03-03 18:30:00 | 0 | 178.689 | 7.0073 | 221.641 | 5.4733 | 124.246 | 2.9167 | 0.19505 | 26.46 | 963.601 | 50.7427 | 11.3838
2019-03-03 18:45:00 | 0 | 173.496 | 6.496 | 218.496 | 6.2403 | 126.367 | 2.7967 | 352.624 | 26.46 | 963.411 | 51.5622 | 12.2706
2019-03-03 19:00:00 | 0 | 174.642 | 7.0073 | 211.864 | 5.4733 | 126.587 | 0.37567 | 355.305 | 26.46 | 963.854 | 52.7232 | 13.634
2019-03-03 19:15:00 | 1.7653 | 186.783 | 5.9847 | 231.954 | 5.9847 | 127.708 | 5.9847 | 0.19505 | 26.46 | 963.856 | 52.5183 | 13.634
2019-03-03 19:30:00 | 0 | 174.453 | 8.03 | 223.308 | 7.5187 | 129.469 | 4.7063 | 0.19506 | 26.46 | 964.005 | 52.1106 | 15.6551
2019-03-03 19:45:00 | 0 | 181.562 | 7.0073 | 228.35 | 7.0073 | 131.527 | 5.729 | 2.2677 | 26.46 | 964.153 | 52.1146 | 15.1821
2019-03-03 20:00:00 | 12.4893 | 174.667 | 6.2403 | 212.093 | 8.03 | 132.628 | 7.7743 | 4.9745 | 26.46 | 964.153 | 53.5505 | 15.0343
2019-03-03 20:15:00 | 0 | 176.137 | 6.496 | 216.735 | 6.496 | 132.657 | 2.4053 | 0.19508 | 26.46 | 964.153 | 54.8845 | 15.825
2019-03-03 20:30:00 | 0 | 165.838 | 7.5187 | 208.271 | 6.7517 | 133.987 | 5.729 | 354.186 | 26.46 | 964.153 | 55.4023 | 17.2549
2019-03-03 20:45:00 | 8.5207 | 172.189 | 6.496 | 218.113 | 7.263 | 135.336 | 5.4733 | 356.816 | 26.46 | 964.153 | 56.5668 | 17.7981
2019-03-03 21:00:00 | 5.2013 | 186.479 | 5.729 | 224.232 | 5.729 | 136.091 | 3.428 | 7.0484 | 26.46 | 964.451 | 57.6593 | 17.5357
2019-03-03 21:15:00 | 0 | 179.555 | 6.7517 | 215.846 | 6.2403 | 136.288 | 0.75133 | 2.7804 | 26.46 | 964.599 | 58.8898 | 15.6846
2019-03-03 21:30:00 | 0 | 183.14 | 5.9847 | 220.089 | 7.0073 | 137.288 | 0.75133 | 5.8778 | 26.46 | 964.599 | 59.5047 | 16.4938
2019-03-03 21:45:00 | 0 | 175.848 | 5.9847 | 213.894 | 6.7517 | 158.653 | 1.127 | 1.1951 | 26.46 | 964.599 | 59.9829 | 16.9002
2019-03-03 22:00:00 | 0.372 | 175.311 | 7.7743 | 217.089 | 7.263 | 155.507 | 4.4507 | 0.41462 | 26.46 | 964.748 | 59.8463 | 17.0406
2019-03-03 22:15:00 | 0 | 163.311 | 5.9847 | 208.163 | 6.7517 | 149.556 | 1.5183 | 356.768 | 26.46 | 964.748 | 59.9829 | 15.0417
2019-03-03 22:30:00 | 0 | 178.75 | 5.729 | 213.846 | 6.7517 | 158.58 | 2.661 | 3.5852 | 26.46 | 964.748 | 60.7344 | 14.6722
2019-03-03 22:45:00 | 0 | 181.384 | 4.962 | 222.187 | 6.2403 | 149.41 | 1.3983 | 0.4634 | 26.46 | 964.599 | 61.5542 | 14.2215
2019-03-03 23:00:00 | 0 | 169.238 | 5.729 | 199.675 | 7.7743 | 153.848 | 5.729 | 354.842 | 26.46 | 964.451 | 61.1443 | 14.2325
2019-03-03 23:15:00 | 0 | 162.775 | 6.2403 | 214.358 | 5.9847 | 130.288 | 2.9167 | 335.111 | 26.46 | 964.451 | 61.8958 | 16.1982
2019-03-03 23:30:00 | 2.5313 | 175.653 | 9.0527 | 219.309 | 9.0527 | 132.995 | 4.962 | 0.19512 | 26.46 | 964.153 | 62.0324 | 19.2612
2019-03-03 23:45:00 | 12.606 | 163.702 | 6.7517 | 214.382 | 5.2177 | 134.337 | 5.9847 | 0.34145 | 26.46 | 964.153 | 63.5354 | 21.8993