## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-04 00:00:00 | 1.51 | 176.628 | 6.7517 | 231.65 | 6.7517 | 137.117 | 3.9393 | 344.257 | 26.46 | 964.153 | 64.4919 | 20.0335
2019-03-04 00:15:00 | 0 | 168.555 | 6.2403 | 221.455 | 7.0073 | 138.044 | 5.4733 | 9.4143 | 26.46 | 964.153 | 65.38 | 20.0889
2019-03-04 00:30:00 | 0 | 167.702 | 5.729 | 202.7 | 5.2177 | 150.507 | 0.63133 | 355.72 | 26.46 | 964.153 | 67.2588 | 16.7044
2019-03-04 00:45:00 | 0 | 171.019 | 6.7517 | 209.504 | 5.729 | 149.897 | 2.0297 | 356.671 | 26.46 | 964.174 | 67.1563 | 17.5136
2019-03-04 01:00:00 | 2.7867 | 164.728 | 5.2177 | 201.995 | 5.729 | 145.509 | 1.2627 | 356.187 | 26.46 | 964.219 | 68.1817 | 14.3212
2019-03-04 01:15:00 | 0 | 182.606 | 6.2403 | 199.83 | 4.962 | 140.309 | 4.7063 | 9.7084 | 26.46 | 964.34 | 68.9428 | 13.0096
2019-03-04 01:30:00 | 2.7867 | 156.323 | 6.2403 | 198.53 | 5.4733 | 141.442 | 0.63133 | 3.5129 | 26.46 | 964.138 | 70.1781 | 14.5872
2019-03-04 01:45:00 | 0 | 165.456 | 6.496 | 207.545 | 5.4733 | 143.207 | 1.894 | 24.7379 | 26.46 | 964.002 | 71.3098 | 16.9593
2019-03-04 02:00:00 | 0 | 164.19 | 7.263 | 205.865 | 7.263 | 150.333 | 2.661 | 351.533 | 26.46 | 963.853 | 72.2336 | 26.795
2019-03-04 02:15:00 | 9.0313 | 157.375 | 7.0073 | 196.266 | 6.496 | 150.447 | 4.4507 | 348.636 | 26.46 | 964.151 | 72.2298 | 24.3084
2019-03-04 02:30:00 | 0 | 169.748 | 5.729 | 204.321 | 5.4733 | 151.914 | 4.4507 | 352.327 | 26.46 | 964.002 | 72.7781 | 21.504
2019-03-04 02:45:00 | 7.244 | 160.843 | 8.797 | 202.052 | 7.263 | 152.817 | 5.4733 | 353.352 | 26.46 | 963.853 | 71.4113 | 25.7826
2019-03-04 03:00:00 | 8.2653 | 171.407 | 7.0073 | 212.178 | 8.2857 | 150.378 | 6.2403 | 24.323 | 26.46 | 963.853 | 73.2568 | 22.1395
2019-03-04 03:15:00 | 13.6273 | 159.475 | 7.0073 | 201.611 | 7.263 | 153.376 | 4.7063 | 355.495 | 26.46 | 963.853 | 71.9573 | 23.1076
2019-03-04 03:30:00 | 6.7333 | 158.887 | 8.2857 | 202.291 | 7.263 | 153.154 | 3.1723 | 356.734 | 26.46 | 963.853 | 74.8262 | 30.9887
2019-03-04 03:45:00 | 3.1587 | 169.694 | 7.7743 | 201.217 | 7.7743 | 144.835 | 5.2177 | 337.485 | 26.46 | 963.853 | 74.3476 | 37.6283
2019-03-04 04:00:00 | 2.9033 | 168.484 | 9.3083 | 204.157 | 9.3083 | 166.922 | 5.729 | 0.19517 | 26.46 | 964.151 | 72.2333 | 41.8848
2019-03-04 04:15:00 | 5.2013 | 160.059 | 7.263 | 202.732 | 9.564 | 153.107 | 1.6383 | 337.122 | 26.46 | 964.147 | 70.795 | 46.773
2019-03-04 04:30:00 | 9.0313 | 162.692 | 8.797 | 204.705 | 7.7743 | 152.885 | 6.496 | 351.488 | 26.46 | 964.127 | 73.0493 | 46.5809
2019-03-04 04:45:00 | 3.414 | 158.159 | 10.8423 | 209.395 | 10.331 | 164.111 | 5.729 | 350.716 | 26.46 | 964.118 | 74.8961 | 50.3312
2019-03-04 05:00:00 | 5.2013 | 136.716 | 8.797 | 204.054 | 8.2857 | 159.258 | 5.4733 | 350.304 | 26.46 | 963.845 | 78.1769 | 48.0441
2019-03-04 05:15:00 | 4.4353 | 161.23 | 8.2857 | 203.146 | 8.797 | 165.987 | 5.729 | 356.663 | 26.46 | 964.151 | 77.2184 | 47.4012
2019-03-04 05:30:00 | 4.6907 | 158.377 | 9.8197 | 204.465 | 8.797 | 149.204 | 1.5183 | 338.394 | 26.46 | 964.448 | 77.5608 | 50.4605
2019-03-04 05:45:00 | 0 | 158.623 | 9.3083 | 199.955 | 7.7743 | 154.891 | 4.195 | 353.987 | 26.46 | 964.448 | 78.3135 | 55.153
2019-03-04 06:00:00 | 0.88267 | 144.301 | 9.564 | 197.635 | 9.0527 | 147.107 | 1.6383 | 337.979 | 26.46 | 964.151 | 78.1758 | 51.7722
2019-03-04 06:15:00 | 3.9247 | 158.712 | 9.564 | 196.137 | 9.564 | 145.441 | 5.729 | 339.868 | 26.46 | 964.299 | 77.6942 | 53.6048
2019-03-04 06:30:00 | 2.1373 | 160.397 | 7.7743 | 199.214 | 8.797 | 165.545 | 5.4733 | 335.456 | 26.46 | 964.442 | 78.5151 | 58.4615
2019-03-04 06:45:00 | 0.744 | 150.247 | 9.3083 | 193.357 | 9.0527 | 156.907 | 3.9393 | 327.939 | 26.46 | 964.275 | 80.1542 | 63.0599
2019-03-04 07:00:00 | 3.1587 | 156.402 | 11.6093 | 198.416 | 10.5867 | 162.915 | 2.9167 | 324.465 | 26.46 | 964.432 | 80.8411 | 64.7522
2019-03-04 07:15:00 | 5.2013 | 145.62 | 9.564 | 204.931 | 9.3083 | 149.572 | 3.6837 | 335.591 | 26.46 | 964.739 | 80.5 | 61.8443
2019-03-04 07:30:00 | 5.4567 | 153.137 | 10.8423 | 193.64 | 12.3763 | 150.233 | 3.1723 | 339.355 | 26.46 | 964.894 | 80.2281 | 61.4711
2019-03-04 07:45:00 | 2.276 | 150.937 | 11.3537 | 190.902 | 11.865 | 147.863 | 3.428 | 332.588 | 26.46 | 965.005 | 79.2693 | 64.5046
2019-03-04 08:00:00 | 1.138 | 156.679 | 10.8423 | 203.872 | 10.8423 | 158.947 | 3.428 | 338.771 | 26.46 | 965.095 | 78.5659 | 64.549
2019-03-04 08:15:00 | 4.4353 | 147.288 | 12.1207 | 202.944 | 12.632 | 157.214 | 5.2177 | 333.013 | 26.46 | 965.194 | 77.8139 | 65.9567
2019-03-04 08:30:00 | 4.18 | 154.873 | 9.8197 | 211.773 | 11.3537 | 169.531 | 3.9393 | 328.379 | 26.46 | 965.342 | 77.1307 | 68.8387
2019-03-04 08:45:00 | 1.882 | 147.654 | 10.331 | 197.285 | 8.2857 | 148.507 | 4.195 | 334.037 | 26.46 | 965.937 | 74.8762 | 66.3483
2019-03-04 09:00:00 | 4.4353 | 139.66 | 10.8423 | 200.428 | 11.6093 | 157.731 | 5.729 | 327.264 | 26.46 | 965.937 | 73.4322 | 64.5009
2019-03-04 09:15:00 | 5.4567 | 146.58 | 11.098 | 191.58 | 13.1433 | 161.501 | 3.428 | 334.339 | 26.46 | 966.34 | 72.8703 | 65.6722
2019-03-04 09:30:00 | 5.9673 | 157.648 | 11.3537 | 206.915 | 13.1433 | 150.943 | 4.7063 | 335.191 | 26.46 | 966.334 | 72.5628 | 62.5316
2019-03-04 09:45:00 | 2.3927 | 141.045 | 11.098 | 197.431 | 9.8197 | 142.239 | 5.729 | 329.413 | 26.46 | 966.83 | 72.4945 | 67.4514
2019-03-04 10:00:00 | 7.7547 | 153.26 | 11.3537 | 192.311 | 12.1207 | 151.602 | 4.7063 | 332.656 | 26.46 | 966.83 | 72.392 | 70.0527
2019-03-04 10:15:00 | 5.712 | 139.847 | 11.098 | 189.576 | 11.865 | 164.203 | 3.6837 | 342.328 | 26.46 | 967.127 | 71.093 | 73.2308
2019-03-04 10:30:00 | 8.5207 | 142.046 | 12.1207 | 180.454 | 10.5867 | 193.068 | 5.2177 | 336.723 | 26.46 | 967.127 | 70.3322 | 67.9786
2019-03-04 10:45:00 | 4.6907 | 161.451 | 11.098 | 216.654 | 11.6093 | 191.703 | 5.4733 | 329.8 | 26.46 | 967.142 | 71.1516 | 70.4274
2019-03-04 11:00:00 | 3.9247 | 148.425 | 11.098 | 196.58 | 11.3537 | 188.694 | 3.1723 | 328.952 | 26.46 | 967.152 | 68.9967 | 67.1844
2019-03-04 11:15:00 | 6.478 | 144.555 | 11.865 | 205.571 | 11.6093 | 186.988 | 4.195 | 329.959 | 26.46 | 967.182 | 69.2953 | 66.4814
2019-03-04 11:30:00 | 4.6907 | 151.794 | 11.865 | 193.627 | 10.5867 | 186.89 | 3.428 | 337.295 | 26.46 | 967.182 | 67.247 | 59.1487
2019-03-04 11:45:00 | 2.9033 | 147.772 | 11.865 | 199.574 | 11.6093 | 186.5 | 5.729 | 332.006 | 26.46 | 967.277 | 65.5402 | 58.2086
2019-03-04 12:00:00 | 5.712 | 150.477 | 12.632 | 206.496 | 11.865 | 183.673 | 3.9393 | 335.126 | 26.46 | 967.129 | 62.0584 | 57.319
2019-03-04 12:15:00 | 0.99933 | 141.533 | 11.098 | 192.555 | 10.8423 | 183.039 | 5.729 | 326.108 | 26.46 | 967.574 | 61.7853 | 53.59
2019-03-04 12:30:00 | 0 | 143.307 | 10.0753 | 201.613 | 9.564 | 179.523 | 0 | 331.043 | 26.46 | 967.426 | 61.783 | 55.865
2019-03-04 12:45:00 | 2.648 | 141.189 | 9.0527 | 193.66 | 8.03 | 179.423 | 3.428 | 323.805 | 26.46 | 967.723 | 60.0673 | 53.5962
2019-03-04 13:00:00 | 3.6693 | 137.585 | 9.8197 | 193.103 | 10.5867 | 194.826 | 3.6837 | 314.987 | 26.46 | 967.426 | 58.7029 | 56.2999
2019-03-04 13:15:00 | 5.2013 | 138.608 | 11.6093 | 185.158 | 11.098 | 191.999 | 3.1723 | 322.126 | 26.46 | 967.723 | 59.1123 | 53.192
2019-03-04 13:30:00 | 3.1587 | 152.255 | 10.5867 | 201.218 | 8.797 | 204.063 | 4.7063 | 338.334 | 26.46 | 967.723 | 57.2696 | 54.7813
2019-03-04 13:45:00 | 4.18 | 160.613 | 9.564 | 212.988 | 8.2857 | 203.868 | 5.9847 | 332.973 | 26.46 | 967.723 | 56.314 | 61.9478
2019-03-04 14:00:00 | 2.3927 | 149.28 | 10.5867 | 180.233 | 11.098 | 202.768 | 4.4507 | 332.918 | 26.46 | 967.723 | 54.7431 | 62.1658
2019-03-04 14:15:00 | 0 | 189.042 | 9.0527 | 218.044 | 9.8197 | 198.179 | 1.2627 | 345.845 | 26.46 | 967.723 | 54.5364 | 50.2663
2019-03-04 14:30:00 | 3.1587 | 196.214 | 11.865 | 217.172 | 13.6547 | 204.23 | 5.2177 | 0.19492 | 26.46 | 966.98 | 52.9963 | 52.4198
2019-03-04 14:45:00 | 4.6907 | 185.517 | 9.564 | 208.448 | 9.564 | 213.439 | 3.1723 | 328.418 | 26.46 | 967.691 | 52.6206 | 52.6948
2019-03-04 15:00:00 | 5.9673 | 199.983 | 8.797 | 205.98 | 8.03 | 194.501 | 5.729 | 353.626 | 26.46 | 967.624 | 52.8579 | 50.4369
2019-03-04 15:15:00 | 0 | 194.604 | 8.03 | 242.606 | 8.5413 | 205.885 | 5.729 | 356.753 | 26.46 | 967.641 | 52.552 | 53.6223
2019-03-04 15:30:00 | 5.712 | 179.019 | 9.0527 | 204.121 | 8.03 | 204.896 | 4.962 | 3.0214 | 26.46 | 967.668 | 54.534 | 51.4581
2019-03-04 15:45:00 | 3.5527 | 193.065 | 8.5413 | 236.737 | 11.3537 | 205.468 | 1.6383 | 342.535 | 26.46 | 967.276 | 54.4005 | 55.211
2019-03-04 16:00:00 | 0 | 160.783 | 7.7743 | 239.817 | 7.7743 | 206.498 | 3.1723 | 356.584 | 26.46 | 967.722 | 55.9724 | 48.0404
2019-03-04 16:15:00 | 0.744 | 141.801 | 8.5413 | 181.382 | 7.263 | 201.138 | 4.7063 | 332.315 | 26.46 | 967.722 | 56.3822 | 43.7137
2019-03-04 16:30:00 | 0.372 | 183.077 | 6.2403 | 217.905 | 5.729 | 204.374 | 4.195 | 4.0938 | 26.46 | 967.722 | 55.8348 | 44.4268
2019-03-04 16:45:00 | 0 | 181.908 | 6.7517 | 235.451 | 7.263 | 200.55 | 1.2627 | 339.205 | 26.46 | 967.425 | 55.8351 | 39.339
2019-03-04 17:00:00 | 1.2547 | 165.715 | 7.7743 | 196.161 | 6.7517 | 165.959 | 5.729 | 8.9437 | 26.46 | 967.128 | 56.4535 | 34.6466
2019-03-04 17:15:00 | 2.1373 | 144.603 | 8.5413 | 190.141 | 3.1723 | 173.143 | 5.729 | 330.712 | 26.46 | 966.98 | 56.8012 | 37.9498
2019-03-04 17:30:00 | 6.2227 | 162.786 | 9.0527 | 215.855 | 9.564 | 150.234 | 5.9847 | 347.629 | 26.46 | 966.831 | 57.4159 | 42.5831
2019-03-04 17:45:00 | 3.6693 | 150.161 | 6.7517 | 200.403 | 8.2857 | 115.21 | 8.797 | 331.518 | 26.46 | 966.534 | 57.928 | 47.3273
2019-03-04 18:00:00 | 3.414 | 138.072 | 9.564 | 202.986 | 6.7517 | 124.447 | 4.7063 | 327.546 | 26.46 | 966.534 | 58.3035 | 51.3341
2019-03-04 18:15:00 | 4.946 | 153.5 | 9.0527 | 204.424 | 9.3083 | 113.626 | 2.1497 | 333.614 | 26.46 | 966.534 | 58.5083 | 55.0374
2019-03-04 18:30:00 | 5.712 | 141.679 | 10.8423 | 194.212 | 9.0527 | 114.211 | 3.6837 | 318.625 | 26.46 | 966.534 | 59.7372 | 51.2401
2019-03-04 18:45:00 | 8.2653 | 143.361 | 7.5187 | 206.301 | 9.0527 | 117.062 | 3.9393 | 325.084 | 26.46 | 966.683 | 59.942 | 50.6379
2019-03-04 19:00:00 | 4.946 | 142.166 | 10.8423 | 186.413 | 10.8423 | 119.646 | 2.4053 | 320.77 | 26.46 | 966.567 | 60.1468 | 54.6193
2019-03-04 19:15:00 | 12.8613 | 174.192 | 5.9847 | 198.843 | 5.4733 | 91.8609 | 3.428 | 316.042 | 26.46 | 966.703 | 60.4199 | 54.4694
2019-03-04 19:30:00 | 3.1587 | 132.929 | 9.3083 | 182.343 | 8.5413 | 94.4201 | 5.4733 | 324.426 | 26.46 | 966.63 | 61.717 | 51.2771
2019-03-04 19:45:00 | 1.51 | 138.486 | 9.564 | 183.781 | 7.7743 | 95.5412 | 2.661 | 320.356 | 26.46 | 966.564 | 62.2973 | 57.0817
2019-03-04 20:00:00 | 1.51 | 151.454 | 10.331 | 187.999 | 9.8197 | 96.2733 | 1.127 | 328.987 | 26.46 | 966.554 | 62.1955 | 59.6681
2019-03-04 20:15:00 | 3.6693 | 135.786 | 8.03 | 174.137 | 11.098 | 96.7637 | 4.7063 | 322.391 | 26.46 | 966.538 | 63.2215 | 63.2225
2019-03-04 20:30:00 | 3.414 | 140.026 | 9.0527 | 196.121 | 8.2857 | 96.9583 | 5.9847 | 329.068 | 26.46 | 966.56 | 62.8116 | 62.2175
2019-03-04 20:45:00 | 2.9033 | 137.433 | 10.0753 | 195.242 | 11.6093 | 97.9436 | 4.962 | 333.418 | 26.46 | 966.551 | 63.0914 | 66.0084
2019-03-04 21:00:00 | 5.712 | 144.938 | 10.5867 | 206.279 | 9.8197 | 98.0146 | 5.4733 | 325.903 | 26.46 | 966.603 | 64.6263 | 64.6109
2019-03-04 21:15:00 | 3.9247 | 151.826 | 12.1207 | 205.667 | 11.098 | 98.9746 | 5.9847 | 329.59 | 26.46 | 966.48 | 65.3835 | 63.4938
2019-03-04 21:30:00 | 4.4353 | 151.65 | 13.6547 | 199.468 | 12.1207 | 99.6783 | 3.9393 | 325.191 | 26.46 | 966.658 | 65.2106 | 67.4309
2019-03-04 21:45:00 | 4.6907 | 148.968 | 12.8877 | 196.345 | 10.5867 | 99.5799 | 3.9393 | 332.502 | 26.46 | 966.73 | 65.6198 | 69.0612
2019-03-04 22:00:00 | 5.2013 | 130.124 | 10.8423 | 182.28 | 7.5187 | 98.9707 | 5.729 | 326.676 | 26.46 | 967.228 | 65.7223 | 68.1366
2019-03-04 22:15:00 | 4.4353 | 149.211 | 12.8877 | 205.023 | 12.3763 | 100.14 | 4.195 | 331.477 | 26.46 | 967.072 | 66.0635 | 69.4224
2019-03-04 22:30:00 | 4.18 | 156.695 | 12.1207 | 209.558 | 13.399 | 101.116 | 2.0297 | 343.52 | 26.46 | 967.382 | 66.5757 | 68.2343
2019-03-04 22:45:00 | 0.99933 | 151.432 | 13.6547 | 195.618 | 8.03 | 100.727 | 5.729 | 331.605 | 26.46 | 967.389 | 67.8059 | 72.0827
2019-03-04 23:00:00 | 7.4993 | 138.325 | 14.166 | 195.386 | 13.399 | 116.433 | 5.2177 | 327.188 | 26.46 | 966.83 | 68.4927 | 76.439
2019-03-04 23:15:00 | 5.2013 | 149.783 | 14.4217 | 186.439 | 10.5867 | 115.336 | 5.2177 | 329.21 | 26.46 | 966.978 | 68.0828 | 72.8927
2019-03-04 23:30:00 | 4.4353 | 149.495 | 12.1207 | 201.219 | 11.098 | 116.266 | 3.6837 | 329.415 | 26.46 | 966.83 | 68.3581 | 68.7204
2019-03-04 23:45:00 | 6.2227 | 152.11 | 9.0527 | 200.911 | 10.5867 | 116.027 | 4.7063 | 322.846 | 26.46 | 966.83 | 68.6341 | 63.1043