## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-05 00:00:00 | 2.9033 | 146.357 | 8.03 | 215.615 | 5.729 | 115.467 | 3.6837 | 300.541 | 26.46 | 966.83 | 69.4543 | 57.3255
2019-03-05 00:15:00 | 8.2653 | 156.356 | 10.0753 | 205.329 | 9.0527 | 116.151 | 4.195 | 348.234 | 26.46 | 966.83 | 68.9089 | 61.2421
2019-03-05 00:30:00 | 3.6693 | 174.739 | 7.5187 | 204.988 | 5.4733 | 115.42 | 1.894 | 315.027 | 26.46 | 966.83 | 69.9332 | 61.8665
2019-03-05 00:45:00 | 5.4567 | 163.134 | 12.3763 | 222.933 | 12.8877 | 118.833 | 5.729 | 334.533 | 26.46 | 966.533 | 71.0944 | 62.4281
2019-03-05 01:00:00 | 5.2013 | 155.381 | 13.6547 | 198.357 | 12.8877 | 119.321 | 1.3827 | 331.729 | 26.46 | 966.681 | 71.5042 | 60.3184
2019-03-05 01:15:00 | 1.7653 | 150.041 | 8.03 | 206.403 | 7.7743 | 119.15 | 3.9393 | 1.2922 | 26.46 | 966.83 | 72.1871 | 61.5081
2019-03-05 01:30:00 | 9.2867 | 160.647 | 9.3083 | 214.96 | 8.5413 | 118.98 | 5.4733 | 353.989 | 26.46 | 966.83 | 72.0847 | 62.9306
2019-03-05 01:45:00 | 8.01 | 167.839 | 8.5413 | 220.007 | 11.3537 | 118.907 | 4.4507 | 355.769 | 26.46 | 966.533 | 71.8115 | 54.9302
2019-03-05 02:00:00 | 5.2013 | 148.554 | 10.8423 | 193.968 | 10.331 | 120.686 | 1.5183 | 335.215 | 26.46 | 966.533 | 71.5042 | 45.0549
2019-03-05 02:15:00 | 0 | 141.898 | 4.7063 | 198.796 | 5.729 | 112.762 | 0.37567 | 320.05 | 26.46 | 966.681 | 70.548 | 40.9721
2019-03-05 02:30:00 | 0 | 144.263 | 3.9393 | 181.388 | 5.9847 | 146.384 | 4.4507 | 334.533 | 26.46 | 966.83 | 69.1139 | 43.8837
2019-03-05 02:45:00 | 11.074 | 175.593 | 8.2857 | 217.886 | 5.9847 | 131.828 | 5.9847 | 325.292 | 26.46 | 966.537 | 70.0017 | 43.4144
2019-03-05 03:00:00 | 8.01 | 180.737 | 8.03 | 219.398 | 7.7743 | 157.867 | 3.9393 | 327.95 | 26.46 | 966.259 | 70.1383 | 45.4244
2019-03-05 03:15:00 | 0.744 | 150.212 | 8.797 | 207.256 | 8.797 | 122.929 | 5.4733 | 328.559 | 26.46 | 965.798 | 69.5919 | 47.1704
2019-03-05 03:30:00 | 0.88267 | 134.925 | 7.5187 | 170.465 | 5.4733 | 118.638 | 3.428 | 315.613 | 26.46 | 966.028 | 69.0456 | 42.5203
2019-03-05 03:45:00 | 0 | 202.022 | 5.4733 | 234.465 | 4.4507 | 101.767 | 3.6837 | 2.3162 | 26.46 | 965.803 | 68.4992 | 34.3731
2019-03-05 04:00:00 | 0 | 142.093 | 5.9847 | 203.038 | 3.1723 | 104.497 | 1.2627 | 319.636 | 26.46 | 965.94 | 68.226 | 19.9263
2019-03-05 04:15:00 | 0 | 143.8 | 4.962 | 186.264 | 5.4733 | 97.9144 | 4.7063 | 332.46 | 26.46 | 966.104 | 67.2699 | 17.9126
2019-03-05 04:30:00 | 7.7547 | 155.576 | 7.7743 | 201.283 | 5.2177 | 98.2557 | 5.4733 | 333.021 | 26.46 | 966.185 | 66.8943 | 18.6701
2019-03-05 04:45:00 | 0 | 150.675 | 5.9847 | 203.404 | 6.496 | 98.4752 | 2.1497 | 329.218 | 26.46 | 966.25 | 67.2699 | 21.201
2019-03-05 05:00:00 | 7.7547 | 152.114 | 6.7517 | 188.214 | 5.2177 | 98.3776 | 4.195 | 328.608 | 26.46 | 966.236 | 67.4748 | 21.9437
2019-03-05 05:15:00 | 4.946 | 150.407 | 7.7743 | 201.161 | 6.496 | 98.8165 | 5.9847 | 330.559 | 26.46 | 966.236 | 67.5431 | 16.0541
2019-03-05 05:30:00 | 0.372 | 149.188 | 5.9847 | 189.653 | 5.4733 | 99.0359 | 0 | 328.169 | 26.46 | 966.255 | 67.4407 | 14.8681
2019-03-05 05:45:00 | 3.414 | 148.773 | 6.2403 | 195.163 | 5.4733 | 98.8896 | 2.661 | 330.29 | 26.46 | 965.939 | 67.1333 | 11.9713
2019-03-05 06:00:00 | 0.372 | 136.778 | 4.4507 | 198.308 | 3.6837 | 98.1095 | 5.4733 | 330.461 | 26.46 | 966.265 | 67.5431 | 16.5086
2019-03-05 06:15:00 | 1.2547 | 143.678 | 7.0073 | 191.823 | 6.2403 | 99.8893 | 1.007 | 325.292 | 26.46 | 966.246 | 66.8602 | 14.4025
2019-03-05 06:30:00 | 6.2227 | 142.605 | 5.9847 | 186.142 | 5.9847 | 99.7674 | 4.4507 | 328.998 | 26.46 | 966.697 | 67.6797 | 17.4581
2019-03-05 06:45:00 | 7.244 | 149.627 | 8.03 | 195.992 | 6.496 | 100.45 | 3.1723 | 330.851 | 26.46 | 966.574 | 71.1286 | 22.9856
2019-03-05 07:00:00 | 1.3933 | 156.478 | 5.729 | 208.841 | 6.7517 | 100.669 | 5.729 | 321.903 | 26.46 | 966.963 | 71.1627 | 26.5585
2019-03-05 07:15:00 | 0 | 130.097 | 8.03 | 185.752 | 7.0073 | 101.206 | 2.661 | 318.514 | 26.46 | 966.784 | 67.9529 | 23.0928
2019-03-05 07:30:00 | 4.6907 | 122.978 | 4.195 | 213.912 | 6.7517 | 100.913 | 3.9393 | 319.441 | 26.46 | 967.41 | 62.9674 | 27.2717
2019-03-05 07:45:00 | 3.1587 | 160.915 | 8.5413 | 190.043 | 7.5187 | 102.474 | 2.1497 | 319.368 | 26.46 | 967.141 | 63.6503 | 28.7385
2019-03-05 08:00:00 | 6.7333 | 147.14 | 7.7743 | 199.113 | 8.2857 | 102.791 | 5.9847 | 320.489 | 26.46 | 967.424 | 64.6064 | 22.5238
2019-03-05 08:15:00 | 11.3293 | 154.405 | 8.03 | 199.698 | 7.7743 | 102.913 | 9.8197 | 339.092 | 26.46 | 967.721 | 64.8796 | 19.8007
2019-03-05 08:30:00 | 9.542 | 145.896 | 9.0527 | 199.161 | 8.03 | 103.571 | 5.9847 | 327.072 | 26.46 | 968.018 | 63.3089 | 16.5455
2019-03-05 08:45:00 | 0.744 | 140.153 | 8.2857 | 204.991 | 5.729 | 102.732 | 2.541 | 322.042 | 26.46 | 968.315 | 62.4148 | 23.6433
2019-03-05 09:00:00 | 5.9673 | 152.99 | 8.5413 | 197.857 | 8.03 | 104.138 | 1.6383 | 343.544 | 26.46 | 968.183 | 63.2298 | 25.2801
2019-03-05 09:15:00 | 0 | 155.118 | 7.0073 | 206.789 | 8.5413 | 105.07 | 2.4053 | 328.982 | 26.46 | 968.378 | 62.8914 | 18.3486
2019-03-05 09:30:00 | 0 | 174.479 | 7.7743 | 247.885 | 7.263 | 105.009 | 0 | 343.741 | 26.46 | 968.63 | 57.5245 | 10.5303
2019-03-05 09:45:00 | 0.62733 | 158.886 | 5.729 | 222.412 | 6.496 | 105.217 | 5.2177 | 344.777 | 26.46 | 968.646 | 58.3718 | 10.7261
2019-03-05 10:00:00 | 0 | 150.624 | 7.263 | 205.204 | 7.0073 | 106.022 | 0.37567 | 354.234 | 26.46 | 968.614 | 57.0063 | 9.5623
2019-03-05 10:15:00 | 0 | 162.518 | 4.7063 | 218.804 | 5.2177 | 105.656 | 4.962 | 351.577 | 26.46 | 968.911 | 57.5184 | 4.0643
2019-03-05 10:30:00 | 0 | 193.618 | 6.2403 | 239.002 | 5.9847 | 106.252 | 0.37567 | 0.19496 | 26.46 | 969.356 | 53.3814 | 1.8881
2019-03-05 10:45:00 | 0 | 176.209 | 4.195 | 229.193 | 4.4507 | 105.614 | 0.37567 | 356.829 | 26.46 | 969.504 | 53.1741 | 0.15149
2019-03-05 11:00:00 | 0 | 190.774 | 3.9393 | 239.677 | 4.4507 | 105.718 | 1.894 | 13.4248 | 26.46 | 969.681 | 52.8239 | -0.11084
2019-03-05 11:15:00 | 0.99933 | 209.242 | 4.962 | 261.166 | 3.6837 | 106.083 | 5.729 | 21.2458 | 26.46 | 969.802 | 51.3223 | -0.051728
2019-03-05 11:30:00 | 0 | 204.222 | 4.962 | 242.088 | 4.7063 | 106.472 | 1.2627 | 20.3443 | 26.46 | 969.95 | 52.2777 | 0.18474
2019-03-05 11:45:00 | 0 | 207.334 | 4.4507 | 259.304 | 3.1723 | 98.0877 | 0.37567 | 56.8645 | 26.46 | 969.802 | 50.7403 | 0.45816
2019-03-05 12:00:00 | 0 | 183.83 | 4.962 | 235.588 | 4.962 | 99.2344 | 0.37567 | 0.19486 | 26.46 | 969.802 | 50.1488 | 0.82026
2019-03-05 12:15:00 | 0.372 | 139.002 | 4.7063 | 191 | 3.428 | 98.3999 | 2.1497 | 330.541 | 26.46 | 969.654 | 47.4848 | 0.68724
2019-03-05 12:30:00 | 0 | 217.65 | 5.729 | 231.7 | 5.4733 | 99.9104 | 5.9847 | 8.9876 | 26.46 | 969.505 | 47.485 | 0.55053
2019-03-05 12:45:00 | 0 | 183.986 | 5.2177 | 233.182 | 5.9847 | 100.64 | 1.007 | 5.7968 | 26.46 | 969.654 | 46.8703 | -0.0073897
2019-03-05 13:00:00 | 0 | 207.381 | 3.428 | 238.897 | 4.4507 | 99.2086 | 1.2627 | 16.6119 | 26.46 | 969.505 | 46.7366 | -0.17735
2019-03-05 13:15:00 | 0 | 164.557 | 2.1497 | 237.456 | 1.3827 | 98.5981 | 0 | 338.517 | 26.46 | 969.654 | 45.9854 | -0.26972
2019-03-05 13:30:00 | 0 | 194.801 | 2.4053 | 242.098 | 3.1723 | 99.3248 | 2.661 | 55.2643 | 26.46 | 969.802 | 45.9153 | -0.26972
2019-03-05 13:45:00 | 0 | 236.693 | 2.9167 | 4.4536 | 3.6837 | 5.3096 | 0 | 72.1673 | 26.46 | 969.802 | 44.0048 | -0.24016
2019-03-05 14:00:00 | 0 | 236.181 | 1.3827 | 242.876 | 2.1497 | 51.0505 | 0 | 30.3965 | 26.46 | 969.505 | 42.2992 | -0.24016
2019-03-05 14:15:00 | 0 | 222.006 | 2.661 | 243.923 | 3.6837 | 348.707 | 0 | 49.2481 | 26.46 | 969.113 | 42.9132 | -0.24016
2019-03-05 14:30:00 | 0 | 254.035 | 0 | 318.696 | 1.3827 | 166.011 | 0 | 81.6905 | 26.46 | 969.117 | 44.6188 | -0.24016
2019-03-05 14:45:00 | 0 | 170.396 | 2.4053 | 195.868 | 2.4053 | 176.728 | 0 | 353.018 | 26.46 | 969.323 | 43.5954 | -0.26972
2019-03-05 15:00:00 | 0 | 283.116 | 3.9393 | 289.567 | 3.1723 | 257.176 | 0 | 91.9444 | 26.46 | 969.103 | 44.0048 | -0.22908
2019-03-05 15:15:00 | 0 | 287.402 | 2.4053 | 333.968 | 0.75133 | 228.144 | 0 | 118.566 | 26.46 | 968.748 | 44.1071 | -0.2882
2019-03-05 15:30:00 | 0 | 318.213 | 3.9393 | 15.5672 | 3.6837 | 298.825 | 0 | 145.236 | 26.46 | 969.098 | 43.8683 | -0.25864
2019-03-05 15:45:00 | 0 | 300.871 | 2.9167 | 333.724 | 1.894 | 262.803 | 0 | 116.836 | 26.46 | 969.204 | 44.3459 | -0.25864
2019-03-05 16:00:00 | 0 | 290.447 | 4.195 | 19.8539 | 4.7063 | 264.849 | 0.37567 | 113.865 | 26.46 | 968.911 | 43.1179 | -0.25864
2019-03-05 16:15:00 | 0 | 310.569 | 4.195 | 0.65429 | 3.428 | 266.167 | 0 | 130.185 | 26.46 | 968.763 | 42.5044 | -0.22169
2019-03-05 16:30:00 | 0 | 311.335 | 4.195 | 3.9242 | 3.9393 | 266.908 | 0 | 129.118 | 26.46 | 968.614 | 41.8236 | -0.24755
2019-03-05 16:45:00 | 0 | 345.841 | 2.1497 | 9.3317 | 1.3827 | 265.861 | 0 | 151.312 | 26.46 | 968.614 | 41.7973 | -0.1404
2019-03-05 17:00:00 | 0 | 296.441 | 4.195 | 14.8835 | 2.9167 | 266.498 | 0 | 121.676 | 26.46 | 968.466 | 41.7675 | 0.4286
2019-03-05 17:15:00 | 0 | 309.185 | 3.428 | 17.0032 | 1.3827 | 266.133 | 0 | 126.695 | 26.46 | 968.466 | 42.5183 | 0.85351
2019-03-05 17:30:00 | 0 | 332.448 | 1.6383 | 5.7703 | 1.127 | 266.32 | 0 | 134.695 | 26.46 | 968.23 | 47.2302 | 0.75005
2019-03-05 17:45:00 | 0 | 316.4 | 4.195 | 7.049 | 2.9167 | 266.64 | 0 | 133.369 | 26.46 | 968.316 | 49.3513 | 1.1454
2019-03-05 18:00:00 | 0 | 321.058 | 3.9393 | 3.5889 | 2.9167 | 266.789 | 1.5183 | 139.34 | 26.46 | 968.316 | 49.693 | 0.24016
2019-03-05 18:15:00 | 0 | 354.378 | 2.1497 | 46.9028 | 1.3827 | 266.49 | 0 | 154.205 | 26.46 | 968.168 | 50.6567 | 0.25125
2019-03-05 18:30:00 | 0.62733 | 15.2086 | 2.4053 | 66.2308 | 1.894 | 266.687 | 0 | 187.28 | 26.46 | 967.722 | 51.6812 | -0.25125
2019-03-05 18:45:00 | 0 | 342.535 | 3.9393 | 31.6702 | 3.428 | 266.979 | 0 | 158.399 | 26.46 | 968.316 | 52.5004 | -0.070202
2019-03-05 19:00:00 | 0 | 342.876 | 3.9393 | 34.595 | 3.1723 | 267.881 | 1.007 | 160.129 | 26.46 | 968.613 | 53.1831 | 1.3671
2019-03-05 19:15:00 | 4.4353 | 334.272 | 4.195 | 36.1061 | 2.9167 | 268.052 | 1.2627 | 152.744 | 26.46 | 968.762 | 54.6851 | 5.461
2019-03-05 19:30:00 | 0 | 341.389 | 3.9393 | 39.0308 | 2.9167 | 268.052 | 5.729 | 157.034 | 26.46 | 968.762 | 57.2794 | 7.1163
2019-03-05 19:45:00 | 0 | 0.097491 | 4.195 | 51.2903 | 3.428 | 268.734 | 0.887 | 181.333 | 26.46 | 968.641 | 59.6689 | 5.6014
2019-03-05 20:00:00 | 0 | 3.4366 | 4.4507 | 52.6308 | 2.9167 | 268.637 | 0 | 186.062 | 26.46 | 968.7 | 58.6448 | 8.8565
2019-03-05 20:15:00 | 0 | 8.043 | 4.7063 | 59.4552 | 3.9393 | 269.416 | 0 | 196.006 | 26.46 | 968.832 | 62.6728 | 9.5475
2019-03-05 20:30:00 | 0 | 9.7492 | 4.962 | 56.0439 | 3.1723 | 268.641 | 3.428 | 194.839 | 26.46 | 968.946 | 66.2237 | 9.1263
2019-03-05 20:45:00 | 0 | 26.3727 | 3.9393 | 73.0115 | 3.6837 | 269.431 | 0 | 202.207 | 26.46 | 968.932 | 67.0799 | 7.7185
2019-03-05 21:00:00 | 0 | 7.4107 | 4.195 | 67.8064 | 3.6837 | 269.806 | 1.2627 | 192.652 | 26.46 | 969.125 | 67.9418 | 6.2775
2019-03-05 21:15:00 | 0 | 17.7466 | 3.9393 | 63.7602 | 2.9167 | 268.978 | 0 | 201.868 | 26.46 | 969.455 | 68.3518 | 4.4745
2019-03-05 21:30:00 | 0 | 22.1346 | 3.428 | 69.611 | 2.4053 | 269.077 | 0 | 201.089 | 26.46 | 969.648 | 68.079 | 2.579
2019-03-05 21:45:00 | 0 | 10.2383 | 3.1723 | 64.1979 | 2.4053 | 268.878 | 0 | 190.554 | 26.46 | 969.692 | 67.5999 | 0.69833
2019-03-05 22:00:00 | 0 | 13.9924 | 3.428 | 68.6105 | 2.4053 | 268.879 | 0 | 192.652 | 26.46 | 969.714 | 66.9174 | 0.94957
2019-03-05 22:15:00 | 0 | 1.9989 | 4.195 | 57.2261 | 3.1723 | 269.17 | 0 | 182.12 | 26.46 | 970.007 | 66.0977 | 1.0235
2019-03-05 22:30:00 | 0 | 17.0151 | 3.428 | 63.9298 | 2.661 | 268.975 | 0 | 207.911 | 26.46 | 970.064 | 65.6197 | 0.35101
2019-03-05 22:45:00 | 0 | 38.6131 | 2.9167 | 85.7959 | 2.4053 | 268.975 | 0 | 221.976 | 26.46 | 970.041 | 57.972 | 0.65768
2019-03-05 23:00:00 | 0 | 23.3531 | 3.428 | 90.4762 | 2.661 | 268.975 | 0 | 215.687 | 26.46 | 970.244 | 46.1591 | 0.68355
2019-03-05 23:15:00 | 0 | 26.2296 | 2.661 | 77.3615 | 1.894 | 268.683 | 0 | 214.029 | 26.46 | 970.333 | 38.3066 | 0.59118
2019-03-05 23:30:00 | 0 | 20.6716 | 3.1723 | 63.9541 | 2.661 | 268.682 | 0 | 203.157 | 26.46 | 970.334 | 35.7119 | 0.14779
2019-03-05 23:45:00 | 0 | 14.5286 | 2.9167 | 56.5435 | 2.1497 | 268.682 | 0 | 207.301 | 26.46 | 970.487 | 41.1403 | -0.11084