## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-06 00:00:00 | 0 | 330.112 | 3.428 | 6.0346 | 3.428 | 268.683 | 0 | 169.956 | 26.46 | 970.626 | 60.2254 | -0.29559
2019-03-06 00:15:00 | 0 | 340.984 | 3.1723 | 13.0064 | 3.6837 | 268.78 | 0 | 168.006 | 26.46 | 970.374 | 73.3356 | 2.1356
2019-03-06 00:30:00 | 0.62733 | 327.879 | 3.9393 | 8.0852 | 3.6837 | 268.808 | 1.894 | 160.393 | 26.46 | 970.394 | 73.6847 | 2.9448
2019-03-06 00:45:00 | 0 | 339.921 | 5.2177 | 27.0067 | 4.4507 | 269.606 | 5.4733 | 154.576 | 26.46 | 970.394 | 82.363 | 17.1947
2019-03-06 01:00:00 | 0.62733 | 350.015 | 5.2177 | 32.078 | 3.9393 | 270.532 | 0.37567 | 164.743 | 26.46 | 970.265 | 86.5289 | 21.3266
2019-03-06 01:15:00 | 10.5633 | 356.89 | 6.496 | 35.7839 | 4.195 | 270.874 | 1.6383 | 165.572 | 26.46 | 970.674 | 83.3874 | 21.4892
2019-03-06 01:30:00 | 14.138 | 351.333 | 5.9847 | 39.1487 | 4.962 | 271.387 | 4.7063 | 167.937 | 26.46 | 970.691 | 80.2461 | 23.7098
2019-03-06 01:45:00 | 8.2653 | 352.75 | 6.7517 | 35.9348 | 5.9847 | 272.798 | 4.195 | 165.512 | 26.46 | 970.691 | 79.5011 | 26.3701
2019-03-06 02:00:00 | 8.01 | 24.9926 | 5.4733 | 79.1169 | 5.9847 | 274.967 | 5.4733 | 152.711 | 26.46 | 970.84 | 75.198 | 38.5668
2019-03-06 02:15:00 | 10.308 | 3.6577 | 5.729 | 62.5179 | 5.2177 | 276.084 | 0.37567 | 191.566 | 26.46 | 970.988 | 62.2938 | 42.4464
2019-03-06 02:30:00 | 3.6693 | 0.097544 | 6.496 | 55.5968 | 6.7517 | 277.001 | 0.37567 | 169.507 | 26.46 | 970.84 | 63.3901 | 32.6018
2019-03-06 02:45:00 | 2.648 | 2.9267 | 5.729 | 75.8985 | 6.496 | 277.501 | 2.4053 | 186.163 | 26.46 | 970.691 | 64.4231 | 28.8826
2019-03-06 03:00:00 | 8.2653 | 9.7558 | 8.03 | 63.6313 | 5.2177 | 277.21 | 2.2853 | 191.701 | 26.46 | 970.691 | 63.7404 | 24.8515
2019-03-06 03:15:00 | 11.84 | 11.2435 | 7.5187 | 67.9482 | 4.7063 | 276.381 | 5.2177 | 194.115 | 26.46 | 970.691 | 60.3245 | 23.9278
2019-03-06 03:30:00 | 11.84 | 0.17073 | 5.9847 | 55.4121 | 5.2177 | 276.82 | 9.3083 | 186.994 | 26.46 | 970.691 | 55.1324 | 25.7937
2019-03-06 03:45:00 | 11.3293 | 13.0727 | 7.263 | 76.2894 | 5.729 | 277.625 | 6.496 | 193.676 | 26.46 | 970.543 | 52.7412 | 22.1949
2019-03-06 04:00:00 | 0.372 | 11.0728 | 6.7517 | 63.8996 | 5.9847 | 277.478 | 0.37567 | 197.286 | 26.46 | 970.691 | 54.8249 | 21.637
2019-03-06 04:15:00 | 6.9887 | 1.7804 | 8.5413 | 59.8022 | 6.7517 | 277.942 | 6.2403 | 186.286 | 26.46 | 970.691 | 51.1699 | 25.4944
2019-03-06 04:30:00 | 10.8187 | 4.5364 | 7.7743 | 58.0217 | 5.729 | 278.015 | 14.166 | 193.603 | 26.46 | 970.691 | 49.462 | 23.3514
2019-03-06 04:45:00 | 6.478 | 355.939 | 6.7517 | 57.0949 | 6.2403 | 278.82 | 4.962 | 183.896 | 26.46 | 970.691 | 45.0897 | 29.108
2019-03-06 05:00:00 | 4.18 | 8.0241 | 7.7743 | 70.7286 | 9.3083 | 281.283 | 1.894 | 190.92 | 26.46 | 970.691 | 39.5559 | 29.2484
2019-03-06 05:15:00 | 3.1587 | 0.73168 | 8.797 | 57.7047 | 8.03 | 280.527 | 1.3827 | 186.262 | 26.46 | 970.691 | 38.0529 | 32.256
2019-03-06 05:30:00 | 8.776 | 5.2681 | 6.7517 | 57.2169 | 6.496 | 280.527 | 2.2853 | 189.164 | 26.46 | 970.691 | 36.6866 | 35.9139
2019-03-06 05:45:00 | 1.882 | 7.9509 | 7.263 | 53.1682 | 5.9847 | 280.527 | 2.1497 | 191.14 | 26.46 | 970.691 | 35.7301 | 37.584
2019-03-06 06:00:00 | 2.9033 | 3.8047 | 9.564 | 62.6069 | 7.0073 | 280.893 | 3.9393 | 178.579 | 26.46 | 970.691 | 35.3886 | 36.483
2019-03-06 06:15:00 | 9.0313 | 7.1217 | 8.03 | 63.4362 | 4.195 | 280.234 | 9.3083 | 184.701 | 26.46 | 970.988 | 34.9103 | 35.9176
2019-03-06 06:30:00 | 10.0527 | 9.3655 | 7.7743 | 65.0459 | 6.2403 | 280.551 | 3.6837 | 180.384 | 26.46 | 970.988 | 34.9786 | 32.9542
2019-03-06 06:45:00 | 4.6907 | 5.4145 | 8.5413 | 49.0952 | 6.7517 | 281.405 | 3.9393 | 186.652 | 26.46 | 970.996 | 33.8856 | 31.1475
2019-03-06 07:00:00 | 6.7333 | 2.2682 | 5.9847 | 50.9 | 8.2857 | 281.844 | 2.4053 | 187.506 | 26.46 | 971.287 | 33.4757 | 30.2608
2019-03-06 07:15:00 | 0 | 8.5363 | 9.8197 | 64.6313 | 7.5187 | 281.844 | 4.7063 | 190.091 | 26.46 | 971.583 | 32.3826 | 28.2656
2019-03-06 07:30:00 | 4.18 | 9.707 | 8.2857 | 50.1683 | 6.2403 | 282.6 | 5.729 | 187.969 | 26.46 | 971.88 | 31.7677 | 31.3692
2019-03-06 07:45:00 | 8.776 | 354.549 | 8.797 | 52.0707 | 9.8197 | 284.649 | 4.4507 | 180.774 | 26.46 | 971.88 | 31.836 | 30.0808
2019-03-06 08:00:00 | 6.9887 | 22.3163 | 9.564 | 66.4361 | 7.263 | 284.478 | 5.2177 | 175.335 | 26.46 | 971.88 | 31.9044 | 31.2068
2019-03-06 08:15:00 | 3.6693 | 0.097541 | 6.496 | 59.3255 | 9.3083 | 286.625 | 5.2177 | 172.112 | 26.46 | 972.177 | 30.9427 | 33.3312
2019-03-06 08:30:00 | 2.9033 | 3.1208 | 9.3083 | 60.7018 | 8.03 | 286.601 | 5.9847 | 179.665 | 26.46 | 972.474 | 30.5278 | 36.304
2019-03-06 08:45:00 | 8.5207 | 1.1459 | 11.3537 | 69.8443 | 5.2177 | 287.721 | 4.195 | 183.273 | 26.46 | 972.171 | 31.8252 | 36.0532
2019-03-06 09:00:00 | 3.9247 | 347.382 | 8.03 | 67.2355 | 6.496 | 288.258 | 4.195 | 184.54 | 26.46 | 972.714 | 32.0984 | 37.0122
2019-03-06 09:15:00 | 2.648 | 0.097524 | 8.797 | 50.9977 | 8.03 | 288.965 | 1.6383 | 185.004 | 26.46 | 972.657 | 32.5764 | 39.5581
2019-03-06 09:30:00 | 1.3713 | 6.4366 | 10.0753 | 75.2569 | 7.7743 | 288.94 | 1.894 | 187.442 | 26.46 | 972.771 | 33.1911 | 36.6639
2019-03-06 09:45:00 | 5.2013 | 83.8121 | 10.5867 | 64.8604 | 8.5413 | 262.504 | 4.7063 | 180.91 | 26.46 | 973.365 | 29.9093 | 46.3629
2019-03-06 10:00:00 | 5.712 | 353.681 | 8.03 | 72.1745 | 7.0073 | 20.9166 | 2.4053 | 155.339 | 26.46 | 973.276 | 28.339 | 69.3291
2019-03-06 10:15:00 | 3.414 | 337.077 | 8.5413 | 23.0181 | 4.4507 | 45.6748 | 4.7063 | 159.447 | 26.46 | 973.688 | 23.5878 | 74.913
2019-03-06 10:30:00 | 4.946 | 356.866 | 9.0527 | 52.4115 | 4.7063 | 16.4272 | 2.661 | 179.92 | 26.46 | 973.662 | 24.3045 | 73.0767
2019-03-06 10:45:00 | 3.1587 | 11.2358 | 15.4443 | 66.4015 | 9.0527 | 18.767 | 3.6837 | 195.153 | 26.46 | 973.068 | 23.6218 | 76.6791
2019-03-06 11:00:00 | 5.712 | 5.752 | 11.6093 | 68.79 | 7.7743 | 322.305 | 4.195 | 188.182 | 26.46 | 973.513 | 23.8266 | 72.011
2019-03-06 11:15:00 | 5.712 | 0.34122 | 15.9557 | 68.2294 | 12.1207 | 345.435 | 5.9847 | 187.963 | 26.46 | 973.068 | 22.7343 | 69.0108
2019-03-06 11:30:00 | 3.6693 | 17.329 | 13.6547 | 72.5678 | 6.2403 | 329.105 | 4.195 | 202.27 | 26.46 | 973.513 | 21.7102 | 71.898
2019-03-06 11:45:00 | 3.042 | 349.774 | 8.5413 | 48.4631 | 7.5187 | 314.482 | 3.6837 | 166.661 | 26.46 | 973.662 | 20.8227 | 72.8496
2019-03-06 12:00:00 | 3.9247 | 11.3324 | 8.03 | 78.7992 | 7.263 | 310.411 | 4.7063 | 188.752 | 26.46 | 973.662 | 20.4797 | 69.0509
2019-03-06 12:15:00 | 2.648 | 20.055 | 11.865 | 68.6028 | 5.2177 | 267.636 | 4.4507 | 189.779 | 26.46 | 973.959 | 20.4775 | 73.0101
2019-03-06 12:30:00 | 3.1587 | 85.3144 | 8.03 | 56.2005 | 8.2857 | 299.709 | 1.894 | 185.469 | 26.46 | 973.81 | 21.0239 | 69.1566
2019-03-06 12:45:00 | 5.2013 | 356.9 | 13.9103 | 59.9041 | 10.8423 | 18.6906 | 5.729 | 175.696 | 26.46 | 973.662 | 21.365 | 70.5938
2019-03-06 13:00:00 | 1.51 | 90.31 | 7.0073 | 22.7669 | 7.5187 | 292.472 | 4.195 | 177.915 | 26.46 | 974.256 | 22.2526 | 72.0717
2019-03-06 13:15:00 | 3.1587 | 338.795 | 10.331 | 22.1087 | 8.797 | 268.492 | 4.962 | 156.567 | 26.46 | 974.553 | 21.9794 | 73.1482
2019-03-06 13:30:00 | 4.6907 | 0.43863 | 15.4443 | 62.901 | 12.8877 | 2.4125 | 5.2177 | 187.514 | 26.46 | 973.513 | 21.7404 | 73.0721
2019-03-06 13:45:00 | 3.414 | 356.453 | 10.0753 | 52.5188 | 11.098 | 72.6162 | 4.7063 | 171.867 | 26.46 | 973.959 | 22.2519 | 76.1981
2019-03-06 14:00:00 | 5.4567 | 292.823 | 10.331 | 77.4697 | 7.0073 | 73.7846 | 4.962 | 182.902 | 26.46 | 974.404 | 22.0467 | 75.0919
2019-03-06 14:15:00 | 2.648 | 338.982 | 11.3537 | 42.065 | 10.5867 | 69.6191 | 4.195 | 167.797 | 26.46 | 974.256 | 21.2281 | 76.1434
2019-03-06 14:30:00 | 2.1373 | 178.085 | 12.8877 | 63.072 | 2.661 | 338.136 | 3.428 | 186.955 | 26.46 | 974.553 | 21.5016 | 80.4758
2019-03-06 14:45:00 | 5.9673 | 356.243 | 8.03 | 51.8139 | 11.865 | 2.8268 | 5.2177 | 166.924 | 26.46 | 974.107 | 20.819 | 77.3018
2019-03-06 15:00:00 | 3.9247 | 343.415 | 9.564 | 67.8946 | 13.6547 | 321.167 | 3.9393 | 194.065 | 26.46 | 973.662 | 20.6136 | 78.8696
2019-03-06 15:15:00 | 3.414 | 267.003 | 10.8423 | 99.6105 | 6.7517 | 325.761 | 3.1723 | 146.711 | 26.46 | 974.85 | 19.9674 | 76.9636
2019-03-06 15:30:00 | 4.6907 | 351.014 | 13.1433 | 64.8654 | 9.0527 | 349.869 | 3.9393 | 162.59 | 26.46 | 973.81 | 19.4571 | 73.9163
2019-03-06 15:45:00 | 6.7333 | 83.9398 | 11.3537 | 54.4831 | 11.6093 | 36.2179 | 5.2177 | 180.09 | 26.46 | 974.107 | 19.389 | 74.0148
2019-03-06 16:00:00 | 7.244 | 17.2315 | 7.263 | 64.3297 | 9.8197 | 59.762 | 4.7063 | 161.859 | 26.46 | 974.701 | 19.5938 | 72.212
2019-03-06 16:15:00 | 5.4567 | 0.097491 | 10.331 | 51.071 | 9.3083 | 31.319 | 4.7063 | 182.259 | 26.46 | 974.256 | 20.2765 | 76.1044
2019-03-06 16:30:00 | 6.9887 | 3.7047 | 8.2857 | 64.4272 | 11.3537 | 15.7935 | 5.2177 | 188.328 | 26.46 | 974.256 | 20.6861 | 80.7783
2019-03-06 16:45:00 | 6.478 | 345.484 | 8.2857 | 68.4731 | 8.2857 | 49.7935 | 3.6837 | 163.59 | 26.46 | 974.107 | 20.7544 | 77.7875
2019-03-06 17:00:00 | 6.478 | 352.259 | 11.3537 | 43.3448 | 11.3537 | 69.2186 | 4.962 | 179.457 | 26.46 | 974.013 | 20.6861 | 82.6906
2019-03-06 17:15:00 | 6.478 | 14.6261 | 12.632 | 72.2175 | 10.0753 | 3.4371 | 2.9167 | 182.704 | 26.46 | 973.691 | 19.9385 | 82.1844
2019-03-06 17:30:00 | 4.4353 | 86.1279 | 11.098 | 55.4991 | 11.6093 | 352.752 | 4.4507 | 179.179 | 26.46 | 974.106 | 17.8227 | 77.7928
2019-03-06 17:45:00 | 5.4567 | 0.512 | 9.564 | 50.8514 | 11.6093 | 356.987 | 5.2177 | 183.467 | 26.46 | 974.405 | 17.0736 | 73.9923
2019-03-06 18:00:00 | 5.712 | 0.1219 | 10.331 | 60.7014 | 9.564 | 2.9013 | 5.729 | 181.2 | 26.46 | 974.4 | 17.3468 | 72.0013
2019-03-06 18:15:00 | 5.712 | 354.847 | 9.8197 | 66.0664 | 11.6093 | 337.171 | 4.7063 | 166.598 | 26.46 | 974.405 | 18.6788 | 71.7724
2019-03-06 18:30:00 | 4.18 | 85.1865 | 8.797 | 58.5286 | 9.3083 | 341.795 | 3.9393 | 179.616 | 26.46 | 974.852 | 20.4256 | 61.0565
2019-03-06 18:45:00 | 2.9033 | 24.1211 | 10.331 | 72.07 | 3.9393 | 357.012 | 4.4507 | 200.213 | 26.46 | 975.149 | 32.5875 | 52.6356
2019-03-06 19:00:00 | 3.414 | 18.536 | 11.3537 | 75.0699 | 7.0073 | 336.086 | 1.3827 | 201.627 | 26.46 | 975 | 36.14 | 57.828
2019-03-06 19:15:00 | 4.18 | 37.4377 | 10.0753 | 77.1186 | 4.195 | 21.0481 | 2.1497 | 213.115 | 26.46 | 975.446 | 38.6678 | 57.6987
2019-03-06 19:30:00 | 11.5847 | 26.5357 | 8.5413 | 71.3871 | 3.1723 | 339.476 | 1.3827 | 209.993 | 26.46 | 975.446 | 42.9718 | 63.0958
2019-03-06 19:45:00 | 5.2013 | 33.5598 | 13.399 | 85.5086 | 6.2403 | 15.2678 | 4.7063 | 217.797 | 26.46 | 975.297 | 45.9095 | 59.9141
2019-03-06 20:00:00 | 11.074 | 31.316 | 9.0527 | 76.265 | 4.962 | 109.021 | 4.4507 | 216.066 | 26.46 | 975.446 | 46.8659 | 53.9115
2019-03-06 20:15:00 | 4.6907 | 37.1698 | 10.5867 | 80.534 | 7.7743 | 140.265 | 2.4053 | 207.117 | 26.46 | 975.466 | 45.9782 | 44.6362
2019-03-06 20:30:00 | 4.18 | 33.9812 | 12.1207 | 97.8486 | 4.7063 | 92.4542 | 4.4507 | 210.474 | 26.46 | 975.663 | 44.4836 | 46.3111
2019-03-06 20:45:00 | 4.4353 | 32.1782 | 9.8197 | 80.2429 | 4.7063 | 98.8036 | 4.4507 | 229.127 | 26.46 | 975.744 | 44.145 | 42.1286
2019-03-06 21:00:00 | 5.2013 | 32.1046 | 8.5413 | 88.8289 | 2.1497 | 87.9706 | 4.195 | 216.999 | 26.46 | 976.339 | 44.0761 | 37.5693
2019-03-06 21:15:00 | 5.9673 | 27.4201 | 7.7743 | 103.195 | 5.729 | 87.0418 | 4.962 | 219.556 | 26.46 | 976.333 | 43.7335 | 30.7781
2019-03-06 21:30:00 | 5.4567 | 27.0058 | 8.797 | 84.6324 | 5.729 | 84.5549 | 3.9393 | 221.731 | 26.46 | 976.487 | 41.5134 | 30.1241
2019-03-06 21:45:00 | 11.5847 | 33.472 | 7.7743 | 90.4917 | 4.195 | 47.1584 | 3.1723 | 221.618 | 26.46 | 976.61 | 38.9524 | 29.8617
2019-03-06 22:00:00 | 8.01 | 21.5658 | 10.5867 | 65.946 | 8.03 | 341.71 | 3.428 | 210.827 | 26.46 | 976.621 | 39.4294 | 31.6279
2019-03-06 22:15:00 | 4.4353 | 41.0857 | 9.564 | 91.5949 | 5.4733 | 0.048795 | 1.5183 | 217.554 | 26.46 | 976.612 | 39.9794 | 33.4605
2019-03-06 22:30:00 | 5.712 | 15.7121 | 6.2403 | 65.392 | 2.4053 | 350.62 | 3.428 | 201.891 | 26.46 | 976.772 | 39.5011 | 30.8019
2019-03-06 22:45:00 | 4.946 | 29.0089 | 9.3083 | 72.565 | 7.5187 | 0.048795 | 4.962 | 205.209 | 26.46 | 976.337 | 37.7242 | 36.9448
2019-03-06 23:00:00 | 13.372 | 23.2023 | 9.564 | 73.8581 | 0.75133 | 346.106 | 3.428 | 219.214 | 26.46 | 976.78 | 37.2458 | 37.0954
2019-03-06 23:15:00 | 4.18 | 31.8634 | 8.2857 | 84.9591 | 6.2403 | 349.693 | 4.4507 | 217.286 | 26.46 | 976.785 | 37.3825 | 35.883
2019-03-06 23:30:00 | 7.4993 | 31.9122 | 6.496 | 68.6126 | 5.2177 | 340.885 | 0.37567 | 206.942 | 26.46 | 976.933 | 37.4509 | 33.6563
2019-03-06 23:45:00 | 8.776 | 17.9323 | 7.5187 | 82.2753 | 4.4507 | 303.727 | 4.4507 | 205.453 | 26.46 | 976.933 | 37.8609 | 28.6868