## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-07 00:00:00 | 1.6487 | 31.5463 | 7.0073 | 99.7685 | 5.729 | 304.093 | 4.7063 | 213.114 | 26.46 | 976.933 | 38.271 | 33.8337
2019-03-07 00:15:00 | 4.4353 | 35.0108 | 7.263 | 78.4205 | 3.6837 | 304.362 | 3.428 | 224.435 | 26.46 | 976.933 | 39.5694 | 34.4766
2019-03-07 00:30:00 | 1.138 | 25.3005 | 5.729 | 70.5156 | 3.6837 | 298.067 | 0 | 217.408 | 26.46 | 976.933 | 40.2187 | 30.9332
2019-03-07 00:45:00 | 6.7333 | 28.0086 | 6.496 | 77.2982 | 4.7063 | 307.899 | 3.1723 | 207.161 | 26.46 | 977.082 | 40.9363 | 25.1176
2019-03-07 01:00:00 | 0.744 | 46.5509 | 6.7517 | 86.7157 | 2.4053 | 307.851 | 2.7967 | 222.239 | 26.46 | 976.933 | 41.893 | 24.6779
2019-03-07 01:15:00 | 0 | 32.6442 | 6.2403 | 99.3781 | 5.4733 | 308.631 | 0 | 207.527 | 26.46 | 976.933 | 42.5081 | 21.3784
2019-03-07 01:30:00 | 9.542 | 28.4966 | 8.03 | 67.2463 | 5.729 | 308.68 | 5.2177 | 202.648 | 26.46 | 976.933 | 43.3965 | 17.1367
2019-03-07 01:45:00 | 0.372 | 27.0327 | 7.0073 | 79.1524 | 4.195 | 308.436 | 3.6837 | 216.993 | 26.46 | 976.933 | 44.3533 | 15.3706
2019-03-07 02:00:00 | 10.8187 | 35.1815 | 8.03 | 87.3013 | 5.729 | 308.436 | 1.2627 | 218.848 | 26.46 | 976.636 | 44.285 | 12.7361
2019-03-07 02:15:00 | 0 | 33.6445 | 7.0073 | 89.3019 | 3.9393 | 307.924 | 1.3827 | 224.606 | 26.46 | 976.636 | 43.9433 | 6.3921
2019-03-07 02:30:00 | 0 | 26.4715 | 3.6837 | 77.6886 | 2.4053 | 306.143 | 0 | 229.388 | 26.46 | 976.339 | 47.0186 | 2.1208
2019-03-07 02:45:00 | 0 | 9.9069 | 1.3827 | 57.6689 | 1.894 | 306.186 | 0 | 204.311 | 26.46 | 976.339 | 47.9821 | -0.16996
2019-03-07 03:00:00 | 0 | 67.3846 | 1.6383 | 52.6318 | 0.75133 | 306.245 | 0 | 194.368 | 26.46 | 976.575 | 50.2473 | 0.044338
2019-03-07 03:15:00 | 0 | 62.0891 | 1.127 | 106.692 | 0 | 306.223 | 0 | 235.201 | 26.46 | 976.339 | 47.9234 | -0.11454
2019-03-07 03:30:00 | 0 | 352.517 | 0 | 45.4075 | 0 | 306.195 | 0 | 223.679 | 26.46 | 976.34 | 49.9737 | -0.12932
2019-03-07 03:45:00 | 0 | 352.546 | 0 | 45.4082 | 0 | 306.15 | 0 | 255.092 | 26.46 | 976.043 | 50.5212 | -0.25125
2019-03-07 04:00:00 | 0 | 352.546 | 0 | 45.4083 | 0 | 306.15 | 0 | 254.433 | 26.46 | 976.043 | 49.0856 | -0.26972
2019-03-07 04:15:00 | 0 | 352.521 | 0 | 45.4083 | 0 | 306.15 | 0 | 224.438 | 26.46 | 976.043 | 48.5387 | -0.25125
2019-03-07 04:30:00 | 0 | 256.215 | 1.127 | 298.402 | 0 | 306.15 | 0 | 224.438 | 26.46 | 976.043 | 49.9744 | -0.25125
2019-03-07 04:45:00 | 0 | 228.88 | 1.3827 | 261.939 | 0 | 302.343 | 0 | 224.438 | 26.46 | 976.043 | 52.0937 | -0.25125
2019-03-07 05:00:00 | 0 | 228.88 | 1.127 | 263.257 | 0 | 302.343 | 0 | 224.487 | 26.46 | 976.192 | 48.4703 | -0.25125
2019-03-07 05:15:00 | 0 | 204.279 | 1.127 | 262.427 | 1.127 | 302.343 | 0 | 351.35 | 26.46 | 976.192 | 49.4958 | -0.22908
2019-03-07 05:30:00 | 0 | 179.434 | 1.6383 | 257.009 | 0 | 302.343 | 0 | 335.925 | 26.46 | 976.192 | 47.7867 | -0.25125
2019-03-07 05:45:00 | 0 | 180.068 | 1.6383 | 256.667 | 0 | 302.343 | 0 | 354.669 | 26.46 | 976.34 | 48.9489 | -0.25125
2019-03-07 06:00:00 | 0 | 198.324 | 1.3827 | 257.79 | 0.75133 | 302.343 | 0 | 354.669 | 26.46 | 976.34 | 47.7867 | -0.26972
2019-03-07 06:15:00 | 0 | 216.091 | 1.3827 | 262.427 | 0 | 302.367 | 0 | 30.9469 | 26.46 | 976.34 | 53.8711 | -0.25494
2019-03-07 06:30:00 | 0 | 232.785 | 1.127 | 312.069 | 0 | 302.343 | 0 | 29.2873 | 26.46 | 976.638 | 57.221 | -0.26972
2019-03-07 06:45:00 | 0 | 232.785 | 0.75133 | 314.754 | 1.127 | 302.391 | 0 | 29.2873 | 26.46 | 976.638 | 55.0333 | -0.28081
2019-03-07 07:00:00 | 0 | 232.806 | 1.127 | 314.749 | 0 | 302.387 | 0 | 29.2869 | 26.46 | 977.232 | 49.837 | -0.28081
2019-03-07 07:15:00 | 0 | 246.195 | 1.3827 | 327.846 | 0 | 302.315 | 0 | 29.9143 | 26.46 | 977.549 | 53.1741 | 0.20691
2019-03-07 07:30:00 | 0 | 246.15 | 1.127 | 328.221 | 0 | 302.357 | 0 | 29.9576 | 26.46 | 978.123 | 51.3877 | 0.41752
2019-03-07 07:45:00 | 0 | 257.992 | 0 | 336.818 | 0 | 302.381 | 0 | 30.243 | 26.46 | 978.423 | 51.4434 | 0.26233
2019-03-07 08:00:00 | 0 | 311.16 | 1.894 | 10.2334 | 0 | 302.285 | 0 | 110.157 | 26.46 | 979.012 | 56.5492 | 0.062812
2019-03-07 08:15:00 | 0 | 277.716 | 1.127 | 132.997 | 0 | 302.289 | 0 | 110.726 | 26.46 | 979.309 | 57.3604 | 0.17366
2019-03-07 08:30:00 | 0 | 344.657 | 2.661 | 31.3292 | 2.1497 | 303.125 | 0 | 161.397 | 26.46 | 979.172 | 63.9702 | -0.048033
2019-03-07 08:45:00 | 0 | 307.243 | 1.894 | 8.6423 | 0.75133 | 304.318 | 0 | 127.177 | 26.46 | 979.453 | 69.4658 | -0.048033
2019-03-07 09:00:00 | 0 | 32.6595 | 2.1497 | 73.8108 | 0 | 300.029 | 0 | 195.908 | 26.46 | 979.601 | 69.8413 | -0.025864
2019-03-07 09:15:00 | 0 | 334.078 | 1.3827 | 86.2165 | 2.1497 | 300.126 | 0 | 175.508 | 26.46 | 979.601 | 69.1586 | -0.059118
2019-03-07 09:30:00 | 0 | 5.4343 | 1.6383 | 10.5103 | 0 | 299.985 | 0 | 134.981 | 26.46 | 980.047 | 66.7594 | -0.13671
2019-03-07 09:45:00 | 0 | 7.7005 | 3.6837 | 10.5095 | 3.428 | 299.197 | 0.37567 | 223.679 | 26.46 | 979.898 | 67.8156 | -0.10346
2019-03-07 10:00:00 | 0 | 288.597 | 2.9167 | 2.479 | 3.6837 | 291.009 | 0 | 139.096 | 26.46 | 979.75 | 63.3446 | -0.2882
2019-03-07 10:15:00 | 0 | 316.25 | 3.428 | 14.5172 | 2.9167 | 298.315 | 0.37567 | 141.969 | 26.46 | 979.898 | 62.7292 | -0.2143
2019-03-07 10:30:00 | 1.6487 | 312.885 | 3.428 | 4.6482 | 3.1723 | 310.692 | 0 | 144.965 | 26.46 | 979.75 | 60.3056 | -0.23647
2019-03-07 10:45:00 | 0 | 286.937 | 3.6837 | 19.8538 | 3.428 | 302.314 | 0 | 187.782 | 26.46 | 979.601 | 56.6547 | -0.26972
2019-03-07 11:00:00 | 0.88267 | 47.2988 | 6.7517 | 90.0471 | 3.1723 | 356.313 | 0.63133 | 243.878 | 26.46 | 979.601 | 53.7877 | -0.26972
2019-03-07 11:15:00 | 0 | 314.257 | 0 | 336.878 | 2.9167 | 338.041 | 0 | 145.432 | 26.46 | 979.601 | 52.4232 | -0.26972
2019-03-07 11:30:00 | 0 | 320.935 | 3.428 | 13.2991 | 3.428 | 321.203 | 0 | 220.154 | 26.46 | 979.898 | 51.9415 | -0.25864
2019-03-07 11:45:00 | 0 | 23.5849 | 3.428 | 69.345 | 3.1723 | 320.394 | 0 | 208.658 | 26.46 | 979.823 | 45.6922 | -0.24016
2019-03-07 12:00:00 | 0 | 281.556 | 2.9167 | 336.842 | 2.661 | 316.299 | 0 | 115 | 26.46 | 979.764 | 44.5999 | -0.24016
2019-03-07 12:15:00 | 0 | 285.21 | 2.4053 | 313.184 | 1.894 | 315.812 | 0 | 100.503 | 26.46 | 979.747 | 43.4056 | -0.24016
2019-03-07 12:30:00 | 0 | 268.35 | 4.195 | 306.898 | 4.4507 | 314.18 | 0 | 80.9387 | 26.46 | 979.302 | 43.1326 | -0.24016
2019-03-07 12:45:00 | 0 | 336.863 | 4.195 | 5.8263 | 3.1723 | 316.031 | 0 | 144.603 | 26.46 | 979.005 | 41.2899 | -0.25864
2019-03-07 13:00:00 | 0 | 235.044 | 3.1723 | 294.74 | 3.428 | 310.549 | 0 | 64.0054 | 26.46 | 979.302 | 35.7618 | -0.2882
2019-03-07 13:15:00 | 0 | 247.348 | 2.4053 | 280.682 | 2.661 | 309.087 | 0 | 91.1474 | 26.46 | 979.098 | 34.8064 | -0.25125
2019-03-07 13:30:00 | 0 | 259.757 | 3.9393 | 314.144 | 4.195 | 308.853 | 0 | 93.538 | 26.46 | 979.362 | 30.9854 | -0.2845
2019-03-07 13:45:00 | 0 | 221.726 | 4.4507 | 239.2 | 4.4507 | 254.132 | 1.3983 | 22.5624 | 26.46 | 978.821 | 27.3002 | -0.26972
2019-03-07 14:00:00 | 0 | 217.193 | 3.428 | 273.88 | 3.9393 | 257.084 | 0 | 40.5486 | 26.46 | 978.71 | 28.02 | -0.25125
2019-03-07 14:15:00 | 0 | 206.11 | 3.9393 | 255.487 | 3.428 | 255.919 | 0.37567 | 34.7253 | 26.46 | 979.007 | 24.8464 | -0.24016
2019-03-07 14:30:00 | 0 | 6.5308 | 0 | 322.403 | 0 | 259.526 | 0 | 109.781 | 26.46 | 978.413 | 26.7918 | -0.25494
2019-03-07 14:45:00 | 0.88267 | 143.041 | 4.4507 | 209.767 | 3.1723 | 254.818 | 0.37567 | 335.769 | 26.46 | 978.413 | 26.7572 | -0.26972
2019-03-07 15:00:00 | 0.62733 | 226.628 | 4.195 | 253.123 | 4.195 | 252.312 | 3.1723 | 63.7482 | 26.46 | 978.116 | 27.0307 | -0.25125
2019-03-07 15:15:00 | 1.7653 | 237.643 | 2.9167 | 209.138 | 2.9167 | 251.801 | 2.661 | 74.1293 | 26.46 | 977.819 | 27.3038 | -0.24016
2019-03-07 15:30:00 | 0 | 256.503 | 1.6383 | 298.594 | 0 | 253.359 | 0 | 60.97 | 26.46 | 977.819 | 28.5323 | -0.25125
2019-03-07 15:45:00 | 0.88267 | 165.17 | 3.6837 | 199.658 | 4.195 | 250.314 | 2.1497 | 9.3819 | 26.46 | 977.819 | 28.3276 | -0.24016
2019-03-07 16:00:00 | 0 | 186.806 | 2.4053 | 238.546 | 2.1497 | 249.384 | 0 | 6.4819 | 26.46 | 977.522 | 29.0097 | -0.25125
2019-03-07 16:15:00 | 0 | 143.482 | 3.1723 | 188.327 | 3.428 | 249.486 | 0 | 317.62 | 26.46 | 977.522 | 26.7577 | -0.25125
2019-03-07 16:30:00 | 0 | 187.516 | 3.1723 | 240.793 | 3.428 | 249.681 | 0 | 18.2033 | 26.46 | 977.225 | 24.9147 | -0.25864
2019-03-07 16:45:00 | 3.1587 | 142.529 | 3.428 | 202.041 | 2.4053 | 248.797 | 0 | 335.669 | 26.46 | 977.077 | 23.1394 | -0.24016
2019-03-07 17:00:00 | 0 | 157.274 | 2.9167 | 207.162 | 3.6837 | 248.655 | 0 | 343.96 | 26.46 | 976.631 | 23.1398 | -0.14779
2019-03-07 17:15:00 | 0 | 159.153 | 3.1723 | 204.472 | 2.9167 | 249.478 | 0 | 344.288 | 26.46 | 976.483 | 24.3043 | -0.22169
2019-03-07 17:30:00 | 0 | 161.201 | 2.9167 | 206.423 | 1.894 | 248.651 | 0 | 343.656 | 26.46 | 976.037 | 26.694 | -0.27711
2019-03-07 17:45:00 | 0 | 216.625 | 2.4053 | 268.135 | 2.1497 | 249.455 | 0 | 38.972 | 26.46 | 975.74 | 30.3806 | -0.25864
2019-03-07 18:00:00 | 0 | 175.93 | 3.1723 | 219.301 | 2.661 | 248.563 | 0 | 1.0724 | 26.46 | 975.17 | 27.924 | -0.23278
2019-03-07 18:15:00 | 0 | 180.738 | 3.6837 | 227.435 | 3.9393 | 248.362 | 0.37567 | 356.795 | 26.46 | 975.14 | 27.7239 | 0.96435
2019-03-07 18:30:00 | 0 | 169.522 | 4.4507 | 211.449 | 3.6837 | 247.98 | 5.729 | 0.34133 | 26.46 | 974.999 | 27.4543 | 1.3191
2019-03-07 18:45:00 | 0 | 176.665 | 5.2177 | 219.081 | 4.962 | 246.712 | 0.63133 | 0.19505 | 26.46 | 974.974 | 27.5909 | 2.2686
2019-03-07 19:00:00 | 1.2547 | 179.462 | 4.195 | 207.986 | 3.9393 | 246.98 | 4.962 | 0.19507 | 26.46 | 975.148 | 27.3887 | 3.584
2019-03-07 19:15:00 | 0 | 181.273 | 5.4733 | 223.706 | 5.729 | 246.364 | 0.75133 | 1.3657 | 26.46 | 975 | 26.2321 | 3.8907
2019-03-07 19:30:00 | 0 | 180.429 | 4.7063 | 222.669 | 4.7063 | 246.644 | 3.6837 | 0.78044 | 26.46 | 975.149 | 26.575 | 3.0409
2019-03-07 19:45:00 | 0 | 165.092 | 3.9393 | 206.578 | 3.1723 | 247.114 | 0 | 356.768 | 26.46 | 975 | 27.737 | 2.627
2019-03-07 20:00:00 | 0 | 173.067 | 5.2177 | 218.187 | 4.4507 | 246.845 | 5.729 | 355.89 | 26.46 | 975.149 | 28.0786 | 1.8437
2019-03-07 20:15:00 | 0 | 176.506 | 5.2177 | 218.675 | 4.195 | 246.87 | 4.4507 | 356.817 | 26.46 | 975.149 | 28.6934 | 2.6012
2019-03-07 20:30:00 | 0 | 170.677 | 3.1723 | 209.065 | 3.1723 | 246.967 | 0 | 356.817 | 26.46 | 975.149 | 29.3766 | 1.6553
2019-03-07 20:45:00 | 0 | 174.97 | 3.428 | 211.651 | 3.1723 | 247.065 | 0.75133 | 0.19512 | 26.46 | 975.446 | 29.8548 | 2.2945
2019-03-07 21:00:00 | 0 | 171.311 | 3.9393 | 216.919 | 3.6837 | 246.992 | 0.37567 | 356.817 | 26.46 | 975.149 | 30.1964 | 1.9435
2019-03-07 21:15:00 | 0 | 166.165 | 4.195 | 206.675 | 4.195 | 246.967 | 0 | 353.842 | 26.46 | 975.297 | 30.1281 | 2.0469
2019-03-07 21:30:00 | 0 | 174.799 | 3.6837 | 209.504 | 4.4507 | 246.87 | 2.4053 | 355.5 | 26.46 | 975.149 | 29.6499 | 2.1134
2019-03-07 21:45:00 | 0.62733 | 178.921 | 4.962 | 216.919 | 4.4507 | 246.748 | 0 | 0.19512 | 26.46 | 975.149 | 29.9231 | 2.712
2019-03-07 22:00:00 | 0.88267 | 164.092 | 5.4733 | 227.943 | 4.7063 | 246.382 | 2.661 | 0.19512 | 26.46 | 975.446 | 29.9915 | 3.9756
2019-03-07 22:15:00 | 0 | 178.872 | 4.7063 | 227.894 | 5.729 | 246.04 | 1.2627 | 0.19512 | 26.46 | 975.149 | 30.8113 | 5.9376
2019-03-07 22:30:00 | 0 | 182.091 | 4.7063 | 211.748 | 3.428 | 246.772 | 0.37567 | 0.19512 | 26.46 | 975.149 | 32.5875 | 6.8133
2019-03-07 22:45:00 | 0 | 178.848 | 3.9393 | 218.382 | 3.1723 | 246.284 | 4.7063 | 1.5609 | 26.46 | 975 | 32.9291 | 8.9637
2019-03-07 23:00:00 | 0 | 182.433 | 5.2177 | 222.041 | 4.7063 | 245.796 | 3.6837 | 1.1219 | 26.46 | 974.852 | 33.2707 | 8.2543
2019-03-07 23:15:00 | 0 | 183.189 | 5.2177 | 220.919 | 5.2177 | 245.211 | 4.962 | 7.9022 | 26.46 | 974.703 | 32.3143 | 7.6151
2019-03-07 23:30:00 | 0.99933 | 169.726 | 5.2177 | 215.919 | 4.7063 | 245.528 | 0 | 1.3414 | 26.46 | 974.554 | 32.1435 | 5.8489
2019-03-07 23:45:00 | 0 | 195.408 | 5.9847 | 223.382 | 6.2403 | 244.431 | 2.661 | 2.2438 | 26.46 | 974.257 | 31.0162 | 6.599