## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-08 00:00:00 | 0 | 176.506 | 4.195 | 198.773 | 3.6837 | 245.431 | 1.6383 | 176.116 | 26.46 | 974.554 | 31.0162 | 6.5436
2019-03-08 00:15:00 | 1.2547 | 181.604 | 5.729 | 204.017 | 4.962 | 244.236 | 5.4733 | 356.817 | 26.46 | 974.554 | 31.0162 | 7.8589
2019-03-08 00:30:00 | 0 | 179.14 | 5.729 | 226.821 | 5.9847 | 243.65 | 1.2627 | 6.0486 | 26.46 | 974.406 | 31.6311 | 6.7505
2019-03-08 00:45:00 | 0 | 177.018 | 4.4507 | 222.114 | 3.428 | 245.162 | 5.2177 | 2.6828 | 26.46 | 974.257 | 32.6558 | 5.4166
2019-03-08 01:00:00 | 0.372 | 182.847 | 5.2177 | 210.48 | 4.4507 | 244.236 | 3.308 | 355.256 | 26.46 | 974.257 | 32.8608 | 6.3551
2019-03-08 01:15:00 | 0 | 162.19 | 6.496 | 204.139 | 5.4733 | 243.479 | 4.7063 | 5.1949 | 26.46 | 974.257 | 32.4509 | 7.2012
2019-03-08 01:30:00 | 0 | 182.799 | 7.0073 | 220.187 | 6.496 | 242.723 | 1.6383 | 2.4633 | 26.46 | 974.257 | 32.895 | 8.5351
2019-03-08 01:45:00 | 0 | 153.312 | 6.496 | 200.261 | 5.4733 | 242.821 | 5.729 | 338.281 | 26.46 | 973.96 | 33.8172 | 9.5475
2019-03-08 02:00:00 | 0 | 162.531 | 4.7063 | 199.261 | 4.7063 | 242.675 | 0.37567 | 350.5 | 26.46 | 973.811 | 33.7489 | 10.8037
2019-03-08 02:15:00 | 1.3933 | 165.994 | 6.7517 | 212.285 | 5.2177 | 242.138 | 2.661 | 355.841 | 26.46 | 973.663 | 34.0905 | 11.2249
2019-03-08 02:30:00 | 0.372 | 167.116 | 4.4507 | 205.846 | 5.729 | 242.089 | 1.3827 | 350.695 | 26.46 | 973.366 | 34.6371 | 12.2373
2019-03-08 02:45:00 | 1.2547 | 162.36 | 7.0073 | 222.138 | 5.729 | 242.089 | 2.4053 | 356.768 | 26.46 | 973.111 | 35.3886 | 12.4332
2019-03-08 03:00:00 | 0 | 169.458 | 7.0073 | 203.188 | 5.2177 | 242.041 | 0 | 0.51218 | 26.46 | 973.159 | 36.0034 | 11.8457
2019-03-08 03:15:00 | 0.372 | 165.279 | 6.2403 | 209.698 | 4.195 | 242.113 | 4.195 | 346.34 | 26.46 | 972.851 | 37.3052 | 11.3949
2019-03-08 03:30:00 | 1.2547 | 160.176 | 5.729 | 204.579 | 4.962 | 242.167 | 1.774 | 353.506 | 26.46 | 972.619 | 37.6514 | 12.2152
2019-03-08 03:45:00 | 4.4353 | 163.626 | 6.496 | 208.398 | 5.729 | 241.962 | 5.2177 | 341.669 | 26.46 | 972.623 | 38.1319 | 14.3914
2019-03-08 04:00:00 | 0.62733 | 158.454 | 7.0073 | 200.982 | 6.7517 | 241.475 | 1.894 | 353.943 | 26.46 | 972.474 | 39.0205 | 14.8828
2019-03-08 04:15:00 | 0.372 | 157.281 | 6.7517 | 201.419 | 5.9847 | 241.375 | 3.428 | 342.082 | 26.46 | 972.177 | 39.4984 | 16.4088
2019-03-08 04:30:00 | 14.904 | 162.822 | 7.0073 | 206.546 | 5.2177 | 241.184 | 4.195 | 355.945 | 26.46 | 972.177 | 39.9091 | 15.5331
2019-03-08 04:45:00 | 10.5633 | 167.763 | 8.03 | 208.921 | 7.263 | 240.972 | 5.4733 | 353.164 | 26.46 | 972.177 | 40.1797 | 15.1932
2019-03-08 05:00:00 | 11.84 | 159.006 | 6.7517 | 195.871 | 7.0073 | 241.071 | 6.496 | 345.335 | 26.46 | 972.016 | 40.5899 | 15.7216
2019-03-08 05:15:00 | 5.2013 | 158.719 | 7.0073 | 205.368 | 7.5187 | 240.883 | 3.6837 | 342.711 | 26.46 | 971.869 | 41.3429 | 17.8609
2019-03-08 05:30:00 | 1.51 | 153.11 | 6.2403 | 198.882 | 5.9847 | 241.277 | 5.9847 | 341.618 | 26.46 | 971.845 | 42.5052 | 21.1899
2019-03-08 05:45:00 | 0.372 | 152.874 | 6.7517 | 202.333 | 6.2403 | 241.387 | 1.127 | 341.05 | 26.46 | 971.877 | 42.8491 | 20.68
2019-03-08 06:00:00 | 3.414 | 157.878 | 7.0073 | 202.898 | 6.2403 | 241.489 | 4.962 | 348.497 | 26.46 | 971.877 | 42.4398 | 19.5753
2019-03-08 06:15:00 | 0.372 | 155.462 | 6.7517 | 198.457 | 6.7517 | 241.245 | 2.7967 | 332.126 | 26.46 | 972.177 | 41.7564 | 22.7898
2019-03-08 06:30:00 | 3.6693 | 158.78 | 7.5187 | 204.801 | 7.263 | 240.513 | 2.9167 | 342.886 | 26.46 | 972.028 | 42.3714 | 20.1073
2019-03-08 06:45:00 | 0.372 | 156.585 | 7.263 | 200.702 | 5.9847 | 240.611 | 5.2177 | 342.056 | 26.46 | 972.177 | 42.2006 | 19.8524
2019-03-08 07:00:00 | 0.88267 | 161.21 | 7.0073 | 203.811 | 6.496 | 240.205 | 5.9847 | 346.134 | 26.46 | 972.323 | 42.5738 | 22.2023
2019-03-08 07:15:00 | 1.882 | 159.132 | 7.263 | 198.633 | 7.0073 | 239.37 | 1.3827 | 339.099 | 26.46 | 972.326 | 42.846 | 21.6592
2019-03-08 07:30:00 | 0 | 157.646 | 7.0073 | 218.055 | 7.5187 | 238.323 | 3.9393 | 344.128 | 26.46 | 972.445 | 42.9148 | 20.5175
2019-03-08 07:45:00 | 0 | 183.377 | 5.2177 | 219.551 | 6.2403 | 238.331 | 2.661 | 2.1465 | 26.46 | 972.682 | 41.8144 | 20.0039
2019-03-08 08:00:00 | 0 | 147.995 | 8.5413 | 182.262 | 9.0527 | 236.09 | 4.7063 | 328.184 | 26.46 | 972.923 | 42.2887 | 23.9278
2019-03-08 08:15:00 | 7.244 | 169.141 | 8.2857 | 200.236 | 9.3083 | 234.797 | 4.7063 | 353.086 | 26.46 | 973.069 | 43.4501 | 26.0856
2019-03-08 08:30:00 | 10.8187 | 151.432 | 8.797 | 199.502 | 9.0527 | 233.989 | 2.1497 | 334.935 | 26.46 | 973.663 | 43.3128 | 28.5944
2019-03-08 08:45:00 | 4.946 | 145.589 | 9.0527 | 202.212 | 8.5413 | 232.21 | 3.428 | 334.829 | 26.46 | 973.366 | 43.1037 | 29.9061
2019-03-08 09:00:00 | 1.6487 | 140.58 | 7.5187 | 191.029 | 7.5187 | 231.659 | 1.2627 | 324.859 | 26.46 | 973.96 | 42.8277 | 32.9322
2019-03-08 09:15:00 | 5.712 | 141.149 | 7.7743 | 184.787 | 7.5187 | 229.828 | 5.9847 | 328.283 | 26.46 | 974.257 | 39.8176 | 33.6896
2019-03-08 09:30:00 | 8.01 | 147.189 | 8.5413 | 193.188 | 8.2857 | 228.548 | 3.428 | 338.531 | 26.46 | 974.113 | 38.04 | 33.7553
2019-03-08 09:45:00 | 2.0207 | 148.53 | 9.564 | 197.284 | 9.0527 | 227.963 | 5.4733 | 331.51 | 26.46 | 973.96 | 36.6058 | 33.3386
2019-03-08 10:00:00 | 2.1373 | 144.507 | 8.2857 | 187.205 | 7.7743 | 227.146 | 1.1427 | 332.65 | 26.46 | 974.257 | 35.4389 | 36.5553
2019-03-08 10:15:00 | 2.648 | 143.02 | 8.03 | 190.397 | 8.5413 | 225.974 | 5.9847 | 319.801 | 26.46 | 973.785 | 36.463 | 36.4496
2019-03-08 10:30:00 | 0.372 | 182.102 | 5.729 | 228.191 | 7.5187 | 220.375 | 3.8193 | 340.924 | 26.46 | 973.869 | 31.0015 | 42.7715
2019-03-08 10:45:00 | 6.9887 | 186.99 | 7.263 | 231.773 | 10.5867 | 152.526 | 3.428 | 2.5104 | 26.46 | 973.714 | 30.0396 | 43.5691
2019-03-08 11:00:00 | 4.946 | 149.795 | 11.3537 | 197.698 | 11.865 | 129.322 | 3.9393 | 331.031 | 26.46 | 973.676 | 28.2301 | 44.0631
2019-03-08 11:15:00 | 0.99933 | 153.743 | 8.2857 | 206.472 | 10.5867 | 130.151 | 5.4733 | 332.542 | 26.46 | 973.959 | 30.1417 | 47.2079
2019-03-08 11:30:00 | 14.3933 | 201.441 | 9.0527 | 233.452 | 12.1207 | 131.394 | 5.729 | 354.112 | 26.46 | 973.662 | 29.6979 | 49.2961
2019-03-08 11:45:00 | 0.372 | 179.627 | 7.7743 | 237.766 | 7.263 | 132.393 | 4.195 | 340.536 | 26.46 | 973.662 | 29.1517 | 45.8604
2019-03-08 12:00:00 | 1.51 | 190.498 | 7.263 | 241.349 | 8.5413 | 130.857 | 2.661 | 351.285 | 26.46 | 973.662 | 29.5955 | 43.8283
2019-03-08 12:15:00 | 0 | 177.19 | 8.03 | 199.136 | 7.263 | 132.149 | 1.007 | 350.822 | 26.46 | 973.662 | 29.971 | 42.7752
2019-03-08 12:30:00 | 8.01 | 167.148 | 4.962 | 235.11 | 7.0073 | 140.192 | 2.1497 | 0.19498 | 26.46 | 973.513 | 27.8546 | 41.0645
2019-03-08 12:45:00 | 6.2227 | 192.35 | 8.5413 | 222.119 | 10.8423 | 143.482 | 5.729 | 11.2602 | 26.46 | 972.771 | 26.6257 | 38.9817
2019-03-08 13:00:00 | 8.5207 | 143.984 | 10.0753 | 186.252 | 9.564 | 136.502 | 5.9847 | 319.48 | 26.46 | 972.771 | 27.1017 | 37.0495
2019-03-08 13:15:00 | 6.478 | 157.15 | 10.0753 | 198.932 | 11.098 | 168.019 | 5.729 | 6.6535 | 26.46 | 972.771 | 26.7271 | 27.6781
2019-03-08 13:30:00 | 3.1587 | 174.643 | 7.7743 | 219.518 | 8.2857 | 192.19 | 3.6837 | 88.2474 | 26.46 | 972.623 | 27.2382 | 34.7853
2019-03-08 13:45:00 | 6.9887 | 209.071 | 9.3083 | 222.897 | 7.7743 | 206.78 | 1.5183 | 22.8835 | 26.46 | 972.326 | 26.9641 | 32.0068
2019-03-08 14:00:00 | 0 | 132.171 | 6.2403 | 181.363 | 6.7517 | 147.184 | 0.887 | 314.158 | 26.46 | 972.771 | 26.6934 | 31.9272
2019-03-08 14:15:00 | 0 | 207.329 | 8.797 | 241.598 | 9.8197 | 183.886 | 0.37567 | 21.615 | 26.46 | 972.326 | 24.0274 | 37.9926
2019-03-08 14:30:00 | 0.372 | 175.474 | 7.7743 | 222.339 | 8.5413 | 182.614 | 0.37567 | 89.2355 | 26.46 | 972.326 | 23.31 | 37.2514
2019-03-08 14:45:00 | 10.8187 | 174.989 | 7.7743 | 217.007 | 7.7743 | 149.037 | 3.9393 | 322.32 | 26.46 | 972.474 | 23.9588 | 41.4007
2019-03-08 15:00:00 | 0.372 | 171.602 | 7.263 | 222.441 | 5.4733 | 133.734 | 3.428 | 15.1084 | 26.46 | 972.474 | 23.5493 | 46.2188
2019-03-08 15:15:00 | 3.1587 | 141.752 | 9.0527 | 191.056 | 8.797 | 129.665 | 5.9847 | 320.057 | 26.46 | 971.88 | 25.3925 | 47.3135
2019-03-08 15:30:00 | 0 | 132.37 | 7.0073 | 179.262 | 5.9847 | 130.275 | 5.9847 | 320.13 | 26.46 | 971.88 | 24.3686 | 42.3123
2019-03-08 15:45:00 | 0 | 155.518 | 7.7743 | 209.889 | 7.0073 | 128.152 | 4.4507 | 335.574 | 26.46 | 971.583 | 23.6856 | 47.0375
2019-03-08 16:00:00 | 9.2867 | 154.202 | 9.0527 | 205.332 | 8.5413 | 130.248 | 5.9847 | 356.75 | 26.46 | 971.286 | 23.276 | 38.7662
2019-03-08 16:15:00 | 4.946 | 142.131 | 7.5187 | 191.028 | 8.2857 | 129.41 | 2.7967 | 323.768 | 26.46 | 970.989 | 23.0739 | 35.2267
2019-03-08 16:30:00 | 2.9033 | 148.722 | 8.797 | 199.94 | 7.5187 | 131.613 | 5.4733 | 326.814 | 26.46 | 970.692 | 22.5294 | 35.8769
2019-03-08 16:45:00 | 0.372 | 155.693 | 6.7517 | 201.061 | 7.0073 | 132.247 | 5.9847 | 339.123 | 26.46 | 970.395 | 23.1097 | 33.3592
2019-03-08 17:00:00 | 2.276 | 138.925 | 7.263 | 191.702 | 7.5187 | 132.149 | 4.4507 | 320.38 | 26.46 | 970.098 | 22.7343 | 32.8868
2019-03-08 17:15:00 | 0 | 150.38 | 7.0073 | 196.82 | 6.2403 | 132.442 | 5.729 | 337.392 | 26.46 | 970.247 | 23.3828 | 31.7572
2019-03-08 17:30:00 | 0 | 166.856 | 6.496 | 222.363 | 7.5187 | 118.062 | 0 | 344.777 | 26.46 | 970.155 | 23.7583 | 26.5844
2019-03-08 17:45:00 | 0.99933 | 142.532 | 5.2177 | 192.75 | 4.962 | 116.404 | 2.4053 | 332.566 | 26.46 | 970.218 | 24.3386 | 27.6892
2019-03-08 18:00:00 | 0 | 202.428 | 4.195 | 237.513 | 4.7063 | 116.899 | 3.308 | 345.065 | 26.46 | 970 | 25.3983 | 25.2432
2019-03-08 18:15:00 | 0 | 161.985 | 6.496 | 210.582 | 5.4733 | 117.716 | 0 | 348.615 | 26.46 | 969.627 | 26.5621 | 24.4192
2019-03-08 18:30:00 | 1.6267 | 185.85 | 6.7517 | 236.713 | 7.0073 | 118.862 | 3.9393 | 0.19501 | 26.46 | 969.352 | 26.9034 | 24.6077
2019-03-08 18:45:00 | 0 | 156.497 | 4.962 | 202.982 | 5.2177 | 118.805 | 5.729 | 336.545 | 26.46 | 969.8 | 26.0193 | 19.3388
2019-03-08 19:00:00 | 0 | 163.67 | 4.962 | 226.687 | 6.7517 | 120.028 | 2.661 | 339.555 | 26.46 | 969.503 | 26.225 | 16.2499
2019-03-08 19:15:00 | 0 | 165.328 | 6.496 | 227.078 | 5.4733 | 119.76 | 0 | 346.918 | 26.46 | 969.355 | 26.7714 | 17.3953
2019-03-08 19:30:00 | 0 | 153.893 | 6.7517 | 217.374 | 6.2403 | 119.687 | 3.9393 | 334.728 | 26.46 | 969.503 | 27.5226 | 15.2856
2019-03-08 19:45:00 | 0 | 176.373 | 5.2177 | 227.249 | 5.4733 | 119.906 | 0.37567 | 0.19505 | 26.46 | 969.503 | 27.6592 | 20.5766
2019-03-08 20:00:00 | 0 | 172.496 | 4.4507 | 216.765 | 4.7063 | 119.126 | 5.4733 | 0.19505 | 26.46 | 969.505 | 28.4104 | 18.7218
2019-03-08 20:15:00 | 0 | 132.633 | 5.729 | 176.316 | 3.6837 | 119.614 | 4.962 | 331.851 | 26.46 | 969.472 | 29.0251 | 17.4988
2019-03-08 20:30:00 | 0 | 142.776 | 5.9847 | 196.406 | 3.428 | 120.979 | 4.195 | 330.827 | 26.46 | 969.369 | 29.0934 | 20.7724
2019-03-08 20:45:00 | 0 | 175.861 | 5.9847 | 210.523 | 5.4733 | 121.954 | 1.3827 | 345.626 | 26.46 | 969.593 | 29.708 | 18.9915
2019-03-08 21:00:00 | 2.648 | 140.63 | 5.729 | 191.896 | 4.962 | 121.418 | 5.9847 | 340.287 | 26.46 | 969.473 | 30.869 | 22.0619
2019-03-08 21:15:00 | 0 | 165.548 | 7.0073 | 212.986 | 6.496 | 124.246 | 2.541 | 340.945 | 26.46 | 969.925 | 28.7519 | 27.5746
2019-03-08 21:30:00 | 0.372 | 135.217 | 6.7517 | 220.471 | 6.496 | 116.103 | 1.5183 | 340.969 | 26.46 | 970.072 | 28.5129 | 28.8789
2019-03-08 21:45:00 | 0 | 151.87 | 6.496 | 195.382 | 5.2177 | 115.42 | 0 | 317.32 | 26.46 | 969.966 | 28.9568 | 30.9739
2019-03-08 22:00:00 | 0 | 145.214 | 5.9847 | 221.421 | 5.4733 | 116.907 | 4.962 | 329.608 | 26.46 | 969.761 | 29.3666 | 29.5292
2019-03-08 22:15:00 | 0 | 177.177 | 5.2177 | 243.267 | 6.2403 | 117.2 | 0.75133 | 348.503 | 26.46 | 969.901 | 30.5276 | 29.2706
2019-03-08 22:30:00 | 2.276 | 144.165 | 8.03 | 197.357 | 8.03 | 118.151 | 5.2177 | 345.407 | 26.46 | 969.499 | 30.5276 | 34.3103
2019-03-08 22:45:00 | 0 | 179.45 | 6.7517 | 225.598 | 7.7743 | 118.983 | 2.0297 | 344.247 | 26.46 | 969.354 | 30.87 | 35.9989
2019-03-08 23:00:00 | 5.34 | 171.075 | 7.0073 | 202.841 | 8.2857 | 119.943 | 3.428 | 356.829 | 26.46 | 969.205 | 31.6235 | 42.657
2019-03-08 23:15:00 | 8.5207 | 148.287 | 8.2857 | 203.028 | 6.7517 | 120.464 | 16.7227 | 336.566 | 26.46 | 969.205 | 32.7529 | 39.2208
2019-03-08 23:30:00 | 6.2227 | 145.23 | 11.6093 | 195.614 | 12.1207 | 123.842 | 2.4053 | 323.458 | 26.46 | 968.314 | 34.0202 | 47.2682
2019-03-08 23:45:00 | 2.276 | 137.991 | 10.0753 | 186.523 | 8.797 | 126.065 | 4.4507 | 355.392 | 26.46 | 968.462 | 34.7727 | 48.0055