## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-09 00:00:00 | 5.712 | 138.995 | 9.3083 | 189.968 | 9.0527 | 127.215 | 5.2177 | 338.939 | 26.46 | 968.76 | 35.2519 | 48.1956
2019-03-09 00:15:00 | 3.414 | 159.068 | 7.263 | 219.431 | 6.7517 | 129.898 | 3.6837 | 345.5 | 26.46 | 968.908 | 36.2767 | 42.2912
2019-03-09 00:30:00 | 1.882 | 173.945 | 8.797 | 231.552 | 8.797 | 134.068 | 0 | 351.207 | 26.46 | 968.908 | 37.3014 | 41.1938
2019-03-09 00:45:00 | 0.372 | 168.506 | 9.3083 | 229.673 | 7.0073 | 137.385 | 2.1497 | 349.206 | 26.46 | 968.76 | 38.6676 | 41.1495
2019-03-09 01:00:00 | 0.62733 | 199.286 | 7.7743 | 219.504 | 8.2857 | 138.8 | 5.4733 | 16.6824 | 26.46 | 968.611 | 40.0342 | 42.6348
2019-03-09 01:15:00 | 6.9887 | 165.677 | 7.7743 | 201.797 | 7.5187 | 143.166 | 5.9847 | 354.622 | 26.46 | 968.314 | 41.4005 | 46.3999
2019-03-09 01:30:00 | 7.244 | 152.214 | 12.632 | 194.871 | 10.5867 | 129.069 | 3.9393 | 342.549 | 26.46 | 968.314 | 41.8104 | 52.7977
2019-03-09 01:45:00 | 6.7333 | 156.702 | 11.3537 | 204.651 | 9.0527 | 136.825 | 4.195 | 336.086 | 26.46 | 968.017 | 42.9035 | 50.4753
2019-03-09 02:00:00 | 5.2013 | 150.019 | 11.865 | 199.407 | 12.1207 | 139.166 | 5.9847 | 337.086 | 26.46 | 967.719 | 46.6268 | 47.5194
2019-03-09 02:15:00 | 3.1587 | 154.336 | 7.7743 | 199.236 | 7.263 | 136.044 | 1.894 | 335.379 | 26.46 | 967.719 | 46.2852 | 43.4846
2019-03-09 02:30:00 | 4.18 | 179.262 | 7.7743 | 213.016 | 7.5187 | 137.386 | 1.5183 | 342.915 | 26.46 | 967.719 | 47.4125 | 40.3145
2019-03-09 02:45:00 | 0.372 | 124.703 | 7.0073 | 176.164 | 5.4733 | 135.166 | 6.496 | 313.721 | 26.46 | 967.422 | 48.0956 | 37.1184
2019-03-09 03:00:00 | 5.2013 | 149.312 | 8.03 | 198.31 | 8.2857 | 138.337 | 4.962 | 333.55 | 26.46 | 967.125 | 49.3937 | 27.7483
2019-03-09 03:15:00 | 2.1373 | 148.605 | 8.03 | 196.724 | 7.263 | 138.288 | 3.1723 | 329.745 | 26.46 | 966.828 | 49.3254 | 27.9552
2019-03-09 03:30:00 | 1.2547 | 156.19 | 7.0073 | 206.529 | 4.962 | 139.117 | 0 | 335.891 | 26.46 | 966.679 | 50.3501 | 29.0452
2019-03-09 03:45:00 | 6.7333 | 140.703 | 7.5187 | 223.114 | 7.5187 | 141.166 | 5.729 | 328.33 | 26.46 | 966.828 | 52.0239 | 28.2212
2019-03-09 04:00:00 | 4.6907 | 150.775 | 6.7517 | 201.7 | 5.9847 | 140.288 | 1.894 | 335.574 | 26.46 | 966.531 | 50.5551 | 33.9852
2019-03-09 04:15:00 | 7.4993 | 152.409 | 8.03 | 206.48 | 7.0073 | 141.166 | 5.729 | 339.086 | 26.46 | 966.382 | 51.1016 | 36.5346
2019-03-09 04:30:00 | 0 | 158.629 | 7.7743 | 197.31 | 7.7743 | 137.898 | 1.3827 | 338.501 | 26.46 | 966.085 | 51.3066 | 32.7031
2019-03-09 04:45:00 | 6.2227 | 141.849 | 9.564 | 185.627 | 5.4733 | 141.41 | 5.4733 | 327.721 | 26.46 | 966.085 | 50.9308 | 39.3316
2019-03-09 05:00:00 | 5.4567 | 149.824 | 6.496 | 184.456 | 6.7517 | 144.629 | 5.4733 | 319.843 | 26.46 | 965.936 | 50.965 | 46.4111
2019-03-09 05:15:00 | 8.2653 | 144.215 | 7.263 | 195.993 | 6.2403 | 131.313 | 5.2177 | 316.038 | 26.46 | 965.936 | 50.5551 | 34.399
2019-03-09 05:30:00 | 17.4573 | 132.825 | 8.2857 | 180.993 | 7.0073 | 129.581 | 10.8423 | 314.136 | 26.46 | 965.936 | 50.8967 | 38.8993
2019-03-09 05:45:00 | 0.372 | 138.825 | 6.2403 | 185.895 | 4.962 | 126.971 | 0.887 | 321.379 | 26.46 | 965.936 | 51.5457 | 35.4188
2019-03-09 06:00:00 | 0 | 126.825 | 4.962 | 177.53 | 3.9393 | 127.947 | 0 | 315.55 | 26.46 | 965.936 | 52.8096 | 28.6203
2019-03-09 06:15:00 | 0.372 | 141.873 | 6.2403 | 190.846 | 7.5187 | 127.679 | 4.7063 | 322.282 | 26.46 | 965.936 | 54.7225 | 33.3386
2019-03-09 06:30:00 | 1.138 | 138.507 | 4.962 | 185.798 | 3.9393 | 129.215 | 1.007 | 327.867 | 26.46 | 965.936 | 56.7037 | 36.5531
2019-03-09 06:45:00 | 2.5313 | 137.19 | 5.729 | 179.115 | 6.7517 | 123.557 | 3.428 | 329.038 | 26.46 | 965.968 | 56.9086 | 38.249
2019-03-09 07:00:00 | 11.3293 | 126.532 | 7.7743 | 177.505 | 8.03 | 127.849 | 7.5187 | 316.599 | 26.46 | 965.937 | 59.9146 | 41.3897
2019-03-09 07:15:00 | 5.4567 | 132.288 | 6.2403 | 191.017 | 6.496 | 129.361 | 5.9847 | 319.648 | 26.46 | 966.531 | 62.3057 | 36.8561
2019-03-09 07:30:00 | 6.9887 | 121.825 | 5.4733 | 187.578 | 5.9847 | 128.386 | 3.428 | 314.136 | 26.46 | 966.531 | 63.4671 | 34.5099
2019-03-09 07:45:00 | 7.244 | 130.311 | 9.564 | 174.626 | 9.564 | 129.068 | 5.4733 | 319.206 | 26.46 | 966.828 | 64.6963 | 37.9904
2019-03-09 08:00:00 | 6.7333 | 124.13 | 7.263 | 171.254 | 7.0073 | 115.669 | 5.729 | 308.678 | 26.46 | 967.125 | 65.8387 | 31.9974
2019-03-09 08:15:00 | 5.712 | 140.85 | 8.5413 | 195.602 | 8.5413 | 122.759 | 4.195 | 315.467 | 26.46 | 967.338 | 67.8163 | 32.6735
2019-03-09 08:30:00 | 0 | 131.95 | 5.9847 | 174.464 | 5.4733 | 118.492 | 3.6837 | 322.952 | 26.46 | 967.723 | 68.909 | 26.9465
2019-03-09 08:45:00 | 0.372 | 122.22 | 5.2177 | 212.298 | 5.9847 | 119.44 | 1.3827 | 315.216 | 26.46 | 967.424 | 68.4294 | 27.9146
2019-03-09 09:00:00 | 0.372 | 134.883 | 7.0073 | 184.262 | 6.2403 | 120.232 | 3.8193 | 324.64 | 26.46 | 967.573 | 68.4902 | 24.8922
2019-03-09 09:15:00 | 1.3713 | 128.227 | 6.2403 | 192.598 | 5.9847 | 121.23 | 5.2177 | 306.281 | 26.46 | 967.534 | 68.6262 | 22.8933
2019-03-09 09:30:00 | 0 | 142.095 | 6.496 | 199.992 | 5.9847 | 122.036 | 4.195 | 317.46 | 26.46 | 967.753 | 68.8182 | 15.9285
2019-03-09 09:45:00 | 0 | 148.455 | 5.2177 | 183.464 | 5.4733 | 119.963 | 4.195 | 325.791 | 26.46 | 968.101 | 66.1547 | 11.0402
2019-03-09 10:00:00 | 0 | 151.209 | 7.263 | 199.136 | 5.2177 | 122.522 | 5.2177 | 336.807 | 26.46 | 968.35 | 64.9258 | 11.5981
2019-03-09 10:15:00 | 0.88267 | 149.6 | 6.2403 | 205.204 | 7.5187 | 124.155 | 3.6837 | 332.956 | 26.46 | 968.083 | 63.0825 | 11.3432
2019-03-09 10:30:00 | 0 | 146.724 | 5.729 | 204.278 | 5.4733 | 123.156 | 5.729 | 328.057 | 26.46 | 968.274 | 61.9901 | 8.1324
2019-03-09 10:45:00 | 0.372 | 140.217 | 4.7063 | 195.991 | 5.729 | 122.644 | 0.75133 | 333.517 | 26.46 | 968.427 | 54.5827 | 7.7813
2019-03-09 11:00:00 | 0.372 | 136.731 | 4.4507 | 200.695 | 5.2177 | 124.009 | 1.2627 | 324.012 | 26.46 | 968.465 | 53.3197 | 7.5375
2019-03-09 11:15:00 | 0 | 119.414 | 3.9393 | 165.603 | 3.6837 | 122.046 | 0 | 318.007 | 26.46 | 968.317 | 52.768 | 5.11
2019-03-09 11:30:00 | 1.2547 | 143.409 | 4.195 | 202.095 | 4.962 | 123.305 | 5.2177 | 319.131 | 26.46 | 968.614 | 53.4471 | 4.6075
2019-03-09 11:45:00 | 1.2547 | 114.898 | 4.4507 | 169.734 | 4.4507 | 121.892 | 0 | 300.124 | 26.46 | 968.465 | 50.6485 | 6.0448
2019-03-09 12:00:00 | 0 | 103.509 | 3.9393 | 190.283 | 3.6837 | 122.417 | 3.6837 | 289.669 | 26.46 | 968.301 | 51.9409 | 6.7135
2019-03-09 12:15:00 | 1.2547 | 154.131 | 4.962 | 189.585 | 3.6837 | 122.603 | 4.962 | 328.313 | 26.46 | 968.132 | 48.8658 | 5.5792
2019-03-09 12:30:00 | 0 | 120.214 | 4.7063 | 202.886 | 5.2177 | 123.235 | 0 | 308.405 | 26.46 | 968.044 | 44.634 | 4.8107
2019-03-09 12:45:00 | 0 | 135.077 | 3.1723 | 187.341 | 3.428 | 123.382 | 0 | 334.67 | 26.46 | 967.724 | 43.2008 | 7.9328
2019-03-09 13:00:00 | 0.99933 | 123.284 | 4.4507 | 178.083 | 5.4733 | 118.996 | 0 | 291.448 | 26.46 | 967.427 | 39.7202 | 10.0389
2019-03-09 13:15:00 | 0 | 201.933 | 5.2177 | 239.092 | 5.2177 | 121.895 | 3.6837 | 13.3761 | 26.46 | 967.724 | 41.87 | 7.2567
2019-03-09 13:30:00 | 0 | 182.49 | 6.2403 | 226.008 | 6.7517 | 123.503 | 0.887 | 1.9492 | 26.46 | 967.454 | 39.9249 | 5.9746
2019-03-09 13:45:00 | 0 | 203.736 | 4.962 | 257.146 | 5.2177 | 123.138 | 1.007 | 30.6749 | 26.46 | 967.585 | 38.6965 | 6.0189
2019-03-09 14:00:00 | 0 | 195.453 | 5.729 | 228.299 | 5.9847 | 123.065 | 5.729 | 13.8391 | 26.46 | 967.447 | 37.5023 | 6.8687
2019-03-09 14:15:00 | 0 | 184.03 | 3.6837 | 230.522 | 4.195 | 122.995 | 4.195 | 1.0721 | 26.46 | 967.648 | 39.6189 | 3.0446
2019-03-09 14:30:00 | 0 | 177.032 | 5.4733 | 208.563 | 5.2177 | 121.822 | 0 | 20.9047 | 26.46 | 968.193 | 37.3656 | 2.0285
2019-03-09 14:45:00 | 0 | 193.234 | 5.4733 | 235.291 | 5.9847 | 123.844 | 1.007 | 15.2765 | 26.46 | 967.724 | 36.1031 | 1.4668
2019-03-09 15:00:00 | 0 | 193.454 | 6.2403 | 233.488 | 7.0073 | 124.527 | 0.75133 | 15.2765 | 26.46 | 967.427 | 37.2292 | 1.3117
2019-03-09 15:15:00 | 0 | 182.197 | 6.496 | 227.689 | 7.0073 | 124.6 | 0.37567 | 3.5328 | 26.46 | 967.427 | 36.0689 | 0.46555
2019-03-09 15:30:00 | 0 | 174.693 | 4.195 | 219.308 | 4.7063 | 122.602 | 2.4053 | 329.627 | 26.46 | 967.724 | 35.3523 | 0.44708
2019-03-09 15:45:00 | 0 | 183.123 | 4.7063 | 239.36 | 5.2177 | 123.576 | 1.3827 | 3.5085 | 26.46 | 967.427 | 38.833 | 0.41752
2019-03-09 16:00:00 | 0 | 191.943 | 4.195 | 228.079 | 4.7063 | 123.065 | 1.2627 | 4.0445 | 26.46 | 967.427 | 38.833 | 0.055423
2019-03-09 16:15:00 | 0 | 210.363 | 5.2177 | 237.337 | 5.729 | 123.796 | 4.962 | 37.9354 | 26.46 | 967.427 | 39.5155 | 0.12932
2019-03-09 16:30:00 | 0 | 181.247 | 3.428 | 226.812 | 3.9393 | 122.407 | 0.37567 | 1.1208 | 26.46 | 967.457 | 38.7647 | -0.14779
2019-03-09 16:45:00 | 1.7653 | 182.806 | 3.9393 | 225.179 | 3.9393 | 122.212 | 2.2853 | 12.9619 | 26.46 | 967.256 | 37.2633 | -0.25864
2019-03-09 17:00:00 | 0 | 188.76 | 3.428 | 230.137 | 3.6837 | 122.169 | 0 | 13.7178 | 26.46 | 967.268 | 37.8793 | -0.24016
2019-03-09 17:15:00 | 0 | 166.655 | 2.1497 | 224.025 | 1.894 | 121.769 | 0 | 0.19495 | 26.46 | 967.128 | 38.7027 | -0.25125
2019-03-09 17:30:00 | 0 | 176.379 | 2.9167 | 229.386 | 2.1497 | 121.745 | 0 | 356.802 | 26.46 | 966.98 | 39.7949 | -0.25125
2019-03-09 17:45:00 | 0.88267 | 175.621 | 2.661 | 226.371 | 2.4053 | 121.614 | 0 | 0.19497 | 26.46 | 966.831 | 41.5749 | -0.24016
2019-03-09 18:00:00 | 0 | 182.649 | 2.661 | 228.553 | 1.6383 | 121.474 | 0 | 356.793 | 26.46 | 966.534 | 42.7377 | -0.24016
2019-03-09 18:15:00 | 0 | 190.059 | 2.1497 | 236.523 | 1.894 | 121.474 | 0 | 11.8939 | 26.46 | 966.564 | 42.8059 | -0.24016
2019-03-09 18:30:00 | 8.776 | 190.059 | 2.1497 | 235.475 | 1.6383 | 121.425 | 4.195 | 11.5039 | 26.46 | 966.605 | 43.2156 | -0.24016
2019-03-09 18:45:00 | 0 | 190.094 | 1.6383 | 233.866 | 1.3827 | 121.448 | 0 | 10.8235 | 26.46 | 966.937 | 43.9407 | -0.24016
2019-03-09 19:00:00 | 0 | 190.092 | 1.6383 | 233.862 | 1.3827 | 121.446 | 0 | 10.8234 | 26.46 | 967.321 | 44.0425 | -0.24016
2019-03-09 19:15:00 | 0 | 190.095 | 0 | 233.866 | 0 | 121.448 | 0 | 10.8235 | 26.46 | 967.39 | 43.531 | -0.24016
2019-03-09 19:30:00 | 0 | 190.118 | 0 | 233.898 | 0 | 121.463 | 0 | 10.8249 | 26.46 | 967.424 | 43.5706 | -0.24016
2019-03-09 19:45:00 | 0 | 190.441 | 1.127 | 233.905 | 0 | 121.466 | 0 | 10.8252 | 26.46 | 967.572 | 43.6401 | -0.24016
2019-03-09 20:00:00 | 0 | 241.519 | 1.894 | 282.179 | 1.894 | 121.467 | 0 | 67.3893 | 26.46 | 967.721 | 45.9621 | -0.25864
2019-03-09 20:15:00 | 0 | 270.923 | 2.1497 | 317.97 | 1.3827 | 121.467 | 0 | 86.0164 | 26.46 | 968.018 | 45.8938 | -0.25125
2019-03-09 20:30:00 | 0 | 285.697 | 2.661 | 331.6 | 1.894 | 121.418 | 0 | 117.566 | 26.46 | 968.018 | 44.8694 | -0.25125
2019-03-09 20:45:00 | 0 | 311.151 | 1.894 | 30.0787 | 1.3827 | 121.076 | 0 | 130.463 | 26.46 | 968.018 | 45.4157 | -0.24016
2019-03-09 21:00:00 | 0 | 4.2911 | 1.6383 | 40.8552 | 1.3827 | 120.881 | 0 | 179.298 | 26.46 | 968.166 | 45.3474 | -0.25864
2019-03-09 21:15:00 | 0 | 0.073143 | 3.1723 | 40.7576 | 1.894 | 119.955 | 0 | 179.884 | 26.46 | 968.464 | 43.4352 | -0.2882
2019-03-09 21:30:00 | 0 | 3.1695 | 2.661 | 50.6076 | 2.4053 | 119.028 | 0 | 185.589 | 26.46 | 968.612 | 42.2742 | -0.20322
2019-03-09 21:45:00 | 0 | 9.5574 | 2.661 | 71.3315 | 2.1497 | 119.077 | 0 | 187.027 | 26.46 | 968.612 | 41.7278 | -0.20322
2019-03-09 22:00:00 | 0 | 8.8747 | 2.661 | 59.8236 | 2.1497 | 119.126 | 0 | 193.83 | 26.46 | 968.612 | 42.4449 | -0.22169
2019-03-09 22:15:00 | 0 | 5.4126 | 2.661 | 59.7261 | 1.894 | 119.126 | 0 | 190.294 | 26.46 | 968.909 | 42.6157 | -0.24016
2019-03-09 22:30:00 | 0 | 3.0232 | 2.1497 | 52.3143 | 2.4053 | 119.077 | 0 | 184.809 | 26.46 | 968.909 | 42.6498 | -0.25125
2019-03-09 22:45:00 | 0 | 0.097524 | 2.9167 | 48.7546 | 2.1497 | 119.077 | 0 | 178.421 | 26.46 | 968.909 | 42.6157 | -0.24016
2019-03-09 23:00:00 | 0 | 6.9242 | 3.428 | 50.9489 | 2.1497 | 118.492 | 0 | 192.391 | 26.46 | 968.909 | 42.9571 | -0.25864
2019-03-09 23:15:00 | 0 | 17.7007 | 2.4053 | 69.1616 | 1.894 | 118.516 | 0 | 197.097 | 26.46 | 968.612 | 43.2986 | -0.20322
2019-03-09 23:30:00 | 0 | 7.8507 | 3.1723 | 57.288 | 2.4053 | 118.492 | 0 | 188.246 | 26.46 | 968.612 | 42.5474 | -0.19583
2019-03-09 23:45:00 | 0 | 2.1455 | 3.1723 | 49.4373 | 2.9167 | 118.492 | 0 | 184.906 | 26.46 | 968.612 | 42.5474 | -0.20322