## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-10 00:00:00 | 0 | 3.2183 | 3.428 | 49.5592 | 2.1497 | 118.492 | 0 | 184.492 | 26.46 | 968.612 | 43.5376 | -0.25125
2019-03-10 00:15:00 | 0 | 69.7786 | 2.661 | 48.7303 | 2.661 | 118.419 | 0 | 180.054 | 26.46 | 968.612 | 43.6401 | -0.22169
2019-03-10 00:30:00 | 0 | 356.11 | 2.9167 | 42.8544 | 1.894 | 118.492 | 0 | 174.861 | 26.46 | 968.612 | 43.7767 | -0.25864
2019-03-10 00:45:00 | 0 | 70.0468 | 2.661 | 44.5367 | 2.661 | 118.492 | 0 | 177.177 | 26.46 | 968.612 | 43.9133 | -0.25125
2019-03-10 01:00:00 | 0 | 356.012 | 1.6383 | 44.366 | 2.1497 | 118.492 | 0 | 172.447 | 26.46 | 968.464 | 43.7084 | -0.25125
2019-03-10 01:15:00 | 0 | 356.89 | 2.1497 | 44.0735 | 2.1497 | 118.492 | 0 | 174.081 | 26.46 | 968.472 | 38.8595 | -0.24016
2019-03-10 01:30:00 | 0 | 356.89 | 1.127 | 44.0735 | 1.3827 | 118.541 | 0 | 173.593 | 26.46 | 968.622 | 40.362 | -0.24016
2019-03-10 01:45:00 | 0 | 356.89 | 1.6383 | 43.3908 | 0.75133 | 118.516 | 0 | 173.545 | 26.46 | 968.624 | 40.4985 | -0.24016
2019-03-10 02:00:00 | 0 | 356.89 | 1.6383 | 43.5858 | 1.127 | 118.516 | 0 | 173.545 | 26.46 | 968.35 | 40.9766 | -0.24016
2019-03-10 02:15:00 | 2.648 | 345.626 | 2.4053 | 42.7569 | 2.4053 | 118.492 | 36.9203 | 157.941 | 26.46 | 968.334 | 40.9083 | -0.24016
2019-03-10 02:30:00 | 0 | 340.482 | 2.4053 | 28.7378 | 1.6383 | 118.492 | 0 | 153.064 | 26.46 | 968.179 | 40.2254 | -0.24016
2019-03-10 02:45:00 | 0 | 341.823 | 2.4053 | 26.5922 | 2.1497 | 118.492 | 8.2857 | 158.306 | 26.46 | 968.03 | 39.8839 | -0.24016
2019-03-10 03:00:00 | 0 | 341.871 | 2.661 | 27.153 | 2.1497 | 118.492 | 0 | 163.768 | 26.46 | 967.877 | 39.6107 | -0.24016
2019-03-10 03:15:00 | 0 | 342.018 | 2.661 | 27.1286 | 2.4053 | 118.492 | 0 | 159.915 | 26.46 | 967.748 | 39.6107 | -0.24016
2019-03-10 03:30:00 | 0 | 336.654 | 2.9167 | 24.5686 | 2.4053 | 118.492 | 17.234 | 155.551 | 26.46 | 967.751 | 38.518 | -0.24016
2019-03-10 03:45:00 | 0 | 341.189 | 3.1723 | 24.5686 | 2.9167 | 118.443 | 0 | 162.695 | 26.46 | 967.722 | 37.7668 | -0.18474
2019-03-10 04:00:00 | 0 | 333.387 | 3.428 | 19.0585 | 3.428 | 118.443 | 0 | 155.137 | 26.46 | 967.734 | 37.5619 | -0.092371
2019-03-10 04:15:00 | 0 | 320.416 | 3.428 | 0.4801 | 2.661 | 118.492 | 0 | 151.114 | 26.46 | 967.76 | 39.8839 | -0.025864
2019-03-10 04:30:00 | 0 | 324.415 | 3.428 | 3.6984 | 3.1723 | 118.492 | 0 | 150.968 | 26.46 | 967.733 | 39.3375 | 0.018474
2019-03-10 04:45:00 | 0 | 322.172 | 3.428 | 7.6481 | 3.428 | 118.443 | 0 | 151.114 | 26.46 | 967.786 | 38.9961 | 0.055423
2019-03-10 05:00:00 | 0 | 318.953 | 3.428 | 6.9167 | 3.1723 | 118.492 | 0 | 150.212 | 26.46 | 967.804 | 39.5424 | -0.1441
2019-03-10 05:15:00 | 0 | 318.856 | 3.428 | 4.6737 | 2.9167 | 118.541 | 0 | 150.212 | 26.46 | 967.858 | 39.6107 | -0.19583
2019-03-10 05:30:00 | 0 | 327.925 | 2.9167 | 5.0637 | 2.9167 | 118.516 | 0 | 151.09 | 26.46 | 967.924 | 43.1962 | -0.20322
2019-03-10 05:45:00 | 0 | 341.384 | 3.1723 | 11.5979 | 3.1723 | 118.492 | 0 | 159.72 | 26.46 | 967.961 | 44.323 | -0.22169
2019-03-10 06:00:00 | 0 | 342.408 | 3.1723 | 13.3533 | 2.9167 | 118.492 | 0 | 161.939 | 26.46 | 967.949 | 42.001 | -0.22169
2019-03-10 06:15:00 | 0 | 341.238 | 2.4053 | 13.3533 | 2.1497 | 118.492 | 0 | 163.695 | 26.46 | 967.955 | 41.8644 | -0.24016
2019-03-10 06:30:00 | 0 | 341.238 | 2.661 | 13.2558 | 1.894 | 118.541 | 4.962 | 163.402 | 26.46 | 968.025 | 42.2742 | -0.24016
2019-03-10 06:45:00 | 0 | 341.238 | 2.1497 | 13.2558 | 0 | 118.541 | 0 | 164.767 | 26.46 | 968.25 | 43.2986 | -0.24016
2019-03-10 07:00:00 | 0 | 351.721 | 1.127 | 13.2558 | 0.75133 | 118.541 | 0 | 165.694 | 26.46 | 968.274 | 40.9766 | -0.25125
2019-03-10 07:15:00 | 0 | 0.097524 | 1.6383 | 13.3046 | 1.3827 | 118.541 | 0 | 166.62 | 26.46 | 968.323 | 40.5668 | -0.24016
2019-03-10 07:30:00 | 0 | 0.097524 | 1.6383 | 13.3046 | 0.75133 | 118.565 | 0 | 166.645 | 26.46 | 968.612 | 41.3181 | -0.24016
2019-03-10 07:45:00 | 0 | 0.097524 | 0.75133 | 13.3 | 0 | 118.573 | 0 | 166.573 | 26.46 | 968.899 | 41.0051 | -0.24016
2019-03-10 08:00:00 | 0 | 356.915 | 1.127 | 13.3176 | 0.37567 | 118.549 | 0 | 165.954 | 26.46 | 968.916 | 39.8021 | -0.25125
2019-03-10 08:15:00 | 0 | 37.6288 | 1.127 | 13.437 | 0 | 118.589 | 0 | 166.649 | 26.46 | 969.504 | 39.526 | -0.24016
2019-03-10 08:30:00 | 0 | 49.3188 | 1.3827 | 14.1138 | 0 | 118.594 | 0 | 166.646 | 26.46 | 969.95 | 38.291 | -0.24016
2019-03-10 08:45:00 | 0 | 99.9917 | 0 | 74.997 | 0.37567 | 118.801 | 0 | 233.265 | 26.46 | 970.25 | 40.1979 | -0.24016
2019-03-10 09:00:00 | 0 | 32.1522 | 2.1497 | 89.3661 | 1.894 | 118.744 | 0 | 216.857 | 26.46 | 970.544 | 37.6624 | -0.24016
2019-03-10 09:15:00 | 0 | 25.9149 | 1.6383 | 48.0024 | 1.127 | 118.761 | 0 | 222.031 | 26.46 | 970.544 | 38.2057 | -0.24016
2019-03-10 09:30:00 | 0 | 294.222 | 2.661 | 318.891 | 2.4053 | 145.065 | 0 | 108.823 | 26.46 | 970.886 | 38.7515 | -0.24016
2019-03-10 09:45:00 | 0 | 25.0844 | 1.894 | 17.4561 | 0.75133 | 306.517 | 0 | 228.78 | 26.46 | 970.396 | 37.0423 | -0.24016
2019-03-10 10:00:00 | 0 | 317.355 | 2.4053 | 328.574 | 0.37567 | 307.614 | 0 | 204.557 | 26.46 | 970.396 | 39.1201 | -0.24016
2019-03-10 10:15:00 | 0 | 171.828 | 4.195 | 210.37 | 4.7063 | 196.253 | 0 | 348.769 | 26.46 | 970.396 | 37.4489 | -0.25125
2019-03-10 10:30:00 | 0 | 269.932 | 0.37567 | 34.9311 | 1.007 | 349.017 | 0 | 136.549 | 26.46 | 970.545 | 37.5805 | -0.26972
2019-03-10 10:45:00 | 0 | 173.559 | 2.4053 | 204.74 | 2.661 | 191.577 | 0 | 354.081 | 26.46 | 970.636 | 37.6487 | -0.25125
2019-03-10 11:00:00 | 0 | 94.1152 | 0.75133 | 153.182 | 0 | 195.268 | 0 | 288.044 | 26.46 | 970.093 | 36.6283 | -0.26233
2019-03-10 11:15:00 | 0 | 219.602 | 2.661 | 213.726 | 3.1723 | 199.585 | 0 | 41.2271 | 26.46 | 969.654 | 36.766 | -0.26972
2019-03-10 11:30:00 | 0 | 188.923 | 5.4733 | 247.823 | 5.729 | 201.878 | 4.962 | 20.2121 | 26.46 | 969.654 | 35.6753 | -0.29189
2019-03-10 11:45:00 | 0 | 179.562 | 3.1723 | 232.186 | 4.195 | 197.779 | 3.9393 | 356.787 | 26.46 | 968.912 | 34.2458 | -0.18474
2019-03-10 12:00:00 | 0 | 217.013 | 4.195 | 253.349 | 4.7063 | 202.838 | 0 | 22.6025 | 26.46 | 969.061 | 33.4982 | -0.040643
2019-03-10 12:15:00 | 0 | 173.221 | 6.2403 | 235.691 | 6.7517 | 187.932 | 0 | 356.817 | 26.46 | 968.488 | 34.8286 | 0.95696
2019-03-10 12:30:00 | 0 | 210.875 | 4.4507 | 257.757 | 4.962 | 198.113 | 0.75133 | 32.5398 | 26.46 | 968.614 | 34.4192 | 1.4262
2019-03-10 12:45:00 | 0 | 183.648 | 5.2177 | 220.131 | 6.7517 | 178.631 | 2.541 | 6.9416 | 26.46 | 968.317 | 32.68 | 0.89785
2019-03-10 13:00:00 | 0 | 164.577 | 4.7063 | 219.766 | 6.7517 | 173.248 | 2.541 | 352.391 | 26.46 | 968.317 | 32.2707 | 3.1923
2019-03-10 13:15:00 | 0 | 181.749 | 5.2177 | 230.337 | 5.2177 | 172.055 | 2.661 | 353.487 | 26.46 | 968.169 | 32.4413 | 4.3673
2019-03-10 13:30:00 | 0 | 197.994 | 3.1723 | 249.627 | 3.6837 | 194.804 | 4.4507 | 343.403 | 26.46 | 968.021 | 32.6801 | 1.9435
2019-03-10 13:45:00 | 0 | 196.511 | 5.729 | 252.09 | 6.2403 | 188.448 | 3.428 | 11.5938 | 26.46 | 967.427 | 32.5439 | 3.0409
2019-03-10 14:00:00 | 0 | 201.349 | 6.2403 | 237.812 | 6.7517 | 204.272 | 0 | 10.0114 | 26.46 | 967.13 | 33.297 | 7.0572
2019-03-10 14:15:00 | 0 | 200.737 | 5.729 | 250.663 | 5.729 | 195.548 | 1.894 | 15.252 | 26.46 | 967.13 | 35.2156 | 9.2371
2019-03-10 14:30:00 | 0 | 182.928 | 5.9847 | 229.345 | 6.2403 | 189.409 | 0.37567 | 2.5339 | 26.46 | 966.833 | 36.0006 | 12.3556
2019-03-10 14:45:00 | 0 | 188.337 | 6.7517 | 233.536 | 7.263 | 189.019 | 2.9167 | 6.6759 | 26.46 | 966.536 | 36.922 | 16.298
2019-03-10 15:00:00 | 0 | 180.638 | 7.0073 | 228.566 | 7.7743 | 181.15 | 3.308 | 2.1441 | 26.46 | 966.239 | 35.1135 | 21.9954
2019-03-10 15:15:00 | 5.2013 | 183.562 | 8.2857 | 225.52 | 8.03 | 162.267 | 1.007 | 8.6981 | 26.46 | 966.091 | 35.6936 | 28.1917
2019-03-10 15:30:00 | 4.946 | 177.617 | 9.8197 | 233.244 | 10.5867 | 163.558 | 5.2177 | 1.9004 | 26.46 | 965.497 | 37.2633 | 31.0552
2019-03-10 15:45:00 | 0 | 173.645 | 7.5187 | 236.192 | 8.797 | 160.269 | 4.4507 | 331.697 | 26.46 | 965.349 | 40.5392 | 36.8007
2019-03-10 16:00:00 | 7.4993 | 175.351 | 10.0753 | 231.733 | 10.5867 | 159.928 | 4.195 | 1.6811 | 26.46 | 965.052 | 42.1088 | 47.9997
2019-03-10 16:15:00 | 3.1587 | 174.035 | 7.0073 | 230.564 | 11.3537 | 169.552 | 3.1723 | 350.336 | 26.46 | 965.243 | 41.0851 | 42.4305
2019-03-10 16:30:00 | 4.4353 | 184.049 | 10.8423 | 235.169 | 11.6093 | 184.536 | 5.2177 | 0.19492 | 26.46 | 964.727 | 40.3344 | 40.0336
2019-03-10 16:45:00 | 10.5633 | 177.103 | 8.2857 | 221.165 | 9.0527 | 180.831 | 3.1723 | 356.837 | 26.46 | 964.9 | 42.9331 | 43.9481
2019-03-10 17:00:00 | 2.5313 | 180.203 | 11.098 | 210.597 | 13.1433 | 169.213 | 4.962 | 352.316 | 26.46 | 964.604 | 43.6171 | 38.3747
2019-03-10 17:15:00 | 2.5313 | 169.091 | 5.2177 | 223.414 | 8.2857 | 181.202 | 5.2177 | 334.575 | 26.46 | 964.456 | 43.7194 | 39.1136
2019-03-10 17:30:00 | 0.372 | 145.113 | 6.496 | 195.075 | 6.7517 | 166.85 | 0.63133 | 7.6273 | 26.46 | 964.159 | 44.095 | 44.1727
2019-03-10 17:45:00 | 6.9887 | 175.328 | 8.5413 | 229.101 | 10.5867 | 184.711 | 1.2627 | 4.3625 | 26.46 | 964.159 | 43.6912 | 44.3049
2019-03-10 18:00:00 | 4.18 | 185.278 | 10.0753 | 199.4 | 11.098 | 163.221 | 3.6837 | 343.601 | 26.46 | 964.159 | 44.3071 | 58.6193
2019-03-10 18:15:00 | 1.7653 | 187.061 | 8.797 | 235.378 | 9.0527 | 199.686 | 3.6837 | 355.794 | 26.46 | 965.198 | 44.581 | 28.7187
2019-03-10 18:30:00 | 6.478 | 189.961 | 6.496 | 225.604 | 7.263 | 196.81 | 3.1723 | 11.3577 | 26.46 | 965.347 | 45.0589 | 16.1058
2019-03-10 18:45:00 | 0 | 191.862 | 4.7063 | 239.765 | 4.4507 | 201.514 | 1.774 | 14.0387 | 26.46 | 965.347 | 45.8099 | 7.1643
2019-03-10 19:00:00 | 0 | 183.137 | 4.4507 | 219.682 | 4.195 | 198.784 | 1.894 | 9.5297 | 26.46 | 965.347 | 46.9705 | 4.6112
2019-03-10 19:15:00 | 0 | 162.371 | 5.4733 | 204.424 | 5.4733 | 197.127 | 4.962 | 355.599 | 26.46 | 965.05 | 48.9503 | 7.6557
2019-03-10 19:30:00 | 3.2973 | 159.666 | 6.7517 | 197.332 | 8.2857 | 193.69 | 5.2177 | 346.8 | 26.46 | 964.753 | 52.0908 | 35.8391
2019-03-10 19:45:00 | 5.9673 | 186.5 | 8.2857 | 230.479 | 7.7743 | 192.74 | 3.428 | 3.5828 | 26.46 | 964.753 | 50.3158 | 28.0993
2019-03-10 20:00:00 | 12.606 | 157.399 | 8.03 | 196.844 | 8.2857 | 183.819 | 5.4733 | 351.406 | 26.46 | 964.753 | 53.7976 | 37.0281
2019-03-10 20:15:00 | 5.4567 | 151.989 | 8.797 | 215.1 | 8.797 | 180.992 | 4.4507 | 344.241 | 26.46 | 962.971 | 42.7377 | 50.8638
2019-03-10 20:30:00 | 4.4353 | 143.312 | 8.5413 | 195.48 | 8.797 | 176.02 | 5.2177 | 327.009 | 26.46 | 963.416 | 55.0947 | 54.8241
2019-03-10 20:45:00 | 2.5313 | 164.614 | 8.2857 | 214.612 | 6.2403 | 191.619 | 2.9167 | 342.778 | 26.46 | 963.565 | 55.6409 | 58.6483
2019-03-10 21:00:00 | 0 | 169.976 | 8.03 | 206.959 | 7.263 | 196.908 | 4.4507 | 356.208 | 26.46 | 963.866 | 51.2033 | 52.1195
2019-03-10 21:15:00 | 4.4353 | 182.479 | 8.2857 | 212.784 | 8.2857 | 181.285 | 2.1497 | 4.6064 | 26.46 | 964.011 | 51.374 | 43.5231
2019-03-10 21:30:00 | 6.478 | 173.534 | 7.7743 | 217.22 | 8.5413 | 182.723 | 3.6837 | 354.721 | 26.46 | 964.159 | 52.2273 | 47.5046
2019-03-10 21:45:00 | 6.2227 | 198.638 | 7.5187 | 241.373 | 8.797 | 194.202 | 5.4733 | 16.5247 | 26.46 | 964.459 | 54.0024 | 36.2243
2019-03-10 22:00:00 | 5.2013 | 187.573 | 9.3083 | 233.818 | 9.8197 | 195.689 | 5.729 | 12.7957 | 26.46 | 964.18 | 51.0667 | 49.2772
2019-03-10 22:15:00 | 4.6907 | 258.351 | 11.098 | 301.769 | 8.2857 | 185.915 | 4.962 | 84.9147 | 26.46 | 965.371 | 49.2917 | 65.9244
2019-03-10 22:30:00 | 5.9673 | 278.605 | 10.8423 | 318.635 | 10.0753 | 188.011 | 5.2177 | 107.094 | 26.46 | 965.659 | 54.8216 | 69.6421
2019-03-10 22:45:00 | 2.9033 | 305.829 | 8.797 | 13.2731 | 8.2857 | 190.522 | 1.007 | 126.47 | 26.46 | 965.389 | 55.4361 | 54.0453
2019-03-10 23:00:00 | 0.372 | 344.608 | 2.4053 | 19.4597 | 5.729 | 83.7454 | 4.195 | 144.093 | 26.46 | 965.245 | 54.4807 | 44.5303
2019-03-10 23:15:00 | 0 | 341.848 | 3.6837 | 30.0229 | 2.661 | 83.7129 | 2.2853 | 159.625 | 26.46 | 964.857 | 54.2864 | 29.4342
2019-03-10 23:30:00 | 2.648 | 355.522 | 4.195 | 55.7705 | 3.428 | 83.0355 | 3.9393 | 164.56 | 26.46 | 964.897 | 54.2898 | 23.8096
2019-03-10 23:45:00 | 1.138 | 356.915 | 5.4733 | 26.0315 | 3.9393 | 82.2861 | 0.37567 | 162.524 | 26.46 | 964.453 | 55.7282 | 17.1773