## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-11 00:00:00 | 1.7653 | 321.416 | 4.962 | 22.7888 | 4.195 | 81.7254 | 4.4507 | 151.699 | 26.46 | 964.48 | 56.5819 | 20.5803
2019-03-11 00:15:00 | 0.372 | 329.315 | 5.4733 | 14.6211 | 3.6837 | 80.6038 | 0 | 142.507 | 26.46 | 964.587 | 58.2551 | 20.1332
2019-03-11 00:30:00 | 0 | 320.221 | 4.4507 | 23.2764 | 3.9393 | 79.3848 | 1.894 | 140.801 | 26.46 | 964.742 | 60.2356 | 20.2625
2019-03-11 00:45:00 | 0.372 | 331.857 | 3.428 | 48.9023 | 4.195 | 78.4358 | 3.6837 | 152.629 | 26.46 | 964.748 | 62.4222 | 15.8435
2019-03-11 01:00:00 | 0 | 349.783 | 3.428 | 60.1788 | 4.4507 | 78.4231 | 0.37567 | 152.311 | 26.46 | 964.451 | 64.1395 | 12.2299
2019-03-11 01:15:00 | 1.2547 | 0.097555 | 4.4507 | 41.6538 | 3.9393 | 78.2379 | 4.195 | 166.524 | 26.46 | 964.153 | 65.9238 | 7.2567
2019-03-11 01:30:00 | 0 | 336.354 | 5.2177 | 21.6571 | 5.2177 | 77.8021 | 5.2177 | 126.63 | 26.46 | 964.451 | 67.3612 | 5.11
2019-03-11 01:45:00 | 0 | 346.281 | 3.6837 | 16.5353 | 3.1723 | 78.1437 | 0 | 159.312 | 26.46 | 964.451 | 67.2929 | 5.1395
2019-03-11 02:00:00 | 0 | 337.574 | 4.195 | 16.4866 | 3.9393 | 77.851 | 0 | 155.824 | 26.46 | 964.153 | 68.386 | 3.3697
2019-03-11 02:15:00 | 0 | 339.427 | 1.894 | 44.6807 | 2.4053 | 78.1437 | 0 | 166.311 | 26.46 | 964.005 | 70.7771 | 4.7072
2019-03-11 02:30:00 | 0 | 344.427 | 4.195 | 3.9504 | 2.9167 | 77.7778 | 0 | 150.531 | 26.46 | 963.856 | 66.6097 | 8.3873
2019-03-11 02:45:00 | 0 | 299.087 | 3.428 | 1.3651 | 3.6837 | 75.9974 | 0 | 126.386 | 26.46 | 964.153 | 68.7959 | 13.6968
2019-03-11 03:00:00 | 0 | 337.013 | 5.9847 | 18.3402 | 4.195 | 75.2901 | 4.195 | 171.409 | 26.46 | 964.153 | 73.7831 | 34.7001
2019-03-11 03:15:00 | 0 | 353.842 | 3.9393 | 25.096 | 2.661 | 74.2901 | 1.3827 | 159.287 | 26.46 | 963.708 | 81.9812 | 32.1008
2019-03-11 03:30:00 | 0 | 356.89 | 4.7063 | 63.0703 | 3.428 | 351.598 | 2.7967 | 147.141 | 26.46 | 963.559 | 87.9248 | 13.6229
2019-03-11 03:45:00 | 0 | 350.749 | 4.7063 | 37.511 | 4.195 | 352.31 | 5.729 | 152.924 | 26.46 | 963.262 | 90.9321 | 7.2382
2019-03-11 04:00:00 | 0 | 347.125 | 4.7063 | 41.2286 | 3.428 | 356.956 | 3.428 | 146.51 | 26.46 | 963.443 | 92.5874 | 9.0967
2019-03-11 04:15:00 | 0 | 354.897 | 4.962 | 42.0606 | 4.962 | 7.6356 | 3.1723 | 151.687 | 26.46 | 963.109 | 93.172 | 12.2521
2019-03-11 04:30:00 | 0 | 342.277 | 5.9847 | 24.962 | 3.6837 | 0.048792 | 2.1497 | 158.575 | 26.46 | 963.259 | 94.4409 | 13.7781
2019-03-11 04:45:00 | 0.62733 | 328.985 | 7.263 | 24.4014 | 3.9393 | 355.699 | 4.7063 | 157.82 | 26.46 | 963.556 | 86.5148 | 11.4762
2019-03-11 05:00:00 | 0 | 352.36 | 3.6837 | 9.0075 | 4.7063 | 350.92 | 0.75133 | 144.013 | 26.46 | 963.853 | 80.5702 | 12.459
2019-03-11 05:15:00 | 1.2547 | 327.202 | 3.428 | 0.78557 | 3.6837 | 348.134 | 0 | 143.279 | 26.46 | 963.824 | 81.3207 | 12.9393
2019-03-11 05:30:00 | 0 | 325.787 | 3.6837 | 13.7644 | 4.4507 | 356.234 | 0 | 150.159 | 26.46 | 963.853 | 87.1977 | 11.8974
2019-03-11 05:45:00 | 0 | 330.42 | 2.661 | 17.4724 | 2.4053 | 355.06 | 1.007 | 131.519 | 26.46 | 964.151 | 86.138 | 13.7522
2019-03-11 06:00:00 | 0 | 321.744 | 4.962 | 5.031 | 2.1497 | 355.216 | 0 | 128.327 | 26.46 | 964.002 | 89.1812 | 13.2793
2019-03-11 06:15:00 | 0 | 332.603 | 4.195 | 0.5327 | 1.3827 | 356.852 | 0.37567 | 142.004 | 26.46 | 963.853 | 91.9088 | 12.629
2019-03-11 06:30:00 | 0 | 321.188 | 5.4733 | 4.2001 | 2.661 | 357 | 0.887 | 139.541 | 26.46 | 964.002 | 91.3626 | 11.4466
2019-03-11 06:45:00 | 0 | 331.595 | 3.428 | 15.3477 | 3.1723 | 356.965 | 0 | 124.388 | 26.46 | 964.299 | 90.5399 | 9.7433
2019-03-11 07:00:00 | 0 | 286.986 | 4.7063 | 326.12 | 3.6837 | 333.873 | 0 | 112.926 | 26.46 | 965.042 | 89.7909 | 10.6412
2019-03-11 07:15:00 | 0 | 280.271 | 4.195 | 317.983 | 3.6837 | 333.861 | 0 | 101.888 | 26.46 | 965.316 | 94.598 | 10.0574
2019-03-11 07:30:00 | 0 | 283.406 | 4.195 | 330.769 | 2.661 | 333.867 | 0.37567 | 108.094 | 26.46 | 965.388 | 95.4401 | 9.5807
2019-03-11 07:45:00 | 0 | 290.771 | 4.195 | 329.939 | 3.1723 | 333.818 | 0 | 113.435 | 26.46 | 965.64 | 94.5517 | 8.8344
2019-03-11 08:00:00 | 0 | 293.722 | 4.7063 | 332.281 | 4.7063 | 333.745 | 0.37567 | 116.825 | 26.46 | 965.937 | 94.1418 | 5.9709
2019-03-11 08:15:00 | 0 | 328.343 | 2.4053 | 333.919 | 3.1723 | 333.634 | 0 | 127.831 | 26.46 | 966.502 | 86.7005 | 4.9215
2019-03-11 08:30:00 | 0 | 308.167 | 2.661 | 3.6652 | 2.9167 | 339.228 | 0 | 126.266 | 26.46 | 966.534 | 71.8776 | 3.2256
2019-03-11 08:45:00 | 0 | 346.048 | 1.894 | 47.6595 | 2.4053 | 337.249 | 0 | 168.369 | 26.46 | 966.729 | 66.8039 | 3.4473
2019-03-11 09:00:00 | 0 | 342.364 | 3.6837 | 8.5649 | 3.6837 | 7.3606 | 1.1427 | 171.755 | 26.46 | 966.832 | 61.1026 | 2.4017
2019-03-11 09:15:00 | 0 | 310.699 | 2.4053 | 8.8523 | 2.661 | 318.594 | 0 | 147.966 | 26.46 | 967.426 | 56.7234 | 2.2686
2019-03-11 09:30:00 | 0 | 307.093 | 4.195 | 17.0275 | 3.6837 | 325.44 | 0 | 122.433 | 26.46 | 967.49 | 48.9684 | 3.9794
2019-03-11 09:45:00 | 0 | 287.257 | 2.661 | 3.0423 | 2.1497 | 316.543 | 0 | 123.771 | 26.46 | 967.427 | 51.3564 | 3.9055
2019-03-11 10:00:00 | 0 | 293.177 | 4.195 | 331.506 | 2.661 | 314.74 | 0 | 117.315 | 26.46 | 967.427 | 45.8625 | 3.4177
2019-03-11 10:15:00 | 0 | 279.577 | 4.962 | 327.827 | 3.9393 | 312.898 | 0 | 116.527 | 26.46 | 967.427 | 44.0075 | 4.1345
2019-03-11 10:30:00 | 0 | 340.409 | 4.195 | 16.1273 | 4.195 | 297.98 | 0 | 110.092 | 26.46 | 967.724 | 38.4795 | 5.509
2019-03-11 10:45:00 | 0 | 324.186 | 5.729 | 16.2978 | 4.962 | 318.34 | 0 | 144.605 | 26.46 | 967.724 | 36.9783 | 9.4292
2019-03-11 11:00:00 | 0 | 292.615 | 3.6837 | 336.817 | 3.428 | 286.647 | 0 | 108.482 | 26.46 | 967.575 | 34.9309 | 14.8791
2019-03-11 11:15:00 | 0 | 280.534 | 5.729 | 317.674 | 5.2177 | 266.261 | 0 | 108.994 | 26.46 | 967.724 | 31.7244 | 20.3051
2019-03-11 11:30:00 | 0 | 279.779 | 5.729 | 327.781 | 5.2177 | 243.951 | 0.63133 | 104.853 | 26.46 | 967.724 | 28.4496 | 17.4338
2019-03-11 11:45:00 | 5.4567 | 305.986 | 7.0073 | 14.4712 | 5.9847 | 245.242 | 1.127 | 126.019 | 26.46 | 967.724 | 27.2216 | 17.9496
2019-03-11 12:00:00 | 0.372 | 285.527 | 7.263 | 326.978 | 6.496 | 245.071 | 2.1497 | 99.3974 | 26.46 | 967.573 | 24.629 | 18.6574
2019-03-11 12:15:00 | 0 | 303.234 | 8.5413 | 19.8539 | 7.5187 | 246.971 | 0 | 124.241 | 26.46 | 967.575 | 23.1963 | 21.9247
2019-03-11 12:30:00 | 13.1167 | 292.054 | 8.2857 | 335.429 | 7.5187 | 247.264 | 14.4217 | 114.864 | 26.46 | 967.397 | 20.4673 | 25.1745
2019-03-11 12:45:00 | 6.478 | 282.093 | 8.2857 | 334.942 | 6.2403 | 255.715 | 11.865 | 99.8115 | 26.46 | 966.833 | 20.8767 | 28.9239
2019-03-11 13:00:00 | 0 | 310.427 | 6.2403 | 7.8703 | 4.4507 | 307.723 | 0 | 115.622 | 26.46 | 966.833 | 21.5595 | 30.3256
2019-03-11 13:15:00 | 2.1373 | 301.613 | 8.2857 | 0.0028744 | 9.0527 | 324.825 | 5.2177 | 109.728 | 26.46 | 966.536 | 20.5022 | 35.8903
2019-03-11 13:30:00 | 8.776 | 292.285 | 7.7743 | 330.196 | 8.2857 | 297.571 | 10.0753 | 114.361 | 26.46 | 967.13 | 20.132 | 37.0738
2019-03-11 13:45:00 | 6.7333 | 304.625 | 9.0527 | 17.0763 | 7.7743 | 316.149 | 1.774 | 126.84 | 26.46 | 966.833 | 20.6106 | 34.7611
2019-03-11 14:00:00 | 0 | 301.719 | 8.03 | 19.464 | 4.962 | 328.056 | 2.4053 | 122.184 | 26.46 | 966.239 | 21.2926 | 27.6902
2019-03-11 14:15:00 | 0.372 | 297.622 | 7.0073 | 333.194 | 6.2403 | 316.698 | 2.1497 | 118.941 | 26.46 | 966.536 | 20.6098 | 34.1773
2019-03-11 14:30:00 | 4.4353 | 289.973 | 11.865 | 19.8538 | 10.331 | 288.024 | 5.2177 | 109.48 | 26.46 | 966.685 | 20.8129 | 29.7349
2019-03-11 14:45:00 | 0.99933 | 298.328 | 9.0527 | 336.231 | 7.7743 | 264.372 | 1.2627 | 116.17 | 26.46 | 966.685 | 20.1288 | 26.9534
2019-03-11 15:00:00 | 0 | 291.992 | 6.2403 | 320.828 | 4.195 | 297.789 | 0 | 116.037 | 26.46 | 966.536 | 19.9223 | 14.1623
2019-03-11 15:15:00 | 0 | 287.554 | 3.428 | 311.907 | 3.1723 | 296.517 | 0 | 89.2424 | 26.46 | 966.239 | 18.5915 | 18.7439
2019-03-11 15:30:00 | 0 | 284.236 | 5.2177 | 323.811 | 4.4507 | 281.557 | 0 | 109.262 | 26.46 | 966.239 | 18.4206 | 16.867
2019-03-11 15:45:00 | 0 | 277.563 | 6.2403 | 315.189 | 5.729 | 280.631 | 0 | 95.0133 | 26.46 | 966.239 | 18.0113 | 9.9244
2019-03-11 16:00:00 | 3.414 | 279.584 | 7.7743 | 322.934 | 5.4733 | 291.032 | 4.4507 | 104.829 | 26.46 | 966.536 | 17.8066 | 18.0778
2019-03-11 16:15:00 | 0 | 283.189 | 5.4733 | 319.452 | 5.4733 | 296.853 | 0 | 99.3243 | 26.46 | 966.239 | 19.1711 | 18.1786
2019-03-11 16:30:00 | 0 | 263.436 | 5.9847 | 309.514 | 5.9847 | 252.257 | 0 | 101.614 | 26.46 | 966.239 | 17.8066 | 15.644
2019-03-11 16:45:00 | 0 | 275.912 | 6.7517 | 304.357 | 6.2403 | 268.556 | 0 | 99.4481 | 26.46 | 965.943 | 17.6706 | 16.1095
2019-03-11 17:00:00 | 0 | 267.846 | 5.2177 | 300.928 | 4.7063 | 273.693 | 0 | 89.7936 | 26.46 | 965.646 | 18.0829 | 13.4862
2019-03-11 17:15:00 | 0 | 290.595 | 3.6837 | 309.358 | 3.428 | 275.074 | 0 | 100.991 | 26.46 | 965.052 | 18.2904 | 7.0387
2019-03-11 17:30:00 | 0 | 268.985 | 3.1723 | 306.339 | 4.195 | 262.114 | 0 | 88.8332 | 26.46 | 965.048 | 18.2222 | 3.0815
2019-03-11 17:45:00 | 0 | 243.929 | 2.661 | 295.67 | 2.1497 | 248.121 | 0 | 69.4261 | 26.46 | 964.752 | 18.2935 | 0.18474
2019-03-11 18:00:00 | 0 | 245.834 | 4.195 | 282.37 | 3.428 | 241.496 | 0.37567 | 59.8257 | 26.46 | 964.456 | 17.9525 | 1.0124
2019-03-11 18:15:00 | 0 | 232.467 | 4.195 | 268.646 | 3.9393 | 239.584 | 0 | 58.3483 | 26.46 | 964.604 | 17.9552 | 1.925
2019-03-11 18:30:00 | 0.372 | 223.303 | 3.428 | 261.115 | 3.1723 | 239.633 | 0 | 54.4487 | 26.46 | 964.604 | 17.8187 | 0.91263
2019-03-11 18:45:00 | 0 | 213.457 | 4.195 | 251.951 | 3.6837 | 239.194 | 0 | 38.7039 | 26.46 | 964.753 | 18.5697 | 2.2723
2019-03-11 19:00:00 | 1.7653 | 209.362 | 3.9393 | 243.64 | 3.1723 | 237.244 | 0 | 37.6803 | 26.46 | 964.604 | 18.7063 | 2.9559
2019-03-11 19:15:00 | 2.1373 | 206.827 | 4.4507 | 244.542 | 2.661 | 237.171 | 0 | 30.9047 | 26.46 | 964.753 | 18.7745 | 3.4214
2019-03-11 19:30:00 | 0.372 | 200.734 | 4.195 | 236.645 | 2.4053 | 237.049 | 0 | 26.4201 | 26.46 | 964.753 | 18.9111 | 3.1037
2019-03-11 19:45:00 | 1.7653 | 198.516 | 4.195 | 231.673 | 2.9167 | 236.952 | 0 | 20.79 | 26.46 | 964.753 | 18.8428 | 3.5544
2019-03-11 20:00:00 | 0 | 189.376 | 4.4507 | 230.649 | 3.6837 | 236.465 | 3.9393 | 10.4559 | 26.46 | 964.759 | 18.9111 | 8.9415
2019-03-11 20:15:00 | 0 | 186.939 | 4.962 | 226.604 | 4.7063 | 235.685 | 3.6837 | 12.8201 | 26.46 | 964.802 | 19.7303 | 9.5068
2019-03-11 20:30:00 | 1.51 | 191.667 | 4.7063 | 209.055 | 4.195 | 235.636 | 2.4053 | 16.1348 | 26.46 | 964.791 | 20.413 | 10.4269
2019-03-11 20:45:00 | 0 | 175.338 | 4.4507 | 215.806 | 3.428 | 234.417 | 5.4733 | 11.6502 | 26.46 | 964.825 | 20.6861 | 14.687
2019-03-11 21:00:00 | 0.372 | 181.699 | 4.962 | 218.682 | 4.4507 | 229.933 | 4.4507 | 5.4595 | 26.46 | 965.113 | 21.2323 | 15.6107
2019-03-11 21:15:00 | 0 | 196.298 | 4.7063 | 226.896 | 4.195 | 229.738 | 0.75133 | 18.8401 | 26.46 | 965.222 | 21.4371 | 13.2017
2019-03-11 21:30:00 | 0.62733 | 189.011 | 3.6837 | 218.902 | 3.6837 | 229.738 | 4.4507 | 10.6022 | 26.46 | 965.111 | 21.7102 | 13.1721
2019-03-11 21:45:00 | 1.51 | 183.064 | 4.4507 | 234.744 | 3.6837 | 229.64 | 2.1497 | 32.1233 | 26.46 | 965.092 | 21.8467 | 14.2399
2019-03-11 22:00:00 | 0 | 182.846 | 6.7517 | 212.421 | 3.9393 | 228.57 | 1.2627 | 7.5556 | 26.46 | 964.776 | 22.8028 | 13.5896
2019-03-11 22:15:00 | 0 | 180.919 | 5.729 | 216.562 | 4.195 | 228.373 | 0.37567 | 4.0946 | 26.46 | 964.671 | 22.1881 | 14.5392
2019-03-11 22:30:00 | 0 | 179.483 | 6.7517 | 209.423 | 6.496 | 227.473 | 1.6383 | 354.968 | 26.46 | 964.376 | 18.4333 | 16.4679
2019-03-11 22:45:00 | 0.372 | 161.908 | 7.0073 | 195.65 | 6.496 | 227.203 | 4.4507 | 89.1556 | 26.46 | 964.385 | 18.7745 | 20.9165
2019-03-11 23:00:00 | 0 | 171.56 | 6.496 | 212.76 | 6.496 | 224.961 | 0 | 355.55 | 26.46 | 964.473 | 18.8428 | 22.1395
2019-03-11 23:15:00 | 0.744 | 168.221 | 6.2403 | 214.125 | 5.729 | 209.874 | 4.195 | 352.845 | 26.46 | 964.494 | 19.389 | 24.9217
2019-03-11 23:30:00 | 0 | 156.351 | 6.2403 | 203.596 | 7.0073 | 194.446 | 3.9393 | 356.769 | 26.46 | 964.183 | 21.8467 | 25.1804
2019-03-11 23:45:00 | 4.4353 | 173.851 | 7.263 | 225.946 | 7.0073 | 173.388 | 8.5413 | 0.19498 | 26.46 | 964.166 | 22.7343 | 26.9945