## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-12 00:00:00 | 0 | 150.575 | 8.797 | 196.016 | 7.0073 | 164.857 | 2.1497 | 2.2667 | 26.46 | 964.066 | 24.2362 | 27.2384
2019-03-12 00:15:00 | 0 | 163.541 | 5.729 | 211.005 | 5.9847 | 168.391 | 1.2627 | 2.1936 | 26.46 | 963.906 | 24.9872 | 28.5131
2019-03-12 00:30:00 | 0 | 186.695 | 5.4733 | 224.41 | 5.9847 | 174.948 | 2.9167 | 3.1685 | 26.46 | 963.956 | 25.7382 | 28.5205
2019-03-12 00:45:00 | 0 | 180.261 | 4.962 | 220.047 | 4.962 | 174.241 | 5.729 | 4.6308 | 26.46 | 963.746 | 26.5574 | 27.7298
2019-03-12 01:00:00 | 0 | 190.843 | 5.9847 | 229.972 | 5.2177 | 184.896 | 0.887 | 13.2103 | 26.46 | 963.571 | 26.6263 | 26.4994
2019-03-12 01:15:00 | 0 | 187.479 | 4.962 | 221.49 | 4.962 | 181.581 | 4.4507 | 2.9492 | 26.46 | 963.566 | 26.4897 | 20.6505
2019-03-12 01:30:00 | 0 | 183.902 | 6.7517 | 223.009 | 5.729 | 186.145 | 0.887 | 5.0454 | 26.46 | 963.296 | 26.6271 | 20.2773
2019-03-12 01:45:00 | 0 | 209.573 | 6.2403 | 233.935 | 5.4733 | 198.166 | 2.4053 | 37.8294 | 26.46 | 963.269 | 27.5836 | 16.3608
2019-03-12 02:00:00 | 0.99933 | 229.972 | 7.263 | 274.547 | 3.9393 | 202.28 | 5.2177 | 58.5291 | 26.46 | 963.054 | 27.3131 | 14.7572
2019-03-12 02:15:00 | 0.744 | 297.691 | 6.2403 | 18.4886 | 5.2177 | 347.761 | 5.729 | 116.741 | 26.46 | 964.281 | 29.5664 | 8.1529
2019-03-12 02:30:00 | 0.372 | 2.2183 | 3.9393 | 46.744 | 3.9393 | 356.976 | 4.962 | 170.736 | 26.46 | 963.804 | 32.2294 | 24.5343
2019-03-12 02:45:00 | 3.414 | 344.845 | 9.564 | 64.1572 | 8.5413 | 7.1431 | 2.9167 | 177.822 | 26.46 | 962.954 | 33.052 | 56.4238
2019-03-12 03:00:00 | 5.712 | 14.8725 | 14.6773 | 63.2126 | 11.6093 | 356.988 | 5.2177 | 200.583 | 26.46 | 962.374 | 29.8446 | 86.8774
2019-03-12 03:15:00 | 4.946 | 19.1391 | 16.2113 | 68.1376 | 13.1433 | 335.606 | 4.962 | 204.972 | 26.46 | 962.578 | 27.6592 | 86.5976
2019-03-12 03:30:00 | 5.9673 | 9.3136 | 16.9783 | 64.456 | 14.166 | 352.16 | 5.2177 | 190.319 | 26.46 | 962.801 | 27.5226 | 87.1335
2019-03-12 03:45:00 | 4.946 | 12.922 | 12.3763 | 63.4808 | 13.399 | 344.139 | 5.4733 | 196.268 | 26.46 | 963.113 | 27.9324 | 89.3303
2019-03-12 04:00:00 | 6.9887 | 17.1442 | 15.1887 | 69.501 | 9.3083 | 355.736 | 5.9847 | 201.194 | 26.46 | 962.965 | 28.1102 | 85.8793
2019-03-12 04:15:00 | 5.9673 | 3.8779 | 18.001 | 67.2401 | 15.7 | 7.6826 | 6.7517 | 190.479 | 26.46 | 962.519 | 27.6684 | 86.5222
2019-03-12 04:30:00 | 6.2227 | 8.3168 | 14.933 | 63.2167 | 10.0753 | 17.3653 | 4.7063 | 190.189 | 26.46 | 962.668 | 28.8301 | 84.5565
2019-03-12 04:45:00 | 6.9887 | 13.78 | 18.5123 | 69.0945 | 15.7 | 352.695 | 6.2403 | 196.31 | 26.46 | 962.965 | 29.6499 | 85.3694
2019-03-12 05:00:00 | 6.478 | 8.7802 | 14.6773 | 55.9486 | 14.933 | 0.048779 | 6.2403 | 187.92 | 26.46 | 963.411 | 32.1776 | 87.9558
2019-03-12 05:15:00 | 6.2227 | 2.1463 | 14.933 | 63.0703 | 11.6093 | 3.634 | 4.962 | 188.213 | 26.46 | 962.965 | 31.2895 | 85.4418
2019-03-12 05:30:00 | 4.4353 | 4.2194 | 13.1433 | 69.9481 | 12.1207 | 19.3652 | 4.962 | 181.725 | 26.46 | 963.708 | 31.0162 | 83.8434
2019-03-12 05:45:00 | 5.9673 | 5.2925 | 11.865 | 55.3877 | 13.9103 | 2.9999 | 3.9393 | 195.31 | 26.46 | 963.281 | 32.2459 | 80.8174
2019-03-12 06:00:00 | 6.478 | 5.5609 | 15.4443 | 66.1695 | 12.8877 | 3.6341 | 5.729 | 182.022 | 26.46 | 963.798 | 33.8179 | 84.3475
2019-03-12 06:15:00 | 5.9673 | 5.9764 | 12.3763 | 63.3282 | 10.8423 | 352.633 | 2.9167 | 193.001 | 26.46 | 964.371 | 34.5746 | 81.7854
2019-03-12 06:30:00 | 5.712 | 0.12198 | 11.3537 | 64.5312 | 10.331 | 349.42 | 4.7063 | 189.628 | 26.46 | 965.042 | 35.1244 | 76.8897
2019-03-12 06:45:00 | 5.2013 | 10.9293 | 11.098 | 59.0423 | 10.5867 | 353.055 | 4.4507 | 195.63 | 26.46 | 965.488 | 34.0994 | 77.3278
2019-03-12 07:00:00 | 6.2227 | 11.3198 | 11.3537 | 53.1393 | 9.564 | 348.546 | 5.2177 | 205.707 | 26.46 | 965.919 | 34.0315 | 71.5737
2019-03-12 07:15:00 | 5.4567 | 21.0514 | 9.8197 | 54.7654 | 8.797 | 356.435 | 5.2177 | 183.047 | 26.46 | 966.207 | 32.1827 | 68.9585
2019-03-12 07:30:00 | 5.9673 | 21.4139 | 12.8877 | 69.2898 | 9.3083 | 356.964 | 2.9167 | 177.945 | 26.46 | 966.262 | 31.9044 | 67.612
2019-03-12 07:45:00 | 6.478 | 17.2677 | 13.6547 | 61.9728 | 12.1207 | 345.183 | 5.4733 | 173.262 | 26.46 | 966.531 | 29.24 | 67.7635
2019-03-12 08:00:00 | 12.8613 | 11.0484 | 10.0753 | 75.8504 | 5.4733 | 356.646 | 3.428 | 194.871 | 26.46 | 967.422 | 27.8053 | 71.1151
2019-03-12 08:15:00 | 7.244 | 11.9996 | 14.6773 | 78.3381 | 5.9847 | 355.768 | 4.962 | 198.627 | 26.46 | 967.72 | 23.9112 | 74.9872
2019-03-12 08:30:00 | 5.2013 | 5.5608 | 10.8423 | 74.509 | 10.8423 | 10.9265 | 4.7063 | 187.799 | 26.46 | 968.017 | 22.7498 | 76.7258
2019-03-12 08:45:00 | 5.9673 | 26.9976 | 15.4443 | 86.2833 | 5.9847 | 347.823 | 5.4733 | 196.032 | 26.46 | 968.314 | 22.8852 | 81.5555
2019-03-12 09:00:00 | 7.7547 | 19.1917 | 14.4217 | 74.5686 | 11.3537 | 335.136 | 5.729 | 191.039 | 26.46 | 968.165 | 20.5607 | 71.6357
2019-03-12 09:15:00 | 11.074 | 348.372 | 10.8423 | 68.2452 | 10.5867 | 338.887 | 3.6837 | 179.782 | 26.46 | 968.908 | 20.6272 | 78.3814
2019-03-12 09:30:00 | 5.9673 | 350.528 | 11.098 | 55.1724 | 11.098 | 5.5593 | 4.195 | 175.874 | 26.46 | 968.314 | 21.3777 | 79.53
2019-03-12 09:45:00 | 4.6907 | 356.964 | 9.3083 | 61.8474 | 8.03 | 356.671 | 3.1723 | 165.84 | 26.46 | 969.503 | 21.0347 | 67.6985
2019-03-12 10:00:00 | 4.18 | 10.1913 | 9.0527 | 84.2779 | 9.3083 | 0 | 3.1723 | 164.889 | 26.46 | 969.482 | 20.5908 | 63.9727
2019-03-12 10:15:00 | 5.2013 | 351.307 | 8.5413 | 40.7333 | 2.1497 | 320.855 | 1.2627 | 136.973 | 26.46 | 969.658 | 19.942 | 68.7661
2019-03-12 10:30:00 | 5.4567 | 355.964 | 11.6093 | 47.4137 | 10.8423 | 327.072 | 5.2177 | 182.102 | 26.46 | 969.504 | 17.6882 | 70.2779
2019-03-12 10:45:00 | 5.4567 | 26.1853 | 13.1433 | 75.7202 | 6.496 | 334.143 | 3.9393 | 200.12 | 26.46 | 969.801 | 17.9614 | 65.4025
2019-03-12 11:00:00 | 8.2653 | 343.962 | 7.263 | 37.2417 | 5.2177 | 294.205 | 3.6837 | 164.923 | 26.46 | 970.395 | 18.6768 | 63.0611
2019-03-12 11:15:00 | 6.2227 | 267.268 | 9.0527 | 74.2897 | 2.661 | 288.329 | 5.4733 | 163.959 | 26.46 | 970.203 | 17.89 | 62.309
2019-03-12 11:30:00 | 9.542 | 9.8223 | 5.4733 | 79.1 | 3.6837 | 281.117 | 4.962 | 224.328 | 26.46 | 970.62 | 15.7024 | 54.8098
2019-03-12 11:45:00 | 0.372 | 40.8731 | 5.2177 | 102.473 | 5.4733 | 313.214 | 5.729 | 209.947 | 26.46 | 970.099 | 16.863 | 50.1181
2019-03-12 12:00:00 | 5.9673 | 9.5297 | 7.7743 | 109.005 | 6.2403 | 336.856 | 2.541 | 185.209 | 26.46 | 970.395 | 16.5899 | 44.4345
2019-03-12 12:15:00 | 0 | 0.14624 | 5.9847 | 77.881 | 4.962 | 20.0588 | 0.63133 | 156.01 | 26.46 | 970.098 | 16.4192 | 48.7765
2019-03-12 12:30:00 | 15.1593 | 17.6946 | 9.8197 | 56.823 | 3.6837 | 355.94 | 7.7743 | 199.613 | 26.46 | 970.395 | 16.1802 | 45.5418
2019-03-12 12:45:00 | 8.01 | 350.919 | 5.9847 | 45.8796 | 3.9393 | 352.089 | 4.4507 | 165.637 | 26.46 | 970.098 | 15.1903 | 44.1992
2019-03-12 13:00:00 | 7.7547 | 15.2817 | 8.03 | 89.6531 | 4.962 | 0.5362 | 5.9847 | 192.35 | 26.46 | 969.95 | 15.8048 | 40.5275
2019-03-12 13:15:00 | 0 | 307.584 | 5.4733 | 17.6115 | 4.962 | 289.475 | 1.127 | 140.241 | 26.46 | 970.395 | 15.0879 | 39.6321
2019-03-12 13:30:00 | 0.744 | 330.373 | 4.7063 | 14.2194 | 5.9847 | 288.525 | 2.661 | 173.583 | 26.46 | 970.098 | 14.61 | 27.6025
2019-03-12 13:45:00 | 3.414 | 16.7197 | 7.7743 | 71.3248 | 6.7517 | 292.766 | 1.5183 | 197.322 | 26.46 | 970.098 | 15.5658 | 34.6983
2019-03-12 14:00:00 | 0 | 354.794 | 6.2403 | 33.742 | 5.2177 | 292.424 | 0 | 183.429 | 26.46 | 970.395 | 14.61 | 25.5437
2019-03-12 14:15:00 | 0.372 | 342.632 | 3.9393 | 36.886 | 4.4507 | 295.544 | 3.8193 | 160.47 | 26.46 | 970.395 | 15.7365 | 32.5923
2019-03-12 14:30:00 | 4.946 | 345.484 | 7.263 | 23.7491 | 5.729 | 298.079 | 5.729 | 167.441 | 26.46 | 970.247 | 13.6883 | 34.0929
2019-03-12 14:45:00 | 0 | 15.0624 | 2.1497 | 7.5211 | 4.195 | 297.665 | 1.1427 | 166.076 | 26.46 | 970.247 | 15.9754 | 24.3897
2019-03-12 15:00:00 | 0 | 327.18 | 5.4733 | 14 | 4.7063 | 302.174 | 0.37567 | 140.509 | 26.46 | 970.247 | 15.2244 | 29.5868
2019-03-12 15:15:00 | 1.2547 | 31.8986 | 7.0073 | 74.1606 | 3.1723 | 309.044 | 4.195 | 177.818 | 26.46 | 970.395 | 15.2902 | 21.3895
2019-03-12 15:30:00 | 0 | 260.207 | 1.127 | 216.058 | 1.007 | 319.301 | 0 | 289.742 | 26.46 | 970.395 | 15.4948 | 22.4794
2019-03-12 15:45:00 | 0.62733 | 284.719 | 3.428 | 336.849 | 3.428 | 301.826 | 1.007 | 147.331 | 26.46 | 970.098 | 15.4264 | 19.058
2019-03-12 16:00:00 | 0 | 9.796 | 3.6837 | 73.7197 | 1.3827 | 307.379 | 4.962 | 180.787 | 26.46 | 970.098 | 16.4843 | 18.9361
2019-03-12 16:15:00 | 0 | 317.616 | 7.263 | 22.2302 | 4.195 | 319.224 | 5.9847 | 133.977 | 26.46 | 970.098 | 15.0169 | 11.539
2019-03-12 16:30:00 | 0 | 10.1859 | 4.962 | 66.6048 | 4.195 | 320.686 | 5.4733 | 190.511 | 26.46 | 969.801 | 17.3376 | 7.8479
2019-03-12 16:45:00 | 0 | 2.8759 | 5.9847 | 65.2055 | 4.962 | 322.738 | 4.7063 | 187.74 | 26.46 | 969.504 | 16.6578 | 5.7048
2019-03-12 17:00:00 | 0 | 18.8645 | 5.2177 | 66.7183 | 1.3827 | 320.867 | 0 | 211.702 | 26.46 | 969.207 | 15.4975 | 4.5521
2019-03-12 17:15:00 | 0 | 16.0129 | 4.7063 | 67.157 | 1.894 | 321.038 | 0.37567 | 194.3 | 26.46 | 969.504 | 14.8831 | 1.0641
2019-03-12 17:30:00 | 0 | 14.0875 | 2.9167 | 69.8867 | 0 | 320.892 | 0 | 197.444 | 26.46 | 969.801 | 15.4293 | -0.17366
2019-03-12 17:45:00 | 0 | 16.7685 | 1.6383 | 48.5362 | 0 | 319.917 | 0 | 198.638 | 26.46 | 969.504 | 14.0638 | -0.2882
2019-03-12 18:00:00 | 0 | 56.8616 | 1.894 | 112.588 | 1.3827 | 320.112 | 0 | 232.589 | 26.46 | 968.925 | 14.9514 | -0.26233
2019-03-12 18:15:00 | 0 | 76.7404 | 1.894 | 132.116 | 1.6383 | 320.321 | 0 | 259.523 | 26.46 | 968.585 | 15.0908 | -0.25125
2019-03-12 18:30:00 | 0 | 86.2601 | 1.127 | 135.771 | 1.127 | 320.148 | 0 | 265.217 | 26.46 | 968.523 | 14.6833 | -0.24016
2019-03-12 18:45:00 | 0 | 127.017 | 0 | 172.622 | 0 | 318.761 | 0 | 302.274 | 26.46 | 968.611 | 14.9612 | -0.24016
2019-03-12 19:00:00 | 0 | 127.044 | 0 | 172.628 | 0 | 318.721 | 0 | 302.282 | 26.46 | 968.76 | 14.4833 | -0.25125
2019-03-12 19:15:00 | 0 | 126.971 | 0.37567 | 172.53 | 0.75133 | 318.77 | 0 | 302.258 | 26.46 | 968.611 | 14.2784 | -0.25125
2019-03-12 19:30:00 | 0 | 86.8111 | 0.75133 | 170.989 | 0 | 318.803 | 0 | 301.729 | 26.46 | 969.221 | 14.2116 | -0.25125
2019-03-12 19:45:00 | 0 | 86.8221 | 0.75133 | 171.014 | 0.75133 | 318.795 | 0 | 301.792 | 26.46 | 969.202 | 14.2134 | -0.25125
2019-03-12 20:00:00 | 0 | 87.2406 | 0.37567 | 171.9 | 0 | 318.76 | 0 | 303.073 | 26.46 | 969.799 | 14.1457 | -0.25125
2019-03-12 20:15:00 | 0 | 165.38 | 2.4053 | 212.883 | 2.4053 | 259.133 | 0 | 349.105 | 26.46 | 970.096 | 14.4872 | -0.26972
2019-03-12 20:30:00 | 0 | 182.002 | 3.1723 | 232.144 | 2.4053 | 258.902 | 0 | 3.1716 | 26.46 | 970.393 | 13.9412 | -0.29189
2019-03-12 20:45:00 | 0 | 170.841 | 3.9393 | 221.734 | 2.4053 | 256.689 | 0 | 354.319 | 26.46 | 970.683 | 14.8286 | 0.099761
2019-03-12 21:00:00 | 0 | 175.614 | 3.9393 | 222.137 | 2.661 | 256.286 | 0 | 355.912 | 26.46 | 970.949 | 15.3062 | 0.60596
2019-03-12 21:15:00 | 1.138 | 152.039 | 4.195 | 201.631 | 3.1723 | 256.073 | 0 | 335.08 | 26.46 | 970.924 | 15.1343 | 1.4225
2019-03-12 21:30:00 | 0 | 157.473 | 4.4507 | 204.355 | 4.195 | 254.893 | 0 | 346.069 | 26.46 | 970.729 | 15.4754 | 2.4164
2019-03-12 21:45:00 | 0 | 152.302 | 3.428 | 201.673 | 2.9167 | 255.016 | 0 | 336.412 | 26.46 | 970.908 | 14.6214 | 2.5199
2019-03-12 22:00:00 | 0 | 157.657 | 4.962 | 207.95 | 4.7063 | 253.608 | 4.4507 | 340.095 | 26.46 | 970.776 | 14.8253 | 4.3636
2019-03-12 22:15:00 | 0 | 154.588 | 3.9393 | 205.906 | 2.4053 | 254.297 | 0 | 333.371 | 26.46 | 970.865 | 14.2791 | 2.1098
2019-03-12 22:30:00 | 0 | 156.242 | 3.9393 | 204.436 | 3.428 | 253.801 | 0 | 338.239 | 26.46 | 971.119 | 13.5272 | 3.7798
2019-03-12 22:45:00 | 0 | 158.483 | 3.6837 | 204.334 | 2.4053 | 254.041 | 0 | 342.965 | 26.46 | 971.25 | 13.6636 | 4.02
2019-03-12 23:00:00 | 0 | 142.873 | 4.7063 | 190.676 | 4.7063 | 252.626 | 3.6837 | 332.55 | 26.46 | 970.711 | 14.7566 | 2.8081
2019-03-12 23:15:00 | 0 | 171.677 | 2.661 | 220.138 | 3.9393 | 253.308 | 0 | 355.403 | 26.46 | 970.994 | 13.1853 | 2.5125
2019-03-12 23:30:00 | 0.372 | 158.214 | 4.195 | 207.358 | 3.6837 | 253.016 | 2.1497 | 339.476 | 26.46 | 971.286 | 13.5952 | 5.0102
2019-03-12 23:45:00 | 0.62733 | 153.97 | 5.729 | 210.748 | 5.729 | 251.162 | 5.9847 | 345.598 | 26.46 | 971.286 | 14.7566 | 9.4588