## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-13 00:00:00 | 0 | 158.19 | 5.9847 | 204.748 | 4.7063 | 251.065 | 1.774 | 343.501 | 26.46 | 971.286 | 15.0982 | 9.2667
2019-03-13 00:15:00 | 0 | 156.8 | 5.729 | 206.822 | 4.962 | 251.065 | 2.0297 | 342.891 | 26.46 | 971.304 | 14.62 | 8.3134
2019-03-13 00:30:00 | 0 | 154.287 | 4.7063 | 200.895 | 4.7063 | 250.87 | 5.2177 | 340.818 | 26.46 | 971.739 | 14.4834 | 6.2997
2019-03-13 00:45:00 | 0 | 160.238 | 5.2177 | 206.09 | 4.962 | 251.065 | 5.4733 | 344.574 | 26.46 | 971.609 | 14.1418 | 5.6494
2019-03-13 01:00:00 | 1.7653 | 156.531 | 4.962 | 203.163 | 3.9393 | 251.552 | 0.37567 | 344.062 | 26.46 | 971.585 | 14.4834 | 5.8489
2019-03-13 01:15:00 | 0 | 167.311 | 4.195 | 206.285 | 2.9167 | 251.65 | 0 | 354.817 | 26.46 | 971.598 | 13.5952 | 5.4351
2019-03-13 01:30:00 | 0 | 155.019 | 3.9393 | 204.236 | 3.1723 | 251.552 | 1.894 | 344.622 | 26.46 | 971.588 | 13.6294 | 7.5449
2019-03-13 01:45:00 | 2.5313 | 155.385 | 6.2403 | 206.309 | 4.962 | 250.089 | 1.2627 | 337.111 | 26.46 | 971.315 | 13.8002 | 12.3703
2019-03-13 02:00:00 | 0 | 161.214 | 4.962 | 198.407 | 4.962 | 249.528 | 0 | 343.159 | 26.46 | 971.291 | 14.415 | 12.6216
2019-03-13 02:15:00 | 0 | 159.58 | 4.962 | 210.797 | 4.7063 | 249.309 | 3.6837 | 344.818 | 26.46 | 971.294 | 14.2784 | 13.8852
2019-03-13 02:30:00 | 0 | 163.458 | 5.9847 | 211.748 | 4.4507 | 248.626 | 3.6837 | 350.354 | 26.46 | 970.989 | 14.2784 | 14.6464
2019-03-13 02:45:00 | 0.372 | 164.726 | 4.7063 | 209.895 | 4.4507 | 247.162 | 4.4507 | 351.842 | 26.46 | 971.137 | 13.8685 | 12.1376
2019-03-13 03:00:00 | 3.6693 | 164.433 | 3.9393 | 218.675 | 3.6837 | 246.577 | 0.37567 | 348.671 | 26.46 | 970.995 | 14.0051 | 8.5979
2019-03-13 03:15:00 | 0 | 169.848 | 4.4507 | 207.7 | 4.4507 | 246.479 | 0.37567 | 0.19512 | 26.46 | 971.018 | 13.322 | 9.6583
2019-03-13 03:30:00 | 0.88267 | 173.677 | 5.4733 | 220.821 | 4.195 | 246.089 | 3.6837 | 356.768 | 26.46 | 970.989 | 13.5269 | 10.6116
2019-03-13 03:45:00 | 0 | 187.555 | 5.2177 | 231.309 | 5.2177 | 245.138 | 3.9393 | 8.39 | 26.46 | 971.287 | 12.8437 | 8.4353
2019-03-13 04:00:00 | 0 | 181.335 | 5.9847 | 229.601 | 5.4733 | 244.016 | 2.661 | 8.4875 | 26.46 | 971.435 | 11.1358 | 8.2173
2019-03-13 04:15:00 | 3.9247 | 185.36 | 4.7063 | 220.48 | 3.1723 | 242.577 | 1.007 | 21.0725 | 26.46 | 971.731 | 12.0239 | 6.3293
2019-03-13 04:30:00 | 0 | 186.286 | 4.962 | 234.869 | 4.962 | 240.797 | 1.6383 | 16.1946 | 26.46 | 971.88 | 13.2536 | 6.6138
2019-03-13 04:45:00 | 0 | 192.042 | 5.2177 | 231.284 | 4.7063 | 240.089 | 1.2627 | 15.0483 | 26.46 | 971.88 | 12.3655 | 6.0189
2019-03-13 05:00:00 | 0 | 193.213 | 4.195 | 245.65 | 4.4507 | 239.675 | 1.6383 | 16.8287 | 26.46 | 971.88 | 15.2348 | 6.0263
2019-03-13 05:15:00 | 0 | 187.164 | 5.4733 | 231.967 | 5.2177 | 239.455 | 2.1497 | 11.4386 | 26.46 | 972.474 | 12.5705 | 6.6618
2019-03-13 05:30:00 | 0 | 196.262 | 4.962 | 224.699 | 3.9393 | 239.163 | 1.3827 | 17.6823 | 26.46 | 972.474 | 13.8002 | 6.8909
2019-03-13 05:45:00 | 0.99933 | 198.457 | 4.4507 | 231.845 | 4.195 | 238.846 | 4.4507 | 18.7311 | 26.46 | 972.474 | 14.4834 | 8.258
2019-03-13 06:00:00 | 0.99933 | 182.872 | 4.4507 | 228.235 | 4.195 | 238.772 | 4.962 | 18.4384 | 26.46 | 972.623 | 14.3467 | 7.3749
2019-03-13 06:15:00 | 0.372 | 195.554 | 4.962 | 244.796 | 3.428 | 238.675 | 2.661 | 19.5847 | 26.46 | 972.772 | 16.6695 | 8.04
2019-03-13 06:30:00 | 0.372 | 184.53 | 5.2177 | 211.358 | 3.6837 | 238.382 | 5.9847 | 5.8047 | 26.46 | 973.069 | 16.2596 | 9.3886
2019-03-13 06:45:00 | 0 | 191.774 | 3.9393 | 226.821 | 4.195 | 237.894 | 5.4733 | 16.5848 | 26.46 | 973.069 | 17.4552 | 9.2482
2019-03-13 07:00:00 | 0 | 193.579 | 5.2177 | 234.699 | 4.962 | 237.577 | 5.2177 | 28.1454 | 26.46 | 973.366 | 17.626 | 7.8294
2019-03-13 07:15:00 | 0 | 203.304 | 4.962 | 252.129 | 3.9393 | 237.79 | 4.195 | 23.2424 | 26.46 | 973.663 | 17.2838 | 7.8442
2019-03-13 07:30:00 | 0 | 196.586 | 4.962 | 234.491 | 4.962 | 237.132 | 5.2177 | 30.7204 | 26.46 | 974.079 | 18.0981 | 7.1384
2019-03-13 07:45:00 | 1.2547 | 199.413 | 4.195 | 240.39 | 3.9393 | 237.667 | 0.75133 | 21.8698 | 26.46 | 973.963 | 18.2346 | 6.3477
2019-03-13 08:00:00 | 0 | 223.759 | 4.962 | 249.467 | 4.195 | 237.484 | 2.661 | 31.3736 | 26.46 | 974.382 | 18.4366 | 4.6149
2019-03-13 08:15:00 | 0 | 210.291 | 4.195 | 266.287 | 3.6837 | 237.175 | 5.4733 | 22.4233 | 26.46 | 974.746 | 19.321 | 2.7933
2019-03-13 08:30:00 | 0 | 249.26 | 4.4507 | 262.748 | 4.7063 | 219.696 | 5.4733 | 66.0258 | 26.46 | 974.853 | 19.7986 | 3.0815
2019-03-13 08:45:00 | 0 | 230.591 | 3.9393 | 286.073 | 2.661 | 199.272 | 0 | 76.238 | 26.46 | 974.998 | 19.6621 | 1.0752
2019-03-13 09:00:00 | 0 | 236.857 | 4.195 | 299.683 | 3.9393 | 193.262 | 0 | 54.0969 | 26.46 | 975.295 | 20.6821 | 1.4632
2019-03-13 09:15:00 | 0 | 213.977 | 4.962 | 249.39 | 4.7063 | 180.154 | 0.37567 | 66.3789 | 26.46 | 975.432 | 19.2488 | 1.7698
2019-03-13 09:30:00 | 0 | 172.262 | 4.195 | 222.945 | 3.428 | 174.601 | 0 | 353.051 | 26.46 | 975.437 | 19.7242 | 1.9952
2019-03-13 09:45:00 | 0 | 219.993 | 3.9393 | 235.98 | 3.428 | 183.762 | 0 | 37.5223 | 26.46 | 975.438 | 20.0654 | 1.7255
2019-03-13 10:00:00 | 0 | 209.096 | 3.428 | 267.184 | 3.9393 | 176.837 | 0 | 30.2606 | 26.46 | 975.455 | 21.1909 | 1.707
2019-03-13 10:15:00 | 0 | 294.664 | 4.4507 | 14.2987 | 3.6837 | 178.689 | 0.37567 | 122.821 | 26.46 | 975.591 | 22.1123 | 1.3856
2019-03-13 10:30:00 | 0 | 301.127 | 5.2177 | 334.591 | 4.962 | 181.071 | 1.894 | 124.343 | 26.46 | 975.591 | 22.515 | 2.3056
2019-03-13 10:45:00 | 0 | 290.135 | 3.1723 | 318.312 | 4.195 | 181.213 | 0 | 117.861 | 26.46 | 975.739 | 22.7191 | 2.2871
2019-03-13 11:00:00 | 0 | 306.059 | 4.7063 | 9.673 | 4.962 | 182.89 | 0 | 133.959 | 26.46 | 975.739 | 21.2519 | 2.4053
2019-03-13 11:15:00 | 0 | 278.318 | 4.4507 | 323.86 | 2.4053 | 181.21 | 0 | 100.713 | 26.46 | 975.739 | 19.6145 | 1.7329
2019-03-13 11:30:00 | 0 | 325.544 | 4.4507 | 4.7458 | 4.962 | 185.155 | 0 | 138.562 | 26.46 | 975.714 | 17.3972 | 1.441
2019-03-13 11:45:00 | 0 | 285.698 | 5.2177 | 323.081 | 5.4733 | 275.078 | 0 | 111.259 | 26.46 | 975.856 | 16.4421 | 2.6049
2019-03-13 12:00:00 | 0 | 295.83 | 5.729 | 14.8365 | 4.962 | 248.968 | 0 | 116.909 | 26.46 | 975.372 | 16.9197 | 3.196
2019-03-13 12:15:00 | 0 | 316.094 | 3.9393 | 335.137 | 1.894 | 245.364 | 0 | 160.507 | 26.46 | 975.18 | 14.5659 | 3.4214
2019-03-13 12:30:00 | 0 | 16.5622 | 4.962 | 328.025 | 4.4507 | 249.407 | 0 | 233.064 | 26.46 | 975.044 | 16.2374 | 1.2378
2019-03-13 12:45:00 | 0 | 300.262 | 3.9393 | 11.6946 | 4.195 | 249.236 | 0 | 123.632 | 26.46 | 975.141 | 16.1351 | 1.0272
2019-03-13 13:00:00 | 0 | 247.631 | 4.7063 | 293.466 | 4.962 | 243.539 | 0 | 69.7809 | 26.46 | 974.997 | 15.8282 | 2.143
2019-03-13 13:15:00 | 0 | 308.223 | 2.1497 | 4.7475 | 2.9167 | 225.796 | 0 | 139.132 | 26.46 | 974.7 | 15.2492 | 0.8572
2019-03-13 13:30:00 | 0 | 228.229 | 4.195 | 271.913 | 4.7063 | 224.818 | 0.75133 | 44.2425 | 26.46 | 974.849 | 15.3205 | 2.5716
2019-03-13 13:45:00 | 0 | 237.642 | 7.263 | 286.559 | 8.5413 | 159.078 | 2.9167 | 67.7237 | 26.46 | 974.849 | 15.8313 | 3.1997
2019-03-13 14:00:00 | 0.62733 | 214.992 | 4.195 | 248.155 | 5.9847 | 157.833 | 4.962 | 36.5223 | 26.46 | 974.552 | 15.0486 | 2.9781
2019-03-13 14:15:00 | 0 | 235.994 | 3.6837 | 288.624 | 3.9393 | 146.235 | 0 | 57.1346 | 26.46 | 974.7 | 15.97 | 3.0704
2019-03-13 14:30:00 | 0 | 269.032 | 5.2177 | 325.244 | 3.9393 | 148.526 | 0 | 79.2819 | 26.46 | 974.997 | 16.1747 | 1.5925
2019-03-13 14:45:00 | 0 | 255.582 | 4.4507 | 282.82 | 3.428 | 132.139 | 4.195 | 94.2078 | 26.46 | 975.145 | 15.7636 | 0.30298
2019-03-13 15:00:00 | 0 | 231.984 | 3.9393 | 273.22 | 4.7063 | 133.262 | 1.774 | 47.6926 | 26.46 | 975.145 | 15.8974 | 1.8474
2019-03-13 15:15:00 | 0 | 258.4 | 2.661 | 267.652 | 0.75133 | 124.657 | 0 | 79.0617 | 26.46 | 974.997 | 16.3742 | 0.76853
2019-03-13 15:30:00 | 0 | 271.38 | 2.1497 | 330.733 | 1.6383 | 81.5942 | 0 | 101.445 | 26.46 | 975.145 | 15.3507 | -0.19952
2019-03-13 15:45:00 | 0 | 297.681 | 2.9167 | 298.042 | 3.428 | 125.142 | 0 | 113.5 | 26.46 | 975.294 | 17.1585 | 0.60965
2019-03-13 16:00:00 | 0 | 284.918 | 3.6837 | 326.978 | 3.6837 | 283.481 | 0 | 117.202 | 26.46 | 975.294 | 17.1926 | 0.39535
2019-03-13 16:15:00 | 0 | 275.273 | 4.4507 | 318.989 | 4.195 | 290.812 | 0 | 90.5805 | 26.46 | 974.997 | 17.6701 | 2.1098
2019-03-13 16:30:00 | 0 | 265.194 | 4.7063 | 322.356 | 3.1723 | 308.208 | 0 | 101.128 | 26.46 | 974.849 | 17.6704 | 1.5592
2019-03-13 16:45:00 | 0 | 264.56 | 3.428 | 316.802 | 3.1723 | 283.851 | 0 | 88.4628 | 26.46 | 974.552 | 17.9433 | 2.2095
2019-03-13 17:00:00 | 0 | 254.543 | 4.7063 | 300.506 | 4.4507 | 274.907 | 1.007 | 78.9206 | 26.46 | 974.552 | 18.1493 | 1.2636
2019-03-13 17:15:00 | 0 | 268.641 | 4.7063 | 309.917 | 4.4507 | 276.048 | 0 | 86.2497 | 26.46 | 974.552 | 18.4951 | 1.175
2019-03-13 17:30:00 | 0 | 257.63 | 4.4507 | 318.422 | 4.7063 | 277.901 | 0 | 76.0414 | 26.46 | 974.122 | 19.0411 | 1.3117
2019-03-13 17:45:00 | 0 | 255.527 | 3.428 | 301.054 | 3.6837 | 272.853 | 0 | 76.9799 | 26.46 | 973.655 | 19.4538 | 0.4286
2019-03-13 18:00:00 | 0 | 255.175 | 3.6837 | 296.982 | 3.428 | 272.723 | 0 | 70.6057 | 26.46 | 973.662 | 19.8662 | -0.029559
2019-03-13 18:15:00 | 0 | 230.518 | 3.428 | 271.449 | 3.6837 | 271.854 | 0 | 52.2796 | 26.46 | 973.365 | 19.4572 | -0.15149
2019-03-13 18:30:00 | 8.2653 | 216.381 | 2.661 | 251.074 | 1.894 | 271.902 | 0 | 38.7527 | 26.46 | 973.224 | 19.7303 | -0.27711
2019-03-13 18:45:00 | 0 | 201.611 | 2.1497 | 243.859 | 2.1497 | 271.878 | 0 | 31.7577 | 26.46 | 973.41 | 19.5938 | -0.25864
2019-03-13 19:00:00 | 0 | 199.011 | 4.195 | 230.056 | 3.1723 | 271.897 | 2.1497 | 19.0869 | 26.46 | 973.441 | 19.6652 | -0.0073897
2019-03-13 19:15:00 | 2.5313 | 175.199 | 3.6837 | 210.487 | 2.661 | 271.806 | 0.37567 | 0.68256 | 26.46 | 973.562 | 20.1437 | 0.92002
2019-03-13 19:30:00 | 0.62733 | 186.191 | 3.9393 | 227.231 | 3.9393 | 270.633 | 0.37567 | 5.6798 | 26.46 | 973.462 | 19.324 | 0.81656
2019-03-13 19:45:00 | 2.1373 | 182.541 | 4.195 | 219.487 | 2.661 | 270.496 | 0 | 8.3372 | 26.46 | 973.807 | 19.4612 | 1.223
2019-03-13 20:00:00 | 0 | 166.893 | 4.195 | 205.669 | 4.195 | 269.964 | 0 | 353.532 | 26.46 | 973.811 | 18.9836 | 1.393
2019-03-13 20:15:00 | 0 | 176.161 | 3.9393 | 216.816 | 3.428 | 267.631 | 1.2627 | 356.808 | 26.46 | 973.959 | 19.0523 | 2.5938
2019-03-13 20:30:00 | 0 | 173.821 | 4.962 | 213.013 | 4.7063 | 245.398 | 4.962 | 0.56071 | 26.46 | 973.959 | 19.5987 | 6.3588
2019-03-13 20:45:00 | 0 | 170.696 | 6.2403 | 220.564 | 5.2177 | 190.492 | 2.541 | 350.413 | 26.46 | 974.244 | 19.6665 | 14.639
2019-03-13 21:00:00 | 0 | 170.982 | 5.4733 | 217.483 | 5.9847 | 183.317 | 2.4053 | 344.451 | 26.46 | 974.403 | 19.1877 | 20.6579
2019-03-13 21:15:00 | 0 | 162.838 | 7.5187 | 204.365 | 6.7517 | 173.247 | 6.7517 | 350.199 | 26.46 | 974.086 | 19.5971 | 23.2591
2019-03-13 21:30:00 | 0 | 178 | 5.729 | 233.764 | 6.496 | 173.612 | 5.2177 | 331.941 | 26.46 | 973.921 | 20.28 | 20.7429
2019-03-13 21:45:00 | 1.6267 | 172.957 | 7.5187 | 210.78 | 7.5187 | 170.056 | 4.195 | 353.545 | 26.46 | 974.108 | 20.69 | 24.4673
2019-03-13 22:00:00 | 5.4567 | 174.417 | 9.8197 | 214.945 | 9.0527 | 188.287 | 4.195 | 348.151 | 26.46 | 973.91 | 20.9628 | 34.8609
2019-03-13 22:15:00 | 8.2653 | 168.835 | 7.263 | 212.483 | 7.7743 | 182.705 | 6.496 | 351.54 | 26.46 | 973.929 | 24.1721 | 30.4455
2019-03-13 22:30:00 | 0 | 156.549 | 7.5187 | 200.319 | 7.7743 | 184.363 | 1.894 | 343.764 | 26.46 | 973.953 | 26.0157 | 29.5107
2019-03-13 22:45:00 | 6.478 | 170.358 | 7.7743 | 219.862 | 8.03 | 183.084 | 4.4507 | 3.7299 | 26.46 | 973.811 | 28.4077 | 24.1902
2019-03-13 23:00:00 | 2.3927 | 170.787 | 7.7743 | 208.52 | 9.0527 | 181.173 | 2.9167 | 1.6335 | 26.46 | 973.662 | 30.0832 | 23.8909
2019-03-13 23:15:00 | 12.0953 | 181.298 | 9.0527 | 222.738 | 6.7517 | 186.028 | 4.195 | 7.6557 | 26.46 | 973.365 | 31.6886 | 24.9809
2019-03-13 23:30:00 | 3.1587 | 184.662 | 5.9847 | 232.783 | 7.7743 | 180.005 | 2.1497 | 11.898 | 26.46 | 973.365 | 32.5081 | 28.3173
2019-03-13 23:45:00 | 4.6907 | 187.661 | 7.7743 | 210.596 | 7.7743 | 174.788 | 3.9393 | 0.99962 | 26.46 | 973.217 | 33.6008 | 31.9235