## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-14 00:00:00 | 6.7333 | 192.367 | 9.3083 | 213.815 | 10.331 | 171.838 | 4.7063 | 0.19505 | 26.46 | 973.068 | 34.2155 | 32.0269
2019-03-14 00:15:00 | 4.4353 | 181.59 | 8.2857 | 225.81 | 9.564 | 170.668 | 4.4507 | 356.817 | 26.46 | 972.771 | 34.8984 | 29.7029
2019-03-14 00:30:00 | 0 | 164.402 | 9.0527 | 198.308 | 9.564 | 169.546 | 4.962 | 354.184 | 26.46 | 972.771 | 35.1716 | 30.1278
2019-03-14 00:45:00 | 0.88267 | 158.306 | 8.797 | 200.624 | 8.2857 | 171.57 | 4.195 | 346.284 | 26.46 | 972.325 | 37.4936 | 30.5305
2019-03-14 01:00:00 | 5.2013 | 170.57 | 8.03 | 197.162 | 7.263 | 169.644 | 4.962 | 356.11 | 26.46 | 972.077 | 38.1765 | 30.3236
2019-03-14 01:15:00 | 5.9673 | 160.574 | 9.564 | 202.014 | 8.797 | 168.79 | 5.729 | 346.918 | 26.46 | 972.123 | 38.0741 | 32.9248
2019-03-14 01:30:00 | 1.116 | 157.599 | 8.797 | 203.258 | 8.5413 | 163.134 | 5.2177 | 340.506 | 26.46 | 971.875 | 39.0644 | 34.9163
2019-03-14 01:45:00 | 5.2013 | 151.821 | 8.2857 | 195.529 | 8.2857 | 162.914 | 5.2177 | 335.41 | 26.46 | 971.88 | 40.9425 | 31.82
2019-03-14 02:00:00 | 5.4567 | 153.608 | 9.564 | 207.121 | 9.3083 | 163.849 | 5.9847 | 334.086 | 26.46 | 971.731 | 41.1836 | 34.7094
2019-03-14 02:15:00 | 6.2227 | 156.667 | 10.0753 | 207.308 | 10.0753 | 163.666 | 4.7063 | 353.934 | 26.46 | 971.286 | 40.7766 | 37.4177
2019-03-14 02:30:00 | 13.6273 | 154.952 | 7.5187 | 196.527 | 7.263 | 162.609 | 6.2403 | 348.019 | 26.46 | 971.286 | 42.1128 | 31.6316
2019-03-14 02:45:00 | 4.3187 | 147.322 | 8.5413 | 197.849 | 7.0073 | 161.832 | 1.6383 | 343.125 | 26.46 | 971.286 | 41.5331 | 32.7991
2019-03-14 03:00:00 | 10.308 | 149.797 | 8.2857 | 197.208 | 8.2857 | 161.187 | 5.729 | 342.592 | 26.46 | 970.691 | 41.9463 | 32.3816
2019-03-14 03:15:00 | 7.244 | 156.336 | 8.797 | 198.016 | 8.03 | 158.384 | 5.2177 | 341.89 | 26.46 | 970.84 | 42.3569 | 30.4936
2019-03-14 03:30:00 | 2.9033 | 149.653 | 8.03 | 191.554 | 7.263 | 157.385 | 4.962 | 343.695 | 26.46 | 970.691 | 42.2886 | 34.0665
2019-03-14 03:45:00 | 14.3933 | 155.068 | 9.3083 | 200.919 | 8.797 | 162.433 | 4.962 | 350.061 | 26.46 | 970.691 | 43.655 | 33.9667
2019-03-14 04:00:00 | 6.7333 | 153.483 | 10.0753 | 196.554 | 8.797 | 153.409 | 5.2177 | 344.964 | 26.46 | 970.691 | 44.2015 | 37.9904
2019-03-14 04:15:00 | 4.18 | 156.824 | 10.0753 | 200.675 | 9.564 | 160.897 | 4.7063 | 349.89 | 26.46 | 970.691 | 44.8847 | 38.6333
2019-03-14 04:30:00 | 2.9033 | 154.287 | 10.331 | 199.627 | 9.3083 | 159.629 | 5.2177 | 341.891 | 26.46 | 970.543 | 44.8847 | 39.1654
2019-03-14 04:45:00 | 0.62733 | 159.068 | 8.797 | 204.724 | 7.5187 | 165.555 | 5.729 | 346.305 | 26.46 | 970.394 | 46.1827 | 38.3414
2019-03-14 05:00:00 | 5.2013 | 163.58 | 9.564 | 206.285 | 10.8423 | 162.677 | 3.9393 | 344.208 | 26.46 | 970.097 | 45.4313 | 34.7094
2019-03-14 05:15:00 | 0 | 163.068 | 11.3537 | 210.236 | 9.564 | 166.848 | 5.2177 | 355.695 | 26.46 | 970.691 | 46.1827 | 29.6918
2019-03-14 05:30:00 | 12.8613 | 173.36 | 8.797 | 205.236 | 7.7743 | 164.555 | 5.4733 | 351.183 | 26.46 | 970.691 | 46.5243 | 25.9563
2019-03-14 05:45:00 | 3.808 | 171.531 | 9.564 | 211.309 | 8.03 | 169.604 | 5.2177 | 2.0975 | 26.46 | 970.691 | 46.5927 | 25.7974
2019-03-14 06:00:00 | 1.2547 | 158.653 | 8.2857 | 203.456 | 8.03 | 172.628 | 5.729 | 8.1461 | 26.46 | 970.691 | 47.2075 | 19.1689
2019-03-14 06:15:00 | 0 | 153.995 | 5.4733 | 209.797 | 4.7063 | 191.359 | 5.729 | 343.354 | 26.46 | 970.988 | 47.6174 | 14.1032
2019-03-14 06:30:00 | 0 | 176.652 | 5.2177 | 218.504 | 4.962 | 231.504 | 0 | 3.6584 | 26.46 | 971.137 | 48.164 | 9.2408
2019-03-14 06:45:00 | 0 | 202.481 | 3.9393 | 236.43 | 3.6837 | 230.773 | 2.661 | 21.7066 | 26.46 | 971.286 | 46.456 | 6.6064
2019-03-14 07:00:00 | 3.6693 | 169.97 | 2.4053 | 212.163 | 4.7063 | 230.675 | 3.1723 | 7.6095 | 26.46 | 971.583 | 46.3877 | 5.7381
2019-03-14 07:15:00 | 0 | 185.192 | 3.428 | 217.476 | 2.1497 | 230.746 | 0.37567 | 8.0963 | 26.46 | 971.88 | 45.6992 | 4.0311
2019-03-14 07:30:00 | 0.372 | 193.489 | 3.428 | 225.81 | 3.1723 | 230.792 | 0 | 27.1118 | 26.46 | 972.074 | 44.4597 | 3.3327
2019-03-14 07:45:00 | 0 | 180.906 | 3.6837 | 209.814 | 3.6837 | 230.74 | 2.9167 | 1.7554 | 26.46 | 972.178 | 44.1177 | 2.5014
2019-03-14 08:00:00 | 0 | 165.733 | 3.9393 | 200.409 | 3.9393 | 230.647 | 0.37567 | 0.87754 | 26.46 | 972.276 | 44.7237 | 1.4779
2019-03-14 08:15:00 | 0 | 173.632 | 2.661 | 203.791 | 3.1723 | 230.713 | 0 | 3.0222 | 26.46 | 972.482 | 43.83 | 0.37318
2019-03-14 08:30:00 | 0 | 206.73 | 2.9167 | 210.128 | 2.1497 | 231.078 | 0 | 39.5326 | 26.46 | 972.771 | 41.9526 | 0.029559
2019-03-14 08:45:00 | 0 | 184.587 | 2.661 | 226.798 | 2.661 | 231.057 | 0 | 7.7977 | 26.46 | 972.92 | 39.5894 | -0.27342
2019-03-14 09:00:00 | 0 | 185.247 | 1.894 | 292.06 | 2.1497 | 241.782 | 0 | 32.5316 | 26.46 | 973.217 | 38.7708 | -0.25125
2019-03-14 09:15:00 | 0 | 232.729 | 1.127 | 326.341 | 0.75133 | 273.077 | 0 | 188.946 | 26.46 | 973.374 | 39.5837 | -0.24016
2019-03-14 09:30:00 | 0 | 271.674 | 0 | 294.834 | 0 | 281.514 | 0 | 117.156 | 26.46 | 973.513 | 39.0252 | -0.25864
2019-03-14 09:45:00 | 0 | 277.295 | 1.894 | 320.669 | 1.3827 | 299.629 | 0 | 78.1345 | 26.46 | 973.928 | 37.1823 | -0.24016
2019-03-14 10:00:00 | 0 | 14.9045 | 3.428 | 63.2898 | 2.1497 | 38.0892 | 0 | 252.232 | 26.46 | 973.664 | 36.7694 | -0.24016
2019-03-14 10:15:00 | 0 | 17.1438 | 2.661 | 51.4 | 1.894 | 33.7032 | 0 | 185.757 | 26.46 | 973.958 | 35.4025 | -0.24016
2019-03-14 10:30:00 | 0 | 17.8233 | 2.1497 | 71.6244 | 1.127 | 24.3488 | 0 | 201.778 | 26.46 | 974.225 | 35.4319 | -0.25864
2019-03-14 10:45:00 | 0 | 78.0349 | 0.37567 | 187.005 | 4.4507 | 33.0887 | 0 | 280.171 | 26.46 | 974.181 | 35.8739 | -0.24016
2019-03-14 11:00:00 | 0 | 34.9391 | 1.894 | 41.8435 | 2.1497 | 51.2278 | 0 | 218.644 | 26.46 | 973.957 | 35.1918 | -0.23278
2019-03-14 11:15:00 | 0 | 25.7113 | 3.428 | 68.6991 | 2.4053 | 55.2209 | 0 | 211.607 | 26.46 | 973.957 | 33.2822 | -0.23647
2019-03-14 11:30:00 | 0 | 12.6609 | 2.1497 | 59.2522 | 2.1497 | 30.6783 | 0 | 201.941 | 26.46 | 973.957 | 35.1577 | -0.25494
2019-03-14 11:45:00 | 0 | 13.4887 | 3.9393 | 38.4348 | 3.6837 | 35.353 | 4.4507 | 189.012 | 26.46 | 973.957 | 31.2362 | -0.062812
2019-03-14 12:00:00 | 0 | 4.6748 | 2.661 | 63.4644 | 0.75133 | 25.0783 | 0 | 195.367 | 26.46 | 973.66 | 30.9292 | 0.56531
2019-03-14 12:15:00 | 0 | 5.8435 | 4.195 | 53.1409 | 2.9167 | 353.384 | 4.195 | 192.543 | 26.46 | 973.512 | 24.5524 | 2.1689
2019-03-14 12:30:00 | 0 | 32.2122 | 7.0073 | 84.087 | 4.962 | 310.557 | 0 | 196 | 26.46 | 972.918 | 21.3129 | 10.7077
2019-03-14 12:45:00 | 0.372 | 342.385 | 4.962 | 56.3425 | 5.4733 | 333.399 | 1.007 | 184.05 | 26.46 | 973.063 | 19.0311 | 17.8767
2019-03-14 13:00:00 | 0.744 | 7.7931 | 6.496 | 72.7142 | 4.7063 | 7.16 | 4.4507 | 196.461 | 26.46 | 972.919 | 20.8745 | 14.8052
2019-03-14 13:15:00 | 0.62733 | 5.3583 | 8.2857 | 74.6235 | 5.9847 | 265.384 | 1.3827 | 177.8 | 26.46 | 972.919 | 17.3631 | 15.0195
2019-03-14 13:30:00 | 0.372 | 0.097424 | 6.2403 | 51.1442 | 5.4733 | 33.0269 | 3.428 | 187.688 | 26.46 | 973.274 | 20.1944 | 15.304
2019-03-14 13:45:00 | 0 | 345.102 | 2.9167 | 19.7808 | 3.428 | 34.6344 | 2.0297 | 189.88 | 26.46 | 973.364 | 21.4225 | 13.331
2019-03-14 14:00:00 | 0 | 26.4751 | 6.2403 | 88.8475 | 7.263 | 190.562 | 1.2627 | 190.66 | 26.46 | 973.321 | 21.5589 | 15.4112
2019-03-14 14:15:00 | 4.946 | 9.7912 | 7.0073 | 54.6272 | 1.3827 | 89.8254 | 2.9167 | 188.346 | 26.46 | 973.284 | 20.7402 | 14.2658
2019-03-14 14:30:00 | 4.946 | 347.391 | 3.6837 | 43.3016 | 5.729 | 86.3425 | 0 | 191.196 | 26.46 | 973.366 | 18.1136 | 17.5431
2019-03-14 14:45:00 | 0 | 323.094 | 3.6837 | 4.3896 | 3.428 | 179.678 | 1.3827 | 226.144 | 26.46 | 973.661 | 18.0432 | 15.1193
2019-03-14 15:00:00 | 0 | 51.6751 | 3.1723 | 35.3766 | 4.7063 | 94.3642 | 0.887 | 190.214 | 26.46 | 973.364 | 19.1338 | 17.0702
2019-03-14 15:15:00 | 0 | 30.3669 | 5.2177 | 80.7199 | 1.894 | 14.9521 | 5.2177 | 196.813 | 26.46 | 973.661 | 19.1678 | 14.517
2019-03-14 15:30:00 | 0.62733 | 11.1532 | 3.1723 | 71.3687 | 2.9167 | 8.4745 | 3.9393 | 139.634 | 26.46 | 973.067 | 18.8267 | 10.3419
2019-03-14 15:45:00 | 0.372 | 356.882 | 4.195 | 58.9552 | 2.9167 | 64.3916 | 3.9393 | 156.06 | 26.46 | 973.216 | 18.0096 | 8.4169
2019-03-14 16:00:00 | 0 | 350.475 | 6.7517 | 63.9474 | 6.496 | 61.8342 | 2.661 | 164.242 | 26.46 | 973.067 | 18.7599 | 9.2851
2019-03-14 16:15:00 | 0 | 27.5222 | 3.9393 | 71.7243 | 4.4507 | 64.2021 | 0.63133 | 207.731 | 26.46 | 972.771 | 19.6143 | 7.7433
2019-03-14 16:30:00 | 1.51 | 353.139 | 3.6837 | 51.4609 | 4.7063 | 60.1353 | 3.6837 | 176.752 | 26.46 | 972.875 | 17.3972 | 7.5523
2019-03-14 16:45:00 | 0 | 21.7013 | 3.6837 | 82.0035 | 2.1497 | 60.6955 | 0.63133 | 170.176 | 26.46 | 973.246 | 17.3972 | 4.1752
2019-03-14 17:00:00 | 0 | 1.7536 | 3.9393 | 45.9564 | 3.6837 | 60.3058 | 3.8193 | 185.301 | 26.46 | 972.733 | 17.0561 | 3.0224
2019-03-14 17:15:00 | 0 | 0.097424 | 4.195 | 63.1762 | 3.1723 | 60.4032 | 4.7063 | 181.356 | 26.46 | 972.325 | 18.2159 | 2.8487
2019-03-14 17:30:00 | 0 | 3.8972 | 4.195 | 51.1236 | 4.4507 | 60.4307 | 0 | 185.53 | 26.46 | 972.325 | 18.3192 | 2.143
2019-03-14 17:45:00 | 0 | 85.7135 | 4.962 | 47.5378 | 3.9393 | 60.3259 | 0 | 181.66 | 26.46 | 971.88 | 18.5291 | 2.5199
2019-03-14 18:00:00 | 0 | 0.09746 | 4.4507 | 53.8746 | 3.9393 | 60.2302 | 3.1723 | 183.468 | 26.46 | 971.67 | 18.7685 | 2.4682
2019-03-14 18:15:00 | 0 | 1.852 | 3.1723 | 52.7148 | 2.4053 | 60.4819 | 0 | 185.93 | 26.46 | 971.879 | 18.9075 | 1.2747
2019-03-14 18:30:00 | 0 | 356.11 | 3.428 | 43.2673 | 2.661 | 60.5378 | 0 | 176.788 | 26.46 | 972.177 | 19.0463 | 0.12932
2019-03-14 18:45:00 | 0 | 341.682 | 2.4053 | 36.3498 | 2.1497 | 60.5907 | 0 | 158.691 | 26.46 | 972.474 | 18.9793 | -0.099761
2019-03-14 19:00:00 | 0 | 352.186 | 2.9167 | 45.514 | 2.1497 | 60.5419 | 0 | 176.41 | 26.46 | 972.474 | 18.7745 | -0.218
2019-03-14 19:15:00 | 0 | 345.021 | 3.1723 | 30.1104 | 3.1723 | 60.4444 | 0 | 166.612 | 26.46 | 973.068 | 18.5697 | -0.070202
2019-03-14 19:30:00 | 0 | 346.971 | 3.9393 | 33.3276 | 3.428 | 60.5419 | 0 | 164.809 | 26.46 | 973.083 | 18.638 | -0.14779
2019-03-14 19:45:00 | 0 | 353.259 | 3.6837 | 40.6394 | 2.9167 | 60.4932 | 0 | 174.655 | 26.46 | 973.368 | 19.0476 | -0.15518
2019-03-14 20:00:00 | 0 | 85.6459 | 2.9167 | 50.7785 | 2.4053 | 60.5176 | 0 | 179.773 | 26.46 | 973.703 | 18.7745 | -0.20322
2019-03-14 20:15:00 | 0 | 85.719 | 2.4053 | 53.1183 | 1.894 | 60.5907 | 0 | 183.405 | 26.46 | 973.731 | 18.3649 | -0.218
2019-03-14 20:30:00 | 0 | 1.0724 | 1.6383 | 53.2645 | 1.3827 | 60.6394 | 0 | 184.477 | 26.46 | 973.7 | 18.2625 | -0.25125
2019-03-14 20:45:00 | 0 | 85.6702 | 1.127 | 45.124 | 0.75133 | 60.6394 | 0 | 176.922 | 26.46 | 973.895 | 17.887 | -0.24016
2019-03-14 21:00:00 | 0 | 85.719 | 0 | 45.0265 | 0 | 60.6638 | 0 | 176.946 | 26.46 | 973.971 | 18.2284 | -0.24016
2019-03-14 21:15:00 | 0 | 252.884 | 1.3827 | 44.452 | 0 | 60.7468 | 0 | 108.842 | 26.46 | 974.046 | 18.1289 | -0.24016
2019-03-14 21:30:00 | 0 | 241.192 | 1.894 | 41.334 | 1.3827 | 60.7977 | 0 | 67.0628 | 26.46 | 974.12 | 18.0954 | -0.24016
2019-03-14 21:45:00 | 7.4993 | 224.221 | 2.661 | 273.452 | 2.4053 | 108.625 | 0 | 43.6107 | 26.46 | 974.537 | 18.1634 | -0.24016
2019-03-14 22:00:00 | 0.99933 | 223.732 | 2.4053 | 276.205 | 2.4053 | 108.99 | 0 | 33.2502 | 26.46 | 974.351 | 18.0608 | -0.24016
2019-03-14 22:15:00 | 0 | 229.656 | 2.661 | 281.609 | 2.661 | 109.1 | 0 | 47.1401 | 26.46 | 974.557 | 18.2296 | -0.25125
2019-03-14 22:30:00 | 16.436 | 222.574 | 2.9167 | 273.792 | 2.4053 | 108.996 | 0 | 41.556 | 26.46 | 974.715 | 18.2968 | -0.24016
2019-03-14 22:45:00 | 0.372 | 229.933 | 3.9393 | 267.355 | 3.6837 | 109.483 | 0 | 56.618 | 26.46 | 974.571 | 18.0919 | -0.25864
2019-03-14 23:00:00 | 0.372 | 231.98 | 3.9393 | 272.424 | 3.1723 | 109.336 | 0.63133 | 58.2997 | 26.46 | 974.594 | 18.1601 | 0.062812
2019-03-14 23:15:00 | 2.0207 | 228.763 | 3.6837 | 278.298 | 3.1723 | 109.629 | 0.63133 | 53.3032 | 26.46 | 974.288 | 18.2966 | 0.092371
2019-03-14 23:30:00 | 0 | 251.966 | 3.9393 | 279.029 | 4.195 | 109.824 | 0 | 74.9706 | 26.46 | 974.477 | 17.2043 | 0.58748
2019-03-14 23:45:00 | 0 | 240.949 | 4.962 | 280.516 | 4.4507 | 110.652 | 1.007 | 61.4681 | 26.46 | 974.621 | 17.887 | 2.3019