## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-15 00:00:00 | 0 | 243.874 | 4.7063 | 282.856 | 4.4507 | 115.917 | 2.4053 | 70.9248 | 26.46 | 974.416 | 18.2966 | 3.6357
2019-03-15 00:15:00 | 0 | 243.728 | 5.2177 | 282.198 | 4.195 | 116.039 | 0.37567 | 67.7563 | 26.46 | 974.306 | 18.9794 | 5.7418
2019-03-15 00:30:00 | 0 | 244.946 | 5.4733 | 281.345 | 4.4507 | 118.647 | 2.4053 | 68.1219 | 26.46 | 974.308 | 19.5255 | 7.5892
2019-03-15 00:45:00 | 0 | 247.091 | 5.729 | 282.344 | 4.7063 | 119.402 | 1.654 | 73.3133 | 26.46 | 974.294 | 20.14 | 14.0848
2019-03-15 01:00:00 | 0 | 260.594 | 5.2177 | 301.062 | 5.729 | 143.068 | 0.37567 | 95.4681 | 26.46 | 974.269 | 20.2082 | 16.2278
2019-03-15 01:15:00 | 0 | 248.09 | 5.729 | 293.678 | 6.2403 | 143.385 | 5.2177 | 76.3355 | 26.46 | 974.305 | 20.2765 | 17.1847
2019-03-15 01:30:00 | 0 | 257.815 | 7.5187 | 293.848 | 5.729 | 143.556 | 0 | 74.7757 | 26.46 | 974.286 | 20.2082 | 19.8783
2019-03-15 01:45:00 | 0 | 252.794 | 6.496 | 281.564 | 5.729 | 149.308 | 2.7967 | 76.5792 | 26.46 | 974.001 | 20.4813 | 19.494
2019-03-15 02:00:00 | 0 | 259.083 | 4.7063 | 306.424 | 5.9847 | 149.21 | 0 | 67.8782 | 26.46 | 974.005 | 21.0275 | 21.3525
2019-03-15 02:15:00 | 0 | 254.455 | 4.7063 | 291.732 | 5.2177 | 148.968 | 0 | 82.3322 | 26.46 | 973.691 | 20.8912 | 23.0706
2019-03-15 02:30:00 | 0 | 251.1 | 6.2403 | 290.963 | 2.9167 | 164.573 | 0.37567 | 92.3041 | 26.46 | 973.514 | 20.0727 | 18.8585
2019-03-15 02:45:00 | 1.6267 | 270.216 | 6.496 | 308.306 | 3.9393 | 200.913 | 1.6383 | 95.3374 | 26.46 | 973.454 | 20.0067 | 20.0815
2019-03-15 03:00:00 | 0 | 263.128 | 4.962 | 314.164 | 4.4507 | 245.503 | 0 | 92.6824 | 26.46 | 973.226 | 20.5535 | 21.8144
2019-03-15 03:15:00 | 0 | 271.364 | 5.729 | 310.21 | 5.4733 | 253.91 | 1.774 | 99.3116 | 26.46 | 973.6 | 20.0751 | 23.514
2019-03-15 03:30:00 | 4.4353 | 278.508 | 4.962 | 315.599 | 4.195 | 256.52 | 2.1497 | 90.2684 | 26.46 | 973.401 | 20.6898 | 24.2973
2019-03-15 03:45:00 | 0 | 244.233 | 3.6837 | 312.966 | 3.6837 | 249.913 | 0 | 77.5677 | 26.46 | 973.321 | 21.7823 | 29.1228
2019-03-15 04:00:00 | 9.2867 | 255.812 | 5.4733 | 301.605 | 5.729 | 239.016 | 9.0527 | 78.3718 | 26.46 | 973.353 | 22.1236 | 33.7877
2019-03-15 04:15:00 | 3.9247 | 244.817 | 8.2857 | 289.368 | 7.263 | 239.918 | 5.4733 | 71.8876 | 26.46 | 973.351 | 23.2161 | 33.4199
2019-03-15 04:30:00 | 2.0207 | 244.891 | 7.263 | 283.347 | 7.7743 | 232.605 | 4.7063 | 72.0582 | 26.46 | 973.124 | 24.0014 | 31.9013
2019-03-15 04:45:00 | 10.0527 | 257.152 | 8.03 | 295.73 | 5.9847 | 236.651 | 4.4507 | 85.5143 | 26.46 | 973.358 | 25.5377 | 31.5318
2019-03-15 05:00:00 | 5.712 | 254.524 | 6.2403 | 284.863 | 6.496 | 235.412 | 5.4733 | 61.6503 | 26.46 | 973.214 | 26.221 | 32.389
2019-03-15 05:15:00 | 6.7333 | 242.072 | 6.7517 | 282.602 | 5.4733 | 232.467 | 2.1497 | 73.1334 | 26.46 | 973.217 | 27.1775 | 35.6516
2019-03-15 05:30:00 | 12.0953 | 252.222 | 9.3083 | 275.425 | 7.263 | 237.52 | 4.7063 | 56.6128 | 26.46 | 973.068 | 28.8543 | 42.1028
2019-03-15 05:45:00 | 6.2227 | 252.149 | 5.2177 | 297.905 | 4.7063 | 251.442 | 3.9393 | 83.2614 | 26.46 | 973.365 | 30.8007 | 44.4601
2019-03-15 06:00:00 | 4.18 | 257.952 | 5.729 | 284.13 | 5.2177 | 287.185 | 3.9393 | 95.8664 | 26.46 | 973.526 | 26.2933 | 38.4612
2019-03-15 06:15:00 | 0.372 | 269.777 | 7.0073 | 314.191 | 5.729 | 290.866 | 1.2627 | 115.444 | 26.46 | 974.008 | 27.6592 | 29.9615
2019-03-15 06:30:00 | 0 | 284.332 | 4.195 | 324.919 | 3.6837 | 294.816 | 0 | 121.759 | 26.46 | 974.075 | 28.0007 | 19.7822
2019-03-15 06:45:00 | 0.372 | 323.049 | 4.962 | 37.0517 | 4.4507 | 333.533 | 0 | 130.244 | 26.46 | 974.095 | 27.7958 | 11.6055
2019-03-15 07:00:00 | 0 | 333.509 | 4.195 | 26.0071 | 3.1723 | 356.988 | 2.0297 | 125.831 | 26.46 | 974.033 | 27.9324 | 10.9922
2019-03-15 07:15:00 | 0 | 356.929 | 2.661 | 69.0372 | 2.4053 | 18.6266 | 0 | 154.182 | 26.46 | 974.257 | 28.0682 | 6.6027
2019-03-15 07:30:00 | 0 | 312.039 | 3.1723 | 21.732 | 1.6383 | 19.4034 | 3.428 | 136.19 | 26.46 | 974.163 | 26.5611 | 2.8266
2019-03-15 07:45:00 | 0 | 341.658 | 2.1497 | 48.6825 | 1.6383 | 20.3269 | 0 | 171.024 | 26.46 | 974.556 | 25.6358 | 2.1356
2019-03-15 08:00:00 | 0 | 35.3829 | 1.3827 | 70.8454 | 1.127 | 19.8846 | 0 | 183.445 | 26.46 | 974.85 | 25.7336 | 1.1158
2019-03-15 08:15:00 | 0 | 56.1378 | 1.6383 | 72.3934 | 0.75133 | 19.6385 | 0 | 204.669 | 26.46 | 975.353 | 23.9559 | 0.48033
2019-03-15 08:30:00 | 0 | 321.568 | 1.127 | 116.423 | 1.894 | 11.1087 | 0 | 205.097 | 26.46 | 975.74 | 22.9282 | 0.033254
2019-03-15 08:45:00 | 0 | 12.4704 | 4.4507 | 87.8978 | 3.428 | 20.3617 | 0.75133 | 178.993 | 26.46 | 975.834 | 24.4926 | 2.6862
2019-03-15 09:00:00 | 0 | 18.9978 | 3.9393 | 58.305 | 3.6837 | 20.4592 | 0 | 181.794 | 26.46 | 976.236 | 25.3795 | 7.785
2019-03-15 09:15:00 | 1.2547 | 84.9299 | 4.195 | 41.7672 | 3.9393 | 34.3665 | 2.1497 | 160.531 | 26.46 | 976.179 | 28.1085 | 5.8009
2019-03-15 09:30:00 | 1.3933 | 25.9405 | 5.729 | 75.2368 | 3.1723 | 45.1827 | 2.661 | 205.21 | 26.46 | 975.739 | 25.5171 | 4.7922
2019-03-15 09:45:00 | 0.372 | 34.1097 | 4.962 | 73.4849 | 2.661 | 42.2716 | 1.007 | 216.426 | 26.46 | 976.036 | 26.5479 | 3.414
2019-03-15 10:00:00 | 0 | 353.714 | 2.4053 | 58.89 | 3.6837 | 56.0368 | 4.7063 | 199.978 | 26.46 | 976.481 | 25.8993 | 5.3243
2019-03-15 10:15:00 | 0 | 25.6759 | 1.3827 | 81.5587 | 1.007 | 55.2495 | 1.774 | 206.942 | 26.46 | 976.333 | 27.6358 | 7.2899
2019-03-15 10:30:00 | 0 | 18.0727 | 4.7063 | 81.8354 | 3.1723 | 74.0444 | 0.63133 | 214.656 | 26.46 | 976.333 | 27.5633 | 8.0991
2019-03-15 10:45:00 | 0.372 | 328.861 | 4.195 | 39.3323 | 4.195 | 19.9723 | 4.195 | 144.19 | 26.46 | 976.778 | 25.6527 | 6.4992
2019-03-15 11:00:00 | 0.744 | 3.0445 | 6.496 | 85.6813 | 5.2177 | 47.8598 | 3.9393 | 164.063 | 26.46 | 976.333 | 24.3903 | 7.6003
2019-03-15 11:15:00 | 0 | 4.8712 | 3.428 | 67.7065 | 2.661 | 25.9149 | 4.4507 | 183.84 | 26.46 | 976.927 | 21.0473 | 9.359
2019-03-15 11:30:00 | 0 | 160.044 | 4.195 | 336.33 | 2.9167 | 284.723 | 5.2177 | 215.722 | 26.46 | 976.706 | 21.4566 | 7.0387
2019-03-15 11:45:00 | 0 | 340.461 | 2.661 | 2.8064 | 3.9393 | 331.67 | 0 | 128.586 | 26.46 | 976.926 | 20.2946 | 6.8613
2019-03-15 12:00:00 | 0 | 25.2774 | 4.4507 | 42.2193 | 0 | 347.892 | 3.0523 | 213.275 | 26.46 | 976.777 | 21.8281 | 6.6249
2019-03-15 12:15:00 | 0 | 42.2959 | 3.9393 | 11.6236 | 3.9393 | 333.059 | 0 | 211.772 | 26.46 | 977.055 | 20.8373 | 5.6273
2019-03-15 12:30:00 | 0 | 1.0471 | 3.9393 | 30.5505 | 3.9393 | 327.824 | 4.195 | 167.65 | 26.46 | 976.775 | 20.5304 | 7.2789
2019-03-15 12:45:00 | 0 | 294.122 | 4.195 | 336.536 | 4.7063 | 300.161 | 0.887 | 123.756 | 26.46 | 976.776 | 21.6916 | 7.4784
2019-03-15 13:00:00 | 0 | 58.2256 | 2.661 | 10.5861 | 1.894 | 295.341 | 0 | 222.845 | 26.46 | 976.183 | 20.4979 | 4.8624
2019-03-15 13:15:00 | 0 | 323.497 | 2.1497 | 9.8118 | 1.894 | 320.574 | 0 | 109.7 | 26.46 | 976.183 | 20.8766 | 4.3451
2019-03-15 13:30:00 | 2.0207 | 338.891 | 3.6837 | 12.3449 | 3.1723 | 312.197 | 0 | 161.384 | 26.46 | 976.099 | 21.0814 | 4.4153
2019-03-15 13:45:00 | 0 | 1.4857 | 5.4733 | 33.9001 | 4.962 | 307.861 | 0.37567 | 194.995 | 26.46 | 976.241 | 20.058 | 9.0671
2019-03-15 14:00:00 | 0 | 44.0359 | 1.3827 | 8.9594 | 2.661 | 297.583 | 0.63133 | 159.995 | 26.46 | 976.177 | 19.5463 | 3.9276
2019-03-15 14:15:00 | 0 | 4.9199 | 4.4507 | 335.867 | 6.7517 | 301.042 | 5.2177 | 193.558 | 26.46 | 976.241 | 19.9215 | 5.1063
2019-03-15 14:30:00 | 0 | 6.5027 | 3.6837 | 5.5577 | 4.4507 | 291.331 | 0 | 205.018 | 26.46 | 976.48 | 19.3746 | 3.7392
2019-03-15 14:45:00 | 0 | 5.0165 | 4.4507 | 77.1646 | 2.9167 | 293.345 | 0 | 168.2 | 26.46 | 976.332 | 18.6563 | 2.7785
2019-03-15 15:00:00 | 0 | 318.548 | 3.6837 | 4.1572 | 1.894 | 292.419 | 0 | 201.026 | 26.46 | 976.628 | 18.8609 | 0.39904
2019-03-15 15:15:00 | 0 | 25.617 | 3.9393 | 50.5441 | 3.9393 | 294.303 | 0 | 213.921 | 26.46 | 976.183 | 20.1559 | 0.16257
2019-03-15 15:30:00 | 0 | 20.674 | 3.9393 | 73.4834 | 1.6383 | 294.306 | 0 | 209.199 | 26.46 | 976.035 | 19.5081 | -0.26972
2019-03-15 15:45:00 | 0 | 23.864 | 2.661 | 76.1377 | 1.127 | 294.452 | 0 | 219.5 | 26.46 | 975.59 | 19.7127 | -0.26972
2019-03-15 16:00:00 | 0 | 103.246 | 0 | 107.742 | 1.3827 | 294.372 | 0 | 203.229 | 26.46 | 975.738 | 18.4845 | -0.25125
2019-03-15 16:15:00 | 0 | 172.115 | 2.9167 | 226.303 | 3.1723 | 134.546 | 0 | 356.794 | 26.46 | 975.55 | 17.2549 | -0.24016
2019-03-15 16:30:00 | 0 | 205.471 | 2.4053 | 215.005 | 3.6837 | 134.449 | 0 | 9.9583 | 26.46 | 974.962 | 16.7093 | -0.24016
2019-03-15 16:45:00 | 0 | 208.872 | 2.661 | 255.98 | 2.1497 | 134.654 | 0 | 30.1937 | 26.46 | 974.386 | 15.9262 | -0.25864
2019-03-15 17:00:00 | 2.0207 | 216.465 | 3.6837 | 251.938 | 3.1723 | 134.837 | 0.75133 | 32.1203 | 26.46 | 973.809 | 16.4393 | -0.27342
2019-03-15 17:15:00 | 0 | 140.922 | 3.428 | 196.424 | 2.9167 | 134.589 | 0.37567 | 323.005 | 26.46 | 973.66 | 18.1132 | -0.20691
2019-03-15 17:30:00 | 0 | 137.734 | 4.195 | 187.076 | 3.9393 | 134.543 | 0 | 322.426 | 26.46 | 973.727 | 18.6253 | -0.040643
2019-03-15 17:45:00 | 1.138 | 131.353 | 4.195 | 177.894 | 3.428 | 133.715 | 0 | 314.024 | 26.46 | 973.363 | 18.6253 | 2.1245
2019-03-15 18:00:00 | 0 | 134.307 | 5.4733 | 180.059 | 5.4733 | 130.433 | 5.4733 | 322.477 | 26.46 | 972.77 | 18.5614 | 6.8502
2019-03-15 18:15:00 | 0 | 124.161 | 5.4733 | 169.604 | 4.962 | 112.028 | 0.75133 | 308.795 | 26.46 | 972.028 | 18.5634 | 14.155
2019-03-15 18:30:00 | 0 | 128.151 | 6.7517 | 175.528 | 6.7517 | 112.58 | 4.195 | 309.521 | 26.46 | 971.867 | 18.566 | 18.659
2019-03-15 18:45:00 | 0 | 138.069 | 7.263 | 185.179 | 6.2403 | 117.551 | 4.7063 | 316.76 | 26.46 | 971.88 | 18.3614 | 23.6544
2019-03-15 19:00:00 | 0 | 143.43 | 6.496 | 195.559 | 7.263 | 118.331 | 3.308 | 321.876 | 26.46 | 971.88 | 18.02 | 28.0624
2019-03-15 19:15:00 | 3.1587 | 125.651 | 6.496 | 186.534 | 5.9847 | 119.632 | 4.7063 | 323.973 | 26.46 | 971.88 | 18.0214 | 35.4594
2019-03-15 19:30:00 | 3.414 | 143.252 | 6.7517 | 187.884 | 6.2403 | 119.612 | 5.2177 | 332.541 | 26.46 | 971.88 | 18.1587 | 42.3466
2019-03-15 19:45:00 | 3.1587 | 173.801 | 7.7743 | 190.432 | 7.263 | 120.839 | 4.7063 | 331.759 | 26.46 | 971.88 | 18.433 | 44.8961
2019-03-15 20:00:00 | 6.478 | 135.951 | 7.5187 | 195.796 | 8.5413 | 161.006 | 5.729 | 322.086 | 26.46 | 971.88 | 18.5697 | 44.9774
2019-03-15 20:15:00 | 5.4567 | 146.992 | 6.7517 | 194.773 | 5.9847 | 162.006 | 3.1723 | 329.422 | 26.46 | 972.028 | 18.638 | 44.0352
2019-03-15 20:30:00 | 0.372 | 150.429 | 5.2177 | 202.986 | 4.195 | 180.992 | 4.4507 | 336.003 | 26.46 | 972.177 | 18.5697 | 43.9688
2019-03-15 20:45:00 | 3.414 | 136.585 | 5.9847 | 212.833 | 6.496 | 216.552 | 3.9393 | 317.016 | 26.46 | 971.88 | 18.1601 | 43.0006
2019-03-15 21:00:00 | 1.51 | 157.204 | 6.496 | 211.736 | 6.2403 | 175.679 | 1.007 | 339.902 | 26.46 | 971.88 | 18.4332 | 50.6526
2019-03-15 21:15:00 | 2.9033 | 130.614 | 10.331 | 185.755 | 9.564 | 170.244 | 4.962 | 328.35 | 26.46 | 971.583 | 18.3649 | 53.361
2019-03-15 21:30:00 | 2.648 | 147.528 | 9.8197 | 198.234 | 9.564 | 165.101 | 4.962 | 329.958 | 26.46 | 971.434 | 19.0135 | 58.4562
2019-03-15 21:45:00 | 4.18 | 169.196 | 6.7517 | 233.379 | 7.5187 | 167.319 | 3.1723 | 334.175 | 26.46 | 971.88 | 19.3548 | 67.0282
2019-03-15 22:00:00 | 1.882 | 155.62 | 11.6093 | 203.23 | 12.3763 | 180.383 | 2.7967 | 338.733 | 26.46 | 971.286 | 19.7303 | 72.7869
2019-03-15 22:15:00 | 4.4353 | 159.69 | 8.797 | 208.007 | 8.2857 | 201.246 | 3.428 | 330.251 | 26.46 | 971.286 | 20.413 | 71.1147
2019-03-15 22:30:00 | 2.648 | 172.827 | 7.7743 | 211.444 | 10.0753 | 187.987 | 1.127 | 344.241 | 26.46 | 971.286 | 20.4813 | 67.7273
2019-03-15 22:45:00 | 0.372 | 157.18 | 5.4733 | 184.561 | 6.2403 | 220.768 | 3.428 | 352.576 | 26.46 | 971.583 | 20.4813 | 70.3203
2019-03-15 23:00:00 | 0.372 | 173.705 | 5.729 | 229.211 | 8.5413 | 219.087 | 5.2177 | 349.749 | 26.46 | 971.286 | 20.8909 | 71.5729
2019-03-15 23:15:00 | 1.882 | 157.229 | 10.331 | 200.915 | 11.098 | 215.577 | 5.9847 | 346.118 | 26.46 | 971.286 | 21.0957 | 73.9302
2019-03-15 23:30:00 | 2.3927 | 153.085 | 12.1207 | 210.42 | 11.865 | 211.946 | 1.774 | 348.092 | 26.46 | 971.286 | 21.5736 | 74.6433
2019-03-15 23:45:00 | 0.99933 | 176.727 | 9.3083 | 196.893 | 10.5867 | 209.63 | 5.729 | 332.834 | 26.46 | 971.286 | 21.9833 | 75.0054