## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-16 00:00:00 | 0.88267 | 162.249 | 9.8197 | 200.549 | 8.03 | 208.411 | 4.195 | 345.898 | 26.46 | 971.286 | 22.3929 | 76.1951
2019-03-16 00:15:00 | 0.372 | 164.053 | 10.0753 | 210.713 | 9.3083 | 205.828 | 5.729 | 347.19 | 26.46 | 971.286 | 22.7343 | 72.4079
2019-03-16 00:30:00 | 3.9247 | 163.517 | 12.1207 | 190.093 | 11.865 | 194.933 | 3.428 | 333.541 | 26.46 | 970.84 | 24.1679 | 70.2132
2019-03-16 00:45:00 | 1.3713 | 160.543 | 12.1207 | 203.23 | 12.3763 | 190.644 | 3.1723 | 355.014 | 26.46 | 970.714 | 25.1237 | 71.3992
2019-03-16 01:00:00 | 3.1587 | 170.414 | 12.3763 | 210.03 | 10.5867 | 195.348 | 2.661 | 350.529 | 26.46 | 970.463 | 25.192 | 74.5324
2019-03-16 01:15:00 | 0 | 162.201 | 8.5413 | 210.469 | 7.7743 | 176.044 | 4.4507 | 331.859 | 26.46 | 970.722 | 24.6458 | 73.5533
2019-03-16 01:30:00 | 4.6907 | 166.149 | 11.6093 | 215.636 | 10.8423 | 196.054 | 3.1723 | 345.728 | 26.46 | 970.429 | 26.5574 | 74.4474
2019-03-16 01:45:00 | 5.2013 | 163.322 | 10.0753 | 206.033 | 10.5867 | 177.092 | 3.1723 | 344.29 | 26.46 | 970.143 | 26.694 | 74.6802
2019-03-16 02:00:00 | 3.6693 | 157.326 | 13.6547 | 216.099 | 13.9103 | 160.251 | 3.1723 | 354.77 | 26.46 | 969.582 | 27.0354 | 72.8291
2019-03-16 02:15:00 | 0.372 | 159.427 | 12.632 | 212.962 | 10.8423 | 163.913 | 0.75133 | 346.716 | 26.46 | 969.559 | 26.8996 | 70.8117
2019-03-16 02:30:00 | 3.1587 | 159.114 | 10.5867 | 212.187 | 9.564 | 181.903 | 2.9167 | 333.632 | 26.46 | 969.261 | 28.0609 | 72.96
2019-03-16 02:45:00 | 3.414 | 149.648 | 13.1433 | 197.245 | 11.098 | 150.843 | 1.6383 | 347.441 | 26.46 | 968.941 | 28.1322 | 74.1592
2019-03-16 03:00:00 | 2.3927 | 147.7 | 10.0753 | 207.243 | 10.331 | 159.767 | 3.9393 | 333.819 | 26.46 | 969.055 | 28.5423 | 72.201
2019-03-16 03:15:00 | 5.2013 | 147.167 | 13.399 | 207.418 | 12.3763 | 161.672 | 2.9167 | 337.605 | 26.46 | 969.086 | 28.9868 | 69.0973
2019-03-16 03:30:00 | 4.4353 | 148.553 | 11.098 | 207.68 | 11.098 | 160.62 | 4.962 | 355.05 | 26.46 | 969.172 | 29.4981 | 68.4877
2019-03-16 03:45:00 | 2.648 | 159.23 | 10.5867 | 200.197 | 10.8423 | 161.156 | 4.7063 | 341.765 | 26.46 | 968.887 | 30.1127 | 70.3535
2019-03-16 04:00:00 | 3.414 | 150.363 | 12.8877 | 207.763 | 10.0753 | 163.308 | 4.7063 | 347.044 | 26.46 | 968.612 | 30.7968 | 69.6146
2019-03-16 04:15:00 | 4.4353 | 148.45 | 10.0753 | 206.636 | 9.0527 | 156.323 | 2.4053 | 336.123 | 26.46 | 968.909 | 31.3457 | 69.1564
2019-03-16 04:30:00 | 4.18 | 148.237 | 11.098 | 195.26 | 9.0527 | 157.306 | 4.962 | 333.289 | 26.46 | 968.761 | 31.9617 | 65.8532
2019-03-16 04:45:00 | 5.4567 | 147.53 | 11.865 | 203.16 | 11.3537 | 156.892 | 5.4733 | 337.507 | 26.46 | 968.612 | 33.4642 | 63.0267
2019-03-16 05:00:00 | 2.1373 | 149.48 | 11.865 | 199.649 | 9.8197 | 161.866 | 2.1497 | 340.433 | 26.46 | 968.612 | 33.9423 | 58.9069
2019-03-16 05:15:00 | 4.18 | 155.819 | 10.8423 | 203.355 | 11.3537 | 154.308 | 4.962 | 345.09 | 26.46 | 968.612 | 34.0106 | 56.4646
2019-03-16 05:30:00 | 2.9033 | 148.627 | 10.5867 | 196.723 | 11.098 | 152.479 | 4.4507 | 328.584 | 26.46 | 968.612 | 35.3082 | 52.3707
2019-03-16 05:45:00 | 4.6907 | 149.066 | 10.0753 | 206.939 | 9.3083 | 154.503 | 5.4733 | 324.341 | 26.46 | 968.642 | 34.4886 | 54.4066
2019-03-16 06:00:00 | 6.478 | 156.99 | 10.0753 | 203.453 | 10.0753 | 157.039 | 3.9393 | 345.041 | 26.46 | 968.71 | 35.5814 | 49.9986
2019-03-16 06:15:00 | 0.62733 | 142.19 | 8.03 | 200.99 | 8.03 | 154.186 | 5.4733 | 333.07 | 26.46 | 968.841 | 35.3082 | 45.4651
2019-03-16 06:30:00 | 4.4353 | 144.409 | 10.0753 | 197.772 | 9.8197 | 159.184 | 3.1723 | 331.119 | 26.46 | 968.861 | 37.2887 | 52.927
2019-03-16 06:45:00 | 3.414 | 140.24 | 8.5413 | 196.089 | 9.0527 | 150.309 | 3.428 | 322.635 | 26.46 | 969.023 | 37.2887 | 54.063
2019-03-16 07:00:00 | 6.478 | 130.268 | 10.5867 | 182.387 | 11.3537 | 145.019 | 2.4053 | 319.221 | 26.46 | 968.956 | 34.6252 | 49.3262
2019-03-16 07:15:00 | 3.9247 | 144.872 | 9.564 | 192.481 | 8.5413 | 148.968 | 5.729 | 323.854 | 26.46 | 969.355 | 34.8984 | 54.7281
2019-03-16 07:30:00 | 2.648 | 142.509 | 10.0753 | 186.377 | 10.331 | 128.54 | 2.4053 | 329.018 | 26.46 | 969.377 | 36.873 | 51.5985
2019-03-16 07:45:00 | 5.4567 | 141.168 | 11.3537 | 193.142 | 10.8423 | 140.218 | 5.2177 | 336.932 | 26.46 | 969.543 | 34.3407 | 45.6572
2019-03-16 08:00:00 | 6.9887 | 145.627 | 9.3083 | 191.336 | 9.0527 | 154.45 | 5.9847 | 325.645 | 26.46 | 969.823 | 34.2038 | 43.3405
2019-03-16 08:15:00 | 0 | 135.756 | 6.7517 | 184.926 | 5.729 | 154.767 | 0.37567 | 317.285 | 26.46 | 970.098 | 35.9789 | 39.7602
2019-03-16 08:30:00 | 0 | 141.85 | 7.0073 | 194.407 | 7.0073 | 156.229 | 3.6837 | 0.21935 | 26.46 | 970.395 | 35.2961 | 38.5372
2019-03-16 08:45:00 | 0 | 153.493 | 7.0073 | 205.719 | 8.797 | 151.738 | 5.729 | 355.477 | 26.46 | 970.544 | 33.8555 | 36.2206
2019-03-16 09:00:00 | 0 | 147.625 | 6.496 | 189.862 | 7.0073 | 156.592 | 3.6837 | 328.342 | 26.46 | 970.989 | 33.9249 | 35.4529
2019-03-16 09:15:00 | 0 | 152.834 | 7.0073 | 194.777 | 5.729 | 141.942 | 4.195 | 346.362 | 26.46 | 971.138 | 30.033 | 27.3899
2019-03-16 09:30:00 | 0 | 133.055 | 6.496 | 189.486 | 6.2403 | 142.167 | 0.37567 | 322.855 | 26.46 | 971.071 | 32.6226 | 19.01
2019-03-16 09:45:00 | 0 | 176.642 | 4.4507 | 197.282 | 4.7063 | 140.924 | 2.0297 | 1.2913 | 26.46 | 971.287 | 29.483 | 13.4012
2019-03-16 10:00:00 | 0 | 148.002 | 4.195 | 200.687 | 4.962 | 141.912 | 1.2627 | 320.556 | 26.46 | 971.583 | 28.5887 | 10.3825
2019-03-16 10:15:00 | 0 | 149.108 | 4.4507 | 205.587 | 5.2177 | 144.968 | 3.1723 | 348.196 | 26.46 | 971.732 | 27.938 | 9.311
2019-03-16 10:30:00 | 0 | 151.179 | 4.4507 | 204.758 | 5.2177 | 144.627 | 0 | 327.006 | 26.46 | 972.101 | 26.6758 | 6.551
2019-03-16 10:45:00 | 0 | 172.705 | 3.428 | 199.808 | 3.1723 | 148.422 | 1.774 | 329.432 | 26.46 | 971.883 | 24.4237 | 4.94
2019-03-16 11:00:00 | 0 | 163.743 | 4.4507 | 211.783 | 4.7063 | 162.136 | 0.75133 | 345.385 | 26.46 | 972.029 | 26.3643 | 4.4116
2019-03-16 11:15:00 | 0 | 139.829 | 2.9167 | 206.863 | 4.195 | 134.764 | 1.2627 | 346.334 | 26.46 | 971.88 | 22.7149 | 2.9633
2019-03-16 11:30:00 | 0 | 157.143 | 2.661 | 197.161 | 2.9167 | 127 | 0 | 348.203 | 26.46 | 972.04 | 21.7565 | 1.4077
2019-03-16 11:45:00 | 0 | 193.151 | 3.428 | 250.991 | 3.428 | 156.167 | 2.1497 | 23.2765 | 26.46 | 971.732 | 23.4953 | 0.051728
2019-03-16 12:00:00 | 0 | 199.847 | 3.1723 | 249.53 | 2.661 | 156.216 | 0 | 10.64 | 26.46 | 971.583 | 22.5746 | -0.33993
2019-03-16 12:15:00 | 0 | 172.772 | 4.7063 | 226.984 | 4.7063 | 168.803 | 3.6837 | 31.2139 | 26.46 | 971.583 | 21.7221 | -0.28081
2019-03-16 12:30:00 | 0 | 166.247 | 2.1497 | 235.019 | 1.894 | 157.19 | 0 | 349.221 | 26.46 | 971.583 | 19.0622 | -0.24016
2019-03-16 12:45:00 | 0 | 231.426 | 4.7063 | 241.155 | 3.9393 | 151.541 | 2.4053 | 85.0713 | 26.46 | 971.583 | 18.4484 | -0.24016
2019-03-16 13:00:00 | 0 | 135.69 | 3.428 | 200.153 | 4.962 | 151.37 | 0.37567 | 33.3809 | 26.46 | 971.583 | 16.0614 | -0.24016
2019-03-16 13:15:00 | 0 | 271.43 | 2.4053 | 300.125 | 1.127 | 154.414 | 0 | 110.807 | 26.46 | 971.88 | 15.3453 | -0.24386
2019-03-16 13:30:00 | 0 | 278.976 | 3.1723 | 315.244 | 1.6383 | 134.594 | 0 | 123.881 | 26.46 | 972.028 | 16.4705 | -0.20322
2019-03-16 13:45:00 | 0 | 294.452 | 3.6837 | 13.962 | 3.428 | 47.2088 | 0 | 130.427 | 26.46 | 972.177 | 15.1401 | 0.32884
2019-03-16 14:00:00 | 0 | 356.832 | 2.1497 | 43.0018 | 2.9167 | 30.5758 | 2.1497 | 156.02 | 26.46 | 972.177 | 15.8542 | 1.925
2019-03-16 14:15:00 | 0 | 2.1909 | 4.7063 | 41.3701 | 4.962 | 24.4409 | 0 | 171.281 | 26.46 | 972.325 | 18.7861 | 1.1048
2019-03-16 14:30:00 | 0 | 342.122 | 3.428 | 24.2076 | 3.9393 | 15.9693 | 0.75133 | 146.377 | 26.46 | 972.622 | 17.7972 | 2.2612
2019-03-16 14:45:00 | 0 | 341.1 | 3.9393 | 22.0594 | 2.4053 | 15.0664 | 0.37567 | 137.399 | 26.46 | 972.77 | 16.9766 | 1.877
2019-03-16 15:00:00 | 0 | 268.465 | 3.9393 | 332.388 | 3.9393 | 12.5592 | 0 | 116.903 | 26.46 | 972.77 | 17.7944 | 4.1826
2019-03-16 15:15:00 | 0 | 309.696 | 5.2177 | 3.0982 | 1.127 | 11.61 | 0 | 160.69 | 26.46 | 972.176 | 17.249 | 3.9535
2019-03-16 15:30:00 | 0 | 291.442 | 3.9393 | 15.8623 | 3.428 | 10.8554 | 0 | 119.97 | 26.46 | 972.614 | 17.999 | 2.9522
2019-03-16 15:45:00 | 0 | 24.7776 | 2.9167 | 88.2622 | 1.6383 | 24.4369 | 0 | 182.133 | 26.46 | 972.621 | 18.7489 | 3.5212
2019-03-16 16:00:00 | 0 | 20.8833 | 4.195 | 55.4039 | 1.894 | 322.45 | 0 | 196.055 | 26.46 | 972.461 | 19.9761 | 5.8379
2019-03-16 16:15:00 | 0 | 6.2309 | 3.9393 | 41.433 | 2.1497 | 307.7 | 0 | 192.355 | 26.46 | 972.621 | 20.5216 | 5.5053
2019-03-16 16:30:00 | 0 | 50.5289 | 2.1497 | 24.1762 | 1.3827 | 293.437 | 0 | 258.778 | 26.46 | 972.621 | 19.8398 | 4.0754
2019-03-16 16:45:00 | 0 | 0.2434 | 3.6837 | 56.8642 | 3.6837 | 296.455 | 1.5183 | 161.712 | 26.46 | 972.175 | 19.7716 | 3.3956
2019-03-16 17:00:00 | 0 | 5.2825 | 4.7063 | 56.6329 | 3.1723 | 297.379 | 0 | 184.547 | 26.46 | 971.731 | 20.218 | 2.7563
2019-03-16 17:15:00 | 0 | 5.5508 | 4.7063 | 53.9135 | 0.75133 | 297.115 | 0 | 188.509 | 26.46 | 971.583 | 20.6632 | 2.7379
2019-03-16 17:30:00 | 0 | 8.7165 | 3.6837 | 66.9704 | 1.3827 | 296.922 | 0 | 205.179 | 26.46 | 970.99 | 20.8013 | 3.2182
2019-03-16 17:45:00 | 0 | 24.4485 | 3.9393 | 68.6381 | 1.3827 | 296.913 | 0 | 209.201 | 26.46 | 971.277 | 20.3267 | 2.1837
2019-03-16 18:00:00 | 0 | 25.7183 | 3.6837 | 80.9003 | 2.661 | 296.978 | 0 | 210.812 | 26.46 | 970.693 | 19.5108 | 1.6146
2019-03-16 18:15:00 | 0 | 36.4368 | 3.428 | 83.4648 | 2.9167 | 297.096 | 0 | 216.429 | 26.46 | 970.941 | 19.5122 | 2.7563
2019-03-16 18:30:00 | 0 | 40.0417 | 3.428 | 88.1417 | 2.9167 | 297.146 | 0 | 222.665 | 26.46 | 970.989 | 18.5572 | 2.6455
2019-03-16 18:45:00 | 0 | 37.6128 | 3.6837 | 90.2561 | 3.1723 | 297.199 | 0 | 221.389 | 26.46 | 970.989 | 17.8099 | 1.6146
2019-03-16 19:00:00 | 0 | 34.0127 | 3.6837 | 87.2763 | 3.1723 | 297.148 | 0 | 217.623 | 26.46 | 971.138 | 16.5841 | 1.0937
2019-03-16 19:15:00 | 0 | 37.9111 | 3.9393 | 85.4493 | 2.661 | 297.1 | 0 | 218.866 | 26.46 | 971.286 | 16.5159 | 1.1306
2019-03-16 19:30:00 | 0 | 40.9323 | 3.9393 | 91.4917 | 2.661 | 297.1 | 0 | 223.934 | 26.46 | 971.286 | 17.1302 | 0.92741
2019-03-16 19:45:00 | 0 | 52.6272 | 4.4507 | 88.4705 | 2.9167 | 297.051 | 1.654 | 228.002 | 26.46 | 971.583 | 18.2904 | 3.0815
2019-03-16 20:00:00 | 0 | 52.481 | 4.195 | 99.1665 | 3.6837 | 297.587 | 0 | 234.435 | 26.46 | 971.731 | 18.1539 | 4.6038
2019-03-16 20:15:00 | 0 | 62.4948 | 4.195 | 102.699 | 4.4507 | 298.05 | 0.37567 | 243.303 | 26.46 | 971.731 | 18.4269 | 4.1752
2019-03-16 20:30:00 | 0 | 67.0509 | 1.894 | 107.962 | 2.661 | 297.392 | 0 | 259.213 | 26.46 | 971.907 | 19.1776 | 2.9559
2019-03-16 20:45:00 | 0 | 84.106 | 1.894 | 126.771 | 2.4053 | 297.246 | 0.887 | 247.007 | 26.46 | 972.204 | 18.7681 | 1.0382
2019-03-16 21:00:00 | 0 | 105.669 | 1.894 | 122.922 | 2.1497 | 297.1 | 0 | 265.524 | 26.46 | 972.297 | 17.5397 | 0.31776
2019-03-16 21:15:00 | 0 | 83.8624 | 2.4053 | 126.479 | 2.1497 | 297.1 | 0 | 278.096 | 26.46 | 972.558 | 16.9937 | -0.20322
2019-03-16 21:30:00 | 0 | 136.105 | 1.3827 | 163.813 | 0 | 296.235 | 0 | 328.105 | 26.46 | 972.679 | 14.5374 | -0.2143
2019-03-16 21:45:00 | 0.62733 | 156.037 | 1.894 | 184.475 | 1.127 | 270.75 | 0 | 348.329 | 26.46 | 972.977 | 13.9914 | -0.25125
2019-03-16 22:00:00 | 0 | 155.646 | 0.75133 | 184.084 | 0 | 272.161 | 0 | 348.327 | 26.46 | 973.161 | 13.9913 | -0.22169
2019-03-16 22:15:00 | 0 | 155.653 | 0 | 184.118 | 0 | 272.758 | 0 | 348.343 | 26.46 | 973.174 | 14.1967 | -0.20691
2019-03-16 22:30:00 | 0 | 155.663 | 0 | 184.131 | 0 | 272.775 | 0 | 348.341 | 26.46 | 973.509 | 14.8118 | -0.20691
2019-03-16 22:45:00 | 0 | 155.667 | 0 | 184.111 | 0 | 272.782 | 0 | 348.325 | 26.46 | 973.365 | 15.6314 | 0.68355
2019-03-16 23:00:00 | 0 | 145.186 | 2.4053 | 187.301 | 1.894 | 270.537 | 0 | 321.32 | 26.46 | 973.662 | 16.382 | 6.5583
2019-03-16 23:15:00 | 0 | 86.6788 | 3.1723 | 139.175 | 2.661 | 298.612 | 0 | 270.247 | 26.46 | 973.662 | 16.2457 | 10.2901
2019-03-16 23:30:00 | 0 | 78.7349 | 3.6837 | 126.504 | 3.6837 | 300.684 | 0 | 256.504 | 26.46 | 973.662 | 18.0205 | 11.5057
2019-03-16 23:45:00 | 0 | 82.5608 | 2.9167 | 125.018 | 2.9167 | 300.562 | 1.2627 | 249.486 | 26.46 | 973.959 | 16.6553 | 10.3382