## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-17 00:00:00 | 0 | 78.1736 | 2.661 | 113.831 | 2.1497 | 299.925 | 0 | 252.553 | 26.46 | 973.959 | 17.2011 | 9.9354
2019-03-17 00:15:00 | 0 | 74.1955 | 4.195 | 137.382 | 2.9167 | 299.852 | 0 | 247.733 | 26.46 | 973.957 | 16.5172 | 8.5277
2019-03-17 00:30:00 | 0 | 91.7116 | 4.7063 | 130.7 | 2.1497 | 299.379 | 0 | 256.861 | 26.46 | 974.039 | 16.1071 | 5.4499
2019-03-17 00:45:00 | 0 | 79.3812 | 1.3827 | 113.593 | 2.9167 | 300.323 | 0 | 250.619 | 26.46 | 973.887 | 16.0387 | 4.8365
2019-03-17 01:00:00 | 0 | 74.141 | 3.6837 | 129.646 | 3.1723 | 299.439 | 0 | 243.766 | 26.46 | 974.022 | 16.1747 | 5.9302
2019-03-17 01:15:00 | 0.372 | 54.8687 | 3.428 | 131.376 | 1.894 | 300.219 | 1.1427 | 240.477 | 26.46 | 974.021 | 16.243 | 9.8394
2019-03-17 01:30:00 | 0 | 92.0002 | 2.9167 | 135.055 | 1.894 | 299.439 | 0 | 258.58 | 26.46 | 973.882 | 16.5842 | 10.5673
2019-03-17 01:45:00 | 0 | 37.3263 | 3.1723 | 109.058 | 3.428 | 300.901 | 0 | 238.723 | 26.46 | 973.568 | 16.9937 | 12.9283
2019-03-17 02:00:00 | 0 | 58.865 | 2.1497 | 130.427 | 3.1723 | 300.465 | 0 | 240.43 | 26.46 | 973.814 | 17.4716 | 14.7461
2019-03-17 02:15:00 | 0 | 84.2374 | 2.9167 | 148.377 | 1.894 | 299.668 | 0 | 265.554 | 26.46 | 973.802 | 18.156 | 11.2139
2019-03-17 02:30:00 | 0 | 86.4597 | 4.4507 | 138.859 | 3.1723 | 300.27 | 0 | 251.07 | 26.46 | 973.661 | 17.6792 | 10.3567
2019-03-17 02:45:00 | 0 | 102.738 | 4.195 | 147.437 | 3.9393 | 304.486 | 0 | 267.445 | 26.46 | 973.662 | 17.4061 | 9.3406
2019-03-17 03:00:00 | 0 | 131.249 | 4.195 | 185.427 | 2.9167 | 272.49 | 0 | 290.888 | 26.46 | 973.662 | 22.3208 | 15.5257
2019-03-17 03:15:00 | 0 | 101.104 | 4.7063 | 146.215 | 1.6383 | 265.76 | 0.37567 | 284.133 | 26.46 | 973.513 | 22.5935 | 16.394
2019-03-17 03:30:00 | 0 | 87.922 | 5.9847 | 141.515 | 3.9393 | 303.024 | 0.37567 | 277.388 | 26.46 | 973.365 | 23.0717 | 17.2217
2019-03-17 03:45:00 | 0 | 87.0968 | 5.4733 | 143.52 | 3.1723 | 319.29 | 0 | 269.771 | 26.46 | 973.365 | 24.1306 | 17.314
2019-03-17 04:00:00 | 0 | 88.4217 | 5.9847 | 135.908 | 2.4053 | 320.2 | 0 | 264.534 | 26.46 | 973.365 | 22.324 | 14.3397
2019-03-17 04:15:00 | 0 | 105.285 | 5.2177 | 143.094 | 0 | 319.998 | 0 | 250.101 | 26.46 | 973.662 | 23.4499 | 13.549
2019-03-17 04:30:00 | 0 | 92.5179 | 5.2177 | 143.344 | 3.6837 | 306.654 | 0 | 279.065 | 26.46 | 973.365 | 21.4368 | 10.8259
2019-03-17 04:45:00 | 0 | 87.0595 | 2.1497 | 153.827 | 1.6383 | 139.753 | 0 | 278.41 | 26.46 | 973.662 | 25.0555 | 12.9726
2019-03-17 05:00:00 | 0 | 102.439 | 6.496 | 172.715 | 5.2177 | 132.393 | 4.195 | 289.573 | 26.46 | 973.662 | 26.9671 | 21.419
2019-03-17 05:15:00 | 0 | 90.5204 | 4.962 | 140.86 | 2.4053 | 137.56 | 0.37567 | 256.401 | 26.46 | 973.662 | 27.2401 | 21.4375
2019-03-17 05:30:00 | 0 | 93.1283 | 4.4507 | 142.225 | 3.1723 | 134.27 | 0 | 274.194 | 26.46 | 973.662 | 25.3286 | 24.4229
2019-03-17 05:45:00 | 0 | 127.859 | 6.7517 | 188.704 | 6.496 | 142.264 | 4.7063 | 297.543 | 26.46 | 973.662 | 30.995 | 26.9687
2019-03-17 06:00:00 | 0 | 126.933 | 5.9847 | 188.899 | 3.6837 | 122.79 | 0 | 285.673 | 26.46 | 973.513 | 30.1758 | 34.5209
2019-03-17 06:15:00 | 0 | 128.469 | 7.7743 | 186.754 | 7.0073 | 127.08 | 4.7063 | 292.814 | 26.46 | 973.662 | 29.971 | 41.4229
2019-03-17 06:30:00 | 4.946 | 121.059 | 5.4733 | 190.215 | 7.0073 | 134.245 | 5.729 | 301.759 | 26.46 | 973.713 | 30.1075 | 45.6609
2019-03-17 06:45:00 | 0 | 120.548 | 9.0527 | 202.938 | 5.729 | 143.482 | 3.428 | 285.186 | 26.46 | 973.71 | 30.4489 | 46.5735
2019-03-17 07:00:00 | 3.414 | 124.277 | 9.3083 | 171.57 | 6.7517 | 138.51 | 5.4733 | 303.197 | 26.46 | 973.97 | 29.8344 | 53.2132
2019-03-17 07:15:00 | 5.712 | 126.738 | 9.0527 | 166.671 | 9.3083 | 128.908 | 5.2177 | 313.361 | 26.46 | 974.258 | 25.8747 | 55.2353
2019-03-17 07:30:00 | 5.4567 | 124.35 | 9.0527 | 173.203 | 8.03 | 113.309 | 5.4733 | 307.584 | 26.46 | 974.85 | 24.0314 | 49.8176
2019-03-17 07:45:00 | 3.042 | 121.839 | 7.5187 | 187.37 | 7.5187 | 115.186 | 5.2177 | 302.55 | 26.46 | 975.444 | 24.8114 | 52.1786
2019-03-17 08:00:00 | 2.9033 | 134.831 | 10.0753 | 175.461 | 7.7743 | 113.753 | 2.4053 | 320.861 | 26.46 | 975.444 | 23.8908 | 47.7411
2019-03-17 08:15:00 | 2.648 | 122.407 | 9.0527 | 169.995 | 8.03 | 113.782 | 3.6837 | 310.087 | 26.46 | 975.527 | 22.9313 | 47.3901
2019-03-17 08:30:00 | 9.7973 | 131.251 | 8.03 | 185.831 | 8.797 | 117.169 | 8.2857 | 313.302 | 26.46 | 975.74 | 23.409 | 43.492
2019-03-17 08:45:00 | 0 | 144.023 | 4.7063 | 179.055 | 4.7063 | 107.749 | 0.37567 | 306.707 | 26.46 | 976.333 | 22.1775 | 34.7759
2019-03-17 09:00:00 | 5.712 | 133.668 | 6.7517 | 186.056 | 6.496 | 114.646 | 5.9847 | 310.155 | 26.46 | 976.333 | 21.798 | 33.4798
2019-03-17 09:15:00 | 0 | 119.857 | 4.4507 | 144.331 | 4.7063 | 106.729 | 0 | 306.376 | 26.46 | 976.778 | 20.058 | 32.1267
2019-03-17 09:30:00 | 0 | 153.639 | 3.9393 | 189.852 | 4.4507 | 86.513 | 0 | 322.232 | 26.46 | 976.819 | 20.2627 | 35.4151
2019-03-17 09:45:00 | 0 | 140.769 | 5.4733 | 186.892 | 6.496 | 83.2438 | 1.007 | 328.445 | 26.46 | 976.63 | 21.2164 | 35.4964
2019-03-17 10:00:00 | 0 | 133.549 | 6.496 | 198.003 | 5.729 | 83.9428 | 0.75133 | 343.515 | 26.46 | 976.48 | 21.1464 | 34.2808
2019-03-17 10:15:00 | 4.18 | 130.137 | 8.03 | 179.467 | 6.2403 | 86.2304 | 5.4733 | 302.208 | 26.46 | 976.777 | 19.7135 | 33.3939
2019-03-17 10:30:00 | 3.9247 | 125.875 | 6.7517 | 192.836 | 6.2403 | 89.177 | 5.729 | 338.931 | 26.46 | 976.628 | 20.191 | 34.1958
2019-03-17 10:45:00 | 0 | 146.112 | 7.7743 | 201.774 | 7.5187 | 91.32 | 2.9167 | 318.28 | 26.46 | 976.332 | 20.4639 | 38.2343
2019-03-17 11:00:00 | 0 | 137.589 | 6.496 | 180.587 | 5.729 | 86.4009 | 1.774 | 325.513 | 26.46 | 976.332 | 19.236 | 40.9426
2019-03-17 11:15:00 | 7.7547 | 141.266 | 10.8423 | 185.287 | 11.3537 | 91.7583 | 4.7063 | 325.075 | 26.46 | 976.035 | 18.1446 | 49.2264
2019-03-17 11:30:00 | 0 | 134.274 | 7.0073 | 195.097 | 8.797 | 91.7077 | 4.195 | 296.285 | 26.46 | 976.035 | 17.3598 | 50.3584
2019-03-17 11:45:00 | 0 | 145.711 | 7.0073 | 192.48 | 7.7743 | 108.017 | 0.887 | 320.911 | 26.46 | 976.183 | 17.8704 | 45.7533
2019-03-17 12:00:00 | 0 | 102.85 | 5.4733 | 165.686 | 6.7517 | 115.682 | 2.0297 | 278.48 | 26.46 | 975.677 | 17.7332 | 43.4699
2019-03-17 12:15:00 | 0 | 100.559 | 4.962 | 166.095 | 5.4733 | 92.8651 | 3.0523 | 299.121 | 26.46 | 975.583 | 16.7779 | 45.4421
2019-03-17 12:30:00 | 7.7547 | 137.835 | 10.5867 | 203.394 | 9.8197 | 108.349 | 3.9393 | 328.31 | 26.46 | 974.972 | 15.5501 | 37.5508
2019-03-17 12:45:00 | 4.4353 | 122.859 | 7.5187 | 175.319 | 7.7743 | 109.906 | 0.75133 | 305.055 | 26.46 | 975.046 | 16.9821 | 34.8561
2019-03-17 13:00:00 | 0 | 147.213 | 6.2403 | 198.555 | 6.2403 | 126.614 | 0.37567 | 337.937 | 26.46 | 974.993 | 17.5966 | 31.7962
2019-03-17 13:15:00 | 0 | 127.846 | 6.496 | 187.111 | 7.263 | 124.875 | 2.4053 | 316.061 | 26.46 | 974.699 | 18.2126 | 27.3986
2019-03-17 13:30:00 | 0.744 | 133.911 | 7.5187 | 187.211 | 7.0073 | 112.214 | 3.1723 | 296.485 | 26.46 | 975.144 | 17.6671 | 23.3847
2019-03-17 13:45:00 | 6.2227 | 129.041 | 8.2857 | 179.053 | 8.03 | 114.941 | 4.195 | 312.581 | 26.46 | 974.699 | 17.6671 | 23.9241
2019-03-17 14:00:00 | 5.712 | 176.185 | 9.8197 | 221.057 | 11.098 | 115.89 | 3.428 | 0.24352 | 26.46 | 974.402 | 17.7351 | 23.3966
2019-03-17 14:15:00 | 0 | 145.843 | 6.7517 | 185.577 | 6.7517 | 115.086 | 5.729 | 320.006 | 26.46 | 974.104 | 18.2127 | 28.4977
2019-03-17 14:30:00 | 0.744 | 190.856 | 11.098 | 233.898 | 12.8877 | 116.856 | 3.428 | 0.65745 | 26.46 | 973.364 | 19.0981 | 40.2638
2019-03-17 14:45:00 | 3.2973 | 151.255 | 6.496 | 225.338 | 9.3083 | 116.752 | 5.729 | 7.5968 | 26.46 | 973.512 | 19.8473 | 33.8406
2019-03-17 15:00:00 | 0 | 175.699 | 7.263 | 214.5 | 10.331 | 116.41 | 4.7063 | 356.292 | 26.46 | 973.482 | 19.0287 | 35.84
2019-03-17 15:15:00 | 0 | 156.68 | 6.2403 | 204.344 | 5.729 | 115.508 | 4.195 | 338.829 | 26.46 | 974.241 | 20.597 | 27.1344
2019-03-17 15:30:00 | 0 | 158.991 | 7.263 | 205.997 | 7.263 | 116.553 | 3.5637 | 349.124 | 26.46 | 973.408 | 20.1876 | 31.3655
2019-03-17 15:45:00 | 0 | 139.026 | 5.2177 | 198.376 | 5.2177 | 116.31 | 4.4507 | 334.904 | 26.46 | 973.091 | 20.1194 | 31.3212
2019-03-17 16:00:00 | 0 | 196.365 | 7.263 | 239.402 | 4.4507 | 116.212 | 3.6837 | 339.969 | 26.46 | 973.124 | 20.7673 | 33.3755
2019-03-17 16:15:00 | 0 | 149.766 | 7.0073 | 201.447 | 5.4733 | 116.628 | 2.9167 | 339.974 | 26.46 | 973.135 | 23.257 | 40.1704
2019-03-17 16:30:00 | 0 | 180.202 | 5.4733 | 219.036 | 7.7743 | 117.57 | 1.774 | 0.19481 | 26.46 | 972.462 | 23.4649 | 40.865
2019-03-17 16:45:00 | 0 | 143.457 | 6.2403 | 204.452 | 7.5187 | 116.695 | 3.9393 | 331.917 | 26.46 | 971.88 | 23.8745 | 40.8762
2019-03-17 17:00:00 | 9.2867 | 145.55 | 8.03 | 187.682 | 7.5187 | 117.736 | 4.4507 | 327.05 | 26.46 | 972.028 | 24.4241 | 44.1238
2019-03-17 17:15:00 | 0 | 156.683 | 7.5187 | 212.577 | 7.5187 | 117.859 | 3.428 | 325.641 | 26.46 | 971.876 | 24.4926 | 42.3762
2019-03-17 17:30:00 | 0 | 140.218 | 7.0073 | 197.208 | 7.263 | 117.884 | 1.1427 | 333.996 | 26.46 | 971.877 | 25.7888 | 42.9563
2019-03-17 17:45:00 | 0 | 153.887 | 10.8423 | 200.892 | 11.3537 | 118.959 | 4.4507 | 339.437 | 26.46 | 971.583 | 26.199 | 50.8189
2019-03-17 18:00:00 | 10.5633 | 160.413 | 9.0527 | 211.73 | 10.8423 | 119.421 | 5.729 | 352.442 | 26.46 | 971.583 | 26.5399 | 54.8553
2019-03-17 18:15:00 | 5.4567 | 153.737 | 10.0753 | 200.776 | 12.1207 | 120.339 | 4.7063 | 337.047 | 26.46 | 971.434 | 27.0896 | 64.0971
2019-03-17 18:30:00 | 2.0207 | 146.233 | 10.8423 | 203.565 | 10.5867 | 120.017 | 3.428 | 339.854 | 26.46 | 971.434 | 28.8683 | 68.5373
2019-03-17 18:45:00 | 0.372 | 140.51 | 10.5867 | 185.855 | 11.865 | 120.701 | 2.661 | 319.125 | 26.46 | 970.989 | 30.2337 | 70.1347
2019-03-17 19:00:00 | 1.882 | 148.379 | 13.6547 | 194.724 | 13.1433 | 121.067 | 2.1497 | 331.673 | 26.46 | 970.989 | 30.3702 | 68.4913
2019-03-17 19:15:00 | 1.51 | 149.208 | 10.331 | 199.499 | 11.098 | 120.896 | 4.962 | 330.333 | 26.46 | 970.989 | 31.8034 | 65.4099
2019-03-17 19:30:00 | 1.51 | 160.562 | 9.8197 | 204.908 | 10.5867 | 121.262 | 5.4733 | 333.135 | 26.46 | 970.989 | 32.3494 | 63.5587
2019-03-17 19:45:00 | 0 | 139.486 | 10.331 | 194.675 | 8.797 | 120.433 | 5.729 | 329.237 | 26.46 | 971.119 | 33.2366 | 66.0417
2019-03-17 20:00:00 | 0 | 133.374 | 8.2857 | 196.994 | 10.331 | 120.558 | 2.661 | 323.517 | 26.46 | 971.175 | 34.1245 | 70.0929
2019-03-17 20:15:00 | 2.0207 | 149.756 | 8.2857 | 201.93 | 8.2857 | 121.053 | 1.6383 | 322.125 | 26.46 | 971.21 | 34.9458 | 75.2766
2019-03-17 20:30:00 | 3.414 | 156.217 | 10.8423 | 203.056 | 11.098 | 120.91 | 2.661 | 336.461 | 26.46 | 971.402 | 34.6054 | 75.6578
2019-03-17 20:45:00 | 1.51 | 137.506 | 12.8877 | 195.555 | 10.8423 | 121.959 | 1.007 | 322.333 | 26.46 | 971.419 | 34.4694 | 77.8355
2019-03-17 21:00:00 | 4.6907 | 145.231 | 10.8423 | 190.536 | 11.6093 | 122.934 | 3.428 | 323.333 | 26.46 | 970.989 | 34.1283 | 77.0523
2019-03-17 21:15:00 | 1.7653 | 128.466 | 12.1207 | 181.618 | 10.8423 | 124.762 | 6.496 | 325.527 | 26.46 | 970.989 | 34.1284 | 76.8786
2019-03-17 21:30:00 | 4.18 | 145.672 | 10.0753 | 205.428 | 10.331 | 147.158 | 5.4733 | 320.828 | 26.46 | 971.137 | 34.6066 | 74.7948
2019-03-17 21:45:00 | 2.1373 | 144.845 | 11.098 | 198.924 | 11.6093 | 135.195 | 5.2177 | 325.9 | 26.46 | 970.989 | 34.8459 | 73.3153
2019-03-17 22:00:00 | 3.9247 | 153.888 | 14.933 | 196.612 | 13.9103 | 146.138 | 5.2177 | 319.594 | 26.46 | 970.692 | 35.5631 | 74.8908
2019-03-17 22:15:00 | 3.1587 | 148.477 | 11.098 | 191.201 | 10.331 | 137.925 | 1.774 | 315.205 | 26.46 | 970.989 | 36.3136 | 74.8095
2019-03-17 22:30:00 | 4.946 | 147.576 | 12.8877 | 197.027 | 9.564 | 149.55 | 2.4053 | 330.389 | 26.46 | 970.692 | 36.8601 | 73.7861
2019-03-17 22:45:00 | 5.9673 | 131.444 | 9.564 | 181.894 | 9.0527 | 130.299 | 5.4733 | 327.246 | 26.46 | 970.84 | 37.2014 | 73.2154
2019-03-17 23:00:00 | 5.2013 | 147.893 | 13.6547 | 198.538 | 9.0527 | 148.015 | 3.428 | 332.29 | 26.46 | 970.692 | 37.2014 | 73.9302
2019-03-17 23:15:00 | 5.4567 | 142.092 | 12.1207 | 201.265 | 11.865 | 140.776 | 4.195 | 323.051 | 26.46 | 970.098 | 37.2693 | 73.093
2019-03-17 23:30:00 | 5.9673 | 148.11 | 7.7743 | 185.278 | 8.5413 | 133.611 | 3.6837 | 323.658 | 26.46 | 970.395 | 37.9516 | 70.2308
2019-03-17 23:45:00 | 4.6907 | 148.525 | 12.8877 | 192.541 | 12.3763 | 144.115 | 3.6837 | 326.829 | 26.46 | 970.098 | 37.8836 | 71.7908