## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-18 00:00:00 | 4.6907 | 141.967 | 13.1433 | 194.144 | 13.1433 | 139.92 | 3.428 | 331.67 | 26.46 | 970.098 | 38.6335 | 72.6974
2019-03-18 00:15:00 | 3.1587 | 135.314 | 11.3537 | 183.715 | 9.3083 | 137.069 | 4.7063 | 322.313 | 26.46 | 970.098 | 39.5209 | 69.8712
2019-03-18 00:30:00 | 6.7333 | 151.572 | 10.0753 | 204.726 | 11.3537 | 139.924 | 2.0297 | 338.357 | 26.46 | 969.801 | 40.2728 | 67.3164
2019-03-18 00:45:00 | 3.6693 | 151.613 | 10.8423 | 198.049 | 12.3763 | 130.703 | 3.6837 | 333.179 | 26.46 | 969.504 | 41.1648 | 66.9986
2019-03-18 01:00:00 | 4.4353 | 141.557 | 10.5867 | 193.724 | 9.8197 | 132.661 | 2.661 | 328.105 | 26.46 | 969.207 | 41.6453 | 71.8664
2019-03-18 01:15:00 | 5.712 | 140.606 | 8.2857 | 189.654 | 9.0527 | 135.829 | 4.195 | 316.066 | 26.46 | 969.207 | 42.4646 | 72.9215
2019-03-18 01:30:00 | 4.18 | 138.632 | 9.564 | 206.374 | 8.797 | 145.31 | 2.9167 | 323.378 | 26.46 | 968.91 | 43.4886 | 76.4796
2019-03-18 01:45:00 | 5.4567 | 135.049 | 13.1433 | 187.144 | 12.632 | 131.442 | 3.1723 | 322.354 | 26.46 | 968.316 | 44.2396 | 76.4546
2019-03-18 02:00:00 | 4.18 | 158.277 | 10.8423 | 209.372 | 11.3537 | 134.586 | 3.6837 | 334.906 | 26.46 | 968.168 | 45.3661 | 80.1588
2019-03-18 02:15:00 | 5.712 | 145.603 | 13.6547 | 193.042 | 13.399 | 145.871 | 5.729 | 327.789 | 26.46 | 967.722 | 46.356 | 79.1731
2019-03-18 02:30:00 | 5.712 | 128.542 | 12.8877 | 183.781 | 10.5867 | 147.821 | 4.7063 | 334.029 | 26.46 | 967.574 | 47.5849 | 79.9232
2019-03-18 02:45:00 | 6.478 | 133.611 | 15.7 | 193.067 | 13.399 | 131.223 | 5.729 | 320.161 | 26.46 | 966.831 | 48.8138 | 78.3677
2019-03-18 03:00:00 | 4.946 | 140.996 | 13.6547 | 194.456 | 12.3763 | 130.443 | 3.1723 | 329.252 | 26.46 | 966.831 | 50.2133 | 79.0734
2019-03-18 03:15:00 | 5.712 | 113.577 | 8.5413 | 205.277 | 11.3537 | 143.312 | 4.962 | 303.538 | 26.46 | 966.684 | 50.8619 | 78.3012
2019-03-18 03:30:00 | 5.712 | 148.406 | 14.6773 | 197.259 | 14.166 | 156.108 | 5.4733 | 330.421 | 26.46 | 966.303 | 51.6812 | 77.8097
2019-03-18 03:45:00 | 7.244 | 140.875 | 7.263 | 180.368 | 7.5187 | 149.332 | 4.962 | 328.545 | 26.46 | 966.603 | 52.1591 | 76.4759
2019-03-18 04:00:00 | 5.2013 | 134.151 | 11.3537 | 181.494 | 10.5867 | 154.673 | 5.2177 | 324.555 | 26.46 | 966.261 | 52.2285 | 76.5313
2019-03-18 04:15:00 | 4.18 | 145.797 | 10.8423 | 208.02 | 12.3763 | 142.482 | 4.7063 | 328.916 | 26.46 | 965.974 | 51.758 | 76.2394
2019-03-18 04:30:00 | 5.4567 | 135.949 | 11.865 | 194.661 | 13.1433 | 144.091 | 5.729 | 341.883 | 26.46 | 965.997 | 51.792 | 75.9069
2019-03-18 04:45:00 | 3.9247 | 148.94 | 9.8197 | 201.655 | 9.3083 | 157.423 | 2.1497 | 326.694 | 26.46 | 966.298 | 52.645 | 75.6815
2019-03-18 05:00:00 | 3.9247 | 148.821 | 12.8877 | 202.951 | 9.564 | 181.071 | 5.2177 | 330.331 | 26.46 | 966.09 | 52.5434 | 74.743
2019-03-18 05:15:00 | 2.648 | 153.065 | 10.8423 | 212.876 | 6.496 | 141.754 | 4.4507 | 329.215 | 26.46 | 966.332 | 53.3296 | 76.4722
2019-03-18 05:30:00 | 4.6907 | 149.408 | 11.3537 | 201.174 | 12.1207 | 159.939 | 2.1497 | 338.916 | 26.46 | 965.95 | 53.2611 | 73.6346
2019-03-18 05:45:00 | 5.2013 | 147.582 | 9.8197 | 196.327 | 8.797 | 151.653 | 4.4507 | 332.388 | 26.46 | 965.773 | 53.3985 | 76.0067
2019-03-18 06:00:00 | 4.6907 | 140.66 | 5.9847 | 205.86 | 7.7743 | 131.275 | 1.6383 | 329.027 | 26.46 | 965.74 | 54.0477 | 78.0499
2019-03-18 06:15:00 | 4.6907 | 152.889 | 15.1887 | 211.893 | 14.166 | 172.634 | 3.9393 | 324.597 | 26.46 | 965.203 | 53.874 | 79.4429
2019-03-18 06:30:00 | 5.712 | 147.323 | 14.166 | 191.722 | 11.865 | 141.059 | 3.9393 | 330.478 | 26.46 | 965.394 | 54.5197 | 81.7595
2019-03-18 06:45:00 | 1.882 | 160.371 | 8.5413 | 216.108 | 7.7743 | 171.755 | 2.661 | 332.101 | 26.46 | 965.712 | 55.1025 | 80.4553
2019-03-18 07:00:00 | 5.712 | 141.814 | 10.0753 | 193.477 | 14.166 | 160.535 | 4.4507 | 333.013 | 26.46 | 965.391 | 55.5097 | 76.7863
2019-03-18 07:15:00 | 4.946 | 159.097 | 13.9103 | 202.985 | 13.9103 | 154.831 | 4.4507 | 339.108 | 26.46 | 965.408 | 55.8513 | 80.6806
2019-03-18 07:30:00 | 4.18 | 135.308 | 9.0527 | 199.427 | 9.3083 | 157.002 | 2.9167 | 326.63 | 26.46 | 966.033 | 56.1931 | 82.9197
2019-03-18 07:45:00 | 4.6907 | 156.646 | 11.6093 | 194.606 | 13.1433 | 160.57 | 4.7063 | 336.471 | 26.46 | 965.816 | 55.5735 | 81.2903
2019-03-18 08:00:00 | 3.414 | 150.746 | 10.8423 | 203.157 | 9.564 | 174.826 | 4.195 | 332.542 | 26.46 | 965.972 | 55.3679 | 82.4061
2019-03-18 08:15:00 | 4.18 | 162.542 | 11.3537 | 218.122 | 9.564 | 177.946 | 3.1723 | 333.151 | 26.46 | 966.09 | 54.6851 | 79.9638
2019-03-18 08:30:00 | 3.9247 | 148.381 | 10.0753 | 216.781 | 11.3537 | 176.581 | 3.6837 | 325.474 | 26.46 | 966.238 | 54.3438 | 81.2201
2019-03-18 08:45:00 | 4.6907 | 150.746 | 11.098 | 203.474 | 12.632 | 155.864 | 2.1497 | 339.976 | 26.46 | 966.535 | 54.412 | 79.4429
2019-03-18 09:00:00 | 5.2013 | 157.107 | 12.8877 | 208.543 | 14.6773 | 156.571 | 4.7063 | 344.509 | 26.46 | 966.238 | 55.0606 | 79.0549
2019-03-18 09:15:00 | 3.9247 | 156.747 | 11.865 | 203.277 | 13.9103 | 174.22 | 4.4507 | 332.796 | 26.46 | 966.089 | 53.9961 | 77.1927
2019-03-18 09:30:00 | 4.4353 | 162.367 | 10.5867 | 216.447 | 12.632 | 179.206 | 2.1497 | 341.134 | 26.46 | 966.535 | 53.5492 | 70.9817
2019-03-18 09:45:00 | 4.4353 | 149.791 | 10.8423 | 197.51 | 13.1433 | 161.39 | 5.9847 | 334.989 | 26.46 | 966.535 | 52.6271 | 66.2855
2019-03-18 10:00:00 | 5.2013 | 150.94 | 12.3763 | 200.964 | 11.098 | 155.715 | 3.428 | 345.175 | 26.46 | 967.073 | 51.1864 | 66.5146
2019-03-18 10:15:00 | 6.478 | 162.949 | 8.5413 | 217.602 | 11.098 | 169.991 | 1.3827 | 332.648 | 26.46 | 966.539 | 50.6398 | 69.3522
2019-03-18 10:30:00 | 3.5527 | 156.663 | 8.2857 | 220.233 | 7.5187 | 182.66 | 5.729 | 356.476 | 26.46 | 966.982 | 50.8446 | 69.2214
2019-03-18 10:45:00 | 4.4353 | 140.242 | 12.8877 | 193.457 | 12.632 | 147.478 | 3.6837 | 322.951 | 26.46 | 966.536 | 51.6636 | 71.5219
2019-03-18 11:00:00 | 4.4353 | 148.198 | 11.865 | 199.484 | 10.8423 | 170.71 | 5.4733 | 338.642 | 26.46 | 966.685 | 49.3396 | 73.1912
2019-03-18 11:15:00 | 8.01 | 160.961 | 8.2857 | 215.693 | 8.03 | 176.404 | 1.3827 | 336.342 | 26.46 | 966.536 | 47.3523 | 75.7998
2019-03-18 11:30:00 | 9.2867 | 154.958 | 9.0527 | 219.208 | 9.8197 | 172.3 | 3.9393 | 338.268 | 26.46 | 966.388 | 45.7799 | 77.9021
2019-03-18 11:45:00 | 4.946 | 133.547 | 13.399 | 190.318 | 14.933 | 137.785 | 3.9393 | 330.371 | 26.46 | 965.943 | 44.6877 | 73.1579
2019-03-18 12:00:00 | 13.1167 | 149.766 | 12.1207 | 202.664 | 11.098 | 134.811 | 4.195 | 349.438 | 26.46 | 966.24 | 42.231 | 73.2577
2019-03-18 12:15:00 | 6.7333 | 169.3 | 11.3537 | 228.043 | 12.8877 | 117.47 | 3.1723 | 351.337 | 26.46 | 966.388 | 41.4805 | 71.9645
2019-03-18 12:30:00 | 4.4353 | 152.883 | 11.3537 | 202.177 | 12.3763 | 118.858 | 5.2177 | 331.365 | 26.46 | 966.234 | 39.6384 | 69.0778
2019-03-18 12:45:00 | 0.62733 | 195.921 | 8.797 | 244.532 | 8.797 | 120.685 | 1.127 | 338.745 | 26.46 | 966.227 | 40.3889 | 70.6873
2019-03-18 13:00:00 | 5.4567 | 173.075 | 12.1207 | 219.323 | 13.6547 | 123.632 | 4.195 | 346.344 | 26.46 | 965.537 | 41.5146 | 67.0815
2019-03-18 13:15:00 | 0 | 177.313 | 6.7517 | 221.442 | 7.0073 | 124.095 | 0.887 | 350.826 | 26.46 | 965.889 | 42.7085 | 65.2101
2019-03-18 13:30:00 | 2.648 | 174.049 | 10.0753 | 212.65 | 14.4217 | 171.492 | 5.729 | 356.817 | 26.46 | 965.206 | 41.6169 | 67.0451
2019-03-18 13:45:00 | 3.6693 | 181.642 | 14.6773 | 224.552 | 14.933 | 174.628 | 4.7063 | 355.904 | 26.46 | 964.758 | 42.2977 | 69.1275
2019-03-18 14:00:00 | 3.6693 | 174.254 | 12.3763 | 218.306 | 11.098 | 157.645 | 2.661 | 350.457 | 26.46 | 965.203 | 42.8416 | 65.0728
2019-03-18 14:15:00 | 10.308 | 207.388 | 8.2857 | 237.555 | 9.0527 | 165.331 | 3.1723 | 355.112 | 26.46 | 965.203 | 43.1119 | 66.6571
2019-03-18 14:30:00 | 5.4567 | 178.306 | 11.3537 | 224.154 | 12.3763 | 172.681 | 4.4507 | 356.807 | 26.46 | 964.758 | 41.4054 | 66.9617
2019-03-18 14:45:00 | 6.2227 | 171.17 | 8.2857 | 231.994 | 12.632 | 182.153 | 2.661 | 349.865 | 26.46 | 964.609 | 40.7913 | 62.1769
2019-03-18 15:00:00 | 5.4567 | 184.029 | 12.3763 | 231.362 | 12.8877 | 172.267 | 3.428 | 356.393 | 26.46 | 964.313 | 39.9729 | 66.9627
2019-03-18 15:15:00 | 4.18 | 169.662 | 12.3763 | 214.78 | 13.1433 | 162.429 | 2.4053 | 354.885 | 26.46 | 964.758 | 39.632 | 57.8096
2019-03-18 15:30:00 | 4.4353 | 185.124 | 12.1207 | 227.83 | 13.6547 | 186.853 | 3.1723 | 7.2569 | 26.46 | 964.164 | 36.528 | 68.8941
2019-03-18 15:45:00 | 5.9673 | 174.823 | 11.6093 | 227.684 | 12.632 | 186.366 | 2.1497 | 355.539 | 26.46 | 964.313 | 37.0737 | 66.8927
2019-03-18 16:00:00 | 7.244 | 173.169 | 9.8197 | 230.317 | 9.8197 | 193.552 | 5.2177 | 341.735 | 26.46 | 964.164 | 37.8585 | 53.0596
2019-03-18 16:15:00 | 4.946 | 178.918 | 12.1207 | 224.313 | 11.865 | 188.611 | 3.6837 | 8.2323 | 26.46 | 963.868 | 36.2267 | 50.1169
2019-03-18 16:30:00 | 5.4567 | 180.187 | 13.399 | 218.763 | 14.166 | 179.237 | 4.7063 | 0.19485 | 26.46 | 963.719 | 35.4767 | 59.0215
2019-03-18 16:45:00 | 3.1587 | 173.221 | 12.3763 | 216.644 | 12.632 | 174.438 | 4.4507 | 356.817 | 26.46 | 963.868 | 36.3636 | 55.1681
2019-03-18 17:00:00 | 6.2227 | 184.616 | 11.098 | 223.825 | 12.8877 | 173.437 | 4.4507 | 355.179 | 26.46 | 964.016 | 36.7724 | 54.9756
2019-03-18 17:15:00 | 4.18 | 194.118 | 12.3763 | 227.604 | 12.3763 | 174.317 | 3.1723 | 15.7584 | 26.46 | 963.767 | 36.0225 | 45.9011
2019-03-18 17:30:00 | 5.2013 | 185.058 | 10.0753 | 224.268 | 11.865 | 172.027 | 3.428 | 10.8141 | 26.46 | 964.035 | 36.2954 | 39.0007
2019-03-18 17:45:00 | 0.372 | 180.065 | 9.8197 | 209.897 | 9.3083 | 186.032 | 4.195 | 76.0885 | 26.46 | 964.298 | 39.6384 | 31.9345
2019-03-18 18:00:00 | 0.372 | 178.238 | 11.098 | 219.81 | 12.1207 | 165.695 | 5.2177 | 74.8707 | 26.46 | 963.852 | 41.1393 | 28.3136
2019-03-18 18:15:00 | 1.7653 | 177.337 | 10.0753 | 217.911 | 9.564 | 173.026 | 4.195 | 74.0426 | 26.46 | 964.013 | 42.1627 | 29.7139
2019-03-18 18:30:00 | 4.4353 | 179.285 | 13.1433 | 217.277 | 12.1207 | 172.173 | 4.195 | 0.34099 | 26.46 | 963.864 | 42.0263 | 34.5525
2019-03-18 18:45:00 | 6.478 | 188.03 | 11.3537 | 231.332 | 11.098 | 174.878 | 4.962 | 352.362 | 26.46 | 963.864 | 42.8452 | 40.8982
2019-03-18 19:00:00 | 6.478 | 186.692 | 10.331 | 216.452 | 12.8877 | 163.091 | 3.6837 | 353.607 | 26.46 | 963.864 | 41.7539 | 49.0728
2019-03-18 19:15:00 | 4.4353 | 173.569 | 9.3083 | 218.164 | 10.331 | 189.085 | 5.2177 | 352.886 | 26.46 | 964.31 | 42.6421 | 54.2847
2019-03-18 19:30:00 | 5.2013 | 160.705 | 9.3083 | 217.964 | 9.564 | 183.648 | 1.5183 | 338.678 | 26.46 | 964.458 | 42.9822 | 52.2488
2019-03-18 19:45:00 | 8.2653 | 190.081 | 7.0073 | 233.506 | 7.263 | 180.07 | 1.6383 | 354.831 | 26.46 | 964.458 | 44.0061 | 47.0568
2019-03-18 20:00:00 | 4.574 | 170.429 | 8.03 | 221.82 | 8.797 | 175.325 | 1.007 | 342.173 | 26.46 | 964.755 | 45.6446 | 49.2217
2019-03-18 20:15:00 | 9.7973 | 166.128 | 10.331 | 213.797 | 8.5413 | 150.319 | 3.428 | 355.324 | 26.46 | 964.458 | 47.3874 | 55.5853
2019-03-18 20:30:00 | 1.7653 | 172.348 | 9.3083 | 206.208 | 6.496 | 152.275 | 5.4733 | 63.0195 | 26.46 | 964.458 | 48.9931 | 58.3638
2019-03-18 20:45:00 | 9.7973 | 172.937 | 10.0753 | 228.027 | 10.8423 | 145.064 | 3.428 | 346.629 | 26.46 | 964.458 | 50.1615 | 61.1608
2019-03-18 21:00:00 | 3.9247 | 136.879 | 8.797 | 228.663 | 9.564 | 157.638 | 2.661 | 349.361 | 26.46 | 964.458 | 50.2985 | 65.1955
2019-03-18 21:15:00 | 4.6907 | 155.616 | 9.564 | 204.47 | 8.2857 | 163.242 | 5.9847 | 338.788 | 26.46 | 964.458 | 50.8446 | 61.4092
2019-03-18 21:30:00 | 5.9673 | 149.5 | 9.0527 | 201.448 | 9.564 | 160.099 | 4.195 | 349.313 | 26.46 | 964.458 | 52.7214 | 57.1149
2019-03-18 21:45:00 | 12.606 | 166.58 | 7.0073 | 215.287 | 8.03 | 156.347 | 5.729 | 356.842 | 26.46 | 964.458 | 53.5062 | 61.6764
2019-03-18 22:00:00 | 0 | 169.918 | 7.263 | 202.057 | 7.7743 | 208.876 | 3.9393 | 348.07 | 26.46 | 964.175 | 53.438 | 65.0947
2019-03-18 22:15:00 | 6.9887 | 154.155 | 9.564 | 217.067 | 7.7743 | 175.157 | 4.962 | 344.052 | 26.46 | 964.559 | 54.8032 | 61.1164
2019-03-18 22:30:00 | 9.542 | 176.233 | 9.564 | 202.259 | 8.797 | 181.325 | 5.9847 | 339.431 | 26.46 | 964.104 | 53.9855 | 63.2927
2019-03-18 22:45:00 | 8.776 | 174.91 | 7.263 | 210.297 | 7.5187 | 195.037 | 4.7063 | 341.949 | 26.46 | 964.146 | 55.0828 | 67.5795
2019-03-18 23:00:00 | 9.7973 | 174.206 | 12.1207 | 218.854 | 10.5867 | 181.93 | 3.1723 | 16.0097 | 26.46 | 964.159 | 55.8344 | 64.7263
2019-03-18 23:15:00 | 3.1587 | 166.412 | 9.8197 | 223.635 | 11.865 | 197.92 | 4.195 | 356.802 | 26.46 | 963.862 | 56.3817 | 65.5592
2019-03-18 23:30:00 | 4.6907 | 151.134 | 7.263 | 195.808 | 8.2857 | 195.29 | 4.7063 | 331.583 | 26.46 | 964.159 | 58.2252 | 66.0306
2019-03-18 23:45:00 | 10.0527 | 164.926 | 11.6093 | 200.024 | 11.6093 | 147.089 | 6.2403 | 353.393 | 26.46 | 964.01 | 60.3412 | 63.773