## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-19 00:00:00 | 3.6693 | 147.278 | 11.098 | 195.507 | 10.331 | 209.366 | 4.7063 | 332.057 | 26.46 | 963.862 | 61.1579 | 66.9137
2019-03-19 00:15:00 | 3.9247 | 156.203 | 9.3083 | 206.312 | 9.564 | 208.645 | 3.428 | 344.793 | 26.46 | 963.862 | 61.0924 | 66.4887
2019-03-19 00:30:00 | 4.6907 | 157.312 | 8.797 | 205.964 | 6.7517 | 211.78 | 1.774 | 343.065 | 26.46 | 963.862 | 60.6193 | 69.2246
2019-03-19 00:45:00 | 2.9033 | 157.568 | 11.098 | 205.128 | 10.0753 | 208.336 | 3.9393 | 339.825 | 26.46 | 963.862 | 62.9451 | 70.4164
2019-03-19 01:00:00 | 0.62733 | 154.133 | 8.797 | 206.496 | 9.0527 | 207.729 | 2.4053 | 337.416 | 26.46 | 963.862 | 63.1507 | 69.3301
2019-03-19 01:15:00 | 7.244 | 152.11 | 7.5187 | 212.394 | 8.03 | 202.538 | 2.4053 | 307.024 | 26.46 | 963.862 | 63.4921 | 70.9041
2019-03-19 01:30:00 | 1.882 | 168.099 | 10.8423 | 202.621 | 7.5187 | 200.393 | 1.894 | 345.606 | 26.46 | 963.713 | 64.243 | 71.1775
2019-03-19 01:45:00 | 2.7867 | 149.186 | 10.8423 | 202.377 | 11.098 | 194.202 | 5.2177 | 329.13 | 26.46 | 963.565 | 64.6527 | 74.1436
2019-03-19 02:00:00 | 3.414 | 147.723 | 11.6093 | 199.94 | 10.0753 | 190.205 | 2.4053 | 336.734 | 26.46 | 963.565 | 65.0623 | 72.5889
2019-03-19 02:15:00 | 4.18 | 150.502 | 10.5867 | 200.305 | 9.564 | 185.964 | 3.1723 | 338.148 | 26.46 | 963.565 | 65.3354 | 75.3896
2019-03-19 02:30:00 | 3.6693 | 163.102 | 10.5867 | 208.495 | 11.098 | 181.285 | 4.7063 | 341.414 | 26.46 | 963.565 | 65.5402 | 77.1151
2019-03-19 02:45:00 | 3.9247 | 155.864 | 12.8877 | 207.861 | 11.3537 | 162.786 | 3.1723 | 337.855 | 26.46 | 963.119 | 66.496 | 78.3804
2019-03-19 03:00:00 | 3.1587 | 147.138 | 10.331 | 185.73 | 9.8197 | 186.89 | 5.729 | 329.763 | 26.46 | 962.971 | 67.3152 | 79.7885
2019-03-19 03:15:00 | 2.1373 | 165.978 | 11.6093 | 214.149 | 12.632 | 157.692 | 4.962 | 336.929 | 26.46 | 962.971 | 68.4076 | 84.1242
2019-03-19 03:30:00 | 4.6907 | 139.607 | 14.6773 | 184.902 | 11.098 | 149.259 | 5.2177 | 326.278 | 26.46 | 962.674 | 69.5682 | 85.5615
2019-03-19 03:45:00 | 3.1587 | 162.834 | 10.331 | 206.252 | 9.8197 | 163.419 | 2.4053 | 324.718 | 26.46 | 962.689 | 69.8413 | 85.7278
2019-03-19 04:00:00 | 5.4567 | 145.798 | 12.632 | 200.671 | 11.6093 | 146.432 | 4.195 | 330.397 | 26.46 | 962.707 | 69.773 | 85.9162
2019-03-19 04:15:00 | 4.18 | 148.747 | 12.632 | 202.548 | 10.8423 | 140.095 | 2.9167 | 323.451 | 26.46 | 962.699 | 70.5922 | 84.2477
2019-03-19 04:30:00 | 4.6907 | 150.112 | 11.865 | 194.334 | 10.0753 | 147.796 | 5.2177 | 325.693 | 26.46 | 962.986 | 70.5922 | 85.4359
2019-03-19 04:45:00 | 3.9247 | 147.065 | 13.9103 | 195.553 | 12.8877 | 151.72 | 4.7063 | 326.156 | 26.46 | 962.768 | 71.275 | 85.6539
2019-03-19 05:00:00 | 2.648 | 155.157 | 12.8877 | 206.764 | 11.098 | 163.907 | 4.195 | 327.156 | 26.46 | 963.058 | 72.1625 | 86.0049
2019-03-19 05:15:00 | 3.9247 | 149.161 | 11.3537 | 207.276 | 11.6093 | 154.913 | 2.661 | 334.809 | 26.46 | 963.139 | 72.0259 | 82.2842
2019-03-19 05:30:00 | 5.712 | 152.062 | 12.8877 | 204.376 | 12.8877 | 137.389 | 4.7063 | 327.594 | 26.46 | 963.021 | 72.6404 | 85.3472
2019-03-19 05:45:00 | 3.9247 | 152.963 | 8.5413 | 200.72 | 8.03 | 153.597 | 5.4733 | 320.063 | 26.46 | 963.325 | 73.2207 | 83.3262
2019-03-19 06:00:00 | 3.9247 | 140.85 | 13.1433 | 187.242 | 12.1207 | 142.605 | 4.962 | 324.158 | 26.46 | 963.023 | 73.801 | 83.2338
2019-03-19 06:15:00 | 4.946 | 147.163 | 13.399 | 196.796 | 13.399 | 155.718 | 2.4053 | 325.571 | 26.46 | 963.053 | 74.552 | 83.2966
2019-03-19 06:30:00 | 4.6907 | 147.553 | 14.933 | 199.062 | 14.4217 | 151.379 | 5.4733 | 324.475 | 26.46 | 963.079 | 74.9616 | 81.6007
2019-03-19 06:45:00 | 4.18 | 150.867 | 11.6093 | 197.551 | 10.5867 | 155.644 | 2.9167 | 329.788 | 26.46 | 963.522 | 75.3712 | 82.4209
2019-03-19 07:00:00 | 3.6693 | 154.401 | 12.632 | 207.666 | 13.399 | 157.326 | 5.2177 | 328.009 | 26.46 | 963.288 | 76.1222 | 82.5465
2019-03-19 07:15:00 | 4.6907 | 139.948 | 13.1433 | 197.941 | 12.632 | 153.11 | 4.962 | 334.102 | 26.46 | 963.424 | 76.5318 | 80.275
2019-03-19 07:30:00 | 2.9033 | 140.68 | 9.0527 | 189.143 | 9.3083 | 147.723 | 5.2177 | 324.986 | 26.46 | 964.01 | 76.6684 | 80.2151
2019-03-19 07:45:00 | 3.414 | 148.259 | 9.8197 | 213.15 | 10.5867 | 134.562 | 4.962 | 332.444 | 26.46 | 964.159 | 76.3953 | 70.8006
2019-03-19 08:00:00 | 3.6693 | 139.479 | 12.3763 | 200.904 | 12.3763 | 148.106 | 3.428 | 326.311 | 26.46 | 964.159 | 76.5281 | 75.4731
2019-03-19 08:15:00 | 2.3927 | 148.404 | 12.1207 | 201.266 | 10.5867 | 144.822 | 1.2627 | 338.82 | 26.46 | 964.159 | 75.8358 | 74.1001
2019-03-19 08:30:00 | 2.9033 | 154.911 | 10.331 | 198.976 | 9.564 | 140.338 | 1.5183 | 338.747 | 26.46 | 964.604 | 74.1978 | 72.7684
2019-03-19 08:45:00 | 1.882 | 152.933 | 9.0527 | 209.595 | 8.2857 | 137.045 | 3.428 | 331.794 | 26.46 | 965.05 | 73.7182 | 80.3592
2019-03-19 09:00:00 | 3.042 | 147.991 | 10.0753 | 197.382 | 11.3537 | 153.156 | 3.6837 | 338.401 | 26.46 | 965.108 | 72.241 | 80.4848
2019-03-19 09:15:00 | 4.6907 | 147.551 | 12.632 | 201.765 | 14.4217 | 144.311 | 3.1723 | 327.409 | 26.46 | 964.463 | 72.9569 | 84.8558
2019-03-19 09:30:00 | 5.9673 | 149.866 | 13.9103 | 199.499 | 13.9103 | 140.242 | 5.4733 | 330.455 | 26.46 | 964.458 | 71.7966 | 85.9384
2019-03-19 09:45:00 | 3.9247 | 153.496 | 14.166 | 197.599 | 13.1433 | 134.906 | 4.7063 | 339.689 | 26.46 | 964.755 | 69.5445 | 82.1657
2019-03-19 10:00:00 | 3.414 | 142.435 | 13.6547 | 197.404 | 13.1433 | 144.53 | 4.195 | 326.24 | 26.46 | 965.052 | 67.1558 | 81.6218
2019-03-19 10:15:00 | 3.1587 | 150.151 | 13.6547 | 204.496 | 12.1207 | 155.462 | 5.4733 | 324.37 | 26.46 | 965.052 | 67.0736 | 83.9046
2019-03-19 10:30:00 | 3.9247 | 141.148 | 14.166 | 204.278 | 11.865 | 148.796 | 5.4733 | 323.459 | 26.46 | 965.349 | 64.6786 | 84.3422
2019-03-19 10:45:00 | 4.6907 | 135.032 | 13.399 | 189.076 | 13.399 | 142.631 | 4.962 | 314.295 | 26.46 | 965.794 | 62.4262 | 73.5496
2019-03-19 11:00:00 | 2.9033 | 145.698 | 13.1433 | 196.526 | 10.0753 | 149.133 | 4.195 | 327.152 | 26.46 | 965.943 | 61.9478 | 73.4047
2019-03-19 11:15:00 | 3.1587 | 143.019 | 12.632 | 195.357 | 12.3763 | 143.555 | 4.7063 | 328.467 | 26.46 | 965.585 | 61.3338 | 66.6365
2019-03-19 11:30:00 | 3.9247 | 151.032 | 10.331 | 199.887 | 9.564 | 141.241 | 4.962 | 326.591 | 26.46 | 965.613 | 59.0483 | 60.999
2019-03-19 11:45:00 | 3.9247 | 157.017 | 10.5867 | 214.052 | 11.3537 | 153.242 | 5.729 | 341.945 | 26.46 | 965.356 | 51.5073 | 67.1612
2019-03-19 12:00:00 | 4.946 | 164.182 | 14.4217 | 211.321 | 11.3537 | 147.647 | 4.195 | 346.263 | 26.46 | 964.906 | 51.1599 | 71.9494
2019-03-19 12:15:00 | 3.9247 | 164.863 | 12.8877 | 203.917 | 13.399 | 164.839 | 4.962 | 332.064 | 26.46 | 964.758 | 49.5907 | 59.8232
2019-03-19 12:30:00 | 5.4567 | 136.786 | 3.9393 | 165.977 | 5.9847 | 145.747 | 2.9167 | 306.495 | 26.46 | 964.906 | 50.2731 | 63.9524
2019-03-19 12:45:00 | 1.6267 | 161.989 | 9.8197 | 210.857 | 10.331 | 157.825 | 3.1723 | 344.97 | 26.46 | 964.461 | 48.4311 | 67.215
2019-03-19 13:00:00 | 1.116 | 153.127 | 8.03 | 213.708 | 9.3083 | 164.67 | 3.9393 | 335.866 | 26.46 | 964.461 | 48.8408 | 60.9628
2019-03-19 13:15:00 | 6.9887 | 188.241 | 11.098 | 227.879 | 10.0753 | 159.749 | 4.7063 | 346.31 | 26.46 | 964.164 | 48.397 | 60.6255
2019-03-19 13:30:00 | 4.6907 | 164.108 | 12.1207 | 213.195 | 13.6547 | 164.644 | 4.195 | 348.063 | 26.46 | 964.016 | 48.3629 | 61.2642
2019-03-19 13:45:00 | 4.946 | 185.66 | 11.6093 | 235.793 | 11.865 | 168.37 | 4.7063 | 9.0833 | 26.46 | 964.016 | 47.2715 | 71.0149
2019-03-19 14:00:00 | 4.946 | 163.483 | 8.2857 | 203.48 | 9.0527 | 166.526 | 0.37567 | 336.023 | 26.46 | 963.711 | 47.8123 | 62.8789
2019-03-19 14:15:00 | 6.478 | 170.898 | 8.5413 | 207.458 | 9.564 | 190.328 | 1.1427 | 336.026 | 26.46 | 963.711 | 47.3318 | 65.6927
2019-03-19 14:30:00 | 3.042 | 144.261 | 11.3537 | 191.485 | 11.865 | 176.668 | 5.2177 | 324.751 | 26.46 | 962.996 | 47.9795 | 60.3995
2019-03-19 14:45:00 | 3.9247 | 151.419 | 9.8197 | 198.303 | 10.5867 | 180.296 | 1.6383 | 331.861 | 26.46 | 962.702 | 47.0588 | 59.1258
2019-03-19 15:00:00 | 4.18 | 157.506 | 11.3537 | 183.962 | 12.8877 | 191.155 | 4.4507 | 340.699 | 26.46 | 962.496 | 45.2174 | 51.86
2019-03-19 15:15:00 | 2.648 | 152.467 | 11.3537 | 201.249 | 13.399 | 154.025 | 5.729 | 337.949 | 26.46 | 962.301 | 45.6949 | 57.3904
2019-03-19 15:30:00 | 6.7333 | 153.123 | 9.564 | 197.913 | 10.0753 | 150.859 | 5.729 | 317.471 | 26.46 | 962.204 | 45.422 | 65.3138
2019-03-19 15:45:00 | 4.946 | 142.97 | 10.331 | 200.591 | 11.098 | 148.351 | 5.2177 | 340.188 | 26.46 | 962.024 | 45.0128 | 66.0138
2019-03-19 16:00:00 | 5.9673 | 164.348 | 10.5867 | 198.205 | 9.0527 | 146.793 | 3.428 | 337.656 | 26.46 | 962.145 | 44.9446 | 60.4386
2019-03-19 16:15:00 | 5.4567 | 159.332 | 11.6093 | 215.517 | 10.0753 | 137.614 | 3.9393 | 314.988 | 26.46 | 961.996 | 42.2165 | 69.9249
2019-03-19 16:30:00 | 5.2013 | 151.346 | 12.3763 | 203.099 | 13.399 | 141.485 | 5.4733 | 343.791 | 26.46 | 961.332 | 40.4433 | 70.9242
2019-03-19 16:45:00 | 5.4567 | 149.988 | 12.632 | 198.408 | 13.1433 | 146.238 | 4.4507 | 331.094 | 26.46 | 961.49 | 41.195 | 74.9101
2019-03-19 17:00:00 | 2.648 | 149.643 | 13.1433 | 201.213 | 10.5867 | 159.359 | 5.729 | 331.283 | 26.46 | 961.196 | 42.9057 | 67.4494
2019-03-19 17:15:00 | 2.9033 | 146.307 | 13.1433 | 195.491 | 13.1433 | 147.938 | 5.4733 | 331.382 | 26.46 | 961.345 | 45.2933 | 71.0384
2019-03-19 17:30:00 | 5.712 | 155.887 | 12.632 | 205.367 | 11.098 | 166.773 | 4.7063 | 332.011 | 26.46 | 960.9 | 45.3644 | 67.677
2019-03-19 17:45:00 | 7.7547 | 145.138 | 8.03 | 196.672 | 8.5413 | 142.629 | 2.0297 | 329.27 | 26.46 | 960.9 | 42.1626 | 70.1503
2019-03-19 18:00:00 | 6.478 | 142.654 | 8.797 | 194.918 | 7.263 | 151.568 | 5.4733 | 342.301 | 26.46 | 960.78 | 39.4337 | 72.2627
2019-03-19 18:15:00 | 5.2013 | 146.38 | 13.9103 | 199.668 | 12.632 | 148.207 | 2.4053 | 311.953 | 26.46 | 960.293 | 36.5001 | 68.3083
2019-03-19 18:30:00 | 8.5207 | 145.723 | 9.8197 | 210.214 | 11.098 | 169.616 | 4.962 | 347.075 | 26.46 | 960.302 | 38.9903 | 67.7339
2019-03-19 18:45:00 | 2.648 | 158.462 | 9.8197 | 202.713 | 9.564 | 149.157 | 4.962 | 334.971 | 26.46 | 960.45 | 40.4572 | 61.4194
2019-03-19 19:00:00 | 4.4353 | 155.371 | 10.8423 | 207.637 | 10.8423 | 164.505 | 4.4507 | 340.067 | 26.46 | 960.45 | 41.4813 | 61.3624
2019-03-19 19:15:00 | 5.9673 | 149.792 | 9.564 | 189.489 | 9.8197 | 135.47 | 0.63133 | 338.213 | 26.46 | 960.599 | 42.6407 | 57.2553
2019-03-19 19:30:00 | 3.6693 | 135.884 | 9.0527 | 185.105 | 9.3083 | 150.522 | 2.9167 | 323.136 | 26.46 | 961.044 | 43.1865 | 57.0004
2019-03-19 19:45:00 | 3.1587 | 145.051 | 10.8423 | 188.017 | 8.797 | 125.638 | 4.195 | 337.601 | 26.46 | 960.896 | 42.0976 | 58.652
2019-03-19 20:00:00 | 5.2013 | 137.751 | 10.5867 | 189.367 | 8.797 | 125.206 | 3.9393 | 322.954 | 26.46 | 960.302 | 37.187 | 70.4767
2019-03-19 20:15:00 | 3.9247 | 140.04 | 12.632 | 183.227 | 11.3537 | 131.368 | 3.428 | 326.41 | 26.46 | 960.005 | 35.2761 | 67.8078
2019-03-19 20:30:00 | 6.2227 | 135.484 | 12.8877 | 194.724 | 13.9103 | 151.025 | 3.1723 | 330.575 | 26.46 | 960.154 | 37.596 | 73.5422
2019-03-19 20:45:00 | 3.1587 | 122.137 | 13.1433 | 183.107 | 12.1207 | 140.626 | 5.2177 | 306.975 | 26.46 | 960.302 | 38.9612 | 75.6409
2019-03-19 21:00:00 | 2.3927 | 134.972 | 14.6773 | 185.905 | 12.632 | 127.738 | 4.4507 | 323.948 | 26.46 | 960.302 | 37.5958 | 75.1421
2019-03-19 21:15:00 | 5.2013 | 128.182 | 11.865 | 190.811 | 11.865 | 134.516 | 3.9393 | 306.595 | 26.46 | 960.302 | 38.0753 | 76.2766
2019-03-19 21:30:00 | 2.1373 | 125.504 | 10.8423 | 176.977 | 10.8423 | 122.971 | 1.894 | 315.734 | 26.46 | 960.45 | 37.8028 | 79.5057
2019-03-19 21:45:00 | 4.18 | 115.67 | 11.3537 | 177.258 | 12.632 | 138.327 | 3.428 | 290.442 | 26.46 | 960.45 | 39.443 | 82.9086
2019-03-19 22:00:00 | 4.4353 | 105.391 | 11.6093 | 177.626 | 13.399 | 129.339 | 3.1723 | 290.203 | 26.46 | 960.005 | 43.4698 | 79.7865
2019-03-19 22:15:00 | 1.2547 | 110.541 | 10.5867 | 161.514 | 9.564 | 119.726 | 4.4507 | 292.859 | 26.46 | 960.302 | 45.6234 | 74.6396
2019-03-19 22:30:00 | 4.4353 | 121.384 | 11.6093 | 166.9 | 8.5413 | 101.307 | 4.962 | 298.854 | 26.46 | 960.154 | 46.9544 | 77.2297
2019-03-19 22:45:00 | 4.4353 | 106.57 | 12.1207 | 164.146 | 11.6093 | 110.127 | 4.4507 | 290.448 | 26.46 | 959.857 | 47.8417 | 77.2313
2019-03-19 23:00:00 | 6.2227 | 109.664 | 9.8197 | 163.61 | 9.564 | 130.301 | 4.962 | 297.197 | 26.46 | 960.005 | 48.7971 | 76.3068
2019-03-19 23:15:00 | 4.946 | 117.973 | 13.6547 | 190.509 | 10.8423 | 139.145 | 2.4053 | 296.004 | 26.46 | 959.411 | 49.9573 | 75.4451
2019-03-19 23:30:00 | 4.6907 | 118.021 | 14.166 | 179.082 | 13.1433 | 124.868 | 4.962 | 299.926 | 26.46 | 959.263 | 50.4351 | 78.8923
2019-03-19 23:45:00 | 2.1373 | 110.956 | 10.8423 | 169.677 | 11.6093 | 100.991 | 5.2177 | 293.908 | 26.46 | 959.411 | 53.9157 | 74.2627