## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-20 00:00:00 | 2.0207 | 108.303 | 8.2857 | 157.597 | 8.2857 | 121.362 | 4.7063 | 291.65 | 26.46 | 959.32 | 56.2376 | 66.5811
2019-03-20 00:15:00 | 10.308 | 117.31 | 9.8197 | 172.853 | 8.797 | 100.398 | 3.9393 | 290.01 | 26.46 | 959.703 | 62.7302 | 57.5931
2019-03-20 00:30:00 | 3.1587 | 133.708 | 7.0073 | 186.52 | 5.4733 | 108.804 | 5.4733 | 263.371 | 26.46 | 959.407 | 69.0772 | 41.33
2019-03-20 00:45:00 | 9.0313 | 153.078 | 8.03 | 213.042 | 8.03 | 113.328 | 3.9393 | 325.216 | 26.46 | 958.813 | 68.8824 | 26.4736
2019-03-20 01:00:00 | 0 | 161.348 | 4.962 | 203.181 | 5.4733 | 114.601 | 0.887 | 342.9 | 26.46 | 958.962 | 71.6163 | 26.178
2019-03-20 01:15:00 | 4.18 | 118.963 | 7.7743 | 171.619 | 7.5187 | 116.453 | 2.0297 | 305.513 | 26.46 | 958.813 | 75.9174 | 30.6561
2019-03-20 01:30:00 | 0 | 108.093 | 6.496 | 181.368 | 6.496 | 93.6401 | 4.4507 | 291.059 | 26.46 | 958.368 | 75.576 | 38.1419
2019-03-20 01:45:00 | 0 | 108.995 | 6.496 | 160.943 | 4.4507 | 97.8323 | 1.5183 | 280.067 | 26.46 | 957.922 | 82.1301 | 47.5622
2019-03-20 02:00:00 | 0 | 76.9935 | 3.428 | 149.074 | 3.9393 | 91.7391 | 0 | 285.356 | 26.46 | 957.625 | 83.5637 | 44.497
2019-03-20 02:15:00 | 0 | 62.3211 | 4.962 | 136.376 | 3.6837 | 76.238 | 0 | 230.323 | 26.46 | 956.734 | 82.881 | 43.6952
2019-03-20 02:30:00 | 0 | 90.7642 | 7.5187 | 149.732 | 6.2403 | 54.8387 | 3.6837 | 267.905 | 26.46 | 956.289 | 84.5195 | 38.3784
2019-03-20 02:45:00 | 0 | 93.2745 | 5.2177 | 127.943 | 4.4507 | 52.3527 | 2.661 | 256.767 | 26.46 | 956.141 | 84.0416 | 26.8209
2019-03-20 03:00:00 | 0 | 78.6753 | 3.9393 | 129.161 | 4.195 | 56.7885 | 0 | 273.267 | 26.46 | 955.992 | 82.8128 | 33.3608
2019-03-20 03:15:00 | 2.0207 | 89.1555 | 5.9847 | 168.426 | 5.729 | 58.4459 | 2.9167 | 271.488 | 26.46 | 955.695 | 81.9935 | 39.9339
2019-03-20 03:30:00 | 0.372 | 88.595 | 7.7743 | 128.284 | 6.7517 | 64.7584 | 1.007 | 275.095 | 26.46 | 955.25 | 82.5055 | 42.0954
2019-03-20 03:45:00 | 0 | 87.4982 | 7.0073 | 130.867 | 9.8197 | 52.0846 | 3.428 | 268.173 | 26.46 | 955.101 | 84.1782 | 42.9895
2019-03-20 04:00:00 | 3.9247 | 107.435 | 5.4733 | 165.33 | 4.195 | 52.4989 | 3.1723 | 283.333 | 26.46 | 955.25 | 83.7686 | 55.3303
2019-03-20 04:15:00 | 1.882 | 81.2344 | 5.9847 | 123.068 | 6.2403 | 57.6416 | 3.1723 | 241.193 | 26.46 | 954.656 | 84.8609 | 38.6961
2019-03-20 04:30:00 | 1.2547 | 96.1018 | 9.0527 | 130.599 | 8.797 | 67.8294 | 0.63133 | 272.146 | 26.46 | 954.671 | 86.2263 | 50.8115
2019-03-20 04:45:00 | 0.372 | 80.3326 | 9.0527 | 138.082 | 7.263 | 88.2294 | 2.0297 | 267.15 | 26.46 | 954.421 | 85.9532 | 53.1098
2019-03-20 05:00:00 | 1.51 | 89.9111 | 7.7743 | 151.584 | 6.2403 | 92.8602 | 2.4053 | 277.07 | 26.46 | 954.413 | 84.1782 | 48.7757
2019-03-20 05:15:00 | 0 | 111.286 | 5.4733 | 145.491 | 4.4507 | 85.7921 | 4.7063 | 283.918 | 26.46 | 954.396 | 81.2767 | 41.785
2019-03-20 05:30:00 | 0 | 99.9283 | 5.4733 | 143.736 | 4.7063 | 72.1677 | 2.661 | 293.838 | 26.46 | 954.716 | 84.5878 | 38.0799
2019-03-20 05:45:00 | 0 | 112.115 | 5.2177 | 145.54 | 3.428 | 74.2882 | 0.37567 | 293.667 | 26.46 | 954.656 | 79.9454 | 45.0845
2019-03-20 06:00:00 | 0 | 121.766 | 5.4733 | 204.497 | 5.2177 | 79.9914 | 0 | 293.131 | 26.46 | 954.656 | 80.4233 | 40.4216
2019-03-20 06:15:00 | 0 | 111.652 | 5.2177 | 200.793 | 3.6837 | 82.5262 | 0 | 289.012 | 26.46 | 954.656 | 86.2263 | 39.1912
2019-03-20 06:30:00 | 2.1593 | 112.578 | 7.5187 | 174.958 | 7.7743 | 86.1333 | 5.4733 | 305.171 | 26.46 | 954.805 | 90.8005 | 47.0095
2019-03-20 06:45:00 | 0 | 103.389 | 5.2177 | 190.922 | 5.4733 | 86.9864 | 3.428 | 264.128 | 26.46 | 954.261 | 93.463 | 48.0256
2019-03-20 07:00:00 | 0 | 103.779 | 3.428 | 131.404 | 3.6837 | 82.4774 | 0 | 283.748 | 26.46 | 954.387 | 94.8285 | 26.2371
2019-03-20 07:15:00 | 0 | 71.4853 | 6.496 | 150.682 | 3.428 | 77.2616 | 0.37567 | 257.742 | 26.46 | 954.078 | 95.1015 | 26.1189
2019-03-20 07:30:00 | 9.0313 | 65.5871 | 6.7517 | 136.839 | 5.4733 | 80.0401 | 5.9847 | 263.372 | 26.46 | 954.152 | 91.1418 | 19.1762
2019-03-20 07:45:00 | 0.372 | 76.2136 | 7.5187 | 132.622 | 4.7063 | 75.9455 | 1.007 | 251.478 | 26.46 | 954.24 | 87.6259 | 14.6907
2019-03-20 08:00:00 | 0 | 67.7806 | 3.6837 | 105.69 | 2.661 | 60.2007 | 0 | 270.148 | 26.46 | 954.365 | 86.6701 | 9.7507
2019-03-20 08:15:00 | 0 | 34.853 | 3.1723 | 74.5419 | 2.4053 | 46.6495 | 0 | 212.384 | 26.46 | 954.656 | 87.7624 | 2.5199
2019-03-20 08:30:00 | 0 | 328.715 | 0 | 28.0387 | 1.3827 | 35.243 | 0 | 136.658 | 26.46 | 954.953 | 89.7764 | -0.029559
2019-03-20 08:45:00 | 0 | 180.31 | 0.75133 | 290.948 | 0 | 35.5842 | 0 | 266.004 | 26.46 | 954.656 | 91.4149 | -0.24755
2019-03-20 09:00:00 | 0 | 352.381 | 2.1497 | 48.5118 | 2.4053 | 35.8767 | 0 | 171.901 | 26.46 | 954.656 | 90.5615 | -0.12193
2019-03-20 09:15:00 | 0 | 297.835 | 1.3827 | 8.2036 | 0 | 35.7792 | 0 | 124.374 | 26.46 | 954.805 | 91.4149 | -0.26972
2019-03-20 09:30:00 | 0 | 295.763 | 2.661 | 15.8079 | 2.1497 | 35.7792 | 0 | 114.942 | 26.46 | 955.101 | 93.9409 | -0.25125
2019-03-20 09:45:00 | 0 | 329.203 | 1.6383 | 6.3513 | 1.6383 | 35.2186 | 0 | 145.676 | 26.46 | 955.101 | 95.1357 | -0.19583
2019-03-20 10:00:00 | 0 | 356.866 | 0.37567 | 3.0366 | 0 | 35.2674 | 0 | 181.114 | 26.46 | 955.25 | 95.7843 | -0.26233
2019-03-20 10:15:00 | 0 | 35.9498 | 0 | 46.9276 | 0 | 35.3405 | 0 | 182.576 | 26.46 | 954.953 | 95.5112 | -0.25125
2019-03-20 10:30:00 | 0 | 33.3419 | 1.127 | 334.819 | 1.6383 | 37.0953 | 0 | 216.43 | 26.46 | 955.695 | 94.3506 | -0.25125
2019-03-20 10:45:00 | 0 | 311.226 | 0 | 18.7329 | 0 | 37.1853 | 0 | 210.684 | 26.46 | 955.844 | 91.8061 | -0.26233
2019-03-20 11:00:00 | 0 | 286.915 | 2.4053 | 336.902 | 2.9167 | 34.9932 | 0 | 119.04 | 26.46 | 955.844 | 87.9179 | -0.26972
2019-03-20 11:15:00 | 0 | 326.296 | 0 | 8.8636 | 0 | 33.6287 | 0 | 155.252 | 26.46 | 955.844 | 84.9147 | -0.25125
2019-03-20 11:30:00 | 0 | 286.112 | 2.1497 | 311.796 | 2.4053 | 33.3306 | 0 | 107.179 | 26.46 | 956.007 | 83.0577 | -0.25125
2019-03-20 11:45:00 | 0 | 295.321 | 2.1497 | 17.6854 | 1.894 | 33.3793 | 0 | 109.64 | 26.46 | 955.85 | 84.286 | -0.29189
2019-03-20 12:00:00 | 0 | 310.403 | 2.1497 | 1.6779 | 2.661 | 33.3306 | 1.894 | 136.002 | 26.46 | 955.849 | 81.2148 | -0.28081
2019-03-20 12:15:00 | 0 | 308.54 | 4.195 | 3.8238 | 4.7063 | 31.9112 | 0.37567 | 132.712 | 26.46 | 955.849 | 79.6978 | -0.25864
2019-03-20 12:30:00 | 0 | 14.4678 | 2.4053 | 47.0047 | 2.661 | 20.8491 | 0 | 206.738 | 26.46 | 955.849 | 76.9583 | 1.0789
2019-03-20 12:45:00 | 0 | 305.085 | 3.6837 | 14.0815 | 3.1723 | 6.5274 | 0.37567 | 125.58 | 26.46 | 956.146 | 74.0236 | 2.4682
2019-03-20 13:00:00 | 3.6693 | 294.32 | 6.7517 | 333.505 | 5.4733 | 4.7982 | 4.195 | 121.464 | 26.46 | 956.175 | 71.9086 | 8.7125
2019-03-20 13:15:00 | 0 | 294.855 | 6.496 | 332.409 | 3.6837 | 4.7738 | 0 | 117.494 | 26.46 | 956.312 | 69.2478 | 10.0869
2019-03-20 13:30:00 | 0 | 352.277 | 5.4733 | 38.112 | 5.2177 | 3.1175 | 0 | 162.694 | 26.46 | 956.152 | 63.0375 | 14.2954
2019-03-20 13:45:00 | 0 | 335.571 | 6.7517 | 4.8878 | 5.4733 | 1.3881 | 0.75133 | 147.378 | 26.46 | 956.597 | 63.6427 | 14.7387
2019-03-20 14:00:00 | 0 | 321.398 | 4.4507 | 17.843 | 4.7063 | 0.048704 | 0 | 111.849 | 26.46 | 956.448 | 62.4148 | 13.9407
2019-03-20 14:15:00 | 6.2227 | 297.046 | 7.7743 | 19.8539 | 5.2177 | 357 | 3.1723 | 116.89 | 26.46 | 956.894 | 61.4598 | 15.16
2019-03-20 14:30:00 | 0 | 293.32 | 5.9847 | 20.059 | 6.496 | 357 | 0 | 136.639 | 26.46 | 956.448 | 59.6863 | 19.3056
2019-03-20 14:45:00 | 0 | 269.284 | 2.9167 | 18.6363 | 2.1497 | 306.689 | 0 | 114.284 | 26.46 | 956.894 | 56.7531 | 16.1834
2019-03-20 15:00:00 | 0.372 | 334.923 | 5.4733 | 13.3121 | 5.4733 | 287.341 | 3.428 | 157.405 | 26.46 | 957.042 | 57.4328 | 19.2797
2019-03-20 15:15:00 | 0 | 0.097396 | 3.6837 | 56.2612 | 2.9167 | 288.317 | 2.1497 | 187.658 | 26.46 | 957.036 | 57.5306 | 20.2514
2019-03-20 15:30:00 | 0 | 334.793 | 5.2177 | 9.8757 | 5.729 | 290.966 | 3.1723 | 132.432 | 26.46 | 956.956 | 54.7673 | 18.3782
2019-03-20 15:45:00 | 0 | 325.782 | 3.6837 | 81.5574 | 0.75133 | 287.458 | 1.6383 | 71.5357 | 26.46 | 957.337 | 53.2665 | 20.8685
2019-03-20 16:00:00 | 0 | 303.99 | 6.2403 | 335.389 | 2.4053 | 281.881 | 0 | 123.787 | 26.46 | 957.458 | 54.6304 | 13.8113
2019-03-20 16:15:00 | 0 | 308.857 | 7.263 | 17.1513 | 6.496 | 282.001 | 0.37567 | 132.868 | 26.46 | 957.463 | 52.9932 | 13.1711
2019-03-20 16:30:00 | 0 | 293.716 | 4.195 | 328.455 | 3.1723 | 273.359 | 1.007 | 118.051 | 26.46 | 957.041 | 54.601 | 8.1915
2019-03-20 16:45:00 | 0 | 303.206 | 4.7063 | 17.784 | 5.729 | 284.382 | 0.37567 | 128.53 | 26.46 | 957.338 | 54.4338 | 6.8318
2019-03-20 17:00:00 | 0 | 301.94 | 4.195 | 8.4328 | 4.4507 | 285.186 | 0.63133 | 122.734 | 26.46 | 957.19 | 53.8881 | 4.201
2019-03-20 17:15:00 | 0 | 338.476 | 2.661 | 43.7641 | 2.661 | 284.43 | 0 | 159.191 | 26.46 | 956.745 | 54.9204 | 2.1689
2019-03-20 17:30:00 | 0 | 354.26 | 1.894 | 57.2333 | 2.4053 | 283.627 | 0 | 157.219 | 26.46 | 957.093 | 55.4665 | 1.0382
2019-03-20 17:45:00 | 0 | 311.028 | 2.4053 | 13.4726 | 1.894 | 283.457 | 0 | 134.056 | 26.46 | 957.33 | 55.6712 | -0.1404
2019-03-20 18:00:00 | 0 | 305.778 | 2.9167 | 12.9852 | 2.4053 | 283.589 | 0 | 132.502 | 26.46 | 957.927 | 55.7415 | -0.15888
2019-03-20 18:15:00 | 0 | 289.512 | 1.894 | 14.2029 | 0 | 282.497 | 0 | 128.509 | 26.46 | 957.927 | 56.7656 | 0.081287
2019-03-20 18:30:00 | 0 | 267.248 | 3.6837 | 311.399 | 2.4053 | 253.921 | 0 | 125.231 | 26.46 | 958.224 | 55.8256 | 0.29189
2019-03-20 18:45:00 | 0 | 279.899 | 3.1723 | 320.347 | 2.1497 | 257.873 | 0 | 125.136 | 26.46 | 958.224 | 55.4513 | -0.11454
2019-03-20 19:00:00 | 0 | 280.313 | 2.4053 | 319.884 | 1.6383 | 257.727 | 0 | 125.136 | 26.46 | 958.521 | 55.6901 | -0.18844
2019-03-20 19:15:00 | 0 | 251.1 | 2.661 | 294.642 | 1.894 | 240.331 | 0 | 125.136 | 26.46 | 958.521 | 54.6664 | -0.2882
2019-03-20 19:30:00 | 0 | 243.376 | 3.428 | 289.867 | 3.1723 | 227.003 | 0 | 69.3656 | 26.46 | 958.967 | 53.9157 | -0.24016
2019-03-20 19:45:00 | 0 | 247.884 | 4.195 | 289.964 | 3.9393 | 231.413 | 0.37567 | 71.0954 | 26.46 | 959.708 | 56.5432 | 0.33254
2019-03-20 20:00:00 | 0 | 242.621 | 3.6837 | 288.795 | 3.9393 | 230.634 | 1.127 | 69.0245 | 26.46 | 960.005 | 57.0551 | 1.5666
2019-03-20 20:15:00 | 0 | 250.223 | 5.729 | 289.477 | 3.9393 | 225.615 | 4.4507 | 73.5075 | 26.46 | 960.154 | 58.3859 | 6.9537
2019-03-20 20:30:00 | 0 | 244.765 | 5.729 | 268.158 | 5.729 | 221.643 | 2.0297 | 67.0022 | 26.46 | 960.451 | 58.8295 | 15.607
2019-03-20 20:45:00 | 0 | 235.214 | 6.2403 | 281.071 | 5.4733 | 236.969 | 1.2627 | 64.3952 | 26.46 | 961.044 | 59.3073 | 21.8107
2019-03-20 21:00:00 | 0 | 245.058 | 6.496 | 292.352 | 5.4733 | 246.324 | 2.0297 | 67.4895 | 26.46 | 961.044 | 59.3755 | 22.993
2019-03-20 21:15:00 | 2.7867 | 253.707 | 7.0073 | 277.977 | 5.9847 | 228.636 | 5.4733 | 75.5054 | 26.46 | 961.193 | 59.3755 | 26.4144
2019-03-20 21:30:00 | 3.6693 | 252.294 | 7.7743 | 300.003 | 6.496 | 250.588 | 2.7967 | 73.3126 | 26.46 | 961.49 | 59.1025 | 32.0232
2019-03-20 21:45:00 | 5.4567 | 252.172 | 6.2403 | 282.314 | 6.496 | 265.207 | 2.2853 | 70.4863 | 26.46 | 961.638 | 59.5803 | 39.2688
2019-03-20 22:00:00 | 6.9887 | 254.292 | 6.2403 | 280.389 | 7.263 | 250.856 | 1.3827 | 72.874 | 26.46 | 961.935 | 62.7197 | 28.4171
2019-03-20 22:15:00 | 7.7547 | 247.007 | 6.7517 | 284.677 | 6.7517 | 239.381 | 5.2177 | 69.3899 | 26.46 | 961.787 | 66.2685 | 27.1608
2019-03-20 22:30:00 | 1.6487 | 236.506 | 7.5187 | 286.237 | 6.7517 | 232.997 | 3.6837 | 71.1198 | 26.46 | 962.247 | 68.316 | 25.9969
2019-03-20 22:45:00 | 2.648 | 221.546 | 6.7517 | 273.348 | 5.9847 | 211.118 | 2.9167 | 68.8052 | 26.46 | 962.176 | 70.7729 | 34.4972
2019-03-20 23:00:00 | 3.414 | 259.091 | 9.3083 | 288.697 | 9.8197 | 257.532 | 2.4053 | 82.0107 | 26.46 | 963.023 | 72.9568 | 36.2133
2019-03-20 23:15:00 | 4.18 | 287.257 | 7.5187 | 327.047 | 7.263 | 259.847 | 0.63133 | 115.244 | 26.46 | 963.346 | 74.5606 | 30.2756
2019-03-20 23:30:00 | 0 | 279.113 | 4.195 | 336.086 | 5.2177 | 260.961 | 0 | 105.895 | 26.46 | 963.24 | 75.214 | 23.2627
2019-03-20 23:45:00 | 1.7653 | 277.946 | 5.2177 | 326.591 | 3.428 | 263.373 | 2.4053 | 115.53 | 26.46 | 963.268 | 72.4225 | 32.5627