## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-21 00:00:00 | 0 | 325.028 | 4.4507 | 12.2021 | 5.729 | 266.032 | 2.9167 | 128.52 | 26.46 | 963.565 | 67.4402 | 40.2553
2019-03-21 00:15:00 | 0 | 320.275 | 4.7063 | 3.3694 | 2.661 | 265.958 | 0 | 122.427 | 26.46 | 963.713 | 69.4195 | 39.2208
2019-03-21 00:30:00 | 0 | 322.299 | 3.9393 | 4.1848 | 4.4507 | 267.226 | 1.127 | 130.421 | 26.46 | 963.862 | 72.628 | 31.6759
2019-03-21 00:45:00 | 0 | 332.456 | 3.9393 | 2.2271 | 3.1723 | 267.164 | 4.962 | 136.531 | 26.46 | 964.01 | 75.1636 | 32.5701
2019-03-21 01:00:00 | 0 | 313.629 | 4.7063 | 19.0452 | 3.428 | 269.709 | 2.4053 | 131.686 | 26.46 | 964.159 | 80.6281 | 50.6062
2019-03-21 01:15:00 | 9.0313 | 354.112 | 6.496 | 36.033 | 7.263 | 272.756 | 3.9393 | 169.732 | 26.46 | 964.01 | 87.3869 | 49.3433
2019-03-21 01:30:00 | 1.882 | 345.898 | 5.4733 | 29.7448 | 4.195 | 15.7448 | 3.428 | 164.54 | 26.46 | 964.159 | 92.3707 | 49.9448
2019-03-21 01:45:00 | 0 | 356.866 | 3.9393 | 71.1541 | 3.6837 | 329.763 | 0.37567 | 178.189 | 26.46 | 964.181 | 94.6919 | 45.151
2019-03-21 02:00:00 | 12.8613 | 328.365 | 5.2177 | 39.9109 | 3.428 | 343.013 | 8.5413 | 142.831 | 26.46 | 964.781 | 95.5837 | 39.4847
2019-03-21 02:15:00 | 6.478 | 353.538 | 6.496 | 51.1074 | 6.2403 | 323.579 | 5.4733 | 157.621 | 26.46 | 964.94 | 96.0737 | 66.3114
2019-03-21 02:30:00 | 3.6693 | 5.0462 | 8.2857 | 89.2364 | 3.9393 | 254.139 | 5.4733 | 162.893 | 26.46 | 964.733 | 96.8279 | 65.8015
2019-03-21 02:45:00 | 0.372 | 24.8925 | 6.2403 | 83.2269 | 5.4733 | 266.405 | 2.4053 | 137.652 | 26.46 | 964.899 | 97.1804 | 80.9052
2019-03-21 03:00:00 | 5.712 | 349.308 | 10.331 | 57.0442 | 11.3537 | 355.184 | 4.962 | 154.722 | 26.46 | 964.453 | 93.3584 | 80.1022
2019-03-21 03:15:00 | 6.2227 | 348.991 | 8.797 | 68.5521 | 9.564 | 321.879 | 4.962 | 166.06 | 26.46 | 964.453 | 92.6071 | 80.8395
2019-03-21 03:30:00 | 6.7333 | 293.451 | 8.03 | 90.7876 | 10.5867 | 28.8916 | 4.7063 | 164.914 | 26.46 | 964.521 | 94.2462 | 78.1645
2019-03-21 03:45:00 | 6.9887 | 354.891 | 7.0073 | 49.1691 | 4.7063 | 348.674 | 4.962 | 179.615 | 26.46 | 965.149 | 93.2218 | 79.9031
2019-03-21 04:00:00 | 6.7333 | 0.75581 | 9.0527 | 75.2325 | 4.962 | 21.2847 | 5.9847 | 151.285 | 26.46 | 964.553 | 74.714 | 85.362
2019-03-21 04:15:00 | 5.2013 | 340.116 | 10.8423 | 24.3736 | 7.7743 | 305.617 | 4.962 | 156.185 | 26.46 | 964.823 | 63.0015 | 79.6313
2019-03-21 04:30:00 | 4.6907 | 350.429 | 9.0527 | 74.6717 | 9.0527 | 311.176 | 2.541 | 178.348 | 26.46 | 965.313 | 61.3283 | 72.6148
2019-03-21 04:45:00 | 8.776 | 348.942 | 5.729 | 111.365 | 8.5413 | 315.467 | 2.1497 | 158.575 | 26.46 | 965.021 | 62.8991 | 66.2575
2019-03-21 05:00:00 | 6.2227 | 306.421 | 6.2403 | 55.6545 | 4.195 | 314.321 | 2.9167 | 144.555 | 26.46 | 965.639 | 64.1967 | 56.9191
2019-03-21 05:15:00 | 0.88267 | 305.837 | 6.496 | 10.0863 | 6.2403 | 318.759 | 5.2177 | 157.965 | 26.46 | 965.936 | 65.5627 | 61.7667
2019-03-21 05:30:00 | 1.7653 | 356.079 | 5.9847 | 11.7213 | 4.4507 | 328.38 | 4.7063 | 125.252 | 26.46 | 966.085 | 67.0683 | 76.2727
2019-03-21 05:45:00 | 4.6907 | 343.731 | 8.03 | 10.0516 | 8.797 | 351.656 | 3.428 | 153.176 | 26.46 | 965.936 | 57.4408 | 81.9591
2019-03-21 06:00:00 | 4.946 | 322.097 | 6.496 | 42.9463 | 5.4733 | 59.9222 | 4.195 | 156.134 | 26.46 | 966.234 | 43.6531 | 77.141
2019-03-21 06:15:00 | 6.9887 | 327.887 | 10.331 | 14.413 | 10.8423 | 22.6331 | 4.7063 | 214.356 | 26.46 | 966.828 | 39.0772 | 69.962
2019-03-21 06:30:00 | 6.2227 | 334.379 | 13.1433 | 14.4134 | 11.865 | 7.4875 | 4.195 | 153.165 | 26.46 | 967.422 | 38.8044 | 67.8015
2019-03-21 06:45:00 | 8.776 | 332.403 | 7.5187 | 2.1456 | 5.729 | 12.4142 | 5.2177 | 150.97 | 26.46 | 967.868 | 39.4876 | 61.4142
2019-03-21 07:00:00 | 6.478 | 335.595 | 3.6837 | 89.9221 | 5.729 | 24.438 | 5.2177 | 160.944 | 26.46 | 968.314 | 38.1892 | 56.2423
2019-03-21 07:15:00 | 6.2227 | 332.124 | 8.2857 | 67.5487 | 4.4507 | 48.8224 | 4.962 | 155.344 | 26.46 | 968.314 | 38.5954 | 60.6129
2019-03-21 07:30:00 | 4.6907 | 7.729 | 9.564 | 87.8404 | 5.2177 | 19.6516 | 5.729 | 183.984 | 26.46 | 968.611 | 38.519 | 74.1373
2019-03-21 07:45:00 | 0.62733 | 1.3166 | 6.7517 | 79.036 | 3.9393 | 27.7457 | 2.4053 | 159.355 | 26.46 | 968.849 | 39.4058 | 77.8947
2019-03-21 08:00:00 | 7.244 | 0.60953 | 13.1433 | 22.6669 | 12.8877 | 23.2352 | 4.962 | 180.347 | 26.46 | 968.91 | 38.8595 | 81.6709
2019-03-21 08:15:00 | 6.9887 | 20.9921 | 11.865 | 78.8409 | 5.2177 | 181.566 | 4.4507 | 197.316 | 26.46 | 969.206 | 38.7912 | 84.405
2019-03-21 08:30:00 | 8.776 | 178.907 | 10.5867 | 84.8868 | 7.7743 | 306.615 | 6.7517 | 179.517 | 26.46 | 969.652 | 40.8397 | 79.5537
2019-03-21 08:45:00 | 6.7333 | 338.445 | 10.331 | 35.6842 | 7.263 | 312.553 | 4.195 | 172.928 | 26.46 | 970.395 | 36.4677 | 84.6267
2019-03-21 09:00:00 | 5.4567 | 49.0482 | 11.3537 | 85.4342 | 10.5867 | 316.936 | 5.4733 | 191.854 | 26.46 | 970.692 | 36.4643 | 78.0277
2019-03-21 09:15:00 | 9.542 | 2.584 | 5.729 | 70.0247 | 6.2403 | 317.536 | 2.9167 | 220.394 | 26.46 | 971.284 | 37.4192 | 81.8686
2019-03-21 09:30:00 | 6.2227 | 14.2607 | 16.2113 | 66.8077 | 13.1433 | 325.243 | 5.729 | 189.412 | 26.46 | 969.798 | 32.1276 | 77.5881
2019-03-21 09:45:00 | 4.946 | 8.9951 | 9.8197 | 57.1291 | 11.098 | 327.823 | 4.7063 | 190.239 | 26.46 | 970.837 | 33.5612 | 82.7741
2019-03-21 10:00:00 | 5.712 | 353.295 | 12.632 | 67.952 | 4.962 | 327.431 | 2.9167 | 158.133 | 26.46 | 970.988 | 31.4101 | 82.4726
2019-03-21 10:15:00 | 5.4567 | 7.4106 | 8.2857 | 65.7825 | 8.797 | 339.035 | 4.195 | 184.68 | 26.46 | 970.826 | 30.1127 | 82.9788
2019-03-21 10:30:00 | 6.2227 | 339.435 | 9.564 | 44.226 | 14.6773 | 351.281 | 5.4733 | 163.356 | 26.46 | 970.551 | 27.4466 | 82.4876
2019-03-21 10:45:00 | 6.7333 | 356.855 | 9.564 | 52.0534 | 10.0753 | 7.532 | 5.2177 | 183.083 | 26.46 | 970.905 | 28.6768 | 81.7137
2019-03-21 11:00:00 | 6.478 | 338.486 | 14.4217 | 41.8176 | 8.03 | 23.596 | 5.729 | 164.051 | 26.46 | 971.328 | 25.6051 | 83.8783
2019-03-21 11:15:00 | 4.18 | 2.5839 | 13.1433 | 80.4054 | 13.6547 | 9.653 | 5.2177 | 169.829 | 26.46 | 970.698 | 25.8783 | 79.6683
2019-03-21 11:30:00 | 2.648 | 329.547 | 7.5187 | 86.0868 | 7.0073 | 53.1409 | 4.4507 | 173.074 | 26.46 | 971.256 | 28.2686 | 82.9493
2019-03-21 11:45:00 | 3.9247 | 334.732 | 10.8423 | 22.905 | 10.5867 | 18.064 | 4.4507 | 157.237 | 26.46 | 971.442 | 29.431 | 84.8531
2019-03-21 12:00:00 | 8.2653 | 0.92633 | 10.0753 | 67.8306 | 5.2177 | 15.5526 | 4.962 | 173.882 | 26.46 | 971.125 | 27.6547 | 81.6967
2019-03-21 12:15:00 | 3.9247 | 355.734 | 9.3083 | 76.728 | 5.4733 | 24.4258 | 4.4507 | 168.055 | 26.46 | 971.536 | 28.2009 | 72.929
2019-03-21 12:30:00 | 10.5633 | 352.685 | 7.0073 | 52.2045 | 7.263 | 19.4528 | 3.6837 | 163.082 | 26.46 | 971.687 | 29.8395 | 70.2991
2019-03-21 12:45:00 | 5.9673 | 23.5481 | 7.5187 | 66.1968 | 6.7517 | 8.41 | 4.962 | 185.387 | 26.46 | 971.526 | 30.4541 | 72.8307
2019-03-21 13:00:00 | 5.2013 | 321.994 | 7.5187 | 59.1029 | 5.729 | 25.8639 | 4.962 | 169.444 | 26.46 | 971.473 | 29.2249 | 76.9042
2019-03-21 13:15:00 | 5.2013 | 337.944 | 8.03 | 14.6647 | 6.2403 | 0.048755 | 4.7063 | 164.547 | 26.46 | 971.417 | 27.9282 | 75.9151
2019-03-21 13:30:00 | 2.0207 | 24.3526 | 8.03 | 71.4869 | 7.263 | 16.6251 | 1.2627 | 199.916 | 26.46 | 971.372 | 27.518 | 73.3704
2019-03-21 13:45:00 | 6.7333 | 356.152 | 7.0073 | 80.5737 | 3.1723 | 32.9314 | 2.4053 | 187.619 | 26.46 | 971.331 | 28.4723 | 73.6388
2019-03-21 14:00:00 | 0 | 336.634 | 5.4733 | 39.6684 | 5.4733 | 10.9441 | 3.428 | 165.94 | 26.46 | 971.379 | 27.7198 | 69.5669
2019-03-21 14:15:00 | 4.946 | 168.642 | 10.0753 | 61.2135 | 11.6093 | 20.1571 | 4.195 | 179.269 | 26.46 | 971.467 | 27.4461 | 67.9658
2019-03-21 14:30:00 | 2.1373 | 0.21936 | 8.5413 | 83.3432 | 4.4507 | 39.8261 | 2.9167 | 134.712 | 26.46 | 971.325 | 28.7429 | 66.1571
2019-03-21 14:45:00 | 0.62733 | 342.561 | 3.9393 | 36.3014 | 3.428 | 7.5069 | 1.774 | 159.764 | 26.46 | 971.339 | 27.8206 | 69.604
2019-03-21 15:00:00 | 6.9887 | 337.012 | 10.331 | 73.4479 | 9.8197 | 1.828 | 4.962 | 172.296 | 26.46 | 970.849 | 28.4016 | 63.4907
2019-03-21 15:15:00 | 6.478 | 23.522 | 8.5413 | 101.412 | 9.8197 | 30.7614 | 4.962 | 175.915 | 26.46 | 971.037 | 27.3794 | 61.2014
2019-03-21 15:30:00 | 3.6693 | 18.2341 | 10.331 | 50.9133 | 4.962 | 12.4567 | 1.3827 | 194.067 | 26.46 | 971.487 | 27.9279 | 57.8265
2019-03-21 15:45:00 | 0.372 | 353.665 | 7.0073 | 100.326 | 4.4507 | 43.8058 | 2.661 | 131.759 | 26.46 | 971.238 | 27.7232 | 56.3501
2019-03-21 16:00:00 | 4.6907 | 0.097508 | 9.0527 | 50.1812 | 5.729 | 18.1608 | 1.894 | 187.849 | 26.46 | 971.394 | 27.279 | 54.3238
2019-03-21 16:15:00 | 6.478 | 9.6777 | 8.5413 | 45.8666 | 7.0073 | 23.7432 | 1.894 | 179.122 | 26.46 | 971.428 | 27.518 | 46.7285
2019-03-21 16:30:00 | 1.3713 | 11.3841 | 8.5413 | 75.5092 | 8.2857 | 39.2958 | 1.2627 | 171.931 | 26.46 | 971.577 | 27.9278 | 43.4266
2019-03-21 16:45:00 | 4.946 | 355.113 | 7.7743 | 48.6237 | 7.0073 | 15.9919 | 7.7743 | 177.642 | 26.46 | 971.583 | 28.1336 | 42.2503
2019-03-21 17:00:00 | 10.5633 | 349.941 | 6.7517 | 52.9481 | 8.5413 | 22.8694 | 5.4733 | 170.253 | 26.46 | 971.583 | 27.7958 | 35.7328
2019-03-21 17:15:00 | 0.88267 | 356.89 | 6.2403 | 67.9182 | 5.9847 | 11.9223 | 0.75133 | 160.062 | 26.46 | 971.88 | 27.7958 | 30.1906
2019-03-21 17:30:00 | 0 | 14.8481 | 7.5187 | 56.7516 | 3.6837 | 0.14629 | 4.7063 | 196.097 | 26.46 | 971.583 | 28.069 | 29.2558
2019-03-21 17:45:00 | 3.414 | 4.2911 | 8.03 | 58.7753 | 4.4507 | 14.141 | 3.6837 | 182.127 | 26.46 | 971.863 | 28.9568 | 25.9156
2019-03-21 18:00:00 | 0 | 354.417 | 6.7517 | 66.1477 | 8.03 | 21.0919 | 3.428 | 181.829 | 26.46 | 971.88 | 28.5501 | 19.7046
2019-03-21 18:15:00 | 10.8187 | 17.6815 | 6.2403 | 49.5311 | 6.7517 | 16.9255 | 5.9847 | 176.571 | 26.46 | 971.88 | 28.2823 | 18.053
2019-03-21 18:30:00 | 3.9247 | 7.4875 | 5.4733 | 50.4366 | 4.962 | 0.53657 | 4.962 | 198.579 | 26.46 | 971.88 | 28.0102 | 17.7131
2019-03-21 18:45:00 | 2.5313 | 0.87802 | 5.2177 | 72.07 | 4.4507 | 24.2919 | 5.729 | 179.555 | 26.46 | 972.028 | 27.8053 | 14.639
2019-03-21 19:00:00 | 4.0633 | 15.7068 | 6.7517 | 62.924 | 5.9847 | 26.6088 | 4.195 | 189.018 | 26.46 | 972.474 | 28.2152 | 13.7559
2019-03-21 19:15:00 | 5.9673 | 27.0235 | 7.263 | 85.2403 | 4.962 | 14.7556 | 1.5183 | 208.31 | 26.46 | 971.88 | 29.1716 | 20.7059
2019-03-21 19:30:00 | 7.244 | 22.2919 | 9.0527 | 76.265 | 7.0073 | 24.4138 | 2.541 | 204.31 | 26.46 | 971.88 | 28.2494 | 20.4953
2019-03-21 19:45:00 | 13.6273 | 20.4139 | 8.2857 | 70.6067 | 7.0073 | 24.0236 | 7.7743 | 203.456 | 26.46 | 972.326 | 28.8301 | 18.6664
2019-03-21 20:00:00 | 0 | 17.5116 | 6.496 | 66.6312 | 3.9393 | 8.6826 | 0 | 198.627 | 26.46 | 972.771 | 29.035 | 11.4799
2019-03-21 20:15:00 | 0 | 14.0483 | 6.496 | 72.8505 | 2.661 | 26.2918 | 3.428 | 192.847 | 26.46 | 973.068 | 28.0786 | 9.2814
2019-03-21 20:30:00 | 0 | 14.5361 | 6.2403 | 65.4605 | 3.9393 | 25.0235 | 0 | 201.115 | 26.46 | 973.068 | 28.4885 | 8.5536
2019-03-21 20:45:00 | 0 | 27.3893 | 5.4733 | 72.631 | 3.428 | 23.1455 | 0.37567 | 207.505 | 26.46 | 973.366 | 28.7617 | 6.5436
2019-03-21 21:00:00 | 0 | 29.6575 | 4.195 | 76.6796 | 3.428 | 34.5842 | 0 | 213.407 | 26.46 | 973.366 | 28.1469 | 4.9622
2019-03-21 21:15:00 | 0 | 37.5597 | 5.729 | 89.7523 | 4.4507 | 21.4383 | 1.6383 | 221.797 | 26.46 | 973.514 | 28.4885 | 3.8205
2019-03-21 21:30:00 | 0 | 36.828 | 4.4507 | 85.7525 | 2.661 | 35.7549 | 0 | 217.407 | 26.46 | 973.663 | 28.4885 | 1.6996
2019-03-21 21:45:00 | 0 | 29.438 | 3.9393 | 88.0451 | 1.127 | 49.6568 | 0 | 217.895 | 26.46 | 973.811 | 28.4885 | 0.29189
2019-03-21 22:00:00 | 0 | 36.2427 | 2.9167 | 84.972 | 0 | 23.7065 | 0 | 217.993 | 26.46 | 973.96 | 28.8301 | 0.14779
2019-03-21 22:15:00 | 0 | 34.4378 | 3.6837 | 80.2893 | 0.75133 | 21.2676 | 0 | 221.87 | 26.46 | 973.663 | 28.4202 | 0.6429
2019-03-21 22:30:00 | 0 | 49.4129 | 4.195 | 89.9719 | 2.4053 | 31.1209 | 0 | 231.382 | 26.46 | 973.663 | 27.532 | 0.72419
2019-03-21 22:45:00 | 0 | 20.6822 | 2.4053 | 81.0209 | 1.6383 | 31.8038 | 0 | 212.432 | 26.46 | 973.96 | 27.532 | 1.1417
2019-03-21 23:00:00 | 0 | 43.3156 | 2.9167 | 111.288 | 1.3827 | 30.6331 | 0 | 225.456 | 26.46 | 973.96 | 27.532 | 0.73527
2019-03-21 23:15:00 | 0 | 80.729 | 2.4053 | 142.97 | 2.661 | 52.4372 | 0 | 246.211 | 26.46 | 973.96 | 27.6687 | 1.5629
2019-03-21 23:30:00 | 0 | 71.6073 | 3.9393 | 131.775 | 1.6383 | 53.2665 | 0 | 256.528 | 26.46 | 973.682 | 27.8053 | 2.1615
2019-03-21 23:45:00 | 0 | 60.5357 | 2.1497 | 142.388 | 1.894 | 53.3651 | 0 | 281.411 | 26.46 | 973.733 | 28.2499 | 2.1393