## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-22 00:00:00 | 0 | 68.1465 | 1.894 | 138.976 | 0 | 52.8294 | 0 | 242.391 | 26.46 | 973.794 | 28.3529 | 1.8622
2019-03-22 00:15:00 | 0 | 75.4963 | 2.4053 | 130.236 | 3.1723 | 53.4694 | 0 | 251.979 | 26.46 | 973.578 | 28.151 | 2.7083
2019-03-22 00:30:00 | 0 | 57.3715 | 1.3827 | 107.378 | 1.6383 | 52.9808 | 0 | 292.663 | 26.46 | 973.902 | 27.2624 | 2.5162
2019-03-22 00:45:00 | 0 | 74.0514 | 4.7063 | 139.079 | 3.428 | 60.1973 | 0.37567 | 278.327 | 26.46 | 973.878 | 25.211 | 4.8809
2019-03-22 01:00:00 | 0 | 92.8264 | 5.2177 | 147.117 | 4.195 | 60.3884 | 0 | 275.406 | 26.46 | 973.7 | 24.3212 | 6.0448
2019-03-22 01:15:00 | 0 | 90.3872 | 3.428 | 161.726 | 2.661 | 60.5833 | 0 | 264.918 | 26.46 | 973.964 | 23.9112 | 5.0508
2019-03-22 01:30:00 | 2.648 | 130.142 | 2.9167 | 190.822 | 2.4053 | 60.5833 | 0.63133 | 300.234 | 26.46 | 973.663 | 26.3706 | 5.0176
2019-03-22 01:45:00 | 0 | 129.8 | 5.2177 | 186.578 | 4.195 | 60.8272 | 5.729 | 308.112 | 26.46 | 973.663 | 29.7865 | 5.6642
2019-03-22 02:00:00 | 0 | 107.12 | 4.7063 | 173.41 | 4.7063 | 60.9255 | 5.729 | 289.53 | 26.46 | 973.454 | 26.2343 | 6.5547
2019-03-22 02:15:00 | 0 | 130.689 | 5.2177 | 185.62 | 4.962 | 61.0761 | 2.7967 | 303.942 | 26.46 | 973.584 | 29.584 | 5.1358
2019-03-22 02:30:00 | 0 | 110.843 | 4.195 | 177.243 | 3.9393 | 61.1294 | 0.37567 | 286.864 | 26.46 | 973.576 | 32.4559 | 3.2108
2019-03-22 02:45:00 | 0 | 123.07 | 3.1723 | 187.28 | 2.4053 | 60.9863 | 0 | 302.248 | 26.46 | 973.649 | 31.8427 | 2.2354
2019-03-22 03:00:00 | 0 | 129.634 | 3.9393 | 184.307 | 3.6837 | 61.0847 | 0 | 295.471 | 26.46 | 973.366 | 29.5198 | 2.1356
2019-03-22 03:15:00 | 0 | 129.935 | 4.195 | 184.978 | 3.428 | 61.0398 | 0.887 | 295.05 | 26.46 | 973.366 | 30.2051 | 2.0469
2019-03-22 03:30:00 | 0.88267 | 131.005 | 3.9393 | 190.999 | 3.6837 | 61.0383 | 1.774 | 293.042 | 26.46 | 973.366 | 29.4526 | 1.8622
2019-03-22 03:45:00 | 0 | 139.203 | 4.195 | 188.634 | 3.6837 | 61.0875 | 4.7063 | 320.831 | 26.46 | 973.366 | 30.2045 | 3.4805
2019-03-22 04:00:00 | 0 | 133.887 | 4.7063 | 190.93 | 3.9393 | 61.0882 | 3.1723 | 315.395 | 26.46 | 973.359 | 28.0181 | 3.0889
2019-03-22 04:15:00 | 1.51 | 141.765 | 3.9393 | 199.807 | 2.9167 | 61.0142 | 0 | 324.832 | 26.46 | 973.515 | 25.5576 | 1.6553
2019-03-22 04:30:00 | 0 | 148.673 | 4.195 | 198.74 | 1.894 | 60.8938 | 0 | 326.45 | 26.46 | 973.663 | 25.695 | 1.5703
2019-03-22 04:45:00 | 2.7867 | 143.057 | 3.428 | 197.757 | 2.9167 | 60.9409 | 0 | 328.027 | 26.46 | 973.663 | 25.831 | 0.49511
2019-03-22 05:00:00 | 0 | 156.768 | 3.1723 | 201.344 | 2.1497 | 60.8921 | 0 | 335.98 | 26.46 | 973.957 | 24.6692 | 0.34731
2019-03-22 05:15:00 | 0 | 144.566 | 2.9167 | 202.435 | 2.1497 | 60.8415 | 0 | 326.041 | 26.46 | 973.931 | 24.3268 | 0.3584
2019-03-22 05:30:00 | 0 | 150.419 | 2.661 | 207.898 | 1.3827 | 60.7922 | 0 | 339.236 | 26.46 | 974.101 | 23.4041 | 0.55792
2019-03-22 05:45:00 | 0 | 163.891 | 3.1723 | 212.394 | 2.4053 | 60.8187 | 0 | 341.175 | 26.46 | 973.961 | 23.7808 | 1.4595
2019-03-22 06:00:00 | 0 | 145.009 | 4.195 | 202.71 | 2.4053 | 60.8921 | 0 | 336.443 | 26.46 | 973.961 | 24.6692 | 2.276
2019-03-22 06:15:00 | 0 | 139.931 | 5.729 | 192.898 | 4.4507 | 61.7689 | 1.894 | 324.043 | 26.46 | 973.935 | 23.917 | 3.6985
2019-03-22 06:30:00 | 0 | 141.641 | 6.7517 | 193.437 | 5.9847 | 63.3798 | 5.2177 | 328.145 | 26.46 | 974.256 | 21.3205 | 6.998
2019-03-22 06:45:00 | 0.62733 | 139.902 | 5.4733 | 187.731 | 4.4507 | 63.0242 | 5.729 | 325.169 | 26.46 | 974.348 | 24.4585 | 9.008
2019-03-22 07:00:00 | 0 | 142.19 | 3.6837 | 197.31 | 4.195 | 63.1442 | 1.007 | 323.038 | 26.46 | 974.258 | 26.3023 | 10.0611
2019-03-22 07:15:00 | 0.62733 | 143.751 | 4.195 | 191.359 | 3.428 | 62.9735 | 0.37567 | 329.599 | 26.46 | 974.852 | 27.6004 | 10.0795
2019-03-22 07:30:00 | 0 | 141.303 | 5.9847 | 197.734 | 5.9847 | 64.1886 | 1.007 | 326.455 | 26.46 | 974.852 | 28.7598 | 9.8431
2019-03-22 07:45:00 | 0 | 146.116 | 5.2177 | 201.722 | 4.7063 | 64.8538 | 1.5183 | 323.465 | 26.46 | 975.416 | 28.9569 | 13.2904
2019-03-22 08:00:00 | 0 | 144.214 | 5.9847 | 210.889 | 5.4733 | 65.7314 | 1.2627 | 326.682 | 26.46 | 975.454 | 28.2056 | 13.161
2019-03-22 08:15:00 | 0 | 141.435 | 5.729 | 192.579 | 5.9847 | 66.7067 | 2.0297 | 331.266 | 26.46 | 975.742 | 30.7325 | 13.8261
2019-03-22 08:30:00 | 0 | 143.439 | 4.962 | 197.011 | 5.4733 | 67.3314 | 4.962 | 319.349 | 26.46 | 975.742 | 31.0697 | 12.3371
2019-03-22 08:45:00 | 0 | 143.069 | 5.729 | 199.637 | 4.962 | 67.0857 | 4.962 | 333.917 | 26.46 | 975.576 | 31.8882 | 9.0598
2019-03-22 09:00:00 | 0 | 151.088 | 4.962 | 190.534 | 5.4733 | 67.0256 | 5.729 | 329.693 | 26.46 | 975.744 | 29.4933 | 8.2654
2019-03-22 09:15:00 | 0 | 148.503 | 4.7063 | 205.814 | 4.962 | 66.8789 | 5.729 | 329.057 | 26.46 | 976.087 | 29.1517 | 8.4132
2019-03-22 09:30:00 | 0 | 138.876 | 5.9847 | 192.287 | 5.2177 | 66.8789 | 5.729 | 325.23 | 26.46 | 976.038 | 29.6979 | 6.1334
2019-03-22 09:45:00 | 0 | 138.096 | 4.4507 | 200.525 | 4.7063 | 66.8789 | 5.729 | 324.377 | 26.46 | 976.335 | 27.7181 | 7.4451
2019-03-22 10:00:00 | 0 | 129.98 | 4.4507 | 181.368 | 4.4507 | 66.8058 | 3.428 | 306 | 26.46 | 976.335 | 27.2402 | 5.6235
2019-03-22 10:15:00 | 0 | 157.989 | 4.962 | 200.473 | 3.9393 | 66.9193 | 5.4733 | 334.061 | 26.46 | 976.335 | 27.032 | 5.9265
2019-03-22 10:30:00 | 0 | 154.227 | 4.7063 | 195.221 | 2.9167 | 66.7691 | 5.4733 | 331.068 | 26.46 | 976.335 | 26.2795 | 5.11
2019-03-22 10:45:00 | 0 | 190.755 | 4.962 | 240.083 | 5.2177 | 68.2313 | 0.75133 | 12.769 | 26.46 | 976.335 | 25.3239 | 6.3884
2019-03-22 11:00:00 | 0 | 200.328 | 5.9847 | 236.423 | 6.496 | 72.9329 | 2.1497 | 15.0837 | 26.46 | 976.038 | 26.279 | 5.9635
2019-03-22 11:15:00 | 0 | 181.181 | 6.496 | 240.111 | 6.496 | 76.1763 | 3.428 | 16.5463 | 26.46 | 976.038 | 28.8055 | 4.6629
2019-03-22 11:30:00 | 0 | 198.8 | 3.9393 | 245.765 | 4.4507 | 77.1514 | 3.6837 | 20.421 | 26.46 | 976.186 | 17.5428 | 2.2945
2019-03-22 11:45:00 | 0 | 182.861 | 4.4507 | 229.874 | 5.2177 | 77.5893 | 4.7063 | 7.5786 | 26.46 | 975.889 | 23.6859 | 2.2465
2019-03-22 12:00:00 | 0.372 | 167.677 | 3.6837 | 204.235 | 4.195 | 77.4906 | 3.6837 | 3.2166 | 26.46 | 976.038 | 21.5013 | 2.2576
2019-03-22 12:15:00 | 0 | 152.986 | 5.4733 | 195.516 | 6.7517 | 78.0038 | 0.37567 | 324.735 | 26.46 | 975.741 | 23.4471 | 2.8266
2019-03-22 12:30:00 | 0 | 198.287 | 4.962 | 294.574 | 5.4733 | 77.5409 | 0 | 28.097 | 26.46 | 975.741 | 25.6655 | 2.9448
2019-03-22 12:45:00 | 0 | 189.636 | 4.4507 | 227.098 | 5.4733 | 77.882 | 2.1497 | 2.5587 | 26.46 | 975.444 | 25.3242 | 2.5938
2019-03-22 13:00:00 | 0 | 137.975 | 6.2403 | 198.318 | 7.5187 | 78.5643 | 0.63133 | 331.876 | 26.46 | 975.147 | 24.6416 | 4.1752
2019-03-22 13:15:00 | 0 | 187.39 | 5.729 | 229.992 | 5.9847 | 103.467 | 1.007 | 88.9678 | 26.46 | 974.85 | 24.2657 | 6.6866
2019-03-22 13:30:00 | 0 | 183.958 | 4.962 | 243.228 | 5.2177 | 103.859 | 1.2627 | 1.7058 | 26.46 | 974.85 | 24.1296 | 8.8048
2019-03-22 13:45:00 | 0 | 160.443 | 7.263 | 197.148 | 7.5187 | 104.322 | 0.37567 | 347.325 | 26.46 | 974.85 | 26.4846 | 8.4021
2019-03-22 14:00:00 | 0 | 162.048 | 5.9847 | 212.13 | 7.0073 | 103.978 | 3.6837 | 352.265 | 26.46 | 974.85 | 27.4397 | 12.3888
2019-03-22 14:15:00 | 0 | 175.203 | 7.5187 | 231.522 | 7.0073 | 104.951 | 0.63133 | 20.7125 | 26.46 | 974.701 | 27.3709 | 17.5225
2019-03-22 14:30:00 | 0 | 187.782 | 4.195 | 231.627 | 3.9393 | 103.614 | 0 | 18.7636 | 26.46 | 974.85 | 27.3717 | 14.0589
2019-03-22 14:45:00 | 0.99933 | 229.38 | 7.0073 | 235.893 | 4.7063 | 104.078 | 1.6383 | 53.2695 | 26.46 | 974.256 | 27.5084 | 14.7668
2019-03-22 15:00:00 | 1.904 | 198.503 | 6.496 | 248.61 | 7.5187 | 105.319 | 0.37567 | 19.4945 | 26.46 | 974.256 | 27.8493 | 13.2682
2019-03-22 15:15:00 | 0 | 173.086 | 4.7063 | 234.11 | 5.2177 | 105.441 | 0.887 | 0.19494 | 26.46 | 974.107 | 28.8048 | 13.6044
2019-03-22 15:30:00 | 0 | 206.197 | 7.0073 | 242.705 | 7.5187 | 106.412 | 2.4053 | 24.6598 | 26.46 | 973.662 | 28.9406 | 17.6392
2019-03-22 15:45:00 | 0 | 193.85 | 7.0073 | 235.941 | 7.7743 | 106.197 | 2.2853 | 10.1372 | 26.46 | 973.662 | 29.6925 | 14.6353
2019-03-22 16:00:00 | 0 | 189.862 | 7.7743 | 231.322 | 7.5187 | 106.178 | 4.962 | 353.796 | 26.46 | 973.365 | 31.8782 | 20.0039
2019-03-22 16:15:00 | 5.9673 | 174.338 | 5.9847 | 241.251 | 6.7517 | 106.07 | 6.496 | 353.087 | 26.46 | 973.365 | 33.521 | 25.4934
2019-03-22 16:30:00 | 0 | 182.138 | 7.5187 | 225.653 | 8.5413 | 107.776 | 2.4053 | 353.137 | 26.46 | 972.771 | 36.6615 | 25.5425
2019-03-22 16:45:00 | 1.7653 | 175.167 | 7.0073 | 218.268 | 8.03 | 107.484 | 2.4053 | 356.768 | 26.46 | 972.771 | 36.7298 | 24.6077
2019-03-22 17:00:00 | 0 | 179.603 | 8.03 | 220.194 | 7.5187 | 108.191 | 1.774 | 0.34122 | 26.46 | 972.856 | 36.3885 | 24.6114
2019-03-22 17:15:00 | 0.88267 | 169.905 | 7.7743 | 219.759 | 7.7743 | 108.241 | 0.887 | 352.192 | 26.46 | 972.491 | 37.4132 | 27.401
2019-03-22 17:30:00 | 8.2653 | 177.65 | 7.263 | 224.537 | 9.0527 | 108.813 | 8.5413 | 88.5324 | 26.46 | 972.547 | 38.2363 | 28.7902
2019-03-22 17:45:00 | 3.6693 | 170.98 | 8.03 | 227.963 | 7.263 | 108.746 | 3.5637 | 0.19502 | 26.46 | 972.736 | 36.941 | 23.9685
2019-03-22 18:00:00 | 6.2227 | 171.088 | 7.5187 | 223.979 | 7.5187 | 108.655 | 5.4733 | 355.267 | 26.46 | 972.92 | 37.4212 | 22.0878
2019-03-22 18:15:00 | 12.3507 | 173.031 | 8.5413 | 220.079 | 9.564 | 109.227 | 4.195 | 356.815 | 26.46 | 972.771 | 39.0641 | 20.8944
2019-03-22 18:30:00 | 10.0527 | 180.176 | 8.03 | 211.767 | 7.0073 | 108.788 | 4.7063 | 350.064 | 26.46 | 972.771 | 41.7278 | 23.2812
2019-03-22 18:45:00 | 7.244 | 178.421 | 8.797 | 221.616 | 8.5413 | 109.715 | 5.9847 | 2.048 | 26.46 | 972.771 | 42.4108 | 24.2234
2019-03-22 19:00:00 | 5.712 | 178.86 | 10.0753 | 217.911 | 11.3537 | 111.007 | 5.729 | 0.19505 | 26.46 | 972.771 | 41.5913 | 24.5559
2019-03-22 19:15:00 | 9.0313 | 175.69 | 8.797 | 221.616 | 9.0527 | 110.983 | 5.9847 | 356.817 | 26.46 | 973.069 | 42.6157 | 18.7883
2019-03-22 19:30:00 | 0 | 193.732 | 4.7063 | 240.731 | 7.0073 | 111.105 | 4.7063 | 356.793 | 26.46 | 973.365 | 43.845 | 20.3919
2019-03-22 19:45:00 | 16.9467 | 177.641 | 8.797 | 225.054 | 8.797 | 111.105 | 6.7517 | 356.793 | 26.46 | 973.394 | 44.7328 | 20.6616
2019-03-22 20:00:00 | 0 | 176.933 | 7.7743 | 232.759 | 7.7743 | 111.056 | 5.9847 | 354.988 | 26.46 | 974.024 | 45.3474 | 18.0161
2019-03-22 20:15:00 | 0 | 160.281 | 5.729 | 209.694 | 5.4733 | 117.054 | 5.2177 | 340.457 | 26.46 | 974.086 | 44.6645 | 21.5853
2019-03-22 20:30:00 | 1.51 | 176.226 | 7.263 | 232.369 | 7.7743 | 117.517 | 1.2627 | 11.8004 | 26.46 | 973.852 | 43.2303 | 22.9487
2019-03-22 20:45:00 | 0.744 | 165.036 | 7.263 | 223.591 | 9.0527 | 118.711 | 2.7967 | 345.212 | 26.46 | 973.908 | 41.5913 | 23.2664
2019-03-22 21:00:00 | 0 | 183.004 | 6.496 | 204.842 | 8.03 | 118.297 | 3.9393 | 356.793 | 26.46 | 974.219 | 42.7523 | 19.7453
2019-03-22 21:15:00 | 0 | 156.746 | 5.4733 | 200.941 | 5.4733 | 117.322 | 5.9847 | 339.921 | 26.46 | 974.105 | 44.5962 | 21.3599
2019-03-22 21:30:00 | 3.6693 | 162.329 | 7.5187 | 207.451 | 7.0073 | 118.004 | 4.3307 | 347.82 | 26.46 | 974.109 | 44.323 | 25.1693
2019-03-22 21:45:00 | 0 | 158.7 | 7.0073 | 207.31 | 7.0073 | 118.032 | 5.4733 | 346.756 | 26.46 | 973.96 | 43.846 | 25.1952
2019-03-22 22:00:00 | 0 | 151.547 | 7.0073 | 194.726 | 6.2403 | 117.58 | 5.4733 | 334.818 | 26.46 | 973.96 | 45.8312 | 27.6929
2019-03-22 22:15:00 | 14.3933 | 157.245 | 8.797 | 201.504 | 7.5187 | 118.275 | 3.9393 | 342.584 | 26.46 | 973.96 | 45.9726 | 31.0737
2019-03-22 22:30:00 | 10.5633 | 158.81 | 8.5413 | 205.753 | 8.2857 | 118.424 | 6.496 | 340.275 | 26.46 | 973.96 | 46.1786 | 32.2597
2019-03-22 22:45:00 | 6.2227 | 149.255 | 8.5413 | 210.931 | 7.7743 | 118.258 | 4.195 | 345.189 | 26.46 | 973.811 | 45.4971 | 36.978
2019-03-22 23:00:00 | 0.372 | 147.526 | 6.2403 | 189.79 | 4.962 | 117.577 | 5.9847 | 331.879 | 26.46 | 973.96 | 45.4979 | 39.3132
2019-03-22 23:15:00 | 4.946 | 154.258 | 7.5187 | 205.887 | 6.7517 | 118.26 | 4.7063 | 337.245 | 26.46 | 973.663 | 46.3178 | 37.9091
2019-03-22 23:30:00 | 6.7333 | 150.747 | 9.0527 | 198.182 | 8.2857 | 118.798 | 2.9167 | 348.979 | 26.46 | 973.663 | 46.5232 | 35.5222
2019-03-22 23:45:00 | 0 | 149.214 | 7.263 | 210.09 | 7.7743 | 118.606 | 3.5637 | 332.037 | 26.46 | 973.811 | 46.7976 | 36.7674