## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-23 00:00:00 | 0 | 156.873 | 8.797 | 211.504 | 8.5413 | 118.972 | 3.9393 | 345.33 | 26.46 | 973.96 | 46.3535 | 31.7978
2019-03-23 00:15:00 | 7.7547 | 155.946 | 8.2857 | 199.773 | 8.03 | 118.752 | 5.9847 | 339.818 | 26.46 | 973.96 | 46.7976 | 27.5968
2019-03-23 00:30:00 | 4.946 | 152.873 | 6.496 | 205.675 | 5.4733 | 118.191 | 5.4733 | 340.427 | 26.46 | 974.257 | 47.3441 | 24.1163
2019-03-23 00:45:00 | 7.4993 | 158.946 | 9.564 | 208.017 | 6.7517 | 118.776 | 5.9847 | 346.915 | 26.46 | 974.257 | 46.5243 | 25.6607
2019-03-23 01:00:00 | 10.8187 | 160.97 | 7.0073 | 205.968 | 6.2403 | 118.289 | 6.2403 | 342.061 | 26.46 | 974.406 | 46.9342 | 28.502
2019-03-23 01:15:00 | 4.6907 | 154.629 | 7.0073 | 201.236 | 7.0073 | 118.386 | 7.0073 | 336.403 | 26.46 | 974.554 | 47.1392 | 29.0008
2019-03-23 01:30:00 | 0 | 136.264 | 5.729 | 189.481 | 5.2177 | 117.655 | 0 | 330.672 | 26.46 | 974.554 | 48.6422 | 18.9619
2019-03-23 01:45:00 | 0 | 153.263 | 5.9847 | 201.578 | 4.4507 | 117.606 | 1.894 | 332.915 | 26.46 | 974.554 | 49.8036 | 17
2019-03-23 02:00:00 | 0 | 153.702 | 6.7517 | 193.505 | 6.2403 | 118.045 | 4.195 | 333.867 | 26.46 | 974.406 | 50.0085 | 16.963
2019-03-23 02:15:00 | 0 | 158.58 | 6.496 | 208.919 | 5.9847 | 117.898 | 3.308 | 343.452 | 26.46 | 974.406 | 51.6482 | 13.5231
2019-03-23 02:30:00 | 0 | 152.019 | 4.962 | 203.7 | 3.9393 | 117.264 | 0 | 345.793 | 26.46 | 974.406 | 51.9214 | 8.8861
2019-03-23 02:45:00 | 0.744 | 162.409 | 5.2177 | 203.748 | 3.9393 | 117.459 | 1.3827 | 0.19512 | 26.46 | 974.257 | 52.8096 | 9.5401
2019-03-23 03:00:00 | 0 | 173.579 | 4.7063 | 213.187 | 4.195 | 117.313 | 0 | 0.19512 | 26.46 | 974.257 | 55.2007 | 7.8183
2019-03-23 03:15:00 | 0 | 166.019 | 4.7063 | 211.895 | 3.6837 | 117.24 | 0.37567 | 7.9022 | 26.46 | 974.257 | 54.7225 | 8.1065
2019-03-23 03:30:00 | 0 | 161.068 | 5.2177 | 217.699 | 2.9167 | 117.313 | 4.195 | 9.9021 | 26.46 | 974.109 | 56.0205 | 8.875
2019-03-23 03:45:00 | 0.372 | 198.798 | 4.4507 | 248.162 | 3.9393 | 117.606 | 0.75133 | 21.4383 | 26.46 | 974.257 | 57.1819 | 5.7344
2019-03-23 04:00:00 | 1.138 | 220.822 | 4.195 | 279.087 | 3.428 | 117.362 | 0 | 41.462 | 26.46 | 975.446 | 56.772 | 2.7674
2019-03-23 04:15:00 | 8.776 | 352.159 | 8.03 | 30.1934 | 8.797 | 17.6092 | 3.6837 | 175.799 | 26.46 | 975 | 59.7096 | 17.2739
2019-03-23 04:30:00 | 1.2547 | 14.0483 | 6.7517 | 65.6068 | 6.2403 | 15.7799 | 4.4507 | 196.359 | 26.46 | 975.297 | 58.2067 | 19.7231
2019-03-23 04:45:00 | 1.2547 | 4.3901 | 5.2177 | 58.0461 | 4.7063 | 8.3412 | 5.2177 | 180.555 | 26.46 | 975.446 | 58.0017 | 17.3177
2019-03-23 05:00:00 | 5.9673 | 342.5 | 5.729 | 33.9738 | 3.428 | 7.4144 | 5.729 | 164.336 | 26.46 | 975.446 | 57.4893 | 27.3603
2019-03-23 05:15:00 | 2.1373 | 0.78046 | 9.0527 | 53.3633 | 10.5867 | 9.2192 | 5.2177 | 192.359 | 26.46 | 975.149 | 55.7472 | 53.1352
2019-03-23 05:30:00 | 4.18 | 13.2922 | 13.399 | 75.0211 | 5.9847 | 13.8776 | 4.195 | 200.261 | 26.46 | 975.446 | 49.667 | 74.5889
2019-03-23 05:45:00 | 8.2653 | 2.9999 | 16.9783 | 60.1924 | 11.098 | 17.0238 | 6.2403 | 188.676 | 26.46 | 974.703 | 40.5807 | 78.539
2019-03-23 06:00:00 | 6.2227 | 14.4629 | 16.9783 | 68.9238 | 11.865 | 30.5355 | 5.729 | 194.676 | 26.46 | 974.852 | 34.2272 | 88.6188
2019-03-23 06:15:00 | 5.2013 | 14.341 | 16.467 | 67.9726 | 9.564 | 22.5358 | 5.2177 | 191.652 | 26.46 | 975 | 29.4449 | 86.4372
2019-03-23 06:30:00 | 5.712 | 5.5364 | 18.001 | 61.0216 | 8.5413 | 12.3167 | 6.2403 | 190.628 | 26.46 | 975.466 | 27.8736 | 87.3388
2019-03-23 06:45:00 | 6.7333 | 7.4877 | 15.1887 | 62.2179 | 9.8197 | 4.2682 | 4.4507 | 192.679 | 26.46 | 975.867 | 26.8492 | 85.2327
2019-03-23 07:00:00 | 5.9673 | 15.0241 | 14.933 | 74.4373 | 7.7743 | 13.2924 | 2.661 | 205.46 | 26.46 | 976.185 | 24.7997 | 85.9445
2019-03-23 07:15:00 | 6.478 | 19.1948 | 14.166 | 65.8035 | 9.3083 | 24.8289 | 4.962 | 204.875 | 26.46 | 976.746 | 20.9739 | 83.7141
2019-03-23 07:30:00 | 5.712 | 30.5356 | 11.3537 | 82.8258 | 6.496 | 24.9748 | 5.2177 | 200.749 | 26.46 | 976.636 | 21.7933 | 75.4983
2019-03-23 07:45:00 | 9.2867 | 10.8777 | 10.5867 | 68.8994 | 6.2403 | 34.5354 | 7.5187 | 195.091 | 26.46 | 977.378 | 21.2468 | 68.1847
2019-03-23 08:00:00 | 5.9673 | 67.6562 | 9.564 | 69.1921 | 10.8423 | 25.3406 | 4.4507 | 165.068 | 26.46 | 977.675 | 21.1102 | 61.9995
2019-03-23 08:15:00 | 6.7333 | 3.9511 | 13.399 | 74.9968 | 11.098 | 30.7063 | 3.1723 | 170.994 | 26.46 | 977.526 | 21.4518 | 60.5212
2019-03-23 08:30:00 | 5.9673 | 14.78 | 14.166 | 69.0214 | 7.0073 | 27.0235 | 4.962 | 192.457 | 26.46 | 977.823 | 21.1102 | 59.1619
2019-03-23 08:45:00 | 5.712 | 0.097553 | 9.0527 | 58.0912 | 8.2857 | 25.9979 | 2.661 | 180.741 | 26.46 | 978.418 | 22.6804 | 61.4083
2019-03-23 09:00:00 | 6.2227 | 355.696 | 9.3083 | 72.9598 | 5.9847 | 20.7769 | 4.4507 | 164.826 | 26.46 | 978.566 | 23.2932 | 60.7144
2019-03-23 09:15:00 | 6.9887 | 22.9437 | 11.865 | 72.4333 | 3.9393 | 19.0913 | 2.9167 | 202.251 | 26.46 | 978.715 | 21.8553 | 63.9386
2019-03-23 09:30:00 | 5.9673 | 0.17067 | 11.3537 | 64.8006 | 11.3537 | 4.657 | 4.962 | 189.326 | 26.46 | 978.121 | 20.2159 | 66.938
2019-03-23 09:45:00 | 6.2227 | 29.2087 | 10.0753 | 84.5711 | 7.7743 | 24.5763 | 4.7063 | 195.513 | 26.46 | 979.012 | 20.7616 | 61.3788
2019-03-23 10:00:00 | 6.2227 | 29.2087 | 10.0753 | 84.5711 | 7.7743 | 24.5763 | 4.7063 | 195.513 | 26.46 | 979.012 | 20.7616 | 61.3788
2019-03-23 10:15:00 | 6.2227 | 29.2087 | 10.0753 | 84.5711 | 7.7743 | 24.5763 | 4.7063 | 195.513 | 26.46 | 979.012 | 20.7616 | 61.3788
2019-03-23 10:30:00 | 2.1373 | 23.7432 | 5.4733 | 98.6671 | 4.962 | 38.54 | 1.2627 | 209.179 | 26.46 | 979.529 | 20.8946 | 41.4007
2019-03-23 10:45:00 | 2.1373 | 23.7432 | 5.4733 | 98.6671 | 4.962 | 38.54 | 1.2627 | 209.179 | 26.46 | 979.529 | 20.8946 | 41.4007
2019-03-23 11:00:00 | 2.1373 | 23.7432 | 5.4733 | 98.6671 | 4.962 | 38.54 | 1.2627 | 209.179 | 26.46 | 979.529 | 20.8946 | 41.4007
2019-03-23 11:15:00 | 14.3933 | 28.152 | 9.564 | 62.5549 | 4.4507 | 27.2989 | 9.0527 | 205.376 | 26.46 | 979.667 | 19.7314 | 41.4007
2019-03-23 11:30:00 | 2.878 | 17.33 | 11 | 16.3124 | 0.12 | 0.025 | 1.116 | 12.32 | 26.46 | 979.667 | 19.7314 | 41.4007
2019-03-23 11:45:00 | 2.285 | 9.98 | 12 | 16.3124 | 0.064 | 0.052 | 0 | 29.77 | 26.46 | 979.667 | 19.7314 | 41.4007
2019-03-23 12:00:00 | 3.6693 | 329.3 | 7.0073 | 60.357 | 0.121 | 0.048 | 2.648 | 8.98 | 26.46 | 979.667 | 19.7314 | 41.4007
2019-03-23 12:15:00 | 1.939 | 16.89 | 12 | 16.3124 | 0.136 | 0.073 | 0 | 6.011 | 26.46 | 979.667 | 19.7314 | 41.4007
2019-03-23 12:30:00 | 2.431 | 27.83 | 12 | 16.3124 | 3.1723 | 7.0194 | 0.75133 | 155.23 | 26.46 | 979.667 | 19.7314 | 41.4007
2019-03-23 12:45:00 | 2.403 | 21.78 | 13 | 16.3124 | 0.133 | 0.085 | 0 | 16.22 | 26.46 | 979.667 | 19.7314 | 41.4007
2019-03-23 13:00:00 | 0 | 348.068 | 8.2857 | 14.9993 | 7.263 | 5.0939 | 0 | 210.41 | 26.46 | 979.667 | 19.7314 | 41.4007
2019-03-23 13:15:00 | 2.093 | 24.77 | 13 | 16.3124 | 0.113 | 0.047 | 0 | 13.78 | 26.46 | 979.667 | 19.7314 | 41.4007
2019-03-23 13:30:00 | 2.19 | 33.65 | 13 | 16.3124 | 4.962 | 4.972 | 0 | 189.279 | 26.46 | 979.667 | 3.4366 | 41.4007
2019-03-23 13:45:00 | 0 | 356.915 | 5.2177 | 60.0645 | 0.11 | 0.03 | 0 | 13.3 | 26.46 | 978.71 | 20.6861 | 41.4007
2019-03-23 14:00:00 | 2.5313 | 356.793 | 3.6837 | 99.321 | 5.2177 | 31.7442 | 3.6837 | 175.154 | 26.46 | 979.455 | 20.6932 | 43.4551
2019-03-23 14:15:00 | 2.5313 | 356.793 | 3.6837 | 99.321 | 5.2177 | 31.7442 | 3.6837 | 175.154 | 26.46 | 979.455 | 20.6932 | 43.4551
2019-03-23 14:30:00 | 2.5313 | 356.793 | 3.6837 | 99.321 | 5.2177 | 31.7442 | 3.6837 | 175.154 | 26.46 | 979.455 | 20.6932 | 43.4551
2019-03-23 14:45:00 | 2.5313 | 356.793 | 3.6837 | 99.321 | 5.2177 | 31.7442 | 3.6837 | 175.154 | 26.46 | 979.455 | 20.6932 | 43.4551
2019-03-23 15:00:00 | 0 | 42.8874 | 1.6383 | 124.258 | 0 | 24.0998 | 0 | 212.561 | 26.46 | 978.71 | 22.5932 | 43.4551
2019-03-23 15:15:00 | 0 | 337.749 | 2.9167 | 19.0872 | 5.4733 | 20.4696 | 0.37567 | 160.272 | 26.46 | 978.562 | 19.5563 | 33.8551
2019-03-23 15:30:00 | 0 | 10.2345 | 2.9167 | 7.548 | 0.75133 | 22.7353 | 0 | 209.613 | 26.46 | 978.265 | 21.0916 | 6.1261
2019-03-23 15:45:00 | 0 | 296.331 | 4.962 | 17.3683 | 4.962 | 11.3795 | 0 | 124.517 | 26.46 | 978.413 | 21.2275 | 7.5966
2019-03-23 16:00:00 | 0.744 | 351.7 | 3.6837 | 315.983 | 3.428 | 10.405 | 4.7063 | 132.488 | 26.46 | 977.965 | 22.4907 | 6.1593
2019-03-23 16:15:00 | 0 | 11.112 | 5.2177 | 64.4125 | 3.1723 | 19.4217 | 0.75133 | 187.248 | 26.46 | 977.819 | 20.6142 | 4.7516
2019-03-23 16:30:00 | 0 | 85.3077 | 3.6837 | 77.0037 | 1.127 | 13.5966 | 2.7967 | 165.182 | 26.46 | 978.264 | 21.3635 | 4.7183
2019-03-23 16:45:00 | 0 | 10.5256 | 2.661 | 48.7575 | 2.9167 | 13.7417 | 0 | 191.312 | 26.46 | 977.78 | 22.1127 | 3.9387
2019-03-23 17:00:00 | 0 | 320.531 | 2.9167 | 7.2314 | 2.1497 | 12.9148 | 0.37567 | 124.713 | 26.46 | 977.204 | 22.1834 | 5.1691
2019-03-23 17:15:00 | 0 | 23.4182 | 1.3827 | 51.7168 | 2.4053 | 16.3757 | 0 | 136.367 | 26.46 | 976.928 | 23.2764 | 4.1604
2019-03-23 17:30:00 | 0 | 308.505 | 4.962 | 19.8538 | 2.9167 | 11.0145 | 3.9393 | 110.17 | 26.46 | 976.631 | 23.2422 | 4.3082
2019-03-23 17:45:00 | 0 | 311.213 | 3.1723 | 5.8639 | 1.894 | 11.382 | 0 | 140.508 | 26.46 | 976.334 | 23.2802 | 3.2367
2019-03-23 18:00:00 | 0 | 309.778 | 1.894 | 31.0366 | 1.6383 | 11.5039 | 0 | 145.115 | 26.46 | 975.74 | 23.2804 | 2.2871
2019-03-23 18:15:00 | 0 | 334.302 | 3.1723 | 24.5119 | 3.1723 | 11.2133 | 0 | 130.001 | 26.46 | 975.047 | 25.3327 | 2.2871
2019-03-23 18:30:00 | 0 | 340.116 | 2.9167 | 28.9084 | 1.6383 | 11.581 | 0 | 159.403 | 26.46 | 974.85 | 24.5859 | 2.2871
2019-03-23 18:45:00 | 0 | 346.475 | 2.9167 | 40.0868 | 2.1497 | 12.1929 | 0 | 178.651 | 26.46 | 974.85 | 23.7711 | -0.092371
2019-03-23 19:00:00 | 0 | 3.7072 | 3.1723 | 64.3385 | 2.1497 | 13.6581 | 0 | 187.579 | 26.46 | 974.554 | 24.8676 | -0.10346
2019-03-23 19:15:00 | 0 | 4.2925 | 2.9167 | 69.4116 | 2.4053 | 13.7556 | 0 | 198.627 | 26.46 | 974.257 | 25.8241 | -0.21061
2019-03-23 19:30:00 | 0.99933 | 1.3658 | 2.1497 | 48.6318 | 2.1497 | 13.6093 | 0 | 186.896 | 26.46 | 974.554 | 26.5073 | -0.25125
2019-03-23 19:45:00 | 0 | 1.0731 | 2.1497 | 56.4608 | 1.3827 | 13.5605 | 0 | 192.628 | 26.46 | 974.554 | 26.4389 | -0.26233
2019-03-23 20:00:00 | 2.648 | 0.53657 | 1.6383 | 14.4866 | 1.3827 | 13.3166 | 16.7227 | 184.921 | 26.46 | 974.981 | 26.234 | -0.25125
2019-03-23 20:15:00 | 0 | 0.43902 | 1.127 | 4.2931 | 1.3827 | 13.3173 | 0 | 184.93 | 26.46 | 975.004 | 25.7229 | -0.25125
2019-03-23 20:30:00 | 0 | 0.48787 | 1.3827 | 4.3934 | 0 | 13.3676 | 0 | 167.998 | 26.46 | 975.123 | 26.0333 | -0.25125
2019-03-23 20:45:00 | 0 | 0.53671 | 0.37567 | 39.5023 | 0 | 13.4179 | 0 | 175.116 | 26.46 | 975.15 | 25.5579 | -0.24016
2019-03-23 21:00:00 | 2.648 | 5.2209 | 2.1497 | 80.6123 | 1.6383 | 13.7598 | 0 | 251.238 | 26.46 | 974.852 | 25.0118 | -0.24016
2019-03-23 21:15:00 | 2.0207 | 52.5981 | 1.6383 | 108.641 | 1.127 | 15.4185 | 4.075 | 284.215 | 26.46 | 974.555 | 24.8745 | -0.24016
2019-03-23 21:30:00 | 0 | 52.8902 | 2.1497 | 165.262 | 1.3827 | 15.4182 | 0 | 313.584 | 26.46 | 974.546 | 20.8424 | -0.24016
2019-03-23 21:45:00 | 0 | 149.452 | 2.9167 | 205.74 | 2.1497 | 37.1801 | 0 | 340.427 | 26.46 | 974.54 | 22.0046 | -0.24016
2019-03-23 22:00:00 | 0 | 161.841 | 3.6837 | 209.466 | 2.1497 | 37.2035 | 0 | 343.785 | 26.46 | 974.555 | 23.029 | -0.22169
2019-03-23 22:15:00 | 0 | 168.865 | 4.195 | 221.685 | 2.9167 | 38.5935 | 0.37567 | 355.197 | 26.46 | 974.239 | 23.5754 | 0.94219
2019-03-23 22:30:00 | 3.6693 | 190.63 | 4.195 | 230.254 | 3.1723 | 38.7408 | 1.007 | 3.7082 | 26.46 | 974.258 | 25.5577 | 1.4964
2019-03-23 22:45:00 | 0 | 197.88 | 3.6837 | 235.236 | 2.9167 | 38.3024 | 2.1497 | 14.2475 | 26.46 | 974.109 | 27.1299 | 0.8572
2019-03-23 23:00:00 | 0 | 199.218 | 3.428 | 236.158 | 3.1723 | 38.4725 | 0 | 16.1989 | 26.46 | 974.258 | 27.3344 | 1.4299
2019-03-23 23:15:00 | 0 | 186.296 | 2.1497 | 203.745 | 1.6383 | 38.1569 | 0 | 347.462 | 26.46 | 973.949 | 27.4723 | 0.18474
2019-03-23 23:30:00 | 0 | 171.482 | 3.6837 | 209.863 | 1.6383 | 38.1559 | 0 | 89.559 | 26.46 | 973.663 | 26.2415 | 0.74266
2019-03-23 23:45:00 | 0.62733 | 167.014 | 4.195 | 215.518 | 3.9393 | 38.9847 | 0 | 355.912 | 26.46 | 973.515 | 23.9176 | 2.2132