## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-24 00:00:00 | 2.648 | 169.747 | 5.2177 | 210.444 | 3.6837 | 40.5216 | 1.2627 | 353.277 | 26.46 | 973.507 | 23.5075 | 4.4264
2019-03-24 00:15:00 | 0 | 162.624 | 4.7063 | 208.859 | 4.4507 | 43.0345 | 0 | 349.985 | 26.46 | 973.362 | 24.0543 | 6.2369
2019-03-24 00:30:00 | 0 | 167.617 | 5.729 | 210.117 | 5.4733 | 42.9106 | 0.75133 | 350.481 | 26.46 | 973.366 | 25.0782 | 9.8763
2019-03-24 00:45:00 | 0 | 158.343 | 5.729 | 197.353 | 4.7063 | 42.7631 | 5.4733 | 346.618 | 26.46 | 973.186 | 25.2142 | 11.8087
2019-03-24 01:00:00 | 2.276 | 163.538 | 6.2403 | 198.766 | 5.729 | 43.1287 | 3.6837 | 349.518 | 26.46 | 972.863 | 24.9407 | 17.3251
2019-03-24 01:15:00 | 5.2013 | 153.138 | 7.263 | 209.048 | 5.9847 | 44.7851 | 5.729 | 351.597 | 26.46 | 972.717 | 23.9145 | 19.664
2019-03-24 01:30:00 | 11.3293 | 156.622 | 7.5187 | 196.553 | 5.729 | 47.6134 | 7.0073 | 339.123 | 26.46 | 972.677 | 24.4604 | 24.5966
2019-03-24 01:45:00 | 13.8827 | 163.715 | 6.7517 | 198.449 | 6.2403 | 47.8315 | 3.9393 | 340.552 | 26.46 | 972.419 | 24.4597 | 21.5742
2019-03-24 02:00:00 | 0 | 159.759 | 6.7517 | 202.2 | 6.496 | 47.7815 | 0 | 355.129 | 26.46 | 972.461 | 24.0491 | 18.2525
2019-03-24 02:15:00 | 4.946 | 151.755 | 6.496 | 192.902 | 4.7063 | 47.8291 | 8.03 | 356.413 | 26.46 | 972.004 | 24.3901 | 20.935
2019-03-24 02:30:00 | 7.7547 | 165.825 | 6.2403 | 204.141 | 5.9847 | 47.7062 | 4.195 | 355.601 | 26.46 | 972.01 | 24.458 | 22.8415
2019-03-24 02:45:00 | 2.1373 | 179.043 | 5.4733 | 221.358 | 4.7063 | 47.9252 | 5.729 | 354.451 | 26.46 | 971.911 | 25.7558 | 16.5862
2019-03-24 03:00:00 | 0.99933 | 193.408 | 4.962 | 234.869 | 3.6837 | 47.7057 | 4.195 | 14.1459 | 26.46 | 971.881 | 25.8241 | 17.6614
2019-03-24 03:15:00 | 0 | 161.117 | 4.4507 | 236.894 | 4.4507 | 47.7545 | 5.4733 | 6.3412 | 26.46 | 971.583 | 25.8924 | 19.3425
2019-03-24 03:30:00 | 0 | 153.946 | 5.4733 | 209.7 | 5.2177 | 48.0959 | 3.1723 | 349.939 | 26.46 | 971.583 | 25.9607 | 20.4694
2019-03-24 03:45:00 | 13.6273 | 182.555 | 5.9847 | 209.48 | 6.496 | 50.6324 | 6.496 | 0.4634 | 26.46 | 971.286 | 25.7558 | 26.6214
2019-03-24 04:00:00 | 0.62733 | 158.775 | 8.2857 | 199.993 | 7.7743 | 51.5592 | 3.5637 | 347.086 | 26.46 | 970.989 | 24.8676 | 36.2317
2019-03-24 04:15:00 | 6.7333 | 172.555 | 10.8423 | 222.455 | 10.5867 | 55.9981 | 4.962 | 0.19512 | 26.46 | 970.543 | 26.7122 | 37.8574
2019-03-24 04:30:00 | 7.244 | 162.824 | 8.5413 | 213.724 | 7.7743 | 56.8517 | 5.2177 | 336.354 | 26.46 | 970.691 | 25.0726 | 39.9634
2019-03-24 04:45:00 | 8.01 | 153.58 | 7.5187 | 203.7 | 8.03 | 56.9981 | 4.962 | 341.891 | 26.46 | 970.691 | 26.029 | 47.6303
2019-03-24 05:00:00 | 7.4993 | 154.092 | 8.797 | 191.017 | 8.03 | 57.4127 | 4.7063 | 343.964 | 26.46 | 970.394 | 27.6687 | 44.5081
2019-03-24 05:15:00 | 8.5207 | 159.507 | 8.5413 | 191.334 | 8.2857 | 57.6078 | 4.962 | 340.354 | 26.46 | 970.097 | 27.4637 | 50.7044
2019-03-24 05:30:00 | 8.776 | 157.141 | 8.03 | 191.407 | 7.7743 | 57.6322 | 5.2177 | 346.769 | 26.46 | 970.097 | 27.6687 | 53.1023
2019-03-24 05:45:00 | 5.712 | 147.58 | 7.263 | 205.748 | 4.962 | 57.0956 | 4.7063 | 307.892 | 26.46 | 970.097 | 27.2588 | 56.0139
2019-03-24 06:00:00 | 10.8187 | 137.751 | 7.7743 | 199.017 | 7.0073 | 58.5834 | 4.7063 | 323.794 | 26.46 | 970.097 | 26.7464 | 57.5952
2019-03-24 06:15:00 | 3.414 | 143.946 | 6.7517 | 188.773 | 6.7517 | 58.6566 | 3.9393 | 330.574 | 26.46 | 970.097 | 26.5756 | 58.4282
2019-03-24 06:30:00 | 3.6693 | 140.824 | 9.0527 | 212.504 | 9.0527 | 58.8761 | 1.5183 | 327.696 | 26.46 | 969.948 | 27.1904 | 58.2123
2019-03-24 06:45:00 | 5.4567 | 150.58 | 8.2857 | 204.846 | 9.3083 | 59.1687 | 1.007 | 331.281 | 26.46 | 969.948 | 26.5756 | 57.2073
2019-03-24 07:00:00 | 0.99933 | 160.848 | 9.3083 | 215.773 | 6.2403 | 58.8517 | 5.4733 | 343.501 | 26.46 | 970.097 | 26.7122 | 54.7408
2019-03-24 07:15:00 | 5.712 | 143.19 | 7.5187 | 196.041 | 7.7743 | 59.0224 | 5.4733 | 337.793 | 26.46 | 970.394 | 26.9855 | 53.7046
2019-03-24 07:30:00 | 9.542 | 162.726 | 7.263 | 213.748 | 7.0073 | 58.8273 | 3.428 | 329.428 | 26.46 | 970.394 | 27.1904 | 59.9341
2019-03-24 07:45:00 | 2.648 | 148.231 | 7.5187 | 191.532 | 8.2857 | 59.0096 | 3.6837 | 334.355 | 26.46 | 970.691 | 27.7993 | 53.9394
2019-03-24 08:00:00 | 5.9673 | 146.725 | 9.8197 | 204.331 | 10.0753 | 60.3676 | 4.4507 | 347.918 | 26.46 | 970.672 | 28.752 | 53.4422
2019-03-24 08:15:00 | 8.01 | 158.306 | 10.331 | 182.753 | 10.5867 | 60.3676 | 4.195 | 350.698 | 26.46 | 970.398 | 30.391 | 56.0508
2019-03-24 08:30:00 | 4.4353 | 182.807 | 11.098 | 217.786 | 12.3763 | 60.8056 | 1.3827 | 0.39009 | 26.46 | 970.543 | 31.2101 | 56.4145
2019-03-24 08:45:00 | 3.9247 | 178.256 | 8.5413 | 217.422 | 10.331 | 60.8244 | 2.2853 | 351.831 | 26.46 | 970.543 | 32.2998 | 60.6915
2019-03-24 09:00:00 | 9.542 | 194.163 | 9.3083 | 232.838 | 9.564 | 61.1863 | 3.9393 | 334.745 | 26.46 | 970.837 | 35.712 | 58.6958
2019-03-24 09:15:00 | 8.5207 | 162.695 | 9.8197 | 195.715 | 11.3537 | 61.2603 | 4.195 | 349.279 | 26.46 | 970.347 | 34.3468 | 62.3468
2019-03-24 09:30:00 | 6.478 | 147.943 | 9.0527 | 200.513 | 10.331 | 61.0885 | 3.428 | 330.404 | 26.46 | 970.23 | 35.3021 | 55.9445
2019-03-24 09:45:00 | 0 | 164.569 | 7.0073 | 205.381 | 7.0073 | 60.5436 | 4.7063 | 355.511 | 26.46 | 970.414 | 38.8131 | 49.4215
2019-03-24 10:00:00 | 6.7333 | 145.505 | 7.7743 | 209.738 | 9.564 | 59.3721 | 1.127 | 325.571 | 26.46 | 970.439 | 39.7338 | 45.7393
2019-03-24 10:15:00 | 9.0313 | 162.225 | 8.797 | 209.445 | 8.797 | 60.6394 | 5.9847 | 0.70681 | 26.46 | 970.694 | 45.6733 | 37.2847
2019-03-24 10:30:00 | 10.0527 | 145.237 | 9.0527 | 188.387 | 8.5413 | 61.0538 | 2.9167 | 337.392 | 26.46 | 970.396 | 46.5609 | 34.2845
2019-03-24 10:45:00 | 8.5207 | 184.234 | 9.0527 | 232.307 | 10.0753 | 62.7842 | 5.2177 | 356.793 | 26.46 | 970.098 | 48.9504 | 39.1682
2019-03-24 11:00:00 | 0.372 | 185.184 | 10.8423 | 226.214 | 12.1207 | 62.8574 | 4.962 | 3.266 | 26.46 | 969.95 | 52.2274 | 37.5692
2019-03-24 11:15:00 | 5.2013 | 171.633 | 11.3537 | 217.147 | 12.8877 | 63.1498 | 1.2627 | 1.828 | 26.46 | 969.801 | 51.4422 | 49.5996
2019-03-24 11:30:00 | 2.648 | 179.554 | 10.331 | 220.047 | 12.3763 | 63.2961 | 2.4053 | 356.866 | 26.46 | 969.653 | 51.4081 | 44.7372
2019-03-24 11:45:00 | 0.372 | 179.963 | 9.564 | 221.649 | 8.5413 | 62.4168 | 1.007 | 355.442 | 26.46 | 969.801 | 52.1575 | 35.3486
2019-03-24 12:00:00 | 12.0953 | 173.041 | 9.8197 | 243.107 | 9.0527 | 62.5539 | 3.9393 | 61.8716 | 26.46 | 969.801 | 51.2626 | 29.1871
2019-03-24 12:15:00 | 17.4573 | 163.414 | 7.5187 | 207.575 | 8.03 | 62.5046 | 7.263 | 2.7536 | 26.46 | 969.95 | 50.7843 | 28.89
2019-03-24 12:30:00 | 4.946 | 176.965 | 8.2857 | 227.317 | 9.0527 | 62.3835 | 6.7517 | 0.19495 | 26.46 | 969.504 | 49.9658 | 23.8318
2019-03-24 12:45:00 | 0.372 | 187.102 | 7.7743 | 225.489 | 8.797 | 62.7004 | 1.894 | 13.6464 | 26.46 | 969.504 | 49.3515 | 24.2862
2019-03-24 13:00:00 | 0.62733 | 138.412 | 6.2403 | 189.519 | 6.7517 | 62.0905 | 4.962 | 331.897 | 26.46 | 969.356 | 46.8254 | 22.4388
2019-03-24 13:15:00 | 11.84 | 157.274 | 8.797 | 196.334 | 8.797 | 62.2029 | 5.4733 | 344.589 | 26.46 | 969.012 | 44.8391 | 25.9526
2019-03-24 13:30:00 | 0 | 194.769 | 7.7743 | 240.821 | 7.5187 | 62.0075 | 5.729 | 1.9735 | 26.46 | 968.617 | 46.818 | 23.4955
2019-03-24 13:45:00 | 1.6267 | 201.226 | 6.496 | 198.281 | 6.496 | 61.7882 | 4.195 | 338.422 | 26.46 | 968.466 | 45.0435 | 25.5646
2019-03-24 14:00:00 | 0 | 179.688 | 7.0073 | 215.945 | 9.3083 | 62.7385 | 4.7063 | 10.0625 | 26.46 | 968.318 | 44.8388 | 30.7559
2019-03-24 14:15:00 | 8.2653 | 177.055 | 9.0527 | 228.711 | 6.2403 | 62.1289 | 5.2177 | 349.091 | 26.46 | 968.318 | 42.0403 | 39.9774
2019-03-24 14:30:00 | 0.372 | 178.755 | 7.7743 | 225.511 | 8.797 | 62.5655 | 4.195 | 3.9956 | 26.46 | 968.021 | 42.039 | 43.1199
2019-03-24 14:45:00 | 6.478 | 184.307 | 11.3537 | 216.396 | 11.3537 | 63.4173 | 5.729 | 0.24363 | 26.46 | 967.427 | 40.3323 | 49.6424
2019-03-24 15:00:00 | 0.62733 | 177.982 | 11.865 | 221.426 | 9.564 | 63.323 | 2.9167 | 0.19492 | 26.46 | 967.427 | 39.1741 | 49.7073
2019-03-24 15:15:00 | 5.9673 | 195.66 | 7.7743 | 216.2 | 8.03 | 62.8812 | 5.2177 | 11.743 | 26.46 | 967.279 | 41.4241 | 42.8676
2019-03-24 15:30:00 | 6.106 | 174.874 | 8.03 | 221.36 | 7.5187 | 62.7579 | 2.541 | 3.4351 | 26.46 | 967.279 | 43.4022 | 42.5991
2019-03-24 15:45:00 | 11.074 | 160.209 | 10.0753 | 231.838 | 8.5413 | 63.3431 | 4.7063 | 339.227 | 26.46 | 966.982 | 41.8329 | 46.8534
2019-03-24 16:00:00 | 3.414 | 179.562 | 10.5867 | 230.193 | 9.0527 | 63.1757 | 5.9847 | 354.032 | 26.46 | 966.24 | 41.016 | 43.9834
2019-03-24 16:15:00 | 11.074 | 164.382 | 8.2857 | 219.69 | 8.2857 | 62.9071 | 2.4053 | 347.012 | 26.46 | 966.536 | 42.1417 | 48.6648
2019-03-24 16:30:00 | 1.882 | 171.67 | 12.3763 | 216.722 | 11.3537 | 63.4931 | 5.9847 | 354.718 | 26.46 | 966.091 | 40.8117 | 47.5674
2019-03-24 16:45:00 | 4.18 | 175.668 | 9.564 | 234.56 | 9.564 | 63.4937 | 3.9393 | 341.809 | 26.46 | 966.091 | 40.0955 | 48.9704
2019-03-24 17:00:00 | 7.7547 | 166.726 | 8.03 | 219.697 | 9.3083 | 63.3963 | 4.195 | 1.7542 | 26.46 | 965.943 | 39.4472 | 40.5599
2019-03-24 17:15:00 | 4.4353 | 193.527 | 11.3537 | 217.894 | 8.5413 | 63.2501 | 3.1723 | 6.9682 | 26.46 | 965.943 | 39.7884 | 47.6266
2019-03-24 17:30:00 | 3.6693 | 177.86 | 7.5187 | 223.888 | 8.2857 | 63.1526 | 5.2177 | 0.3411 | 26.46 | 965.794 | 39.9249 | 48.9399
2019-03-24 17:45:00 | 6.478 | 182.343 | 7.5187 | 226.373 | 8.5413 | 63.2501 | 5.2177 | 2.8263 | 26.46 | 966.028 | 39.3789 | 52.2008
2019-03-24 18:00:00 | 3.1587 | 167.856 | 11.865 | 212.328 | 11.865 | 63.936 | 3.1723 | 348.261 | 26.46 | 965.754 | 39.1765 | 57.9187
2019-03-24 18:15:00 | 5.4567 | 171.65 | 10.0753 | 218.906 | 9.3083 | 63.2111 | 2.0297 | 2.4368 | 26.46 | 966.238 | 39.7263 | 57.6219
2019-03-24 18:30:00 | 6.2227 | 187.028 | 11.865 | 236.747 | 13.1433 | 64.0405 | 5.4733 | 11.8918 | 26.46 | 965.644 | 39.7268 | 52.2488
2019-03-24 18:45:00 | 5.9673 | 194.555 | 11.098 | 236.06 | 12.632 | 64.1368 | 5.2177 | 6.6037 | 26.46 | 965.941 | 38.907 | 58.6577
2019-03-24 19:00:00 | 4.18 | 166.872 | 12.3763 | 209.522 | 12.8877 | 65.0625 | 3.428 | 340.859 | 26.46 | 965.941 | 38.9751 | 58.1221
2019-03-24 19:15:00 | 4.4353 | 162.899 | 8.03 | 229.721 | 8.5413 | 64.4527 | 4.962 | 346.095 | 26.46 | 966.386 | 39.4184 | 53.2501
2019-03-24 19:30:00 | 1.2547 | 196.721 | 9.0527 | 237.397 | 8.03 | 64.2821 | 5.9847 | 86.9442 | 26.46 | 966.534 | 40.8177 | 51.0849
2019-03-24 19:45:00 | 5.2013 | 190.586 | 9.8197 | 228.12 | 9.8197 | 64.6497 | 3.9393 | 4.9224 | 26.46 | 966.534 | 41.4333 | 52.1564
2019-03-24 20:00:00 | 8.01 | 159.249 | 8.2857 | 230.777 | 9.0527 | 65.5515 | 5.4733 | 355.099 | 26.46 | 966.831 | 42.5597 | 55.1788
2019-03-24 20:15:00 | 8.2653 | 169.474 | 13.399 | 233.504 | 12.8877 | 66.6537 | 3.9393 | 356.835 | 26.46 | 966.386 | 43.0753 | 60.8689
2019-03-24 20:30:00 | 6.7333 | 196.285 | 11.3537 | 235.312 | 12.1207 | 67.045 | 4.962 | 344.998 | 26.46 | 966.238 | 42.6666 | 64.0169
2019-03-24 20:45:00 | 4.18 | 169.194 | 9.3083 | 209.247 | 10.331 | 66.5856 | 5.4733 | 356.862 | 26.46 | 966.534 | 43.6247 | 60.7248
2019-03-24 21:00:00 | 12.3507 | 178.994 | 9.0527 | 213.71 | 9.8197 | 66.2208 | 5.2177 | 3.7778 | 26.46 | 966.534 | 46.4926 | 55.3599
2019-03-24 21:15:00 | 9.0313 | 164.37 | 9.0527 | 225.751 | 9.0527 | 66.7326 | 2.2853 | 338.391 | 26.46 | 966.534 | 46.1512 | 55.7462
2019-03-24 21:30:00 | 4.6907 | 173.29 | 10.0753 | 204.449 | 10.0753 | 66.952 | 3.9393 | 2.8272 | 26.46 | 966.534 | 47.3801 | 55.2232
2019-03-24 21:45:00 | 2.648 | 175.143 | 13.1433 | 222.216 | 14.933 | 67.3907 | 3.428 | 347.239 | 26.46 | 966.238 | 47.2436 | 58.1125
2019-03-24 22:00:00 | 0.372 | 181.723 | 7.0073 | 214.247 | 7.263 | 65.9527 | 3.428 | 356.817 | 26.46 | 966.534 | 49.4282 | 60.7285
2019-03-24 22:15:00 | 3.6693 | 152.378 | 10.331 | 205.204 | 11.6093 | 66.7814 | 1.894 | 349.7 | 26.46 | 965.941 | 50.1109 | 60.6546
2019-03-24 22:30:00 | 8.776 | 174.631 | 7.0073 | 187.022 | 6.496 | 66.1477 | 2.9167 | 176.483 | 26.46 | 966.295 | 48.6431 | 61.7667
2019-03-24 22:45:00 | 6.9887 | 180.188 | 9.564 | 208.519 | 10.0753 | 66.4645 | 5.729 | 347.629 | 26.46 | 966.017 | 53.7293 | 59.4226
2019-03-24 23:00:00 | 0.372 | 161.981 | 10.0753 | 205.692 | 9.564 | 66.4645 | 1.2627 | 338.343 | 26.46 | 965.72 | 57.1087 | 64.7633
2019-03-24 23:15:00 | 5.4567 | 173.439 | 10.5867 | 219.904 | 10.5867 | 66.7335 | 5.4733 | 343.49 | 26.46 | 965.57 | 58.4749 | 68.1256
2019-03-24 23:30:00 | 2.3927 | 151.671 | 11.098 | 201.973 | 10.0753 | 66.6212 | 4.4507 | 341.053 | 26.46 | 965.583 | 58.1761 | 71.196
2019-03-24 23:45:00 | 3.9247 | 162.955 | 4.4507 | 219.934 | 3.1723 | 65.2793 | 5.729 | 343.923 | 26.46 | 965.58 | 57.3215 | 67.3775