## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-25 00:00:00 | 0 | 153.283 | 8.2857 | 206.537 | 10.331 | 66.9396 | 4.7063 | 337.94 | 26.46 | 965.471 | 56.7434 | 64.1906
2019-03-25 00:15:00 | 0 | 152.089 | 10.331 | 201.929 | 11.098 | 67.0126 | 4.195 | 334.746 | 26.46 | 965.517 | 56.1287 | 63.9984
2019-03-25 00:30:00 | 1.7653 | 154.477 | 9.0527 | 211.069 | 8.797 | 66.5002 | 5.4733 | 334.061 | 26.46 | 965.568 | 56.1967 | 68.6059
2019-03-25 00:45:00 | 2.648 | 169.712 | 9.0527 | 204.56 | 4.962 | 65.5252 | 5.729 | 349.516 | 26.46 | 965.459 | 55.6504 | 64.0575
2019-03-25 01:00:00 | 0 | 148.334 | 8.03 | 192.129 | 11.3537 | 66.9151 | 5.4733 | 333.381 | 26.46 | 964.898 | 55.8556 | 68.8703
2019-03-25 01:15:00 | 0 | 150.076 | 8.03 | 190.17 | 6.496 | 65.8959 | 1.5183 | 337.354 | 26.46 | 965.047 | 55.9962 | 67.442
2019-03-25 01:30:00 | 0 | 155.5 | 7.0073 | 205.106 | 7.5187 | 66.0471 | 1.1427 | 338.574 | 26.46 | 964.75 | 55.7955 | 67.878
2019-03-25 01:45:00 | 2.3927 | 146.017 | 7.263 | 209.082 | 8.797 | 66.2184 | 1.3827 | 335.724 | 26.46 | 964.453 | 55.2496 | 69.1232
2019-03-25 02:00:00 | 0 | 148.554 | 9.8197 | 208.45 | 6.7517 | 66.1702 | 3.9393 | 339.799 | 26.46 | 964.453 | 54.7037 | 64.8335
2019-03-25 02:15:00 | 0.372 | 133.096 | 7.7743 | 189.36 | 5.9847 | 66.024 | 2.4053 | 321.586 | 26.46 | 963.859 | 54.8404 | 71.6061
2019-03-25 02:30:00 | 0 | 168.741 | 7.0073 | 198.357 | 8.797 | 66.4384 | 2.1497 | 336.678 | 26.46 | 963.859 | 55.5233 | 72.6316
2019-03-25 02:45:00 | 1.116 | 148.188 | 8.2857 | 219.764 | 9.8197 | 66.4872 | 4.195 | 333.46 | 26.46 | 963.562 | 56.4794 | 73.4129
2019-03-25 03:00:00 | 0 | 143.824 | 10.331 | 198.869 | 9.564 | 66.3409 | 0.37567 | 335.752 | 26.46 | 963.413 | 57.1624 | 75.9985
2019-03-25 03:15:00 | 0 | 141.508 | 11.098 | 211.718 | 10.8423 | 66.6091 | 5.2177 | 327.462 | 26.46 | 963.265 | 58.016 | 76.7161
2019-03-25 03:30:00 | 0 | 149.992 | 11.3537 | 202.038 | 10.0753 | 66.8529 | 4.195 | 331.241 | 26.46 | 963.265 | 58.2551 | 73.5089
2019-03-25 03:45:00 | 0 | 155.99 | 11.098 | 209.158 | 11.3537 | 67.048 | 1.6383 | 340.53 | 26.46 | 962.968 | 58.5965 | 68.5061
2019-03-25 04:00:00 | 0.744 | 156.575 | 11.098 | 205.744 | 10.331 | 66.731 | 4.962 | 335.337 | 26.46 | 962.968 | 59.4161 | 70.8655
2019-03-25 04:15:00 | 0 | 158.696 | 8.797 | 210.279 | 11.6093 | 66.8285 | 1.894 | 340.36 | 26.46 | 962.522 | 59.6893 | 59.8989
2019-03-25 04:30:00 | 0 | 150.992 | 10.5867 | 207.451 | 10.331 | 66.6822 | 5.729 | 340.969 | 26.46 | 962.671 | 59.4161 | 65.2013
2019-03-25 04:45:00 | 1.3713 | 129.805 | 7.7743 | 207.061 | 9.0527 | 66.4141 | 3.6837 | 329.973 | 26.46 | 962.671 | 60.7137 | 66.6476
2019-03-25 05:00:00 | 2.1373 | 139.655 | 11.865 | 200.551 | 12.3763 | 67.048 | 5.4733 | 320.514 | 26.46 | 962.374 | 60.0649 | 69.6737
2019-03-25 05:15:00 | 4.946 | 139.265 | 9.3083 | 204.501 | 8.797 | 66.4628 | 3.1723 | 320.782 | 26.46 | 962.671 | 59.6893 | 64.0501
2019-03-25 05:30:00 | 2.9033 | 136.875 | 9.0527 | 194.237 | 8.2857 | 66.1459 | 3.9393 | 328.145 | 26.46 | 963.116 | 59.8941 | 52.5259
2019-03-25 05:45:00 | 1.2547 | 143.214 | 9.3083 | 197.528 | 9.0527 | 66.4384 | 1.6383 | 327.706 | 26.46 | 962.671 | 60.2356 | 66.4103
2019-03-25 06:00:00 | 0.62733 | 144.604 | 9.8197 | 201.185 | 9.564 | 66.4628 | 3.9393 | 336.995 | 26.46 | 962.968 | 59.86 | 65.5671
2019-03-25 06:15:00 | 2.3927 | 148.505 | 9.564 | 198.625 | 8.797 | 66.5116 | 5.729 | 338.19 | 26.46 | 962.968 | 60.5088 | 59.7788
2019-03-25 06:30:00 | 0.99933 | 156.722 | 9.8197 | 207.987 | 8.797 | 66.6579 | 2.4053 | 339.848 | 26.46 | 963.277 | 60.6795 | 54.1701
2019-03-25 06:45:00 | 3.6693 | 152.406 | 10.331 | 202.697 | 10.8423 | 66.5847 | 5.729 | 337.239 | 26.46 | 963.329 | 61.0551 | 52.5998
2019-03-25 07:00:00 | 4.0633 | 162.159 | 7.263 | 217.594 | 7.0073 | 65.9752 | 2.541 | 341.481 | 26.46 | 963.663 | 60.8503 | 43.8356
2019-03-25 07:15:00 | 2.3927 | 158.038 | 9.0527 | 199.186 | 7.7743 | 66.3409 | 5.4733 | 330.51 | 26.46 | 963.714 | 60.2356 | 40.4733
2019-03-25 07:30:00 | 14.904 | 151.602 | 7.5187 | 198.991 | 7.5187 | 66.1459 | 7.0073 | 328.901 | 26.46 | 963.859 | 60.3039 | 31.5466
2019-03-25 07:45:00 | 2.1373 | 152.089 | 9.0527 | 198.016 | 9.3083 | 66.3165 | 1.894 | 338.653 | 26.46 | 964.453 | 59.2453 | 30.5822
2019-03-25 08:00:00 | 1.2547 | 128.735 | 5.729 | 192.275 | 7.263 | 66.086 | 4.7063 | 316.535 | 26.46 | 964.401 | 57.0162 | 24.5079
2019-03-25 08:15:00 | 0 | 150.015 | 6.2403 | 175.714 | 5.2177 | 65.7336 | 4.7063 | 343.584 | 26.46 | 964.811 | 55.095 | 21.5705
2019-03-25 08:30:00 | 0 | 137.657 | 5.9847 | 187.266 | 4.962 | 65.709 | 2.541 | 321.745 | 26.46 | 965.199 | 54.5486 | 20.6727
2019-03-25 08:45:00 | 0 | 137.459 | 6.2403 | 193.208 | 5.2177 | 65.8048 | 4.195 | 322.249 | 26.46 | 965.05 | 53.8645 | 21.0902
2019-03-25 09:00:00 | 0 | 156.589 | 5.2177 | 195.315 | 3.1723 | 65.6473 | 0.63133 | 327.067 | 26.46 | 965.347 | 51.7393 | 13.6635
2019-03-25 09:15:00 | 0 | 153.725 | 3.9393 | 199.099 | 4.195 | 65.6907 | 5.2177 | 336.275 | 26.46 | 965.941 | 50.5065 | 9.5955
2019-03-25 09:30:00 | 0 | 139.706 | 3.1723 | 204.299 | 4.4507 | 65.6866 | 0 | 326.947 | 26.46 | 966.245 | 48.0464 | 6.9796
2019-03-25 09:45:00 | 0 | 150.995 | 4.7063 | 199.939 | 4.195 | 65.6796 | 1.007 | 321.528 | 26.46 | 966.388 | 47.2907 | 8.0954
2019-03-25 10:00:00 | 0 | 134.132 | 4.4507 | 190.856 | 5.4733 | 65.7631 | 0.37567 | 312.35 | 26.46 | 966.24 | 46.0526 | 9.1484
2019-03-25 10:15:00 | 0 | 149.644 | 5.729 | 203.297 | 4.195 | 65.6642 | 0.37567 | 350.095 | 26.46 | 966.833 | 46.1198 | 5.195
2019-03-25 10:30:00 | 0 | 163.868 | 3.428 | 203.687 | 4.195 | 65.6642 | 2.541 | 337.43 | 26.46 | 967.101 | 42.1286 | 4.3119
2019-03-25 10:45:00 | 0 | 165.305 | 3.9393 | 224.755 | 3.6837 | 65.6398 | 0.37567 | 351.021 | 26.46 | 966.862 | 41.8898 | 3.9165
2019-03-25 11:00:00 | 0 | 162.099 | 2.9167 | 208 | 3.1723 | 65.5604 | 0.37567 | 342.268 | 26.46 | 967.132 | 39.6005 | 4.4116
2019-03-25 11:15:00 | 0 | 156.34 | 3.428 | 207.715 | 4.4507 | 65.6043 | 4.962 | 327.9 | 26.46 | 967.132 | 41.6781 | 4.8439
2019-03-25 11:30:00 | 0 | 160.723 | 5.4733 | 203.259 | 5.9847 | 65.6773 | 0.37567 | 348.38 | 26.46 | 966.984 | 40.8595 | 4.5557
2019-03-25 11:45:00 | 0 | 158.142 | 4.962 | 207.594 | 5.2177 | 65.653 | 5.2177 | 344.581 | 26.46 | 967.132 | 42.0873 | 4.7035
2019-03-25 12:00:00 | 1.2547 | 138.344 | 4.962 | 187.065 | 4.195 | 65.653 | 5.9847 | 310.585 | 26.46 | 967.28 | 40.9959 | 5.0545
2019-03-25 12:15:00 | 0 | 159.992 | 5.4733 | 209.614 | 5.2177 | 65.8231 | 5.4733 | 332.306 | 26.46 | 966.687 | 40.45 | 4.8809
2019-03-25 12:30:00 | 0 | 175.261 | 6.2403 | 225.03 | 6.496 | 65.799 | 1.5183 | 351.326 | 26.46 | 966.687 | 38.9495 | 4.9844
2019-03-25 12:45:00 | 0 | 191.653 | 7.5187 | 233.97 | 6.2403 | 65.8486 | 0.37567 | 11.2995 | 26.46 | 966.538 | 38.6772 | 5.764
2019-03-25 13:00:00 | 0 | 182.791 | 5.4733 | 220.271 | 4.4507 | 65.7611 | 2.9167 | 356.815 | 26.46 | 966.242 | 38.1372 | 6.6175
2019-03-25 13:15:00 | 0 | 177.507 | 4.962 | 233.499 | 5.729 | 65.7616 | 0.75133 | 18.5594 | 26.46 | 966.271 | 36.4319 | 4.9511
2019-03-25 13:30:00 | 0 | 189.247 | 7.263 | 237.103 | 7.0073 | 65.859 | 3.1723 | 30.8105 | 26.46 | 965.99 | 36.2954 | 4.5927
2019-03-25 13:45:00 | 0 | 192.219 | 4.7063 | 239.271 | 5.2177 | 65.7128 | 4.195 | 14.224 | 26.46 | 966.275 | 35.4767 | 3.9202
2019-03-25 14:00:00 | 0 | 185.738 | 4.7063 | 225.142 | 4.4507 | 65.6634 | 3.9393 | 9.3527 | 26.46 | 966.687 | 34.2484 | 0.97913
2019-03-25 14:15:00 | 0 | 183.079 | 3.9393 | 220.185 | 5.2177 | 65.5804 | 5.729 | 0.90103 | 26.46 | 966.687 | 33.2199 | 0.85351
2019-03-25 14:30:00 | 0 | 198.225 | 3.6837 | 238.691 | 5.2177 | 65.8234 | 0.887 | 15.5853 | 26.46 | 966.835 | 32.7081 | 0.96435
2019-03-25 14:45:00 | 0 | 182.986 | 3.428 | 237.422 | 4.7063 | 65.5727 | 2.0297 | 1.2905 | 26.46 | 967.132 | 29.3967 | 0.42491
2019-03-25 15:00:00 | 0 | 136.324 | 4.195 | 187.371 | 3.1723 | 65.447 | 0 | 341.99 | 26.46 | 966.911 | 28.2353 | 0.99391
2019-03-25 15:15:00 | 0 | 183.485 | 4.962 | 232.755 | 5.4733 | 65.6904 | 0 | 0.19478 | 26.46 | 966.54 | 25.7801 | 0.85351
2019-03-25 15:30:00 | 0 | 215.43 | 2.4053 | 260.536 | 2.661 | 65.447 | 0 | 38.1044 | 26.46 | 966.837 | 24.2114 | 0.025864
2019-03-25 15:45:00 | 0 | 180.807 | 3.428 | 227.925 | 3.428 | 65.4381 | 3.9393 | 0.29213 | 26.46 | 966.837 | 26.6631 | 0.018474
2019-03-25 16:00:00 | 0 | 180.728 | 3.9393 | 230.059 | 3.428 | 65.4359 | 3.1723 | 349.381 | 26.46 | 966.985 | 25.5711 | -0.19952
2019-03-25 16:15:00 | 0 | 173.132 | 3.1723 | 212.141 | 3.9393 | 65.4358 | 0.37567 | 343.976 | 26.46 | 967.43 | 26.3212 | -0.22169
2019-03-25 16:30:00 | 0 | 182.018 | 4.4507 | 221.148 | 4.195 | 65.4845 | 4.7063 | 0.80334 | 26.46 | 966.985 | 26.5257 | -0.2143
2019-03-25 16:45:00 | 0 | 173.843 | 3.6837 | 222.932 | 3.9393 | 65.4375 | 0 | 7.8876 | 26.46 | 966.837 | 26.7992 | 0.11454
2019-03-25 17:00:00 | 0 | 154.169 | 4.4507 | 204.534 | 3.6837 | 65.4465 | 0 | 325.723 | 26.46 | 966.837 | 27.4848 | 1.0382
2019-03-25 17:15:00 | 0 | 184.849 | 4.962 | 233.412 | 5.9847 | 65.6417 | 0 | 0.68174 | 26.46 | 966.54 | 26.1893 | 3.1406
2019-03-25 17:30:00 | 0 | 145.834 | 6.2403 | 200.054 | 5.4733 | 65.6243 | 0.887 | 320.792 | 26.46 | 966.525 | 35.673 | 5.3317
2019-03-25 17:45:00 | 0 | 152.346 | 5.729 | 204.939 | 4.7063 | 65.5068 | 3.6837 | 338.346 | 26.46 | 966.39 | 39.3588 | 8.561
2019-03-25 18:00:00 | 0.372 | 152.128 | 5.4733 | 189.17 | 4.4507 | 65.4691 | 4.4507 | 329.318 | 26.46 | 965.993 | 41.5485 | 14.9567
2019-03-25 18:15:00 | 0 | 151.982 | 5.2177 | 204.539 | 4.7063 | 65.6154 | 2.1497 | 333.46 | 26.46 | 965.936 | 42.4356 | 20.547
2019-03-25 18:30:00 | 0 | 147.241 | 4.4507 | 194.541 | 4.195 | 65.4731 | 5.2177 | 328.413 | 26.46 | 966.091 | 43.1204 | 19.1245
2019-03-25 18:45:00 | 0.372 | 149.449 | 3.9393 | 200.422 | 3.6837 | 65.442 | 3.1723 | 327.38 | 26.46 | 966.239 | 42.7907 | 19.4386
2019-03-25 19:00:00 | 0 | 163.217 | 4.7063 | 199.865 | 4.195 | 65.4916 | 1.5183 | 344.026 | 26.46 | 966.239 | 42.5866 | 13.9554
2019-03-25 19:15:00 | 0 | 151.06 | 5.2177 | 203.203 | 5.2177 | 65.6865 | 5.9847 | 348.753 | 26.46 | 966.243 | 41.9724 | 19.3573
2019-03-25 19:30:00 | 0 | 153.472 | 6.496 | 199.621 | 6.2403 | 65.7596 | 4.195 | 339.981 | 26.46 | 966.331 | 42.6548 | 27.6596
2019-03-25 19:45:00 | 0.62733 | 176.114 | 8.2857 | 209.475 | 7.5187 | 65.7871 | 4.4507 | 350.133 | 26.46 | 966.517 | 43.3393 | 32.2856
2019-03-25 20:00:00 | 0 | 155.225 | 5.4733 | 198.924 | 5.4733 | 65.5504 | 5.9847 | 343.518 | 26.46 | 966.83 | 43.7535 | 29.0008
2019-03-25 20:15:00 | 0.372 | 153.912 | 6.2403 | 195.077 | 5.729 | 65.6001 | 5.729 | 340.502 | 26.46 | 966.831 | 44.9828 | 25.0178
2019-03-25 20:30:00 | 3.1587 | 153.449 | 6.2403 | 198.757 | 6.2403 | 65.649 | 3.6837 | 340.551 | 26.46 | 967.128 | 46.0751 | 29.5662
2019-03-25 20:45:00 | 6.478 | 159.66 | 8.2857 | 198.168 | 7.7743 | 65.8915 | 3.9393 | 345.297 | 26.46 | 967.128 | 43.3781 | 31.4468
2019-03-25 21:00:00 | 4.18 | 157.177 | 8.03 | 206.457 | 8.03 | 65.8927 | 4.4507 | 345.937 | 26.46 | 967.425 | 43.2764 | 33.4494
2019-03-25 21:15:00 | 8.5207 | 150.695 | 7.0073 | 197.953 | 8.797 | 66.0389 | 4.962 | 342.403 | 26.46 | 967.722 | 43.3447 | 38.0939
2019-03-25 21:30:00 | 3.6693 | 171.942 | 10.0753 | 214.763 | 7.5187 | 65.989 | 2.1497 | 354.143 | 26.46 | 967.722 | 44.1631 | 38.7146
2019-03-25 21:45:00 | 3.414 | 171.604 | 9.0527 | 214.84 | 8.03 | 65.8927 | 5.729 | 354.514 | 26.46 | 967.722 | 44.5734 | 35.8067
2019-03-25 22:00:00 | 6.2227 | 162.807 | 8.797 | 204.045 | 8.03 | 66.0389 | 5.2177 | 351.468 | 26.46 | 967.722 | 43.7543 | 36.542
2019-03-25 22:15:00 | 0.99933 | 161.953 | 8.5413 | 205.263 | 8.2857 | 66.0631 | 3.428 | 348.031 | 26.46 | 967.871 | 44.1637 | 37.2625
2019-03-25 22:30:00 | 1.6267 | 156.3 | 9.3083 | 205.824 | 8.2857 | 66.112 | 5.9847 | 346.327 | 26.46 | 967.722 | 42.9352 | 41.4081
2019-03-25 22:45:00 | 0.744 | 153.132 | 7.5187 | 202.095 | 8.03 | 66.1851 | 4.962 | 343.11 | 26.46 | 967.574 | 45.1536 | 41.0571
2019-03-25 23:00:00 | 0.372 | 147.379 | 8.5413 | 194.05 | 7.5187 | 65.9646 | 1.3827 | 333.771 | 26.46 | 967.425 | 44.2995 | 48.2842
2019-03-25 23:15:00 | 5.4567 | 144.554 | 6.7517 | 195.345 | 6.496 | 65.8925 | 1.6383 | 329.584 | 26.46 | 967.425 | 44.9145 | 52.6072
2019-03-25 23:30:00 | 5.712 | 146.31 | 8.2857 | 190.838 | 7.0073 | 65.8199 | 5.9847 | 328.442 | 26.46 | 967.425 | 46.9968 | 47.923
2019-03-25 23:45:00 | 1.51 | 159.59 | 9.8197 | 201.389 | 8.2857 | 65.9414 | 5.4733 | 337.749 | 26.46 | 967.425 | 46.7577 | 54.898