## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-26 00:00:00 | 0.99933 | 140.366 | 8.03 | 185.432 | 7.5187 | 66.1134 | 1.2627 | 328.544 | 26.46 | 967.425 | 48.2604 | 55.1234
2019-03-26 00:15:00 | 3.1587 | 146.165 | 7.5187 | 196.225 | 7.7743 | 65.9667 | 5.729 | 325.691 | 26.46 | 967.425 | 48.7378 | 58.9069
2019-03-26 00:30:00 | 2.9033 | 142.241 | 7.5187 | 202.659 | 11.6093 | 66.7465 | 4.962 | 340.044 | 26.46 | 967.128 | 48.6013 | 60.5807
2019-03-26 00:45:00 | 0.372 | 146.817 | 6.2403 | 203.893 | 7.263 | 66.2322 | 4.962 | 319.294 | 26.46 | 967.277 | 51.125 | 62.7533
2019-03-26 01:00:00 | 4.18 | 164.122 | 12.1207 | 205.117 | 12.3763 | 67.2329 | 2.9167 | 351.931 | 26.46 | 966.98 | 52.4232 | 55.0421
2019-03-26 01:15:00 | 1.3713 | 164.295 | 11.098 | 204.803 | 10.0753 | 66.6488 | 4.4507 | 332.148 | 26.46 | 967.128 | 54.4716 | 52.8622
2019-03-26 01:30:00 | 2.3927 | 165.47 | 10.5867 | 224.916 | 11.098 | 66.8461 | 5.4733 | 341.858 | 26.46 | 967.128 | 53.1765 | 52.8252
2019-03-26 01:45:00 | 2.9033 | 146.266 | 11.865 | 195.012 | 12.1207 | 67.0892 | 1.894 | 334.934 | 26.46 | 966.534 | 57.5447 | 61.3124
2019-03-26 02:00:00 | 2.1373 | 151.883 | 9.8197 | 212.991 | 9.564 | 66.8997 | 1.007 | 342.005 | 26.46 | 966.534 | 58.9148 | 65.953
2019-03-26 02:15:00 | 5.712 | 167.124 | 10.0753 | 214.856 | 9.564 | 66.4888 | 3.6837 | 349.456 | 26.46 | 966.534 | 58.6448 | 63.0858
2019-03-26 02:30:00 | 3.414 | 162.249 | 12.8877 | 195.065 | 12.632 | 67.2444 | 4.7063 | 347.092 | 26.46 | 966.238 | 57.177 | 65.345
2019-03-26 02:45:00 | 2.3927 | 143.019 | 11.098 | 204.254 | 11.3537 | 67.1226 | 3.428 | 327.74 | 26.46 | 966.238 | 61.1026 | 66.2227
2019-03-26 03:00:00 | 3.6693 | 157.619 | 13.399 | 209.372 | 12.1207 | 67.2444 | 3.6837 | 346.897 | 26.46 | 965.941 | 54.7534 | 64.6376
2019-03-26 03:15:00 | 5.4567 | 155.449 | 10.331 | 219.974 | 8.03 | 66.3914 | 5.2177 | 325.937 | 26.46 | 966.386 | 50.7254 | 53.6972
2019-03-26 03:30:00 | 4.4353 | 157.984 | 7.263 | 198.429 | 8.03 | 66.2452 | 4.4507 | 323.743 | 26.46 | 966.534 | 55.3678 | 43.2629
2019-03-26 03:45:00 | 0.62733 | 150.039 | 11.3537 | 201.183 | 9.0527 | 66.6839 | 4.962 | 342.023 | 26.46 | 966.238 | 54.2755 | 51.5357
2019-03-26 04:00:00 | 7.8933 | 139.168 | 7.263 | 200.476 | 6.7517 | 66.1964 | 5.9847 | 328.74 | 26.46 | 966.386 | 57.6208 | 53.845
2019-03-26 04:15:00 | 1.2547 | 140.923 | 10.5867 | 196.284 | 8.5413 | 66.4889 | 2.661 | 325.279 | 26.46 | 965.941 | 61.5805 | 61.8074
2019-03-26 04:30:00 | 2.5313 | 147.48 | 9.564 | 215.343 | 9.0527 | 66.6107 | 5.9847 | 328.252 | 26.46 | 965.941 | 61.4098 | 74.5234
2019-03-26 04:45:00 | 3.414 | 158.667 | 12.3763 | 205.302 | 10.5867 | 66.9276 | 4.4507 | 346.239 | 26.46 | 965.651 | 60.6929 | 75.5226
2019-03-26 05:00:00 | 5.712 | 153.402 | 13.6547 | 211.517 | 12.1207 | 67.3419 | 5.2177 | 340.682 | 26.46 | 965.644 | 60.0102 | 72.1086
2019-03-26 05:15:00 | 0 | 153.743 | 9.3083 | 200.281 | 10.8423 | 66.8301 | 0.63133 | 330.543 | 26.46 | 965.966 | 61.1026 | 70.1762
2019-03-26 05:30:00 | 4.6907 | 142.654 | 12.3763 | 186.632 | 10.331 | 66.9032 | 5.729 | 326.449 | 26.46 | 965.644 | 60.2833 | 66.001
2019-03-26 05:45:00 | 2.5313 | 140.411 | 11.3537 | 193.091 | 10.331 | 66.952 | 4.7063 | 325.401 | 26.46 | 966.023 | 61.3757 | 55.4079
2019-03-26 06:00:00 | 7.244 | 163.419 | 9.8197 | 178.346 | 9.3083 | 66.7326 | 4.962 | 337.953 | 26.46 | 966.28 | 62.3315 | 53.3408
2019-03-26 06:15:00 | 0 | 146.456 | 8.797 | 196.893 | 7.5187 | 66.3914 | 2.661 | 332.493 | 26.46 | 966.581 | 63.4921 | 50.7339
2019-03-26 06:30:00 | 0 | 148.552 | 9.0527 | 202.28 | 8.797 | 66.4889 | 3.6837 | 332.128 | 26.46 | 966.74 | 63.3555 | 49.194
2019-03-26 06:45:00 | 2.9033 | 142.824 | 6.7517 | 198.672 | 7.5187 | 66.1964 | 1.894 | 323.987 | 26.46 | 966.851 | 62.3997 | 59.8713
2019-03-26 07:00:00 | 6.9887 | 149.332 | 7.7743 | 191.702 | 7.7743 | 66.1233 | 5.4733 | 326.01 | 26.46 | 966.689 | 62.8776 | 49.6735
2019-03-26 07:15:00 | 6.9887 | 146.773 | 8.797 | 189.143 | 7.7743 | 66.2452 | 3.1723 | 335.394 | 26.46 | 967.132 | 61.5805 | 39.7455
2019-03-26 07:30:00 | 7.4993 | 147.796 | 8.2857 | 191.702 | 7.0073 | 66.3183 | 6.2403 | 325.352 | 26.46 | 967.723 | 60.0102 | 41.822
2019-03-26 07:45:00 | 3.9247 | 146.826 | 9.3083 | 192.648 | 8.5413 | 66.3093 | 5.2177 | 336.226 | 26.46 | 967.723 | 57.2034 | 36.1947
2019-03-26 08:00:00 | 0 | 150.476 | 7.5187 | 204.8 | 7.263 | 66.1851 | 5.729 | 342.062 | 26.46 | 968.168 | 58.7372 | 36.8007
2019-03-26 08:15:00 | 0 | 137.663 | 8.03 | 193.999 | 7.263 | 65.9808 | 4.195 | 341.819 | 26.46 | 968.346 | 55.4188 | 31.0515
2019-03-26 08:30:00 | 0 | 146.893 | 7.5187 | 196.137 | 7.263 | 66.0764 | 0 | 349.313 | 26.46 | 968.469 | 56.8504 | 31.2953
2019-03-26 08:45:00 | 0 | 154.347 | 7.263 | 205.977 | 6.7517 | 66.0755 | 3.0523 | 336.127 | 26.46 | 968.911 | 52.6866 | 26.2888
2019-03-26 09:00:00 | 0 | 158.639 | 7.0073 | 202.163 | 6.2403 | 65.9595 | 2.541 | 342.536 | 26.46 | 969.208 | 50.2838 | 26.7913
2019-03-26 09:15:00 | 0 | 152.129 | 5.2177 | 204.248 | 5.729 | 65.8593 | 2.541 | 338.528 | 26.46 | 969.505 | 46.2564 | 25.6644
2019-03-26 09:30:00 | 0 | 165.89 | 7.263 | 211.262 | 6.2403 | 66.0538 | 2.541 | 350.046 | 26.46 | 969.95 | 46.6655 | 25.7531
2019-03-26 09:45:00 | 0 | 143.579 | 7.7743 | 192.434 | 7.263 | 66.1513 | 4.7063 | 331.779 | 26.46 | 969.999 | 48.03 | 25.487
2019-03-26 10:00:00 | 0 | 146.916 | 5.729 | 200.74 | 7.263 | 66.1269 | 4.962 | 327.834 | 26.46 | 969.852 | 40.5253 | 17.9163
2019-03-26 10:15:00 | 0 | 153.455 | 5.9847 | 192.805 | 4.962 | 65.8533 | 2.541 | 341.736 | 26.46 | 970.1 | 37.7931 | 12.4516
2019-03-26 10:30:00 | 0 | 150.081 | 4.4507 | 202.626 | 5.9847 | 65.9452 | 4.195 | 340.563 | 26.46 | 970.1 | 34.4475 | 7.5042
2019-03-26 10:45:00 | 0 | 197.32 | 4.4507 | 211.993 | 5.4733 | 65.8871 | 2.7967 | 6.5011 | 26.46 | 970.369 | 30.4868 | 4.9104
2019-03-26 11:00:00 | 0 | 204.424 | 3.9393 | 242.737 | 3.6837 | 65.7635 | 2.1497 | 23.4713 | 26.46 | 969.959 | 22.0972 | 2.7748
2019-03-26 11:15:00 | 0 | 164.835 | 6.496 | 217.83 | 4.962 | 65.8852 | 0 | 23.8365 | 26.46 | 970.1 | 27.8602 | 2.4201
2019-03-26 11:30:00 | 0 | 184.781 | 6.2403 | 223.648 | 5.729 | 65.9515 | 2.1497 | 7.7662 | 26.46 | 969.655 | 23.6634 | 4.1752
2019-03-26 11:45:00 | 0 | 170.869 | 5.4733 | 229.036 | 4.962 | 65.8255 | 0 | 2.8239 | 26.46 | 969.952 | 24.4801 | 5.9635
2019-03-26 12:00:00 | 0 | 183.016 | 7.0073 | 230.715 | 7.7743 | 66.0687 | 2.9167 | 355.491 | 26.46 | 969.655 | 27.4122 | 11.9898
2019-03-26 12:15:00 | 0 | 174.568 | 7.5187 | 222.268 | 8.5413 | 66.2391 | 5.729 | 356.805 | 26.46 | 969.358 | 26.628 | 18.9324
2019-03-26 12:30:00 | 0 | 172.793 | 8.03 | 224.754 | 8.2857 | 66.2155 | 5.729 | 356.785 | 26.46 | 969.21 | 27.5489 | 21.9769
2019-03-26 12:45:00 | 0 | 183.768 | 7.5187 | 237.782 | 8.797 | 66.5637 | 3.428 | 14.3645 | 26.46 | 969.21 | 28.3021 | 19.8561
2019-03-26 13:00:00 | 0 | 172.526 | 7.263 | 233.018 | 8.5413 | 66.3466 | 0.37567 | 1.4608 | 26.46 | 968.765 | 28.1666 | 14.8718
2019-03-26 13:15:00 | 0 | 166.052 | 7.7743 | 200.956 | 7.0073 | 66.3478 | 5.2177 | 354.407 | 26.46 | 968.765 | 36.1125 | 21.6961
2019-03-26 13:30:00 | 0 | 149.979 | 7.263 | 199.637 | 7.5187 | 66.1272 | 5.4733 | 327.933 | 26.46 | 968.765 | 34.3044 | 19.2501
2019-03-26 13:45:00 | 0 | 137.14 | 5.2177 | 198.6 | 5.729 | 65.977 | 5.4733 | 337.432 | 26.46 | 969.062 | 26.528 | 16.6527
2019-03-26 14:00:00 | 0 | 141.486 | 8.797 | 195.101 | 6.496 | 66.1176 | 3.9393 | 332.608 | 26.46 | 968.617 | 24.0028 | 18.9287
2019-03-26 14:15:00 | 0 | 210.889 | 4.962 | 249.874 | 5.2177 | 65.8253 | 4.7063 | 15.7747 | 26.46 | 968.765 | 21.207 | 22.6235
2019-03-26 14:30:00 | 0 | 181.408 | 6.496 | 222.047 | 6.496 | 65.7274 | 2.661 | 0.19475 | 26.46 | 968.32 | 19.7066 | 25.1102
2019-03-26 14:45:00 | 0 | 160.762 | 7.0073 | 203.422 | 8.797 | 66.4082 | 4.195 | 344.383 | 26.46 | 968.023 | 21.4793 | 23.3736
2019-03-26 15:00:00 | 0 | 146.062 | 8.2857 | 194.053 | 8.5413 | 66.4824 | 3.1723 | 352.057 | 26.46 | 968.32 | 22.1616 | 24.1126
2019-03-26 15:15:00 | 11.5847 | 205.911 | 9.8197 | 209.499 | 9.3083 | 66.6005 | 3.6837 | 10.5646 | 26.46 | 968.172 | 23.4559 | 28.2877
2019-03-26 15:30:00 | 0 | 183.576 | 9.0527 | 243.048 | 11.098 | 66.9365 | 4.962 | 7.3022 | 26.46 | 967.43 | 24.886 | 36.5309
2019-03-26 15:45:00 | 0 | 183.396 | 5.9847 | 221.087 | 5.4733 | 66.0165 | 3.1723 | 3.1645 | 26.46 | 967.578 | 22.2286 | 24.7813
2019-03-26 16:00:00 | 0 | 156.307 | 6.496 | 202.009 | 7.5187 | 66.408 | 2.1497 | 0.19475 | 26.46 | 967.578 | 31.6392 | 18.9619
2019-03-26 16:15:00 | 0 | 136.227 | 5.9847 | 196.756 | 5.2177 | 65.9226 | 5.729 | 323.771 | 26.46 | 967.578 | 28.5714 | 15.9322
2019-03-26 16:30:00 | 0 | 201.127 | 5.9847 | 235.243 | 6.7517 | 66.02 | 0.37567 | 44.3055 | 26.46 | 967.43 | 27.0713 | 21.3119
2019-03-26 16:45:00 | 7.4993 | 147.863 | 8.5413 | 198.46 | 8.03 | 66.2391 | 5.9847 | 327.715 | 26.46 | 967.578 | 25.2983 | 29.9689
2019-03-26 17:00:00 | 0 | 179.729 | 6.2403 | 235.657 | 6.496 | 66.1174 | 1.5183 | 8.2525 | 26.46 | 966.985 | 26.1166 | 43.0191
2019-03-26 17:15:00 | 7.4993 | 139.562 | 8.03 | 209.366 | 7.263 | 66.1661 | 4.7063 | 332.632 | 26.46 | 966.837 | 30.2762 | 41.1992
2019-03-26 17:30:00 | 1.6267 | 151.51 | 7.5187 | 198.317 | 8.2857 | 66.8804 | 3.1723 | 349.619 | 26.46 | 967.133 | 31.9849 | 40.5757
2019-03-26 17:45:00 | 0 | 160.696 | 8.03 | 216.052 | 4.7063 | 65.9095 | 0.37567 | 330.984 | 26.46 | 966.688 | 34.6462 | 39.7011
2019-03-26 18:00:00 | 2.0207 | 190.473 | 7.0073 | 208.894 | 7.263 | 66.2991 | 5.2177 | 328.111 | 26.46 | 966.344 | 39.0793 | 48.1369
2019-03-26 18:15:00 | 6.478 | 182.077 | 11.098 | 202.306 | 7.5187 | 66.2853 | 3.9393 | 330.525 | 26.46 | 966.238 | 40.4497 | 59.5323
2019-03-26 18:30:00 | 0 | 154.854 | 12.3763 | 203.843 | 11.865 | 67.0166 | 4.4507 | 339.88 | 26.46 | 966.093 | 41.678 | 54.4816
2019-03-26 18:45:00 | 2.0207 | 137.304 | 8.797 | 199.302 | 7.0073 | 66.241 | 3.6837 | 321.878 | 26.46 | 966.538 | 44.3408 | 60.322
2019-03-26 19:00:00 | 3.9247 | 154.125 | 11.865 | 207.437 | 11.6093 | 66.8817 | 4.962 | 342.251 | 26.46 | 965.949 | 45.028 | 65.4953
2019-03-26 19:15:00 | 4.6907 | 161.968 | 11.6093 | 200.155 | 10.8423 | 67.0281 | 5.729 | 337.211 | 26.46 | 966.07 | 45.0964 | 73.073
2019-03-26 19:30:00 | 4.946 | 140.316 | 10.5867 | 211.432 | 11.098 | 66.7601 | 3.6837 | 331.316 | 26.46 | 966.303 | 43.3225 | 70.4955
2019-03-26 19:45:00 | 4.18 | 159.898 | 12.632 | 206.171 | 12.3763 | 67.3447 | 2.4053 | 339.841 | 26.46 | 966.679 | 40.4571 | 68.5372
2019-03-26 20:00:00 | 3.1587 | 148.645 | 11.3537 | 198.207 | 10.8423 | 66.9306 | 3.9393 | 330.561 | 26.46 | 966.536 | 42.2992 | 69.8067
2019-03-26 20:15:00 | 4.4353 | 141.436 | 11.865 | 181.961 | 9.564 | 66.8576 | 5.4733 | 336.285 | 26.46 | 966.536 | 41.7534 | 74.7209
2019-03-26 20:30:00 | 3.414 | 156.635 | 12.3763 | 207.974 | 10.331 | 67.3937 | 4.195 | 334.07 | 26.46 | 966.685 | 43.5274 | 76.1951
2019-03-26 20:45:00 | 6.7333 | 151.544 | 12.8877 | 190.681 | 12.632 | 67.7101 | 5.9847 | 348.147 | 26.46 | 966.536 | 44.3459 | 75.179
2019-03-26 21:00:00 | 1.6267 | 159.002 | 12.1207 | 204.693 | 10.5867 | 67.493 | 4.195 | 340.071 | 26.46 | 966.833 | 46.3259 | 73.7787
2019-03-26 21:15:00 | 3.1587 | 144.487 | 13.399 | 214.804 | 13.1433 | 68.2247 | 3.428 | 331.648 | 26.46 | 966.833 | 49.6015 | 76.773
2019-03-26 21:30:00 | 4.18 | 146.114 | 8.2857 | 200.329 | 8.797 | 67.1264 | 3.1723 | 355.897 | 26.46 | 966.685 | 51.6466 | 70.1171
2019-03-26 21:45:00 | 3.9247 | 171.291 | 9.564 | 221.541 | 9.0527 | 67.2545 | 3.428 | 332.448 | 26.46 | 966.981 | 54.4831 | 67.4162
2019-03-26 22:00:00 | 3.9247 | 149.876 | 5.4733 | 190.83 | 5.4733 | 66.5573 | 2.4053 | 324.065 | 26.46 | 966.833 | 55.2072 | 67.5492
2019-03-26 22:15:00 | 4.18 | 170.745 | 10.5867 | 200.936 | 8.797 | 67.1725 | 4.962 | 340.127 | 26.46 | 966.833 | 55.9971 | 71.4879
2019-03-26 22:30:00 | 4.6907 | 154.592 | 11.6093 | 209.196 | 11.6093 | 67.928 | 4.195 | 336.132 | 26.46 | 966.388 | 58.0788 | 73.4646
2019-03-26 22:45:00 | 2.1373 | 153.057 | 11.865 | 210.146 | 11.865 | 68.0986 | 4.195 | 337.106 | 26.46 | 966.536 | 58.6589 | 73.8969
2019-03-26 23:00:00 | 3.6693 | 150.962 | 13.1433 | 206.321 | 13.1433 | 68.2204 | 3.9393 | 331.771 | 26.46 | 966.239 | 59.1025 | 71.5987
2019-03-26 23:15:00 | 2.1373 | 154.617 | 11.865 | 199.012 | 9.8197 | 67.4895 | 3.428 | 338.422 | 26.46 | 966.536 | 59.7168 | 68.1921
2019-03-26 23:30:00 | 2.9033 | 159.928 | 13.1433 | 212.534 | 12.632 | 68.0255 | 5.729 | 347.218 | 26.46 | 966.536 | 60.1945 | 66.5959
2019-03-26 23:45:00 | 3.414 | 154.032 | 10.8423 | 211.73 | 9.8197 | 67.5139 | 3.9393 | 342.613 | 26.46 | 966.239 | 60.7405 | 66.3216