## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-27 00:00:00 | 2.648 | 143.263 | 10.5867 | 198.768 | 10.8423 | 67.8306 | 1.3827 | 334.353 | 26.46 | 966.239 | 59.8191 | 67.3829
2019-03-27 00:15:00 | 4.6907 | 155.177 | 11.6093 | 209.537 | 12.1207 | 68.3179 | 4.7063 | 336.838 | 26.46 | 966.137 | 58.2153 | 69.1786
2019-03-27 00:30:00 | 3.6693 | 164.972 | 11.865 | 225.594 | 12.8877 | 68.4641 | 0.75133 | 348.143 | 26.46 | 966.291 | 58.2836 | 66.4887
2019-03-27 00:45:00 | 4.4353 | 155.031 | 10.0753 | 202.179 | 10.0753 | 67.7575 | 5.729 | 341.784 | 26.46 | 965.952 | 57.8741 | 65.8015
2019-03-27 01:00:00 | 5.712 | 180.857 | 11.6093 | 199.475 | 15.1887 | 68.7808 | 3.6837 | 349.825 | 26.46 | 965.408 | 59.9898 | 71.9904
2019-03-27 01:15:00 | 3.1587 | 179.395 | 10.331 | 219.234 | 13.1433 | 68.7321 | 3.9393 | 351.554 | 26.46 | 965.594 | 58.8978 | 71.0438
2019-03-27 01:30:00 | 5.2013 | 161 | 12.8877 | 199.402 | 11.865 | 68.3422 | 4.4507 | 354.21 | 26.46 | 965.498 | 59.0343 | 70.7822
2019-03-27 01:45:00 | 4.946 | 169.533 | 12.632 | 204.842 | 9.8197 | 67.784 | 5.2177 | 352.686 | 26.46 | 965.562 | 56.5109 | 68.0036
2019-03-27 02:00:00 | 3.414 | 153.82 | 11.6093 | 196.659 | 11.3537 | 68.2238 | 5.729 | 345.383 | 26.46 | 965.333 | 58.5936 | 65.2407
2019-03-27 02:15:00 | 7.4993 | 180.146 | 7.0073 | 224.622 | 8.5413 | 67.4726 | 4.7063 | 334.293 | 26.46 | 965.493 | 57.4027 | 70.808
2019-03-27 02:30:00 | 4.18 | 164.632 | 14.166 | 209.501 | 12.3763 | 68.0607 | 4.7063 | 347.2 | 26.46 | 964.901 | 58.3611 | 67.4753
2019-03-27 02:45:00 | 3.6693 | 145.115 | 11.3537 | 198.367 | 11.098 | 68.3295 | 2.4053 | 335.239 | 26.46 | 964.753 | 56.9624 | 67.9917
2019-03-27 03:00:00 | 4.4353 | 150.769 | 12.3763 | 201.34 | 10.8423 | 68.3052 | 1.894 | 341.502 | 26.46 | 964.456 | 55.4949 | 65.2694
2019-03-27 03:15:00 | 4.18 | 154.814 | 12.8877 | 194.858 | 11.098 | 68.3295 | 1.2627 | 345.254 | 26.46 | 964.604 | 55.2218 | 61.8739
2019-03-27 03:30:00 | 3.414 | 161.198 | 13.399 | 208.577 | 11.6093 | 68.3781 | 0.63133 | 348.324 | 26.46 | 964.753 | 55.4948 | 60.71
2019-03-27 03:45:00 | 3.1587 | 159.273 | 10.0753 | 209.674 | 8.03 | 67.696 | 1.007 | 336.287 | 26.46 | 964.753 | 54.744 | 50.2166
2019-03-27 04:00:00 | 3.414 | 144.774 | 10.0753 | 202.485 | 9.0527 | 67.9153 | 1.3827 | 342.281 | 26.46 | 964.753 | 54.8123 | 46.2632
2019-03-27 04:15:00 | 15.1593 | 161.661 | 10.0753 | 209.845 | 8.2857 | 67.7203 | 2.1497 | 344.596 | 26.46 | 964.753 | 55.4949 | 48.7461
2019-03-27 04:30:00 | 10.308 | 149.453 | 9.8197 | 190.691 | 9.3083 | 67.7447 | 2.541 | 0.19495 | 26.46 | 964.753 | 53.7201 | 50.4605
2019-03-27 04:45:00 | 1.882 | 146.626 | 9.564 | 192.665 | 8.2857 | 67.7203 | 1.127 | 344.718 | 26.46 | 964.901 | 53.7884 | 48.299
2019-03-27 05:00:00 | 0.99933 | 156.69 | 8.2857 | 202.169 | 8.797 | 67.7203 | 4.195 | 346.814 | 26.46 | 965.05 | 51.6724 | 44.894
2019-03-27 05:15:00 | 10.308 | 165.755 | 8.797 | 215.498 | 8.5413 | 67.696 | 6.2403 | 0.19495 | 26.46 | 964.901 | 51.8089 | 42.7531
2019-03-27 05:30:00 | 6.9887 | 190.441 | 8.5413 | 228.657 | 8.2857 | 67.5254 | 3.428 | 16.5706 | 26.46 | 965.347 | 47.9863 | 37.5101
2019-03-27 05:45:00 | 5.8507 | 180.54 | 9.564 | 213.102 | 7.7743 | 67.4742 | 6.2403 | 15.6684 | 26.46 | 965.05 | 47.302 | 33.6194
2019-03-27 06:00:00 | 0 | 180.69 | 7.0073 | 226.377 | 7.5187 | 67.3931 | 4.195 | 9.9652 | 26.46 | 965.231 | 49.2074 | 30.8483
2019-03-27 06:15:00 | 0 | 164.168 | 7.0073 | 214.63 | 6.496 | 67.319 | 2.1497 | 349.435 | 26.46 | 965.495 | 48.5924 | 27.1645
2019-03-27 06:30:00 | 0 | 177.812 | 6.2403 | 225.886 | 6.7517 | 67.3434 | 1.774 | 10.428 | 26.46 | 965.812 | 47.4322 | 17.4618
2019-03-27 06:45:00 | 0 | 192.893 | 5.729 | 239.676 | 5.729 | 67.2459 | 2.0297 | 28.6039 | 26.46 | 965.82 | 46.7497 | 17.0554
2019-03-27 07:00:00 | 0 | 175.911 | 6.2403 | 229.346 | 7.0073 | 67.3433 | 4.7063 | 10.8665 | 26.46 | 966.095 | 45.7942 | 13.5047
2019-03-27 07:15:00 | 0.62733 | 182.027 | 3.6837 | 222.67 | 3.428 | 67.1484 | 1.007 | 0.19492 | 26.46 | 966.388 | 47.5687 | 9.8098
2019-03-27 07:30:00 | 0 | 166.75 | 4.195 | 217.553 | 4.7063 | 67.1972 | 2.541 | 83.0097 | 26.46 | 966.536 | 47.7393 | 9.747
2019-03-27 07:45:00 | 0 | 179.615 | 4.7063 | 226.909 | 4.4507 | 67.1972 | 0.63133 | 349.337 | 26.46 | 966.685 | 47.5004 | 8.2654
2019-03-27 08:00:00 | 0 | 181.654 | 3.428 | 229.123 | 3.6837 | 67.1277 | 4.962 | 7.5994 | 26.46 | 966.833 | 45.0978 | 4.6888
2019-03-27 08:15:00 | 1.7653 | 186.666 | 3.9393 | 226.143 | 3.6837 | 67.1255 | 0.63133 | 5.7481 | 26.46 | 967.575 | 42.2992 | 2.5975
2019-03-27 08:30:00 | 0 | 231.226 | 0 | 233.219 | 0.37567 | 67.0736 | 0 | 54.8474 | 26.46 | 967.438 | 38.8179 | 0.15149
2019-03-27 08:45:00 | 0 | 297.106 | 1.894 | 19.8052 | 1.894 | 66.911 | 0 | 125.227 | 26.46 | 967.916 | 36.353 | -0.39904
2019-03-27 09:00:00 | 0 | 268.126 | 0.75133 | 306.357 | 0.75133 | 66.8976 | 0 | 84.7662 | 26.46 | 968.024 | 36.8912 | -0.26972
2019-03-27 09:15:00 | 0 | 347.913 | 0.75133 | 14.2071 | 0 | 66.8857 | 0 | 171.084 | 26.46 | 968.023 | 35.862 | -0.24016
2019-03-27 09:30:00 | 0 | 318.288 | 2.4053 | 19.2942 | 1.6383 | 66.7877 | 0 | 129.389 | 26.46 | 968.304 | 35.7253 | -0.24016
2019-03-27 09:45:00 | 0 | 58.0645 | 0 | 184.223 | 1.894 | 66.7766 | 0 | 232.818 | 26.46 | 967.913 | 34.765 | -0.24016
2019-03-27 10:00:00 | 0 | 51.2016 | 1.6383 | 127.059 | 0 | 66.5816 | 0 | 255.935 | 26.46 | 968.322 | 33.0948 | -0.24016
2019-03-27 10:15:00 | 0 | 37.1834 | 2.4053 | 99.24 | 1.3827 | 66.5798 | 0 | 222.03 | 26.46 | 968.47 | 28.1519 | -0.22169
2019-03-27 10:30:00 | 0 | 20.4898 | 3.428 | 60.5477 | 2.661 | 66.5796 | 1.2627 | 198.449 | 26.46 | 968.618 | 22.7669 | -0.25125
2019-03-27 10:45:00 | 0 | 30.2231 | 3.428 | 69.2579 | 2.9167 | 66.1891 | 0 | 185.062 | 26.46 | 967.877 | 25.902 | -0.059118
2019-03-27 11:00:00 | 0 | 25.1139 | 7.0073 | 75.6858 | 2.661 | 66.0943 | 1.127 | 193.708 | 26.46 | 967.877 | 26.5165 | 0.20691
2019-03-27 11:15:00 | 0 | 356.416 | 4.962 | 66.3176 | 4.7063 | 65.8028 | 0.37567 | 159.883 | 26.46 | 967.728 | 25.426 | 0.61704
2019-03-27 11:30:00 | 0 | 48.4274 | 5.4733 | 60.7204 | 3.9393 | 65.7055 | 2.9167 | 177.575 | 26.46 | 967.135 | 27.7096 | 2.2169
2019-03-27 11:45:00 | 0 | 279.175 | 5.9847 | 79.6777 | 5.729 | 65.3161 | 4.195 | 145.185 | 26.46 | 967.432 | 28.289 | 8.4464
2019-03-27 12:00:00 | 0 | 23.362 | 4.962 | 101.409 | 2.4053 | 65.3161 | 2.9167 | 194.415 | 26.46 | 967.432 | 30.9475 | 4.9548
2019-03-27 12:15:00 | 0 | 351.695 | 5.2177 | 58.4329 | 2.9167 | 65.3161 | 4.4507 | 168.985 | 26.46 | 966.987 | 31.152 | 6.8872
2019-03-27 12:30:00 | 0 | 20.028 | 2.9167 | 65.0765 | 2.1497 | 65.3161 | 1.2627 | 170.25 | 26.46 | 966.839 | 30.1295 | 7.6151
2019-03-27 12:45:00 | 0 | 22.0235 | 4.195 | 69.0675 | 1.127 | 65.3161 | 0 | 193.004 | 26.46 | 966.839 | 28.698 | 6.4955
2019-03-27 13:00:00 | 0 | 352.96 | 4.195 | 42.9556 | 3.1723 | 65.3161 | 2.0297 | 192.152 | 26.46 | 966.557 | 25.8691 | 10.0758
2019-03-27 13:15:00 | 0 | 11.5106 | 4.4507 | 69.7245 | 1.127 | 64.6347 | 2.661 | 204.295 | 26.46 | 966.406 | 22.563 | 14.2806
2019-03-27 13:30:00 | 0 | 49.7415 | 1.894 | 73.6912 | 2.661 | 56.2634 | 1.5183 | 208.992 | 26.46 | 966.097 | 23.9605 | 15.9617
2019-03-27 13:45:00 | 0 | 17.3998 | 5.4733 | 81.1621 | 3.6837 | 55.9227 | 1.774 | 167.938 | 26.46 | 966.097 | 22.8357 | 17.2254
2019-03-27 14:00:00 | 1.3933 | 10.5616 | 7.263 | 56.7781 | 5.4733 | 56.2634 | 5.2177 | 198.041 | 26.46 | 965.949 | 19.3251 | 18.5777
2019-03-27 14:15:00 | 0 | 6.9356 | 6.496 | 76.4897 | 5.2177 | 55.7767 | 1.007 | 173.39 | 26.46 | 966.097 | 15.9509 | 19.8413
2019-03-27 14:30:00 | 0 | 344.151 | 2.1497 | 62.3266 | 7.0073 | 55.8253 | 2.1497 | 179.717 | 26.46 | 965.801 | 16.1554 | 21.0828
2019-03-27 14:45:00 | 2.4147 | 348.872 | 5.2177 | 59.674 | 4.4507 | 55.874 | 3.428 | 171.564 | 26.46 | 965.682 | 19.257 | 19.4866
2019-03-27 15:00:00 | 0 | 27.645 | 4.4507 | 79.8237 | 2.4053 | 56.4581 | 5.4733 | 227.682 | 26.46 | 965.567 | 19.8364 | 23.0189
2019-03-27 15:15:00 | 0 | 10.0505 | 5.4733 | 60.8421 | 5.729 | 55.7523 | 4.195 | 157.401 | 26.46 | 965.41 | 19.2911 | 22.9376
2019-03-27 15:30:00 | 0 | 10.9753 | 5.2177 | 68.2887 | 4.195 | 55.874 | 0.37567 | 177.746 | 26.46 | 965.606 | 21.1656 | 28.4134
2019-03-27 15:45:00 | 0 | 6.0108 | 5.4733 | 64.5654 | 5.9847 | 55.4846 | 1.007 | 172.757 | 26.46 | 965.149 | 20.3136 | 36.675
2019-03-27 16:00:00 | 0 | 334.324 | 4.7063 | 55.7682 | 7.5187 | 55.3475 | 3.6837 | 175.292 | 26.46 | 964.888 | 21.544 | 37.0002
2019-03-27 16:15:00 | 3.042 | 348.372 | 6.2403 | 47.3961 | 5.9847 | 55.3967 | 3.428 | 179.115 | 26.46 | 964.61 | 24.7486 | 32.341
2019-03-27 16:30:00 | 8.2653 | 18.0384 | 8.03 | 82.2909 | 5.2177 | 55.5759 | 4.7063 | 199.324 | 26.46 | 964.167 | 24.5479 | 25.1988
2019-03-27 16:45:00 | 0.62733 | 351.899 | 6.2403 | 78.5221 | 5.4733 | 55.0672 | 3.428 | 168.123 | 26.46 | 964.315 | 24.1399 | 26.5401
2019-03-27 17:00:00 | 0 | 7.5965 | 6.2403 | 61.5164 | 4.962 | 55.2208 | 2.0297 | 188.476 | 26.46 | 964.315 | 24.9616 | 22.3501
2019-03-27 17:15:00 | 0 | 85.0956 | 6.7517 | 63.6104 | 6.2403 | 55.1722 | 3.6837 | 188.72 | 26.46 | 963.87 | 27.8261 | 19.9004
2019-03-27 17:30:00 | 1.138 | 21.0609 | 5.729 | 76.0765 | 5.2177 | 55.1235 | 0.37567 | 195.878 | 26.46 | 963.924 | 28.7809 | 19.0469
2019-03-27 17:45:00 | 0 | 7.6946 | 5.2177 | 65.1273 | 4.7063 | 55.2743 | 3.1723 | 208.654 | 26.46 | 964 | 29.4995 | 16.9483
2019-03-27 18:00:00 | 0 | 34.6772 | 6.2403 | 92.6279 | 5.4733 | 55.4251 | 3.6837 | 215.661 | 26.46 | 963.867 | 29.1269 | 10.2754
2019-03-27 18:15:00 | 0 | 31.2927 | 6.2403 | 79.8201 | 2.661 | 55.4746 | 5.4733 | 212.985 | 26.46 | 964.164 | 29.2637 | 6.6692
2019-03-27 18:30:00 | 0 | 42.5249 | 4.195 | 98.1734 | 4.4507 | 55.3359 | 4.962 | 229.576 | 26.46 | 964.312 | 28.9265 | 3.4214
2019-03-27 18:45:00 | 0 | 49.0045 | 5.4733 | 98.8335 | 4.962 | 55.4345 | 0.37567 | 234.598 | 26.46 | 964.312 | 29.7459 | 3.9572
2019-03-27 19:00:00 | 0 | 45.9113 | 3.9393 | 102.17 | 3.1723 | 55.532 | 0 | 242.855 | 26.46 | 964.545 | 30.1211 | 0.4286
2019-03-27 19:15:00 | 0 | 49.4917 | 1.894 | 103.242 | 1.6383 | 55.532 | 0 | 259.515 | 26.46 | 964.926 | 30.3599 | 0.92741
2019-03-27 19:30:00 | 0 | 70.8763 | 2.1497 | 117.369 | 1.894 | 55.4833 | 0 | 290.276 | 26.46 | 965.172 | 29.8141 | 1.0235
2019-03-27 19:45:00 | 0 | 93.3814 | 2.1497 | 157.118 | 2.1497 | 55.6294 | 0 | 279.462 | 26.46 | 965.629 | 28.1085 | 2.6492
2019-03-27 20:00:00 | 0 | 152.177 | 4.4507 | 193.896 | 3.1723 | 56.1165 | 0 | 314.9 | 26.46 | 965.79 | 29.2683 | 9.1078
2019-03-27 20:15:00 | 0 | 142.581 | 4.4507 | 180.841 | 3.9393 | 66.2487 | 1.6383 | 315.12 | 26.46 | 965.943 | 29.5412 | 30.2017
2019-03-27 20:30:00 | 1.882 | 92.1636 | 9.3083 | 145.037 | 5.4733 | 66.4192 | 4.4507 | 291.324 | 26.46 | 965.646 | 24.9701 | 31.4284
2019-03-27 20:45:00 | 2.9033 | 96.0606 | 9.3083 | 149.884 | 5.4733 | 67.0037 | 3.6837 | 272.35 | 26.46 | 965.646 | 25.0384 | 38.399
2019-03-27 21:00:00 | 0.372 | 117.767 | 11.6093 | 164.53 | 6.7517 | 67.6642 | 4.195 | 272.386 | 26.46 | 965.497 | 24.7665 | 41.9069
2019-03-27 21:15:00 | 0.744 | 66.4692 | 7.5187 | 166.498 | 8.5413 | 67.7357 | 2.9167 | 272.843 | 26.46 | 965.794 | 24.9024 | 39.0611
2019-03-27 21:30:00 | 0 | 94.3599 | 9.8197 | 154.325 | 7.263 | 68.0297 | 2.661 | 281.399 | 26.46 | 965.646 | 28.3144 | 39.2872
2019-03-27 21:45:00 | 0.372 | 94.7975 | 12.3763 | 144.044 | 9.0527 | 68.4919 | 3.9393 | 279.034 | 26.46 | 965.2 | 30.0881 | 44.5969
2019-03-27 22:00:00 | 4.6907 | 95.7289 | 14.166 | 152.458 | 10.8423 | 69.0563 | 4.4507 | 279.733 | 26.46 | 965.2 | 28.1112 | 39.4499
2019-03-27 22:15:00 | 0.372 | 53.9327 | 3.9393 | 97.9992 | 4.7063 | 67.8422 | 0 | 230.907 | 26.46 | 965.794 | 27.7034 | 27.4749
2019-03-27 22:30:00 | 0 | 57.297 | 1.894 | 96.7621 | 0.37567 | 66.1157 | 0 | 204.656 | 26.46 | 966.239 | 27.7046 | 18.5001
2019-03-27 22:45:00 | 0.372 | 69.5816 | 4.962 | 129.079 | 4.4507 | 66.3656 | 3.6837 | 257.155 | 26.46 | 966.091 | 27.1272 | 13.9998
2019-03-27 23:00:00 | 0 | 73.5801 | 3.428 | 134.957 | 1.6383 | 67.0505 | 0.37567 | 279.751 | 26.46 | 966.388 | 25.5927 | 10.0795
2019-03-27 23:15:00 | 0 | 74.5065 | 3.9393 | 115.247 | 1.6383 | 66.856 | 0 | 294.883 | 26.46 | 966.239 | 24.0232 | 9.3997
2019-03-27 23:30:00 | 2.9033 | 92.731 | 5.729 | 145.824 | 6.7517 | 67.9768 | 4.4507 | 274.295 | 26.46 | 965.943 | 22.2488 | 17.7131
2019-03-27 23:45:00 | 0 | 91.8052 | 5.9847 | 151.331 | 3.1723 | 67.587 | 0 | 275.879 | 26.46 | 965.943 | 21.0885 | 14.6722