## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-28 00:00:00 | 8.5207 | 78.0393 | 7.263 | 129.11 | 5.2177 | 64.517 | 2.9167 | 266.449 | 26.46 | 965.943 | 22.4535 | 7.6779
2019-03-28 00:15:00 | 0 | 87.8094 | 4.962 | 133.667 | 4.4507 | 64.3221 | 0.37567 | 283.651 | 26.46 | 965.664 | 21.2933 | 10.1054
2019-03-28 00:30:00 | 0 | 35.2067 | 3.428 | 97.4612 | 2.9167 | 65.1994 | 0 | 250.101 | 26.46 | 965.786 | 21.0886 | 11.454
2019-03-28 00:45:00 | 3.9247 | 86.3038 | 4.962 | 133.846 | 5.2177 | 65.0081 | 3.428 | 278.087 | 26.46 | 965.88 | 21.9088 | 15.7327
2019-03-28 01:00:00 | 0 | 61.4794 | 5.4733 | 104.713 | 4.4507 | 61.3088 | 0 | 225.79 | 26.46 | 965.929 | 19.2483 | 14.288
2019-03-28 01:15:00 | 6.7333 | 81.586 | 4.962 | 128.673 | 4.7063 | 67.0379 | 0.63133 | 277.046 | 26.46 | 965.941 | 20.2047 | 12.6105
2019-03-28 01:30:00 | 0 | 71.107 | 3.428 | 126.795 | 1.894 | 62.4805 | 0 | 252.042 | 26.46 | 965.941 | 22.5937 | 12.3334
2019-03-28 01:45:00 | 4.946 | 109.707 | 6.496 | 134.326 | 6.496 | 27.9751 | 4.7063 | 279.045 | 26.46 | 965.347 | 22.4573 | 12.7879
2019-03-28 02:00:00 | 0 | 47.3713 | 2.9167 | 136.613 | 3.9393 | 61.7972 | 0.37567 | 275.699 | 26.46 | 965.495 | 20.5456 | 25.5609
2019-03-28 02:15:00 | 1.882 | 91.8444 | 10.0753 | 150.627 | 9.0527 | 75.9075 | 3.428 | 275.704 | 26.46 | 965.347 | 20.4094 | 34.4951
2019-03-28 02:30:00 | 0.372 | 96.6911 | 10.0753 | 148.064 | 8.03 | 67.5473 | 4.195 | 285.541 | 26.46 | 964.901 | 21.9787 | 34.6429
2019-03-28 02:45:00 | 0 | 88.5798 | 5.2177 | 147.315 | 5.2177 | 68.7925 | 0.75133 | 274.439 | 26.46 | 965.05 | 23.2764 | 40.1186
2019-03-28 03:00:00 | 3.6693 | 100.117 | 12.1207 | 163.978 | 10.0753 | 94.8527 | 4.195 | 278.075 | 26.46 | 964.159 | 24.7808 | 50.0688
2019-03-28 03:15:00 | 3.6693 | 100.414 | 11.6093 | 161.33 | 9.3083 | 105.459 | 4.962 | 283.62 | 26.46 | 964.01 | 25.4646 | 50.6231
2019-03-28 03:30:00 | 2.9033 | 124.399 | 11.3537 | 172.033 | 10.5867 | 117.282 | 4.195 | 276.338 | 26.46 | 963.268 | 27.0353 | 55.8273
2019-03-28 03:45:00 | 0 | 115.332 | 5.4733 | 168.67 | 8.2857 | 102.439 | 0.37567 | 275.461 | 26.46 | 964.01 | 27.7863 | 30.81
2019-03-28 04:00:00 | 0 | 18.3771 | 4.962 | 333.649 | 1.3827 | 122.546 | 2.661 | 204.877 | 26.46 | 964.159 | 28.2642 | 23.4107
2019-03-28 04:15:00 | 0 | 133.368 | 2.9167 | 88.7269 | 1.894 | 109.19 | 0 | 254.159 | 26.46 | 964.159 | 28.9469 | 17.6761
2019-03-28 04:30:00 | 0 | 86.3527 | 4.195 | 107.47 | 5.2177 | 103.072 | 0 | 292.936 | 26.46 | 964.316 | 29.2883 | 16.0098
2019-03-28 04:45:00 | 0.372 | 127.25 | 3.9393 | 185.316 | 3.9393 | 114.479 | 1.2627 | 291.084 | 26.46 | 964.79 | 29.2883 | 16.1354
2019-03-28 05:00:00 | 0 | 95.2504 | 5.729 | 148.711 | 5.4733 | 104.025 | 0 | 314.024 | 26.46 | 964.78 | 29.9032 | 15.5775
2019-03-28 05:15:00 | 4.6907 | 123.28 | 8.797 | 152.197 | 8.03 | 99.5402 | 4.195 | 273.077 | 26.46 | 964.356 | 30.3129 | 27.2901
2019-03-28 05:30:00 | 4.4353 | 100.378 | 9.0527 | 137.783 | 9.564 | 98.0626 | 2.9167 | 283.194 | 26.46 | 964.492 | 31.2034 | 33.0615
2019-03-28 05:45:00 | 4.946 | 93.7039 | 10.5867 | 148.516 | 12.3763 | 92.5338 | 2.661 | 275.018 | 26.46 | 964.286 | 32.2291 | 36.2058
2019-03-28 06:00:00 | 2.1373 | 59.0654 | 5.9847 | 122.605 | 7.5187 | 87.8546 | 2.4053 | 255.471 | 26.46 | 964.368 | 32.1612 | 33.9261
2019-03-28 06:15:00 | 0 | 110.915 | 3.428 | 182.67 | 3.9393 | 109.16 | 0 | 275.215 | 26.46 | 965.037 | 32.0929 | 26.0376
2019-03-28 06:30:00 | 0 | 115.961 | 3.9393 | 156.002 | 4.4507 | 102.31 | 0 | 277.142 | 26.46 | 965.628 | 32.093 | 15.4629
2019-03-28 06:45:00 | 0 | 103.286 | 1.6383 | 128.652 | 1.6383 | 106.187 | 0 | 312.637 | 26.46 | 966.086 | 32.0932 | 15.7142
2019-03-28 07:00:00 | 0 | 117.547 | 3.6837 | 146.131 | 4.4507 | 101.507 | 2.2853 | 287.895 | 26.46 | 966.207 | 32.3664 | 17.8498
2019-03-28 07:15:00 | 0 | 96.9229 | 3.9393 | 142.985 | 3.1723 | 112.768 | 0 | 292.305 | 26.46 | 966.231 | 32.7758 | 24.4155
2019-03-28 07:30:00 | 0.62733 | 129.296 | 5.4733 | 169.508 | 4.4507 | 109.746 | 5.4733 | 300.35 | 26.46 | 966.235 | 33.4929 | 29.6474
2019-03-28 07:45:00 | 5.9673 | 114.742 | 9.0527 | 152.296 | 7.263 | 101.164 | 5.2177 | 305.224 | 26.46 | 966.35 | 33.7999 | 36.1984
2019-03-28 08:00:00 | 0 | 121.79 | 5.9847 | 143.817 | 3.9393 | 110.089 | 0 | 283.048 | 26.46 | 966.48 | 33.7325 | 35.4373
2019-03-28 08:15:00 | 0 | 128.073 | 4.195 | 203.92 | 4.195 | 121.637 | 0 | 331.37 | 26.46 | 966.564 | 33.6965 | 25.9452
2019-03-28 08:30:00 | 0 | 85.305 | 5.2177 | 140.447 | 2.9167 | 119.695 | 0.75133 | 275.657 | 26.46 | 966.574 | 34.4088 | 30.7744
2019-03-28 08:45:00 | 0 | 127.543 | 3.6837 | 180.198 | 3.428 | 103.194 | 0 | 289.329 | 26.46 | 966.7 | 34.9548 | 23.6285
2019-03-28 09:00:00 | 0 | 102.902 | 6.2403 | 165.574 | 3.6837 | 115.405 | 4.7063 | 295.739 | 26.46 | 966.577 | 35.0231 | 30.3199
2019-03-28 09:15:00 | 8.5207 | 76.3355 | 7.7743 | 125.774 | 7.5187 | 97.4667 | 3.1723 | 270.538 | 26.46 | 967.13 | 33.8283 | 23.1519
2019-03-28 09:30:00 | 0 | 126.227 | 5.9847 | 173.958 | 5.4733 | 107.971 | 0.37567 | 297.153 | 26.46 | 966.683 | 33.9307 | 24.0756
2019-03-28 09:45:00 | 0 | 102.975 | 5.729 | 136.229 | 3.428 | 101.098 | 1.2627 | 278.313 | 26.46 | 966.832 | 33.5894 | 28.2996
2019-03-28 10:00:00 | 0 | 124.433 | 6.7517 | 198.453 | 8.2857 | 122.313 | 1.007 | 331.408 | 26.46 | 967.129 | 31.5377 | 24.1236
2019-03-28 10:15:00 | 0 | 101.446 | 3.9393 | 182.647 | 3.428 | 111.9 | 0.63133 | 305.165 | 26.46 | 967.574 | 32.4229 | 18.6035
2019-03-28 10:30:00 | 0 | 138.349 | 6.496 | 197.635 | 6.2403 | 123.998 | 3.428 | 316.268 | 26.46 | 967.426 | 32.2147 | 19.0026
2019-03-28 10:45:00 | 0 | 136.002 | 4.4507 | 175.72 | 3.6837 | 121.335 | 0 | 278.486 | 26.46 | 966.932 | 32.1447 | 16.1982
2019-03-28 11:00:00 | 0 | 117.047 | 4.7063 | 168.971 | 4.962 | 124.332 | 0.37567 | 294.566 | 26.46 | 966.988 | 32.8272 | 12.0009
2019-03-28 11:15:00 | 0 | 155.811 | 6.496 | 212.997 | 6.2403 | 125.867 | 1.007 | 347.486 | 26.46 | 966.833 | 32.2129 | 11.0919
2019-03-28 11:30:00 | 0 | 116.316 | 6.2403 | 168.508 | 5.9847 | 124.356 | 2.541 | 307.041 | 26.46 | 967.13 | 31.667 | 10.401
2019-03-28 11:45:00 | 0.372 | 136.538 | 4.962 | 185.782 | 4.7063 | 121.335 | 4.195 | 314.155 | 26.46 | 967.279 | 31.1892 | 8.7235
2019-03-28 12:00:00 | 0 | 143.374 | 4.7063 | 204.551 | 2.9167 | 124.42 | 0 | 316.373 | 26.46 | 967.13 | 31.9376 | 7.0978
2019-03-28 12:15:00 | 0 | 165.461 | 6.496 | 215.621 | 7.263 | 128.407 | 0.63133 | 5.4082 | 26.46 | 966.833 | 30.5026 | 2.8007
2019-03-28 12:30:00 | 0 | 180.035 | 4.4507 | 246.63 | 4.4507 | 133.534 | 5.4733 | 20.5587 | 26.46 | 966.685 | 31.4547 | 2.8561
2019-03-28 12:45:00 | 0 | 165.035 | 4.7063 | 205.09 | 5.2177 | 128.174 | 4.195 | 330.508 | 26.46 | 966.536 | 31.8357 | 4.0791
2019-03-28 13:00:00 | 0 | 197.443 | 5.4733 | 258.063 | 5.2177 | 130.882 | 0 | 26.0935 | 26.46 | 966.982 | 32.8261 | 0.77961
2019-03-28 13:15:00 | 0 | 203.051 | 3.428 | 241.574 | 3.9393 | 130.032 | 1.007 | 17.0549 | 26.46 | 966.24 | 34.8743 | -0.029559
2019-03-28 13:30:00 | 0 | 139.365 | 3.6837 | 204.275 | 3.9393 | 126.671 | 0 | 327.531 | 26.46 | 966.091 | 34.3969 | 1.9472
2019-03-28 13:45:00 | 0 | 356.866 | 3.9393 | 30.0933 | 4.962 | 103.159 | 0 | 157.687 | 26.46 | 965.943 | 39.1059 | 16.9665
2019-03-28 14:00:00 | 0 | 23.5117 | 7.5187 | 64.0817 | 3.9393 | 104.889 | 2.661 | 203.979 | 26.46 | 965.646 | 38.56 | 25.6164
2019-03-28 14:15:00 | 0.88267 | 311.061 | 7.0073 | 0.49049 | 5.729 | 110.931 | 3.1723 | 210.095 | 26.46 | 966.24 | 36.649 | 24.7665
2019-03-28 14:30:00 | 0.372 | 341.736 | 4.962 | 16.9365 | 3.9393 | 88.2236 | 3.6837 | 136.806 | 26.46 | 965.646 | 39.3107 | 28.0624
2019-03-28 14:45:00 | 6.7333 | 351.043 | 5.4733 | 63.0584 | 6.496 | 58.0361 | 3.9393 | 179.347 | 26.46 | 965.057 | 39.9932 | 26.0745
2019-03-28 15:00:00 | 1.2547 | 337.66 | 6.7517 | 49.496 | 5.2177 | 57.7996 | 1.5183 | 155.221 | 26.46 | 965.19 | 40.9537 | 21.0348
2019-03-28 15:15:00 | 0 | 1.5596 | 5.2177 | 69.7007 | 4.962 | 57.6073 | 2.4053 | 183.154 | 26.46 | 964.604 | 41.3652 | 14.1771
2019-03-28 15:30:00 | 0 | 25.2258 | 4.7063 | 70.5202 | 3.9393 | 57.2271 | 1.894 | 198.467 | 26.46 | 964.159 | 39.2899 | 5.9967
2019-03-28 15:45:00 | 0 | 42.0186 | 4.4507 | 93.2358 | 3.1723 | 57.4222 | 0 | 227.081 | 26.46 | 963.565 | 40.314 | 1.6922
2019-03-28 16:00:00 | 0 | 0.097491 | 4.4507 | 47.3176 | 4.4507 | 57.1541 | 4.962 | 186.842 | 26.46 | 963.58 | 39.802 | 5.8194
2019-03-28 16:15:00 | 0 | 6.3379 | 4.4507 | 74.6784 | 2.661 | 57.3336 | 1.894 | 185.603 | 26.46 | 963.637 | 39.8764 | 3.887
2019-03-28 16:30:00 | 0 | 36.7113 | 3.9393 | 94.6923 | 2.4053 | 57.4802 | 0 | 214.612 | 26.46 | 963.723 | 41.3106 | 1.3264
2019-03-28 16:45:00 | 0 | 345.397 | 3.9393 | 28.8757 | 3.6837 | 57.3345 | 2.7967 | 167.616 | 26.46 | 964.116 | 38.8529 | 7.6631
2019-03-28 17:00:00 | 3.414 | 342.423 | 3.428 | 51.2538 | 3.6837 | 57.4809 | 2.9167 | 168.274 | 26.46 | 964.05 | 43.6327 | 9.1152
2019-03-28 17:15:00 | 0 | 346.96 | 3.1723 | 54.3992 | 2.1497 | 57.6277 | 2.4053 | 170.128 | 26.46 | 964.096 | 45.3402 | 5.2282
2019-03-28 17:30:00 | 0.372 | 341.667 | 4.195 | 64.0029 | 3.1723 | 57.0664 | 5.2177 | 161.278 | 26.46 | 964.302 | 45.886 | 21.3488
2019-03-28 17:45:00 | 1.138 | 0 | 4.195 | 59.9675 | 4.195 | 56.9037 | 4.962 | 179.464 | 26.46 | 964.453 | 47.1217 | 10.8402
2019-03-28 18:00:00 | 0 | 0.95086 | 4.195 | 50.4369 | 3.428 | 56.6372 | 4.195 | 175.446 | 26.46 | 964.75 | 47.2597 | 14.6575
2019-03-28 18:15:00 | 0 | 11.1178 | 3.9393 | 52.0217 | 4.4507 | 56.5153 | 0.75133 | 198.901 | 26.46 | 964.472 | 46.9182 | 9.9798
2019-03-28 18:30:00 | 0 | 45.5438 | 4.4507 | 92.4211 | 3.6837 | 56.9542 | 2.9167 | 211.335 | 26.46 | 964.293 | 47.4987 | 3.8057
2019-03-28 18:45:00 | 0 | 36.084 | 5.4733 | 101.515 | 3.9393 | 57.1005 | 4.4507 | 216.943 | 26.46 | 964.106 | 47.1914 | 9.9059
2019-03-28 19:00:00 | 0 | 6.9974 | 5.2177 | 66.9917 | 2.661 | 57.1005 | 0.37567 | 204.557 | 26.46 | 964.748 | 37.5619 | 20.2748
2019-03-28 19:15:00 | 0 | 11.9711 | 7.7743 | 76.3053 | 5.2177 | 55.4426 | 4.4507 | 187.71 | 26.46 | 964.502 | 57.0941 | 21.8957
2019-03-28 19:30:00 | 8.01 | 335.246 | 7.5187 | 67.0176 | 5.9847 | 55.5167 | 6.496 | 174.572 | 26.46 | 964.746 | 61.7391 | 35.6109
2019-03-28 19:45:00 | 6.7333 | 8.7311 | 8.03 | 63.7019 | 6.496 | 51.8015 | 4.4507 | 193.548 | 26.46 | 964.302 | 60.2544 | 29.9889
2019-03-28 20:00:00 | 0 | 27.8039 | 5.2177 | 82.1916 | 4.962 | 52.486 | 5.729 | 207.261 | 26.46 | 964.748 | 57.5918 | 8.8634
2019-03-28 20:15:00 | 0 | 26.6332 | 4.195 | 82.338 | 3.1723 | 53.0714 | 0.37567 | 208.115 | 26.46 | 964.748 | 54.1759 | 2.8561
2019-03-28 20:30:00 | 0 | 1.9999 | 3.9393 | 49.8513 | 3.1723 | 52.8031 | 1.1427 | 195.945 | 26.46 | 964.748 | 53.0828 | 7.8109
2019-03-28 20:45:00 | 0 | 354.915 | 3.6837 | 61.3143 | 2.1497 | 52.486 | 5.4733 | 208.432 | 26.46 | 964.748 | 57.2161 | 9.045
2019-03-28 21:00:00 | 0.372 | 21.7554 | 5.2177 | 68.6799 | 4.7063 | 50.9983 | 2.9167 | 206.871 | 26.46 | 964.748 | 60.6661 | 9.7433
2019-03-28 21:15:00 | 0.62733 | 9.9509 | 5.9847 | 59.607 | 6.2403 | 49.8032 | 4.962 | 195.676 | 26.46 | 964.599 | 64.8676 | 9.2556
2019-03-28 21:30:00 | 0 | 15.8043 | 5.9847 | 65.1678 | 5.2177 | 49.0715 | 3.6837 | 199.554 | 26.46 | 964.451 | 64.2869 | 10.2458
2019-03-28 21:45:00 | 0.99933 | 19.4384 | 5.729 | 69.2652 | 5.729 | 49.3886 | 5.729 | 204.237 | 26.46 | 964.273 | 64.9018 | 6.4401
2019-03-28 22:00:00 | 0 | 74.8607 | 3.9393 | 71.838 | 4.4507 | 49.8584 | 1.3827 | 170.894 | 26.46 | 964.398 | 63.4753 | 4.2454
2019-03-28 22:15:00 | 0 | 27.6635 | 4.962 | 75.993 | 4.7063 | 49.7407 | 1.127 | 201.866 | 26.46 | 964.711 | 65.1208 | 3.8168
2019-03-28 22:30:00 | 0 | 24.3711 | 0.75133 | 104.856 | 2.4053 | 50.9377 | 0 | 190.407 | 26.46 | 965.042 | 54.1894 | 1.6701
2019-03-28 22:45:00 | 1.6267 | 23.024 | 1.894 | 59.6085 | 3.1723 | 50.7309 | 1.2627 | 165.022 | 26.46 | 965.121 | 53.0838 | 2.8413
2019-03-28 23:00:00 | 0 | 335.233 | 2.9167 | 49.4123 | 3.6837 | 50.3885 | 0 | 162.19 | 26.46 | 965.045 | 56.2255 | 2.3573
2019-03-28 23:15:00 | 0 | 340.574 | 2.4053 | 35.803 | 2.1497 | 51.0227 | 0 | 160.702 | 26.46 | 965.64 | 40.3074 | 0.29189
2019-03-28 23:30:00 | 0 | 345.208 | 2.4053 | 55.1194 | 1.3827 | 51.169 | 0 | 164.799 | 26.46 | 965.937 | 39.6926 | -0.26233
2019-03-28 23:45:00 | 0 | 345.186 | 0 | 135.156 | 0 | 51.7999 | 0 | 273.973 | 26.46 | 965.937 | 37.3674 | -0.24016