## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-29 00:00:00 | 0 | 345.004 | 0 | 135.118 | 0 | 51.8846 | 0 | 273.906 | 26.46 | 965.937 | 37.6997 | -0.25125
2019-03-29 00:15:00 | 0 | 339.434 | 0 | 192.359 | 0 | 51.9317 | 0 | 285.015 | 26.46 | 965.937 | 37.2204 | -0.24016
2019-03-29 00:30:00 | 0 | 345.943 | 0.37567 | 48.3646 | 2.661 | 52.2243 | 0 | 356.793 | 26.46 | 965.889 | 52.9964 | -0.24016
2019-03-29 00:45:00 | 0 | 112.397 | 0.75133 | 139.696 | 1.6383 | 52.5169 | 0 | 286.673 | 26.46 | 965.341 | 46.167 | -0.218
2019-03-29 01:00:00 | 0 | 106.19 | 1.3827 | 187.797 | 0 | 53.0343 | 0 | 292.749 | 26.46 | 965.491 | 46.5815 | -0.084981
2019-03-29 01:15:00 | 0 | 105.988 | 1.6383 | 146.274 | 0 | 53.0672 | 0 | 290.846 | 26.46 | 965.342 | 45.9059 | -0.27342
2019-03-29 01:30:00 | 0 | 128.187 | 3.1723 | 190.67 | 1.127 | 54.5576 | 0 | 302.908 | 26.46 | 965.193 | 46.0448 | -0.16627
2019-03-29 01:45:00 | 0 | 129.301 | 3.428 | 172.757 | 2.4053 | 55.3591 | 0 | 301.988 | 26.46 | 965.045 | 46.9984 | -0.040643
2019-03-29 02:00:00 | 0 | 121.242 | 4.4507 | 170.3 | 4.195 | 82.494 | 0.63133 | 294.667 | 26.46 | 964.748 | 48.3258 | 3.5951
2019-03-29 02:15:00 | 0 | 131.712 | 3.6837 | 176.958 | 3.1723 | 81.7286 | 0.37567 | 307.604 | 26.46 | 964.451 | 49.1739 | 5.9007
2019-03-29 02:30:00 | 0 | 111.643 | 5.2177 | 174.32 | 4.962 | 85.4569 | 3.428 | 303.841 | 26.46 | 964.005 | 50.6068 | 10.1978
2019-03-29 02:45:00 | 3.2973 | 124.197 | 6.496 | 179.974 | 5.729 | 86.7479 | 3.9393 | 306.3 | 26.46 | 963.559 | 51.6988 | 15.4445
2019-03-29 03:00:00 | 0 | 131.219 | 5.4733 | 188.995 | 4.962 | 87.0161 | 5.729 | 307.762 | 26.46 | 963.559 | 53.9184 | 18.005
2019-03-29 03:15:00 | 0 | 112.689 | 5.2177 | 185.752 | 4.962 | 87.9182 | 0.63133 | 300.668 | 26.46 | 963.411 | 56.616 | 17.9422
2019-03-29 03:30:00 | 5.712 | 125.611 | 7.5187 | 171.757 | 6.496 | 93.282 | 5.729 | 292.597 | 26.46 | 962.964 | 57.0941 | 32.1267
2019-03-29 03:45:00 | 0 | 123.661 | 6.496 | 183.241 | 4.7063 | 111.324 | 0.75133 | 282.284 | 26.46 | 962.965 | 58.46 | 31.8126
2019-03-29 04:00:00 | 0 | 136.729 | 8.797 | 184.923 | 7.7743 | 116.859 | 2.541 | 323.659 | 26.46 | 963.113 | 60.2698 | 25.5572
2019-03-29 04:15:00 | 0.372 | 152.479 | 5.729 | 203.818 | 5.9847 | 116.859 | 5.729 | 322.269 | 26.46 | 963.559 | 60.9186 | 15.2228
2019-03-29 04:30:00 | 0 | 137.461 | 3.6837 | 185.094 | 4.195 | 116.444 | 0 | 317.832 | 26.46 | 963.559 | 62.2503 | 6.0595
2019-03-29 04:45:00 | 0 | 137.564 | 1.3827 | 227.601 | 2.1497 | 115.962 | 1.774 | 329.793 | 26.46 | 963.708 | 65.1557 | 1.1454
2019-03-29 05:00:00 | 0 | 125.243 | 3.428 | 187.201 | 2.661 | 115.44 | 0 | 329.835 | 26.46 | 963.559 | 65.7104 | 0.051728
2019-03-29 05:15:00 | 0 | 135.213 | 2.9167 | 182.625 | 1.3827 | 115.653 | 0 | 322.668 | 26.46 | 963.559 | 65.3792 | 0.25864
2019-03-29 05:30:00 | 0 | 138.653 | 2.4053 | 189.407 | 2.1497 | 115.24 | 0 | 324.89 | 26.46 | 963.559 | 70.2304 | 0.11084
2019-03-29 05:45:00 | 0 | 140.751 | 4.4507 | 187.505 | 3.428 | 115.825 | 0.37567 | 321.404 | 26.46 | 963.113 | 67.9761 | 1.404
2019-03-29 06:00:00 | 0 | 150.214 | 5.2177 | 192.822 | 5.4733 | 116.703 | 4.962 | 320.526 | 26.46 | 962.965 | 68.0444 | 12.2078
2019-03-29 06:15:00 | 0 | 144.044 | 6.7517 | 187.066 | 6.496 | 117.874 | 4.4507 | 322.379 | 26.46 | 962.668 | 71.3237 | 16.5307
2019-03-29 06:30:00 | 0.372 | 138.581 | 7.0073 | 191.407 | 5.9847 | 117.606 | 5.9847 | 322.184 | 26.46 | 962.965 | 73.6465 | 16.2204
2019-03-29 06:45:00 | 0 | 132.239 | 5.729 | 187.261 | 5.4733 | 121.532 | 1.2627 | 318.989 | 26.46 | 962.965 | 72.3143 | 11.4097
2019-03-29 07:00:00 | 0 | 148.629 | 5.729 | 201.505 | 5.2177 | 123.288 | 5.9847 | 321.135 | 26.46 | 962.965 | 70.9479 | 11.7976
2019-03-29 07:15:00 | 0 | 127.947 | 4.962 | 178.652 | 4.195 | 123.435 | 4.4507 | 317.404 | 26.46 | 963.262 | 70.3672 | 11.6794
2019-03-29 07:30:00 | 0 | 129.372 | 5.4733 | 180.874 | 4.195 | 122.08 | 2.661 | 319.93 | 26.46 | 963.559 | 72.2723 | 4.7811
2019-03-29 07:45:00 | 0 | 151.478 | 2.9167 | 185.17 | 2.661 | 121.167 | 0 | 340.751 | 26.46 | 963.559 | 73.358 | 4.3858
2019-03-29 08:00:00 | 0 | 148.568 | 4.7063 | 194.818 | 4.962 | 122.554 | 0.63133 | 328.575 | 26.46 | 963.559 | 71.3403 | 5.7824
2019-03-29 08:15:00 | 0 | 160.306 | 3.9393 | 219.069 | 4.195 | 123.168 | 0 | 337.534 | 26.46 | 963.559 | 74.0426 | 2.7859
2019-03-29 08:30:00 | 0 | 153.217 | 5.4733 | 204.838 | 4.962 | 123.878 | 4.195 | 331.302 | 26.46 | 963.856 | 73.7041 | 2.8931
2019-03-29 08:45:00 | 0 | 141.006 | 6.2403 | 191.24 | 5.4733 | 124.468 | 1.2627 | 325.802 | 26.46 | 963.856 | 69.8479 | 7.7444
2019-03-29 09:00:00 | 0 | 153.034 | 3.428 | 214.758 | 3.1723 | 124.038 | 5.4733 | 324.312 | 26.46 | 964.153 | 70.5337 | 4.419
2019-03-29 09:15:00 | 0 | 142.206 | 3.9393 | 192.736 | 3.9393 | 124.915 | 1.5183 | 323.385 | 26.46 | 964.302 | 70.3631 | 4.2897
2019-03-29 09:30:00 | 0 | 184.285 | 3.9393 | 214.234 | 4.4507 | 124.873 | 0.63133 | 2.2438 | 26.46 | 964.599 | 72.9286 | 5.2467
2019-03-29 09:45:00 | 0 | 180.354 | 5.4733 | 230.666 | 5.4733 | 126.969 | 5.2177 | 356.834 | 26.46 | 964.748 | 73.6782 | 5.5829
2019-03-29 10:00:00 | 0 | 149.19 | 4.195 | 219.747 | 4.195 | 126.629 | 0 | 314.671 | 26.46 | 964.748 | 75.969 | 4.3082
2019-03-29 10:15:00 | 0 | 183.185 | 4.7063 | 232.62 | 4.7063 | 126.725 | 0.37567 | 2.2438 | 26.46 | 964.748 | 77.0606 | 2.0174
2019-03-29 10:30:00 | 0 | 168.719 | 3.6837 | 209.69 | 3.428 | 126.527 | 0 | 355.022 | 26.46 | 964.748 | 77.9131 | 1.659
2019-03-29 10:45:00 | 0 | 182.672 | 3.428 | 230.96 | 4.962 | 126.529 | 1.1427 | 356.807 | 26.46 | 964.748 | 77.8801 | 2.3758
2019-03-29 11:00:00 | 0 | 160.007 | 6.7517 | 204.22 | 6.7517 | 127.084 | 5.729 | 345.719 | 26.46 | 964.451 | 80.1309 | 11.5316
2019-03-29 11:15:00 | 4.18 | 155.128 | 8.2857 | 197.487 | 7.0073 | 127.058 | 5.729 | 337.424 | 26.46 | 964.005 | 80.8473 | 27.933
2019-03-29 11:30:00 | 3.5527 | 151.859 | 8.5413 | 202.801 | 8.03 | 128.472 | 8.5413 | 342.201 | 26.46 | 963.559 | 81.0173 | 37.2921
2019-03-29 11:45:00 | 6.2227 | 160.295 | 8.03 | 216.785 | 8.797 | 129.597 | 5.4733 | 343.706 | 26.46 | 963.708 | 83.0531 | 38.9141
2019-03-29 12:00:00 | 0 | 145.409 | 5.729 | 195.724 | 5.729 | 131.146 | 0.37567 | 335.289 | 26.46 | 964.051 | 79.0166 | 21.238
2019-03-29 12:15:00 | 0 | 153.503 | 5.4733 | 198.43 | 5.9847 | 130.39 | 1.007 | 337.483 | 26.46 | 964.009 | 79.2215 | 20.5396
2019-03-29 12:30:00 | 0 | 138.252 | 5.729 | 197.385 | 4.7063 | 130.451 | 4.4507 | 354.735 | 26.46 | 964.305 | 79.7602 | 9.8024
2019-03-29 12:45:00 | 0 | 152.967 | 3.9393 | 190.448 | 2.1497 | 129.637 | 0 | 325.166 | 26.46 | 964.413 | 80.9158 | 6.1408
2019-03-29 13:00:00 | 0 | 181.372 | 3.9393 | 237.187 | 3.6837 | 130.909 | 0.37567 | 350.091 | 26.46 | 964.248 | 78.6307 | 7.3601
2019-03-29 13:15:00 | 0.88267 | 126.912 | 4.7063 | 186.369 | 4.4507 | 129.179 | 5.729 | 332.282 | 26.46 | 964.198 | 79.8109 | 3.2441
2019-03-29 13:30:00 | 0 | 166.957 | 3.1723 | 214.618 | 2.9167 | 130.202 | 3.1723 | 355.266 | 26.46 | 963.907 | 79.4693 | 0.32884
2019-03-29 13:45:00 | 0 | 162.688 | 3.9393 | 204.498 | 4.4507 | 129.468 | 1.007 | 339.342 | 26.46 | 964.211 | 77.2829 | 0.30667
2019-03-29 14:00:00 | 0 | 202.562 | 2.1497 | 243.275 | 1.894 | 130.102 | 3.9393 | 24.9577 | 26.46 | 964.474 | 76.3953 | -0.33254
2019-03-29 14:15:00 | 0 | 180.48 | 2.661 | 209.177 | 3.1723 | 130.297 | 0 | 339.22 | 26.46 | 964.457 | 75.6443 | -0.26972
2019-03-29 14:30:00 | 0 | 179.359 | 4.4507 | 207.008 | 4.195 | 130.151 | 0 | 349.895 | 26.46 | 964.456 | 74.0058 | -0.25494
2019-03-29 14:45:00 | 0 | 177.164 | 2.4053 | 220.362 | 2.4053 | 130.052 | 0 | 6.215 | 26.46 | 964.753 | 72.23 | -0.24016
2019-03-29 15:00:00 | 0 | 80.1232 | 1.127 | 153.308 | 0 | 129.786 | 0 | 297.075 | 26.46 | 964.753 | 71.6034 | -0.24016
2019-03-29 15:15:00 | 0 | 186.883 | 4.195 | 246.446 | 4.4507 | 130.81 | 0 | 352.589 | 26.46 | 965.347 | 69.3514 | -0.24016
2019-03-29 15:30:00 | 0 | 205.249 | 4.7063 | 268.43 | 4.7063 | 130.741 | 0.75133 | 69.4395 | 26.46 | 965.467 | 65.2457 | -0.092371
2019-03-29 15:45:00 | 0 | 171.721 | 3.428 | 205.907 | 3.1723 | 130.106 | 2.661 | 14.3263 | 26.46 | 965.201 | 67.1558 | -0.1404
2019-03-29 16:00:00 | 0 | 187.314 | 1.894 | 236.801 | 2.4053 | 130.057 | 1.5183 | 42.6378 | 26.46 | 965.349 | 65.9956 | -0.018474
2019-03-29 16:15:00 | 1.138 | 173.621 | 2.9167 | 223.961 | 2.661 | 130.204 | 0.37567 | 356.72 | 26.46 | 965.349 | 64.8354 | -0.25125
2019-03-29 16:30:00 | 0 | 196.254 | 3.1723 | 232.999 | 3.1723 | 130.227 | 0.37567 | 3.2161 | 26.46 | 965.201 | 63.47 | 0.048033
2019-03-29 16:45:00 | 0 | 152.936 | 3.6837 | 204.664 | 3.1723 | 130.057 | 0 | 342.296 | 26.46 | 964.904 | 66.2685 | -0.12932
2019-03-29 17:00:00 | 0 | 153.009 | 2.1497 | 191.069 | 2.4053 | 129.96 | 0 | 356.208 | 26.46 | 965.349 | 68.7255 | -0.218
2019-03-29 17:15:00 | 0 | 152.814 | 1.3827 | 207.028 | 1.127 | 129.911 | 0 | 327.288 | 26.46 | 965.349 | 68.1112 | -0.22908
2019-03-29 17:30:00 | 0 | 154.053 | 2.9167 | 200.724 | 2.4053 | 129.929 | 1.007 | 353.309 | 26.46 | 965.338 | 69.1446 | -0.218
2019-03-29 17:45:00 | 1.882 | 166.925 | 3.1723 | 205.41 | 3.1723 | 130.128 | 2.2853 | 356.513 | 26.46 | 965.05 | 74.0956 | -0.25125
2019-03-29 18:00:00 | 2.1373 | 176.775 | 2.9167 | 206.715 | 2.9167 | 130.004 | 0 | 48.1117 | 26.46 | 964.753 | 75.5075 | -0.26972
2019-03-29 18:15:00 | 0 | 179.554 | 1.6383 | 219.292 | 0.75133 | 129.858 | 0 | 26.3226 | 26.46 | 964.753 | 73.9034 | -0.24016
2019-03-29 18:30:00 | 0 | 180.773 | 1.3827 | 211.322 | 1.127 | 129.858 | 0 | 26.3226 | 26.46 | 964.788 | 74.0058 | -0.25125
2019-03-29 18:45:00 | 0 | 181.109 | 1.894 | 220.682 | 1.127 | 129.945 | 0 | 25.2529 | 26.46 | 964.913 | 73.3992 | -0.30298
2019-03-29 19:00:00 | 0.372 | 195.015 | 2.9167 | 239.712 | 2.4053 | 130.075 | 0 | 18.5021 | 26.46 | 965.592 | 75.9304 | -0.044338
2019-03-29 19:15:00 | 0 | 182.66 | 3.1723 | 208.612 | 2.9167 | 130.078 | 0.37567 | 353.814 | 26.46 | 965.641 | 77.5025 | -0.15149
2019-03-29 19:30:00 | 0 | 176.699 | 2.661 | 210.479 | 2.4053 | 129.989 | 0 | 356.786 | 26.46 | 965.623 | 78.5316 | -0.23647
2019-03-29 19:45:00 | 0 | 181.54 | 1.6383 | 225.71 | 1.6383 | 129.95 | 0 | 0.24381 | 26.46 | 965.641 | 78.2645 | -0.21061
2019-03-29 20:00:00 | 0 | 180.249 | 1.6383 | 200.356 | 1.3827 | 129.902 | 0 | 20.6752 | 26.46 | 965.641 | 75.6018 | -0.18105
2019-03-29 20:15:00 | 0 | 177.933 | 2.9167 | 208.841 | 1.6383 | 129.902 | 0 | 356.671 | 26.46 | 965.641 | 78.0604 | 0.73527
2019-03-29 20:30:00 | 0 | 161.89 | 3.1723 | 207.158 | 2.4053 | 129.951 | 0.37567 | 351.795 | 26.46 | 965.938 | 80.28 | 1.0678
2019-03-29 20:45:00 | 0 | 159.915 | 5.4733 | 204.16 | 4.7063 | 130.463 | 0.37567 | 343.7 | 26.46 | 965.79 | 83.7289 | 5.0065
2019-03-29 21:00:00 | 0 | 155.941 | 4.7063 | 198.016 | 4.7063 | 130.414 | 3.428 | 340.872 | 26.46 | 965.666 | 85.7094 | 5.4795
2019-03-29 21:15:00 | 0 | 179.567 | 3.428 | 225.908 | 2.661 | 130.097 | 0.37567 | 354.55 | 26.46 | 966.098 | 87.0753 | 2.8007
2019-03-29 21:30:00 | 0 | 178.323 | 4.195 | 213.327 | 4.195 | 130.439 | 2.7967 | 353.648 | 26.46 | 966.221 | 86.3923 | 2.4571
2019-03-29 21:45:00 | 0 | 185.491 | 4.4507 | 222.689 | 4.195 | 130.341 | 0.887 | 5.2176 | 26.46 | 966.374 | 83.3191 | 1.6627
2019-03-29 22:00:00 | 0 | 180.859 | 3.9393 | 219.666 | 3.1723 | 130.244 | 1.5183 | 1.3653 | 26.46 | 966.531 | 83.1142 | 0.46186
2019-03-29 22:15:00 | 0 | 207.58 | 4.4507 | 244.632 | 3.6837 | 130.341 | 0 | 34.5236 | 26.46 | 966.531 | 83.0459 | 0.65768
2019-03-29 22:30:00 | 0 | 196.78 | 4.195 | 230.394 | 3.6837 | 130.244 | 0.75133 | 18.0176 | 26.46 | 966.818 | 84.2752 | 0.76483
2019-03-29 22:45:00 | 0.372 | 214.212 | 2.9167 | 246.485 | 2.661 | 130.195 | 0 | 46.129 | 26.46 | 966.828 | 83.5923 | 0.2882
2019-03-29 23:00:00 | 0 | 210.896 | 4.4507 | 250.825 | 3.6837 | 130.268 | 0 | 41.4478 | 26.46 | 967.125 | 79.5629 | 0.89415
2019-03-29 23:15:00 | 0 | 248.443 | 3.9393 | 298.368 | 2.9167 | 130.195 | 0.37567 | 74.5086 | 26.46 | 967.422 | 76.1482 | 0.39165
2019-03-29 23:30:00 | 0 | 255.66 | 3.9393 | 299.27 | 3.1723 | 130.244 | 0 | 79.3361 | 26.46 | 967.571 | 71.5042 | 2.2428
2019-03-29 23:45:00 | 0 | 270.094 | 6.2403 | 319.287 | 6.2403 | 132.487 | 0 | 95.2082 | 26.46 | 968.294 | 70.4115 | 9.9244