## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-30 00:00:00 | 0 | 302.959 | 5.2177 | 17.7326 | 4.962 | 130.146 | 1.1427 | 119.882 | 26.46 | 968.291 | 73.6555 | 15.7585
2019-03-30 00:15:00 | 2.648 | 348.064 | 5.729 | 25.5439 | 5.729 | 73.6065 | 1.894 | 143.946 | 26.46 | 968.312 | 75.0897 | 36.1178
2019-03-30 00:30:00 | 4.18 | 337.19 | 7.5187 | 29.5668 | 3.9393 | 72.9238 | 3.428 | 179.299 | 26.46 | 967.867 | 58.3917 | 55.9396
2019-03-30 00:45:00 | 2.9033 | 356.864 | 8.2857 | 66.9973 | 6.2403 | 70.222 | 4.962 | 177.725 | 26.46 | 967.868 | 58.8735 | 61.211
2019-03-30 01:00:00 | 10.0527 | 348.895 | 7.7743 | 60.6024 | 7.7743 | 69.0181 | 2.2853 | 187.666 | 26.46 | 967.719 | 57.5202 | 58.6409
2019-03-30 01:15:00 | 4.6907 | 18.5603 | 8.2857 | 65.4117 | 7.263 | 65.9733 | 5.4733 | 184.189 | 26.46 | 967.719 | 48.608 | 64.2941
2019-03-30 01:30:00 | 6.9887 | 2.9755 | 11.098 | 57.9486 | 9.8197 | 57.3883 | 5.4733 | 162.385 | 26.46 | 967.571 | 44.2015 | 65.8532
2019-03-30 01:45:00 | 4.18 | 346.744 | 7.5187 | 65.119 | 9.3083 | 54.803 | 4.195 | 179.311 | 26.46 | 968.017 | 43.1085 | 64.284
2019-03-30 02:00:00 | 8.2653 | 9.5119 | 8.03 | 72.3871 | 7.7743 | 44.8521 | 2.541 | 188.164 | 26.46 | 968.017 | 43.3817 | 62.3727
2019-03-30 02:15:00 | 7.7547 | 14.4141 | 7.263 | 67.8019 | 5.2177 | 13.8776 | 5.2177 | 184.408 | 26.46 | 968.314 | 43.6892 | 49.8841
2019-03-30 02:30:00 | 6.9887 | 180.628 | 7.0073 | 58.1925 | 3.9393 | 8.707 | 5.9847 | 179.384 | 26.46 | 968.314 | 43.1085 | 47.4022
2019-03-30 02:45:00 | 3.1587 | 7.2193 | 9.0527 | 67.7043 | 8.2857 | 5.9266 | 4.7063 | 190.408 | 26.46 | 968.314 | 43.1768 | 52.6722
2019-03-30 03:00:00 | 5.4567 | 3.7072 | 9.564 | 63.8264 | 10.331 | 19.7798 | 3.1723 | 174.677 | 26.46 | 968.314 | 41.1956 | 56.7196
2019-03-30 03:15:00 | 3.042 | 6.4632 | 7.5187 | 63.9971 | 7.5187 | 21.3651 | 5.2177 | 201.31 | 26.46 | 968.314 | 42.4936 | 53.2132
2019-03-30 03:30:00 | 4.18 | 346.891 | 8.2857 | 62.6801 | 9.564 | 13.6825 | 1.6383 | 169.287 | 26.46 | 968.462 | 38.0529 | 56.1321
2019-03-30 03:45:00 | 9.7973 | 82.7045 | 7.263 | 62.802 | 7.5187 | 2.5121 | 5.729 | 194.115 | 26.46 | 968.314 | 38.8044 | 55.9178
2019-03-30 04:00:00 | 7.4993 | 13.2435 | 8.2857 | 64.68 | 10.5867 | 15.8287 | 4.7063 | 160.116 | 26.46 | 968.462 | 36.2767 | 56.387
2019-03-30 04:15:00 | 5.9673 | 9.8289 | 10.0753 | 65.7532 | 6.2403 | 0.36584 | 2.1497 | 187.408 | 26.46 | 968.625 | 35.2861 | 56.2862
2019-03-30 04:30:00 | 9.0313 | 4.5608 | 9.3083 | 55.7535 | 7.0073 | 23.8772 | 5.2177 | 180.457 | 26.46 | 968.943 | 32.1776 | 52.6146
2019-03-30 04:45:00 | 3.6693 | 19.2196 | 7.7743 | 68.4881 | 8.5413 | 13.2683 | 5.2177 | 183.244 | 26.46 | 968.673 | 27.738 | 49.7585
2019-03-30 05:00:00 | 5.2013 | 350.274 | 7.7743 | 74.0145 | 9.8197 | 41.3479 | 3.9393 | 171.709 | 26.46 | 969.173 | 26.9906 | 50.4422
2019-03-30 05:15:00 | 6.478 | 343.072 | 7.263 | 43.6232 | 8.03 | 21.224 | 1.894 | 181.355 | 26.46 | 969.502 | 25.6937 | 48.3988
2019-03-30 05:30:00 | 8.5207 | 356.933 | 7.0073 | 61.8531 | 7.5187 | 20.7377 | 5.4733 | 180.687 | 26.46 | 969.799 | 25.4908 | 41.3786
2019-03-30 05:45:00 | 2.0207 | 355.045 | 5.4733 | 63.4854 | 7.5187 | 24.4455 | 0.63133 | 168.654 | 26.46 | 969.799 | 26.9252 | 32.9174
2019-03-30 06:00:00 | 5.4567 | 355.382 | 6.7517 | 15.0552 | 7.5187 | 20.0036 | 5.729 | 169.982 | 26.46 | 969.948 | 26.3763 | 34.3103
2019-03-30 06:15:00 | 5.4567 | 0.097579 | 8.03 | 46.8174 | 6.2403 | 8.1479 | 4.4507 | 176.277 | 26.46 | 970.221 | 25.2148 | 32.0232
2019-03-30 06:30:00 | 0.372 | 349.841 | 6.2403 | 37.7701 | 5.729 | 16.4918 | 2.661 | 163.893 | 26.46 | 970.691 | 24.977 | 24.0128
2019-03-30 06:45:00 | 0.99933 | 345.343 | 7.0073 | 66.781 | 6.2403 | 27.0002 | 4.195 | 167.83 | 26.46 | 970.546 | 25.1419 | 21.8993
2019-03-30 07:00:00 | 0 | 7.8778 | 6.496 | 57.412 | 2.9167 | 25.7552 | 3.1723 | 162.531 | 26.46 | 970.693 | 24.8676 | 20.3438
2019-03-30 07:15:00 | 0 | 354.915 | 7.263 | 19.0475 | 6.2403 | 30.0722 | 0.63133 | 140.288 | 26.46 | 971.137 | 25.1409 | 19.4903
2019-03-30 07:30:00 | 0 | 356.964 | 5.2177 | 52.9731 | 3.428 | 20.0481 | 0 | 199.042 | 26.46 | 971.286 | 25.0043 | 28.369
2019-03-30 07:45:00 | 0 | 336.901 | 5.2177 | 12.0858 | 3.1723 | 10.6302 | 1.1427 | 129.294 | 26.46 | 971.489 | 26.4643 | 38.5853
2019-03-30 08:00:00 | 0 | 20.5533 | 3.428 | 76.5491 | 1.6383 | 30.647 | 0.887 | 192.269 | 26.46 | 971.585 | 25.9519 | 48.7869
2019-03-30 08:15:00 | 1.2547 | 2.2915 | 5.729 | 124.802 | 5.2177 | 18.8681 | 2.4053 | 178.394 | 26.46 | 971.859 | 25.0603 | 64.3162
2019-03-30 08:30:00 | 6.478 | 25.9342 | 3.428 | 44.7379 | 5.4733 | 20.8643 | 0.37567 | 209.935 | 26.46 | 971.751 | 23.6915 | 69.0171
2019-03-30 08:45:00 | 0 | 24.8847 | 1.3827 | 75.639 | 2.1497 | 20.595 | 4.4507 | 127.519 | 26.46 | 972.213 | 22.0858 | 71.0223
2019-03-30 09:00:00 | 5.9673 | 85.719 | 8.2857 | 64.866 | 3.9393 | 38.314 | 4.4507 | 146.358 | 26.46 | 971.926 | 21.164 | 81.3548
2019-03-30 09:15:00 | 9.2867 | 15.5011 | 7.7743 | 71.471 | 5.2177 | 19.352 | 8.5413 | 189.645 | 26.46 | 971.893 | 20.4813 | 79.3099
2019-03-30 09:30:00 | 6.478 | 219.501 | 6.2403 | 46.0989 | 4.7063 | 23.4222 | 4.7063 | 168.513 | 26.46 | 972.518 | 21.7785 | 77.7506
2019-03-30 09:45:00 | 2.3927 | 352.771 | 4.4507 | 75.3463 | 6.2403 | 31.5627 | 2.4053 | 196.786 | 26.46 | 972.482 | 21.3688 | 76.1453
2019-03-30 10:00:00 | 5.2013 | 320.916 | 8.2857 | 53.5814 | 7.5187 | 351.382 | 2.661 | 134.026 | 26.46 | 972.92 | 18.0918 | 80.7114
2019-03-30 10:15:00 | 4.946 | 333.103 | 9.3083 | 15.7548 | 8.797 | 356.964 | 4.195 | 161.884 | 26.46 | 973.068 | 17.5457 | 83.2449
2019-03-30 10:30:00 | 6.478 | 310.533 | 8.2857 | 10.4416 | 11.098 | 337.222 | 2.4053 | 170.512 | 26.46 | 972.771 | 16.3168 | 80.6163
2019-03-30 10:45:00 | 4.946 | 332.761 | 3.428 | 109.639 | 1.127 | 335.126 | 3.6837 | 189.815 | 26.46 | 972.92 | 16.4533 | 80.9208
2019-03-30 11:00:00 | 2.1373 | 311.289 | 9.8197 | 329.018 | 7.0073 | 318.601 | 1.2627 | 105.729 | 26.46 | 973.068 | 15.9072 | 81.2745
2019-03-30 11:15:00 | 1.3933 | 325.596 | 7.7743 | 18.3627 | 9.3083 | 306.488 | 2.0297 | 150.77 | 26.46 | 973.81 | 15.7365 | 85.0167
2019-03-30 11:30:00 | 3.9247 | 335.759 | 7.5187 | 1.7405 | 5.729 | 7.5068 | 1.2627 | 151.379 | 26.46 | 973.068 | 12.6984 | 84.405
2019-03-30 11:45:00 | 4.4353 | 50.3054 | 4.7063 | 19.3133 | 10.0753 | 9.7247 | 1.2627 | 106.46 | 26.46 | 973.365 | 13.1763 | 83.4571
2019-03-30 12:00:00 | 3.1587 | 330.568 | 9.8197 | 7.4925 | 9.3083 | 22.4229 | 4.7063 | 157.399 | 26.46 | 972.771 | 13.3129 | 84.3147
2019-03-30 12:15:00 | 6.7333 | 313.629 | 7.263 | 26.0889 | 9.0527 | 22.4229 | 4.195 | 143.604 | 26.46 | 972.771 | 14.2687 | 85.9975
2019-03-30 12:30:00 | 5.2013 | 312.191 | 6.2403 | 4.0846 | 4.4507 | 22.1305 | 1.774 | 154.255 | 26.46 | 973.068 | 15.2244 | 81.8601
2019-03-30 12:45:00 | 3.1587 | 306.609 | 12.632 | 12.9319 | 12.8877 | 27.7606 | 5.729 | 144.847 | 26.46 | 973.668 | 15.0879 | 58.6638
2019-03-30 13:00:00 | 2.9033 | 282.651 | 9.8197 | 326.532 | 7.5187 | 21.643 | 3.9393 | 121.864 | 26.46 | 972.771 | 15.361 | 68.7668
2019-03-30 13:15:00 | 6.478 | 317.65 | 9.8197 | 46.0502 | 7.263 | 21.6674 | 3.6837 | 156.79 | 26.46 | 972.806 | 14.2004 | 76.3835
2019-03-30 13:30:00 | 0 | 32.952 | 3.6837 | 95.137 | 3.428 | 41.0437 | 0.75133 | 172.389 | 26.46 | 972.519 | 15.9754 | 72.9436
2019-03-30 13:45:00 | 5.712 | 330.668 | 11.3537 | 9.9787 | 9.3083 | 34.1222 | 4.7063 | 152.429 | 26.46 | 972.552 | 14.4053 | 78.061
2019-03-30 14:00:00 | 5.4567 | 338.635 | 10.331 | 13.805 | 9.564 | 34.1706 | 4.962 | 160.08 | 26.46 | 972.519 | 15.6341 | 67.5668
2019-03-30 14:15:00 | 7.4993 | 17.6215 | 9.3083 | 75.3463 | 4.7063 | 40.8 | 4.4507 | 196.566 | 26.46 | 972.538 | 16.7605 | 70.3147
2019-03-30 14:30:00 | 11.5847 | 28.443 | 10.0753 | 69.2043 | 8.5413 | 40.6538 | 2.4053 | 183.576 | 26.46 | 972.772 | 16.2485 | 68.0098
2019-03-30 14:45:00 | 0.372 | 348.945 | 8.797 | 74.542 | 4.4507 | 39.8738 | 1.894 | 183.917 | 26.46 | 973.068 | 14.8831 | 64.6143
2019-03-30 15:00:00 | 11.84 | 322.793 | 9.3083 | 23.3835 | 3.9393 | 47.0394 | 4.4507 | 156.034 | 26.46 | 973.068 | 16.0437 | 59.4316
2019-03-30 15:15:00 | 5.712 | 28.8772 | 7.263 | 26.0086 | 11.098 | 43.2549 | 4.7063 | 204.724 | 26.46 | 973.068 | 15.9729 | 56.5116
2019-03-30 15:30:00 | 8.776 | 9.1869 | 10.8423 | 80.8118 | 8.797 | 44.8621 | 4.7063 | 207.033 | 26.46 | 972.771 | 15.4947 | 54.8483
2019-03-30 15:45:00 | 4.4353 | 59.5062 | 3.428 | 94.1876 | 5.729 | 46.908 | 4.195 | 210.782 | 26.46 | 973.068 | 15.4261 | 53.8458
2019-03-30 16:00:00 | 0 | 18.4468 | 5.729 | 58.0274 | 2.661 | 49.9307 | 5.729 | 150.84 | 26.46 | 973.068 | 15.836 | 38.4588
2019-03-30 16:15:00 | 2.276 | 301.849 | 3.9393 | 37.5089 | 3.1723 | 49.1262 | 5.4733 | 141.189 | 26.46 | 973.068 | 16.1772 | 45.9491
2019-03-30 16:30:00 | 0 | 6.2138 | 3.6837 | 57.6849 | 4.4507 | 48.2972 | 4.962 | 163.216 | 26.46 | 973.068 | 16.5524 | 33.0878
2019-03-30 16:45:00 | 11.84 | 352.756 | 7.7743 | 46.891 | 5.2177 | 50.7104 | 3.6837 | 179.18 | 26.46 | 973.068 | 16.5186 | 31.7646
2019-03-30 17:00:00 | 4.6907 | 330.29 | 7.5187 | 86.3438 | 5.2177 | 49.7603 | 2.661 | 172.577 | 26.46 | 973.068 | 16.8599 | 26.2001
2019-03-30 17:15:00 | 2.1593 | 355.791 | 4.4507 | 85.8257 | 2.661 | 49.7688 | 5.4733 | 176.043 | 26.46 | 972.771 | 17.6138 | 21.4818
2019-03-30 17:30:00 | 0.372 | 27.59 | 7.263 | 86.5821 | 1.894 | 49.6229 | 4.962 | 193.398 | 26.46 | 972.474 | 17.375 | 20.584
2019-03-30 17:45:00 | 0 | 15.7935 | 5.9847 | 90.9935 | 6.2403 | 49.9154 | 0.37567 | 181.772 | 26.46 | 972.474 | 17.4774 | 17.3104
2019-03-30 18:00:00 | 0 | 10.5535 | 4.962 | 69.8875 | 3.428 | 49.8671 | 5.9847 | 177.191 | 26.46 | 972.549 | 17.4093 | 9.5512
2019-03-30 18:15:00 | 0 | 336.337 | 5.2177 | 50.0174 | 2.9167 | 49.9289 | 4.4507 | 162.513 | 26.46 | 972.31 | 17.8918 | 4.6998
2019-03-30 18:30:00 | 0 | 347.918 | 3.1723 | 54.4842 | 2.4053 | 49.9324 | 0 | 162.744 | 26.46 | 972.177 | 18.0297 | 5.206
2019-03-30 18:45:00 | 0 | 336.215 | 4.4507 | 30.1763 | 2.9167 | 49.9324 | 0 | 151.333 | 26.46 | 972.467 | 18.4395 | 5.3945
2019-03-30 19:00:00 | 2.648 | 345.754 | 4.195 | 29.6025 | 3.428 | 49.9439 | 2.9167 | 169.292 | 26.46 | 972.771 | 18.2388 | 4.2417
2019-03-30 19:15:00 | 0 | 348.18 | 3.9393 | 34.5342 | 3.428 | 49.949 | 0.37567 | 170.431 | 26.46 | 973.068 | 18.5139 | 3.2182
2019-03-30 19:30:00 | 0 | 348.598 | 4.195 | 39.0712 | 2.9167 | 49.9007 | 0 | 169.458 | 26.46 | 973.068 | 18.5141 | 2.845
2019-03-30 19:45:00 | 0 | 349.33 | 4.4507 | 39.0224 | 3.1723 | 49.9251 | 0 | 173.116 | 26.46 | 973.068 | 19.4705 | 2.0987
2019-03-30 20:00:00 | 0 | 351.549 | 3.6837 | 46.5343 | 2.9167 | 49.9495 | 0 | 170.336 | 26.46 | 973.366 | 19.3339 | 0.29928
2019-03-30 20:15:00 | 0 | 85.9971 | 1.127 | 55.0218 | 1.6383 | 49.9495 | 0 | 177.604 | 26.46 | 973.663 | 18.3091 | -0.3547
2019-03-30 20:30:00 | 0 | 356.939 | 1.894 | 42.0467 | 1.894 | 49.9495 | 0 | 185.116 | 26.46 | 973.96 | 18.2408 | -0.25864
2019-03-30 20:45:00 | 0 | 11.8045 | 2.4053 | 66.5336 | 0.75133 | 49.9495 | 0 | 201.115 | 26.46 | 974.257 | 19.3339 | -0.24016
2019-03-30 21:00:00 | 0 | 12.3898 | 1.894 | 70.0945 | 1.3827 | 49.9495 | 0 | 203.066 | 26.46 | 974.257 | 17.9675 | -0.24016
2019-03-30 21:15:00 | 0 | 34.8281 | 2.661 | 79.7771 | 1.894 | 49.9983 | 0.887 | 216.919 | 26.46 | 974.257 | 17.6943 | -0.24016
2019-03-30 21:30:00 | 0.372 | 34.7305 | 2.9167 | 80.4844 | 1.6383 | 49.9983 | 0 | 216.456 | 26.46 | 974.257 | 17.2161 | -0.24016
2019-03-30 21:45:00 | 2.7867 | 30.0478 | 2.4053 | 80.5819 | 1.894 | 49.9983 | 0 | 205.505 | 26.46 | 974.257 | 16.772 | -0.24016
2019-03-30 22:00:00 | 1.3713 | 30.1453 | 2.4053 | 80.6307 | 1.894 | 49.9983 | 0 | 215.724 | 26.46 | 974.257 | 16.6012 | -0.24016
2019-03-30 22:15:00 | 0.88267 | 35.95 | 2.661 | 87.8988 | 2.1497 | 50.0471 | 0 | 220.09 | 26.46 | 974.257 | 16.7378 | -0.24016
2019-03-30 22:30:00 | 0 | 46.3399 | 2.661 | 104.313 | 1.894 | 50.0471 | 0.887 | 228.431 | 26.46 | 974.406 | 16.8745 | -0.24016
2019-03-30 22:45:00 | 0 | 69.022 | 2.4053 | 124.434 | 1.3827 | 50.0715 | 0 | 244.821 | 26.46 | 974.703 | 16.5329 | -0.25125
2019-03-30 23:00:00 | 13.1167 | 91.9725 | 2.4053 | 151.726 | 2.661 | 50.1446 | 0.75133 | 273.015 | 26.46 | 974.852 | 15.9863 | -0.25125
2019-03-30 23:15:00 | 0 | 107.826 | 2.661 | 166.116 | 2.4053 | 50.1446 | 0 | 290.185 | 26.46 | 975 | 16.3962 | -0.18105
2019-03-30 23:30:00 | 0 | 126.191 | 3.6837 | 179.261 | 3.9393 | 50.2422 | 0 | 303.697 | 26.46 | 975 | 17.0111 | -0.15888
2019-03-30 23:45:00 | 0.372 | 126.581 | 3.1723 | 179.359 | 3.1723 | 50.2422 | 0 | 303.453 | 26.46 | 975.446 | 16.7378 | -0.16257