## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-01 00:00:00 | 0 | 150.846 | 5.9847 | 202.672 | 7.0073 | 125.758 | 1.2627 | 342.579 | 26.46 | 973.217 | 19.3956 | 43.2519
2019-04-01 00:15:00 | 0.744 | 151.406 | 6.496 | 200.356 | 6.2403 | 125.319 | 4.962 | 322.464 | 26.46 | 973.068 | 20.3517 | 42.9045
2019-04-01 00:30:00 | 0 | 169.912 | 8.2857 | 192.457 | 8.2857 | 128.366 | 4.4507 | 6.7292 | 26.46 | 972.795 | 20.5566 | 35.8769
2019-04-01 00:45:00 | 5.4567 | 168.888 | 9.3083 | 209.06 | 7.5187 | 131.219 | 3.6837 | 1.4629 | 26.46 | 972.807 | 20.4883 | 28.7459
2019-04-01 01:00:00 | 7.244 | 166.401 | 8.2857 | 220.032 | 7.5187 | 131.853 | 2.541 | 346.114 | 26.46 | 972.797 | 21.581 | 30.7079
2019-04-01 01:15:00 | 5.4567 | 165.938 | 8.797 | 213.473 | 7.0073 | 133.048 | 5.4733 | 355.72 | 26.46 | 972.328 | 22.6054 | 39.8932
2019-04-01 01:30:00 | 0.744 | 159.355 | 7.7743 | 207.11 | 8.2857 | 132.706 | 4.962 | 343.237 | 26.46 | 972.204 | 23.0835 | 44.3197
2019-04-01 01:45:00 | 4.18 | 172.911 | 9.0527 | 198.82 | 7.5187 | 133.584 | 0.37567 | 354.525 | 26.46 | 971.901 | 23.425 | 40.7784
2019-04-01 02:00:00 | 12.8613 | 172.716 | 8.2857 | 225.2 | 8.797 | 135.193 | 5.9847 | 88.5521 | 26.46 | 972.187 | 23.4933 | 44.2606
2019-04-01 02:15:00 | 3.9247 | 170.668 | 9.564 | 201.039 | 8.03 | 134.584 | 4.962 | 89.698 | 26.46 | 972.028 | 23.8347 | 45.0623
2019-04-01 02:30:00 | 2.9033 | 168.4 | 9.0527 | 194.115 | 8.5413 | 137.607 | 5.4733 | 348.284 | 26.46 | 971.802 | 25.2006 | 46.5846
2019-04-01 02:45:00 | 3.9247 | 154.503 | 8.2857 | 203.184 | 8.797 | 138.582 | 4.7063 | 344.383 | 26.46 | 971.998 | 25.5421 | 47.8462
2019-04-01 03:00:00 | 8.5207 | 158.087 | 8.5413 | 188.19 | 7.7743 | 137.387 | 5.4733 | 134.705 | 26.46 | 971.804 | 26.0884 | 48.2732
2019-04-01 03:15:00 | 3.9247 | 179.542 | 11.3537 | 205.208 | 10.8423 | 138.923 | 0.75133 | 355.842 | 26.46 | 971.272 | 27.0446 | 52.358
2019-04-01 03:30:00 | 4.6907 | 168.205 | 9.3083 | 215.326 | 9.564 | 139.655 | 3.9393 | 355.354 | 26.46 | 971.88 | 28.6153 | 46.6031
2019-04-01 03:45:00 | 3.1587 | 149.188 | 10.0753 | 195.553 | 9.0527 | 138.728 | 4.4507 | 345.407 | 26.46 | 971.879 | 28.3421 | 47.115
2019-04-01 04:00:00 | 5.4567 | 149.09 | 9.564 | 200.356 | 8.03 | 138.046 | 5.2177 | 331.339 | 26.46 | 971.88 | 29.3666 | 41.2012
2019-04-01 04:15:00 | 9.2867 | 168.255 | 7.7743 | 208.233 | 7.5187 | 138.973 | 2.661 | 89.4793 | 26.46 | 971.88 | 30.3912 | 36.579
2019-04-01 04:30:00 | 3.2973 | 142.264 | 6.7517 | 188.922 | 8.03 | 131.463 | 5.2177 | 343.115 | 26.46 | 971.88 | 32.3032 | 32.5368
2019-04-01 04:45:00 | 10.308 | 156.795 | 8.797 | 196.163 | 6.7517 | 154.625 | 3.1723 | 332.144 | 26.46 | 972.177 | 32.0984 | 31.3249
2019-04-01 05:00:00 | 4.946 | 163.89 | 8.5413 | 210.231 | 7.5187 | 156.088 | 5.729 | 348.991 | 26.46 | 972.028 | 34.9667 | 28.1806
2019-04-01 05:15:00 | 3.6693 | 157.697 | 5.9847 | 208.061 | 4.962 | 157.794 | 5.729 | 12.5563 | 26.46 | 972.326 | 34.6594 | 27.0906
2019-04-01 05:30:00 | 8.01 | 152.114 | 8.2857 | 214.936 | 5.9847 | 156.819 | 2.1497 | 347.382 | 26.46 | 972.46 | 34.4887 | 26.311
2019-04-01 05:45:00 | 3.9247 | 144.165 | 8.5413 | 198.455 | 8.03 | 156.088 | 3.428 | 335.801 | 26.46 | 972.414 | 36.196 | 28.3025
2019-04-01 06:00:00 | 2.648 | 151.309 | 5.729 | 193.53 | 6.2403 | 161.305 | 2.4053 | 327.609 | 26.46 | 972.933 | 35.5131 | 26.0819
2019-04-01 06:15:00 | 0 | 163.207 | 8.03 | 202.721 | 8.2857 | 145.409 | 0.75133 | 355.33 | 26.46 | 972.938 | 35.7863 | 23.6877
2019-04-01 06:30:00 | 0.88267 | 182.297 | 8.5413 | 225.347 | 9.0527 | 165.255 | 0 | 2.56 | 26.46 | 973.369 | 35.5131 | 24.1089
2019-04-01 06:45:00 | 4.18 | 158.623 | 8.2857 | 212.888 | 7.263 | 164.889 | 4.962 | 352.014 | 26.46 | 973.514 | 33.1228 | 21.2121
2019-04-01 07:00:00 | 0 | 154.749 | 9.564 | 192.329 | 7.7743 | 161.453 | 2.0297 | 0.19502 | 26.46 | 973.811 | 33.9374 | 23.9927
2019-04-01 07:15:00 | 3.042 | 178.861 | 9.0527 | 229.865 | 8.5413 | 176.521 | 1.894 | 7.3124 | 26.46 | 973.701 | 35.7768 | 19.8376
2019-04-01 07:30:00 | 0 | 164.175 | 6.2403 | 214.905 | 6.496 | 170.22 | 3.6837 | 5.3864 | 26.46 | 974.006 | 36.252 | 15.3299
2019-04-01 07:45:00 | 0 | 186.622 | 7.7743 | 230.625 | 9.0527 | 166.734 | 3.1723 | 1.4136 | 26.46 | 974.156 | 36.6274 | 13.5342
2019-04-01 08:00:00 | 0 | 153.427 | 6.7517 | 198.331 | 6.7517 | 155.157 | 1.1427 | 339.196 | 26.46 | 974.256 | 37.6174 | 9.8246
2019-04-01 08:15:00 | 4.3187 | 195.957 | 6.496 | 229.821 | 5.4733 | 181.212 | 5.4733 | 17.2559 | 26.46 | 974.553 | 37.0029 | 7.556
2019-04-01 08:30:00 | 1.51 | 186.305 | 6.496 | 226.872 | 5.9847 | 182.576 | 1.5183 | 8.1405 | 26.46 | 974.553 | 37.2077 | 9.5031
2019-04-01 08:45:00 | 0 | 181.793 | 7.263 | 223.106 | 7.5187 | 171.168 | 1.1427 | 1.3159 | 26.46 | 974.404 | 38.226 | 10.6966
2019-04-01 09:00:00 | 0 | 162.295 | 5.2177 | 225.344 | 6.2403 | 185.494 | 1.1427 | 344.719 | 26.46 | 974.85 | 36.7237 | 8.5351
2019-04-01 09:15:00 | 0 | 189.148 | 4.962 | 223.344 | 5.4733 | 189.051 | 0 | 0.58484 | 26.46 | 975.147 | 35.4265 | 3.5138
2019-04-01 09:30:00 | 0 | 172.787 | 4.195 | 220.601 | 3.9393 | 181.462 | 5.9847 | 348.668 | 26.46 | 975.428 | 34.8101 | -0.11084
2019-04-01 09:45:00 | 0 | 221.668 | 2.4053 | 226.3 | 3.6837 | 177.714 | 5.9847 | 29.8221 | 26.46 | 975.448 | 34.9429 | -0.25494
2019-04-01 10:00:00 | 0 | 247.056 | 2.4053 | 306.532 | 3.6837 | 211.435 | 0 | 80.5732 | 26.46 | 975.739 | 34.8746 | -0.30667
2019-04-01 10:15:00 | 0 | 278.882 | 1.6383 | 316.169 | 0.75133 | 207.859 | 0.37567 | 95.1609 | 26.46 | 975.888 | 34.3175 | 0.22169
2019-04-01 10:30:00 | 0 | 292.006 | 3.9393 | 13.2777 | 4.195 | 210.34 | 0 | 103.465 | 26.46 | 976.036 | 35.545 | 1.1232
2019-04-01 10:45:00 | 0 | 298.46 | 4.195 | 18.7335 | 4.195 | 212.142 | 0.37567 | 122.999 | 26.46 | 975.894 | 34.7945 | 1.3523
2019-04-01 11:00:00 | 0 | 296.862 | 4.962 | 336.868 | 2.4053 | 212.796 | 0 | 117.576 | 26.46 | 976.183 | 34.517 | 2.6086
2019-04-01 11:15:00 | 0 | 280.681 | 2.661 | 12.8405 | 2.9167 | 213.64 | 0 | 124.731 | 26.46 | 975.887 | 36.6985 | 4.02
2019-04-01 11:30:00 | 0 | 302.695 | 4.7063 | 2.136 | 4.195 | 216.465 | 0.63133 | 125.145 | 26.46 | 975.738 | 35.6071 | 7.2678
2019-04-01 11:45:00 | 0 | 2.2891 | 3.9393 | 14.1555 | 1.6383 | 217.295 | 5.729 | 128.141 | 26.46 | 975.59 | 36.426 | 9.5475
2019-04-01 12:00:00 | 0.372 | 320.837 | 5.2177 | 14.1068 | 4.195 | 224.671 | 0.37567 | 143.75 | 26.46 | 975.441 | 35.266 | 13.3199
2019-04-01 12:15:00 | 0 | 355.346 | 6.2403 | 83.5768 | 2.661 | 250.893 | 4.4507 | 185.43 | 26.46 | 975.145 | 33.8361 | 13.9212
2019-04-01 12:30:00 | 0 | 305.45 | 5.2177 | 11.4023 | 3.1723 | 252.573 | 2.661 | 144.87 | 26.46 | 975.227 | 32.3724 | 14.5651
2019-04-01 12:45:00 | 0 | 336.163 | 5.4733 | 27.7137 | 5.729 | 253.645 | 1.007 | 163.113 | 26.46 | 975.435 | 31.5197 | 17.8413
2019-04-01 13:00:00 | 0 | 294.539 | 4.962 | 20.7478 | 4.7063 | 253.742 | 0 | 120.417 | 26.46 | 975.145 | 31.5879 | 14.9124
2019-04-01 13:15:00 | 0 | 330.566 | 5.9847 | 336.067 | 4.4507 | 256.376 | 2.4053 | 196.289 | 26.46 | 974.997 | 29.6098 | 16.0282
2019-04-01 13:30:00 | 0 | 25.8912 | 4.7063 | 47.322 | 4.962 | 257.645 | 2.661 | 160.608 | 26.46 | 974.552 | 30.3947 | 14.5503
2019-04-01 13:45:00 | 0 | 321.028 | 6.2403 | 18.977 | 5.4733 | 257.066 | 1.007 | 172.717 | 26.46 | 974.552 | 32.5786 | 14.0737
2019-04-01 14:00:00 | 0 | 12.4217 | 4.7063 | 31.4404 | 5.4733 | 257.738 | 0 | 178.312 | 26.46 | 974.552 | 31.1787 | 13.8668
2019-04-01 14:15:00 | 1.3933 | 317.677 | 6.496 | 5.2086 | 4.962 | 257.932 | 4.7063 | 141.801 | 26.46 | 975.145 | 31.8608 | 14.1143
2019-04-01 14:30:00 | 0 | 345.175 | 3.9393 | 46.4679 | 1.894 | 255.739 | 3.428 | 162.87 | 26.46 | 974.849 | 31.7244 | 12.2558
2019-04-01 14:45:00 | 0 | 18.5594 | 7.7743 | 66.1233 | 6.7517 | 267.577 | 2.661 | 193.315 | 26.46 | 974.516 | 27.4262 | 10.4564
2019-04-01 15:00:00 | 0 | 314.657 | 7.0073 | 25.1806 | 3.9393 | 271.376 | 1.6383 | 135.152 | 26.46 | 974.563 | 28.9954 | 11.8937
2019-04-01 15:15:00 | 0 | 346.174 | 3.9393 | 1.8947 | 4.7063 | 272.94 | 0.37567 | 132.561 | 26.46 | 974.7 | 29.4709 | 7.5523
2019-04-01 15:30:00 | 0 | 21.1862 | 2.1497 | 70.6381 | 0 | 277.564 | 0 | 222.845 | 26.46 | 974.699 | 30.764 | 8.4908
2019-04-01 15:45:00 | 0 | 36.9663 | 2.661 | 9.967 | 3.1723 | 286.525 | 0.37567 | 212.422 | 26.46 | 974.403 | 30.0819 | 9.747
2019-04-01 16:00:00 | 0 | 19.6033 | 2.661 | 71.2469 | 2.9167 | 288.863 | 0 | 199.029 | 26.46 | 974.254 | 28.6494 | 10.2606
2019-04-01 16:15:00 | 0 | 0.097408 | 6.2403 | 84.9084 | 1.6383 | 291.493 | 5.4733 | 189.921 | 26.46 | 973.958 | 30.4911 | 10.933
2019-04-01 16:30:00 | 0 | 1.0715 | 4.195 | 74.3396 | 5.2177 | 301.599 | 2.4053 | 159.749 | 26.46 | 973.067 | 28.9223 | 9.4255
2019-04-01 16:45:00 | 0 | 336.053 | 3.1723 | 56.1289 | 2.4053 | 300.838 | 1.1427 | 164.581 | 26.46 | 973.216 | 26.5364 | 4.9511
2019-04-01 17:00:00 | 0 | 2.3625 | 3.6837 | 60.5675 | 1.6383 | 300.886 | 1.127 | 156.727 | 26.46 | 973.067 | 27.9029 | 4.7405
2019-04-01 17:15:00 | 0 | 15.3444 | 2.661 | 61.2033 | 2.1497 | 300.798 | 4.195 | 175.096 | 26.46 | 973.067 | 29.8141 | 2.7527
2019-04-01 17:30:00 | 0 | 328.735 | 3.6837 | 55.0899 | 1.6383 | 300.798 | 4.7063 | 163.04 | 26.46 | 972.964 | 30.0188 | 1.5925
2019-04-01 17:45:00 | 0 | 350.582 | 2.9167 | 0.55657 | 3.6837 | 300.798 | 3.428 | 172.88 | 26.46 | 972.917 | 30.2917 | 1.0272
2019-04-01 18:00:00 | 0 | 344.074 | 3.1723 | 22.1384 | 2.4053 | 300.62 | 0 | 158.835 | 26.46 | 972.325 | 30.2251 | 0.29559
2019-04-01 18:15:00 | 0 | 340.078 | 2.661 | 24.0507 | 2.661 | 300.68 | 0 | 168.504 | 26.46 | 971.88 | 31.5303 | -0.0036948
2019-04-01 18:30:00 | 0 | 85.0443 | 3.6837 | 47.5481 | 3.428 | 300.652 | 0 | 182.394 | 26.46 | 971.696 | 31.8763 | 0.46186
2019-04-01 18:45:00 | 0 | 0.097474 | 3.6837 | 40.9702 | 2.9167 | 300.66 | 0 | 184.105 | 26.46 | 971.88 | 32.0819 | -0.18105
2019-04-01 19:00:00 | 0 | 349.081 | 2.9167 | 13.6335 | 2.4053 | 300.703 | 0 | 174.748 | 26.46 | 971.88 | 31.95 | -0.2882
2019-04-01 19:15:00 | 0 | 282.578 | 1.6383 | 326.02 | 0 | 300.614 | 0 | 150.965 | 26.46 | 972.177 | 32.7018 | -0.218
2019-04-01 19:30:00 | 0 | 282.09 | 1.127 | 306.132 | 0.37567 | 300.614 | 0 | 150.794 | 26.46 | 972.177 | 34.8182 | -0.26233
2019-04-01 19:45:00 | 0 | 344.704 | 0.75133 | 306.961 | 0 | 300.565 | 0 | 151.794 | 26.46 | 972.187 | 34.2721 | -0.218
2019-04-01 20:00:00 | 0 | 50.1104 | 2.661 | 84.7054 | 2.4053 | 300.638 | 0 | 234.393 | 26.46 | 972.052 | 32.6336 | -0.2882
2019-04-01 20:15:00 | 0 | 60.5909 | 4.962 | 110.59 | 4.195 | 300.907 | 0 | 247.75 | 26.46 | 971.954 | 31.4048 | 0.37318
2019-04-01 20:30:00 | 0 | 83.1601 | 2.1497 | 121.484 | 3.428 | 300.907 | 0 | 271.074 | 26.46 | 972.244 | 28.8787 | 2.0506
2019-04-01 20:45:00 | 0 | 100.611 | 3.428 | 162.186 | 2.9167 | 300.614 | 0 | 297.055 | 26.46 | 972.525 | 26.5574 | 3.7724
2019-04-01 21:00:00 | 0 | 132.198 | 4.4507 | 184.39 | 3.6837 | 278.142 | 4.962 | 316.724 | 26.46 | 972.475 | 27.3084 | 12.4664
2019-04-01 21:15:00 | 3.414 | 121.718 | 7.7743 | 165.915 | 7.263 | 127.811 | 5.9847 | 302.1 | 26.46 | 972.177 | 27.7181 | 22.5238
2019-04-01 21:30:00 | 2.276 | 111.335 | 7.263 | 164.989 | 5.729 | 133.953 | 1.6383 | 302.539 | 26.46 | 972.177 | 26.8988 | 34.9385
2019-04-01 21:45:00 | 0.372 | 97.4911 | 6.7517 | 187.217 | 8.797 | 135.318 | 4.962 | 284.528 | 26.46 | 971.88 | 26.3526 | 40.2849
2019-04-01 22:00:00 | 11.074 | 104.754 | 5.4733 | 147.002 | 7.263 | 138.9 | 3.6837 | 283.114 | 26.46 | 971.88 | 26.2844 | 48.9493
2019-04-01 22:15:00 | 5.2013 | 115.039 | 10.5867 | 170.766 | 10.331 | 135.756 | 4.195 | 292.108 | 26.46 | 971.88 | 26.6257 | 48.3877
2019-04-01 22:30:00 | 3.9247 | 111.189 | 8.2857 | 173.837 | 7.7743 | 144.311 | 5.2177 | 293.229 | 26.46 | 971.88 | 26.8988 | 53.7155
2019-04-01 22:45:00 | 4.946 | 134.513 | 7.5187 | 181.222 | 8.2857 | 150.989 | 4.195 | 299.078 | 26.46 | 971.88 | 27.1036 | 60.8541
2019-04-01 23:00:00 | 3.9247 | 131.613 | 10.5867 | 182.245 | 11.865 | 150.063 | 3.1723 | 320.721 | 26.46 | 971.88 | 27.2402 | 62.1251
2019-04-01 23:15:00 | 2.9033 | 123.594 | 10.5867 | 192.994 | 11.098 | 148.552 | 4.4507 | 303.441 | 26.46 | 971.583 | 27.7181 | 70.409
2019-04-01 23:30:00 | 3.9247 | 100.318 | 9.3083 | 176.542 | 6.7517 | 144.433 | 4.195 | 312.654 | 26.46 | 971.602 | 26.5574 | 71.8463
2019-04-01 23:45:00 | 5.712 | 114.235 | 8.5413 | 171.643 | 7.7743 | 142.556 | 5.4733 | 312.361 | 26.46 | 971.89 | 26.8988 | 70.7563