## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-02 00:00:00 | 2.648 | 105.339 | 10.331 | 160.822 | 8.5413 | 139.071 | 5.9847 | 302.978 | 26.46 | 971.755 | 27.0012 | 70.104
2019-04-02 00:15:00 | 2.9033 | 118.817 | 12.1207 | 170.668 | 10.0753 | 138.413 | 3.1723 | 314.409 | 26.46 | 971.293 | 27.5132 | 66.9246
2019-04-02 00:30:00 | 4.18 | 115.356 | 12.1207 | 164.551 | 9.3083 | 137.804 | 4.4507 | 302.247 | 26.46 | 971.015 | 27.445 | 67.9585
2019-04-02 00:45:00 | 3.6693 | 121.035 | 11.098 | 167.158 | 9.3083 | 137.048 | 2.4053 | 302.856 | 26.46 | 971.357 | 26.7623 | 69.6183
2019-04-02 01:00:00 | 3.1587 | 115.868 | 8.797 | 173.3 | 10.0753 | 137.243 | 2.9167 | 289.524 | 26.46 | 971.402 | 26.9671 | 72.045
2019-04-02 01:15:00 | 1.51 | 116.356 | 11.3537 | 165.891 | 9.0527 | 137.755 | 4.195 | 304.635 | 26.46 | 971.354 | 27.3767 | 64.9886
2019-04-02 01:30:00 | 3.9247 | 118.939 | 9.564 | 172.837 | 9.3083 | 138.389 | 5.729 | 301.052 | 26.46 | 971.374 | 26.5574 | 61.6226
2019-04-02 01:45:00 | 4.4353 | 121.644 | 9.564 | 166.622 | 8.03 | 137.804 | 4.4507 | 311.508 | 26.46 | 971.345 | 27.1719 | 61.4379
2019-04-02 02:00:00 | 5.4567 | 121.913 | 9.0527 | 173.934 | 8.5413 | 138.023 | 4.195 | 318.528 | 26.46 | 971.321 | 27.7181 | 55.5742
2019-04-02 02:15:00 | 0.99933 | 128.932 | 8.797 | 163.381 | 5.729 | 137.853 | 4.7063 | 313.216 | 26.46 | 971.141 | 27.5133 | 55.5409
2019-04-02 02:30:00 | 2.9033 | 113.285 | 9.3083 | 164.746 | 7.263 | 138.194 | 3.9393 | 295.764 | 26.46 | 971.02 | 27.7181 | 56.3647
2019-04-02 02:45:00 | 0.99933 | 116.039 | 8.2857 | 164.893 | 5.9847 | 138.658 | 1.007 | 299.007 | 26.46 | 970.99 | 25.8066 | 61.8591
2019-04-02 03:00:00 | 5.4567 | 124.886 | 7.7743 | 183.903 | 7.263 | 138.389 | 3.428 | 314.751 | 26.46 | 971.082 | 25.7383 | 62.8087
2019-04-02 03:15:00 | 3.1587 | 126.933 | 10.331 | 179.028 | 11.865 | 137.633 | 3.1723 | 314.628 | 26.46 | 970.758 | 25.943 | 64.0207
2019-04-02 03:30:00 | 2.648 | 131.247 | 11.3537 | 179.174 | 11.6093 | 137.414 | 5.2177 | 315.969 | 26.46 | 970.746 | 26.8988 | 66.6365
2019-04-02 03:45:00 | 0.88267 | 103.365 | 10.0753 | 175.202 | 5.4733 | 140.607 | 6.7517 | 293.473 | 26.46 | 970.712 | 27.3767 | 64.1869
2019-04-02 04:00:00 | 0 | 103.587 | 7.7743 | 175.84 | 7.0073 | 138.856 | 4.962 | 291.142 | 26.46 | 970.698 | 27.3774 | 62.3839
2019-04-02 04:15:00 | 0.372 | 114.354 | 8.03 | 178.041 | 6.2403 | 138.29 | 1.6383 | 307.489 | 26.46 | 970.759 | 26.5623 | 68.7491
2019-04-02 04:30:00 | 2.3927 | 120.034 | 11.098 | 174.117 | 10.8423 | 138.242 | 4.7063 | 308.028 | 26.46 | 970.281 | 26.4259 | 69.452
2019-04-02 04:45:00 | 3.414 | 126.348 | 12.1207 | 175.14 | 8.5413 | 137.976 | 1.3827 | 310.25 | 26.46 | 970.255 | 25.9478 | 72.2158
2019-04-02 05:00:00 | 1.882 | 120.279 | 10.8423 | 175.436 | 9.564 | 137.856 | 2.9167 | 320.688 | 26.46 | 970.241 | 25.3678 | 69.1048
2019-04-02 05:15:00 | 3.6693 | 135.685 | 10.0753 | 187.964 | 8.797 | 141.291 | 5.2177 | 310.398 | 26.46 | 970.621 | 25.1968 | 72.9399
2019-04-02 05:30:00 | 5.9673 | 145.149 | 8.03 | 203 | 8.797 | 164.404 | 3.428 | 316.159 | 26.46 | 970.735 | 25.6032 | 70.5124
2019-04-02 05:45:00 | 2.9033 | 120.397 | 9.0527 | 172.137 | 8.5413 | 152.915 | 1.3827 | 308.414 | 26.46 | 970.871 | 25.8106 | 70.4644
2019-04-02 06:00:00 | 0.372 | 134.026 | 6.7517 | 200.419 | 6.496 | 153.357 | 0.63133 | 313.443 | 26.46 | 971.142 | 25.9478 | 65.9197
2019-04-02 06:15:00 | 3.414 | 122.01 | 9.564 | 181.846 | 10.8423 | 151.58 | 4.195 | 286.193 | 26.46 | 970.828 | 26.5627 | 67.6274
2019-04-02 06:30:00 | 9.0313 | 136.533 | 8.2857 | 183.958 | 9.8197 | 151.817 | 5.9847 | 316.48 | 26.46 | 971.04 | 26.2201 | 69.8806
2019-04-02 06:45:00 | 1.7653 | 125.112 | 8.2857 | 172.701 | 6.7517 | 152.629 | 1.007 | 300.577 | 26.46 | 971.312 | 25.8761 | 64.7706
2019-04-02 07:00:00 | 3.9247 | 126.422 | 9.564 | 185.95 | 5.4733 | 152.647 | 2.661 | 310.07 | 26.46 | 971.383 | 26.2844 | 64.4603
2019-04-02 07:15:00 | 1.2547 | 143.117 | 6.2403 | 199.818 | 7.7743 | 150.941 | 4.4507 | 333.419 | 26.46 | 971.752 | 26.3526 | 64.7537
2019-04-02 07:30:00 | 2.1373 | 130.589 | 7.0073 | 193.749 | 8.03 | 151.501 | 5.4733 | 319.405 | 26.46 | 971.88 | 26.8988 | 65.5144
2019-04-02 07:45:00 | 5.0847 | 117.111 | 8.797 | 171.716 | 7.7743 | 150.916 | 5.729 | 305.025 | 26.46 | 972.177 | 27.5815 | 57.4194
2019-04-02 08:00:00 | 5.4567 | 125.495 | 5.4733 | 195.48 | 8.797 | 152.062 | 5.729 | 306.219 | 26.46 | 972.474 | 28.8104 | 57.174
2019-04-02 08:15:00 | 7.4993 | 136.218 | 9.3083 | 189.969 | 6.2403 | 151.865 | 5.2177 | 324.202 | 26.46 | 972.474 | 29.4926 | 49.2782
2019-04-02 08:30:00 | 0 | 148.428 | 6.496 | 199.486 | 4.195 | 152.449 | 0.75133 | 325.854 | 26.46 | 973.068 | 30.1021 | 42.1758
2019-04-02 08:45:00 | 0.62733 | 138.56 | 7.5187 | 194.59 | 5.729 | 153.668 | 4.962 | 319.253 | 26.46 | 973.365 | 30.2389 | 33.8308
2019-04-02 09:00:00 | 0 | 126.847 | 4.7063 | 196.708 | 4.195 | 153.26 | 3.5637 | 302.182 | 26.46 | 973.751 | 30.44 | 25.3282
2019-04-02 09:15:00 | 0 | 126.847 | 4.7063 | 196.708 | 4.195 | 153.26 | 3.5637 | 302.182 | 26.46 | 973.751 | 30.44 | 25.3282
2019-04-02 09:30:00 | 0 | 143.336 | 5.729 | 197.112 | 5.4733 | 153.204 | 5.729 | 326.24 | 26.46 | 973.961 | 30.4385 | 24.5005
2019-04-02 09:45:00 | 0 | 138.722 | 4.4507 | 187.303 | 3.9393 | 153.291 | 0 | 298.98 | 26.46 | 974.552 | 29.9928 | 14.8754
2019-04-02 10:00:00 | 0 | 127.946 | 4.7063 | 168.059 | 4.4507 | 153.253 | 0.37567 | 296.763 | 26.46 | 974.997 | 29.0644 | 12.5107
2019-04-02 10:15:00 | 0 | 154.369 | 2.661 | 197.232 | 3.1723 | 153.298 | 0 | 337.186 | 26.46 | 975.146 | 30.1552 | 11.3875
2019-04-02 10:30:00 | 0 | 151.3 | 4.4507 | 204.564 | 3.9393 | 153.322 | 0 | 349.316 | 26.46 | 975.223 | 29.8141 | 7.0645
2019-04-02 10:45:00 | 0 | 131.065 | 3.428 | 195.934 | 2.4053 | 153.324 | 0 | 307.792 | 26.46 | 975.738 | 29.8097 | 4.3304
2019-04-02 11:00:00 | 0 | 182.883 | 1.6383 | 225.785 | 0 | 153.32 | 0 | 337.567 | 26.46 | 976.035 | 28.9223 | 2.0654
2019-04-02 11:15:00 | 0 | 104.501 | 1.894 | 148.974 | 1.127 | 153.294 | 0 | 313.357 | 26.46 | 975.913 | 29.0537 | 1.5112
2019-04-02 11:30:00 | 0 | 59.2358 | 1.6383 | 172.145 | 3.428 | 153.288 | 0 | 245.148 | 26.46 | 976.033 | 29.4276 | 0.60965
2019-04-02 11:45:00 | 0 | 4.2847 | 1.6383 | 144.716 | 0 | 153.298 | 0 | 203.643 | 26.46 | 975.737 | 28.9135 | -0.092371
2019-04-02 12:00:00 | 0 | 291.077 | 3.428 | 335.832 | 2.661 | 153.463 | 0 | 139.246 | 26.46 | 975.737 | 29.6625 | -0.15518
2019-04-02 12:15:00 | 0 | 335.845 | 4.4507 | 327.384 | 3.9393 | 189.199 | 0 | 136.252 | 26.46 | 975.44 | 30.7535 | -0.24755
2019-04-02 12:30:00 | 0 | 307.461 | 5.2177 | 333.227 | 2.661 | 191.195 | 5.2177 | 136.811 | 26.46 | 975.143 | 31.8445 | 0.12193
2019-04-02 12:45:00 | 0 | 322.63 | 3.1723 | 36.1211 | 4.4507 | 192.102 | 0 | 133.133 | 26.46 | 975.292 | 31.7132 | 0.70202
2019-04-02 13:00:00 | 0 | 337.85 | 3.6837 | 3.1026 | 3.1723 | 191.666 | 0 | 194.904 | 26.46 | 975.143 | 31.8158 | 0.081287
2019-04-02 13:15:00 | 0 | 24.9565 | 1.6383 | 0.18434 | 1.6383 | 191.13 | 0 | 198.946 | 26.46 | 975.143 | 32.3956 | 1.0198
2019-04-02 13:30:00 | 0 | 17.1896 | 5.2177 | 38.8 | 1.3827 | 187.868 | 0 | 182.755 | 26.46 | 974.55 | 30.4177 | 2.2243
2019-04-02 13:45:00 | 0 | 17.5304 | 1.6383 | 70.5739 | 0 | 162.205 | 0 | 201.819 | 26.46 | 974.419 | 31.6453 | 3.1923
2019-04-02 14:00:00 | 0 | 32.5307 | 4.195 | 73.1362 | 1.894 | 189.194 | 1.5183 | 198.009 | 26.46 | 974.391 | 28.9532 | 7.4931
2019-04-02 14:15:00 | 0 | 33.4108 | 6.2403 | 66.9606 | 3.1723 | 157.922 | 5.729 | 190.067 | 26.46 | 974.254 | 27.592 | 13.8852
2019-04-02 14:30:00 | 0 | 29.8799 | 5.4733 | 86.7103 | 2.4053 | 157.606 | 0.63133 | 179.011 | 26.46 | 974.402 | 27.4215 | 15.5147
2019-04-02 14:45:00 | 0 | 0.12176 | 5.9847 | 31.9671 | 1.6383 | 213.226 | 1.2627 | 181.593 | 26.46 | 974.848 | 25.9891 | 15.4518
2019-04-02 15:00:00 | 0 | 25.3017 | 3.6837 | 78.6742 | 4.195 | 303.961 | 0.63133 | 205.799 | 26.46 | 975.144 | 27.2851 | 18.744
2019-04-02 15:15:00 | 2.9033 | 23.6445 | 4.195 | 63.4985 | 2.661 | 11.6883 | 1.007 | 210.585 | 26.46 | 974.848 | 27.4883 | 22.1738
2019-04-02 15:30:00 | 0 | 336.885 | 5.9847 | 37.4219 | 4.4507 | 23.1831 | 2.4053 | 167.347 | 26.46 | 974.551 | 28.5129 | 27.0399
2019-04-02 15:45:00 | 0 | 26.982 | 9.0527 | 71.2955 | 5.4733 | 40.6678 | 5.729 | 202.365 | 26.46 | 974.402 | 29.5361 | 28.5168
2019-04-02 16:00:00 | 5.712 | 355.344 | 6.496 | 81.2068 | 3.9393 | 24.4007 | 4.195 | 167.712 | 26.46 | 974.402 | 29.4679 | 26.093
2019-04-02 16:15:00 | 8.2653 | 326.199 | 4.962 | 69.2334 | 7.0073 | 32.7562 | 3.428 | 156.621 | 26.46 | 974.254 | 29.3341 | 23.5768
2019-04-02 16:30:00 | 3.042 | 356.086 | 7.5187 | 47.5638 | 7.263 | 34.6831 | 4.962 | 179.407 | 26.46 | 973.998 | 31.1103 | 21.7294
2019-04-02 16:45:00 | 0 | 23.7959 | 5.2177 | 65.6849 | 4.962 | 37.9468 | 2.9167 | 171.979 | 26.46 | 974.102 | 32.9524 | 21.2971
2019-04-02 17:00:00 | 2.5313 | 7.4043 | 5.729 | 60.132 | 5.4733 | 37.8009 | 2.7967 | 170.128 | 26.46 | 974.255 | 33.4301 | 22.2836
2019-04-02 17:15:00 | 8.01 | 356.262 | 5.4733 | 64.7849 | 6.2403 | 41.9419 | 4.7063 | 168.108 | 26.46 | 973.958 | 33.5669 | 20.8574
2019-04-02 17:30:00 | 9.7973 | 341.099 | 5.2177 | 60.6769 | 5.2177 | 43.5295 | 3.9393 | 173.168 | 26.46 | 973.958 | 34.2527 | 21.2528
2019-04-02 17:45:00 | 9.0313 | 3.5327 | 8.2857 | 64.7357 | 5.729 | 41.1253 | 6.496 | 161.553 | 26.46 | 973.809 | 34.5318 | 18.8178
2019-04-02 18:00:00 | 2.648 | 350.408 | 6.7517 | 75.0697 | 5.4733 | 41.7362 | 2.4053 | 161.341 | 26.46 | 973.364 | 35.0792 | 23.0706
2019-04-02 18:15:00 | 1.3933 | 6.2373 | 5.729 | 56.7236 | 7.7743 | 40.2013 | 1.007 | 194.696 | 26.46 | 973.364 | 34.9428 | 21.7626
2019-04-02 18:30:00 | 5.712 | 356.853 | 7.0073 | 61.9159 | 5.2177 | 39.7884 | 5.729 | 192.802 | 26.46 | 973.782 | 34.4662 | 21.1197
2019-04-02 18:45:00 | 0.62733 | 176.865 | 5.2177 | 52.4712 | 5.729 | 39.3791 | 4.962 | 181.592 | 26.46 | 973.959 | 34.5388 | 21.1493
2019-04-02 19:00:00 | 1.6267 | 8.6508 | 7.0073 | 64.1681 | 3.9393 | 39.964 | 1.3983 | 189.342 | 26.46 | 973.662 | 33.6515 | 21.5631
2019-04-02 19:15:00 | 12.8613 | 5.1415 | 7.7743 | 62.4836 | 3.9393 | 39.9869 | 4.4507 | 188.043 | 26.46 | 973.959 | 33.5137 | 24.4525
2019-04-02 19:30:00 | 10.308 | 9.991 | 8.5413 | 65.1431 | 7.7743 | 39.5742 | 5.729 | 195.069 | 26.46 | 973.959 | 33.1396 | 20.6283
2019-04-02 19:45:00 | 0.62733 | 10.7961 | 7.263 | 63.5909 | 4.962 | 39.8458 | 2.661 | 198.717 | 26.46 | 974.256 | 33.7228 | 20.6135
2019-04-02 20:00:00 | 10.308 | 7.4579 | 7.5187 | 65.5467 | 5.729 | 39.2394 | 5.9847 | 197.805 | 26.46 | 974.553 | 34.2031 | 17.3399
2019-04-02 20:15:00 | 0 | 10.529 | 5.729 | 73.9814 | 1.6383 | 39.2889 | 0.37567 | 197.736 | 26.46 | 974.85 | 35.8423 | 16.1021
2019-04-02 20:30:00 | 0 | 22.4229 | 6.496 | 68.6437 | 3.428 | 39.1914 | 5.9847 | 203.561 | 26.46 | 974.85 | 36.7298 | 15.9654
2019-04-02 20:45:00 | 0 | 22.5448 | 6.496 | 73.4695 | 5.2177 | 39.4839 | 1.007 | 199.418 | 26.46 | 974.85 | 38.3683 | 16.5788
2019-04-02 21:00:00 | 0 | 24.4215 | 7.263 | 75.3462 | 5.9847 | 39.6301 | 5.4733 | 216.406 | 26.46 | 974.85 | 38.7779 | 14.3877
2019-04-02 21:15:00 | 0 | 23.3978 | 6.7517 | 78.2466 | 4.962 | 40.1907 | 0 | 208.753 | 26.46 | 974.998 | 38.6414 | 13.1019
2019-04-02 21:30:00 | 0 | 22.7154 | 7.0073 | 73.0552 | 4.7063 | 41.8237 | 2.541 | 215.967 | 26.46 | 975.146 | 39.2558 | 16.0578
2019-04-02 21:45:00 | 0 | 21.2287 | 6.2403 | 65.4509 | 3.9393 | 40.9462 | 3.9393 | 201.709 | 26.46 | 974.998 | 40.0751 | 16.4088
2019-04-02 22:00:00 | 1.882 | 18.8158 | 7.0073 | 66.2308 | 5.729 | 40.9462 | 5.729 | 208.704 | 26.46 | 975.025 | 40.4506 | 15.2634
2019-04-02 22:15:00 | 0.372 | 29.9297 | 7.0073 | 82.2437 | 4.7063 | 41.2387 | 5.4733 | 215.601 | 26.46 | 975.416 | 39.5289 | 12.0082
2019-04-02 22:30:00 | 0.372 | 33.5369 | 6.7517 | 86.3383 | 5.729 | 41.9455 | 0 | 216.698 | 26.46 | 975.335 | 37.5491 | 8.8972
2019-04-02 22:45:00 | 0 | 28.6624 | 4.195 | 72.1778 | 1.894 | 42.4817 | 0 | 212.652 | 26.46 | 975.45 | 37.0712 | 4.9954
2019-04-02 23:00:00 | 0 | 46.9914 | 4.195 | 102.256 | 4.195 | 42.6043 | 1.007 | 224.087 | 26.46 | 975.473 | 36.2525 | 1.9915
2019-04-02 23:15:00 | 0 | 50.9888 | 3.9393 | 108.691 | 3.428 | 43.1406 | 0 | 238.979 | 26.46 | 975.455 | 37.2084 | 0.84981
2019-04-02 23:30:00 | 0 | 28.0058 | 2.9167 | 78.8612 | 1.894 | 43.0933 | 0 | 207.594 | 26.46 | 975.476 | 36.7659 | -0.0073897
2019-04-02 23:45:00 | 0 | 28.959 | 2.4053 | 83.9405 | 1.894 | 43.0973 | 0 | 195.985 | 26.46 | 975.514 | 38.2373 | 0.27342