## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-03 00:00:00 | 0 | 28.3752 | 3.1723 | 75.5834 | 1.894 | 43.0991 | 0 | 215.398 | 26.46 | 975.647 | 37.4878 | 0.31776
2019-04-03 00:15:00 | 0 | 36.7604 | 2.661 | 85.3083 | 1.894 | 43.0984 | 0 | 211.348 | 26.46 | 975.695 | 37.5555 | 0.18844
2019-04-03 00:30:00 | 0 | 38.3211 | 2.4053 | 93.0617 | 1.894 | 43.099 | 0 | 216.616 | 26.46 | 975.735 | 36.3269 | 0.0073897
2019-04-03 00:45:00 | 0 | 59.092 | 3.1723 | 111.494 | 2.1497 | 43.1976 | 0 | 235.344 | 26.46 | 975.735 | 35.7133 | -0.22539
2019-04-03 01:00:00 | 0 | 46.5864 | 3.428 | 103.938 | 2.4053 | 43.1004 | 0 | 225.741 | 26.46 | 975.742 | 33.3918 | -0.14779
2019-04-03 01:15:00 | 0 | 24.4261 | 3.6837 | 81.6292 | 2.661 | 43.0992 | 0 | 205.794 | 26.46 | 976.039 | 35.1662 | -0.12193
2019-04-03 01:30:00 | 0 | 18.1852 | 3.428 | 70.4384 | 2.9167 | 43.0985 | 0 | 196.868 | 26.46 | 976.036 | 35.507 | 0.073897
2019-04-03 01:45:00 | 0 | 21.6467 | 4.195 | 71.9986 | 2.661 | 43.0985 | 0 | 203.499 | 26.46 | 975.951 | 33.5269 | 1.4447
2019-04-03 02:00:00 | 0 | 18.3317 | 4.195 | 76.0219 | 3.1723 | 43.0502 | 0 | 200.137 | 26.46 | 975.966 | 30.2838 | 1.9767
2019-04-03 02:15:00 | 0 | 26.7172 | 4.7063 | 82.7246 | 3.428 | 43.0985 | 0 | 206.18 | 26.46 | 975.951 | 28.2008 | 3.8944
2019-04-03 02:30:00 | 0 | 30.9109 | 3.9393 | 83.069 | 3.6837 | 43.0998 | 4.7063 | 211.745 | 26.46 | 975.823 | 24.5143 | 3.7909
2019-04-03 02:45:00 | 0 | 34.5154 | 3.1723 | 90.0057 | 2.1497 | 42.998 | 0 | 215.721 | 26.46 | 975.96 | 23.2146 | 1.6368
2019-04-03 03:00:00 | 0 | 27.2039 | 3.1723 | 76.6273 | 1.6383 | 42.9997 | 0 | 197.057 | 26.46 | 975.94 | 23.1472 | 0.99022
2019-04-03 03:15:00 | 0 | 20.8651 | 2.9167 | 76.3793 | 1.6383 | 42.9977 | 0 | 202.265 | 26.46 | 975.91 | 22.2585 | 0.82764
2019-04-03 03:30:00 | 0 | 25.2051 | 2.9167 | 77.9929 | 1.3827 | 42.9999 | 0 | 203.006 | 26.46 | 976.138 | 21.1669 | 0.20322
2019-04-03 03:45:00 | 0 | 17.9418 | 2.661 | 76.291 | 1.3827 | 43.0021 | 0 | 200.091 | 26.46 | 976.114 | 21.2364 | 0.17735
2019-04-03 04:00:00 | 0 | 5.5582 | 1.127 | 50.8172 | 0 | 43.0026 | 0 | 192.146 | 26.46 | 976.233 | 24.5142 | -0.025864
2019-04-03 04:15:00 | 0 | 356.393 | 1.894 | 0.69325 | 0 | 43.0014 | 0 | 191.946 | 26.46 | 976.011 | 33.8002 | -0.24755
2019-04-03 04:30:00 | 0 | 355.409 | 0 | 0.57655 | 0 | 43.0054 | 0 | 192.525 | 26.46 | 976.187 | 34.0771 | -0.20322
2019-04-03 04:45:00 | 0 | 85.3093 | 0.75133 | 38.612 | 0 | 43.0081 | 0 | 198.901 | 26.46 | 976.187 | 34.8301 | -0.22169
2019-04-03 05:00:00 | 0 | 4.2911 | 1.127 | 66.5041 | 0.37567 | 43.057 | 0 | 226.013 | 26.46 | 976.039 | 35.2399 | 1.0974
2019-04-03 05:15:00 | 0 | 145.506 | 3.428 | 196.065 | 3.1723 | 43.2033 | 0 | 303.935 | 26.46 | 976.212 | 33.8057 | 5.1211
2019-04-03 05:30:00 | 0 | 123.271 | 3.9393 | 178.608 | 2.1497 | 82.4568 | 0 | 302.618 | 26.46 | 976.319 | 31.6203 | 9.9354
2019-04-03 05:45:00 | 0 | 104.741 | 3.1723 | 158.274 | 3.428 | 82.5056 | 0 | 290.891 | 26.46 | 976.657 | 36.9472 | 13.8852
2019-04-03 06:00:00 | 0 | 100.304 | 4.7063 | 152.764 | 3.9393 | 79.3848 | 0 | 282.772 | 26.46 | 976.37 | 38.0399 | 21.9511
2019-04-03 06:15:00 | 0 | 103.278 | 7.0073 | 150.668 | 5.4733 | 102.742 | 2.7967 | 283.332 | 26.46 | 976.782 | 37.6302 | 27.8444
2019-04-03 06:30:00 | 0 | 103.716 | 6.2403 | 153.153 | 5.4733 | 100.815 | 0 | 280.916 | 26.46 | 976.633 | 37.903 | 25.2727
2019-04-03 06:45:00 | 0 | 94.9493 | 4.7063 | 153.371 | 3.6837 | 94.2665 | 0 | 268.514 | 26.46 | 977.185 | 37.9656 | 24.083
2019-04-03 07:00:00 | 0 | 130.352 | 5.4733 | 179.623 | 5.4733 | 146.756 | 0 | 304.505 | 26.46 | 976.828 | 40.8282 | 22.9302
2019-04-03 07:15:00 | 0 | 105.29 | 5.4733 | 167.622 | 5.9847 | 130.833 | 4.195 | 283.65 | 26.46 | 976.962 | 41.5088 | 24.9476
2019-04-03 07:30:00 | 0 | 130.297 | 3.9393 | 196.089 | 3.9393 | 134.172 | 0 | 292.717 | 26.46 | 977.226 | 41.1674 | 21.7885
2019-04-03 07:45:00 | 0 | 104.949 | 4.7063 | 160.7 | 2.9167 | 125.422 | 0 | 277.07 | 26.46 | 977.226 | 35.9789 | 21.201
2019-04-03 08:00:00 | 0 | 125.626 | 4.195 | 194.258 | 3.1723 | 147.241 | 0 | 300.746 | 26.46 | 977.819 | 39.5922 | 23.1482
2019-04-03 08:15:00 | 0 | 87.238 | 3.9393 | 152.624 | 3.6837 | 143.723 | 0 | 268.732 | 26.46 | 978.116 | 38.8047 | 29.0304
2019-04-03 08:30:00 | 0 | 99.3339 | 5.2177 | 159.59 | 4.7063 | 139.365 | 2.1497 | 293.982 | 26.46 | 977.686 | 38.6965 | 26.4773
2019-04-03 08:45:00 | 0 | 94.6803 | 4.7063 | 145.483 | 4.4507 | 142.776 | 1.007 | 286.453 | 26.46 | 978.114 | 37.6045 | 30.274
2019-04-03 09:00:00 | 0 | 91.0054 | 3.9393 | 122.306 | 3.6837 | 141.088 | 1.007 | 272.261 | 26.46 | 978.411 | 33.434 | 30.6192
2019-04-03 09:15:00 | 0 | 109.826 | 3.9393 | 178.168 | 3.428 | 165.286 | 0.37567 | 288.046 | 26.46 | 978.708 | 32.4077 | 24.6224
2019-04-03 09:30:00 | 1.3933 | 133.569 | 5.9847 | 186.54 | 7.0073 | 167.229 | 4.195 | 332.242 | 26.46 | 978.708 | 34.3851 | 23.2554
2019-04-03 09:45:00 | 0 | 152.689 | 6.7517 | 207.292 | 7.7743 | 168.447 | 4.962 | 323.742 | 26.46 | 978.708 | 33.8393 | 26.3369
2019-04-03 10:00:00 | 0 | 146.21 | 8.2857 | 201.276 | 7.0073 | 161.822 | 5.9847 | 328.248 | 26.46 | 978.856 | 32.3384 | 25.5683
2019-04-03 10:15:00 | 3.6693 | 135.591 | 6.2403 | 189.731 | 5.729 | 145.114 | 4.7063 | 321.478 | 26.46 | 979.005 | 31.7927 | 22.3797
2019-04-03 10:30:00 | 4.18 | 139.658 | 7.7743 | 192.215 | 6.7517 | 138.172 | 2.661 | 313.926 | 26.46 | 979.005 | 31.9291 | 23.8096
2019-04-03 10:45:00 | 9.542 | 147.428 | 8.2857 | 199.205 | 8.5413 | 148.231 | 4.4507 | 330.269 | 26.46 | 979.005 | 32.6795 | 20.7576
2019-04-03 11:00:00 | 0 | 151.836 | 4.962 | 220.687 | 4.4507 | 152.786 | 4.195 | 323.791 | 26.46 | 979.302 | 29.2342 | 16.1354
2019-04-03 11:15:00 | 0 | 130.451 | 8.03 | 184.713 | 8.797 | 143.774 | 1.774 | 316.191 | 26.46 | 979.005 | 30.9057 | 14.7794
2019-04-03 11:30:00 | 0 | 132.059 | 6.496 | 173.631 | 5.9847 | 142.191 | 5.4733 | 306.352 | 26.46 | 979.123 | 28.1085 | 11.8309
2019-04-03 11:45:00 | 2.9033 | 161.018 | 7.7743 | 219.104 | 8.03 | 154.223 | 5.9847 | 343.154 | 26.46 | 978.725 | 31.0421 | 13.1093
2019-04-03 12:00:00 | 0.62733 | 197.845 | 7.263 | 231.501 | 7.5187 | 158.217 | 0 | 10.6436 | 26.46 | 978.31 | 31.1445 | 12.8987
2019-04-03 12:15:00 | 0 | 132.79 | 7.0073 | 182.594 | 6.7517 | 145.552 | 0.75133 | 313.464 | 26.46 | 978.332 | 26.8804 | 14.0737
2019-04-03 12:30:00 | 0 | 156.829 | 6.7517 | 193.603 | 7.263 | 141.655 | 0.37567 | 331.779 | 26.46 | 978.39 | 28.1767 | 12.5403
2019-04-03 12:45:00 | 0.372 | 193.363 | 8.03 | 229.87 | 5.729 | 152.713 | 5.9847 | 0.68197 | 26.46 | 978.156 | 27.4604 | 11.2841
2019-04-03 13:00:00 | 0 | 180.333 | 8.2857 | 230.844 | 8.797 | 171.93 | 6.2403 | 3.0689 | 26.46 | 977.785 | 27.4262 | 9.9465
2019-04-03 13:15:00 | 0 | 176.509 | 5.729 | 221.491 | 5.4733 | 173.026 | 1.007 | 354.016 | 26.46 | 977.517 | 28.3132 | 8.997
2019-04-03 13:30:00 | 0.372 | 186.665 | 4.195 | 213.868 | 4.4507 | 167.181 | 2.2853 | 2.1433 | 26.46 | 977.217 | 28.0403 | 11.2508
2019-04-03 13:45:00 | 0 | 152.396 | 4.4507 | 208.314 | 4.962 | 162.845 | 4.7063 | 332.948 | 26.46 | 977.223 | 27.4604 | 13.3495
2019-04-03 14:00:00 | 0 | 172.247 | 4.962 | 251.133 | 5.729 | 173.172 | 4.962 | 6.1621 | 26.46 | 976.925 | 26.0618 | 12.2595
2019-04-03 14:15:00 | 8.2653 | 184.205 | 8.5413 | 243.436 | 9.8197 | 177.922 | 2.1497 | 7.0633 | 26.46 | 976.512 | 25.9935 | 14.3793
2019-04-03 14:30:00 | 0 | 184.035 | 7.263 | 236.787 | 7.0073 | 174.171 | 1.6383 | 0.19485 | 26.46 | 976.834 | 25.7889 | 13.6931
2019-04-03 14:45:00 | 0 | 163.673 | 4.4507 | 205.538 | 4.7063 | 170.176 | 2.1497 | 338.331 | 26.46 | 976.784 | 24.5608 | 13.0687
2019-04-03 15:00:00 | 5.9673 | 166.815 | 9.3083 | 194.602 | 10.331 | 175.559 | 4.7063 | 346.296 | 26.46 | 975.918 | 24.1515 | 14.942
2019-04-03 15:15:00 | 0 | 194.305 | 6.496 | 242.645 | 6.2403 | 169.268 | 5.4733 | 3.0687 | 26.46 | 976.035 | 23.4682 | 16.1243
2019-04-03 15:30:00 | 0 | 166.77 | 7.263 | 216.858 | 7.263 | 176.803 | 4.4507 | 352.9 | 26.46 | 975.59 | 20.874 | 16.7266
2019-04-03 15:45:00 | 4.0633 | 182.542 | 5.2177 | 236.573 | 7.7743 | 175.188 | 4.195 | 18.8484 | 26.46 | 975.441 | 22.101 | 16.6859
2019-04-03 16:00:00 | 7.4993 | 191.845 | 7.7743 | 235.282 | 9.0527 | 194.524 | 4.962 | 13.5641 | 26.46 | 975.145 | 26.262 | 19.2354
2019-04-03 16:15:00 | 0 | 169.914 | 5.2177 | 203.565 | 4.962 | 173.348 | 5.4733 | 3.6287 | 26.46 | 975.441 | 25.3767 | 20.1591
2019-04-03 16:30:00 | 0 | 209.261 | 6.496 | 229.812 | 7.0073 | 187.901 | 3.6837 | 23.3324 | 26.46 | 974.867 | 25.5492 | 20.8131
2019-04-03 16:45:00 | 0.62733 | 176.728 | 8.797 | 226.24 | 11.3537 | 183.28 | 0 | 344.298 | 26.46 | 974.415 | 28.6543 | 29.6955
2019-04-03 17:00:00 | 0 | 148.28 | 4.7063 | 225.437 | 5.4733 | 189.15 | 4.962 | 316.167 | 26.46 | 974.549 | 30.9057 | 30.4751
2019-04-03 17:15:00 | 0 | 190.589 | 6.496 | 233.94 | 4.7063 | 186.107 | 2.2853 | 352.875 | 26.46 | 974.106 | 32.8845 | 32.2117
2019-04-03 17:30:00 | 0 | 145.192 | 6.496 | 191.833 | 6.496 | 177.709 | 1.1427 | 337.174 | 26.46 | 973.958 | 32.476 | 32.1008
2019-04-03 17:45:00 | 1.2547 | 152.449 | 7.7743 | 200.098 | 8.03 | 174.446 | 4.195 | 336.445 | 26.46 | 973.809 | 32.6173 | 27.8813
2019-04-03 18:00:00 | 0.372 | 153.883 | 6.496 | 207.169 | 8.2857 | 172.619 | 1.1427 | 336.515 | 26.46 | 973.661 | 34.0549 | 22.3538
2019-04-03 18:15:00 | 4.4353 | 149.573 | 8.797 | 196.941 | 9.3083 | 166.336 | 5.729 | 332.477 | 26.46 | 973.364 | 34.0215 | 26.9761
2019-04-03 18:30:00 | 8.2653 | 151.864 | 8.2857 | 201.692 | 8.797 | 163.193 | 5.9847 | 336.96 | 26.46 | 973.364 | 33.9874 | 32.1525
2019-04-03 18:45:00 | 12.3507 | 188.093 | 8.03 | 226.934 | 8.5413 | 177.665 | 6.496 | 1.4131 | 26.46 | 972.77 | 35.3523 | 40.7283
2019-04-03 19:00:00 | 12.3507 | 158.686 | 9.3083 | 209.878 | 9.3083 | 165.142 | 5.4733 | 354.088 | 26.46 | 972.799 | 37.3998 | 49.868
2019-04-03 19:15:00 | 5.712 | 186.412 | 8.2857 | 224.351 | 9.564 | 184.341 | 5.4733 | 354.064 | 26.46 | 973.001 | 34.6016 | 45.8456
2019-04-03 19:30:00 | 2.9033 | 186.756 | 7.5187 | 219.732 | 7.263 | 175.157 | 2.4053 | 349.339 | 26.46 | 973.362 | 33.2414 | 48.7404
2019-04-03 19:45:00 | 4.6907 | 148.526 | 8.797 | 234.504 | 8.797 | 181.764 | 6.2403 | 328.243 | 26.46 | 973.068 | 32.5595 | 49.0195
2019-04-03 20:00:00 | 0 | 184.519 | 9.3083 | 227.049 | 8.5413 | 174.504 | 1.3827 | 355.782 | 26.46 | 973.662 | 32.7645 | 39.509
2019-04-03 20:15:00 | 1.6487 | 164.902 | 9.0527 | 215.669 | 10.0753 | 173.334 | 1.894 | 349.86 | 26.46 | 973.662 | 33.5836 | 41.6409
2019-04-03 20:30:00 | 0 | 160.638 | 8.03 | 235.748 | 7.0073 | 166.145 | 1.007 | 0.19495 | 26.46 | 973.662 | 36.2116 | 49.6033
2019-04-03 20:45:00 | 0.744 | 156.688 | 10.0753 | 199.314 | 8.5413 | 169.335 | 4.7063 | 344.713 | 26.46 | 973.662 | 41.228 | 45.635
2019-04-03 21:00:00 | 0 | 170.334 | 7.7743 | 209.062 | 9.3083 | 156.688 | 5.4733 | 353.486 | 26.46 | 973.662 | 41.9107 | 45.2101
2019-04-03 21:15:00 | 4.4353 | 171.774 | 7.263 | 211.209 | 5.2177 | 167.875 | 3.6837 | 355.732 | 26.46 | 973.662 | 42.935 | 37.4583
2019-04-03 21:30:00 | 0 | 181.139 | 5.9847 | 215.751 | 5.9847 | 171.561 | 3.428 | 347.607 | 26.46 | 973.365 | 44.0972 | 36.8893
2019-04-03 21:45:00 | 0.372 | 155.325 | 6.2403 | 207.931 | 9.0527 | 147.526 | 3.6837 | 348.013 | 26.46 | 973.513 | 44.5803 | 39.6309
2019-04-03 22:00:00 | 0 | 163.468 | 6.7517 | 221.68 | 7.5187 | 172.583 | 2.2853 | 322.695 | 26.46 | 973.365 | 43.9665 | 49.7215
2019-04-03 22:15:00 | 1.3713 | 153.914 | 9.0527 | 196.844 | 8.03 | 155.157 | 5.729 | 330.933 | 26.46 | 973.216 | 44.3079 | 59.9694
2019-04-03 22:30:00 | 2.9033 | 157.253 | 10.331 | 218.463 | 9.564 | 154.84 | 4.195 | 341.17 | 26.46 | 973.068 | 45.4002 | 61.0906
2019-04-03 22:45:00 | 0 | 164.248 | 7.7743 | 207.105 | 8.03 | 166.247 | 3.9393 | 339.951 | 26.46 | 972.919 | 47.1753 | 65.6833
2019-04-03 23:00:00 | 0.372 | 162.493 | 5.9847 | 215.563 | 6.496 | 170.78 | 5.2177 | 343.071 | 26.46 | 973.068 | 48.7455 | 66.4481
2019-04-03 23:15:00 | 3.414 | 162.883 | 10.0753 | 214.612 | 11.098 | 157.935 | 5.4733 | 347.848 | 26.46 | 972.474 | 49.0869 | 71.4452
2019-04-03 23:30:00 | 2.3927 | 161.421 | 12.3763 | 206.106 | 10.331 | 152.89 | 3.9393 | 353.527 | 26.46 | 972.474 | 50.1109 | 73.1321
2019-04-03 23:45:00 | 8.2653 | 149.429 | 7.7743 | 210.103 | 8.5413 | 161.981 | 5.9847 | 332.518 | 26.46 | 972.474 | 49.9061 | 75.0702