## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-04 00:00:00 | 7.4993 | 134.635 | 9.0527 | 218.902 | 8.797 | 166.661 | 4.962 | 320.551 | 26.46 | 972.177 | 48.8479 | 76.4318
2019-04-04 00:15:00 | 1.51 | 150.185 | 8.2857 | 202.011 | 8.2857 | 162.908 | 5.2177 | 336.247 | 26.46 | 972.474 | 50.384 | 71.8036
2019-04-04 00:30:00 | 5.9673 | 139.266 | 6.2403 | 202.109 | 12.8877 | 180.066 | 5.4733 | 329.52 | 26.46 | 972.028 | 52.2956 | 74.3994
2019-04-04 00:45:00 | 0.372 | 155.23 | 9.0527 | 199.769 | 9.3083 | 158.959 | 1.127 | 333.639 | 26.46 | 972.177 | 51.7494 | 73.1653
2019-04-04 01:00:00 | 1.6267 | 143.482 | 10.331 | 191.507 | 9.0527 | 159.544 | 3.9393 | 328.228 | 26.46 | 971.88 | 52.5687 | 79.6213
2019-04-04 01:15:00 | 2.3927 | 140.631 | 10.331 | 206.886 | 10.0753 | 169.561 | 3.9393 | 331.518 | 26.46 | 971.731 | 55.4361 | 81.0338
2019-04-04 01:30:00 | 0.372 | 157.156 | 12.3763 | 206.813 | 9.3083 | 167.636 | 0.75133 | 337.295 | 26.46 | 971.287 | 58.44 | 80.9319
2019-04-04 01:45:00 | 3.6693 | 151.891 | 10.5867 | 197.234 | 10.8423 | 146.822 | 4.7063 | 334.467 | 26.46 | 971.303 | 60.0785 | 79.9068
2019-04-04 02:00:00 | 2.5313 | 169.659 | 11.098 | 203.133 | 10.8423 | 158.935 | 5.4733 | 344.241 | 26.46 | 971.042 | 62.3997 | 79.2286
2019-04-04 02:15:00 | 5.2013 | 167.977 | 11.6093 | 197.819 | 12.1207 | 163.419 | 4.7063 | 341.365 | 26.46 | 971.073 | 63.219 | 79.5205
2019-04-04 02:30:00 | 7.4993 | 138.608 | 11.6093 | 202.548 | 11.3537 | 158.813 | 6.2403 | 334.248 | 26.46 | 970.945 | 65.1306 | 80.4405
2019-04-04 02:45:00 | 3.414 | 155.449 | 11.6093 | 190.629 | 10.331 | 162.371 | 5.729 | 337.392 | 26.46 | 970.734 | 65.8815 | 76.3059
2019-04-04 03:00:00 | 4.946 | 164.811 | 11.6093 | 202.673 | 13.1433 | 148.798 | 4.962 | 352.094 | 26.46 | 970.297 | 66.5993 | 77.4698
2019-04-04 03:15:00 | 4.18 | 155.867 | 8.03 | 210.838 | 8.5413 | 167.712 | 3.9393 | 318.972 | 26.46 | 970.568 | 66.9751 | 76.1803
2019-04-04 03:30:00 | 2.648 | 155.182 | 9.564 | 206.838 | 8.797 | 168.246 | 3.9393 | 344.729 | 26.46 | 970.582 | 66.8376 | 74.5435
2019-04-04 03:45:00 | 2.648 | 155.23 | 10.331 | 200.817 | 9.564 | 150.551 | 1.5183 | 341.511 | 26.46 | 970.148 | 67.998 | 73.6974
2019-04-04 04:00:00 | 2.3927 | 154.141 | 12.1207 | 202.339 | 9.564 | 164.743 | 4.7063 | 338.091 | 26.46 | 970.154 | 67.6257 | 74.3588
2019-04-04 04:15:00 | 3.414 | 152.443 | 8.2857 | 214.271 | 7.0073 | 150.128 | 4.4507 | 351.443 | 26.46 | 970 | 68.2782 | 71.1332
2019-04-04 04:30:00 | 5.2013 | 150.87 | 11.3537 | 207.535 | 10.0753 | 157.403 | 3.9393 | 342.059 | 26.46 | 969.741 | 69.0683 | 70.8487
2019-04-04 04:45:00 | 3.9247 | 184.488 | 11.098 | 221.165 | 11.865 | 155.747 | 5.2177 | 334.579 | 26.46 | 969.668 | 69.1033 | 75.1938
2019-04-04 05:00:00 | 4.6907 | 146.434 | 11.098 | 206.684 | 9.8197 | 158.793 | 4.7063 | 338.502 | 26.46 | 969.723 | 69.1712 | 76.1914
2019-04-04 05:15:00 | 2.648 | 155.111 | 11.6093 | 200.49 | 8.2857 | 166.178 | 5.4733 | 332.356 | 26.46 | 969.74 | 69.3071 | 73.5053
2019-04-04 05:30:00 | 4.4353 | 169.615 | 9.0527 | 213.921 | 10.0753 | 174.661 | 4.195 | 330.673 | 26.46 | 969.335 | 67.6682 | 76.4796
2019-04-04 05:45:00 | 3.1587 | 157.719 | 10.8423 | 204.317 | 5.9847 | 172.077 | 5.4733 | 338.791 | 26.46 | 969.752 | 68.2828 | 78.0647
2019-04-04 06:00:00 | 3.1587 | 170.102 | 8.5413 | 235.275 | 7.263 | 181.852 | 1.2627 | 346.494 | 26.46 | 969.454 | 66.9171 | 76.1175
2019-04-04 06:15:00 | 4.946 | 147.846 | 11.3537 | 192.299 | 9.8197 | 166.568 | 2.4053 | 328.406 | 26.46 | 969.273 | 68.7607 | 78.4231
2019-04-04 06:30:00 | 10.308 | 158.523 | 10.331 | 193.03 | 9.0527 | 167.299 | 3.1723 | 1.682 | 26.46 | 969.436 | 69.5118 | 78.4083
2019-04-04 06:45:00 | 4.4353 | 159.866 | 11.3537 | 215.143 | 10.5867 | 145.752 | 4.962 | 343.402 | 26.46 | 969.609 | 68.2836 | 77.3368
2019-04-04 07:00:00 | 3.6693 | 153.209 | 10.331 | 208.559 | 10.8423 | 155.574 | 1.5183 | 342.521 | 26.46 | 969.399 | 68.6926 | 78.9199
2019-04-04 07:15:00 | 2.9033 | 151.121 | 8.797 | 200.417 | 8.2857 | 155.167 | 0.75133 | 338.974 | 26.46 | 969.42 | 68.1731 | 77.795
2019-04-04 07:30:00 | 4.946 | 186.115 | 9.564 | 201.505 | 12.1207 | 161.62 | 3.428 | 355.704 | 26.46 | 969.385 | 67.5899 | 78.0869
2019-04-04 07:45:00 | 5.712 | 149.503 | 11.098 | 198.088 | 13.399 | 149.941 | 5.4733 | 334.638 | 26.46 | 968.987 | 66.6326 | 76.3355
2019-04-04 08:00:00 | 4.4353 | 134.586 | 11.098 | 185.706 | 10.8423 | 170.463 | 2.4053 | 324.328 | 26.46 | 969.212 | 65.8816 | 73.1321
2019-04-04 08:15:00 | 6.478 | 151.599 | 10.0753 | 191.897 | 11.865 | 153.89 | 4.4507 | 344.095 | 26.46 | 969.207 | 65.8133 | 73.7417
2019-04-04 08:30:00 | 4.6907 | 146.139 | 11.3537 | 200.354 | 6.2403 | 180.846 | 4.962 | 335.15 | 26.46 | 969.207 | 65.0623 | 74.0188
2019-04-04 08:45:00 | 4.946 | 152.744 | 13.1433 | 215.319 | 14.6773 | 178.433 | 2.4053 | 342.998 | 26.46 | 968.911 | 65.8474 | 70.2797
2019-04-04 09:00:00 | 7.7547 | 157.457 | 11.865 | 206.449 | 12.632 | 158.285 | 4.7063 | 339.04 | 26.46 | 969.504 | 65.4654 | 69.6183
2019-04-04 09:15:00 | 4.6907 | 153.86 | 11.098 | 205.941 | 13.399 | 157.271 | 5.2177 | 332.892 | 26.46 | 969.504 | 63.9576 | 67.3607
2019-04-04 09:30:00 | 5.4567 | 149.574 | 10.8423 | 197.319 | 10.5867 | 147.893 | 1.6383 | 340.307 | 26.46 | 969.801 | 61.877 | 62.6794
2019-04-04 09:45:00 | 3.6693 | 156.393 | 13.399 | 196.435 | 11.865 | 157.733 | 4.195 | 326.919 | 26.46 | 969.801 | 60.6125 | 56.7307
2019-04-04 10:00:00 | 8.776 | 184.441 | 7.0073 | 220.553 | 9.3083 | 172.502 | 3.9393 | 340.96 | 26.46 | 969.856 | 60.127 | 54.0777
2019-04-04 10:15:00 | 2.9033 | 185.413 | 8.797 | 201.4 | 8.5413 | 158.369 | 4.195 | 2.6801 | 26.46 | 969.805 | 59.9215 | 52.622
2019-04-04 10:30:00 | 3.414 | 163.924 | 8.797 | 234.511 | 10.0753 | 186.729 | 4.7063 | 2.5583 | 26.46 | 969.802 | 59.0343 | 50.3246
2019-04-04 10:45:00 | 10.0527 | 167.067 | 7.263 | 221.988 | 11.865 | 182.66 | 1.774 | 335.766 | 26.46 | 969.802 | 59.3755 | 51.9532
2019-04-04 11:00:00 | 0.99933 | 175.872 | 7.7743 | 237.802 | 8.03 | 193.145 | 0.37567 | 332.717 | 26.46 | 969.802 | 57.9374 | 49.0158
2019-04-04 11:15:00 | 5.2013 | 184.106 | 10.0753 | 216.552 | 9.0527 | 182.815 | 5.729 | 356.472 | 26.46 | 969.654 | 57.1109 | 53.2825
2019-04-04 11:30:00 | 4.18 | 199.652 | 11.6093 | 230.679 | 9.564 | 167.964 | 4.962 | 16.2703 | 26.46 | 969.357 | 55.6042 | 57.0078
2019-04-04 11:45:00 | 9.2867 | 187.372 | 10.5867 | 234.181 | 11.865 | 183.694 | 5.2177 | 355.186 | 26.46 | 969.208 | 52.1236 | 56.7307
2019-04-04 12:00:00 | 6.7333 | 179.602 | 9.0527 | 224.511 | 9.564 | 176.947 | 2.1497 | 346.052 | 26.46 | 969.357 | 50.8272 | 60.0155
2019-04-04 12:15:00 | 5.9673 | 186.373 | 11.865 | 220.785 | 12.632 | 191.391 | 5.2177 | 352.994 | 26.46 | 968.596 | 50.8955 | 56.509
2019-04-04 12:30:00 | 4.946 | 184.814 | 13.6547 | 230.941 | 14.166 | 188.638 | 4.7063 | 6.3082 | 26.46 | 968.392 | 49.4627 | 63.4035
2019-04-04 12:45:00 | 0.372 | 179.651 | 9.0527 | 233.231 | 11.3537 | 196.408 | 1.127 | 8.5246 | 26.46 | 968.125 | 49.1216 | 64.1964
2019-04-04 13:00:00 | 4.18 | 171.126 | 10.0753 | 226.557 | 11.3537 | 185.034 | 3.6837 | 1.9485 | 26.46 | 967.995 | 46.6314 | 66.8085
2019-04-04 13:15:00 | 9.542 | 168.471 | 10.331 | 220.858 | 10.331 | 177.873 | 2.9167 | 343.763 | 26.46 | 967.779 | 45.1646 | 61.5227
2019-04-04 13:30:00 | 4.18 | 169.86 | 9.8197 | 214.209 | 11.098 | 173.854 | 4.4507 | 355.38 | 26.46 | 967.578 | 45.9833 | 63.318
2019-04-04 13:45:00 | 4.4353 | 147.377 | 11.6093 | 193.819 | 8.2857 | 168.396 | 3.428 | 345.584 | 26.46 | 967.727 | 46.0508 | 59.3084
2019-04-04 14:00:00 | 11.3293 | 199.91 | 10.8423 | 247.342 | 10.331 | 201.249 | 3.428 | 11.9814 | 26.46 | 966.687 | 45.9424 | 64.6449
2019-04-04 14:15:00 | 16.436 | 156.242 | 6.7517 | 220.573 | 8.5413 | 183.59 | 3.6837 | 354.37 | 26.46 | 967.429 | 46.794 | 59.0179
2019-04-04 14:30:00 | 5.9673 | 197.008 | 8.2857 | 202.261 | 10.331 | 164.498 | 3.9393 | 6.3802 | 26.46 | 966.835 | 42.9059 | 61.459
2019-04-04 14:45:00 | 8.776 | 179.523 | 11.098 | 225.59 | 13.1433 | 186.877 | 5.9847 | 7.6709 | 26.46 | 966.39 | 44.6112 | 63.2125
2019-04-04 15:00:00 | 4.18 | 176.893 | 12.3763 | 216.726 | 14.4217 | 198.396 | 5.2177 | 6.3315 | 26.46 | 966.093 | 38.2674 | 68.5468
2019-04-04 15:15:00 | 5.2013 | 162.184 | 9.564 | 218.43 | 9.564 | 166.714 | 4.962 | 178.5 | 26.46 | 966.242 | 40.6548 | 68.0302
2019-04-04 15:30:00 | 3.9247 | 165.837 | 8.5413 | 229.34 | 10.5867 | 190.652 | 1.007 | 347.6 | 26.46 | 965.945 | 38.3356 | 70.0482
2019-04-04 15:45:00 | 5.2013 | 172.388 | 11.098 | 233.942 | 13.9103 | 188.314 | 3.428 | 356.854 | 26.46 | 965.351 | 38.6426 | 69.8252
2019-04-04 16:00:00 | 5.712 | 191.236 | 11.3537 | 243.245 | 12.8877 | 190.652 | 3.9393 | 0.82797 | 26.46 | 964.906 | 37.0054 | 67.3496
2019-04-04 16:15:00 | 4.4353 | 178.5 | 12.632 | 229.608 | 13.399 | 173.094 | 4.4507 | 4.5538 | 26.46 | 965.351 | 37.3806 | 63.1835
2019-04-04 16:30:00 | 5.712 | 177.453 | 14.933 | 223.033 | 12.1207 | 177.161 | 2.4053 | 0.19482 | 26.46 | 965.5 | 38.472 | 61.1945
2019-04-04 16:45:00 | 3.414 | 173.191 | 11.098 | 220.963 | 11.6093 | 173.751 | 1.894 | 352.251 | 26.46 | 965.648 | 38.6767 | 54.1432
2019-04-04 17:00:00 | 3.9247 | 182.083 | 11.6093 | 226.056 | 11.098 | 196.207 | 2.661 | 4.7487 | 26.46 | 964.906 | 40.7919 | 56.1017
2019-04-04 17:15:00 | 5.2013 | 176.547 | 11.3537 | 220.697 | 11.865 | 184.194 | 1.5183 | 3.8967 | 26.46 | 965.055 | 40.0795 | 58.9312
2019-04-04 17:30:00 | 5.4567 | 172.88 | 15.4443 | 210.799 | 13.399 | 188.663 | 4.962 | 355.502 | 26.46 | 964.609 | 40.423 | 58.5041
2019-04-04 17:45:00 | 8.776 | 157.56 | 10.0753 | 206.682 | 10.5867 | 161.432 | 2.2853 | 341.083 | 26.46 | 964.654 | 39.2291 | 63.9873
2019-04-04 18:00:00 | 5.712 | 178.652 | 11.3537 | 221.856 | 15.1887 | 179.797 | 4.962 | 1.437 | 26.46 | 964.354 | 39.7749 | 61.45
2019-04-04 18:15:00 | 4.18 | 179.505 | 12.1207 | 216.766 | 11.6093 | 163.405 | 1.007 | 2.5817 | 26.46 | 964.848 | 40.3207 | 60.5326
2019-04-04 18:30:00 | 6.7333 | 180.235 | 9.8197 | 221.077 | 10.5867 | 185.886 | 4.4507 | 356.793 | 26.46 | 964.606 | 40.5935 | 63.9008
2019-04-04 18:45:00 | 7.244 | 178.287 | 11.098 | 237.006 | 10.0753 | 186.056 | 4.7063 | 335.774 | 26.46 | 964.607 | 41.651 | 51.1736
2019-04-04 19:00:00 | 13.1167 | 180.85 | 8.03 | 224.786 | 8.2857 | 164.482 | 4.4507 | 350.739 | 26.46 | 964.607 | 42.8121 | 53.5753
2019-04-04 19:15:00 | 0 | 178.024 | 7.263 | 228.318 | 6.496 | 189.813 | 0.37567 | 333.591 | 26.46 | 964.903 | 43.4602 | 47.9258
2019-04-04 19:30:00 | 9.542 | 161.244 | 9.564 | 210.247 | 10.0753 | 169.793 | 4.4507 | 351.497 | 26.46 | 964.607 | 45.3369 | 47.7021
2019-04-04 19:45:00 | 4.946 | 155.504 | 8.2857 | 199.98 | 6.7517 | 166.709 | 5.2177 | 344.062 | 26.46 | 964.755 | 46.3287 | 50.479
2019-04-04 20:00:00 | 1.116 | 155.473 | 8.797 | 200.566 | 7.263 | 152.501 | 1.894 | 338.864 | 26.46 | 964.903 | 46.8117 | 54.765
2019-04-04 20:15:00 | 7.4993 | 162.5 | 10.331 | 226.649 | 10.8423 | 204.843 | 4.962 | 348.315 | 26.46 | 964.458 | 48.9304 | 60.0243
2019-04-04 20:30:00 | 0.372 | 160.999 | 10.0753 | 213.897 | 9.564 | 170.599 | 4.7063 | 343.488 | 26.46 | 964.755 | 49.6841 | 56.3279
2019-04-04 20:45:00 | 1.138 | 182.611 | 9.8197 | 224.911 | 9.564 | 181.613 | 4.7063 | 349.435 | 26.46 | 964.755 | 50.9811 | 58.0514
2019-04-04 21:00:00 | 1.6487 | 141.63 | 8.5413 | 214.898 | 7.5187 | 202.566 | 2.4053 | 328.165 | 26.46 | 965.052 | 51.1175 | 58.4081
2019-04-04 21:15:00 | 1.6267 | 175.643 | 9.0527 | 210.951 | 12.632 | 188.824 | 3.6837 | 337.009 | 26.46 | 964.458 | 52.4825 | 64.1499
2019-04-04 21:30:00 | 6.2227 | 167.603 | 10.5867 | 209.489 | 8.5413 | 187.363 | 3.0523 | 356.33 | 26.46 | 964.903 | 53.6427 | 66.1673
2019-04-04 21:45:00 | 4.946 | 186.583 | 11.6093 | 203.203 | 10.8423 | 188.069 | 4.195 | 350.434 | 26.46 | 964.458 | 54.5299 | 67.4014
2019-04-04 22:00:00 | 8.776 | 180.882 | 10.0753 | 193.53 | 8.797 | 154.909 | 5.729 | 348.704 | 26.46 | 964.458 | 56.8504 | 70.5087
2019-04-04 22:15:00 | 3.2973 | 152.058 | 9.0527 | 204.275 | 9.564 | 174.717 | 3.6837 | 326.459 | 26.46 | 964.31 | 57.8058 | 69.8215
2019-04-04 22:30:00 | 3.9247 | 162.438 | 11.6093 | 207.515 | 12.632 | 177.251 | 4.962 | 347.875 | 26.46 | 963.864 | 59.1025 | 69.9397
2019-04-04 22:45:00 | 4.4353 | 179.98 | 10.5867 | 211.949 | 10.0753 | 184.926 | 5.729 | 344.05 | 26.46 | 964.167 | 60.3992 | 71.0002
2019-04-04 23:00:00 | 4.6907 | 159.054 | 9.8197 | 202.427 | 11.3537 | 170.554 | 0.75133 | 343.276 | 26.46 | 964.03 | 60.9462 | 72.6222
2019-04-04 23:15:00 | 2.3927 | 153.524 | 11.3537 | 196.435 | 10.331 | 160.079 | 3.1723 | 335.605 | 26.46 | 964.11 | 61.1516 | 72.6887
2019-04-04 23:30:00 | 3.414 | 154.515 | 11.6093 | 209.982 | 11.865 | 161.898 | 4.962 | 334.104 | 26.46 | 964.158 | 62.5914 | 72.4892
2019-04-04 23:45:00 | 2.3927 | 140.119 | 10.331 | 192.665 | 8.2857 | 173.675 | 5.2177 | 337.213 | 26.46 | 964.159 | 63.0034 | 75.7037