## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-05 00:00:00 | 4.18 | 158.542 | 13.1433 | 212.988 | 12.1207 | 159.931 | 5.4733 | 335.458 | 26.46 | 963.565 | 62.3891 | 73.0635
2019-04-05 00:15:00 | 4.946 | 150.791 | 13.1433 | 210.524 | 13.1433 | 161.391 | 5.729 | 341.156 | 26.46 | 963.565 | 62.2517 | 74.6248
2019-04-05 00:30:00 | 2.3927 | 157.348 | 11.6093 | 209.869 | 9.8197 | 167.875 | 3.9393 | 344.206 | 26.46 | 963.565 | 63.0717 | 73.9243
2019-04-05 00:45:00 | 1.882 | 153.325 | 8.5413 | 205.869 | 9.8197 | 163.316 | 5.4733 | 333.064 | 26.46 | 963.268 | 64.0262 | 74.3735
2019-04-05 01:00:00 | 3.6693 | 144.111 | 9.564 | 206.645 | 9.564 | 159.926 | 2.661 | 347.315 | 26.46 | 962.971 | 65.0492 | 70.7009
2019-04-05 01:15:00 | 4.18 | 155.129 | 11.098 | 206.65 | 10.331 | 165.656 | 4.962 | 333.09 | 26.46 | 962.971 | 66.3473 | 71.2387
2019-04-05 01:30:00 | 1.7653 | 154.129 | 10.5867 | 195.171 | 8.5413 | 168.067 | 4.962 | 340.204 | 26.46 | 962.822 | 66.9613 | 66.7474
2019-04-05 01:45:00 | 7.7547 | 148.452 | 9.0527 | 199.413 | 9.8197 | 178.499 | 5.729 | 339.159 | 26.46 | 962.674 | 67.4397 | 60.6731
2019-04-05 02:00:00 | 4.18 | 148.793 | 12.3763 | 204.895 | 11.865 | 169.652 | 3.428 | 339.718 | 26.46 | 962.228 | 66.825 | 61.6522
2019-04-05 02:15:00 | 3.6693 | 179.1 | 10.0753 | 230.375 | 9.564 | 180.465 | 0.75133 | 354.448 | 26.46 | 962.228 | 63.0002 | 62.321
2019-04-05 02:30:00 | 4.4353 | 165.922 | 13.1433 | 207.988 | 12.8877 | 172.404 | 5.2177 | 329.822 | 26.46 | 961.932 | 66.0737 | 57.6634
2019-04-05 02:45:00 | 2.0207 | 167.263 | 8.797 | 224.681 | 9.564 | 185.661 | 5.9847 | 338.376 | 26.46 | 962.08 | 64.5039 | 54.7502
2019-04-05 03:00:00 | 8.01 | 173.357 | 10.331 | 212.158 | 10.5867 | 166.509 | 2.9167 | 352.61 | 26.46 | 962.228 | 63.5489 | 53.0469
2019-04-05 03:15:00 | 3.1587 | 155.347 | 7.7743 | 214.08 | 8.03 | 187.123 | 2.661 | 353.192 | 26.46 | 962.377 | 63.0705 | 46.9541
2019-04-05 03:30:00 | 0 | 170.256 | 6.2403 | 222.895 | 8.797 | 173.35 | 4.7063 | 355.327 | 26.46 | 962.377 | 61.4989 | 41.3786
2019-04-05 03:45:00 | 9.2867 | 154.637 | 9.0527 | 207.033 | 9.0527 | 158.438 | 3.9393 | 341.975 | 26.46 | 962.377 | 62.5231 | 39.1691
2019-04-05 04:00:00 | 6.7333 | 152.813 | 7.5187 | 197.267 | 4.962 | 159.855 | 5.9847 | 340.692 | 26.46 | 962.377 | 63.0023 | 35.2821
2019-04-05 04:15:00 | 0.62733 | 142.771 | 6.496 | 177.257 | 7.263 | 142.746 | 4.962 | 336.787 | 26.46 | 962.228 | 62.0456 | 32.5627
2019-04-05 04:30:00 | 0 | 148.495 | 5.9847 | 196.066 | 5.2177 | 165.65 | 3.1723 | 332.639 | 26.46 | 962.377 | 61.2257 | 24.87
2019-04-05 04:45:00 | 0 | 144.114 | 7.0073 | 202.263 | 5.9847 | 154.129 | 4.4507 | 340.327 | 26.46 | 962.08 | 64.5724 | 24.8663
2019-04-05 05:00:00 | 0 | 152.865 | 5.729 | 204.996 | 4.195 | 160.053 | 4.195 | 346.766 | 26.46 | 962.674 | 62.3892 | 16.3312
2019-04-05 05:15:00 | 0 | 167.859 | 4.195 | 202.399 | 4.195 | 152.652 | 3.6837 | 0.19496 | 26.46 | 962.971 | 61.3682 | 11.2249
2019-04-05 05:30:00 | 0 | 162.306 | 4.195 | 196.554 | 3.428 | 150.072 | 0 | 342.256 | 26.46 | 963.119 | 63.3491 | 10.0685
2019-04-05 05:45:00 | 0 | 146.014 | 3.1723 | 190.6 | 1.894 | 144.088 | 0 | 346.036 | 26.46 | 963.119 | 63.0809 | 8.4095
2019-04-05 06:00:00 | 0 | 141.652 | 2.661 | 192.381 | 0 | 147.404 | 0 | 332 | 26.46 | 963.268 | 61.7843 | 8.4723
2019-04-05 06:15:00 | 0 | 107.435 | 1.6383 | 145.125 | 1.894 | 139.558 | 1.3827 | 279.361 | 26.46 | 963.565 | 61.1026 | 7.6003
2019-04-05 06:30:00 | 0 | 108.215 | 1.127 | 180.588 | 0 | 139.071 | 0 | 280.628 | 26.46 | 963.862 | 61.2391 | 7.6151
2019-04-05 06:45:00 | 0 | 81.7923 | 3.6837 | 124.623 | 2.9167 | 133.168 | 0 | 251.957 | 26.46 | 964.01 | 62.739 | 7.0645
2019-04-05 07:00:00 | 0 | 95.791 | 3.9393 | 111.149 | 2.4053 | 132.904 | 0 | 282.012 | 26.46 | 964.159 | 63.5482 | 7.0461
2019-04-05 07:15:00 | 0 | 80.7088 | 2.661 | 133.693 | 0 | 131.006 | 0 | 258.112 | 26.46 | 964.456 | 63.5495 | 7.1274
2019-04-05 07:30:00 | 0 | 55.8936 | 2.4053 | 116.128 | 1.3827 | 127.088 | 0 | 239.704 | 26.46 | 964.692 | 60.8104 | 4.9733
2019-04-05 07:45:00 | 0 | 55.7459 | 5.9847 | 111.349 | 2.1497 | 124.113 | 1.5183 | 236.822 | 26.46 | 964.756 | 56.5774 | 5.461
2019-04-05 08:00:00 | 0 | 49.4265 | 4.4507 | 116.952 | 1.894 | 125.308 | 0 | 243.43 | 26.46 | 965.201 | 56.2941 | 7.3675
2019-04-05 08:15:00 | 0 | 86.5866 | 3.6837 | 123.312 | 1.3827 | 125.191 | 0 | 231.506 | 26.46 | 965.201 | 56.0808 | 7.9181
2019-04-05 08:30:00 | 0 | 61.1583 | 2.661 | 93.9867 | 1.3827 | 125.239 | 0 | 257.566 | 26.46 | 965.642 | 53.7609 | 6.5399
2019-04-05 08:45:00 | 0 | 114.212 | 1.894 | 191.937 | 1.3827 | 137.249 | 0 | 268.458 | 26.46 | 965.65 | 54.9799 | 3.2108
2019-04-05 09:00:00 | 0 | 70.6089 | 1.3827 | 103.054 | 1.894 | 121.35 | 0 | 243.796 | 26.46 | 965.676 | 52.7197 | 2.0543
2019-04-05 09:15:00 | 0 | 251.087 | 0.37567 | 19.4621 | 0 | 149.182 | 0 | 204.224 | 26.46 | 966.243 | 48.9614 | 1.4003
2019-04-05 09:30:00 | 0 | 230.212 | 1.894 | 247.356 | 1.3827 | 151.593 | 0.37567 | 168.655 | 26.46 | 966.392 | 52.1582 | 2.4497
2019-04-05 09:45:00 | 0 | 10.1252 | 2.1497 | 47.3962 | 2.1497 | 122.233 | 0 | 204.574 | 26.46 | 966.837 | 49.8381 | 1.489
2019-04-05 10:00:00 | 0 | 140.285 | 3.9393 | 196.438 | 2.9167 | 140.09 | 0 | 275.969 | 26.46 | 967.068 | 46.9718 | 3.3919
2019-04-05 10:15:00 | 0 | 127.603 | 4.195 | 173.048 | 3.6837 | 140.77 | 0 | 314.055 | 26.46 | 967.084 | 48.0621 | 10.6079
2019-04-05 10:30:00 | 0 | 156.089 | 3.9393 | 167.901 | 2.661 | 126.687 | 1.894 | 328.316 | 26.46 | 966.678 | 47.9291 | 9.3258
2019-04-05 10:45:00 | 0 | 134.354 | 5.4733 | 192.022 | 4.4507 | 132.48 | 0 | 330.871 | 26.46 | 966.391 | 45.1338 | 10.1165
2019-04-05 11:00:00 | 0 | 125.592 | 4.7063 | 167.585 | 3.9393 | 154.629 | 0 | 308.236 | 26.46 | 966.243 | 44.1793 | 10.0721
2019-04-05 11:15:00 | 0 | 158.791 | 5.2177 | 182.383 | 3.6837 | 150.856 | 0 | 343.479 | 26.46 | 966.676 | 44.3157 | 7.7185
2019-04-05 11:30:00 | 0 | 153.923 | 4.195 | 224.028 | 3.9393 | 174.539 | 0 | 0.19472 | 26.46 | 966.54 | 41.4522 | 4.2417
2019-04-05 11:45:00 | 0 | 128.318 | 5.2177 | 178.391 | 4.195 | 140.39 | 0 | 309.282 | 26.46 | 966.688 | 40.225 | 6.9131
2019-04-05 12:00:00 | 0 | 144.587 | 4.7063 | 192.974 | 4.4507 | 146.753 | 1.007 | 320.52 | 26.46 | 966.226 | 40.1869 | 9.4477
2019-04-05 12:15:00 | 0 | 135.845 | 7.0073 | 187.418 | 6.2403 | 143.462 | 5.729 | 318.366 | 26.46 | 966.016 | 36.4021 | 8.7125
2019-04-05 12:30:00 | 0 | 166.621 | 5.4733 | 217.252 | 5.4733 | 133.424 | 4.962 | 352.178 | 26.46 | 965.867 | 38.6553 | 10.1091
2019-04-05 12:45:00 | 0 | 137.056 | 6.2403 | 174.813 | 6.496 | 128.61 | 2.2853 | 312.982 | 26.46 | 965.486 | 39.2023 | 13.028
2019-04-05 13:00:00 | 6.2227 | 136.35 | 5.9847 | 210.252 | 6.2403 | 157.744 | 1.007 | 322.255 | 26.46 | 965.353 | 39.9523 | 11.2397
2019-04-05 13:15:00 | 0 | 161.38 | 7.0073 | 202.865 | 7.0073 | 162.208 | 2.1497 | 345.981 | 26.46 | 965.353 | 39.5795 | 11.4245
2019-04-05 13:30:00 | 3.9247 | 147.586 | 9.0527 | 195.451 | 8.797 | 159.343 | 2.661 | 327.741 | 26.46 | 965.057 | 36.888 | 14.9641
2019-04-05 13:45:00 | 0 | 152.163 | 6.7517 | 197.619 | 7.5187 | 138.994 | 2.2853 | 315.352 | 26.46 | 964.908 | 37.3655 | 20.6098
2019-04-05 14:00:00 | 0 | 125.452 | 7.7743 | 177.842 | 5.9847 | 138.499 | 0.37567 | 299.002 | 26.46 | 964.612 | 36.4771 | 20.9867
2019-04-05 14:15:00 | 0.372 | 138.349 | 8.03 | 190.298 | 7.0073 | 137.813 | 1.3827 | 339.908 | 26.46 | 964.612 | 37.4305 | 20.7798
2019-04-05 14:30:00 | 8.776 | 138.468 | 5.729 | 199.519 | 6.496 | 160.057 | 5.729 | 330.776 | 26.46 | 964.76 | 41.2138 | 26.9243
2019-04-05 14:45:00 | 0 | 151.854 | 6.2403 | 191.267 | 5.729 | 173.103 | 2.0297 | 332.575 | 26.46 | 964.76 | 40.225 | 30.843
2019-04-05 15:00:00 | 5.9673 | 152.414 | 10.8423 | 196.622 | 11.865 | 152.195 | 5.729 | 347.471 | 26.46 | 964.018 | 40.1568 | 42.439
2019-04-05 15:15:00 | 2.4147 | 192.331 | 7.5187 | 230.186 | 8.797 | 194.862 | 2.2853 | 5.2817 | 26.46 | 964.018 | 37.3615 | 47.4226
2019-04-05 15:30:00 | 4.8293 | 184.859 | 7.263 | 200.565 | 8.797 | 155.237 | 4.195 | 345.718 | 26.46 | 963.425 | 36.2025 | 56.0252
2019-04-05 15:45:00 | 2.1373 | 146.086 | 13.9103 | 193.238 | 14.166 | 143.214 | 5.729 | 338.538 | 26.46 | 962.681 | 38.5205 | 55.0437
2019-04-05 16:00:00 | 0 | 135.863 | 11.3537 | 188.906 | 10.331 | 166.336 | 2.661 | 321.209 | 26.46 | 963.255 | 34.6685 | 54.9815
2019-04-05 16:15:00 | 0 | 149.542 | 12.8877 | 198.642 | 12.8877 | 149.055 | 5.2177 | 332.6 | 26.46 | 962.682 | 34.5662 | 60.3988
2019-04-05 16:30:00 | 3.9247 | 145.867 | 12.632 | 203.632 | 13.399 | 151.051 | 5.729 | 332.356 | 26.46 | 962.535 | 33.7481 | 67.4679
2019-04-05 16:45:00 | 3.9247 | 150.954 | 13.1433 | 202.828 | 13.1433 | 158.961 | 5.4733 | 331.991 | 26.46 | 962.09 | 34.498 | 64.8482
2019-04-05 17:00:00 | 3.1587 | 147.607 | 12.8877 | 199.317 | 11.865 | 150.747 | 5.9847 | 328.756 | 26.46 | 961.645 | 36.2736 | 68.6455
2019-04-05 17:15:00 | 3.1587 | 144.893 | 14.166 | 197.656 | 11.6093 | 165.512 | 4.4507 | 333.97 | 26.46 | 961.497 | 33.822 | 71.6172
2019-04-05 17:30:00 | 3.6693 | 156.797 | 13.9103 | 205.641 | 9.0527 | 166.608 | 3.9393 | 328.737 | 26.46 | 961.645 | 38.6634 | 73.2318
2019-04-05 17:45:00 | 3.6693 | 149.557 | 13.399 | 202.643 | 13.9103 | 157.956 | 2.9167 | 333.904 | 26.46 | 960.607 | 42.0768 | 77.4173
2019-04-05 18:00:00 | 5.4567 | 141.899 | 14.4217 | 210.89 | 11.865 | 163.057 | 2.661 | 327.673 | 26.46 | 960.47 | 45.081 | 80.8174
2019-04-05 18:15:00 | 5.9673 | 143.593 | 13.9103 | 194.233 | 12.632 | 152.018 | 4.4507 | 323.882 | 26.46 | 960.704 | 46.5177 | 79.2914
2019-04-05 18:30:00 | 3.9247 | 154.805 | 12.3763 | 197.025 | 12.1207 | 145.284 | 5.2177 | 332.672 | 26.46 | 960.009 | 49.5907 | 81.3716
2019-04-05 18:45:00 | 4.4353 | 142.436 | 12.8877 | 205.33 | 10.5867 | 153.784 | 5.4733 | 329.582 | 26.46 | 960.306 | 51.7739 | 82.8791
2019-04-05 19:00:00 | 4.6907 | 146.258 | 14.166 | 202.54 | 12.632 | 146.964 | 2.9167 | 328.659 | 26.46 | 960.009 | 53.2829 | 83.0388
2019-04-05 19:15:00 | 5.712 | 143.019 | 14.6773 | 180.792 | 10.8423 | 150.229 | 3.428 | 328.613 | 26.46 | 960.232 | 55.944 | 86.2118
2019-04-05 19:30:00 | 5.712 | 141.387 | 13.6547 | 186.662 | 14.166 | 144.797 | 6.496 | 323.425 | 26.46 | 960.191 | 57.752 | 84.5454
2019-04-05 19:45:00 | 5.2013 | 142.654 | 12.8877 | 198.669 | 11.3537 | 140.632 | 2.9167 | 327.566 | 26.46 | 960.731 | 59.4917 | 82.6131
2019-04-05 20:00:00 | 1.7653 | 151.544 | 13.399 | 210.092 | 13.399 | 140.218 | 3.9393 | 326.957 | 26.46 | 960.895 | 59.6964 | 83.1821
2019-04-05 20:15:00 | 4.6907 | 143.238 | 13.6547 | 194.09 | 11.3537 | 154.881 | 4.195 | 323.717 | 26.46 | 961.341 | 59.9011 | 85.1034
2019-04-05 20:30:00 | 5.4567 | 148.938 | 13.6547 | 195.211 | 14.166 | 145.284 | 6.2403 | 325.154 | 26.46 | 961.483 | 61.6067 | 82.3433
2019-04-05 20:45:00 | 4.6907 | 138.83 | 14.6773 | 195.966 | 14.166 | 144.164 | 5.9847 | 324.107 | 26.46 | 961.638 | 62.016 | 83.8656
2019-04-05 21:00:00 | 4.6907 | 160.044 | 12.3763 | 185.955 | 9.8197 | 127.334 | 5.9847 | 340.961 | 26.46 | 961.638 | 61.8796 | 81.8076
2019-04-05 21:15:00 | 3.9247 | 134.129 | 13.1433 | 186.808 | 11.6093 | 143.872 | 5.729 | 315.314 | 26.46 | 961.49 | 62.63 | 82.7608
2019-04-05 21:30:00 | 4.6907 | 136.078 | 14.166 | 197.719 | 13.6547 | 144.992 | 6.496 | 320.113 | 26.46 | 960.896 | 63.517 | 86.1379
2019-04-05 21:45:00 | 7.7547 | 148.499 | 16.2113 | 195.698 | 12.8877 | 159.679 | 5.729 | 318.14 | 26.46 | 960.896 | 64.5403 | 86.8252
2019-04-05 22:00:00 | 5.2013 | 139.658 | 13.1433 | 193.652 | 13.9103 | 141.022 | 4.962 | 325.958 | 26.46 | 960.896 | 64.6768 | 86.6404
2019-04-05 22:15:00 | 5.712 | 143.336 | 13.6547 | 197.841 | 14.6773 | 154.661 | 6.7517 | 323.815 | 26.46 | 960.302 | 65.4955 | 86.415
2019-04-05 22:30:00 | 6.478 | 143.68 | 14.4217 | 191.514 | 14.4217 | 138.687 | 5.729 | 325.333 | 26.46 | 960.302 | 67.3391 | 86.0493
2019-04-05 22:45:00 | 4.946 | 148.358 | 13.9103 | 194.585 | 12.632 | 146.41 | 5.729 | 327.333 | 26.46 | 960.154 | 69.489 | 85.3398
2019-04-05 23:00:00 | 4.18 | 145.071 | 11.098 | 212.343 | 13.1433 | 170.719 | 5.2177 | 320.199 | 26.46 | 960.005 | 71.5022 | 85.4839
2019-04-05 23:15:00 | 5.2013 | 144.293 | 13.9103 | 192.543 | 15.4443 | 146.413 | 5.2177 | 326.39 | 26.46 | 959.708 | 72.8676 | 85.5689
2019-04-05 23:30:00 | 4.18 | 149.688 | 13.9103 | 195.945 | 13.6547 | 145.669 | 5.4733 | 331.262 | 26.46 | 959.708 | 72.9415 | 84.6056
2019-04-05 23:45:00 | 4.4353 | 133.372 | 9.3083 | 205.186 | 8.797 | 183.019 | 4.962 | 324.089 | 26.46 | 959.708 | 73.2855 | 84.1427